## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-28 00:00:00 | 0 | 160.872 | 4.962 | 201.227 | 2.661 | 151.641 | 0 | 341.132 | 19.72 | 972.919 | 36.2272 | 7.434
2019-05-28 00:15:00 | 0 | 156.318 | 5.4733 | 210.458 | 4.962 | 152.664 | 2.0297 | 340.767 | 19.41 | 972.695 | 36.0907 | 7.955
2019-05-28 00:30:00 | 0 | 155.124 | 5.4733 | 211.505 | 5.2177 | 154.174 | 5.2177 | 345.467 | 19.41 | 972.817 | 36.7048 | 7.5966
2019-05-28 00:45:00 | 0 | 157.755 | 5.4733 | 223.22 | 5.2177 | 160.117 | 4.195 | 352.92 | 19.01 | 972.911 | 38.7515 | 9.4292
2019-05-28 01:00:00 | 0 | 169.908 | 5.2177 | 216.352 | 3.9393 | 162.894 | 3.5637 | 356.233 | 18.93 | 972.862 | 39.6725 | 8.1397
2019-05-28 01:15:00 | 0 | 168.203 | 4.962 | 213.234 | 4.7063 | 155.782 | 0 | 356.233 | 18.82 | 972.898 | 40.73 | 5.7898
2019-05-28 01:30:00 | 0 | 179.773 | 4.7063 | 228.238 | 4.195 | 166.986 | 0 | 5.6993 | 18.18 | 972.917 | 42.9473 | 5.9044
2019-05-28 01:45:00 | 0 | 189.442 | 4.962 | 231.964 | 3.6837 | 166.011 | 5.4733 | 13.6394 | 18.55 | 972.77 | 44.0048 | 3.4805
2019-05-28 02:00:00 | 0 | 195.482 | 3.9393 | 239.1 | 3.428 | 170.688 | 0 | 27.7903 | 18.72 | 972.77 | 44.7552 | 1.5481
2019-05-28 02:15:00 | 0 | 225.148 | 3.428 | 264.504 | 2.9167 | 170.688 | 0 | 51.8786 | 18.5 | 972.919 | 45.5057 | 0.13671
2019-05-28 02:30:00 | 0 | 225.294 | 2.1497 | 262.677 | 1.127 | 170.688 | 0 | 50.7338 | 18.26 | 973.067 | 45.4375 | 0.65399
2019-05-28 02:45:00 | 0 | 219.4 | 2.9167 | 256.832 | 2.1497 | 171.029 | 0 | 47.1535 | 17.99 | 972.77 | 49.6674 | 2.6529
2019-05-28 03:00:00 | 0 | 208.026 | 2.9167 | 277.851 | 2.1497 | 171.029 | 0 | 39.0429 | 17.77 | 972.77 | 49.8039 | 3.5212
2019-05-28 03:15:00 | 0 | 225.051 | 4.195 | 267.938 | 2.4053 | 178.384 | 4.4507 | 51.2696 | 17.96 | 972.77 | 48.0641 | 3.5951
2019-05-28 03:30:00 | 0 | 221.884 | 3.428 | 263.846 | 3.1723 | 178.36 | 0 | 46.3741 | 17.97 | 972.919 | 46.3926 | 3.5877
2019-05-28 03:45:00 | 0 | 206.862 | 2.661 | 254.185 | 2.661 | 178.389 | 0 | 36.8275 | 17.97 | 972.77 | 47.2809 | 2.8894
2019-05-28 04:00:00 | 0 | 217.065 | 3.6837 | 247.288 | 2.9167 | 178.387 | 0 | 47.3489 | 17.88 | 972.919 | 47.9624 | 2.8044
2019-05-28 04:15:00 | 0 | 228.131 | 3.9393 | 264.153 | 3.1723 | 178.393 | 0 | 55.2912 | 17.97 | 972.77 | 46.8043 | 2.8302
2019-05-28 04:30:00 | 0 | 230.17 | 3.9393 | 266.97 | 3.1723 | 178.388 | 0 | 57.9931 | 18.09 | 973.067 | 45.5066 | 3.1628
2019-05-28 04:45:00 | 0 | 224.129 | 2.9167 | 266.774 | 2.1497 | 178.388 | 0 | 58.3583 | 18.11 | 972.919 | 45.9841 | 2.4829
2019-05-28 05:00:00 | 0 | 231.603 | 3.1723 | 275.732 | 2.9167 | 178.384 | 0 | 56.2384 | 18.12 | 973.216 | 45.2329 | 4.1789
2019-05-28 05:15:00 | 0 | 223.957 | 3.9393 | 271.741 | 3.9393 | 178.484 | 0 | 56.4338 | 18.16 | 973.364 | 44.3464 | 5.6827
2019-05-28 05:30:00 | 0 | 233.77 | 4.962 | 281.968 | 2.9167 | 181.453 | 0 | 52.6824 | 18.34 | 973.513 | 43.6637 | 6.8687
2019-05-28 05:45:00 | 0 | 213.944 | 4.195 | 275.927 | 2.661 | 182.525 | 0 | 49.1507 | 18.45 | 973.661 | 42.5039 | 6.4882
2019-05-28 06:00:00 | 0 | 231.822 | 3.9393 | 248.648 | 3.1723 | 182.525 | 0.37567 | 47.2509 | 18.54 | 973.735 | 43.4249 | 5.8674
2019-05-28 06:15:00 | 0 | 213.262 | 3.1723 | 277.535 | 2.1497 | 182.574 | 0 | 48.9802 | 18.42 | 973.503 | 42.0263 | 5.7344
2019-05-28 06:30:00 | 0 | 217.598 | 4.7063 | 258.975 | 3.1723 | 182.574 | 0.63133 | 39.0672 | 18.48 | 973.825 | 42.0263 | 5.9265
2019-05-28 06:45:00 | 0.372 | 230.458 | 3.428 | 272.03 | 3.428 | 182.525 | 0 | 50.1249 | 18.69 | 973.724 | 41.8898 | 4.8365
2019-05-28 07:00:00 | 0 | 227.998 | 4.4507 | 276.439 | 2.9167 | 182.525 | 0 | 66.6628 | 18.82 | 973.959 | 40.8665 | 5.424
2019-05-28 07:15:00 | 0 | 242.871 | 3.428 | 279.814 | 2.1497 | 182.519 | 0 | 44.6189 | 18.92 | 974.106 | 39.0231 | 3.2995
2019-05-28 07:30:00 | 0.744 | 229.454 | 2.661 | 276.595 | 2.9167 | 182.501 | 1.2627 | 27.1779 | 19.13 | 974.403 | 40.9293 | 4.0606
2019-05-28 07:45:00 | 0 | 229.958 | 3.428 | 248.654 | 4.962 | 182.398 | 5.9847 | 26.2274 | 19.14 | 974.254 | 39.0864 | 4.4597
2019-05-28 08:00:00 | 0.372 | 235.849 | 4.962 | 263.457 | 4.4507 | 184.491 | 2.661 | 42.1533 | 19.68 | 974.254 | 37.3806 | 4.3747
2019-05-28 08:15:00 | 0 | 222.233 | 3.6837 | 238.075 | 5.2177 | 190.701 | 4.4507 | 38.3984 | 19.84 | 974.199 | 37.2396 | 3.0261
2019-05-28 08:30:00 | 0 | 228.285 | 5.4733 | 235.044 | 6.2403 | 180.077 | 5.729 | 48.5739 | 19.97 | 974.106 | 39.8295 | 3.3586
2019-05-28 08:45:00 | 0 | 204.241 | 6.2403 | 237.487 | 5.9847 | 178.02 | 0 | 20.1344 | 20.57 | 974.105 | 36.5536 | 5.5312
2019-05-28 09:00:00 | 0 | 185.815 | 5.2177 | 229.279 | 4.962 | 195.139 | 1.007 | 15.1418 | 21.01 | 974.105 | 35.5268 | 11.9159
2019-05-28 09:15:00 | 0 | 210.374 | 5.729 | 242.638 | 4.7063 | 177.023 | 5.4733 | 40.4096 | 21.29 | 974.55 | 37.2989 | 10.6448
2019-05-28 09:30:00 | 4.946 | 195.655 | 7.263 | 245.247 | 5.729 | 184.191 | 2.661 | 24.4143 | 21.77 | 974.698 | 30.8868 | 10.4601
2019-05-28 09:45:00 | 0 | 199.829 | 6.2403 | 245.083 | 5.2177 | 199.147 | 3.9393 | 34.3676 | 22.3 | 974.995 | 26.9986 | 11.842
2019-05-28 10:00:00 | 0 | 182.352 | 8.03 | 233.934 | 7.7743 | 185.443 | 5.4733 | 4.0647 | 22.51 | 974.55 | 26.6576 | 12.3408
2019-05-28 10:15:00 | 0.372 | 187.585 | 6.496 | 233.861 | 7.5187 | 178.506 | 4.195 | 20.4695 | 22.71 | 974.845 | 25.9076 | 11.9344
2019-05-28 10:30:00 | 3.414 | 210.287 | 6.7517 | 245.147 | 7.0073 | 193.518 | 5.9847 | 33.1981 | 23.39 | 974.52 | 25.2933 | 14.1291
2019-05-28 10:45:00 | 0 | 176.456 | 7.263 | 214.666 | 8.5413 | 186.896 | 0.37567 | 78.068 | 23.5 | 974.353 | 24.3354 | 19.2723
2019-05-28 11:00:00 | 0 | 202.592 | 6.2403 | 205.054 | 4.195 | 182.71 | 5.2177 | 30.6869 | 24.09 | 974.401 | 23.9946 | 15.256
2019-05-28 11:15:00 | 0 | 202.689 | 5.4733 | 287.551 | 5.9847 | 248.854 | 1.5183 | 12.6544 | 23.88 | 974.549 | 24.4717 | 12.4627
2019-05-28 11:30:00 | 0 | 221.671 | 4.4507 | 14.1352 | 3.6837 | 167.817 | 0 | 58.4779 | 23.86 | 974.253 | 24.3354 | 16.6157
2019-05-28 11:45:00 | 0 | 208.627 | 3.6837 | 253.554 | 6.496 | 265.645 | 1.774 | 50.9096 | 23.82 | 974.401 | 23.7219 | 12.6955
2019-05-28 12:00:00 | 8.2653 | 225.954 | 8.03 | 253.238 | 9.0527 | 195.535 | 4.962 | 54.0732 | 24.31 | 973.66 | 24.4035 | 12.6984
2019-05-28 12:15:00 | 0 | 230.845 | 4.4507 | 264.456 | 6.496 | 201.546 | 0 | 51.6153 | 24.12 | 973.66 | 24.6421 | 14.2325
2019-05-28 12:30:00 | 0 | 216.682 | 5.9847 | 257.423 | 6.2403 | 206.924 | 3.6837 | 40.8348 | 24.6 | 973.832 | 24.3695 | 19.7342
2019-05-28 12:45:00 | 0 | 247.174 | 6.7517 | 259.078 | 8.03 | 240.701 | 3.308 | 34.6536 | 24.31 | 973.666 | 24.0968 | 16.5603
2019-05-28 13:00:00 | 0 | 176.821 | 4.962 | 274.726 | 4.7063 | 235.518 | 0 | 2.8716 | 24.2 | 973.706 | 25.017 | 16.0208
2019-05-28 13:15:00 | 0 | 252.188 | 6.7517 | 305.194 | 5.729 | 235.007 | 2.1497 | 56.2147 | 24.54 | 973.538 | 25.1534 | 18.224
2019-05-28 13:30:00 | 0.88267 | 253.404 | 6.496 | 290.617 | 5.4733 | 234.885 | 5.729 | 68.4311 | 24.44 | 973.384 | 26.8235 | 22.87
2019-05-28 13:45:00 | 0 | 230.31 | 4.962 | 277.451 | 3.9393 | 234.204 | 3.428 | 48.2327 | 24.26 | 973.523 | 25.2215 | 16.5603
2019-05-28 14:00:00 | 0 | 246.371 | 4.7063 | 295.727 | 6.7517 | 246.834 | 0 | 55.509 | 24.32 | 973.808 | 25.0852 | 16.697
2019-05-28 14:15:00 | 0 | 264.453 | 7.5187 | 310.061 | 5.2177 | 255.74 | 0 | 91.209 | 24.7 | 973.363 | 25.5624 | 16.1206
2019-05-28 14:30:00 | 0 | 236.294 | 5.729 | 284.19 | 6.2403 | 238.533 | 4.7063 | 61.5193 | 24.91 | 973.66 | 26.6869 | 17.7722
2019-05-28 14:45:00 | 0.372 | 254.558 | 8.797 | 307.9 | 8.2857 | 280.498 | 4.195 | 65.726 | 24.82 | 973.808 | 24.6748 | 17.4101
2019-05-28 15:00:00 | 0 | 268.823 | 7.0073 | 296.104 | 3.6837 | 236.239 | 0 | 92.9819 | 24.99 | 973.363 | 24.0277 | 14.6907
2019-05-28 15:15:00 | 0 | 223.587 | 6.496 | 281.848 | 4.962 | 236.923 | 0 | 48.134 | 25 | 973.363 | 24.5392 | 13.1684
2019-05-28 15:30:00 | 0.372 | 215.185 | 5.4733 | 234.728 | 4.962 | 169.316 | 1.5183 | 48.4733 | 25.16 | 973.066 | 24.4703 | 16.1723
2019-05-28 15:45:00 | 0 | 224.904 | 5.729 | 273.845 | 5.729 | 197.089 | 1.5183 | 47.0638 | 25.19 | 972.757 | 23.7896 | 14.2954
2019-05-28 16:00:00 | 0 | 240.495 | 5.9847 | 274.006 | 6.2403 | 237.843 | 3.6837 | 58.7428 | 25.44 | 972.701 | 22.971 | 13.2645
2019-05-28 16:15:00 | 0 | 270.297 | 3.6837 | 297.748 | 1.3827 | 130.72 | 0 | 11.6801 | 25.48 | 972.677 | 22.5614 | 14.9641
2019-05-28 16:30:00 | 0 | 186.467 | 7.0073 | 236.002 | 6.2403 | 199.702 | 5.2177 | 15.7173 | 25.23 | 972.051 | 23.1716 | 17.6059
2019-05-28 16:45:00 | 0 | 221.225 | 5.9847 | 219.425 | 6.2403 | 217.454 | 3.428 | 31.7044 | 25.07 | 971.778 | 24.9452 | 19.5236
2019-05-28 17:00:00 | 6.9887 | 216.916 | 7.0073 | 258.531 | 7.5187 | 226.626 | 5.4733 | 40.5896 | 24.97 | 972.138 | 24.4025 | 20.451
2019-05-28 17:15:00 | 3.1587 | 209.329 | 4.195 | 246.564 | 4.7063 | 236.073 | 3.9393 | 37.9138 | 25.19 | 971.878 | 23.5169 | 18.1491
2019-05-28 17:30:00 | 5.9673 | 230.892 | 7.0073 | 270.44 | 6.2403 | 227.388 | 1.2627 | 53.732 | 25.03 | 971.88 | 25.9711 | 19.627
2019-05-28 17:45:00 | 0 | 230.393 | 5.729 | 245.653 | 5.729 | 172.089 | 0.63133 | 36.5982 | 24.49 | 971.435 | 25.5608 | 16.309
2019-05-28 18:00:00 | 0 | 225.802 | 4.195 | 282.042 | 4.4507 | 178.811 | 0.37567 | 40.2496 | 24.38 | 971.732 | 28.0156 | 13.379
2019-05-28 18:15:00 | 0 | 222.474 | 5.9847 | 263.848 | 5.9847 | 206.121 | 3.6837 | 45.4828 | 24.15 | 971.583 | 29.4478 | 15.426
2019-05-28 18:30:00 | 5.2013 | 205.196 | 8.5413 | 258.372 | 9.3083 | 222.133 | 3.9393 | 32.074 | 23.82 | 970.842 | 28.5617 | 15.6366
2019-05-28 18:45:00 | 0 | 183.635 | 5.4733 | 272.608 | 5.2177 | 255.327 | 1.5183 | 36.9654 | 23.44 | 970.839 | 29.2433 | 23.477
2019-05-28 19:00:00 | 7.244 | 218.276 | 6.7517 | 266.646 | 5.729 | 198.196 | 1.3827 | 41.1824 | 23.01 | 971.137 | 31.2936 | 23.3182
2019-05-28 19:15:00 | 9.2867 | 202.703 | 9.0527 | 243.146 | 6.2403 | 190.215 | 1.5183 | 15.6768 | 22.51 | 970.396 | 30.4115 | 19.3203
2019-05-28 19:30:00 | 2.0207 | 196.843 | 7.0073 | 240.526 | 6.7517 | 194.749 | 4.7063 | 23.8325 | 22.3 | 970.396 | 28.6396 | 16.527
2019-05-28 19:45:00 | 0 | 192.027 | 7.0073 | 235.841 | 5.729 | 192.757 | 0.887 | 17.4083 | 22.07 | 970.545 | 29.9738 | 16.7931
2019-05-28 20:00:00 | 0.372 | 194.588 | 5.729 | 240.96 | 4.4507 | 188.769 | 2.541 | 18.3096 | 21.72 | 970.396 | 30.4859 | 13.3273
2019-05-28 20:15:00 | 0 | 180.395 | 5.2177 | 217.589 | 5.2177 | 176.086 | 5.2177 | 9.0575 | 21.55 | 970.436 | 31.032 | 12.6622
2019-05-28 20:30:00 | 0 | 178.596 | 5.729 | 235.732 | 5.4733 | 182.857 | 4.4507 | 4.9671 | 21.56 | 970.567 | 31.5779 | 16.8263
2019-05-28 20:45:00 | 0 | 176.84 | 5.729 | 222.905 | 4.962 | 181.637 | 5.9847 | 5.1138 | 21.41 | 970.689 | 30.9679 | 16.0172
2019-05-28 21:00:00 | 0 | 183.563 | 7.0073 | 224.199 | 7.263 | 188.701 | 2.541 | 11.1531 | 21.24 | 970.693 | 31.7868 | 14.8607
2019-05-28 21:15:00 | 0 | 185.976 | 7.263 | 231.215 | 7.0073 | 171.925 | 2.9167 | 6.575 | 21.02 | 970.693 | 32.7421 | 14.2806
2019-05-28 21:30:00 | 0 | 165.813 | 4.4507 | 209.152 | 4.4507 | 179.864 | 1.6383 | 2.7274 | 20.96 | 970.99 | 33.4243 | 12.6733
2019-05-28 21:45:00 | 0 | 177.039 | 5.9847 | 226.101 | 5.2177 | 182.469 | 4.962 | 354.711 | 20.78 | 970.693 | 34.1064 | 14.1217
2019-05-28 22:00:00 | 0 | 191.65 | 6.496 | 222.984 | 4.4507 | 171.925 | 0.75133 | 9.7408 | 20.64 | 970.693 | 34.8226 | 19.8155
2019-05-28 22:15:00 | 5.2013 | 181.227 | 6.7517 | 205.938 | 5.4733 | 194.134 | 2.1497 | 2.0456 | 20.44 | 970.693 | 34.2428 | 18.8881
2019-05-28 22:30:00 | 0 | 174.287 | 6.7517 | 223.374 | 7.263 | 173.946 | 0 | 5.5522 | 20.46 | 970.693 | 34.5839 | 19.7231
2019-05-28 22:45:00 | 10.5633 | 181.325 | 6.7517 | 217.359 | 6.496 | 175.724 | 5.729 | 4.0911 | 20.46 | 970.396 | 34.5839 | 21.8291
2019-05-28 23:00:00 | 9.0313 | 185.661 | 7.263 | 214.609 | 8.5413 | 172.413 | 4.195 | 0.19482 | 20.4 | 970.099 | 33.561 | 21.2232
2019-05-28 23:15:00 | 5.0847 | 179.43 | 6.7517 | 214.589 | 6.2403 | 165.038 | 5.729 | 350.02 | 20.12 | 970.099 | 34.653 | 19.9152
2019-05-28 23:30:00 | 3.9247 | 176.231 | 9.0527 | 215.145 | 8.2857 | 165.272 | 1.774 | 2.6547 | 20.02 | 969.506 | 35.2019 | 25.4538
2019-05-28 23:45:00 | 5.9673 | 177.208 | 9.0527 | 214.005 | 9.564 | 167.905 | 3.6837 | 1.096 | 19.82 | 969.209 | 35.8847 | 28.8567