## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-30 00:00:00 | 3.1587 | 175.962 | 7.263 | 210.817 | 6.7517 | 169.412 | 2.4053 | 354.285 | 22.23 | 965.829 | 36.5558 | 31.1069
2019-05-30 00:15:00 | 0.372 | 158.529 | 7.7743 | 207.969 | 8.03 | 183.607 | 1.2627 | 347.565 | 21.56 | 965.515 | 38.1245 | 32.1304
2019-05-30 00:30:00 | 0.99933 | 168.073 | 8.5413 | 210.963 | 7.5187 | 158.602 | 4.7063 | 3.3843 | 21.74 | 965.533 | 36.8968 | 35.9361
2019-05-30 00:45:00 | 11.074 | 179.322 | 7.7743 | 216.198 | 7.263 | 176.57 | 4.195 | 356.793 | 21.7 | 965.114 | 36.0784 | 35.8769
2019-05-30 01:00:00 | 4.946 | 189.426 | 11.6093 | 211.621 | 11.098 | 175.694 | 4.4507 | 8.0591 | 21.95 | 964.499 | 35.1236 | 37.7872
2019-05-30 01:15:00 | 4.6907 | 166.977 | 11.3537 | 224.72 | 12.632 | 210.998 | 4.962 | 345.763 | 21.94 | 964.771 | 35.942 | 38.9474
2019-05-30 01:30:00 | 2.3927 | 175.45 | 11.6093 | 225.791 | 11.098 | 168.17 | 3.9393 | 356.793 | 21.91 | 964.612 | 35.3282 | 37.2736
2019-05-30 01:45:00 | 3.6693 | 197.144 | 9.3083 | 219.875 | 9.3083 | 184.24 | 4.962 | 3.9687 | 22.18 | 964.612 | 35.8738 | 37.1591
2019-05-30 02:00:00 | 0.744 | 162.546 | 9.564 | 211.109 | 9.564 | 186.334 | 3.6837 | 0.19478 | 21.83 | 964.76 | 38.1245 | 35.2119
2019-05-30 02:15:00 | 1.7653 | 182 | 9.8197 | 221.287 | 13.6547 | 162.327 | 3.6837 | 6.0383 | 21.41 | 964.018 | 40.7843 | 34.4323
2019-05-30 02:30:00 | 0 | 167.537 | 10.331 | 220.654 | 9.8197 | 171.287 | 5.9847 | 3.8226 | 21.03 | 964.379 | 42.7621 | 31.0367
2019-05-30 02:45:00 | 0 | 175.239 | 8.797 | 200.284 | 8.2857 | 164.476 | 2.2853 | 1.2661 | 20.95 | 964.432 | 43.6506 | 31.5688
2019-05-30 03:00:00 | 0.372 | 186.622 | 13.6547 | 235.193 | 12.1207 | 173.4 | 4.4507 | 10.1541 | 20.8 | 964.159 | 43.9263 | 46.8617
2019-05-30 03:15:00 | 6.7333 | 195.563 | 13.6547 | 237.561 | 13.9103 | 190.377 | 4.7063 | 18.6529 | 20.82 | 963.718 | 39.562 | 57.123
2019-05-30 03:30:00 | 1.51 | 185.44 | 10.5867 | 230.825 | 12.8877 | 195.084 | 4.7063 | 0.24352 | 20.35 | 964.312 | 41.4734 | 35.0822
2019-05-30 03:45:00 | 0.99933 | 175.237 | 5.2177 | 220.987 | 6.496 | 165.399 | 2.661 | 11.0558 | 20.08 | 964.461 | 44.4065 | 16.1132
2019-05-30 04:00:00 | 13.1167 | 171 | 6.7517 | 223.836 | 5.9847 | 173.97 | 7.5187 | 0.43834 | 20 | 964.461 | 46.3847 | 18.6774
2019-05-30 04:15:00 | 0 | 183.29 | 6.2403 | 236.134 | 7.263 | 166.461 | 5.9847 | 2.4841 | 20.08 | 964.609 | 47.4124 | 18.8363
2019-05-30 04:30:00 | 5.4567 | 186.982 | 10.331 | 230.746 | 9.564 | 182.866 | 1.007 | 9.8155 | 19.44 | 964.32 | 48.7805 | 19.5716
2019-05-30 04:45:00 | 0 | 166.109 | 8.03 | 208.875 | 7.5187 | 158.071 | 5.729 | 349.34 | 18.59 | 964.599 | 59.8328 | 37.5655
2019-05-30 05:00:00 | 0 | 184.059 | 6.7517 | 217.326 | 5.9847 | 180.235 | 4.195 | 2.2164 | 17.67 | 964.161 | 63.3805 | 27.0906
2019-05-30 05:15:00 | 0 | 142.343 | 5.9847 | 199.75 | 5.4733 | 151.161 | 5.9847 | 320.808 | 18.01 | 964.161 | 59.5625 | 35.0604
2019-05-30 05:30:00 | 7.4993 | 128.263 | 9.0527 | 172.686 | 7.0073 | 140.027 | 4.4507 | 316.345 | 18.32 | 963.716 | 55.6043 | 53.3058
2019-05-30 05:45:00 | 1.51 | 138.733 | 11.098 | 193.116 | 10.8423 | 146.332 | 5.729 | 327.493 | 18.63 | 963.271 | 59.9011 | 56.5053
2019-05-30 06:00:00 | 6.478 | 155.66 | 9.8197 | 193.482 | 10.8423 | 153.833 | 5.9847 | 312.489 | 18.04 | 963.271 | 62.1525 | 61.6986
2019-05-30 06:15:00 | 4.946 | 127.456 | 12.8877 | 194.724 | 11.098 | 138.586 | 5.729 | 322.768 | 18.13 | 962.677 | 61.1291 | 65.8569
2019-05-30 06:30:00 | 5.4567 | 146.21 | 12.1207 | 193.847 | 12.1207 | 149.084 | 6.496 | 323.157 | 18.15 | 962.677 | 64.6086 | 71.9978
2019-05-30 06:45:00 | 5.2013 | 148.451 | 11.098 | 197.866 | 12.632 | 151.739 | 3.428 | 328.54 | 17.82 | 963.271 | 61.4703 | 57.3496
2019-05-30 07:00:00 | 5.4567 | 141.022 | 10.8423 | 187.49 | 9.3083 | 135.42 | 5.9847 | 317.994 | 18.32 | 963.271 | 58.8777 | 69.2837
2019-05-30 07:15:00 | 4.6907 | 143.969 | 11.098 | 186.102 | 10.0753 | 137.929 | 5.729 | 329.466 | 17.92 | 963.122 | 63.6534 | 69.0197
2019-05-30 07:30:00 | 8.01 | 156.805 | 10.0753 | 206.926 | 9.564 | 152.153 | 3.9393 | 339.841 | 18.4 | 963.544 | 54.0338 | 53.2752
2019-05-30 07:45:00 | 3.1587 | 149.595 | 10.0753 | 202.274 | 10.331 | 150.911 | 5.9847 | 328.369 | 18.73 | 963.511 | 50.0085 | 58.216
2019-05-30 08:00:00 | 6.478 | 140.705 | 14.166 | 194.797 | 13.399 | 152.007 | 7.263 | 301.432 | 18.89 | 963.254 | 54.8525 | 62.0438
2019-05-30 08:15:00 | 5.4567 | 130.111 | 11.3537 | 186.589 | 12.632 | 133.326 | 4.195 | 324.351 | 18.4 | 962.728 | 54.716 | 59.7626
2019-05-30 08:30:00 | 3.9247 | 140.681 | 11.3537 | 196.916 | 10.8423 | 146.283 | 4.195 | 323.109 | 18.22 | 963.601 | 60.3104 | 49.559
2019-05-30 08:45:00 | 6.2227 | 141.217 | 8.03 | 187.125 | 5.729 | 135.761 | 4.962 | 330.245 | 18.26 | 964.072 | 59.0142 | 34.8018
2019-05-30 09:00:00 | 0.372 | 155.872 | 6.7517 | 199.097 | 7.7743 | 143.792 | 4.962 | 346.133 | 18.53 | 964.184 | 57.8516 | 27.0019
2019-05-30 09:15:00 | 3.9247 | 144.39 | 7.5187 | 197.815 | 7.7743 | 148.189 | 4.7063 | 327.842 | 18.53 | 964.016 | 59.4845 | 29.1117
2019-05-30 09:30:00 | 2.3927 | 156.997 | 11.098 | 210.175 | 12.1207 | 165.447 | 3.1723 | 336.447 | 18.74 | 963.868 | 57.367 | 47.7743
2019-05-30 09:45:00 | 6.478 | 133.74 | 8.03 | 184.189 | 5.4733 | 133.837 | 5.9847 | 321.906 | 18.97 | 964.461 | 57.7757 | 32.3705
2019-05-30 10:00:00 | 2.648 | 153.299 | 6.7517 | 218.178 | 7.263 | 179.985 | 2.4053 | 345.775 | 19.21 | 964.556 | 57.5296 | 48.9991
2019-05-30 10:15:00 | 0.62733 | 154.414 | 7.7743 | 196.404 | 7.263 | 159.795 | 5.9847 | 334.685 | 19.68 | 964.619 | 55.7886 | 39.8642
2019-05-30 10:30:00 | 2.276 | 197.327 | 9.8197 | 235.466 | 8.2857 | 175.61 | 4.195 | 81.7305 | 20.08 | 963.87 | 53.3982 | 59.0876
2019-05-30 10:45:00 | 5.2013 | 150.446 | 8.5413 | 211.487 | 8.5413 | 156.118 | 5.4733 | 335.777 | 19.69 | 963.87 | 56.1889 | 65.0436
2019-05-30 11:00:00 | 0 | 169.213 | 8.03 | 201.601 | 7.7743 | 136.933 | 1.007 | 352.399 | 19.82 | 964.167 | 54.8926 | 63.943
2019-05-30 11:15:00 | 9.0313 | 157.056 | 9.3083 | 217.763 | 10.5867 | 168.206 | 3.9393 | 336.632 | 19.73 | 963.87 | 53.6021 | 67.2373
2019-05-30 11:30:00 | 4.4353 | 151.519 | 8.2857 | 203.408 | 8.797 | 156.558 | 3.428 | 334.15 | 19.89 | 963.87 | 52.3368 | 66.7983
2019-05-30 11:45:00 | 0.744 | 141.098 | 13.399 | 211.998 | 12.1207 | 136.789 | 5.729 | 322.484 | 20.06 | 963.573 | 50.8018 | 69.1564
2019-05-30 12:00:00 | 3.9247 | 134.8 | 12.1207 | 184.476 | 11.865 | 142.858 | 3.6837 | 322.087 | 19.96 | 963.425 | 52.2024 | 65.2077
2019-05-30 12:15:00 | 0 | 143.506 | 6.496 | 184.107 | 6.7517 | 155.314 | 0.75133 | 351.533 | 20.46 | 963.573 | 52.3101 | 60.2399
2019-05-30 12:30:00 | 5.2013 | 148.497 | 13.1433 | 206.922 | 11.865 | 146.209 | 5.9847 | 344.035 | 20.13 | 963.277 | 50.0938 | 51.7406
2019-05-30 12:45:00 | 6.478 | 167.123 | 12.3763 | 216.295 | 9.564 | 181.22 | 2.9167 | 340.673 | 20.37 | 963.425 | 49.7184 | 45.2951
2019-05-30 13:00:00 | 0.88267 | 153.387 | 7.5187 | 204.578 | 8.2857 | 159.06 | 2.2853 | 343.733 | 20.8 | 963.87 | 52.3771 | 29.8965
2019-05-30 13:15:00 | 0 | 135.845 | 6.2403 | 179.044 | 4.962 | 141.566 | 1.5183 | 303.8 | 20.8 | 963.87 | 49.5763 | 30.8557
2019-05-30 13:30:00 | 5.4567 | 133.963 | 5.9847 | 185.704 | 4.4507 | 136.665 | 1.007 | 313.328 | 21.02 | 964.315 | 51.5172 | 24.6505
2019-05-30 13:45:00 | 1.2547 | 150.347 | 9.564 | 201.844 | 8.2857 | 167.29 | 4.7063 | 336.405 | 21.2 | 964.167 | 52.5742 | 19.2575
2019-05-30 14:00:00 | 0 | 127.12 | 4.962 | 185.238 | 4.4507 | 155.188 | 0 | 311.375 | 21.03 | 964.167 | 51.2777 | 19.4312
2019-05-30 14:15:00 | 0 | 131.539 | 5.4733 | 162.241 | 4.7063 | 107.879 | 0.37567 | 324.416 | 21.32 | 964.612 | 48.6819 | 18.5555
2019-05-30 14:30:00 | 0 | 128.829 | 7.0073 | 176.566 | 8.03 | 134.208 | 1.007 | 319.724 | 21.78 | 965.057 | 50.5199 | 12.4701
2019-05-30 14:45:00 | 0 | 152.585 | 7.0073 | 197.79 | 6.7517 | 150.053 | 0.37567 | 335.277 | 21.62 | 965.057 | 50.1449 | 14.1845
2019-05-30 15:00:00 | 0 | 142.399 | 5.9847 | 201.642 | 5.9847 | 158.364 | 5.2177 | 335.833 | 21.6 | 965.345 | 49.5954 | 11.3247
2019-05-30 15:15:00 | 0 | 141.389 | 5.9847 | 191.621 | 5.729 | 129.026 | 5.9847 | 313.537 | 22.04 | 965.152 | 49.6933 | 7.1126
2019-05-30 15:30:00 | 0 | 140.415 | 4.7063 | 202.888 | 4.962 | 170.859 | 0 | 323.661 | 22.01 | 965.356 | 50.4431 | 5.1691
2019-05-30 15:45:00 | 0 | 136.57 | 6.7517 | 184.149 | 4.7063 | 134.088 | 1.894 | 325.705 | 21.82 | 965.504 | 48.9434 | 5.4499
2019-05-30 16:00:00 | 0 | 160.222 | 6.2403 | 210.453 | 7.263 | 169.883 | 1.2627 | 336.14 | 22.3 | 965.059 | 47.6817 | 7.4562
2019-05-30 16:15:00 | 0 | 128.295 | 4.962 | 174.487 | 6.2403 | 117.466 | 6.2403 | 313.681 | 22.3 | 965.059 | 47.7162 | 4.988
2019-05-30 16:30:00 | 0 | 140.366 | 4.4507 | 191.23 | 4.7063 | 160.832 | 1.3827 | 326.093 | 22.38 | 965.504 | 49.0796 | 5.3021
2019-05-30 16:45:00 | 0 | 140.366 | 5.729 | 195.878 | 5.9847 | 150.66 | 0.75133 | 324.121 | 22.49 | 965.652 | 48.6024 | 3.8094
2019-05-30 17:00:00 | 0 | 147.764 | 3.6837 | 201.548 | 3.9393 | 169.812 | 0 | 328.429 | 22.48 | 965.356 | 47.9207 | 3.3956
2019-05-30 17:15:00 | 0 | 142.63 | 5.2177 | 193.957 | 5.2177 | 146.012 | 2.7967 | 327.846 | 22.51 | 964.911 | 49.4887 | 5.424
2019-05-30 17:30:00 | 0 | 143.36 | 5.729 | 194.541 | 5.2177 | 151.512 | 5.9847 | 325.51 | 22.28 | 965.059 | 50.5794 | 5.5497
2019-05-30 17:45:00 | 0 | 155.99 | 5.9847 | 180.231 | 3.6837 | 154.067 | 4.962 | 312.296 | 22.14 | 964.763 | 51.5337 | 8.6533
2019-05-30 18:00:00 | 0 | 145.307 | 3.9393 | 197.023 | 2.661 | 153.313 | 0 | 322.03 | 22.12 | 964.911 | 51.3292 | 6.9204
2019-05-30 18:15:00 | 0 | 177.032 | 5.4733 | 220.992 | 6.496 | 185.721 | 0 | 355.841 | 22.06 | 964.288 | 55.6971 | 15.2412
2019-05-30 18:30:00 | 0 | 180.161 | 5.4733 | 223.006 | 6.2403 | 187.658 | 1.774 | 353.361 | 21.42 | 963.87 | 58.8376 | 25.572
2019-05-30 18:45:00 | 0 | 148.593 | 7.263 | 206.248 | 6.496 | 159.693 | 4.7063 | 328.686 | 21.01 | 963.87 | 59.9382 | 26.1706
2019-05-30 19:00:00 | 0 | 155.495 | 7.0073 | 206.438 | 7.263 | 156.201 | 1.5183 | 336.382 | 20.75 | 963.425 | 60.5569 | 25.0991
2019-05-30 19:15:00 | 0 | 130.358 | 5.729 | 192.143 | 5.9847 | 141.631 | 2.0297 | 315.256 | 20.45 | 963.425 | 62.5405 | 17.3214
2019-05-30 19:30:00 | 0 | 142.151 | 4.195 | 168.926 | 4.4507 | 104.629 | 0.63133 | 341.035 | 20.31 | 964.259 | 58.4518 | 10.1904
2019-05-30 19:45:00 | 0 | 143.968 | 4.962 | 195.489 | 4.4507 | 143.919 | 2.1497 | 327.751 | 20.23 | 964.312 | 60.3679 | 11.4873
2019-05-30 20:00:00 | 0 | 150.787 | 4.962 | 199.363 | 4.7063 | 150.3 | 4.962 | 332.477 | 20.02 | 964.461 | 61.3233 | 12.8396
2019-05-30 20:15:00 | 0 | 141.95 | 3.6837 | 188.456 | 2.9167 | 159.654 | 0.37567 | 326.98 | 19.85 | 964.757 | 61.7337 | 13.8778
2019-05-30 20:30:00 | 0 | 150.919 | 4.7063 | 202.835 | 4.195 | 154.085 | 2.0297 | 332.255 | 19.75 | 965.054 | 61.9412 | 12.0969
2019-05-30 20:45:00 | 0 | 150.712 | 5.2177 | 190.334 | 3.9393 | 152.952 | 1.774 | 333.085 | 19.71 | 965.054 | 62.3896 | 10.8222
2019-05-30 21:00:00 | 0 | 162.309 | 5.9847 | 215.645 | 6.496 | 160.604 | 0 | 330.853 | 19.63 | 965.222 | 63.4487 | 8.7346
2019-05-30 21:15:00 | 0 | 154.564 | 4.962 | 204.027 | 5.2177 | 155.489 | 3.428 | 336.285 | 19.44 | 965.37 | 66.3823 | 10.6781
2019-05-30 21:30:00 | 0 | 155.806 | 4.7063 | 214.208 | 5.2177 | 176.094 | 0.37567 | 337.648 | 19.15 | 965.361 | 65.9728 | 13.7227
2019-05-30 21:45:00 | 0 | 149.595 | 5.4733 | 204.32 | 4.962 | 165.89 | 4.962 | 337.113 | 19.14 | 965.878 | 67.1329 | 12.6253
2019-05-30 22:00:00 | 0 | 175.535 | 6.496 | 207.218 | 6.496 | 169.714 | 0.37567 | 353.895 | 18.9 | 965.818 | 67.2011 | 13.4382
2019-05-30 22:15:00 | 0 | 161.554 | 6.2403 | 212.114 | 6.2403 | 169.275 | 0 | 343.519 | 19.07 | 965.796 | 67.2011 | 12.7916
2019-05-30 22:30:00 | 0.372 | 159.094 | 6.496 | 210.653 | 5.729 | 159.192 | 5.4733 | 346.515 | 18.84 | 966.015 | 68.2927 | 11.3875
2019-05-30 22:45:00 | 0 | 163.819 | 5.9847 | 213.332 | 5.9847 | 160.409 | 5.729 | 343.592 | 18.69 | 965.903 | 69.5207 | 14.1439
2019-05-30 23:00:00 | 0 | 170.054 | 7.0073 | 215.426 | 5.729 | 157.657 | 4.7063 | 355.356 | 18.65 | 966.09 | 70.4076 | 15.5627
2019-05-30 23:15:00 | 0 | 156.22 | 6.7517 | 212.504 | 5.9847 | 152.031 | 5.4733 | 343.86 | 18.46 | 965.942 | 71.0217 | 17.5579
2019-05-30 23:30:00 | 0 | 163.746 | 6.2403 | 210.847 | 4.962 | 167.205 | 5.4733 | 349.316 | 18.35 | 966.239 | 71.4992 | 15.3077
2019-05-30 23:45:00 | 0 | 175.632 | 5.729 | 218.714 | 5.729 | 164.964 | 2.9167 | 352.117 | 18.1 | 966.239 | 72.6932 | 14.5799