## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-31 00:00:00 | 0 | 166.06 | 5.729 | 208.972 | 5.2177 | 160.726 | 5.729 | 351.46 | 18.09 | 966.239 | 74.6377 | 13.1869
2019-05-31 00:15:00 | 0 | 161.822 | 4.962 | 212.601 | 4.4507 | 162.358 | 0.37567 | 345.833 | 18.01 | 966.239 | 73.1366 | 11.8531
2019-05-31 00:30:00 | 0 | 158.364 | 5.2177 | 210.263 | 4.7063 | 166.377 | 0.75133 | 337.211 | 18.18 | 966.234 | 72.7955 | 10.9848
2019-05-31 00:45:00 | 0 | 160.921 | 4.195 | 212.017 | 3.6837 | 157.487 | 1.2627 | 350.534 | 18.2 | 966.239 | 72.7955 | 9.566
2019-05-31 01:00:00 | 0 | 163.576 | 3.6837 | 220.127 | 3.1723 | 177.045 | 0.37567 | 344.712 | 18.24 | 966.239 | 73.7507 | 10.3456
2019-05-31 01:15:00 | 1.7653 | 166.888 | 5.2177 | 215.67 | 3.9393 | 166.328 | 4.962 | 351.605 | 18.12 | 966.685 | 73.8189 | 8.1656
2019-05-31 01:30:00 | 0 | 163.868 | 3.1723 | 205.928 | 2.4053 | 173.513 | 0 | 13.8343 | 18.13 | 966.833 | 70.9193 | 0.18105
2019-05-31 01:45:00 | 0 | 177.775 | 1.3827 | 207.925 | 1.6383 | 145.357 | 0 | 20.9463 | 18.7 | 966.833 | 71.2946 | -0.44338
2019-05-31 02:00:00 | 0 | 262.048 | 1.6383 | 306.786 | 0 | 202.4 | 0 | 85.1491 | 19.09 | 966.833 | 61.7432 | -0.32884
2019-05-31 02:15:00 | 0 | 253.45 | 1.6383 | 282.162 | 2.1497 | 213.189 | 0 | 87.4385 | 18.96 | 966.833 | 72.4544 | -0.25864
2019-05-31 02:30:00 | 0 | 226.366 | 1.127 | 283.113 | 0 | 212.581 | 0 | 87.463 | 18.13 | 966.833 | 73.0003 | -0.24016
2019-05-31 02:45:00 | 0 | 226.27 | 0 | 283.528 | 0 | 214.75 | 0 | 87.4391 | 18.14 | 966.833 | 73.5465 | -0.18474
2019-05-31 03:00:00 | 0 | 286.827 | 1.894 | 284.803 | 0 | 214.585 | 0 | 110.483 | 18.23 | 967.13 | 71.024 | -0.12932
2019-05-31 03:15:00 | 0 | 302.64 | 3.428 | 9.1853 | 2.661 | 233.197 | 0 | 116.063 | 19.03 | 967.13 | 61.9509 | 0.70202
2019-05-31 03:30:00 | 0 | 314.975 | 5.2177 | 13.6674 | 4.195 | 307.814 | 0 | 135.981 | 19.79 | 967.427 | 62.8351 | 2.4127
2019-05-31 03:45:00 | 0 | 299.873 | 2.1497 | 34.9475 | 2.1497 | 340.694 | 0 | 124.143 | 19.48 | 967.427 | 67.474 | 3.8944
2019-05-31 04:00:00 | 0 | 338.55 | 5.4733 | 24.3282 | 3.1723 | 0.68197 | 2.2853 | 149.595 | 18.62 | 967.427 | 70.4077 | 5.0693
2019-05-31 04:15:00 | 0 | 344.371 | 3.6837 | 32.0491 | 3.428 | 2.3138 | 0 | 162.602 | 18.05 | 967.127 | 74.6376 | 6.2221
2019-05-31 04:30:00 | 0 | 333.022 | 5.4733 | 30.4659 | 3.6837 | 5.334 | 0 | 153.444 | 17.39 | 966.981 | 77.7077 | 5.9154
2019-05-31 04:45:00 | 0 | 356.891 | 3.428 | 55.1143 | 3.1723 | 7.0146 | 0 | 170.396 | 17.1 | 966.833 | 79.618 | 4.7072
2019-05-31 05:00:00 | 0 | 354.581 | 3.6837 | 48.3929 | 3.428 | 2.5331 | 1.6383 | 160.923 | 16.8 | 966.833 | 80.3695 | 4.9289
2019-05-31 05:15:00 | 0 | 356.642 | 4.195 | 64.7639 | 3.428 | 7.7944 | 0 | 177.322 | 16.76 | 967.13 | 80.3045 | 6.3921
2019-05-31 05:30:00 | 0 | 352.25 | 4.4507 | 38.7976 | 4.195 | 6.1623 | 0.37567 | 173.835 | 16.9 | 967.427 | 80.9169 | 7.0239
2019-05-31 05:45:00 | 0 | 354.758 | 2.661 | 55.3116 | 3.9393 | 12.3246 | 1.007 | 169.597 | 17.13 | 967.724 | 80.1663 | 5.594
2019-05-31 06:00:00 | 0 | 7.2825 | 3.9393 | 59.7907 | 3.1723 | 13.5177 | 0 | 165.938 | 17.38 | 968.021 | 79.3451 | 6.0854
2019-05-31 06:15:00 | 2.1373 | 0.097425 | 4.195 | 48.8548 | 3.9393 | 2.5817 | 0.75133 | 179.846 | 17.7 | 968.422 | 78.1853 | 6.5583
2019-05-31 06:30:00 | 0 | 16.4638 | 6.496 | 62.2704 | 4.7063 | 16.0985 | 0.37567 | 196.689 | 17.98 | 968.026 | 70.2673 | 7.2123
2019-05-31 06:45:00 | 0 | 19.3599 | 7.263 | 64.7207 | 5.4733 | 8.2066 | 3.6837 | 200.028 | 18.35 | 968.171 | 58.7996 | 7.9033
2019-05-31 07:00:00 | 5.712 | 15.78 | 7.5187 | 70.5887 | 7.0073 | 35.8459 | 1.127 | 204.482 | 18.89 | 968.467 | 51.6367 | 10.5673
2019-05-31 07:15:00 | 9.542 | 14.8036 | 7.7743 | 62.9782 | 6.496 | 14.1462 | 2.2853 | 209.442 | 19.23 | 968.625 | 44.7063 | 7.7333
2019-05-31 07:30:00 | 5.9673 | 4.6748 | 8.03 | 68.7722 | 5.9847 | 14.8278 | 5.2177 | 205.837 | 19.97 | 968.767 | 39.5567 | 7.4488
2019-05-31 07:45:00 | 1.3713 | 34.2043 | 7.263 | 87.7498 | 3.6837 | 13.1218 | 0.75133 | 206.054 | 20.63 | 969.062 | 32.8688 | 7.1643
2019-05-31 08:00:00 | 3.9247 | 29.675 | 10.331 | 80.3934 | 7.7743 | 22.5909 | 4.7063 | 212.934 | 21.08 | 969.062 | 26.7303 | 9.481
2019-05-31 08:15:00 | 8.2653 | 19.6681 | 10.331 | 63.2241 | 7.0073 | 0.73025 | 1.5183 | 204.299 | 21.62 | 969.358 | 26.4554 | 11.2656
2019-05-31 08:30:00 | 5.4567 | 24.8263 | 7.0073 | 81.3986 | 5.729 | 34.3188 | 1.2627 | 214.626 | 21.78 | 969.653 | 25.4986 | 14.6944
2019-05-31 08:45:00 | 0.99933 | 0.1217 | 6.496 | 52.8231 | 3.9393 | 8.8838 | 0 | 195.444 | 22.25 | 969.951 | 26.8618 | 12.6327
2019-05-31 09:00:00 | 0 | 18.9816 | 7.263 | 87.4409 | 1.3827 | 330.645 | 1.007 | 206.583 | 22.65 | 969.757 | 23.3129 | 12.6918
2019-05-31 09:15:00 | 5.4567 | 19.59 | 7.263 | 60.7691 | 1.6383 | 356.976 | 0.37567 | 183.172 | 22.78 | 969.955 | 21.0634 | 9.444
2019-05-31 09:30:00 | 6.478 | 12.2407 | 7.5187 | 68.1914 | 6.7517 | 14.9419 | 5.729 | 186.652 | 23.32 | 969.804 | 19.3592 | 10.8592
2019-05-31 09:45:00 | 0 | 18.3975 | 5.9847 | 85.3235 | 4.195 | 332.616 | 1.007 | 187.066 | 23.61 | 970.397 | 19.2229 | 11.709
2019-05-31 10:00:00 | 0.372 | 335.037 | 3.6837 | 80.0147 | 5.9847 | 42.9017 | 2.0297 | 156.811 | 24.66 | 970.249 | 15.8481 | 9.4662
2019-05-31 10:15:00 | 0 | 34.8708 | 3.1723 | 96.8037 | 2.1497 | 9.8066 | 0 | 226.599 | 24.65 | 970.527 | 15.8138 | 8.9526
2019-05-31 10:30:00 | 0 | 15.9122 | 6.496 | 82.4802 | 1.894 | 11.0704 | 0 | 178.489 | 24.54 | 969.98 | 11.586 | 11.4873
2019-05-31 10:45:00 | 0 | 16.2262 | 3.9393 | 64.9746 | 1.3827 | 32.647 | 0 | 188.632 | 24.77 | 969.953 | 13.5264 | 11.6498
2019-05-31 11:00:00 | 0 | 300.269 | 5.729 | 3.6765 | 5.4733 | 294.893 | 0 | 131.05 | 25.42 | 970.398 | 14.6848 | 9.0856
2019-05-31 11:15:00 | 1.51 | 13.5015 | 6.7517 | 65.899 | 5.9847 | 330.192 | 0 | 162.894 | 25.63 | 969.805 | 11.8569 | 10.7668
2019-05-31 11:30:00 | 1.2547 | 330.119 | 4.195 | 319.728 | 2.4053 | 338.682 | 0.37567 | 166.543 | 25.73 | 969.953 | 12.6746 | 8.7088
2019-05-31 11:45:00 | 0 | 312.117 | 5.2177 | 19.8478 | 5.4733 | 318.855 | 0 | 175.496 | 25.88 | 969.805 | 12.4702 | 6.8983
2019-05-31 12:00:00 | 0 | 36.515 | 3.1723 | 98.3756 | 0.75133 | 13.4286 | 0 | 242.663 | 25.99 | 969.953 | 13.799 | 5.5829
2019-05-31 12:15:00 | 0 | 286.324 | 4.962 | 19.854 | 3.9393 | 298.464 | 0 | 91.5 | 25.54 | 969.672 | 15.2309 | 4.238
2019-05-31 12:30:00 | 0 | 312.624 | 4.7063 | 333.481 | 5.4733 | 287.535 | 0 | 140.75 | 25.55 | 969.95 | 16.0184 | 3.8352
2019-05-31 12:45:00 | 0 | 18.2996 | 3.428 | 76.2434 | 5.2177 | 319.586 | 0 | 176.718 | 25.87 | 969.211 | 16.0867 | 2.7637
2019-05-31 13:00:00 | 0 | 335.514 | 5.729 | 17.2793 | 6.2403 | 304.172 | 0 | 156.515 | 25.97 | 969.359 | 15.4046 | 3.6985
2019-05-31 13:15:00 | 0 | 16.8391 | 4.195 | 18.1993 | 4.7063 | 299.162 | 0.37567 | 218.227 | 25.69 | 969.062 | 15.6433 | 2.5679
2019-05-31 13:30:00 | 0 | 351.708 | 3.428 | 8.8548 | 2.661 | 298.439 | 0 | 193.849 | 26.34 | 969.211 | 16.6661 | 2.4201
2019-05-31 13:45:00 | 0 | 111.183 | 1.894 | 325.155 | 3.428 | 288.578 | 0 | 102.666 | 26.41 | 968.988 | 16.9385 | 0.6466
2019-05-31 14:00:00 | 0 | 271.947 | 4.7063 | 312.184 | 3.9393 | 248.834 | 0 | 102.351 | 26.44 | 969.079 | 15.4695 | 0.048033
2019-05-31 14:15:00 | 0 | 287.449 | 4.962 | 324.666 | 4.7063 | 267.404 | 0 | 111.929 | 25.76 | 968.916 | 16.1499 | 0.4323
2019-05-31 14:30:00 | 0 | 297.691 | 3.428 | 334.348 | 2.9167 | 271.539 | 0 | 117.792 | 26.31 | 968.768 | 15.7751 | 0.13671
2019-05-31 14:45:00 | 0 | 256.213 | 2.661 | 293.455 | 2.4053 | 266.722 | 0 | 84.8286 | 26.6 | 968.916 | 15.4003 | -0.17735
2019-05-31 15:00:00 | 0 | 306.012 | 2.4053 | 16.2539 | 3.6837 | 269.475 | 0 | 114.961 | 26.54 | 968.768 | 16.0124 | -1.1176e-08
2019-05-31 15:15:00 | 0 | 272.639 | 3.9393 | 12.4714 | 4.195 | 268.431 | 0 | 108.968 | 26.5 | 968.916 | 16.9308 | -0.25125
2019-05-31 15:30:00 | 0 | 286.622 | 4.7063 | 331.053 | 4.962 | 269.985 | 0 | 112.688 | 26.95 | 968.619 | 16.8966 | -0.24016
2019-05-31 15:45:00 | 0 | 306.664 | 3.428 | 2.5848 | 2.661 | 272.32 | 0 | 130.955 | 26.24 | 968.619 | 16.8285 | -0.2882
2019-05-31 16:00:00 | 0 | 309.607 | 2.661 | 5.8927 | 2.661 | 269.814 | 0 | 131.076 | 26.83 | 968.768 | 17.1351 | -0.2143
2019-05-31 16:15:00 | 0 | 267.893 | 2.1497 | 317.377 | 2.1497 | 270.155 | 0 | 117.81 | 26.88 | 968.768 | 18.5982 | -0.27711
2019-05-31 16:30:00 | 0 | 293.808 | 3.1723 | 328.212 | 3.428 | 268.297 | 0 | 123.958 | 26.54 | 968.323 | 18.7338 | -0.25125
2019-05-31 16:45:00 | 0 | 333.457 | 2.9167 | 24.0717 | 3.6837 | 269.295 | 0 | 148.876 | 26.69 | 968.175 | 18.429 | -0.27711
2019-05-31 17:00:00 | 0 | 321.428 | 3.9393 | 3.5446 | 3.6837 | 272.028 | 1.007 | 132.779 | 26.43 | 967.878 | 19.69 | -0.036949
2019-05-31 17:15:00 | 0 | 328.144 | 4.195 | 13.6658 | 4.4507 | 272.342 | 0 | 146.339 | 26.12 | 967.582 | 20.1686 | -0.059118
2019-05-31 17:30:00 | 0 | 6.0574 | 2.9167 | 76.8217 | 0.37567 | 271.441 | 0 | 199.506 | 26.07 | 967.285 | 21.4651 | -0.088676
2019-05-31 17:45:00 | 0 | 328.854 | 2.661 | 27.1945 | 1.6383 | 271.417 | 0 | 146.522 | 25.39 | 966.544 | 21.4651 | -0.18474
2019-05-31 18:00:00 | 0 | 356.943 | 1.3827 | 61.7407 | 0 | 271.479 | 0 | 150.024 | 25.22 | 966.652 | 21.6764 | -0.26233
2019-05-31 18:15:00 | 0 | 343.905 | 1.894 | 44.6342 | 1.3827 | 271.434 | 0 | 162.535 | 25 | 966.542 | 21.2677 | -0.25125
2019-05-31 18:30:00 | 0 | 314.559 | 1.127 | 30.3255 | 0 | 271.388 | 0 | 151.39 | 25.02 | 966.245 | 20.9271 | -0.24016
2019-05-31 18:45:00 | 0 | 354.664 | 0.75133 | 30.6176 | 0 | 271.388 | 0 | 151.439 | 24.97 | 966.51 | 21.4042 | -0.24016
2019-05-31 19:00:00 | 0 | 354.723 | 0 | 30.626 | 0 | 271.409 | 0 | 151.464 | 24.81 | 966.39 | 21.4759 | -0.24016
2019-05-31 19:15:00 | 1.138 | 236.193 | 1.894 | 293.934 | 1.6383 | 271.047 | 0 | 53.4501 | 24.72 | 966.391 | 21.5444 | -0.25864
2019-05-31 19:30:00 | 0 | 224.733 | 1.6383 | 257.703 | 0.37567 | 270.741 | 0 | 41.2855 | 24.73 | 966.391 | 21.6154 | -0.24016
2019-05-31 19:45:00 | 0 | 212.228 | 2.4053 | 257.274 | 1.894 | 270.507 | 0 | 46.2286 | 24.71 | 966.54 | 21.7525 | -0.24016
2019-05-31 20:00:00 | 2.3927 | 209.745 | 2.661 | 256.788 | 2.4053 | 269.338 | 0 | 31.9389 | 24.7 | 966.54 | 21.8207 | -0.24016
2019-05-31 20:15:00 | 1.51 | 198.059 | 2.4053 | 237.482 | 2.1497 | 267.926 | 0.37567 | 11.1494 | 24.71 | 966.54 | 21.8888 | -0.24016
2019-05-31 20:30:00 | 4.4353 | 177.879 | 2.1497 | 236.728 | 1.894 | 267.926 | 0 | 1.3633 | 24.66 | 966.985 | 22.298 | -0.24016
2019-05-31 20:45:00 | 6.9887 | 165.22 | 2.1497 | 234.341 | 1.6383 | 267.925 | 0 | 354.637 | 24.71 | 966.837 | 22.5706 | -0.24016
2019-05-31 21:00:00 | 5.2013 | 174.982 | 1.894 | 233.588 | 0 | 267.926 | 0 | 356.781 | 24.57 | 966.837 | 22.3662 | -0.25864
2019-05-31 21:15:00 | 0 | 176.54 | 3.6837 | 217.399 | 1.6383 | 265.005 | 0 | 356.805 | 24.86 | 966.985 | 22.5026 | 0.3584
2019-05-31 21:30:00 | 0 | 169.773 | 3.428 | 205.861 | 3.1723 | 177.417 | 0 | 356.051 | 24.75 | 966.985 | 22.4344 | 0.99761
2019-05-31 21:45:00 | 0 | 145.624 | 3.9393 | 187.311 | 3.9393 | 142.654 | 2.0297 | 334.336 | 24.62 | 967.133 | 24.3437 | 2.3499
2019-05-31 22:00:00 | 0 | 154.873 | 5.2177 | 198.944 | 4.7063 | 145.914 | 0 | 336.474 | 23.72 | 966.985 | 26.5253 | 5.7713
2019-05-31 22:15:00 | 0 | 159.889 | 5.4733 | 190.524 | 4.195 | 145.283 | 1.1427 | 347.457 | 23.85 | 966.837 | 26.5939 | 4.9252
2019-05-31 22:30:00 | 0 | 156.286 | 5.9847 | 196.22 | 5.4733 | 147.328 | 0.75133 | 342.71 | 23.85 | 966.688 | 27.5486 | 8.6459
2019-05-31 22:45:00 | 0.372 | 161.885 | 6.7517 | 205.52 | 5.4733 | 158.234 | 2.661 | 344.025 | 23.94 | 966.688 | 29.1851 | 11.8678
2019-05-31 23:00:00 | 0 | 165.245 | 6.496 | 203.329 | 5.729 | 149.105 | 2.661 | 341.493 | 23.95 | 966.688 | 31.1626 | 15.2302
2019-05-31 23:15:00 | 5.9673 | 150.079 | 6.496 | 197.973 | 5.4733 | 151.539 | 4.962 | 341.42 | 23.8 | 966.391 | 32.39 | 18.0863
2019-05-31 23:30:00 | 0 | 148.837 | 5.729 | 202.598 | 5.729 | 153.219 | 0.37567 | 334.579 | 23.6 | 966.243 | 32.6628 | 22.6974
2019-05-31 23:45:00 | 0 | 154.436 | 5.729 | 204.108 | 5.4733 | 159.378 | 5.729 | 336.259 | 23.42 | 965.947 | 32.0491 | 24.4562