## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-01 00:00:00 | 0 | 158.234 | 7.5187 | 206.688 | 7.0073 | 158.063 | 2.0297 | 339.375 | 23.48 | 965.65 | 33.2765 | 24.0276
2019-06-01 00:15:00 | 3.1587 | 159.743 | 6.2403 | 197.17 | 6.2403 | 151.272 | 5.729 | 339.765 | 23.6 | 965.798 | 36.4132 | 21.2897
2019-06-01 00:30:00 | 2.7867 | 157.552 | 7.5187 | 203.767 | 7.0073 | 154.972 | 5.9847 | 341.663 | 23.51 | 965.65 | 40.0955 | 22.8046
2019-06-01 00:45:00 | 1.3933 | 154.899 | 6.496 | 201.917 | 6.2403 | 167.314 | 5.2177 | 351.815 | 23.32 | 965.501 | 40.9137 | 21.9585
2019-06-01 01:00:00 | 6.478 | 147.133 | 7.0073 | 196.367 | 6.2403 | 160.254 | 4.962 | 333.216 | 23.07 | 965.205 | 43.4367 | 19.8155
2019-06-01 01:15:00 | 0 | 159.015 | 5.4733 | 207.081 | 5.9847 | 150.349 | 4.4507 | 350.53 | 22.85 | 964.76 | 44.2557 | 18.5038
2019-06-01 01:30:00 | 0.99933 | 153.847 | 5.729 | 208.153 | 5.2177 | 159.252 | 4.7063 | 339.71 | 22.47 | 964.908 | 45.8291 | 17.1034
2019-06-01 01:45:00 | 0 | 178.661 | 5.729 | 199.175 | 5.729 | 146.279 | 5.9847 | 2.4834 | 22.22 | 964.463 | 48.5924 | 14.3471
2019-06-01 02:00:00 | 0.372 | 159.356 | 6.7517 | 194.48 | 5.4733 | 146.403 | 2.9167 | 339.263 | 22.31 | 964.167 | 49.9915 | 21.7552
2019-06-01 02:15:00 | 0 | 156.897 | 8.03 | 198.303 | 8.5413 | 147.913 | 4.7063 | 349.927 | 22 | 963.87 | 50.3325 | 23.3403
2019-06-01 02:30:00 | 2.7867 | 159.722 | 8.03 | 201.03 | 6.7517 | 157.36 | 5.2177 | 347.711 | 22.26 | 963.87 | 51.6624 | 22.4831
2019-06-01 02:45:00 | 8.776 | 166.856 | 9.0527 | 202.344 | 7.0073 | 162.936 | 5.9847 | 351.826 | 22.17 | 963.574 | 51.6283 | 32.2597
2019-06-01 03:00:00 | 4.4353 | 159.941 | 8.03 | 204.706 | 7.5187 | 143.457 | 3.428 | 341.137 | 21.99 | 963.425 | 52.6513 | 26.8615
2019-06-01 03:15:00 | 0.372 | 157.433 | 7.0073 | 198.522 | 7.263 | 146.282 | 3.6837 | 339.555 | 21.78 | 963.573 | 53.6061 | 32.437
2019-06-01 03:30:00 | 0 | 143.676 | 4.7063 | 200.25 | 4.962 | 151.541 | 2.7967 | 348.515 | 21.87 | 963.277 | 54.254 | 32.4629
2019-06-01 03:45:00 | 6.478 | 148.765 | 5.729 | 200.737 | 4.962 | 141.096 | 5.9847 | 334.466 | 21.65 | 963.636 | 52.549 | 35.0678
2019-06-01 04:00:00 | 1.7653 | 161.353 | 8.2857 | 211.45 | 8.03 | 144.626 | 3.5637 | 349.635 | 21.82 | 963.06 | 50.4007 | 36.6233
2019-06-01 04:15:00 | 8.2653 | 161.645 | 8.5413 | 202.929 | 6.496 | 152.636 | 5.9847 | 349.61 | 21.8 | 963.182 | 53.2651 | 35.1601
2019-06-01 04:30:00 | 8.5207 | 158.017 | 9.564 | 200.396 | 9.564 | 148.156 | 1.894 | 345.496 | 21.67 | 962.761 | 52.7195 | 40.7357
2019-06-01 04:45:00 | 10.8187 | 165.298 | 6.496 | 208.334 | 7.263 | 149.642 | 2.1497 | 341.479 | 21.23 | 962.928 | 52.7196 | 37.6024
2019-06-01 05:00:00 | 6.2227 | 140.514 | 7.5187 | 197.065 | 5.2177 | 143.825 | 5.729 | 332.159 | 21.11 | 962.861 | 53.7435 | 38.8846
2019-06-01 05:15:00 | 0 | 128.423 | 4.962 | 189.216 | 3.6837 | 147.757 | 1.007 | 328.386 | 21.31 | 962.918 | 54.1569 | 38.7035
2019-06-01 05:30:00 | 0.372 | 155.546 | 4.962 | 218.627 | 4.7063 | 142.787 | 4.4507 | 331.034 | 21.31 | 962.97 | 53.8149 | 36.675
2019-06-01 05:45:00 | 4.946 | 158.351 | 8.5413 | 196.232 | 8.5413 | 143.765 | 2.4053 | 347.408 | 21.03 | 962.812 | 52.0431 | 38.8993
2019-06-01 06:00:00 | 7.244 | 143.538 | 5.9847 | 204.839 | 4.962 | 144.341 | 3.9393 | 340.4 | 20.87 | 962.927 | 54.1544 | 42.6016
2019-06-01 06:15:00 | 11.074 | 165.816 | 9.0527 | 200.942 | 9.564 | 151.401 | 7.5187 | 345.486 | 21.14 | 962.642 | 55.5182 | 48.471
2019-06-01 06:30:00 | 0 | 198.24 | 8.5413 | 232.56 | 8.03 | 152.612 | 2.661 | 337.462 | 20.95 | 962.767 | 56.9481 | 46.6675
2019-06-01 06:45:00 | 14.3933 | 165.784 | 7.7743 | 208.212 | 7.7743 | 165.541 | 4.4507 | 340.87 | 20.87 | 962.893 | 57.971 | 50.3112
2019-06-01 07:00:00 | 10.0527 | 155.047 | 9.3083 | 182.038 | 6.496 | 148.79 | 4.962 | 342.696 | 20.93 | 962.88 | 57.0844 | 48.7904
2019-06-01 07:15:00 | 3.1587 | 154.317 | 8.03 | 221.019 | 8.2857 | 166.32 | 4.962 | 334.588 | 20.91 | 963.277 | 56.4706 | 40.7004
2019-06-01 07:30:00 | 5.9673 | 158.285 | 7.7743 | 181.965 | 5.9847 | 159.746 | 4.4507 | 356.793 | 20.89 | 963.43 | 56.8457 | 36.3721
2019-06-01 07:45:00 | 0 | 148.595 | 10.8423 | 203.61 | 11.3537 | 151.224 | 5.4733 | 328.939 | 21.06 | 963.277 | 55.1066 | 34.2734
2019-06-01 08:00:00 | 1.116 | 152.442 | 10.5867 | 197.426 | 10.0753 | 146.623 | 5.2177 | 345.325 | 21.31 | 963.277 | 56.6752 | 39.2503
2019-06-01 08:15:00 | 1.51 | 150.713 | 9.564 | 184.23 | 8.2857 | 146.939 | 5.729 | 325.165 | 21.38 | 963.277 | 55.584 | 40.1314
2019-06-01 08:30:00 | 6.9887 | 153.616 | 8.797 | 199.079 | 7.263 | 155.368 | 6.2403 | 332.112 | 21.68 | 963.722 | 54.3496 | 33.454
2019-06-01 08:45:00 | 4.4353 | 151.612 | 8.5413 | 206.226 | 9.564 | 158.745 | 5.4733 | 356.732 | 22.18 | 963.87 | 50.1875 | 35.3412
2019-06-01 09:00:00 | 9.7973 | 145.031 | 8.797 | 195.234 | 8.2857 | 140.284 | 7.0073 | 336.726 | 22.34 | 964.018 | 51.5482 | 28.7373
2019-06-01 09:15:00 | 0 | 154.143 | 8.2857 | 203.705 | 6.496 | 191.358 | 2.1497 | 334.134 | 22.87 | 964.018 | 46.702 | 38.0923
2019-06-01 09:30:00 | 8.5207 | 146.84 | 9.0527 | 196.33 | 9.3083 | 146.475 | 6.2403 | 331.845 | 23.17 | 964.167 | 47.8609 | 42.7203
2019-06-01 09:45:00 | 0 | 155.333 | 8.03 | 196.805 | 5.4733 | 186.458 | 4.7063 | 354.689 | 23.47 | 964.208 | 44.7854 | 40.1068
2019-06-01 10:00:00 | 2.0207 | 179.157 | 7.5187 | 226.712 | 7.0073 | 157.377 | 6.2403 | 344.565 | 23.95 | 964.281 | 48.1936 | 33.9445
2019-06-01 10:15:00 | 0 | 149.127 | 6.7517 | 196.877 | 5.729 | 187.869 | 5.9847 | 345.489 | 24.16 | 964.204 | 46.8303 | 35.8424
2019-06-01 10:30:00 | 4.4353 | 138.201 | 9.3083 | 185.756 | 7.5187 | 193.15 | 3.6837 | 320.497 | 24.32 | 964.212 | 46.4213 | 32.6972
2019-06-01 10:45:00 | 1.6267 | 140.683 | 9.564 | 197.558 | 9.564 | 192.347 | 1.894 | 326.483 | 23.99 | 964.199 | 46.1486 | 32.8524
2019-06-01 11:00:00 | 0 | 134.891 | 8.2857 | 187.629 | 8.2857 | 192.542 | 1.894 | 313.902 | 24.6 | 964.175 | 40.968 | 26.2952
2019-06-01 11:15:00 | 5.712 | 140.147 | 7.7743 | 191.207 | 7.0073 | 192.542 | 5.9847 | 325.169 | 24.91 | 964.169 | 40.3545 | 23.1461
2019-06-01 11:30:00 | 0 | 149.225 | 9.564 | 192.107 | 8.5413 | 191.495 | 4.7063 | 337.094 | 24.95 | 963.576 | 36.2645 | 42.0915
2019-06-01 11:45:00 | 3.9247 | 146.937 | 10.0753 | 205.102 | 9.3083 | 192.444 | 5.4733 | 330.572 | 25.23 | 963.448 | 34.015 | 53.8553
2019-06-01 12:00:00 | 4.4353 | 135.524 | 10.5867 | 196.098 | 8.2857 | 187.869 | 5.4733 | 320.156 | 26.09 | 963.28 | 27.2325 | 70.6824
2019-06-01 12:15:00 | 3.9247 | 157.085 | 10.331 | 225.593 | 11.098 | 191.13 | 2.4053 | 349.894 | 26.29 | 962.983 | 25.3579 | 72.9408
2019-06-01 12:30:00 | 2.9033 | 168.737 | 13.9103 | 213.734 | 12.8877 | 173.311 | 5.729 | 344.287 | 26.49 | 962.39 | 24.9141 | 69.2952
2019-06-01 12:45:00 | 7.4993 | 176.594 | 9.3083 | 202.999 | 9.3083 | 171.897 | 6.496 | 343.454 | 26.63 | 962.835 | 25.2545 | 67.7661
2019-06-01 13:00:00 | 6.9887 | 147.047 | 9.8197 | 195.01 | 9.0527 | 171.404 | 5.9847 | 347.262 | 27.15 | 962.835 | 24.4015 | 69.8267
2019-06-01 13:15:00 | 2.1373 | 196.525 | 9.8197 | 236.947 | 11.098 | 172.556 | 3.9393 | 13.6516 | 27.2 | 962.687 | 24.9479 | 67.0351
2019-06-01 13:30:00 | 5.4567 | 173.628 | 10.8423 | 205.072 | 10.0753 | 179.444 | 4.4507 | 18.2754 | 27.25 | 962.39 | 25.4253 | 62.8087
2019-06-01 13:45:00 | 7.244 | 155.034 | 8.797 | 215.265 | 7.5187 | 180.342 | 5.4733 | 333.989 | 27.76 | 963.28 | 24.8456 | 63.119
2019-06-01 14:00:00 | 9.0313 | 172.425 | 9.3083 | 205.561 | 10.5867 | 160.698 | 4.4507 | 345.02 | 28.24 | 962.728 | 23.5801 | 61.6537
2019-06-01 14:15:00 | 7.4993 | 182.672 | 5.4733 | 188.605 | 2.9167 | 173.866 | 5.9847 | 8.8551 | 27.62 | 962.986 | 23.9523 | 52.231
2019-06-01 14:30:00 | 7.4993 | 157.81 | 9.564 | 201.036 | 10.5867 | 187.854 | 5.729 | 334.546 | 28.21 | 962.394 | 23.8842 | 52.0736
2019-06-01 14:45:00 | 4.946 | 196.563 | 11.865 | 235.459 | 7.7743 | 195.809 | 2.661 | 14.2557 | 27.69 | 962.245 | 24.3271 | 56.3805
2019-06-01 15:00:00 | 2.9033 | 161.897 | 7.0073 | 219.16 | 7.7743 | 131.22 | 2.9167 | 341.917 | 28.1 | 962.097 | 25.3492 | 52.5983
2019-06-01 15:15:00 | 13.8827 | 169.098 | 9.0527 | 202.739 | 8.2857 | 143.287 | 3.6837 | 352.524 | 27.99 | 962.394 | 26.3373 | 54.5011
2019-06-01 15:30:00 | 5.9673 | 160.924 | 9.0527 | 211.618 | 9.8197 | 168.076 | 3.1723 | 355.054 | 28 | 961.949 | 29.3015 | 47.4287
2019-06-01 15:45:00 | 4.18 | 148.201 | 10.0753 | 199.674 | 11.6093 | 160.51 | 3.428 | 348.242 | 28.06 | 961.801 | 28.6883 | 45.0069
2019-06-01 16:00:00 | 5.9673 | 204.858 | 11.098 | 241.905 | 12.3763 | 194.617 | 2.661 | 0.21894 | 28.14 | 961.652 | 31.414 | 49.0639
2019-06-01 16:15:00 | 0.372 | 176.347 | 7.263 | 215.194 | 8.03 | 183.718 | 4.195 | 177.345 | 27.81 | 961.652 | 32.4702 | 45.5524
2019-06-01 16:30:00 | 3.414 | 149.587 | 10.331 | 195.222 | 10.5867 | 162.846 | 3.428 | 340.409 | 27.93 | 961.652 | 31.9591 | 52.3586
2019-06-01 16:45:00 | 7.244 | 156.837 | 10.0753 | 213.978 | 10.331 | 156.885 | 4.7063 | 340.774 | 27.53 | 961.504 | 33.4923 | 48.2177
2019-06-01 17:00:00 | 3.414 | 146.4 | 11.3537 | 207.434 | 11.3537 | 164.573 | 3.1723 | 333.962 | 27.49 | 961.208 | 35.707 | 53.7795
2019-06-01 17:15:00 | 5.2013 | 147.869 | 11.3537 | 201.196 | 11.6093 | 153.976 | 5.729 | 327.365 | 27.02 | 960.775 | 37.6173 | 52.5842
2019-06-01 17:30:00 | 0 | 152.869 | 10.5867 | 198.256 | 11.3537 | 145.739 | 1.007 | 338.639 | 26.85 | 960.748 | 37.6946 | 51.9754
2019-06-01 17:45:00 | 7.7547 | 153.307 | 9.564 | 198.888 | 9.3083 | 157.128 | 5.729 | 338.833 | 26.75 | 960.907 | 38.717 | 52.9361
2019-06-01 18:00:00 | 5.712 | 143.189 | 11.6093 | 193.616 | 11.865 | 148.275 | 6.2403 | 329.087 | 26.58 | 960.017 | 40.0477 | 56.4498
2019-06-01 18:15:00 | 1.882 | 148.859 | 10.5867 | 196.487 | 8.797 | 143.919 | 5.2177 | 332.884 | 26.39 | 960.61 | 42.3994 | 52.6146
2019-06-01 18:30:00 | 3.414 | 141.729 | 10.5867 | 192.934 | 10.5867 | 159.591 | 5.4733 | 329.939 | 26.14 | 960.907 | 42.4676 | 58.7074
2019-06-01 18:45:00 | 1.882 | 137.738 | 11.865 | 189.26 | 10.0753 | 150.806 | 4.4507 | 318.355 | 26.09 | 960.759 | 42.0586 | 67.6526
2019-06-01 19:00:00 | 8.01 | 157.036 | 9.564 | 202.133 | 8.797 | 157.474 | 4.195 | 332.299 | 26.02 | 960.93 | 41.0361 | 57.7023
2019-06-01 19:15:00 | 0 | 138.225 | 6.2403 | 174.853 | 4.962 | 141.194 | 0.37567 | 310.86 | 25.94 | 961.016 | 40.4908 | 59.9288
2019-06-01 19:30:00 | 6.478 | 160.422 | 10.0753 | 210.168 | 8.03 | 150.395 | 1.894 | 341.845 | 25.82 | 960.72 | 39.6053 | 59.1693
2019-06-01 19:45:00 | 4.18 | 118.354 | 10.331 | 172.243 | 10.0753 | 130.864 | 3.6837 | 303.515 | 25.85 | 960.727 | 37.4268 | 58.1716
2019-06-01 20:00:00 | 3.6693 | 149.201 | 9.8197 | 201.587 | 9.3083 | 150.369 | 3.1723 | 327.293 | 25.85 | 961.052 | 37.2933 | 55.0495
2019-06-01 20:15:00 | 0.372 | 141.145 | 6.7517 | 203.753 | 6.7517 | 167.845 | 2.9167 | 328.705 | 26.03 | 961.051 | 36.9524 | 51.484
2019-06-01 20:30:00 | 2.648 | 144.139 | 11.3537 | 198.642 | 9.0527 | 140.244 | 5.9847 | 325.249 | 25.9 | 961.2 | 36.4752 | 52.0632
2019-06-01 20:45:00 | 5.2013 | 131.555 | 11.3537 | 181.361 | 5.729 | 149.274 | 4.962 | 326.174 | 25.97 | 961.348 | 35.7934 | 51.6872
2019-06-01 21:00:00 | 7.4993 | 145.988 | 6.496 | 175.591 | 6.2403 | 142.507 | 4.4507 | 330.845 | 25.91 | 961.496 | 36.7477 | 50.7598
2019-06-01 21:15:00 | 2.3927 | 130.971 | 8.2857 | 191.949 | 8.03 | 153.388 | 3.428 | 316.341 | 25.68 | 961.199 | 36.2025 | 55.6444
2019-06-01 21:30:00 | 1.2547 | 143.652 | 9.8197 | 202.049 | 9.0527 | 153.509 | 5.9847 | 322.766 | 25.69 | 961.348 | 35.9298 | 65.1623
2019-06-01 21:45:00 | 1.6267 | 152.341 | 11.098 | 191.51 | 10.0753 | 140.025 | 6.7517 | 331.383 | 25.65 | 961.051 | 34.9412 | 59.9119
2019-06-01 22:00:00 | 3.9247 | 146.475 | 12.8877 | 196.768 | 10.8423 | 148.301 | 7.263 | 328.291 | 25.56 | 961.2 | 34.9753 | 59.2727
2019-06-01 22:15:00 | 3.6693 | 145.112 | 12.632 | 196.743 | 12.3763 | 147.059 | 5.4733 | 329.947 | 25.42 | 961.037 | 34.498 | 62.8871
2019-06-01 22:30:00 | 5.712 | 143.238 | 11.6093 | 190.756 | 12.3763 | 144.358 | 4.7063 | 333.403 | 25.54 | 960.903 | 34.2935 | 64.6952
2019-06-01 22:45:00 | 5.2013 | 140.999 | 11.3537 | 196.378 | 11.865 | 143.506 | 5.4733 | 325.663 | 25.36 | 961.194 | 33.5435 | 62.114
2019-06-01 23:00:00 | 5.712 | 133.843 | 8.03 | 180.947 | 8.03 | 146.086 | 5.9847 | 326.782 | 25.45 | 962.09 | 32.4527 | 24.4765
2019-06-01 23:15:00 | 0 | 322.207 | 4.7063 | 8.4772 | 7.263 | 293.194 | 1.6383 | 120.578 | 25.43 | 962.98 | 51.4062 | 31.1218
2019-06-01 23:30:00 | 9.2867 | 335.042 | 6.2403 | 5.295 | 6.2403 | 1.5581 | 5.729 | 158.952 | 20.69 | 962.09 | 54.0783 | 34.2877
2019-06-01 23:45:00 | 0 | 2.1917 | 7.0073 | 55.7337 | 7.263 | 11.9323 | 4.195 | 200.585 | 20.81 | 962.074 | 46.998 | 31.3587