## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-02 00:00:00 | 2.9033 | 98.7636 | 14.933 | 149.006 | 10.8423 | 97.6919 | 4.7063 | 280.459 | 21.68 | 959.847 | 47.2793 | 53.1055
2019-06-02 00:15:00 | 1.51 | 136.151 | 10.331 | 186.053 | 8.5413 | 128.527 | 2.7967 | 302.674 | 22.47 | 961.338 | 36.0907 | 49.3262
2019-06-02 00:30:00 | 0 | 57.3006 | 6.2403 | 107.97 | 4.7063 | 56.3021 | 0.63133 | 246.882 | 21.93 | 962.236 | 54.2295 | 55.0466
2019-06-02 00:45:00 | 0 | 109.584 | 4.962 | 143.11 | 4.195 | 73.1777 | 0 | 298.848 | 21.24 | 962.087 | 48.9086 | 62.2434
2019-06-02 01:00:00 | 0.372 | 82.1602 | 6.496 | 139.742 | 6.7517 | 110.846 | 0.75133 | 251.74 | 21.76 | 962.087 | 50.6118 | 57.5821
2019-06-02 01:15:00 | 2.7867 | 97.3932 | 6.7517 | 156.477 | 7.0073 | 96.0297 | 3.6837 | 279.981 | 22.54 | 961.72 | 43.7178 | 49.4888
2019-06-02 01:30:00 | 3.414 | 91.4655 | 8.03 | 161.64 | 9.0527 | 122.782 | 1.774 | 287.132 | 21.33 | 960.009 | 50.6818 | 73.3955
2019-06-02 01:45:00 | 4.18 | 92.0748 | 8.2857 | 168.411 | 8.2857 | 131.087 | 3.428 | 294.221 | 21.59 | 959.861 | 46.8281 | 71.8684
2019-06-02 02:00:00 | 0.99933 | 107.831 | 8.2857 | 177.592 | 9.564 | 126.095 | 3.9393 | 291.396 | 21.14 | 959.861 | 50.0682 | 73.6863
2019-06-02 02:15:00 | 3.1587 | 107.173 | 11.865 | 170.018 | 8.797 | 126.654 | 4.7063 | 273.18 | 22.34 | 959.861 | 39.2904 | 73.0471
2019-06-02 02:30:00 | 5.4567 | 147.987 | 12.632 | 190.658 | 15.4443 | 146.623 | 3.428 | 297.459 | 23.64 | 959.023 | 36.8288 | 75.0164
2019-06-02 02:45:00 | 0.99933 | 130.233 | 10.5867 | 194.134 | 10.0753 | 134.519 | 4.7063 | 308.966 | 24.29 | 959.717 | 36.6914 | 74.7911
2019-06-02 03:00:00 | 3.414 | 145.697 | 12.1207 | 200.238 | 11.098 | 151.418 | 5.729 | 330.71 | 24.09 | 959.717 | 40.8457 | 71.1036
2019-06-02 03:15:00 | 5.4567 | 127.853 | 10.5867 | 190.475 | 11.6093 | 142.8 | 4.4507 | 316.663 | 22.79 | 959.124 | 42.073 | 71.6431
2019-06-02 03:30:00 | 4.6907 | 130.287 | 13.9103 | 188.869 | 12.8877 | 135.302 | 5.729 | 315.616 | 23.21 | 958.975 | 40.2319 | 72.1123
2019-06-02 03:45:00 | 5.2013 | 137.323 | 16.2113 | 197.048 | 14.4217 | 143.482 | 4.962 | 315.397 | 22.97 | 958.678 | 43.2322 | 68.4692
2019-06-02 04:00:00 | 3.1587 | 141.632 | 12.3763 | 193.471 | 11.3537 | 142.655 | 4.195 | 327.911 | 22.6 | 958.53 | 44.9372 | 69.6737
2019-06-02 04:15:00 | 4.946 | 140.872 | 12.632 | 191.382 | 10.331 | 144.89 | 3.428 | 333.629 | 22.08 | 958.678 | 45.864 | 69.1564
2019-06-02 04:30:00 | 5.712 | 133.28 | 13.9103 | 198.303 | 13.1433 | 134.911 | 5.4733 | 318.932 | 21.92 | 958.53 | 44.5354 | 68.2549
2019-06-02 04:45:00 | 5.2013 | 130.285 | 13.9103 | 199.398 | 14.4217 | 141.339 | 6.2403 | 319.784 | 21.99 | 957.937 | 40.1023 | 66.7067
2019-06-02 05:00:00 | 4.946 | 142.556 | 11.865 | 187.906 | 11.865 | 139.537 | 4.4507 | 339.969 | 22.53 | 957.64 | 42.2165 | 69.1158
2019-06-02 05:15:00 | 3.1587 | 134.4 | 11.6093 | 191.85 | 11.865 | 124.734 | 4.4507 | 319.882 | 22.27 | 958.234 | 43.7511 | 71.6541
2019-06-02 05:30:00 | 4.6907 | 134.57 | 13.399 | 182.087 | 13.6547 | 147.085 | 3.428 | 310.727 | 22.13 | 957.788 | 44.5354 | 72.7109
2019-06-02 05:45:00 | 5.4567 | 138.247 | 13.1433 | 194.577 | 14.933 | 145.259 | 4.4507 | 324.922 | 22.09 | 957.937 | 46.2745 | 75.9919
2019-06-02 06:00:00 | 5.712 | 144.422 | 19.2793 | 186.067 | 17.7453 | 155.816 | 6.2403 | 326.849 | 21.99 | 957.788 | 47.6696 | 74.211
2019-06-02 06:15:00 | 5.2013 | 149.569 | 15.1887 | 209.198 | 15.4443 | 147.159 | 5.2177 | 321.705 | 21.91 | 957.937 | 48.2787 | 73.1062
2019-06-02 06:30:00 | 5.4567 | 143.749 | 16.9783 | 191.255 | 15.7 | 135.862 | 5.4733 | 318.61 | 21.71 | 957.937 | 49.3011 | 73.5791
2019-06-02 06:45:00 | 6.7333 | 147.766 | 16.7227 | 199.312 | 15.9557 | 142.97 | 4.7063 | 326.449 | 21.63 | 957.937 | 49.7102 | 76.7715
2019-06-02 07:00:00 | 6.2227 | 138.832 | 15.7 | 190.914 | 14.166 | 150.468 | 7.0073 | 326.449 | 21.71 | 958.678 | 50.7331 | 73.7639
2019-06-02 07:15:00 | 4.6907 | 148.812 | 17.234 | 198.557 | 15.1887 | 156.31 | 5.2177 | 329.977 | 21.92 | 958.234 | 51.2101 | 72.8587
2019-06-02 07:30:00 | 6.478 | 139.438 | 14.6773 | 199.211 | 14.933 | 149.736 | 4.962 | 326.054 | 22.05 | 958.678 | 52.096 | 75.0201
2019-06-02 07:45:00 | 5.712 | 133.708 | 12.8877 | 202.603 | 16.467 | 151.331 | 4.4507 | 335.499 | 22.21 | 958.827 | 53.0468 | 72.5306
2019-06-02 08:00:00 | 5.4567 | 153.948 | 12.3763 | 216.946 | 14.166 | 148.52 | 5.2177 | 329.655 | 22.53 | 959.124 | 53.9288 | 72.8993
2019-06-02 08:15:00 | 5.4567 | 147.668 | 14.933 | 188.127 | 13.9103 | 175.245 | 5.4733 | 329.387 | 22.49 | 958.827 | 54.2356 | 75.216
2019-06-02 08:30:00 | 5.2013 | 139.855 | 14.166 | 193.166 | 11.865 | 145.964 | 6.7517 | 330.507 | 22.68 | 959.123 | 54.6787 | 71.5729
2019-06-02 08:45:00 | 5.4567 | 164.387 | 13.399 | 191.848 | 12.632 | 130.823 | 4.4507 | 339.118 | 23.04 | 959.419 | 54.4734 | 71.3631
2019-06-02 09:00:00 | 5.712 | 152.065 | 13.1433 | 199.263 | 16.2113 | 143.961 | 7.263 | 337.961 | 23.39 | 959.379 | 54.4713 | 68.3066
2019-06-02 09:15:00 | 3.9247 | 152.778 | 12.1207 | 199.19 | 13.6547 | 142.728 | 4.962 | 331.571 | 23.75 | 959.527 | 53.9198 | 67.4966
2019-06-02 09:30:00 | 5.4567 | 149.419 | 13.6547 | 214.958 | 12.1207 | 165.529 | 2.2853 | 340.257 | 23.92 | 959.441 | 53.1697 | 68.3251
2019-06-02 09:45:00 | 5.4567 | 138.225 | 12.8877 | 187.556 | 12.632 | 162.828 | 4.962 | 326.532 | 24.16 | 959.432 | 52.9652 | 66.5072
2019-06-02 10:00:00 | 4.6907 | 134.696 | 10.331 | 194.224 | 10.8423 | 143.141 | 4.962 | 330.718 | 24.26 | 959.869 | 54.1241 | 60.079
2019-06-02 10:15:00 | 5.712 | 150.295 | 14.6773 | 199.7 | 15.7 | 136.765 | 6.496 | 327.7 | 24.48 | 959.424 | 54.1922 | 59.8011
2019-06-02 10:30:00 | 4.6907 | 144.893 | 11.6093 | 201.257 | 13.1433 | 161.198 | 4.4507 | 328.284 | 25.14 | 959.869 | 52.5562 | 57.7185
2019-06-02 10:45:00 | 4.4353 | 144.516 | 11.865 | 194.985 | 12.3763 | 138.043 | 6.2403 | 320.933 | 25.94 | 959.573 | 51.325 | 62.5252
2019-06-02 11:00:00 | 3.6693 | 139.601 | 13.1433 | 194.597 | 10.331 | 144.858 | 4.7063 | 325.047 | 26.11 | 959.573 | 48.4626 | 57.8206
2019-06-02 11:15:00 | 3.6693 | 135.667 | 11.3537 | 186.969 | 10.5867 | 130.63 | 3.6837 | 332.634 | 26.54 | 959.869 | 48.9425 | 59.7789
2019-06-02 11:30:00 | 4.18 | 138.944 | 13.6547 | 191.409 | 12.3763 | 139.796 | 6.2403 | 326.847 | 26.89 | 959.225 | 46.7925 | 65.9002
2019-06-02 11:45:00 | 3.9247 | 138.787 | 13.6547 | 189.056 | 11.865 | 140.514 | 6.7517 | 332.052 | 27.25 | 959.29 | 45.1871 | 63.4795
2019-06-02 12:00:00 | 3.9247 | 166.499 | 10.5867 | 215.065 | 13.6547 | 168.348 | 5.4733 | 342.196 | 27.94 | 959.258 | 44.8119 | 60.3294
2019-06-02 12:15:00 | 4.18 | 156.366 | 12.632 | 202.834 | 12.632 | 152.303 | 2.661 | 337.573 | 28.03 | 958.841 | 43.7182 | 65.2214
2019-06-02 12:30:00 | 3.9247 | 153.734 | 11.865 | 207.256 | 11.3537 | 183.853 | 4.7063 | 327.004 | 28.37 | 958.695 | 42.4903 | 64.2238
2019-06-02 12:45:00 | 5.712 | 136.307 | 14.933 | 184.326 | 12.632 | 147.084 | 7.0073 | 315.746 | 28.67 | 958.548 | 43.0671 | 65.868
2019-06-02 13:00:00 | 4.18 | 137.132 | 12.8877 | 191.038 | 12.1207 | 146.352 | 5.729 | 317.906 | 28.75 | 958.836 | 43.7479 | 67.4272
2019-06-02 13:15:00 | 3.6693 | 139.783 | 12.632 | 194.492 | 11.098 | 133.069 | 5.9847 | 322.626 | 28.94 | 958.688 | 42.5213 | 62.9565
2019-06-02 13:30:00 | 4.18 | 128.739 | 12.8877 | 189.383 | 12.8877 | 144.406 | 5.2177 | 324.888 | 29.33 | 958.836 | 43.1346 | 62.0106
2019-06-02 13:45:00 | 4.4353 | 135.429 | 9.564 | 202.861 | 9.564 | 151.436 | 4.962 | 324.037 | 29.44 | 959.281 | 43.2368 | 54.7798
2019-06-02 14:00:00 | 5.2013 | 168.149 | 8.5413 | 218.77 | 8.797 | 190.554 | 5.729 | 343.426 | 29.57 | 959.281 | 40.1363 | 54.3475
2019-06-02 14:15:00 | 4.4353 | 133.696 | 10.331 | 196.575 | 8.797 | 154.008 | 3.9393 | 335.748 | 30.12 | 959.281 | 39.862 | 51.6669
2019-06-02 14:30:00 | 3.414 | 169.385 | 12.1207 | 210.777 | 11.6093 | 166.418 | 4.7063 | 344.657 | 30.13 | 959.281 | 38.4603 | 48.914
2019-06-02 14:45:00 | 4.4353 | 158.694 | 10.331 | 219.051 | 11.098 | 161.491 | 4.7063 | 337.478 | 30.97 | 959.429 | 37.9462 | 50.1797
2019-06-02 15:00:00 | 4.6907 | 141.074 | 14.166 | 198.529 | 13.9103 | 142.095 | 5.4733 | 325.167 | 31.06 | 958.391 | 37.7385 | 50.8928
2019-06-02 15:15:00 | 5.4567 | 164.371 | 8.03 | 200.28 | 8.2857 | 159.142 | 3.428 | 343.673 | 30.98 | 958.984 | 37.2616 | 58.4046
2019-06-02 15:30:00 | 4.18 | 148.32 | 14.166 | 200.158 | 16.467 | 148.369 | 4.7063 | 329.058 | 31.36 | 958.688 | 35.0818 | 52.1316
2019-06-02 15:45:00 | 7.4993 | 155.324 | 10.0753 | 202.614 | 9.8197 | 149.415 | 2.9167 | 331.344 | 31.53 | 959.281 | 34.2643 | 47.6339
2019-06-02 16:00:00 | 7.4993 | 148.928 | 8.797 | 206.262 | 8.5413 | 146.618 | 3.6837 | 327.039 | 31.72 | 959.281 | 35.8311 | 49.4326
2019-06-02 16:15:00 | 6.7333 | 151.166 | 9.3083 | 198.407 | 9.8197 | 137.961 | 3.1723 | 325.41 | 31.68 | 958.984 | 35.3542 | 43.6694
2019-06-02 16:30:00 | 4.4353 | 132.489 | 7.7743 | 211.345 | 8.03 | 176.603 | 4.195 | 306.076 | 31.71 | 958.984 | 36.0354 | 46.8248
2019-06-02 16:45:00 | 8.5207 | 159.045 | 9.8197 | 211.442 | 10.331 | 166.559 | 4.4507 | 350.264 | 31.68 | 958.391 | 35.8311 | 50.0319
2019-06-02 17:00:00 | 1.7653 | 152.819 | 9.3083 | 206.262 | 10.5867 | 168.116 | 5.2177 | 335.332 | 31.62 | 958.243 | 35.5245 | 46.7287
2019-06-02 17:15:00 | 1.116 | 143.019 | 10.331 | 198.188 | 11.3537 | 161.015 | 2.661 | 334.067 | 31.53 | 958.095 | 36.0354 | 49.0032
2019-06-02 17:30:00 | 9.7973 | 144.283 | 9.8197 | 208.864 | 10.5867 | 159.92 | 5.729 | 329.641 | 31.41 | 958.243 | 36.1717 | 55.2269
2019-06-02 17:45:00 | 1.882 | 146.569 | 10.331 | 198.529 | 10.0753 | 150.047 | 5.729 | 322.784 | 31.22 | 958.095 | 36.1717 | 48.7091
2019-06-02 18:00:00 | 2.0207 | 132.46 | 9.0527 | 180.831 | 7.263 | 139.051 | 5.4733 | 337.742 | 31.03 | 958.243 | 37.1309 | 51.1588
2019-06-02 18:15:00 | 3.414 | 129.67 | 8.2857 | 193.416 | 8.2857 | 147.718 | 5.2177 | 316.233 | 30.84 | 957.798 | 36.5878 | 52.4594
2019-06-02 18:30:00 | 4.946 | 135.015 | 7.5187 | 197.483 | 7.5187 | 140.902 | 4.4507 | 318.951 | 30.66 | 957.65 | 36.3201 | 52.4299
2019-06-02 18:45:00 | 6.7333 | 151.12 | 9.0527 | 209.745 | 8.797 | 151.46 | 5.2177 | 338.39 | 30.48 | 957.354 | 35.9796 | 55.0937
2019-06-02 19:00:00 | 3.6693 | 137.083 | 10.331 | 194.638 | 11.865 | 134.407 | 3.428 | 319.366 | 30.41 | 957.354 | 34.9574 | 60.0154
2019-06-02 19:15:00 | 3.6693 | 147.763 | 11.865 | 199.041 | 11.3537 | 142.119 | 5.2177 | 327.199 | 30.3 | 957.502 | 34.6167 | 62.3727
2019-06-02 19:30:00 | 2.9033 | 138.494 | 10.0753 | 185.904 | 9.564 | 139.248 | 4.962 | 321.969 | 30.12 | 957.502 | 34.2078 | 58.7131
2019-06-02 19:45:00 | 3.414 | 127.669 | 11.098 | 182.45 | 9.3083 | 132.923 | 4.195 | 307.811 | 30.02 | 957.65 | 33.7308 | 59.1803
2019-06-02 20:00:00 | 2.3927 | 134.556 | 11.6093 | 198.291 | 12.1207 | 147.085 | 5.9847 | 312.463 | 29.91 | 957.383 | 34.0722 | 60.4551
2019-06-02 20:15:00 | 3.1587 | 128.114 | 10.331 | 178.959 | 11.098 | 146.312 | 4.4507 | 333.203 | 29.82 | 957.959 | 34.2099 | 66.8648
2019-06-02 20:30:00 | 2.9033 | 134.742 | 13.1433 | 186.688 | 9.3083 | 149.633 | 4.195 | 317.44 | 29.72 | 957.981 | 34.8942 | 66.7088
2019-06-02 20:45:00 | 4.18 | 137.236 | 13.9103 | 186.462 | 11.865 | 139.62 | 5.4733 | 313.866 | 29.54 | 958.359 | 34.42 | 63.6657
2019-06-02 21:00:00 | 3.414 | 138.944 | 8.2857 | 190.776 | 8.5413 | 140.866 | 4.962 | 344.049 | 29.53 | 958.584 | 34.762 | 63.014
2019-06-02 21:15:00 | 2.9033 | 127.973 | 11.098 | 183.384 | 10.331 | 140.116 | 4.195 | 317.754 | 29.42 | 958.595 | 34.4221 | 59.6623
2019-06-02 21:30:00 | 4.4353 | 146.886 | 16.2113 | 200.232 | 14.933 | 149.003 | 6.7517 | 336.846 | 29.33 | 957.863 | 33.9463 | 65.5539
2019-06-02 21:45:00 | 4.6907 | 151.142 | 11.3537 | 197.016 | 13.1433 | 134.351 | 5.9847 | 331.535 | 29.19 | 958.386 | 35.0705 | 59.5461
2019-06-02 22:00:00 | 6.2227 | 137.564 | 8.797 | 196.093 | 8.797 | 155.304 | 4.962 | 327.959 | 28.63 | 958.683 | 36.7407 | 59.4427
2019-06-02 22:15:00 | 4.6907 | 134.52 | 10.331 | 198.181 | 8.03 | 159.925 | 3.6837 | 314.131 | 28.36 | 958.535 | 37.6261 | 58.7682
2019-06-02 22:30:00 | 3.414 | 145.73 | 10.331 | 195.006 | 9.3083 | 159.6 | 6.496 | 328.544 | 28.15 | 958.386 | 38.2716 | 64.6302
2019-06-02 22:45:00 | 3.1587 | 141.694 | 11.865 | 191.458 | 8.5413 | 135.319 | 5.9847 | 326.605 | 28.12 | 958.09 | 36.5344 | 61.1756
2019-06-02 23:00:00 | 1.3713 | 131.264 | 10.0753 | 196.949 | 8.03 | 151.633 | 5.9847 | 323.099 | 28.37 | 958.09 | 34.8328 | 63.023
2019-06-02 23:15:00 | 1.904 | 135.862 | 9.0527 | 188.355 | 7.0073 | 146.155 | 5.2177 | 319.128 | 28.43 | 958.09 | 33.1963 | 60.5585
2019-06-02 23:30:00 | 2.3927 | 147.615 | 10.331 | 206.192 | 8.797 | 155.207 | 5.2177 | 326.646 | 28.36 | 957.941 | 33.6052 | 64.6413
2019-06-02 23:45:00 | 2.1373 | 139.023 | 10.0753 | 193.997 | 9.3083 | 149.9 | 3.9393 | 333.941 | 28.28 | 957.941 | 34.15 | 61.2872