## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-03 00:00:00 | 5.4567 | 151.729 | 12.3763 | 209.09 | 12.3763 | 145.159 | 6.2403 | 323.462 | 27.53 | 957.645 | 34.7644 | 66.2116
2019-06-03 00:15:00 | 3.9247 | 131.46 | 7.263 | 206.197 | 8.2857 | 159.105 | 2.661 | 313.926 | 27.66 | 957.941 | 34.833 | 66.8878
2019-06-03 00:30:00 | 4.946 | 141.51 | 14.166 | 198.897 | 14.166 | 151.609 | 3.9393 | 327.457 | 27.59 | 957.2 | 34.9011 | 69.4962
2019-06-03 00:45:00 | 3.414 | 147.886 | 10.8423 | 188.797 | 13.399 | 163.436 | 0.75133 | 328.844 | 27.49 | 957.2 | 36.7416 | 70.2833
2019-06-03 01:00:00 | 4.4353 | 146.134 | 11.865 | 200.235 | 12.1207 | 156.598 | 5.9847 | 334.928 | 27.05 | 957.2 | 36.06 | 69.7106
2019-06-03 01:15:00 | 4.946 | 147.253 | 16.7227 | 201.501 | 15.4443 | 149.444 | 6.7517 | 327.165 | 27.14 | 956.607 | 37.8323 | 70.1429
2019-06-03 01:30:00 | 2.648 | 144.747 | 12.8877 | 203.374 | 11.865 | 159.324 | 4.7063 | 334.1 | 26.85 | 957.052 | 41.0361 | 69.282
2019-06-03 01:45:00 | 4.4353 | 153.678 | 12.8877 | 195.709 | 15.7 | 140.756 | 6.2403 | 330.012 | 26.6 | 956.631 | 42.7403 | 65.09
2019-06-03 02:00:00 | 4.18 | 148.446 | 12.632 | 204.25 | 13.399 | 153.142 | 6.2403 | 333.297 | 26.1 | 956.693 | 44.4444 | 64.8113
2019-06-03 02:15:00 | 5.2013 | 146.183 | 13.1433 | 200.819 | 14.6773 | 140.731 | 3.9393 | 328.406 | 25.83 | 956.19 | 46.2849 | 67.7043
2019-06-03 02:30:00 | 4.18 | 151.211 | 14.166 | 206.294 | 11.3537 | 175.403 | 4.962 | 339.66 | 25.45 | 956.443 | 49.0848 | 68.7611
2019-06-03 02:45:00 | 5.9673 | 147.157 | 12.1207 | 197.376 | 11.865 | 142.362 | 6.496 | 329.922 | 25.17 | 956.453 | 50.7243 | 67.2462
2019-06-03 03:00:00 | 5.712 | 156.089 | 12.3763 | 208.475 | 7.7743 | 157.258 | 4.195 | 331.577 | 24.8 | 956.6 | 52.7015 | 64.5637
2019-06-03 03:15:00 | 3.9247 | 141.778 | 14.4217 | 195.113 | 14.4217 | 150.686 | 4.195 | 324.056 | 24.5 | 955.86 | 54.4401 | 62.4355
2019-06-03 03:30:00 | 4.4353 | 134.865 | 11.6093 | 211.152 | 8.797 | 176.851 | 3.9393 | 328.851 | 24.26 | 956.305 | 56.1104 | 61.6448
2019-06-03 03:45:00 | 3.6693 | 147.872 | 12.3763 | 204.327 | 13.1433 | 174.939 | 5.2177 | 302.024 | 24.24 | 956.008 | 57.1367 | 61.3529
2019-06-03 04:00:00 | 5.9673 | 151.143 | 12.632 | 194.872 | 12.8877 | 159.03 | 3.1723 | 337.485 | 23.91 | 956.157 | 58.3334 | 58.0793
2019-06-03 04:15:00 | 6.478 | 145.55 | 9.8197 | 205.81 | 11.3537 | 172.133 | 6.2403 | 328.686 | 23.69 | 955.86 | 59.9381 | 57.9019
2019-06-03 04:30:00 | 5.2013 | 154.363 | 15.1887 | 202.014 | 10.0753 | 151.515 | 4.962 | 331.902 | 23.39 | 956.008 | 61.0297 | 59.1862
2019-06-03 04:45:00 | 5.2013 | 153.141 | 13.9103 | 198.332 | 13.6547 | 154.699 | 5.9847 | 327.412 | 23.37 | 956.157 | 61.3687 | 61.5192
2019-06-03 05:00:00 | 4.4353 | 155.605 | 14.4217 | 207.273 | 10.5867 | 154.534 | 5.4733 | 334.945 | 23.16 | 956.157 | 62.598 | 64.2755
2019-06-03 05:15:00 | 4.6907 | 146.573 | 13.399 | 196.902 | 12.1207 | 167.679 | 7.263 | 329.492 | 22.92 | 956.157 | 63.6209 | 62.7163
2019-06-03 05:30:00 | 4.946 | 146.939 | 14.6773 | 199.289 | 13.9103 | 160.621 | 7.0073 | 330.93 | 22.86 | 956.305 | 64.3714 | 63.6242
2019-06-03 05:45:00 | 7.244 | 139.708 | 11.098 | 208.587 | 10.0753 | 178.731 | 5.4733 | 315.762 | 22.85 | 957.047 | 64.7801 | 53.4776
2019-06-03 06:00:00 | 5.712 | 150.103 | 13.399 | 197.925 | 13.9103 | 152.951 | 3.9393 | 334.677 | 22.95 | 957.343 | 65.2574 | 56.879
2019-06-03 06:15:00 | 5.9673 | 152.148 | 10.8423 | 202.355 | 11.3537 | 162.397 | 4.4507 | 337.184 | 23.08 | 957.343 | 65.837 | 53.7785
2019-06-03 06:30:00 | 4.18 | 152.099 | 9.564 | 206.055 | 10.0753 | 159.865 | 5.729 | 342.759 | 23.08 | 958.085 | 66.3484 | 46.4368
2019-06-03 06:45:00 | 5.9673 | 153.791 | 9.564 | 194.499 | 10.5867 | 143.227 | 4.962 | 330.95 | 23.29 | 958.233 | 66.4795 | 40.1814
2019-06-03 07:00:00 | 0.744 | 157.039 | 10.0753 | 213.465 | 9.564 | 162.588 | 1.774 | 343.285 | 23.52 | 958.678 | 66.2691 | 36.7415
2019-06-03 07:15:00 | 5.9673 | 152.755 | 8.5413 | 203.826 | 9.564 | 157.306 | 3.9393 | 328.462 | 23.44 | 958.975 | 67.3598 | 39.4462
2019-06-03 07:30:00 | 6.478 | 156.012 | 8.2857 | 204.794 | 8.5413 | 159.201 | 4.4507 | 329.695 | 23.59 | 958.972 | 66.8127 | 43.7433
2019-06-03 07:45:00 | 3.414 | 150.515 | 8.5413 | 200.528 | 8.2857 | 156.745 | 5.9847 | 328.407 | 23.91 | 959.031 | 65.9852 | 37.935
2019-06-03 08:00:00 | 0.62733 | 174.095 | 10.0753 | 217.124 | 9.564 | 162.414 | 4.962 | 354.566 | 24.04 | 959.159 | 65.4056 | 33.394
2019-06-03 08:15:00 | 10.0527 | 156.598 | 7.7743 | 194.005 | 7.7743 | 146.669 | 6.2403 | 347.12 | 24.24 | 959.276 | 63.531 | 32.0121
2019-06-03 08:30:00 | 0 | 161.441 | 6.7517 | 215.007 | 6.7517 | 173.536 | 4.195 | 348.531 | 24.36 | 959.424 | 62.713 | 30.0834
2019-06-03 08:45:00 | 9.7973 | 173.511 | 10.5867 | 196.658 | 10.5867 | 151.804 | 5.9847 | 20.2714 | 24.66 | 959.573 | 64.6217 | 26.5475
2019-06-03 09:00:00 | 3.6693 | 177.887 | 8.5413 | 228.409 | 9.3083 | 181.635 | 3.6837 | 352.367 | 24.9 | 959.424 | 61.1436 | 23.7652
2019-06-03 09:15:00 | 4.6907 | 144.588 | 9.0527 | 195.105 | 9.0527 | 169.7 | 5.729 | 325.116 | 25.45 | 959.869 | 61.7531 | 20.5766
2019-06-03 09:30:00 | 0 | 154.354 | 7.263 | 238.213 | 7.0073 | 170.268 | 3.9393 | 0.68136 | 25.62 | 960.018 | 60.6317 | 18.5814
2019-06-03 09:45:00 | 0 | 150.362 | 4.7063 | 195.699 | 4.7063 | 178.419 | 5.9847 | 334.791 | 25.87 | 960.392 | 58.9613 | 10.7114
2019-06-03 10:00:00 | 5.712 | 138.688 | 8.797 | 190.197 | 8.2857 | 151.389 | 2.661 | 334.626 | 26.25 | 960.279 | 57.7269 | 11.8937
2019-06-03 10:15:00 | 0 | 150.634 | 4.962 | 200.891 | 5.4733 | 154.77 | 0.887 | 334.062 | 26.77 | 960.471 | 54.9919 | 10.9035
2019-06-03 10:30:00 | 0 | 149.271 | 8.2857 | 192.594 | 7.5187 | 143.262 | 1.774 | 334.108 | 26.77 | 960.467 | 55.0256 | 11.4319
2019-06-03 10:45:00 | 0 | 143.481 | 5.9847 | 184.348 | 6.2403 | 146.352 | 5.2177 | 343.693 | 27.23 | 960.763 | 53.6286 | 7.6483
2019-06-03 11:00:00 | 0 | 206.367 | 4.962 | 247.695 | 6.2403 | 205.199 | 0 | 10.0228 | 27.9 | 960.911 | 50.1533 | 3.9313
2019-06-03 11:15:00 | 0 | 191.989 | 3.428 | 226.579 | 2.9167 | 182.745 | 1.5183 | 4.3059 | 28.17 | 961.059 | 51.2436 | 1.3671
2019-06-03 11:30:00 | 0 | 184.918 | 3.428 | 199.143 | 5.729 | 138.044 | 3.1723 | 343.881 | 28.42 | 961.356 | 49.9444 | 1.8696
2019-06-03 11:45:00 | 0 | 164.642 | 2.4053 | 188.715 | 1.894 | 146.254 | 0 | 351.175 | 28.82 | 961.356 | 48.7141 | 0.83134
2019-06-03 12:00:00 | 0 | 164.496 | 4.7063 | 189.761 | 4.962 | 162.405 | 3.8193 | 354.751 | 29.05 | 961.356 | 47.4877 | 0.89415
2019-06-03 12:15:00 | 0 | 149.148 | 4.4507 | 201.362 | 2.9167 | 151.483 | 0.37567 | 333.588 | 30.04 | 961.652 | 45.9886 | 0.45816
2019-06-03 12:30:00 | 0 | 144.131 | 3.1723 | 187.999 | 4.195 | 134.061 | 1.5183 | 344.882 | 29.92 | 961.208 | 44.9986 | 1.622
2019-06-03 12:45:00 | 0 | 228.38 | 4.962 | 238.174 | 2.9167 | 171.516 | 0 | 44.2168 | 30.15 | 961.059 | 43.3975 | 2.1578
2019-06-03 13:00:00 | 0 | 191.916 | 2.9167 | 222.624 | 2.1497 | 181.822 | 0 | 30.5713 | 30.38 | 961.059 | 43.7025 | 1.4225
2019-06-03 13:15:00 | 0 | 190.713 | 3.1723 | 223.681 | 3.428 | 180.256 | 0 | 68.6295 | 30.87 | 961.059 | 42.7805 | 0.70941
2019-06-03 13:30:00 | 0 | 187.838 | 4.7063 | 233.11 | 6.2403 | 184.434 | 3.5637 | 39.6883 | 31.29 | 961.356 | 40.327 | 0.32515
2019-06-03 13:45:00 | 0 | 222.955 | 3.1723 | 264.725 | 2.661 | 268.285 | 0 | 52.5529 | 31.62 | 961.801 | 38.4878 | 0.53206
2019-06-03 14:00:00 | 0 | 290.269 | 2.1497 | 323.795 | 2.4053 | 228.208 | 0 | 125.29 | 31.95 | 962.097 | 39.8501 | 0.96805
2019-06-03 14:15:00 | 0 | 265.756 | 2.661 | 323.09 | 3.1723 | 268.091 | 0 | 106.37 | 32.52 | 962.342 | 38.9305 | 0.91632
2019-06-03 14:30:00 | 0 | 349.023 | 3.428 | 24.2845 | 2.4053 | 304.471 | 0 | 153.646 | 31.77 | 961.27 | 38.1471 | 0.59118
2019-06-03 14:45:00 | 0 | 286.5 | 3.428 | 332.914 | 4.195 | 280.834 | 0 | 114.201 | 32.14 | 962.025 | 30.7902 | 1.1565
2019-06-03 15:00:00 | 0 | 293.966 | 3.6837 | 333.887 | 4.4507 | 282.876 | 0 | 127.333 | 32.66 | 962.252 | 32.357 | 0.39904
2019-06-03 15:15:00 | 0 | 332.47 | 3.9393 | 335.839 | 3.6837 | 292.249 | 0 | 163.609 | 32.8 | 962.25 | 29.6988 | 0.62812
2019-06-03 15:30:00 | 0 | 351.788 | 3.6837 | 22.9099 | 2.1497 | 296.771 | 0 | 165.294 | 33.18 | 961.989 | 29.1126 | 0.13301
2019-06-03 15:45:00 | 0 | 305.074 | 4.962 | 14.2627 | 3.1723 | 305.633 | 0 | 111.659 | 33.45 | 961.898 | 24.3106 | 0.84612
2019-06-03 16:00:00 | 0 | 292.845 | 5.4733 | 19.8541 | 4.7063 | 285.843 | 0 | 124.616 | 33.46 | 961.834 | 21.6548 | 1.1602
2019-06-03 16:15:00 | 0 | 293.382 | 3.9393 | 34.9422 | 3.9393 | 283.561 | 0 | 118.102 | 32.7 | 961.433 | 22.1317 | 0.18105
2019-06-03 16:30:00 | 0 | 297.071 | 3.428 | 15.2579 | 3.6837 | 279.245 | 0 | 117.286 | 32.38 | 961.683 | 20.7761 | 0.070202
2019-06-03 16:45:00 | 0 | 322.516 | 3.428 | 12.5584 | 2.661 | 324.607 | 0 | 142.362 | 32.42 | 961.386 | 26.7711 | -0.3547
2019-06-03 17:00:00 | 0 | 311.937 | 2.661 | 4.7521 | 1.6383 | 330.736 | 0 | 110.918 | 31.96 | 961.129 | 29.7003 | -0.16996
2019-06-03 17:15:00 | 0 | 336.061 | 2.1497 | 23.482 | 1.3827 | 337.156 | 0 | 175.436 | 31.97 | 961.047 | 30.1771 | -0.31037
2019-06-03 17:30:00 | 0 | 320.327 | 3.428 | 1.6924 | 2.661 | 333.8 | 0 | 142.581 | 31.69 | 961.059 | 30.109 | -0.30667
2019-06-03 17:45:00 | 0 | 320.886 | 2.1497 | 6.167 | 1.894 | 341.047 | 0 | 141.584 | 31.71 | 961.059 | 32.0163 | -0.29928
2019-06-03 18:00:00 | 0 | 330.565 | 2.4053 | 17.0618 | 2.1497 | 342.846 | 0.37567 | 154.303 | 31.38 | 960.911 | 33.7875 | -0.29928
2019-06-03 18:15:00 | 0 | 343.439 | 3.1723 | 22.6137 | 2.9167 | 6.8104 | 0 | 171.452 | 31.06 | 960.911 | 33.3162 | -0.29928
2019-06-03 18:30:00 | 0 | 331.796 | 3.428 | 16.3932 | 2.9167 | 345.054 | 0 | 153.941 | 30.96 | 961.059 | 31.6183 | -0.26603
2019-06-03 18:45:00 | 0 | 339.752 | 3.428 | 28.5082 | 3.1723 | 354.105 | 0 | 161.143 | 30.9 | 961.059 | 32.0954 | 0.20691
2019-06-03 19:00:00 | 2.0207 | 350.164 | 3.9393 | 38.385 | 3.1723 | 0.14596 | 0 | 171.068 | 30.49 | 961.059 | 33.1175 | 1.4964
2019-06-03 19:15:00 | 0 | 7.2251 | 4.7063 | 58.1386 | 3.428 | 10.6066 | 1.6383 | 193.254 | 30.38 | 961.059 | 36.0477 | 4.068
2019-06-03 19:30:00 | 0 | 5.9845 | 4.7063 | 59.7928 | 3.9393 | 11.8473 | 0.63133 | 190.116 | 29.95 | 960.911 | 34.3441 | 6.2923
2019-06-03 19:45:00 | 0 | 22.6734 | 4.7063 | 72.1531 | 3.9393 | 24.6196 | 0 | 209.899 | 29.8 | 960.935 | 35.9122 | 8.923
2019-06-03 20:00:00 | 0.62733 | 14.892 | 5.2177 | 58.986 | 3.9393 | 13.8213 | 4.962 | 200.117 | 29.55 | 961.26 | 32.649 | 11.5057
2019-06-03 20:15:00 | 0 | 26.7926 | 5.729 | 69.4547 | 4.962 | 12.7028 | 4.4507 | 205.045 | 29.5 | 961.333 | 32.5146 | 14.0035
2019-06-03 20:30:00 | 0 | 29.7375 | 5.4733 | 86.3688 | 3.428 | 33.9232 | 2.0297 | 211.375 | 29.49 | 961.633 | 30.061 | 15.8176
2019-06-03 20:45:00 | 0 | 42.1713 | 5.4733 | 89.9178 | 4.7063 | 37.4261 | 2.661 | 212.9 | 29.63 | 961.945 | 29.242 | 16.479
2019-06-03 21:00:00 | 0 | 32.8996 | 6.7517 | 94.954 | 4.962 | 53.1942 | 2.2853 | 218.52 | 29.53 | 961.797 | 29.4462 | 17.3953
2019-06-03 21:15:00 | 0 | 38.0834 | 7.263 | 80.6716 | 3.9393 | 13.6273 | 0.37567 | 221.443 | 29.45 | 962.093 | 29.7875 | 19.1024
2019-06-03 21:30:00 | 2.648 | 36.1121 | 8.5413 | 92.7165 | 8.2857 | 38.0099 | 5.2177 | 222 | 29.32 | 961.945 | 30.6053 | 25.136
2019-06-03 21:45:00 | 0.372 | 54.2186 | 5.2177 | 105.958 | 4.4507 | 50.7631 | 0 | 215.439 | 29.31 | 962.093 | 31.288 | 24.5338
2019-06-03 22:00:00 | 0 | 57.5523 | 6.496 | 118.223 | 5.4733 | 46.4555 | 2.4053 | 241.014 | 29.14 | 961.648 | 32.5148 | 16.6157
2019-06-03 22:15:00 | 0 | 75.5597 | 7.5187 | 113.063 | 4.7063 | 37.573 | 2.9167 | 247.802 | 29.26 | 961.797 | 32.9236 | 12.9985
2019-06-03 22:30:00 | 0 | 67.6014 | 4.195 | 122.454 | 4.195 | 67.6501 | 0 | 252.228 | 29.22 | 961.945 | 33.7412 | 16.2352
2019-06-03 22:45:00 | 6.2227 | 77.3344 | 4.7063 | 146.033 | 4.7063 | 77.1883 | 3.6837 | 271.644 | 29.27 | 961.945 | 33.4 | 15.8952
2019-06-03 23:00:00 | 0 | 100.939 | 8.2857 | 148.029 | 5.4733 | 97.6051 | 1.6383 | 288.873 | 30.06 | 961.945 | 33.2979 | 25.5757
2019-06-03 23:15:00 | 2.3927 | 94.8083 | 8.797 | 148.494 | 7.5187 | 95.6601 | 3.1723 | 279.85 | 30.04 | 962.075 | 33.2644 | 24.6075
2019-06-03 23:30:00 | 0 | 86.9977 | 6.496 | 146.086 | 4.4507 | 115.883 | 0 | 283.503 | 29.82 | 962.002 | 34.2871 | 27.3012
2019-06-03 23:45:00 | 0 | 123.23 | 6.7517 | 174.749 | 5.9847 | 131.042 | 5.729 | 299.826 | 29.46 | 962.207 | 34.4228 | 27.2088