## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-04 00:00:00 | 0 | 119.532 | 7.7743 | 180.664 | 7.5187 | 126.784 | 4.962 | 295.108 | 29.24 | 962.092 | 34.6276 | 28.7016
2019-06-04 00:15:00 | 0 | 134.5 | 7.263 | 181.106 | 5.4733 | 129.195 | 1.007 | 317.573 | 29.22 | 962.235 | 35.8892 | 22.2614
2019-06-04 00:30:00 | 0 | 149.561 | 7.0073 | 184.655 | 7.263 | 124.302 | 1.774 | 332.875 | 29.03 | 961.945 | 38.5812 | 21.238
2019-06-04 00:45:00 | 0 | 132.767 | 4.962 | 194.919 | 5.4733 | 144.155 | 5.729 | 307.339 | 29.25 | 961.648 | 38.6482 | 24.8515
2019-06-04 01:00:00 | 0 | 133.374 | 4.195 | 200.44 | 4.4507 | 151.551 | 3.428 | 323.373 | 29.1 | 961.945 | 39.1932 | 28.7681
2019-06-04 01:15:00 | 0 | 153.01 | 5.2177 | 196.327 | 4.962 | 157.269 | 0.75133 | 332.496 | 28.37 | 961.945 | 37.8979 | 26.7655
2019-06-04 01:30:00 | 2.1593 | 136.518 | 8.2857 | 181.856 | 5.9847 | 139.511 | 5.9847 | 318.687 | 27.83 | 961.648 | 38.0357 | 26.396
2019-06-04 01:45:00 | 0 | 132.19 | 5.4733 | 191.717 | 5.9847 | 132.871 | 2.4053 | 305.116 | 28.27 | 962.093 | 37.4232 | 29.1228
2019-06-04 02:00:00 | 8.5207 | 139.075 | 8.2857 | 200.038 | 8.5413 | 148.42 | 4.195 | 321.005 | 28.33 | 962.093 | 36.5367 | 37.6763
2019-06-04 02:15:00 | 8.2653 | 121.434 | 8.5413 | 187.191 | 9.3083 | 132.701 | 4.962 | 323.806 | 27.97 | 961.648 | 37.2188 | 39.5496
2019-06-04 02:30:00 | 8.5207 | 129.245 | 8.5413 | 185.658 | 8.5413 | 125.157 | 6.496 | 313.707 | 27.88 | 961.945 | 37.4233 | 39.6789
2019-06-04 02:45:00 | 2.7867 | 124.208 | 9.3083 | 173.637 | 9.564 | 119.754 | 1.894 | 306.212 | 27.67 | 961.797 | 36.8098 | 45.0771
2019-06-04 03:00:00 | 4.6907 | 107.879 | 9.0527 | 173.612 | 9.3083 | 119.049 | 4.7063 | 317.844 | 27.57 | 961.648 | 37.5596 | 47.6192
2019-06-04 03:15:00 | 2.9033 | 128.223 | 9.8197 | 177.019 | 9.8197 | 112.819 | 2.0297 | 312.929 | 27.32 | 961.797 | 38.3776 | 46.4664
2019-06-04 03:30:00 | 2.648 | 129.854 | 9.8197 | 180.523 | 10.0753 | 117.175 | 1.2627 | 311.979 | 27.41 | 961.5 | 37.3551 | 48.9161
2019-06-04 03:45:00 | 4.6907 | 113.938 | 8.2857 | 159.96 | 7.7743 | 126.86 | 4.7063 | 299.617 | 27.32 | 961.5 | 39.6046 | 49.5959
2019-06-04 04:00:00 | 6.2227 | 148.324 | 9.8197 | 182.933 | 9.564 | 124.816 | 4.962 | 330.791 | 26.99 | 961.355 | 38.9911 | 50.782
2019-06-04 04:15:00 | 5.9673 | 145.331 | 8.5413 | 186.778 | 9.0527 | 131.022 | 6.2403 | 331.034 | 26.86 | 961.378 | 38.5821 | 50.6416
2019-06-04 04:30:00 | 0.372 | 137.592 | 9.0527 | 177.019 | 8.5413 | 126.447 | 1.007 | 333.03 | 26.88 | 961.206 | 40.6953 | 55.1308
2019-06-04 04:45:00 | 2.9033 | 142.703 | 9.0527 | 199.773 | 9.3083 | 145.233 | 4.195 | 325.705 | 26.6 | 961.284 | 39.6728 | 54.9867
2019-06-04 05:00:00 | 3.414 | 133.747 | 6.7517 | 198.775 | 6.496 | 139.928 | 2.2853 | 321.324 | 26.72 | 961.743 | 40.4226 | 55.8143
2019-06-04 05:15:00 | 7.7547 | 135.767 | 9.564 | 189.917 | 8.5413 | 145.331 | 4.962 | 323.539 | 26.28 | 961.751 | 40.6953 | 46.6548
2019-06-04 05:30:00 | 10.0527 | 145.915 | 9.3083 | 198.337 | 8.03 | 156.695 | 6.2403 | 334.757 | 26.19 | 961.919 | 42.5358 | 46.4885
2019-06-04 05:45:00 | 4.18 | 143.384 | 9.564 | 198.021 | 9.0527 | 148.032 | 4.195 | 328.795 | 25.91 | 961.888 | 43.8309 | 50.7893
2019-06-04 06:00:00 | 3.6693 | 163.339 | 7.263 | 207.633 | 8.797 | 159.713 | 4.4507 | 325.169 | 25.62 | 961.814 | 44.8875 | 53.6898
2019-06-04 06:15:00 | 2.9033 | 147.862 | 10.5867 | 203.593 | 9.3083 | 151.731 | 3.1723 | 329.963 | 25.53 | 962.242 | 45.5351 | 54.0593
2019-06-04 06:30:00 | 5.712 | 148.543 | 10.5867 | 198.824 | 9.0527 | 150.076 | 4.195 | 332.811 | 25.44 | 962.687 | 46.2168 | 43.809
2019-06-04 06:45:00 | 6.2227 | 140.999 | 8.2857 | 206.854 | 7.263 | 131.873 | 3.9393 | 327.554 | 25.37 | 962.687 | 46.6939 | 39.4796
2019-06-04 07:00:00 | 7.7547 | 153.727 | 8.797 | 206.149 | 7.7743 | 151.634 | 5.9847 | 335.171 | 25.33 | 962.835 | 48.1595 | 28.151
2019-06-04 07:15:00 | 2.4147 | 137.439 | 8.03 | 186.256 | 6.2403 | 148.925 | 2.2853 | 334.691 | 25.41 | 963.131 | 47.3731 | 22.3427
2019-06-04 07:30:00 | 1.6487 | 140.456 | 8.2857 | 190.441 | 7.0073 | 139.02 | 4.962 | 325.395 | 25.53 | 963.28 | 47.2366 | 17.872
2019-06-04 07:45:00 | 0 | 165.671 | 5.9847 | 217.312 | 5.729 | 175.916 | 0 | 353.389 | 25.91 | 963.553 | 43.4208 | 11.9085
2019-06-04 08:00:00 | 0 | 158.426 | 4.962 | 227.103 | 4.7063 | 154.047 | 5.729 | 345.292 | 26.69 | 963.756 | 42.5917 | 5.6273
2019-06-04 08:15:00 | 0 | 146.838 | 3.9393 | 190.478 | 4.7063 | 133.945 | 0.37567 | 339.363 | 26.82 | 964.024 | 40.5452 | 1.3782
2019-06-04 08:30:00 | 0 | 171.944 | 4.4507 | 243.56 | 3.1723 | 190.53 | 0.75133 | 353.254 | 27.32 | 964.617 | 36.8654 | 0.69463
2019-06-04 08:45:00 | 0 | 140.226 | 2.661 | 212.438 | 3.1723 | 164.964 | 0 | 329.246 | 28.27 | 964.765 | 36.1109 | 1.5777
2019-06-04 09:00:00 | 0 | 145.287 | 2.9167 | 179.618 | 1.6383 | 130.063 | 0 | 332.405 | 28.52 | 965.062 | 33.1419 | 0.22539
2019-06-04 09:15:00 | 0 | 160.893 | 2.1497 | 193.616 | 3.1723 | 142.022 | 0 | 338.615 | 29.48 | 965.21 | 33.2425 | 0.66877
2019-06-04 09:30:00 | 0 | 162.936 | 1.894 | 188.364 | 2.661 | 138.909 | 0 | 314.953 | 29.4 | 965.358 | 35.4905 | 0.3584
2019-06-04 09:45:00 | 0 | 112.256 | 2.661 | 188.558 | 3.428 | 141.827 | 0 | 330.638 | 29.78 | 965.487 | 34.06 | -0.077592
2019-06-04 10:00:00 | 0 | 142.849 | 2.1497 | 201.642 | 2.9167 | 152.771 | 0 | 344.987 | 29.83 | 965.557 | 32.0164 | -0.21061
2019-06-04 10:15:00 | 0 | 173.734 | 2.9167 | 251.057 | 2.4053 | 195.62 | 0 | 17.4609 | 30.62 | 965.667 | 31.6417 | -0.10715
2019-06-04 10:30:00 | 0 | 189.371 | 5.729 | 242.205 | 5.9847 | 198.15 | 0 | 1.4591 | 30.88 | 965.091 | 31.812 | 1.7292
2019-06-04 10:45:00 | 0 | 196.058 | 5.729 | 242.084 | 4.4507 | 185.455 | 1.2627 | 356.806 | 30.66 | 965.299 | 34.2643 | 9.6325
2019-06-04 11:00:00 | 0 | 170.986 | 5.9847 | 225.571 | 6.2403 | 183.777 | 5.4733 | 334.067 | 30.11 | 964.913 | 33.0041 | 9.9502
2019-06-04 11:15:00 | 0 | 184.118 | 5.729 | 223.577 | 8.2857 | 147.688 | 1.774 | 347.978 | 30.65 | 965.209 | 31.7439 | 8.7642
2019-06-04 11:30:00 | 0 | 155.154 | 5.4733 | 211.272 | 5.729 | 159.872 | 3.1723 | 333.97 | 30.89 | 965.358 | 31.4033 | 8.003
2019-06-04 11:45:00 | 0 | 155.397 | 6.7517 | 208.037 | 7.263 | 165.198 | 0.63133 | 345.23 | 30.64 | 965.358 | 31.267 | 11.8531
2019-06-04 12:00:00 | 0 | 154.789 | 5.9847 | 205.533 | 7.263 | 151.214 | 5.2177 | 345.911 | 30.94 | 965.061 | 30.8924 | 15.2228
2019-06-04 12:15:00 | 0 | 146.132 | 6.496 | 196.218 | 6.2403 | 149.609 | 4.7063 | 325.532 | 31.38 | 965.061 | 27.861 | 17.4249
2019-06-04 12:30:00 | 0 | 142.411 | 7.263 | 194.881 | 6.496 | 147.056 | 3.428 | 324.218 | 31.72 | 964.913 | 25.8174 | 21.286
2019-06-04 12:45:00 | 10.8187 | 146.448 | 9.8197 | 188.218 | 9.0527 | 155.3 | 4.4507 | 329.86 | 31.48 | 964.468 | 27.282 | 24.7222
2019-06-04 13:00:00 | 0 | 151.166 | 8.03 | 190.722 | 7.0073 | 140.757 | 2.0297 | 333.849 | 31.75 | 964.765 | 26.9414 | 27.16
2019-06-04 13:15:00 | 12.0953 | 192.654 | 9.564 | 238.241 | 7.7743 | 185.966 | 0 | 11.7946 | 31.4 | 964.468 | 29.3937 | 29.1302
2019-06-04 13:30:00 | 8.776 | 184.531 | 9.8197 | 235.493 | 9.564 | 192.046 | 0 | 9.8978 | 31.86 | 964.172 | 29.6322 | 30.0723
2019-06-04 13:45:00 | 0 | 163.228 | 8.797 | 209.934 | 9.8197 | 172.98 | 2.4053 | 0.31614 | 31.75 | 964.468 | 30.0409 | 22.6976
2019-06-04 14:00:00 | 8.2653 | 181.297 | 6.496 | 227.055 | 5.2177 | 179.23 | 2.0297 | 338.323 | 32.09 | 964.765 | 29.3256 | 24.4525
2019-06-04 14:15:00 | 0 | 206.053 | 5.729 | 240.819 | 5.4733 | 196.204 | 1.1427 | 17.6068 | 32.28 | 964.765 | 29.1894 | 18.0641
2019-06-04 14:30:00 | 0 | 162.377 | 7.0073 | 215.698 | 7.263 | 172.712 | 3.1723 | 345.303 | 32.36 | 964.765 | 28.2698 | 18.319
2019-06-04 14:45:00 | 0 | 194.867 | 4.7063 | 239.336 | 4.4507 | 186.72 | 0.37567 | 343.965 | 32.51 | 964.468 | 27.9973 | 13.0243
2019-06-04 15:00:00 | 0 | 147.931 | 5.4733 | 203.003 | 5.2177 | 181.71 | 3.9393 | 314.515 | 32.76 | 964.468 | 27.861 | 15.5702
2019-06-04 15:15:00 | 0 | 150.679 | 5.2177 | 189.142 | 4.7063 | 148.491 | 5.2177 | 332.122 | 32.67 | 964.758 | 27.3161 | 14.3508
2019-06-04 15:30:00 | 0 | 205.591 | 3.9393 | 249.063 | 5.729 | 207.464 | 0.37567 | 1.2403 | 32.72 | 964.57 | 25.4768 | 14.2954
2019-06-04 15:45:00 | 0 | 130.446 | 5.9847 | 180.046 | 4.962 | 133.121 | 2.9167 | 314.807 | 32.98 | 964.45 | 26.703 | 9.9022
2019-06-04 16:00:00 | 0 | 133.656 | 2.9167 | 242.911 | 4.4507 | 178.962 | 0 | 28.2098 | 32.78 | 964.657 | 25.4768 | 12.2558
2019-06-04 16:15:00 | 0 | 134.215 | 5.9847 | 190.042 | 5.9847 | 138.739 | 4.4507 | 326.893 | 33.26 | 964.988 | 26.4305 | 12.0082
2019-06-04 16:30:00 | 0 | 165.368 | 6.2403 | 196.243 | 6.7517 | 154.959 | 0.75133 | 334.748 | 33.2 | 964.503 | 24.421 | 14.1993
2019-06-04 16:45:00 | 0 | 143.335 | 5.4733 | 264.506 | 4.195 | 174.439 | 1.6383 | 352.087 | 33.21 | 964.429 | 24.1144 | 10.9737
2019-06-04 17:00:00 | 0 | 165.538 | 4.7063 | 207.332 | 4.7063 | 154.351 | 0 | 338.712 | 33.13 | 964.362 | 23.9782 | 10.3899
2019-06-04 17:15:00 | 0 | 150.387 | 4.962 | 201.35 | 7.0073 | 151.214 | 5.2177 | 344.427 | 33.22 | 963.886 | 25.1703 | 10.7372
2019-06-04 17:30:00 | 0 | 157.902 | 4.195 | 206.092 | 4.7063 | 146.594 | 0.75133 | 324.899 | 33.07 | 964.236 | 25.2725 | 7.9883
2019-06-04 17:45:00 | 0 | 143.457 | 5.9847 | 187.391 | 5.729 | 141.049 | 5.9847 | 325.848 | 33.03 | 964.023 | 26.6349 | 5.6088
2019-06-04 18:00:00 | 0 | 155.567 | 4.962 | 196.243 | 4.195 | 137.45 | 0.37567 | 327.185 | 32.65 | 963.538 | 26.2262 | 5.1284
2019-06-04 18:15:00 | 0 | 137.62 | 3.6837 | 184.375 | 3.9393 | 144.794 | 0 | 324.072 | 32.44 | 963.727 | 27.9973 | 5.4166
2019-06-04 18:30:00 | 0 | 140.781 | 3.9393 | 203.441 | 3.9393 | 148.831 | 0 | 318.284 | 32.23 | 963.579 | 28.2016 | 4.7959
2019-06-04 18:45:00 | 0 | 144.818 | 3.428 | 191.938 | 4.195 | 154.084 | 0 | 336.84 | 32.07 | 963.431 | 27.9973 | 5.2688
2019-06-04 19:00:00 | 0 | 150.628 | 4.195 | 187.202 | 2.9167 | 153.912 | 0 | 334.018 | 32.06 | 963.579 | 25.753 | 6.9722
2019-06-04 19:15:00 | 0 | 157.623 | 4.7063 | 203.664 | 4.195 | 152.369 | 5.2177 | 333.538 | 32.08 | 963.579 | 26.2323 | 8.4316
2019-06-04 19:30:00 | 0 | 158.637 | 5.9847 | 195.927 | 4.7063 | 137.059 | 1.127 | 339.971 | 32.11 | 963.431 | 25.1448 | 10.3456
2019-06-04 19:45:00 | 0 | 147.13 | 6.7517 | 193.981 | 6.2403 | 145.573 | 0 | 319.998 | 32.04 | 963.579 | 25.8603 | 17.3547
2019-06-04 20:00:00 | 3.414 | 144.381 | 7.263 | 193.203 | 6.2403 | 141.511 | 5.4733 | 325.886 | 31.81 | 963.431 | 27.8024 | 24.9254
2019-06-04 20:15:00 | 0.99933 | 130.442 | 5.4733 | 195.83 | 5.4733 | 150.779 | 5.9847 | 330.727 | 31.49 | 963.282 | 28.4157 | 30.9517
2019-06-04 20:30:00 | 4.946 | 158.588 | 8.03 | 201.498 | 8.2857 | 152.361 | 4.4507 | 333.622 | 31.41 | 963.431 | 29.1652 | 32.6809
2019-06-04 20:45:00 | 3.042 | 148.322 | 7.7743 | 199.138 | 7.0073 | 157.299 | 3.9393 | 327.71 | 31.28 | 963.579 | 29.9148 | 35.6331
2019-06-04 21:00:00 | 1.138 | 145.792 | 6.496 | 192.521 | 6.2403 | 147.982 | 1.2627 | 332.381 | 31.24 | 963.431 | 30.1192 | 35.9619
2019-06-04 21:15:00 | 0.62733 | 151.558 | 8.2857 | 187.559 | 7.0073 | 139.662 | 3.1723 | 332.186 | 31.17 | 963.875 | 31.2095 | 29.3592
2019-06-04 21:30:00 | 3.808 | 129.542 | 5.9847 | 190.21 | 5.9847 | 152.579 | 4.962 | 330.216 | 30.93 | 964.024 | 31.7547 | 27.6966
2019-06-04 21:45:00 | 5.4567 | 151.801 | 6.2403 | 209.891 | 7.5187 | 157.007 | 5.4733 | 332.43 | 30.89 | 964.172 | 31.0051 | 25.1508
2019-06-04 22:00:00 | 0.372 | 161.921 | 7.7743 | 195.295 | 6.7517 | 141.097 | 2.661 | 332.016 | 31.04 | 964.024 | 29.7785 | 22.4166
2019-06-04 22:15:00 | 0 | 130.782 | 5.9847 | 190.454 | 5.729 | 149.66 | 3.428 | 325.594 | 31.26 | 964.172 | 29.7785 | 24.2197
2019-06-04 22:30:00 | 2.7867 | 154.623 | 5.4733 | 196.73 | 6.496 | 167.419 | 3.6837 | 329.535 | 30.93 | 963.875 | 30.3237 | 23.3514
2019-06-04 22:45:00 | 8.2653 | 164.597 | 7.5187 | 204.734 | 7.5187 | 148.955 | 5.4733 | 336.808 | 30.77 | 964.024 | 31.1414 | 24.9033
2019-06-04 23:00:00 | 1.7653 | 115.627 | 8.797 | 174.665 | 8.797 | 111.71 | 2.4053 | 295.404 | 30.26 | 963.727 | 36.7291 | 54.8323
2019-06-04 23:15:00 | 4.946 | 107.458 | 11.098 | 151.587 | 7.5187 | 129.743 | 3.428 | 308.726 | 29.05 | 963.727 | 37.4805 | 55.371
2019-06-04 23:30:00 | 10.0527 | 133.208 | 9.0527 | 184.241 | 8.2857 | 121.138 | 5.4733 | 320.171 | 28.52 | 963.627 | 39.2285 | 56.4018
2019-06-04 23:45:00 | 2.3927 | 125.566 | 10.5867 | 175.99 | 10.0753 | 135.299 | 4.195 | 308.682 | 28.49 | 963.576 | 39.6031 | 57.5435