## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-05 00:00:00 | 1.3713 | 132.912 | 9.8197 | 172.019 | 8.797 | 136.197 | 3.9393 | 305.975 | 28.3 | 963.724 | 41.988 | 64.0612
2019-06-05 00:15:00 | 5.2013 | 144.742 | 8.797 | 200.666 | 8.03 | 153.089 | 5.729 | 311.654 | 28 | 963.576 | 40.6941 | 62.151
2019-06-05 00:30:00 | 4.4353 | 127.147 | 10.331 | 190.443 | 6.496 | 132.5 | 4.4507 | 310.043 | 28.14 | 963.428 | 40.2845 | 66.8065
2019-06-05 00:45:00 | 3.1587 | 127.247 | 14.6773 | 179.254 | 13.6547 | 124.473 | 5.729 | 314.967 | 28.32 | 962.835 | 39.1267 | 70.1023
2019-06-05 01:00:00 | 2.9033 | 129.337 | 12.1207 | 191.125 | 13.6547 | 135.616 | 4.962 | 309.461 | 28.65 | 962.835 | 39.0578 | 70.2353
2019-06-05 01:15:00 | 4.4353 | 131.57 | 12.3763 | 183.913 | 12.1207 | 129.94 | 5.729 | 314.727 | 28.29 | 962.835 | 39.4649 | 62.9602
2019-06-05 01:30:00 | 2.648 | 129.387 | 10.0753 | 189.4 | 9.3083 | 130.921 | 4.7063 | 321.704 | 27.89 | 963.131 | 41.9211 | 49.3299
2019-06-05 01:45:00 | 2.1373 | 128.734 | 11.3537 | 178.406 | 10.5867 | 134.769 | 5.4733 | 310.349 | 27.39 | 963.28 | 42.2631 | 53.106
2019-06-05 02:00:00 | 2.648 | 129.148 | 12.1207 | 181.692 | 11.6093 | 129.708 | 4.7063 | 311.76 | 27.5 | 962.983 | 41.1043 | 59.8565
2019-06-05 02:15:00 | 2.648 | 122.845 | 10.8423 | 189.528 | 9.3083 | 143.311 | 2.9167 | 311.76 | 27.66 | 963.131 | 40.8998 | 66.1932
2019-06-05 02:30:00 | 4.18 | 129.269 | 10.5867 | 175.827 | 9.8197 | 131.63 | 4.7063 | 305.36 | 27.6 | 963.131 | 41.3769 | 68.7722
2019-06-05 02:45:00 | 4.6907 | 127.298 | 11.098 | 173.734 | 10.331 | 109.314 | 5.729 | 305.214 | 27.49 | 962.835 | 42.0586 | 67.4383
2019-06-05 03:00:00 | 3.1587 | 132.871 | 12.632 | 187.07 | 12.8877 | 138.322 | 4.962 | 317.552 | 27.51 | 963.131 | 41.7178 | 55.9843
2019-06-05 03:15:00 | 8.2653 | 118.927 | 10.331 | 166.117 | 9.0527 | 131.484 | 5.4733 | 298.327 | 27.63 | 963.428 | 42.2631 | 40.344
2019-06-05 03:30:00 | 3.6693 | 143.798 | 10.331 | 187.727 | 9.3083 | 150.32 | 4.195 | 327.724 | 27.49 | 963.28 | 43.6264 | 37.7178
2019-06-05 03:45:00 | 2.648 | 133.601 | 8.5413 | 193.519 | 8.03 | 146.085 | 5.2177 | 315.63 | 27.25 | 963.428 | 44.7171 | 39.4314
2019-06-05 04:00:00 | 3.1587 | 147.326 | 10.331 | 205.078 | 7.7743 | 139.417 | 5.729 | 328.43 | 27.04 | 963.576 | 45.8759 | 29.2336
2019-06-05 04:15:00 | 0.372 | 132.409 | 6.7517 | 190.258 | 7.0073 | 149.882 | 5.729 | 286.233 | 26.95 | 963.576 | 46.2849 | 26.2482
2019-06-05 04:30:00 | 6.478 | 123.332 | 8.2857 | 178.577 | 6.2403 | 142.581 | 6.496 | 312.685 | 27.11 | 963.873 | 46.7621 | 27.183
2019-06-05 04:45:00 | 11.3293 | 132.457 | 7.7743 | 181.254 | 7.263 | 138.882 | 5.9847 | 320.789 | 27 | 963.576 | 47.4438 | 26.3369
2019-06-05 05:00:00 | 2.7867 | 136.473 | 9.0527 | 188.554 | 8.797 | 135.426 | 3.428 | 319.548 | 26.96 | 963.576 | 47.9891 | 34.1071
2019-06-05 05:15:00 | 3.6693 | 138.128 | 10.5867 | 189.625 | 7.5187 | 143.798 | 3.6837 | 322.468 | 26.94 | 964.021 | 48.1254 | 32.3151
2019-06-05 05:30:00 | 8.01 | 147.01 | 8.03 | 195.319 | 6.2403 | 144.163 | 6.2403 | 322.906 | 26.95 | 964.319 | 48.6026 | 27.1978
2019-06-05 05:45:00 | 3.414 | 140.196 | 6.496 | 221.529 | 9.0527 | 155.795 | 3.1723 | 321.981 | 26.68 | 964.169 | 48.7389 | 23.0004
2019-06-05 06:00:00 | 7.244 | 134.818 | 7.0073 | 192.886 | 7.5187 | 155.625 | 4.195 | 324.464 | 26.75 | 964.318 | 49.1479 | 24.4488
2019-06-05 06:15:00 | 5.712 | 133.553 | 7.0073 | 190.282 | 6.7517 | 146.669 | 3.9393 | 316.287 | 26.61 | 964.763 | 49.1479 | 26.1632
2019-06-05 06:30:00 | 8.776 | 134.477 | 7.7743 | 183.322 | 7.263 | 153.605 | 3.9393 | 328.771 | 26.45 | 965.059 | 49.5569 | 24.3306
2019-06-05 06:45:00 | 5.712 | 139.782 | 7.7743 | 188.846 | 7.5187 | 152.339 | 1.894 | 319.815 | 26.3 | 965.059 | 50.1704 | 23.9795
2019-06-05 07:00:00 | 4.946 | 127.347 | 7.5187 | 195.879 | 5.9847 | 153.167 | 3.6837 | 320.424 | 26.21 | 965.059 | 50.3067 | 23.1076
2019-06-05 07:15:00 | 0 | 135.524 | 5.729 | 194.2 | 6.2403 | 152.68 | 4.195 | 323.368 | 26.3 | 965.514 | 50.6476 | 14.2991
2019-06-05 07:30:00 | 0 | 151.415 | 4.195 | 214.374 | 2.4053 | 171.224 | 0 | 325.145 | 26.36 | 966.69 | 50.9202 | 3.0926
2019-06-05 07:45:00 | 0 | 316.847 | 7.263 | 6.8832 | 7.0073 | 305.287 | 1.2627 | 128.077 | 23.62 | 966.542 | 71.711 | 18.2304
2019-06-05 08:00:00 | 10.5633 | 341.669 | 8.2857 | 36.7744 | 5.9847 | 3.1149 | 5.9847 | 168.96 | 22.38 | 966.445 | 74.2331 | 33.5054
2019-06-05 08:15:00 | 6.9887 | 12.34 | 7.5187 | 83.515 | 8.2857 | 2.1905 | 3.1723 | 174.878 | 21.2 | 966.221 | 76.2222 | 42.051
2019-06-05 08:30:00 | 8.5207 | 17.4028 | 9.564 | 75.3136 | 4.7063 | 27.1386 | 3.9393 | 193.28 | 21.54 | 966.095 | 72.9504 | 40.6729
2019-06-05 08:45:00 | 13.372 | 8.7622 | 8.2857 | 61.9755 | 7.263 | 14.409 | 3.9393 | 190.043 | 22.29 | 966.095 | 74.1776 | 41.3712
2019-06-05 09:00:00 | 4.4353 | 10.4173 | 8.2857 | 62.6327 | 6.496 | 9.2247 | 4.7063 | 192.939 | 22.38 | 966.243 | 70.0187 | 43.8356
2019-06-05 09:15:00 | 6.7333 | 19.153 | 8.797 | 73.3311 | 7.0073 | 4.7213 | 2.2853 | 200.777 | 23.68 | 966.515 | 63.5344 | 41.2751
2019-06-05 09:30:00 | 10.0527 | 11.4133 | 8.2857 | 73.7399 | 6.496 | 13.6278 | 2.4053 | 191.763 | 24.64 | 966.463 | 60.8726 | 33.9852
2019-06-05 09:45:00 | 0.99933 | 22.7779 | 8.03 | 67.51 | 5.729 | 21.6828 | 0.37567 | 202.835 | 24.89 | 966.543 | 59.032 | 35.9545
2019-06-05 10:00:00 | 6.2227 | 11.3403 | 9.0527 | 68.9701 | 5.4733 | 3.3583 | 5.4733 | 196.654 | 24.88 | 966.542 | 57.0552 | 28.3379
2019-06-05 10:15:00 | 3.414 | 12.6544 | 8.03 | 66.7313 | 5.4733 | 352.571 | 3.1723 | 195.754 | 25.23 | 966.394 | 55.2147 | 28.4577
2019-06-05 10:30:00 | 0 | 3.553 | 5.9847 | 56.0237 | 5.729 | 0.36503 | 5.729 | 181.907 | 25.58 | 966.394 | 54.7376 | 27.3308
2019-06-05 10:45:00 | 0.62733 | 24.7974 | 7.263 | 83.1806 | 7.0073 | 34.2394 | 5.4733 | 205.728 | 25.89 | 966.69 | 54.1915 | 15.6994
2019-06-05 11:00:00 | 0 | 15.8659 | 5.4733 | 74.3194 | 4.7063 | 3.6015 | 2.4053 | 214.92 | 26.41 | 966.69 | 51.8039 | 13.6451
2019-06-05 11:15:00 | 0 | 15.6702 | 4.962 | 66.2347 | 2.661 | 0.048665 | 0 | 200.306 | 26.81 | 966.733 | 51.2552 | 8.7642
2019-06-05 11:30:00 | 0 | 37.2692 | 5.9847 | 80.982 | 5.4733 | 39.191 | 0.37567 | 216.22 | 27.44 | 966.545 | 52.2659 | 11.3986
2019-06-05 11:45:00 | 0 | 38.8747 | 6.2403 | 86.0661 | 4.962 | 36.223 | 1.007 | 219.041 | 27.44 | 966.544 | 49.6082 | 10.4601
2019-06-05 12:00:00 | 0 | 33.5714 | 7.0073 | 90.591 | 3.6837 | 53.179 | 0 | 214.857 | 28.44 | 966.989 | 49.7445 | 3.5951
2019-06-05 12:15:00 | 0 | 46.9745 | 2.661 | 87.7909 | 0 | 130.196 | 0 | 221.08 | 28.19 | 966.989 | 49.8115 | 4.4264
2019-06-05 12:30:00 | 0 | 37.5088 | 6.7517 | 85.8615 | 4.195 | 33.3007 | 0 | 227.364 | 28.54 | 966.396 | 49.4672 | 6.5805
2019-06-05 12:45:00 | 0 | 25.1018 | 6.7517 | 81.6721 | 2.4053 | 52.8306 | 3.9393 | 202.833 | 28.82 | 966.544 | 48.681 | 1.6996
2019-06-05 13:00:00 | 0 | 20.4556 | 3.1723 | 65.5197 | 2.9167 | 34.1981 | 1.007 | 195.046 | 29.45 | 966.396 | 45.4438 | 0.32145
2019-06-05 13:15:00 | 0 | 25.1483 | 3.1723 | 77.6261 | 2.4053 | 24.2484 | 0 | 202.524 | 29.69 | 966.544 | 45.3727 | 0.011085
2019-06-05 13:30:00 | 0 | 34.0464 | 1.6383 | 91.1858 | 1.6383 | 64.1045 | 0 | 211.185 | 29.88 | 966.544 | 45.0273 | 1.0641
2019-06-05 13:45:00 | 0 | 1.8482 | 2.661 | 41.2834 | 0.75133 | 356.903 | 0 | 213.738 | 30.37 | 966.84 | 43.733 | 2.1319
2019-06-05 14:00:00 | 0 | 110.894 | 6.7517 | 169.808 | 5.9847 | 113.131 | 1.894 | 279.739 | 30.95 | 967.137 | 44.9591 | 6.0522
2019-06-05 14:15:00 | 0 | 101.458 | 4.7063 | 155.484 | 3.9393 | 111.477 | 1.894 | 278.645 | 30.22 | 967.137 | 45.0954 | 4.8255
2019-06-05 14:30:00 | 0 | 118.822 | 5.2177 | 169.03 | 3.6837 | 107.635 | 0 | 312.472 | 30.23 | 966.692 | 46.1172 | 4.2823
2019-06-05 14:45:00 | 0 | 80.9415 | 6.7517 | 142.272 | 4.962 | 84.5897 | 0 | 276.923 | 30.11 | 966.099 | 46.5308 | 4.2084
2019-06-05 15:00:00 | 0 | 95.5405 | 2.661 | 154.055 | 0 | 120.982 | 0 | 251.548 | 30.05 | 966.099 | 46.0569 | 4.8107
2019-06-05 15:15:00 | 0 | 82.1385 | 2.1497 | 124.576 | 2.4053 | 49.1567 | 0 | 259.185 | 30.4 | 965.506 | 45.3756 | 1.3043
2019-06-05 15:30:00 | 0 | 73.9417 | 1.894 | 154.152 | 0 | 70.2203 | 0 | 255.026 | 30.45 | 965.21 | 45.6481 | 2.5014
2019-06-05 15:45:00 | 0 | 166.814 | 3.428 | 253.134 | 2.1497 | 226.845 | 0 | 351.822 | 30.16 | 965.062 | 49.2611 | 2.2428
2019-06-05 16:00:00 | 0 | 283.143 | 4.7063 | 321.674 | 4.7063 | 280.564 | 0 | 123.849 | 25.51 | 962.986 | 71.6865 | 7.34
2019-06-05 16:15:00 | 0 | 262.81 | 5.2177 | 334.551 | 3.9393 | 290.941 | 0 | 102.228 | 24.75 | 963.275 | 71.0262 | 7.7961
2019-06-05 16:30:00 | 0 | 1.1681 | 2.1497 | 47.6523 | 2.1497 | 352.206 | 0 | 187.48 | 24.94 | 962.911 | 71.745 | 2.9078
2019-06-05 16:45:00 | 0 | 22.4391 | 2.4053 | 61.0923 | 0 | 30.0324 | 0 | 213.829 | 24.21 | 963.237 | 70.9671 | 2.8229
2019-06-05 17:00:00 | 0 | 49.7013 | 3.1723 | 100.14 | 2.4053 | 41.9613 | 0 | 226.017 | 24.29 | 963.423 | 71.9959 | 4.6888
2019-06-05 17:15:00 | 0 | 352.022 | 5.4733 | 33.5469 | 3.9393 | 347.666 | 0 | 178.555 | 23.8 | 962.832 | 76.2911 | 16.3658
2019-06-05 17:30:00 | 1.882 | 24.1936 | 5.4733 | 50.6579 | 5.2177 | 356.916 | 5.2177 | 201.435 | 23.54 | 962.535 | 80.0071 | 29.1486
2019-06-05 17:45:00 | 2.0207 | 351.887 | 7.7743 | 41.3703 | 7.5187 | 0.5599 | 5.2177 | 178.098 | 22.99 | 962.535 | 80.1908 | 24.7629
2019-06-05 18:00:00 | 1.51 | 4.0411 | 6.7517 | 48.7709 | 6.7517 | 4.8444 | 5.4733 | 192.461 | 22.79 | 962.683 | 79.6795 | 30.0317
2019-06-05 18:15:00 | 0 | 6.4267 | 7.5187 | 58.5083 | 5.2177 | 8.5446 | 3.6837 | 196.38 | 22.52 | 962.238 | 85.7484 | 33.1609
2019-06-05 18:30:00 | 0 | 52.3918 | 5.2177 | 94.6193 | 4.7063 | 49.8112 | 5.9847 | 232.355 | 21.66 | 962.683 | 89.1992 | 34.0554
2019-06-05 18:45:00 | 0 | 10.5183 | 9.8197 | 72.0104 | 7.263 | 58.6782 | 2.1497 | 213.822 | 22.12 | 962.386 | 81.705 | 30.5364
2019-06-05 19:00:00 | 2.0207 | 25.4191 | 8.2857 | 88.8834 | 5.4733 | 29.6313 | 2.9167 | 205.69 | 22.1 | 962.09 | 79.1134 | 24.9845
2019-06-05 19:15:00 | 0 | 127.388 | 4.195 | 179.75 | 3.9393 | 137.541 | 2.4053 | 320.101 | 22.24 | 963.276 | 73.1117 | 29.0119
2019-06-05 19:30:00 | 0 | 47.1374 | 5.2177 | 112.598 | 5.729 | 55.2939 | 0 | 243.064 | 20.85 | 963.276 | 73.6914 | 25.0697
2019-06-05 19:45:00 | 0 | 215.732 | 7.263 | 262.528 | 7.7743 | 240.814 | 3.9393 | 54.2799 | 21.29 | 963.862 | 76.261 | 11.3299
2019-06-05 20:00:00 | 0 | 12.6387 | 6.496 | 64.891 | 4.4507 | 13.7102 | 3.1723 | 187.315 | 22.31 | 963.274 | 79.3315 | 19.5722
2019-06-05 20:15:00 | 2.648 | 239.161 | 7.5187 | 270.616 | 5.4733 | 240.257 | 1.5183 | 64.484 | 20.84 | 963.867 | 90.075 | 26.6194
2019-06-05 20:30:00 | 0 | 328.445 | 4.7063 | 13.071 | 3.9393 | 336.262 | 0 | 145.215 | 20.23 | 963.867 | 86.2918 | 20.2404
2019-06-05 20:45:00 | 0 | 326.517 | 4.7063 | 16.4927 | 4.7063 | 301.82 | 0 | 129.988 | 19.49 | 964.179 | 92.0344 | 19.4312
2019-06-05 21:00:00 | 8.2653 | 351.021 | 7.5187 | 60.5214 | 5.4733 | 356.769 | 6.7517 | 181.794 | 18.5 | 963.622 | 95.9236 | 32.4518
2019-06-05 21:15:00 | 0.372 | 15.6366 | 8.797 | 74.8428 | 8.2857 | 17.853 | 0.37567 | 191.342 | 18.67 | 963.234 | 97.8339 | 57.3255
2019-06-05 21:30:00 | 0 | 0.097424 | 9.3083 | 55.5284 | 8.797 | 20.1182 | 1.127 | 177.581 | 18.89 | 963.247 | 99.0278 | 54.2984
2019-06-05 21:45:00 | 0 | 294.417 | 5.2177 | 17.5644 | 4.195 | 262.876 | 0 | 124.947 | 19.19 | 965.376 | 99.2666 | 15.4991
2019-06-05 22:00:00 | 5.9673 | 9.9129 | 8.5413 | 91.137 | 6.7517 | 47.4701 | 1.1427 | 163.649 | 19.09 | 964.183 | 99.5395 | 35.6284
2019-06-05 22:15:00 | 0 | 334.994 | 5.4733 | 1.1484 | 5.729 | 328.126 | 0.37567 | 133.886 | 19.11 | 965.156 | 99.6759 | 37.7909
2019-06-05 22:30:00 | 0 | 324.74 | 7.0073 | 1.7744 | 5.2177 | 333.411 | 1.3983 | 143.506 | 19.22 | 965.469 | 99.6759 | 34.6381
2019-06-05 22:45:00 | 5.4567 | 296.901 | 7.0073 | 19.8539 | 5.729 | 303.356 | 0.63133 | 113.11 | 19.25 | 965.707 | 99.8124 | 44.0041
2019-06-05 23:00:00 | 6.6167 | 336.748 | 5.729 | 10.8105 | 3.1723 | 336.066 | 5.4733 | 145.089 | 19.19 | 964.954 | 99.8806 | 52.4705
2019-06-05 23:15:00 | 2.0207 | 343.835 | 5.2177 | 35.3858 | 4.962 | 355.039 | 1.007 | 160.312 | 19.15 | 964.949 | 99.9488 | 33.5793
2019-06-05 23:30:00 | 6.2227 | 350.972 | 8.5413 | 55.8206 | 6.496 | 6.357 | 4.962 | 174.463 | 19.23 | 965.226 | 99.9488 | 43.008
2019-06-05 23:45:00 | 8.01 | 0.21921 | 7.7743 | 73.1865 | 5.9847 | 15.4418 | 4.962 | 180.333 | 19.15 | 964.791 | 99.9488 | 50.7893