## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-06 00:00:00 | 12.3507 | 6.3813 | 8.797 | 70.824 | 5.729 | 35.9496 | 3.6837 | 175.072 | 19.15 | 963.654 | 99.9147 | 56.2468
2019-06-06 00:15:00 | 3.414 | 8.0375 | 9.564 | 58.8651 | 4.962 | 5.8942 | 1.5183 | 189.953 | 19.03 | 963.057 | 99.9488 | 63.4076
2019-06-06 00:30:00 | 9.7973 | 33.3923 | 8.797 | 70.3856 | 5.729 | 356.135 | 3.6837 | 206.954 | 18.81 | 963.128 | 99.9488 | 66.7104
2019-06-06 00:45:00 | 3.414 | 23.7229 | 9.564 | 86.3389 | 4.4507 | 44.523 | 1.894 | 222.274 | 18.72 | 963.35 | 99.9147 | 59.6533
2019-06-06 01:00:00 | 13.6273 | 37.8738 | 7.5187 | 87.3862 | 3.428 | 52.049 | 6.7517 | 221.957 | 18.89 | 963.203 | 96.2647 | 32.7618
2019-06-06 01:15:00 | 0 | 344.591 | 2.9167 | 44.1297 | 0 | 351.313 | 0 | 214.163 | 19.09 | 963.285 | 92.7853 | 20.3364
2019-06-06 01:30:00 | 5.2013 | 27.8634 | 8.5413 | 61.8122 | 5.9847 | 325.836 | 2.1497 | 218.231 | 19.42 | 962.868 | 89.4423 | 55.4525
2019-06-06 01:45:00 | 4.4353 | 16.2455 | 12.632 | 67.3167 | 4.7063 | 2.119 | 4.4507 | 201.644 | 19.78 | 961.961 | 88.453 | 41.6642
2019-06-06 02:00:00 | 0.744 | 343.835 | 5.4733 | 52.3864 | 5.4733 | 344.469 | 1.894 | 192.243 | 19.76 | 962.317 | 84.3595 | 8.833
2019-06-06 02:15:00 | 0 | 136.54 | 4.4507 | 193.944 | 4.195 | 152.08 | 0 | 323.888 | 19.77 | 963.24 | 88.6236 | 0.99022
2019-06-06 02:30:00 | 1.138 | 44.6691 | 5.4733 | 92.3305 | 4.962 | 42.9886 | 3.428 | 230.238 | 19.33 | 962.658 | 82.1422 | 3.9756
2019-06-06 02:45:00 | 12.0953 | 32.3937 | 6.7517 | 89.7974 | 4.195 | 34.1716 | 4.962 | 219.156 | 18.97 | 962.378 | 89.7152 | 20.85
2019-06-06 03:00:00 | 0 | 27.1084 | 5.2177 | 82.4906 | 4.7063 | 29.6901 | 4.7063 | 218.694 | 19.16 | 961.933 | 87.6684 | 36.7954
2019-06-06 03:15:00 | 3.6693 | 21.7257 | 7.7743 | 77.2784 | 4.195 | 38.507 | 1.5183 | 193.217 | 18.85 | 960.896 | 83.3362 | 49.6735
2019-06-06 03:30:00 | 2.648 | 13.1523 | 9.3083 | 66.3912 | 5.9847 | 356.355 | 1.894 | 195.628 | 18.46 | 960.302 | 83.3362 | 49.2855
2019-06-06 03:45:00 | 14.3933 | 1.3639 | 8.797 | 60.2778 | 5.4733 | 356.915 | 2.0297 | 192.365 | 18.55 | 960.599 | 85.8264 | 42.2321
2019-06-06 04:00:00 | 0.372 | 348.514 | 6.496 | 38.7473 | 7.0073 | 342.985 | 5.2177 | 171.955 | 18.6 | 960.896 | 90.0227 | 25.5055
2019-06-06 04:15:00 | 0 | 26.6943 | 5.2177 | 80.4447 | 3.428 | 17.1711 | 0 | 204.689 | 18.51 | 961.193 | 94.5591 | 25.0748
2019-06-06 04:30:00 | 3.9247 | 21.7257 | 6.496 | 69.046 | 4.195 | 342.423 | 4.4507 | 203.471 | 18.45 | 961.341 | 91.7278 | 32.2708
2019-06-06 04:45:00 | 8.5207 | 16.1239 | 9.564 | 67.0498 | 5.2177 | 41.3085 | 1.007 | 208.369 | 18.22 | 961.193 | 78.0838 | 44.8408
2019-06-06 05:00:00 | 12.3507 | 7.5261 | 6.496 | 56.6004 | 4.195 | 10.0591 | 4.195 | 173.733 | 17.94 | 960.45 | 87.3959 | 45.3505
2019-06-06 05:15:00 | 0.372 | 354.758 | 5.729 | 68.7808 | 5.729 | 3.8727 | 3.6837 | 181.361 | 17.84 | 960.896 | 96.8134 | 44.0737
2019-06-06 05:30:00 | 12.606 | 356.849 | 6.7517 | 47.5896 | 7.263 | 178.242 | 10.331 | 183.332 | 17.94 | 960.599 | 98.5522 | 43.2703
2019-06-06 05:45:00 | 5.9673 | 0.14614 | 7.5187 | 62.9354 | 7.5187 | 34.6356 | 0 | 185.527 | 17.86 | 960.599 | 98.8946 | 39.5866
2019-06-06 06:00:00 | 2.3927 | 0.31663 | 8.5413 | 58.1345 | 6.2403 | 354.309 | 5.729 | 188.711 | 17.86 | 960.45 | 99.062 | 42.1882
2019-06-06 06:15:00 | 1.2547 | 16.7083 | 11.098 | 75.403 | 6.496 | 16.002 | 1.894 | 199.964 | 18.08 | 961.193 | 96.7764 | 28.7713
2019-06-06 06:30:00 | 12.606 | 16.9519 | 8.5413 | 70.3126 | 6.2403 | 20.0207 | 8.5413 | 190.903 | 18.05 | 961.49 | 95.6507 | 23.2849
2019-06-06 06:45:00 | 0 | 16.0751 | 4.962 | 55.3823 | 4.7063 | 8.208 | 0 | 195.166 | 17.95 | 961.786 | 97.1517 | 12.1006
2019-06-06 07:00:00 | 1.7653 | 13.6394 | 7.5187 | 70.4587 | 3.1723 | 314.535 | 0.37567 | 195.677 | 18.07 | 962.232 | 96.64 | 14.3951
2019-06-06 07:15:00 | 0 | 22.8948 | 5.729 | 69.314 | 5.4733 | 18.9491 | 1.007 | 210.12 | 17.88 | 962.529 | 98.0386 | 11.7274
2019-06-06 07:30:00 | 0 | 33.2218 | 5.4733 | 79.5192 | 4.4507 | 15.32 | 4.4507 | 213.068 | 17.88 | 962.677 | 96.5376 | 13.6857
2019-06-06 07:45:00 | 0 | 40.8452 | 4.4507 | 98.6631 | 2.9167 | 26.9866 | 0 | 219.303 | 17.79 | 962.825 | 96.4012 | 10.0943
2019-06-06 08:00:00 | 0 | 24.0395 | 2.4053 | 59.3523 | 1.6383 | 0.048712 | 0 | 206.248 | 17.99 | 962.825 | 91.2161 | 4.0533
2019-06-06 08:15:00 | 0 | 15.6367 | 2.661 | 44.2517 | 2.1497 | 10.2296 | 0 | 202.059 | 18.08 | 962.825 | 93.195 | 3.1923
2019-06-06 08:30:00 | 0 | 27.766 | 2.1497 | 66.4643 | 0 | 14.0291 | 0 | 214.626 | 17.98 | 963.122 | 94.7979 | 3.0889
2019-06-06 08:45:00 | 0 | 68.0511 | 2.9167 | 137.657 | 2.661 | 103.124 | 0 | 246.143 | 18.38 | 962.677 | 82.8927 | 4.1715
2019-06-06 09:00:00 | 7.244 | 97.4246 | 8.2857 | 153.611 | 5.729 | 113.378 | 4.7063 | 276.272 | 19.38 | 963.122 | 60.5151 | 10.7557
2019-06-06 09:15:00 | 0 | 84.7594 | 3.9393 | 142.114 | 2.4053 | 105.998 | 0 | 263.655 | 20.72 | 963.685 | 62.0502 | 5.8748
2019-06-06 09:30:00 | 0 | 322.672 | 1.6383 | 20.06 | 1.6383 | 343.128 | 0 | 157.22 | 19.67 | 963.572 | 87.5193 | 4.7664
2019-06-06 09:45:00 | 0 | 111.897 | 1.894 | 212.781 | 0 | 340.1 | 0 | 256.086 | 18.49 | 963.719 | 93.4516 | 4.9548
2019-06-06 10:00:00 | 0 | 16.7055 | 1.3827 | 51.2539 | 0.37567 | 2.7274 | 0 | 191.577 | 19.13 | 964.016 | 86.2552 | 3.4805
2019-06-06 10:15:00 | 0 | 22.6961 | 1.6383 | 69.5179 | 0 | 36.4306 | 0 | 214.882 | 19.65 | 964.313 | 87.4489 | 1.2599
2019-06-06 10:30:00 | 0 | 330.502 | 1.894 | 5.5859 | 0 | 322.589 | 0 | 156.048 | 19.37 | 964.947 | 88.7311 | 0.12932
2019-06-06 10:45:00 | 0 | 327.624 | 1.3827 | 0.61913 | 0.75133 | 285.624 | 0 | 199.019 | 19.91 | 964.613 | 90.9804 | 0.11084
2019-06-06 11:00:00 | 0 | 29.7971 | 1.6383 | 74.26 | 1.894 | 18.3067 | 0 | 165.539 | 19.98 | 964.464 | 90.3524 | 0.31406
2019-06-06 11:15:00 | 0 | 320.411 | 0.37567 | 41.6382 | 2.1497 | 19.0611 | 0 | 159.183 | 20.02 | 964.908 | 89.8057 | 0.43599
2019-06-06 11:30:00 | 0 | 26.8006 | 1.127 | 32.4815 | 2.1497 | 322.824 | 0 | 192.156 | 20.74 | 965.205 | 87.3451 | 0.60965
2019-06-06 11:45:00 | 0 | 45.8558 | 0.75133 | 19.3815 | 2.1497 | 314.468 | 0 | 208.639 | 20.81 | 965.205 | 88.4953 | 0.38426
2019-06-06 12:00:00 | 0 | 345.232 | 2.9167 | 28.6791 | 3.428 | 346.06 | 0 | 157.453 | 20.87 | 964.76 | 87.3361 | 1.9878
2019-06-06 12:15:00 | 0 | 28.1608 | 1.127 | 75.9951 | 0 | 0.68151 | 0 | 205.961 | 21 | 964.76 | 85.5974 | 2.8746
2019-06-06 12:30:00 | 0 | 12.9486 | 2.661 | 78.137 | 2.1497 | 0.1217 | 0 | 179.626 | 21.54 | 965.352 | 81.0636 | 2.4275
2019-06-06 12:45:00 | 0 | 36.2409 | 2.1497 | 64.7001 | 1.3827 | 334.858 | 0 | 197.147 | 22.45 | 965.501 | 77.7897 | 1.8918
2019-06-06 13:00:00 | 0 | 30.3706 | 3.9393 | 43.5641 | 4.962 | 318.818 | 0 | 197.871 | 22.61 | 965.082 | 73.8242 | 2.8081
2019-06-06 13:15:00 | 0 | 7.9577 | 5.2177 | 28.6708 | 4.962 | 313.342 | 0 | 185.971 | 22.34 | 965.059 | 70.6885 | 2.6935
2019-06-06 13:30:00 | 0 | 295.651 | 3.9393 | 4.1333 | 2.661 | 304.801 | 0 | 125.035 | 23.12 | 965.208 | 63.3265 | 5.1617
2019-06-06 13:45:00 | 0 | 325.705 | 4.962 | 14.9699 | 4.195 | 309.546 | 0 | 148.105 | 23.52 | 965.059 | 61.8269 | 5.8231
2019-06-06 14:00:00 | 0 | 326.24 | 6.2403 | 18.8393 | 6.2403 | 316.822 | 0.37567 | 162.487 | 23.43 | 965.208 | 61.2134 | 7.8848
2019-06-06 14:15:00 | 0 | 298.101 | 3.6837 | 5.2595 | 3.9393 | 319.686 | 1.5183 | 121.066 | 23.91 | 964.911 | 61.0074 | 14.6833
2019-06-06 14:30:00 | 0 | 323.723 | 6.7517 | 5.2776 | 3.1723 | 350.54 | 0.37567 | 140.776 | 23.47 | 964.466 | 57.6669 | 20.5138
2019-06-06 14:45:00 | 0 | 321.832 | 5.729 | 13.3808 | 6.2403 | 306.039 | 0.75133 | 178.182 | 24.13 | 965.059 | 53.7827 | 27.0795
2019-06-06 15:00:00 | 0 | 295.488 | 2.4053 | 61.1783 | 1.6383 | 22.7523 | 0 | 183.381 | 23.63 | 964.911 | 54.939 | 26.1928
2019-06-06 15:15:00 | 0.62733 | 17.4725 | 3.9393 | 81.7203 | 2.9167 | 326.478 | 1.007 | 192.563 | 24.04 | 965.208 | 54.3618 | 33.3681
2019-06-06 15:30:00 | 0.744 | 356.931 | 4.962 | 52.6126 | 5.2177 | 131.209 | 0.63133 | 170.241 | 24.17 | 965.48 | 53.0645 | 28.7793
2019-06-06 15:45:00 | 0 | 356.644 | 4.4507 | 51.0758 | 4.962 | 341.655 | 5.9847 | 177.872 | 24.02 | 965.038 | 52.5504 | 28.3949
2019-06-06 16:00:00 | 6.7333 | 83.4639 | 7.263 | 80.6921 | 4.962 | 14.7461 | 4.4507 | 172.087 | 23.59 | 964.876 | 52.8248 | 35.4838
2019-06-06 16:15:00 | 0 | 350.082 | 6.7517 | 47.5536 | 4.962 | 355.265 | 0.37567 | 166.694 | 23.57 | 964.911 | 53.2368 | 38.5855
2019-06-06 16:30:00 | 6.9887 | 5.4753 | 5.9847 | 60.645 | 4.962 | 19.273 | 3.6837 | 181.196 | 23.56 | 964.911 | 54.77 | 36.4535
2019-06-06 16:45:00 | 0 | 352.597 | 6.2403 | 52.6121 | 3.1723 | 37.3767 | 1.2627 | 185.107 | 23.36 | 964.762 | 53.6434 | 32.0897
2019-06-06 17:00:00 | 4.8293 | 0.43802 | 6.496 | 80.5007 | 4.195 | 49.6176 | 1.6383 | 164.962 | 23.26 | 964.614 | 56.1666 | 36.8191
2019-06-06 17:15:00 | 5.712 | 351.524 | 5.4733 | 72.9122 | 7.0073 | 19.3709 | 2.7967 | 154.529 | 23.05 | 964.318 | 56.1689 | 31.0663
2019-06-06 17:30:00 | 0 | 355.953 | 6.2403 | 63.446 | 5.729 | 14.4309 | 1.894 | 182.053 | 22.87 | 964.169 | 56.578 | 26.5105
2019-06-06 17:45:00 | 0.372 | 343.177 | 3.9393 | 49.8425 | 3.6837 | 17.9352 | 1.1427 | 160.467 | 22.78 | 964.054 | 55.9645 | 22.5312
2019-06-06 18:00:00 | 0 | 83.884 | 5.9847 | 68.8241 | 5.4733 | 26.7446 | 1.894 | 179.838 | 22.66 | 964.027 | 56.9189 | 22.6864
2019-06-06 18:15:00 | 4.6907 | 348.585 | 8.03 | 37.7811 | 6.2403 | 11.9018 | 0.75133 | 172.199 | 22.41 | 964.163 | 58.598 | 25.6422
2019-06-06 18:30:00 | 4.946 | 0.41377 | 4.962 | 54.5033 | 6.7517 | 24.4125 | 2.2853 | 173.614 | 22.21 | 964.018 | 59.383 | 22.8748
2019-06-06 18:45:00 | 3.1587 | 355.605 | 6.496 | 54.3876 | 4.7063 | 20.6172 | 4.4507 | 178.764 | 22.06 | 963.87 | 59.4559 | 23.5953
2019-06-06 19:00:00 | 0 | 356.927 | 5.2177 | 56.1713 | 5.9847 | 16.6998 | 0 | 184.184 | 21.87 | 963.87 | 59.9045 | 23.5214
2019-06-06 19:15:00 | 0 | 12.221 | 6.496 | 63.3562 | 3.1723 | 11.4907 | 5.2177 | 194.977 | 21.65 | 963.87 | 61.9528 | 17.8424
2019-06-06 19:30:00 | 1.2547 | 8.5461 | 6.7517 | 62.3929 | 2.661 | 16.6539 | 1.007 | 192.226 | 21.38 | 964.018 | 61.4492 | 19.0691
2019-06-06 19:45:00 | 0 | 10.713 | 5.729 | 64.9739 | 4.195 | 22.8869 | 3.0523 | 198.41 | 21.42 | 964.02 | 59.5396 | 17.4545
2019-06-06 20:00:00 | 0 | 10.1289 | 4.962 | 68.9204 | 3.428 | 1.3392 | 5.2177 | 197.66 | 21.18 | 964.159 | 58.5862 | 16.4716
2019-06-06 20:15:00 | 0 | 20.795 | 4.962 | 83.0012 | 3.6837 | 23.2788 | 4.4507 | 202.666 | 21.23 | 964.307 | 58.3517 | 14.2584
2019-06-06 20:30:00 | 9.542 | 21.2346 | 5.729 | 71.0264 | 4.195 | 16.8513 | 0.75133 | 205.577 | 21.06 | 964.164 | 59.549 | 13.1869
2019-06-06 20:45:00 | 0 | 18.5319 | 4.962 | 68.8116 | 3.428 | 27.055 | 0 | 199.637 | 20.99 | 964.164 | 58.3561 | 10.5229
2019-06-06 21:00:00 | 0 | 27.5664 | 4.195 | 89.0968 | 1.894 | 27.9074 | 0 | 213.08 | 21.16 | 964.164 | 57.4352 | 8.6238
2019-06-06 21:15:00 | 0 | 22.3064 | 3.9393 | 79.5265 | 1.894 | 15.3904 | 0 | 209.305 | 21.1 | 964.609 | 57.9127 | 6.4549
2019-06-06 21:30:00 | 0 | 48.0221 | 3.6837 | 105.072 | 2.9167 | 51.6262 | 1.5183 | 231.806 | 20.91 | 964.757 | 58.5266 | 5.8933
2019-06-06 21:45:00 | 0 | 36.528 | 3.1723 | 91.9947 | 1.894 | 46.3418 | 0 | 218.315 | 21 | 964.757 | 56.0368 | 2.7637
2019-06-06 22:00:00 | 0 | 45.8061 | 4.195 | 100.786 | 3.428 | 61.1235 | 0 | 223.843 | 21.1 | 964.757 | 55.2865 | 1.0604
2019-06-06 22:15:00 | 0 | 77.1714 | 2.4053 | 120.219 | 1.894 | 70.9129 | 0 | 224.671 | 20.9 | 964.906 | 56.0027 | 0.46555
2019-06-06 22:30:00 | 0 | 64.5814 | 2.1497 | 109.455 | 1.6383 | 48.7039 | 0 | 221.725 | 21.1 | 964.906 | 56.0709 | 0.38057
2019-06-06 22:45:00 | 0 | 69.4518 | 2.661 | 118.076 | 2.4053 | 56.6914 | 0 | 246.685 | 20.91 | 964.757 | 56.6166 | -0.081287
2019-06-06 23:00:00 | 0 | 52.2106 | 2.9167 | 104.487 | 2.661 | 42.7621 | 0 | 242.546 | 20.92 | 964.757 | 56.9236 | -0.30667
2019-06-06 23:15:00 | 0 | 65.0699 | 3.428 | 113.574 | 3.6837 | 54.9393 | 0 | 242.186 | 20.76 | 964.609 | 57.914 | 0.17735
2019-06-06 23:30:00 | 0 | 68.9164 | 3.6837 | 132.03 | 2.9167 | 75.0044 | 0 | 260.64 | 20.58 | 964.312 | 59.1408 | 0.27342
2019-06-06 23:45:00 | 0 | 86.0131 | 3.428 | 139.071 | 2.4053 | 77.0514 | 0 | 268.487 | 20.5 | 964.609 | 59.4829 | 0.25864