## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-08 00:00:00 | 0 | 186.806 | 5.729 | 214.925 | 4.7063 | 166.434 | 3.9393 | 11.1475 | 23.97 | 964.018 | 61.701 | 7.7222
2019-06-08 00:15:00 | 0 | 186.036 | 6.496 | 227.083 | 5.9847 | 175.716 | 3.8193 | 10.3692 | 24.14 | 964.018 | 62.7951 | 10.9774
2019-06-08 00:30:00 | 0 | 153.475 | 5.4733 | 210.346 | 5.4733 | 156.469 | 2.4053 | 347.21 | 24.09 | 964.018 | 63.4794 | 14.0774
2019-06-08 00:45:00 | 4.946 | 154.722 | 8.5413 | 196.163 | 8.2857 | 149.732 | 5.9847 | 342.307 | 23.76 | 963.573 | 62.8001 | 29.0008
2019-06-08 01:00:00 | 0.372 | 135.107 | 7.0073 | 205.788 | 5.4733 | 177.417 | 5.4733 | 324.063 | 23.52 | 963.128 | 64.03 | 45.3431
2019-06-08 01:15:00 | 3.1587 | 140.195 | 9.3083 | 186.313 | 9.564 | 140.755 | 4.962 | 328.128 | 23.55 | 962.98 | 61.7115 | 55.7885
2019-06-08 01:30:00 | 4.4353 | 156.067 | 5.729 | 169.418 | 8.5413 | 140.536 | 4.4507 | 335.675 | 23.9 | 962.683 | 61.4388 | 59.2912
2019-06-08 01:45:00 | 3.1587 | 151.416 | 10.331 | 199.237 | 10.331 | 154.824 | 1.774 | 323.475 | 23.84 | 962.832 | 63.211 | 55.6998
2019-06-08 02:00:00 | 3.414 | 149.908 | 8.5413 | 199.604 | 9.0527 | 165.561 | 2.4053 | 345.728 | 23.62 | 962.386 | 65.1891 | 58.5411
2019-06-08 02:15:00 | 4.946 | 140 | 11.6093 | 194.784 | 11.3537 | 135.205 | 5.9847 | 328.786 | 23.67 | 962.238 | 66.4166 | 65.2879
2019-06-08 02:30:00 | 4.4353 | 135.107 | 12.8877 | 191.229 | 12.632 | 141.266 | 5.4733 | 314.081 | 23.51 | 961.497 | 64.9844 | 67.0873
2019-06-08 02:45:00 | 5.4567 | 135.399 | 9.564 | 191.035 | 8.797 | 151.052 | 2.661 | 319.608 | 23.69 | 961.942 | 63.8254 | 50.4901
2019-06-08 03:00:00 | 0 | 135.982 | 7.0073 | 193.346 | 5.2177 | 167.483 | 0.37567 | 312.448 | 23.59 | 963.128 | 64.0294 | 30.0539
2019-06-08 03:15:00 | 5.712 | 131.115 | 8.797 | 189.063 | 9.3083 | 128.559 | 1.894 | 325.889 | 23 | 962.98 | 66.4848 | 32.5516
2019-06-08 03:30:00 | 2.648 | 120.769 | 9.3083 | 182.369 | 8.5413 | 136.032 | 5.729 | 310.041 | 22.94 | 962.535 | 66.8258 | 51.0841
2019-06-08 03:45:00 | 2.5313 | 138.345 | 8.03 | 193.689 | 7.0073 | 144.017 | 6.2403 | 318.22 | 22.82 | 962.386 | 68.1214 | 58.3194
2019-06-08 04:00:00 | 3.6693 | 127.001 | 9.564 | 197.681 | 8.797 | 155.118 | 4.195 | 308.97 | 22.69 | 962.386 | 68.8715 | 60.1632
2019-06-08 04:15:00 | 0.88267 | 141.828 | 7.0073 | 181.933 | 7.5187 | 137.3 | 3.9393 | 319.587 | 22.6 | 962.535 | 70.1678 | 53.9965
2019-06-08 04:30:00 | 6.478 | 152.473 | 11.3537 | 203.317 | 9.3083 | 181.906 | 5.729 | 320.917 | 22.76 | 962.683 | 70.1369 | 54.159
2019-06-08 04:45:00 | 6.478 | 121.894 | 9.0527 | 176.389 | 11.098 | 133.239 | 5.2177 | 310.541 | 22.81 | 962.832 | 70.9884 | 54.4288
2019-06-08 05:00:00 | 4.18 | 129.052 | 9.3083 | 176.049 | 9.8197 | 130.488 | 5.4733 | 311.467 | 22.74 | 962.535 | 71.6365 | 59.8269
2019-06-08 05:15:00 | 4.946 | 139.058 | 11.865 | 193.018 | 11.098 | 139.107 | 5.2177 | 324.42 | 22.75 | 962.238 | 72.0799 | 62.1629
2019-06-08 05:30:00 | 5.712 | 131.193 | 8.797 | 197.324 | 8.5413 | 156.463 | 2.541 | 318.866 | 22.74 | 962.832 | 71.4655 | 56.2651
2019-06-08 05:45:00 | 3.9247 | 137.546 | 10.5867 | 179.746 | 7.263 | 138.86 | 3.428 | 319.617 | 22.6 | 962.832 | 70.9192 | 50.6194
2019-06-08 06:00:00 | 6.478 | 127.246 | 10.0753 | 172.756 | 10.331 | 151.639 | 5.729 | 318.055 | 22.61 | 962.683 | 70.5092 | 46.6105
2019-06-08 06:15:00 | 4.946 | 143.485 | 9.0527 | 193.644 | 7.7743 | 141.172 | 3.9393 | 323.193 | 22.68 | 962.832 | 71.5323 | 51.7537
2019-06-08 06:30:00 | 2.3927 | 137.883 | 9.0527 | 189.648 | 10.331 | 142.873 | 2.4053 | 323.065 | 22.74 | 962.683 | 70.849 | 46.7102
2019-06-08 06:45:00 | 1.2547 | 134.255 | 9.3083 | 187.067 | 10.8423 | 139.002 | 0.37567 | 316.541 | 22.68 | 962.98 | 72.0082 | 42.2949
2019-06-08 07:00:00 | 3.042 | 139.172 | 6.2403 | 198.021 | 5.9847 | 151.076 | 0.37567 | 333.045 | 22.54 | 963.425 | 73.1672 | 35.7033
2019-06-08 07:15:00 | 0 | 141.193 | 5.9847 | 193.64 | 4.4507 | 149.373 | 5.2177 | 328.713 | 22.8 | 963.425 | 72.8264 | 37.1258
2019-06-08 07:30:00 | 0 | 146.011 | 4.4507 | 214.742 | 6.7517 | 172.107 | 0 | 298.132 | 22.77 | 963.425 | 72.9616 | 35.0124
2019-06-08 07:45:00 | 0 | 165.398 | 4.195 | 209.513 | 4.4507 | 156.246 | 1.2627 | 353.823 | 22.89 | 963.276 | 73.1939 | 29.0489
2019-06-08 08:00:00 | 5.4567 | 147.644 | 6.496 | 191.413 | 5.4733 | 154.045 | 4.962 | 322.426 | 23.09 | 963.276 | 72.6777 | 24.9365
2019-06-08 08:15:00 | 9.2867 | 145.502 | 8.2857 | 207.38 | 8.797 | 155.627 | 5.4733 | 340.413 | 23.08 | 963.421 | 72.7118 | 24.2677
2019-06-08 08:30:00 | 1.6487 | 143.605 | 7.0073 | 186.026 | 6.496 | 141.415 | 4.7063 | 318.992 | 23.3 | 963.813 | 72.3254 | 15.2745
2019-06-08 08:45:00 | 0 | 145.404 | 7.5187 | 189.528 | 7.5187 | 135.767 | 5.2177 | 334.49 | 23.72 | 963.876 | 72.4608 | 12.3999
2019-06-08 09:00:00 | 0 | 148.008 | 6.496 | 190.842 | 5.9847 | 134.331 | 3.9393 | 331.132 | 24.18 | 964.169 | 68.0982 | 9.9613
2019-06-08 09:15:00 | 2.1593 | 175.494 | 5.9847 | 230.028 | 6.2403 | 188.975 | 3.6837 | 15.4032 | 24.46 | 964.169 | 66.7301 | 9.2223
2019-06-08 09:30:00 | 0 | 148.737 | 5.729 | 200.696 | 5.9847 | 177.063 | 5.2177 | 339.378 | 25.06 | 964.318 | 67.1092 | 7.7222
2019-06-08 09:45:00 | 0 | 177.978 | 6.2403 | 230.737 | 3.6837 | 167.807 | 5.9847 | 354.618 | 25.03 | 964.13 | 67.8214 | 6.78
2019-06-08 10:00:00 | 0 | 172.787 | 7.263 | 225.079 | 7.263 | 172.957 | 3.1723 | 353.458 | 25.12 | 964.369 | 67.3411 | 7.1791
2019-06-08 10:15:00 | 0 | 171.622 | 5.2177 | 228.54 | 5.9847 | 165.588 | 2.1497 | 354.901 | 25.33 | 964.246 | 68.1604 | 3.9867
2019-06-08 10:30:00 | 0 | 174.802 | 4.962 | 216.631 | 5.9847 | 162.636 | 3.428 | 355.25 | 25.66 | 964.019 | 65.6697 | 2.9337
2019-06-08 10:45:00 | 0 | 158.324 | 3.428 | 205.858 | 1.894 | 177.689 | 3.8193 | 351.875 | 26.11 | 964.489 | 65.2145 | 0.51358
2019-06-08 11:00:00 | 0 | 172.625 | 3.428 | 231.104 | 2.1497 | 189.605 | 0 | 57.193 | 26.67 | 964.469 | 59.4208 | 1.2452
2019-06-08 11:15:00 | 0 | 222.544 | 2.1497 | 270.636 | 1.894 | 232.956 | 0 | 34.5445 | 27.23 | 964.172 | 53.2879 | 0.41752
2019-06-08 11:30:00 | 0 | 230.426 | 3.6837 | 241.687 | 3.6837 | 185.47 | 0.63133 | 52.133 | 27.35 | 964.321 | 56.0136 | 1.4299
2019-06-08 11:45:00 | 0 | 221.664 | 3.428 | 242.193 | 2.9167 | 202.398 | 0 | 356.799 | 27.24 | 963.876 | 55.6038 | 0.75744
2019-06-08 12:00:00 | 0 | 180.483 | 4.962 | 233.683 | 5.4733 | 194.13 | 2.0297 | 51.5734 | 27.25 | 963.728 | 51.8569 | 1.1861
2019-06-08 12:15:00 | 0 | 205.71 | 3.428 | 247.793 | 2.9167 | 241.787 | 0 | 41.1128 | 27.74 | 963.728 | 53.799 | 0.60226
2019-06-08 12:30:00 | 0 | 253.586 | 3.428 | 285.962 | 3.9393 | 244.463 | 2.541 | 81.666 | 27.4 | 963.579 | 54.8893 | 0.051728
2019-06-08 12:45:00 | 0 | 214.297 | 4.4507 | 290.754 | 4.195 | 252.175 | 0 | 37.9259 | 27.73 | 962.838 | 52.6405 | -0.0036948
2019-06-08 13:00:00 | 0 | 221.036 | 5.2177 | 258.691 | 5.9847 | 208.726 | 5.4733 | 52.3519 | 28.15 | 962.838 | 51.1755 | 0.31776
2019-06-08 13:15:00 | 0 | 204.542 | 3.6837 | 222.736 | 4.195 | 166.689 | 0 | 33.912 | 27.88 | 962.394 | 51.0392 | -0.073897
2019-06-08 13:30:00 | 0 | 227.093 | 2.661 | 284.964 | 1.6383 | 228.577 | 0 | 56.3172 | 28.17 | 962.986 | 50.3577 | -0.036948
2019-06-08 13:45:00 | 0.62733 | 204.153 | 3.1723 | 251.588 | 3.6837 | 181.334 | 3.6837 | 21.0673 | 28.34 | 962.542 | 51.3458 | 0.65399
2019-06-08 14:00:00 | 0 | 244.901 | 3.9393 | 294.233 | 4.195 | 274.02 | 0 | 60.9393 | 29.26 | 963.135 | 49.2334 | 0.5025
2019-06-08 14:15:00 | 0 | 214.117 | 5.9847 | 270.111 | 6.496 | 220.125 | 4.195 | 27.3667 | 29.1 | 963.283 | 47.2209 | 0.51358
2019-06-08 14:30:00 | 0 | 212.267 | 3.9393 | 240.353 | 3.428 | 217.691 | 0 | 35.0251 | 29.34 | 963.283 | 46.4998 | 0.18105
2019-06-08 14:45:00 | 0 | 212.523 | 5.4733 | 252.615 | 4.962 | 179.838 | 0 | 27.3101 | 29.63 | 962.838 | 44.9593 | 0.088676
2019-06-08 15:00:00 | 0 | 216.437 | 4.962 | 239.822 | 4.7063 | 168.967 | 4.4507 | 43.5793 | 29.94 | 962.986 | 44.2439 | 0.44338
2019-06-08 15:15:00 | 0 | 255.712 | 4.7063 | 288.727 | 3.9393 | 257.974 | 0 | 60.3836 | 30.15 | 962.986 | 44.6185 | 0.32145
2019-06-08 15:30:00 | 0 | 266.413 | 4.7063 | 292.643 | 3.1723 | 212.863 | 0.37567 | 68.3845 | 30.15 | 962.986 | 43.2902 | 1.0826
2019-06-08 15:45:00 | 0 | 246.52 | 4.4507 | 294.077 | 5.729 | 250.532 | 1.007 | 68.8709 | 30.43 | 962.968 | 39.5095 | 1.6442
2019-06-08 16:00:00 | 0 | 294.549 | 2.4053 | 309.885 | 3.1723 | 246.495 | 0 | 124.464 | 30.44 | 962.838 | 38.4537 | 2.1873
2019-06-08 16:15:00 | 0 | 296.106 | 3.9393 | 19.2218 | 2.661 | 323.829 | 0 | 117.557 | 30.81 | 963.132 | 38.1471 | 0.20322
2019-06-08 16:30:00 | 0 | 242.167 | 2.9167 | 284.082 | 2.9167 | 229.083 | 0 | 77.2122 | 30.83 | 963.02 | 33.1063 | -0.1441
2019-06-08 16:45:00 | 0 | 244.647 | 3.6837 | 298.674 | 3.428 | 255.25 | 0 | 97.0807 | 30.86 | 963.046 | 35.1499 | -0.34731
2019-06-08 17:00:00 | 0 | 291.534 | 2.4053 | 323.771 | 1.127 | 238.957 | 0 | 80.8357 | 30.99 | 962.872 | 36.2398 | -0.31037
2019-06-08 17:15:00 | 0 | 213.616 | 2.9167 | 252.906 | 1.894 | 220.523 | 0 | 32.4899 | 31.41 | 962.784 | 33.2425 | -0.26972
2019-06-08 17:30:00 | 0 | 200.338 | 3.1723 | 243.421 | 3.6837 | 199.122 | 0 | 23.0542 | 31.43 | 962.384 | 29.2234 | -0.26972
2019-06-08 17:45:00 | 0 | 196.69 | 3.6837 | 235.445 | 3.6837 | 193.116 | 0 | 14.4211 | 31.33 | 962.332 | 34.1962 | -0.25125
2019-06-08 18:00:00 | 0 | 186.331 | 3.1723 | 230.97 | 3.6837 | 195.28 | 0 | 4.961 | 30.93 | 961.611 | 35.5927 | -0.28081
2019-06-08 18:15:00 | 0 | 149.852 | 3.428 | 193.616 | 3.6837 | 149.415 | 0.63133 | 338.907 | 30.49 | 961.799 | 36.5123 | -0.25125
2019-06-08 18:30:00 | 0 | 144.648 | 4.4507 | 197.07 | 3.9393 | 157.294 | 1.894 | 330.201 | 29.99 | 961.504 | 38.079 | 3.717
2019-06-08 18:45:00 | 0 | 142.225 | 5.2177 | 192.802 | 4.4507 | 157.668 | 0 | 325.113 | 29.61 | 961.059 | 39.2394 | 6.3773
2019-06-08 19:00:00 | 0 | 160.772 | 4.195 | 201.272 | 4.195 | 137.613 | 1.774 | 323.488 | 29.26 | 960.614 | 41.3274 | 8.3762
2019-06-08 19:15:00 | 0 | 141.632 | 3.9393 | 192.716 | 3.428 | 161.824 | 0 | 335.349 | 29.13 | 960.318 | 42.0443 | 6.466
2019-06-08 19:30:00 | 0 | 133.242 | 3.6837 | 211.745 | 3.6837 | 163.019 | 0 | 321.708 | 28.99 | 960.021 | 43.1355 | 7.5375
2019-06-08 19:45:00 | 0 | 173.873 | 4.195 | 206.607 | 3.9393 | 149.367 | 0.63133 | 355.969 | 28.68 | 960.146 | 43.2166 | 9.8874
2019-06-08 20:00:00 | 0 | 179.247 | 5.9847 | 223.806 | 3.9393 | 165.668 | 1.007 | 342.674 | 29.16 | 960.166 | 41.3071 | 12.1856
2019-06-08 20:15:00 | 0 | 172.626 | 5.2177 | 216.236 | 6.496 | 181.095 | 5.2177 | 355.278 | 29.01 | 960.314 | 40.2161 | 13.0687
2019-06-08 20:30:00 | 0 | 170.738 | 4.962 | 213.807 | 6.496 | 157.574 | 2.4053 | 351.963 | 28.81 | 960.314 | 41.8484 | 19.4386
2019-06-08 20:45:00 | 4.18 | 163.301 | 7.5187 | 217.104 | 6.496 | 178.047 | 0 | 354.561 | 28.97 | 960.314 | 37.0453 | 18.9139
2019-06-08 21:00:00 | 4.6907 | 159.342 | 6.496 | 204.656 | 6.7517 | 158.783 | 5.9847 | 343.676 | 28.7 | 960.166 | 40.6938 | 20.6025
2019-06-08 21:15:00 | 0 | 149.169 | 7.5187 | 193.193 | 6.7517 | 144.667 | 5.9847 | 311.868 | 28.17 | 960.166 | 43.7268 | 31.2584
2019-06-08 21:30:00 | 2.3927 | 145.598 | 9.0527 | 197.606 | 9.0527 | 143.456 | 1.5183 | 331.228 | 26.36 | 959.721 | 50.102 | 64.8378
2019-06-08 21:45:00 | 4.946 | 146.621 | 12.1207 | 201.744 | 9.8197 | 139.004 | 5.4733 | 326.289 | 25.11 | 959.276 | 60.7021 | 71.8775
2019-06-08 22:00:00 | 3.6693 | 135.137 | 11.6093 | 193.352 | 8.03 | 167.113 | 6.2403 | 326.902 | 24.59 | 959.174 | 64.1456 | 77.1779
2019-06-08 22:15:00 | 4.18 | 149.444 | 10.331 | 202.657 | 11.098 | 148.568 | 6.2403 | 332.55 | 24.18 | 959.123 | 66.0642 | 77.4883
2019-06-08 22:30:00 | 0.744 | 145.38 | 9.0527 | 190.756 | 8.5413 | 145.258 | 4.962 | 331.529 | 23.93 | 958.975 | 67.9734 | 77.7644
2019-06-08 22:45:00 | 3.9247 | 149.145 | 12.632 | 209.985 | 9.0527 | 146.565 | 5.4733 | 331.225 | 23.76 | 958.975 | 68.3219 | 79.7416
2019-06-08 23:00:00 | 5.4567 | 151.953 | 13.399 | 196.999 | 12.632 | 151.612 | 5.9847 | 336.283 | 23.57 | 958.678 | 68.5987 | 79.9971
2019-06-08 23:15:00 | 3.414 | 157.868 | 10.8423 | 207.15 | 11.098 | 140.098 | 4.7063 | 330.148 | 23.37 | 958.678 | 69.6896 | 77.9206
2019-06-08 23:30:00 | 5.4567 | 190.879 | 11.098 | 223.072 | 11.865 | 179.096 | 4.4507 | 317.758 | 23.1 | 958.085 | 70.2352 | 77.8689
2019-06-08 23:45:00 | 2.648 | 123.714 | 8.5413 | 198.63 | 8.03 | 172.426 | 3.6837 | 316.199 | 23 | 958.53 | 70.1668 | 76.3872