## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-09 00:00:00 | 3.6693 | 150.468 | 12.1207 | 194.346 | 9.0527 | 169.335 | 4.4507 | 327.447 | 22.96 | 958.233 | 70.7808 | 78.763
2019-06-09 00:15:00 | 2.276 | 152.904 | 10.8423 | 201.14 | 8.5413 | 151.76 | 2.9167 | 327.864 | 22.82 | 958.085 | 71.0883 | 76.4427
2019-06-09 00:30:00 | 3.6693 | 172.906 | 8.5413 | 225.701 | 8.5413 | 175.73 | 1.894 | 356.622 | 22.81 | 958.085 | 70.8562 | 75.8293
2019-06-09 00:45:00 | 1.7653 | 165.217 | 9.8197 | 221.836 | 8.5413 | 179.021 | 2.4053 | 326.66 | 22.82 | 957.788 | 70.8577 | 77.4661
2019-06-09 01:00:00 | 3.414 | 153.046 | 12.1207 | 211.736 | 9.8197 | 170.089 | 2.9167 | 334.359 | 22.78 | 957.492 | 71.3364 | 78.1866
2019-06-09 01:15:00 | 3.414 | 145.161 | 11.098 | 210.426 | 11.3537 | 172.211 | 5.4733 | 329.765 | 22.71 | 957.492 | 71.9859 | 79.7311
2019-06-09 01:30:00 | 4.18 | 152.78 | 10.5867 | 218.191 | 10.0753 | 169.531 | 2.1497 | 334.826 | 22.58 | 957.492 | 72.7354 | 81.4196
2019-06-09 01:45:00 | 3.1587 | 170.8 | 7.7743 | 211.743 | 8.797 | 166.904 | 2.661 | 344.01 | 22.68 | 957.64 | 71.7135 | 76.9008
2019-06-09 02:00:00 | 3.6693 | 157.823 | 8.797 | 204.998 | 12.1207 | 173.405 | 3.6837 | 326.407 | 22.49 | 957.492 | 73.2481 | 72.38
2019-06-09 02:15:00 | 6.2227 | 156.143 | 11.098 | 190.633 | 10.8423 | 149.203 | 4.962 | 356.793 | 22.48 | 957.047 | 73.3845 | 78.0193
2019-06-09 02:30:00 | 3.6693 | 148.911 | 12.3763 | 203.367 | 10.5867 | 156.897 | 5.4733 | 327.868 | 22.9 | 957.195 | 71.3384 | 70.1429
2019-06-09 02:45:00 | 2.276 | 147.256 | 8.797 | 199.69 | 7.5187 | 143.116 | 3.9393 | 327.089 | 22.64 | 957.788 | 73.5891 | 57.429
2019-06-09 03:00:00 | 5.712 | 150.201 | 9.8197 | 185.812 | 8.2857 | 142.532 | 4.7063 | 331.3 | 22.7 | 958.085 | 73.2139 | 56.2355
2019-06-09 03:15:00 | 2.5313 | 179.072 | 9.564 | 211.613 | 8.797 | 161.031 | 1.6383 | 337.327 | 23 | 957.64 | 70.7903 | 49.1747
2019-06-09 03:30:00 | 3.414 | 158.764 | 8.797 | 195.808 | 6.7517 | 155.477 | 0.37567 | 341.217 | 23.08 | 958.085 | 72.6304 | 45.5648
2019-06-09 03:45:00 | 2.3927 | 135.582 | 9.0527 | 194.609 | 6.2403 | 150.726 | 1.894 | 322.291 | 23.25 | 957.788 | 69.7985 | 52.6663
2019-06-09 04:00:00 | 4.946 | 152.374 | 8.2857 | 199.834 | 8.5413 | 134.189 | 5.9847 | 356.141 | 22.49 | 957.492 | 72.9664 | 52.8716
2019-06-09 04:15:00 | 9.542 | 160.956 | 10.8423 | 216.503 | 11.6093 | 159.568 | 5.729 | 349.496 | 23.72 | 957.343 | 66.186 | 44.4896
2019-06-09 04:30:00 | 11.3293 | 187.179 | 8.03 | 226.188 | 7.7743 | 168.629 | 6.7517 | 9.0072 | 23.48 | 957.937 | 68.5306 | 33.5381
2019-06-09 04:45:00 | 0 | 176.712 | 7.0073 | 204.913 | 6.7517 | 155.752 | 3.9393 | 0.26778 | 23.4 | 958.233 | 70.6789 | 22.6125
2019-06-09 05:00:00 | 0 | 168.288 | 5.9847 | 221.1 | 5.729 | 169.919 | 0 | 7.4735 | 23.19 | 958.233 | 70.0307 | 14.6833
2019-06-09 05:15:00 | 1.7653 | 188.128 | 4.7063 | 241.402 | 4.4507 | 188.542 | 5.729 | 12.9508 | 23.44 | 958.678 | 69.8943 | 6.8244
2019-06-09 05:30:00 | 0 | 207.408 | 0.75133 | 252.99 | 0 | 334.555 | 0 | 34.4706 | 23.83 | 959.272 | 69.4852 | 0.68355
2019-06-09 05:45:00 | 0 | 347.969 | 3.9393 | 52.8363 | 2.661 | 14.5088 | 5.729 | 159.256 | 23.35 | 959.568 | 73.1674 | 0.66138
2019-06-09 06:00:00 | 0 | 1.1198 | 4.4507 | 53.5179 | 3.1723 | 0.048687 | 1.894 | 186.01 | 22.63 | 959.42 | 75.1449 | 2.579
2019-06-09 06:15:00 | 0 | 343.192 | 3.1723 | 42.4406 | 4.195 | 43.2094 | 2.541 | 172.156 | 22.74 | 959.568 | 74.4619 | 5.1913
2019-06-09 06:30:00 | 0 | 356.889 | 4.195 | 43.7736 | 3.6837 | 11.7324 | 0.37567 | 175.134 | 22.8 | 959.865 | 74.4551 | 9.7101
2019-06-09 06:45:00 | 0 | 79.9797 | 5.2177 | 58.9574 | 4.195 | 7.3019 | 3.6837 | 178.36 | 22.89 | 960.154 | 74.314 | 10.4416
2019-06-09 07:00:00 | 0 | 356.428 | 5.2177 | 77.3338 | 4.4507 | 21.2484 | 5.729 | 168.308 | 22.89 | 960.458 | 74.1094 | 11.7164
2019-06-09 07:15:00 | 5.2013 | 22.441 | 5.2177 | 70.3727 | 4.962 | 28.6963 | 5.9847 | 167.505 | 22.91 | 960.31 | 74.1776 | 21.7405
2019-06-09 07:30:00 | 5.9673 | 0.26773 | 9.8197 | 49.051 | 7.5187 | 21.1023 | 3.9393 | 186.83 | 23.24 | 960.157 | 72.2684 | 31.7113
2019-06-09 07:45:00 | 3.6693 | 6.3038 | 11.098 | 64.9668 | 8.797 | 31.8352 | 4.7063 | 178.209 | 23.56 | 960.406 | 71.7893 | 49.4672
2019-06-09 08:00:00 | 3.9247 | 0.097345 | 8.797 | 47.4113 | 11.6093 | 13.9933 | 2.1497 | 178.506 | 23.8 | 960.41 | 69.0548 | 55.5594
2019-06-09 08:15:00 | 5.2013 | 4.5751 | 14.6773 | 72.7184 | 11.098 | 7.398 | 3.9393 | 192.47 | 24.12 | 960.071 | 57.7373 | 68.7411
2019-06-09 08:30:00 | 5.2013 | 8.42 | 13.1433 | 58.4816 | 11.865 | 5.9135 | 5.9847 | 192.98 | 24.37 | 959.701 | 47.3756 | 75.0164
2019-06-09 08:45:00 | 5.9673 | 24.1894 | 12.8877 | 61.9129 | 8.2857 | 9.8558 | 5.4733 | 190.303 | 24.83 | 960.077 | 48.2618 | 70.0719
2019-06-09 09:00:00 | 5.4567 | 349.432 | 11.6093 | 67.5344 | 11.6093 | 13.1654 | 5.4733 | 180.666 | 24.74 | 960.322 | 45.6033 | 64.4286
2019-06-09 09:15:00 | 3.1587 | 30.8816 | 10.331 | 74.6646 | 8.5413 | 33.8748 | 5.9847 | 171.783 | 24.95 | 960.759 | 45.1261 | 67.0245
2019-06-09 09:30:00 | 5.9673 | 354.785 | 10.0753 | 45.7299 | 10.5867 | 42.2949 | 5.2177 | 199.891 | 25.25 | 961.056 | 43.5583 | 68.2289
2019-06-09 09:45:00 | 2.9033 | 14.4552 | 12.8877 | 68.9945 | 11.6093 | 29.1294 | 4.195 | 196.24 | 25.35 | 960.907 | 38.7866 | 66.8213
2019-06-09 10:00:00 | 2.9033 | 10.8288 | 12.3763 | 70.427 | 10.0753 | 23.4341 | 2.4053 | 194.335 | 25.89 | 961.056 | 37.5583 | 64.7444
2019-06-09 10:15:00 | 7.4993 | 13.1165 | 9.0527 | 57.4334 | 10.0753 | 11.3887 | 4.962 | 174.481 | 25.98 | 961.352 | 34.6277 | 64.7026
2019-06-09 10:30:00 | 5.2013 | 48.0608 | 9.8197 | 52.9307 | 13.399 | 21.0251 | 4.7063 | 183.823 | 26.15 | 961.5 | 35.309 | 59.1433
2019-06-09 10:45:00 | 5.4567 | 353.292 | 12.8877 | 61.1807 | 9.8197 | 32.0489 | 4.4507 | 207.746 | 26.07 | 961.352 | 35.9909 | 58.6925
2019-06-09 11:00:00 | 4.4353 | 25.2832 | 12.632 | 91.2316 | 3.1723 | 21.9981 | 5.729 | 201.195 | 26.24 | 961.797 | 35.956 | 53.4338
2019-06-09 11:15:00 | 5.2013 | 2.7012 | 14.4217 | 70.3321 | 4.962 | 21.999 | 5.729 | 185.41 | 26.27 | 961.945 | 35.1054 | 55.4633
2019-06-09 11:30:00 | 0.372 | 64.1203 | 0.37567 | 16.9148 | 2.661 | 316.197 | 5.4733 | 211.463 | 26.63 | 962.39 | 33.7746 | 43.5902
2019-06-09 11:45:00 | 6.478 | 1.9954 | 10.0753 | 62.5667 | 5.729 | 353.311 | 1.894 | 177.568 | 27.05 | 962.39 | 33.6387 | 53.0596
2019-06-09 12:00:00 | 0.99933 | 61.4205 | 10.331 | 85.1497 | 5.9847 | 24.5293 | 2.1497 | 175.039 | 27.17 | 962.213 | 32.0371 | 63.706
2019-06-09 12:15:00 | 4.6907 | 3.9909 | 7.5187 | 58.1379 | 6.496 | 357.035 | 3.1723 | 167.908 | 27.56 | 962.538 | 30.2988 | 59.4611
2019-06-09 12:30:00 | 8.2653 | 18.0806 | 5.2177 | 73.104 | 4.962 | 324.282 | 4.962 | 155.425 | 27.52 | 962.686 | 33.2641 | 53.5049
2019-06-09 12:45:00 | 0.744 | 27.7178 | 9.564 | 78.5818 | 2.661 | 58.161 | 1.007 | 220.939 | 27.82 | 962.39 | 31.2199 | 51.3666
2019-06-09 13:00:00 | 3.9247 | 355.025 | 9.0527 | 73.0817 | 9.564 | 4.575 | 4.7063 | 175.724 | 27.11 | 962.242 | 31.7992 | 49.8537
2019-06-09 13:15:00 | 4.18 | 10.9995 | 11.3537 | 64.3456 | 1.6383 | 7.3979 | 3.6837 | 193.245 | 26.99 | 962.093 | 30.2655 | 47.5149
2019-06-09 13:30:00 | 7.7547 | 326.631 | 8.797 | 18.3742 | 2.661 | 311.811 | 4.4507 | 155.76 | 27.08 | 962.538 | 29.6843 | 44.5119
2019-06-09 13:45:00 | 4.18 | 354.142 | 7.263 | 60.8153 | 9.0527 | 0.048669 | 1.007 | 182.412 | 26.97 | 962.242 | 28.2882 | 43.7765
2019-06-09 14:00:00 | 2.1373 | 53.9748 | 7.263 | 51.9096 | 7.5187 | 10.8534 | 2.661 | 149.83 | 27.47 | 962.686 | 28.2203 | 53.7837
2019-06-09 14:15:00 | 6.7333 | 20.3382 | 7.7743 | 67.021 | 6.2403 | 12.9181 | 3.428 | 186.912 | 27.8 | 962.424 | 27.7693 | 52.6328
2019-06-09 14:30:00 | 4.18 | 330.07 | 4.962 | 61.6174 | 5.2177 | 39.0693 | 0.75133 | 155.231 | 27.54 | 962.542 | 26.5077 | 48.1276
2019-06-09 14:45:00 | 0.88267 | 20.3861 | 6.496 | 88.5718 | 3.428 | 355.686 | 4.962 | 142.776 | 27.78 | 962.986 | 27.3595 | 48.0244
2019-06-09 15:00:00 | 4.4353 | 7.7603 | 8.5413 | 68.1127 | 10.331 | 14.1584 | 2.661 | 192.938 | 27.85 | 962.542 | 26.8143 | 48.9483
2019-06-09 15:15:00 | 6.478 | 353.302 | 7.0073 | 67.3343 | 3.428 | 2.9192 | 1.774 | 179.315 | 27.39 | 962.838 | 29.54 | 47.649
2019-06-09 15:30:00 | 1.882 | 7.4927 | 10.331 | 66.1179 | 7.0073 | 4.5978 | 4.7063 | 190.092 | 27.26 | 962.69 | 28.8245 | 51.0849
2019-06-09 15:45:00 | 6.9887 | 6.0331 | 9.564 | 65.68 | 9.8197 | 10.0957 | 4.962 | 185.105 | 26.9 | 962.245 | 29.8467 | 46.2447
2019-06-09 16:00:00 | 4.6907 | 3.6491 | 8.2857 | 71.9564 | 8.5413 | 8.2955 | 1.007 | 192.865 | 26.92 | 962.097 | 29.983 | 47.7369
2019-06-09 16:15:00 | 5.2013 | 9.2443 | 7.5187 | 50.135 | 6.496 | 346.515 | 4.7063 | 189.873 | 26.77 | 962.097 | 30.1193 | 49.8446
2019-06-09 16:30:00 | 0 | 3.2355 | 9.8197 | 74.4135 | 4.7063 | 349.215 | 4.962 | 170.801 | 26.59 | 962.097 | 30.5281 | 49.323
2019-06-09 16:45:00 | 2.1373 | 15.7153 | 9.0527 | 61.4228 | 7.7743 | 13.1366 | 1.6383 | 180.215 | 26.55 | 962.097 | 29.3015 | 47.1705
2019-06-09 17:00:00 | 1.116 | 178.147 | 7.263 | 55.9492 | 8.797 | 2.0921 | 2.541 | 181.188 | 26.69 | 962.245 | 30.0511 | 47.3964
2019-06-09 17:15:00 | 0.744 | 20.3618 | 8.03 | 71.8834 | 7.263 | 17.7345 | 1.007 | 184.862 | 26.55 | 962.394 | 30.5281 | 48.0736
2019-06-09 17:30:00 | 3.6693 | 0.14597 | 7.0073 | 58.0924 | 7.263 | 28.4879 | 7.5187 | 158.423 | 26.38 | 962.245 | 30.1884 | 47.1515
2019-06-09 17:45:00 | 1.882 | 330.333 | 6.496 | 11.7755 | 5.9847 | 356.975 | 3.6837 | 167.88 | 26.31 | 962.293 | 30.1915 | 48.3323
2019-06-09 18:00:00 | 0.99933 | 19.2227 | 8.03 | 75.8461 | 8.2857 | 30.5617 | 3.1723 | 161.033 | 26.11 | 962.277 | 31.9663 | 49.8213
2019-06-09 18:15:00 | 2.1373 | 341.395 | 7.7743 | 48.4056 | 7.7743 | 24.992 | 0.37567 | 166.719 | 25.99 | 962.091 | 32.4466 | 47.3642
2019-06-09 18:30:00 | 0.744 | 356.873 | 8.03 | 58.037 | 7.5187 | 1.606 | 4.962 | 190.822 | 25.61 | 962.093 | 38.5789 | 49.5627
2019-06-09 18:45:00 | 1.6267 | 12.1677 | 10.8423 | 65.4169 | 7.7743 | 14.7715 | 4.4507 | 199.136 | 25.21 | 962.093 | 39.6045 | 44.2273
2019-06-09 19:00:00 | 1.3713 | 21.2204 | 9.0527 | 73.3261 | 4.7063 | 51.1773 | 2.661 | 191.86 | 24.96 | 962.249 | 40.559 | 44.2769
2019-06-09 19:15:00 | 2.1373 | 7.2281 | 11.865 | 70.1197 | 5.9847 | 10.0512 | 1.127 | 197.786 | 24.57 | 962.36 | 40.5616 | 46.9341
2019-06-09 19:30:00 | 2.9033 | 12.0967 | 12.632 | 69.3503 | 9.8197 | 19.2769 | 2.9167 | 196.055 | 24.3 | 962.382 | 39.1341 | 43.9896
2019-06-09 19:45:00 | 11.3293 | 9.6386 | 8.5413 | 73.9766 | 5.729 | 7.6428 | 6.496 | 203.774 | 23.89 | 962.386 | 39.2712 | 40.7837
2019-06-09 20:00:00 | 5.9673 | 356.912 | 7.5187 | 75.9343 | 3.428 | 82.4242 | 6.2403 | 210.32 | 23.57 | 962.683 | 39.2755 | 31.5889
2019-06-09 20:15:00 | 11.84 | 19.4017 | 10.331 | 68.2205 | 5.2177 | 50.2691 | 3.9393 | 201.807 | 23.2 | 962.683 | 39.2086 | 23.6064
2019-06-09 20:30:00 | 6.9887 | 25.0983 | 9.0527 | 80.0281 | 3.6837 | 32.231 | 5.9847 | 203.805 | 23.23 | 962.683 | 39.5499 | 26.178
2019-06-09 20:45:00 | 3.6693 | 24.0272 | 7.0073 | 87.2339 | 2.4053 | 48.1518 | 3.0523 | 212.812 | 23.37 | 963.128 | 37.4361 | 25.1545
2019-06-09 21:00:00 | 4.3187 | 18.6003 | 6.7517 | 87.8281 | 3.6837 | 18.4299 | 3.428 | 201.39 | 23.17 | 962.98 | 36.8599 | 16.4531
2019-06-09 21:15:00 | 4.18 | 35.0602 | 5.9847 | 81.5285 | 1.3827 | 320.996 | 4.962 | 215.499 | 23.13 | 962.98 | 36.2824 | 17.2475
2019-06-09 21:30:00 | 0 | 55.1478 | 5.729 | 86.6678 | 1.007 | 355.649 | 2.541 | 217.816 | 23.01 | 962.98 | 36.1466 | 19.3758
2019-06-09 21:45:00 | 5.712 | 26.0035 | 7.263 | 76.1982 | 4.962 | 12.9287 | 5.2177 | 212.167 | 22.88 | 962.683 | 34.8508 | 23.2738
2019-06-09 22:00:00 | 0.88267 | 33.6487 | 7.263 | 71.2556 | 6.496 | 11.9304 | 0 | 210.268 | 22.69 | 962.98 | 34.6462 | 21.5594
2019-06-09 22:15:00 | 3.9247 | 51.7878 | 8.797 | 93.3878 | 6.7517 | 49.5722 | 2.661 | 234.64 | 22.68 | 962.98 | 36.0102 | 21.3488
2019-06-09 22:30:00 | 0 | 48.16 | 5.9847 | 99.8887 | 4.195 | 63.4504 | 3.1723 | 247.544 | 22.45 | 963.128 | 37.2719 | 19.1615
2019-06-09 22:45:00 | 0 | 65.5443 | 6.7517 | 109.263 | 4.962 | 47.9652 | 0 | 239.972 | 22.29 | 962.98 | 38.9429 | 20.148
2019-06-09 23:00:00 | 6.2227 | 54.4174 | 8.797 | 121.461 | 5.729 | 52.9322 | 5.4733 | 242.456 | 22.14 | 962.707 | 39.5908 | 23.0706
2019-06-09 23:15:00 | 3.9247 | 48.3061 | 5.9847 | 106.584 | 1.6383 | 25.2487 | 5.2177 | 233.082 | 21.99 | 963.33 | 41.1253 | 25.8639
2019-06-09 23:30:00 | 0.372 | 55.367 | 8.5413 | 97.6487 | 4.962 | 51.1304 | 2.661 | 252.317 | 21.93 | 962.806 | 41.4663 | 32.1673
2019-06-09 23:45:00 | 3.1587 | 61.1861 | 7.7743 | 119.172 | 5.9847 | 57.1931 | 1.774 | 233.739 | 21.93 | 962.717 | 40.2728 | 36.0063