## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-10 00:00:00 | 0 | 66.6894 | 7.0073 | 108.022 | 5.4733 | 59.7258 | 5.729 | 245.623 | 21.86 | 962.377 | 40.7847 | 43.056
2019-06-10 00:15:00 | 6.7333 | 84.2685 | 6.2403 | 120.415 | 7.5187 | 57.6318 | 3.428 | 227.216 | 22.19 | 962.324 | 39.4206 | 40.8353
2019-06-10 00:30:00 | 0.744 | 55.1481 | 7.5187 | 123.336 | 5.4733 | 77.9134 | 3.6837 | 248.154 | 22.32 | 962.391 | 38.7384 | 37.1851
2019-06-10 00:45:00 | 0 | 62.4522 | 9.0527 | 119.951 | 5.2177 | 60.1391 | 1.894 | 245.183 | 22.47 | 962.026 | 38.4314 | 38.467
2019-06-10 01:00:00 | 0.88267 | 77.4261 | 6.496 | 135.826 | 6.496 | 86.6783 | 3.9393 | 240.654 | 22.45 | 961.985 | 36.7605 | 29.2188
2019-06-10 01:15:00 | 0 | 70.8278 | 6.496 | 113.426 | 2.1497 | 42.3896 | 0 | 242.797 | 22.52 | 962.404 | 37.2038 | 11.406
2019-06-10 01:30:00 | 0 | 82.2226 | 3.9393 | 119.781 | 5.4733 | 48.1844 | 0.37567 | 244.817 | 22.41 | 962.555 | 35.6692 | 4.9844
2019-06-10 01:45:00 | 0 | 50.7896 | 2.661 | 80.3131 | 1.3827 | 3.7009 | 0 | 230.282 | 22.42 | 962.858 | 35.6692 | 0.37687
2019-06-10 02:00:00 | 0 | 307.13 | 3.428 | 335.681 | 3.428 | 293.105 | 0 | 170.901 | 21.42 | 962.828 | 46.5824 | 1.1971
2019-06-10 02:15:00 | 0 | 289.629 | 3.6837 | 336.838 | 2.9167 | 287.486 | 0 | 118.784 | 20.03 | 962.677 | 48.9064 | 1.1084
2019-06-10 02:30:00 | 0 | 276.2 | 3.6837 | 327.21 | 3.1723 | 280.048 | 0 | 98.9177 | 20.02 | 962.828 | 48.6016 | 1.6959
2019-06-10 02:45:00 | 0 | 282.337 | 3.428 | 336.854 | 3.428 | 302.208 | 0 | 104.908 | 20.24 | 962.68 | 47.3397 | 1.6664
2019-06-10 03:00:00 | 0 | 316.082 | 2.9167 | 16.0429 | 3.6837 | 341.994 | 0 | 138.254 | 20.17 | 962.68 | 48.6385 | 1.2156
2019-06-10 03:15:00 | 0 | 337.78 | 3.428 | 34.5066 | 2.1497 | 8.1833 | 0 | 137.119 | 19.49 | 962.383 | 51.2343 | 0.75005
2019-06-10 03:30:00 | 0 | 337.479 | 3.428 | 35.3371 | 2.661 | 9.572 | 0 | 148.84 | 19.67 | 962.7 | 50.2132 | 0.20322
2019-06-10 03:45:00 | 0 | 345.346 | 2.4053 | 51.5096 | 2.9167 | 10.1321 | 0 | 149.522 | 19.64 | 962.775 | 50.0767 | -0.059118
2019-06-10 04:00:00 | 0 | 1.8511 | 2.661 | 52.4838 | 2.4053 | 10.6193 | 0 | 150.35 | 19.83 | 962.83 | 50.0085 | -0.25125
2019-06-10 04:15:00 | 0 | 331.682 | 1.3827 | 51.8993 | 1.3827 | 4.0918 | 0 | 128.406 | 20.01 | 963.243 | 49.6674 | -0.24016
2019-06-10 04:30:00 | 0 | 336.188 | 1.894 | 48.8548 | 2.1497 | 356.525 | 0 | 128.43 | 20.06 | 963.296 | 48.5758 | -0.15149
2019-06-10 04:45:00 | 0 | 334.507 | 2.4053 | 41.1582 | 2.661 | 352.506 | 0 | 129.989 | 19.92 | 963.108 | 48.5758 | -0.12932
2019-06-10 05:00:00 | 0 | 316.971 | 1.894 | 41.6697 | 2.4053 | 356.817 | 0 | 96.5477 | 20.37 | 963.682 | 47.6889 | -0.1404
2019-06-10 05:15:00 | 0 | 349.304 | 2.1497 | 41.8625 | 1.6383 | 1.4613 | 0 | 114.226 | 20.32 | 963.576 | 48.5742 | -0.16257
2019-06-10 05:30:00 | 0 | 301.624 | 1.6383 | 13.2162 | 1.127 | 1.6559 | 0 | 101.11 | 20.93 | 963.868 | 45.3616 | -0.27342
2019-06-10 05:45:00 | 0 | 318.355 | 1.894 | 28.8466 | 1.6383 | 13.5387 | 0 | 101.979 | 21.25 | 964.268 | 46.5861 | -0.26233
2019-06-10 06:00:00 | 0 | 259.353 | 0.75133 | 29.6696 | 0 | 356.988 | 0 | 90.4766 | 21.98 | 964.614 | 41.6027 | -0.24016
2019-06-10 06:15:00 | 0 | 280.44 | 1.6383 | 311.464 | 1.6383 | 349.82 | 0 | 94.8189 | 22.67 | 964.908 | 40.9138 | -0.24016
2019-06-10 06:30:00 | 0 | 253.521 | 3.1723 | 303.546 | 2.661 | 263.549 | 0 | 80.1259 | 21.81 | 965.353 | 42.9863 | -0.25864
2019-06-10 06:45:00 | 0 | 281.957 | 1.127 | 19.854 | 1.127 | 297.434 | 0 | 97.709 | 22.25 | 965.26 | 41.4121 | -0.24016
2019-06-10 07:00:00 | 0 | 264.185 | 1.894 | 317.921 | 0 | 295.967 | 0 | 101.722 | 23.03 | 965.505 | 41.2406 | -0.24016
2019-06-10 07:15:00 | 0 | 349.676 | 1.127 | 316.536 | 0.75133 | 290.788 | 0 | 131.938 | 23.1 | 965.504 | 41.4424 | -0.24016
2019-06-10 07:30:00 | 0 | 264.152 | 0.75133 | 312.982 | 0 | 297.412 | 0 | 87.2479 | 23.32 | 966.009 | 41.5044 | -0.24016
2019-06-10 07:45:00 | 0 | 301.413 | 1.894 | 0.63563 | 1.3827 | 291.049 | 0 | 131.22 | 23.45 | 965.803 | 39.5912 | -0.25864
2019-06-10 08:00:00 | 0 | 285.308 | 2.4053 | 35.1738 | 1.127 | 282.656 | 0 | 108.693 | 23.48 | 966.248 | 38.7734 | -0.24016
2019-06-10 08:15:00 | 0 | 253.975 | 1.6383 | 320.141 | 1.3827 | 274.556 | 0 | 74.7328 | 23.93 | 966.544 | 37.5469 | -0.24016
2019-06-10 08:30:00 | 0 | 242.747 | 1.894 | 308.56 | 2.4053 | 261.525 | 0 | 70.7323 | 24.31 | 966.396 | 37.9499 | -0.24016
2019-06-10 08:45:00 | 0 | 243.814 | 2.4053 | 310.112 | 2.1497 | 256.802 | 0 | 80.2903 | 23.9 | 966.692 | 38.0516 | -0.24016
2019-06-10 09:00:00 | 0 | 265.023 | 2.661 | 313.687 | 2.1497 | 268.428 | 0 | 105.343 | 24.07 | 966.84 | 37.4723 | -0.24016
2019-06-10 09:15:00 | 0 | 230.873 | 3.428 | 278.832 | 3.428 | 220.682 | 0 | 51.516 | 24.27 | 966.84 | 35.9734 | -0.26233
2019-06-10 09:30:00 | 0 | 282.42 | 2.661 | 309.242 | 3.1723 | 249.996 | 0 | 109.115 | 24.34 | 966.84 | 36.9962 | -0.26603
2019-06-10 09:45:00 | 0 | 225.801 | 3.9393 | 292.696 | 3.428 | 254.361 | 0 | 64.2957 | 24.69 | 966.989 | 36.899 | -0.25125
2019-06-10 10:00:00 | 0 | 243.282 | 2.1497 | 325.475 | 1.894 | 247.345 | 0 | 53.6627 | 25.15 | 966.989 | 36.8634 | -0.24016
2019-06-10 10:15:00 | 0 | 290.502 | 3.428 | 336.785 | 3.9393 | 295.439 | 0 | 93.8907 | 25.08 | 966.989 | 36.8948 | -0.24016
2019-06-10 10:30:00 | 0 | 312.551 | 1.894 | 336.867 | 0.37567 | 288.082 | 0 | 130.42 | 25.46 | 966.989 | 35.5307 | -0.25125
2019-06-10 10:45:00 | 0 | 356.857 | 0.75133 | 5.7958 | 0 | 3.2106 | 0 | 203.675 | 26.32 | 966.989 | 36.9263 | -0.25864
2019-06-10 11:00:00 | 0 | 40.5686 | 2.9167 | 97.717 | 2.9167 | 39.2796 | 0 | 211.891 | 27.01 | 967.285 | 34.9497 | -0.25864
2019-06-10 11:15:00 | 0 | 260.31 | 2.4053 | 319.419 | 2.1497 | 262.547 | 0 | 96.3273 | 26.32 | 966.989 | 33.6855 | -0.24016
2019-06-10 11:30:00 | 0 | 223.629 | 2.1497 | 265.233 | 2.1497 | 204.683 | 0 | 28.1877 | 26.27 | 966.989 | 34.3351 | -0.24016
2019-06-10 11:45:00 | 0 | 289.457 | 4.7063 | 17.4946 | 2.9167 | 273.087 | 0 | 131.229 | 26.49 | 966.692 | 34.374 | -0.24016
2019-06-10 12:00:00 | 0 | 341.282 | 1.6383 | 49.283 | 0 | 292.847 | 0 | 85.3387 | 26.8 | 966.396 | 32.8106 | -0.24016
2019-06-10 12:15:00 | 0 | 276.696 | 2.9167 | 308.854 | 2.9167 | 221.303 | 0 | 133.994 | 26.67 | 966.544 | 34.5485 | -0.24016
2019-06-10 12:30:00 | 0 | 23.2567 | 1.6383 | 79.4005 | 0 | 18.1967 | 0 | 148.249 | 26.9 | 966.248 | 32.6405 | -0.22539
2019-06-10 12:45:00 | 0 | 266.333 | 3.428 | 301.847 | 3.9393 | 266.673 | 0 | 80.9605 | 27.61 | 966.099 | 31.414 | -0.16627
2019-06-10 13:00:00 | 0 | 4.6465 | 3.9393 | 49.1862 | 2.9167 | 286.281 | 5.2177 | 199.312 | 28.43 | 966.099 | 30.1874 | -0.21061
2019-06-10 13:15:00 | 0 | 84.2447 | 4.195 | 35.9523 | 3.428 | 335.811 | 0 | 160.388 | 28.63 | 965.951 | 31.0051 | -0.14779
2019-06-10 13:30:00 | 0 | 84.6096 | 3.428 | 50.3053 | 2.4053 | 344.861 | 0 | 151.898 | 28.66 | 966.248 | 31.2777 | -0.12932
2019-06-10 13:45:00 | 0 | 168.562 | 2.4053 | 231.737 | 2.1497 | 199.287 | 0 | 304.77 | 28.3 | 966.396 | 30.46 | -0.051728
2019-06-10 14:00:00 | 0 | 296.401 | 6.7517 | 17.1294 | 4.7063 | 317.517 | 1.2627 | 124.871 | 28.5 | 966.396 | 30.937 | 0.24016
2019-06-10 14:15:00 | 0 | 212.958 | 1.127 | 73.1617 | 0 | 74.0915 | 0 | 338.033 | 28.19 | 966.396 | 30.1838 | -0.10346
2019-06-10 14:30:00 | 0 | 234.003 | 2.1497 | 289.637 | 1.3827 | 244.461 | 0 | 68.411 | 29.2 | 967.137 | 28.986 | -0.2882
2019-06-10 14:45:00 | 0 | 326.577 | 2.661 | 37.8788 | 2.1497 | 318.771 | 0 | 140.32 | 28.73 | 966.544 | 31.3692 | 0.10715
2019-06-10 15:00:00 | 0 | 283.971 | 1.3827 | 11.6343 | 0 | 281.49 | 0 | 128.768 | 28.63 | 966.248 | 29.9728 | -0.073897
2019-06-10 15:15:00 | 0 | 278.11 | 2.1497 | 331.82 | 1.6383 | 279.374 | 0 | 100.972 | 28.58 | 965.951 | 29.7684 | -0.1441
2019-06-10 15:30:00 | 0 | 265.829 | 3.428 | 325.473 | 3.6837 | 279.374 | 0 | 76.8717 | 28.61 | 965.803 | 30.3815 | -0.23278
2019-06-10 15:45:00 | 0 | 251.56 | 2.661 | 309.698 | 2.661 | 222.766 | 0 | 76.9953 | 28.41 | 965.655 | 31.336 | -0.25864
2019-06-10 16:00:00 | 0 | 269.717 | 3.9393 | 313.784 | 3.1723 | 237.003 | 0 | 80.1685 | 28.15 | 965.21 | 31.4768 | -0.24016
2019-06-10 16:15:00 | 0 | 239.046 | 2.661 | 289.729 | 2.1497 | 239.436 | 0 | 63.0938 | 28.45 | 965.655 | 30.8636 | 0.10346
2019-06-10 16:30:00 | 0 | 225.833 | 4.4507 | 259.756 | 5.9847 | 258.061 | 0 | 54.3849 | 29.09 | 965.951 | 31.2717 | 0.17366
2019-06-10 16:45:00 | 0 | 227.919 | 2.661 | 256.265 | 5.4733 | 257.442 | 1.1427 | 40.54 | 28.28 | 965.506 | 32.6299 | 0.38057
2019-06-10 17:00:00 | 0 | 233.787 | 3.9393 | 276.855 | 4.7063 | 234.273 | 0 | 61.7545 | 28.4 | 965.358 | 31.8167 | -0.092371
2019-06-10 17:15:00 | 0 | 213.654 | 5.4733 | 257.064 | 4.962 | 225.232 | 0 | 52.9028 | 28.38 | 965.062 | 32.1583 | 0.23647
2019-06-10 17:30:00 | 0 | 183.332 | 3.6837 | 222.951 | 3.6837 | 182.335 | 0.37567 | 9.7297 | 28.46 | 964.765 | 31.7851 | -0.051728
2019-06-10 17:45:00 | 0.62733 | 225.606 | 4.195 | 241.512 | 3.428 | 191.937 | 0.75133 | 68.6985 | 28.37 | 965.062 | 32.7763 | -0.073897
2019-06-10 18:00:00 | 0 | 186.127 | 1.894 | 262 | 1.894 | 234.027 | 0 | 9.7308 | 28.17 | 964.913 | 32.845 | -0.26972
2019-06-10 18:15:00 | 0 | 221.255 | 3.1723 | 273.677 | 2.661 | 225.074 | 0 | 41.5993 | 28.14 | 964.913 | 31.5503 | -0.25125
2019-06-10 18:30:00 | 4.4353 | 223.809 | 2.661 | 261.416 | 2.9167 | 210.381 | 0 | 44.105 | 28.08 | 964.765 | 31.8228 | -0.26972
2019-06-10 18:45:00 | 5.712 | 210.602 | 2.9167 | 253.05 | 2.4053 | 202.866 | 0 | 31.2363 | 27.91 | 964.469 | 32.232 | -0.25125
2019-06-10 19:00:00 | 0 | 199.976 | 2.9167 | 245.702 | 1.894 | 200.414 | 0 | 17.8611 | 27.67 | 964.285 | 33.1268 | -0.25125
2019-06-10 19:15:00 | 6.9887 | 189.611 | 2.661 | 241.469 | 2.4053 | 186.325 | 0 | 11.1693 | 27.58 | 964.466 | 33.1951 | -0.24016
2019-06-10 19:30:00 | 0 | 183.002 | 2.4053 | 228.147 | 1.3827 | 173.219 | 0 | 2.1902 | 27.43 | 964.169 | 33.1629 | -0.26972
2019-06-10 19:45:00 | 1.7653 | 189.305 | 3.428 | 234.767 | 3.428 | 187.285 | 0 | 10.6346 | 27.43 | 964.169 | 32.3108 | -0.24016
2019-06-10 20:00:00 | 0 | 183.586 | 3.1723 | 236.86 | 2.661 | 184.365 | 0 | 4.8427 | 27.55 | 964.466 | 31.9018 | -0.2882
2019-06-10 20:15:00 | 0 | 175.92 | 2.9167 | 214.739 | 2.1497 | 166.162 | 0 | 0.19468 | 27.5 | 964.174 | 32.7198 | -0.22908
2019-06-10 20:30:00 | 0 | 163.631 | 1.894 | 205.492 | 1.894 | 161.684 | 0 | 349.213 | 26.99 | 964.391 | 33.606 | -0.17366
2019-06-10 20:45:00 | 0 | 161.709 | 3.6837 | 212.865 | 2.9167 | 158.302 | 0 | 344.199 | 27.15 | 964.439 | 33.197 | -0.2143
2019-06-10 21:00:00 | 0 | 157.304 | 3.6837 | 205.394 | 3.1723 | 154.724 | 0.37567 | 340.111 | 27.26 | 964.947 | 33.0266 | 0.048033
2019-06-10 21:15:00 | 0.372 | 160.494 | 3.6837 | 208.561 | 2.4053 | 149.738 | 0 | 342.866 | 27.19 | 965.032 | 32.4476 | 0.19213
2019-06-10 21:30:00 | 3.9247 | 164.849 | 3.6837 | 209.728 | 2.661 | 152.633 | 1.5183 | 344.641 | 27.27 | 965.111 | 32.7883 | 0.24755
2019-06-10 21:45:00 | 0 | 173.56 | 4.962 | 220.702 | 3.428 | 171.127 | 0 | 352.279 | 26.98 | 965.186 | 33.3675 | 1.1195
2019-06-10 22:00:00 | 0 | 179.263 | 3.9393 | 224.534 | 2.9167 | 180.091 | 0 | 86.9303 | 26.69 | 965.05 | 33.4713 | 2.1098
2019-06-10 22:15:00 | 0 | 192.753 | 4.195 | 236.226 | 2.661 | 184.965 | 0 | 0.97347 | 26.68 | 965.186 | 33.4045 | 1.3486
2019-06-10 22:30:00 | 3.1587 | 187.69 | 4.195 | 232.866 | 2.9167 | 186.449 | 0 | 7.8853 | 26.97 | 965.302 | 32.6886 | 1.6848
2019-06-10 22:45:00 | 0 | 194.279 | 3.1723 | 247.07 | 2.4053 | 178.655 | 0 | 8.8585 | 26.7 | 965.04 | 33.9485 | 1.0161
2019-06-10 23:00:00 | 0 | 187.76 | 3.6837 | 233.104 | 2.661 | 175.518 | 0 | 9.6374 | 26.87 | 965.493 | 34.7671 | 0.58748
2019-06-10 23:15:00 | 0 | 192.351 | 3.1723 | 223.407 | 2.1497 | 167.431 | 0 | 14.4068 | 26.76 | 965.426 | 36.4697 | 0.49511
2019-06-10 23:30:00 | 0 | 201.362 | 3.428 | 243.421 | 2.4053 | 166.463 | 0 | 14.602 | 26.78 | 965.327 | 36.1301 | 0.28081
2019-06-10 23:45:00 | 0 | 200.539 | 3.9393 | 243.572 | 2.4053 | 203.07 | 0 | 17.3038 | 26.82 | 965.321 | 35.8582 | -0.011085