## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-11 00:00:00 | 0 | 199.835 | 3.9393 | 249.416 | 3.6837 | 200.152 | 0 | 18.0828 | 26.91 | 965.005 | 33.609 | 0.073897
2019-06-11 00:15:00 | 0 | 202.532 | 3.9393 | 244.201 | 2.9167 | 212.85 | 0 | 21.1488 | 26.98 | 965.312 | 35.7214 | 0.25125
2019-06-11 00:30:00 | 0 | 207.145 | 4.195 | 246.159 | 3.1723 | 200.769 | 0.37567 | 28.9107 | 26.98 | 965.304 | 35.0719 | 0.24016
2019-06-11 00:45:00 | 0 | 208.654 | 5.2177 | 252.364 | 4.4507 | 201.402 | 0 | 33.6805 | 26.93 | 965.887 | 33.6745 | 0.58748
2019-06-11 01:00:00 | 0 | 210.793 | 3.428 | 247.495 | 2.661 | 195.851 | 0 | 35.4324 | 26.74 | 965.6 | 34.0151 | -0.38796
2019-06-11 01:15:00 | 0 | 152.196 | 2.9167 | 198.438 | 2.661 | 151.028 | 0 | 349.656 | 26.15 | 965.772 | 36.4696 | 8.7159
2019-06-11 01:30:00 | 0 | 137.468 | 3.428 | 178.924 | 2.9167 | 128.973 | 0 | 325.561 | 25.65 | 965.353 | 37.2246 | 14.5429
2019-06-11 01:45:00 | 0 | 121.138 | 2.661 | 169.069 | 1.894 | 98.2343 | 0 | 304.049 | 25.03 | 965.501 | 40.3613 | 20.0076
2019-06-11 02:00:00 | 0 | 125.154 | 3.428 | 166.928 | 3.6837 | 75.6472 | 0 | 321.209 | 24.66 | 965.353 | 42.6112 | 28.103
2019-06-11 02:15:00 | 0 | 108.996 | 6.2403 | 158.78 | 5.4733 | 106.1 | 0 | 288.239 | 24.2 | 965.057 | 46.4991 | 38.1234
2019-06-11 02:30:00 | 0 | 109.201 | 4.7063 | 163.104 | 4.4507 | 105.963 | 0 | 306.545 | 23.74 | 965.057 | 47.5259 | 36.3942
2019-06-11 02:45:00 | 1.3713 | 119.917 | 9.564 | 172.802 | 8.03 | 116.606 | 3.9393 | 307.996 | 23.24 | 964.76 | 49.642 | 46.5329
2019-06-11 03:00:00 | 7.4993 | 117.507 | 10.331 | 173.727 | 8.797 | 119.868 | 5.9847 | 300.498 | 23.39 | 964.612 | 49.301 | 33.4605
2019-06-11 03:15:00 | 0 | 131.553 | 5.729 | 170.854 | 6.2403 | 116.363 | 4.4507 | 324.623 | 23.4 | 964.76 | 48.0736 | 30.3088
2019-06-11 03:30:00 | 2.648 | 140.755 | 8.5413 | 187.311 | 5.9847 | 151.418 | 0.37567 | 316.054 | 23.35 | 964.908 | 50.4603 | 35.8289
2019-06-11 03:45:00 | 5.712 | 155.653 | 7.0073 | 194.419 | 5.4733 | 137.347 | 5.729 | 316.809 | 22.8 | 964.612 | 50.9376 | 38.9732
2019-06-11 04:00:00 | 0 | 132.247 | 8.2857 | 182.996 | 7.0073 | 160.245 | 4.195 | 325.821 | 22.63 | 964.612 | 51.7606 | 35.9841
2019-06-11 04:15:00 | 5.712 | 147.765 | 8.03 | 197.838 | 5.9847 | 154.899 | 5.4733 | 327.596 | 22.43 | 964.463 | 52.7189 | 38.2601
2019-06-11 04:30:00 | 8.2653 | 142.483 | 8.2857 | 183.085 | 7.263 | 160.866 | 5.9847 | 324.143 | 22.46 | 964.612 | 53.3333 | 37.9608
2019-06-11 04:45:00 | 0 | 146.647 | 8.03 | 203.756 | 6.496 | 149.423 | 5.9847 | 328.063 | 22.45 | 964.908 | 53.8107 | 34.8904
2019-06-11 05:00:00 | 2.276 | 140.049 | 6.496 | 201.176 | 5.4733 | 156.849 | 2.541 | 321.123 | 22.24 | 965.057 | 53.1969 | 32.1488
2019-06-11 05:15:00 | 0 | 144.236 | 5.9847 | 188.856 | 6.7517 | 144.09 | 5.2177 | 325.555 | 22.14 | 965.057 | 53.2651 | 28.4208
2019-06-11 05:30:00 | 0.62733 | 142.532 | 6.7517 | 196.233 | 6.2403 | 159.624 | 2.0297 | 323.169 | 22.21 | 965.353 | 53.6743 | 27.6227
2019-06-11 05:45:00 | 1.138 | 145.118 | 5.4733 | 186.953 | 6.7517 | 152.592 | 3.1723 | 329.479 | 22.13 | 965.65 | 52.235 | 23.6544
2019-06-11 06:00:00 | 0 | 139.051 | 7.0073 | 190.11 | 5.4733 | 136.057 | 2.1497 | 329.662 | 22.72 | 965.798 | 50.4603 | 23.4179
2019-06-11 06:15:00 | 0.372 | 140.51 | 6.7517 | 187.114 | 5.9847 | 141.533 | 5.9847 | 331.972 | 22.47 | 965.798 | 51.3463 | 22.1358
2019-06-11 06:30:00 | 0 | 131.507 | 6.496 | 179.536 | 5.729 | 152.585 | 0 | 317.486 | 22.51 | 965.798 | 51.4063 | 22.424
2019-06-11 06:45:00 | 0 | 135.401 | 4.4507 | 195.697 | 3.9393 | 131.166 | 2.2853 | 332.186 | 22.6 | 966.239 | 49.9744 | 19.6972
2019-06-11 07:00:00 | 0 | 147.964 | 5.9847 | 198.125 | 4.962 | 150.592 | 5.2177 | 324.937 | 23.21 | 966.487 | 47.718 | 15.5479
2019-06-11 07:15:00 | 0 | 147.959 | 4.962 | 209.823 | 4.4507 | 155.941 | 2.4053 | 331.57 | 23.33 | 966.398 | 47.7505 | 12.5957
2019-06-11 07:30:00 | 0 | 151.074 | 4.4507 | 210.359 | 4.4507 | 155.503 | 4.195 | 340.452 | 23.69 | 966.987 | 49.0116 | 11.8531
2019-06-11 07:45:00 | 0 | 152.282 | 5.4733 | 198.276 | 4.962 | 155.592 | 4.962 | 344.107 | 23.63 | 967.283 | 49.6905 | 10.4823
2019-06-11 08:00:00 | 0 | 153.477 | 4.962 | 196.406 | 4.4507 | 143.475 | 2.541 | 348.468 | 23.87 | 967.283 | 50.0661 | 7.3417
2019-06-11 08:15:00 | 0 | 147.563 | 3.428 | 192.097 | 3.428 | 174.89 | 1.007 | 340.339 | 24.32 | 967.204 | 49.8955 | 6.8946
2019-06-11 08:30:00 | 0 | 137.206 | 4.4507 | 196.756 | 4.4507 | 154.283 | 0 | 355.567 | 24.65 | 967.289 | 49.404 | 4.5336
2019-06-11 08:45:00 | 0 | 160.194 | 4.7063 | 205.366 | 4.7063 | 151.363 | 0 | 348.169 | 24.96 | 967.73 | 47.2232 | 4.4301
2019-06-11 09:00:00 | 0 | 163.673 | 3.1723 | 209.477 | 3.9393 | 131.853 | 5.729 | 346.029 | 25.16 | 967.582 | 47.4617 | 2.3093
2019-06-11 09:15:00 | 0 | 167.127 | 3.9393 | 195.246 | 3.428 | 156.277 | 2.1497 | 323.964 | 25.75 | 967.73 | 46.2351 | 0.85351
2019-06-11 09:30:00 | 0 | 119.147 | 3.1723 | 174.654 | 2.661 | 140.602 | 0 | 296.87 | 26.19 | 968.026 | 44.9718 | 0.25125
2019-06-11 09:45:00 | 2.0207 | 163.499 | 3.9393 | 233.056 | 3.428 | 201.808 | 0 | 344.608 | 26.65 | 968.026 | 42.7866 | -0.32515
2019-06-11 10:00:00 | 0 | 184.641 | 2.9167 | 280.163 | 3.428 | 197.822 | 1.774 | 15.8569 | 27.58 | 967.878 | 38.9672 | -0.31776
2019-06-11 10:15:00 | 0 | 176.749 | 2.661 | 264.506 | 1.894 | 233.704 | 1.894 | 16.1963 | 27.9 | 967.73 | 38.4197 | -0.26972
2019-06-11 10:30:00 | 0 | 194.818 | 4.962 | 214.798 | 4.962 | 173.004 | 0 | 53.55 | 28.35 | 967.878 | 38.1471 | -0.25125
2019-06-11 10:45:00 | 0 | 167.532 | 2.9167 | 213.558 | 4.195 | 179.765 | 0.75133 | 356.708 | 28.66 | 967.73 | 37.7725 | -0.26233
2019-06-11 11:00:00 | 0 | 163.106 | 2.661 | 211.807 | 2.4053 | 158.267 | 0 | 315.658 | 28.65 | 967.73 | 35.6948 | -0.24016
2019-06-11 11:15:00 | 0 | 178.986 | 3.1723 | 261.514 | 3.1723 | 184.628 | 0 | 333.459 | 29.63 | 967.878 | 34.0259 | -0.24016
2019-06-11 11:30:00 | 0 | 250.386 | 1.3827 | 318.712 | 0 | 224.073 | 0 | 62.3048 | 30.01 | 967.582 | 33.0722 | -0.25125
2019-06-11 11:45:00 | 1.7653 | 183.85 | 3.6837 | 232.721 | 3.6837 | 186.477 | 5.729 | 1.678 | 29.57 | 967.285 | 32.6635 | -0.2882
2019-06-11 12:00:00 | 1.3933 | 181.37 | 5.4733 | 218.713 | 3.9393 | 157.975 | 0 | 18.7012 | 29.88 | 967.285 | 31.9823 | -0.25864
2019-06-11 12:15:00 | 0 | 306.917 | 3.6837 | 3.6408 | 2.9167 | 330.582 | 1.2627 | 86.6342 | 29.85 | 967.285 | 29.4995 | -0.29189
2019-06-11 12:30:00 | 0 | 243.375 | 3.6837 | 283.745 | 2.661 | 245.005 | 0 | 85.5437 | 30.19 | 967.433 | 29.3306 | -0.2882
2019-06-11 12:45:00 | 0 | 191.324 | 5.4733 | 230.113 | 6.496 | 187.773 | 4.195 | 2.8944 | 30.37 | 967.137 | 29.4328 | -0.26972
2019-06-11 13:00:00 | 0 | 225.693 | 5.9847 | 276.448 | 5.729 | 193.562 | 0.63133 | 44.1704 | 30.19 | 966.84 | 28.1042 | -0.24016
2019-06-11 13:15:00 | 0 | 230.487 | 2.661 | 280.44 | 1.3827 | 252.475 | 0 | 75.11 | 30.62 | 966.84 | 27.1848 | -0.28081
2019-06-11 13:30:00 | 0 | 249.967 | 3.428 | 328.402 | 2.661 | 241.089 | 0 | 96.173 | 30.97 | 967.137 | 26.5713 | -0.23647
2019-06-11 13:45:00 | 0 | 262.599 | 1.6383 | 279.3 | 2.661 | 207.219 | 0 | 73.159 | 31.12 | 967.582 | 27.0466 | -0.24755
2019-06-11 14:00:00 | 0 | 264.978 | 3.1723 | 316.475 | 2.9167 | 267.896 | 0 | 89.9797 | 31.19 | 967.73 | 25.9537 | -0.1404
2019-06-11 14:15:00 | 0 | 265.342 | 4.962 | 326.105 | 3.428 | 314.929 | 0 | 87.4747 | 31.78 | 967.878 | 26.5668 | 0.077592
2019-06-11 14:30:00 | 0 | 217.118 | 4.7063 | 248.382 | 4.195 | 181.248 | 5.729 | 50.5588 | 32.01 | 967.582 | 25.1022 | 0.218
2019-06-11 14:45:00 | 0 | 286.135 | 4.962 | 327.102 | 6.2403 | 277.113 | 0.887 | 106.492 | 31.2 | 967.342 | 24.9659 | 0.15888
2019-06-11 15:00:00 | 0 | 214.686 | 2.1497 | 263.849 | 1.894 | 231.32 | 0 | 85.7724 | 31.26 | 967.51 | 24.1485 | -0.12562
2019-06-11 15:15:00 | 0 | 237.206 | 5.9847 | 266.257 | 5.4733 | 246.885 | 5.4733 | 56.8574 | 31.72 | 967.643 | 24.8978 | -0.27342
2019-06-11 15:30:00 | 0 | 240.148 | 1.3827 | 270.658 | 0 | 222.371 | 0 | 67.1199 | 31.59 | 967.634 | 24.421 | -0.059118
2019-06-11 15:45:00 | 0 | 242.602 | 3.1723 | 293.241 | 3.428 | 230.468 | 0 | 43.4529 | 32.62 | 967.649 | 24.5205 | -0.25864
2019-06-11 16:00:00 | 0 | 171.926 | 1.894 | 200.676 | 1.894 | 164.51 | 0 | 1.4588 | 32.01 | 967.483 | 24.0758 | -0.29928
2019-06-11 16:15:00 | 0 | 285.407 | 1.6383 | 330.073 | 0 | 295.423 | 0 | 123.96 | 32.24 | 967.365 | 24.7192 | -0.22539
2019-06-11 16:30:00 | 0 | 247.994 | 2.4053 | 271.875 | 1.3827 | 207.784 | 0 | 78.3294 | 31.65 | 966.87 | 24.1065 | -0.23647
2019-06-11 16:45:00 | 0 | 237.096 | 3.428 | 296.258 | 3.1723 | 241.667 | 0 | 39.4836 | 32.01 | 966.709 | 23.904 | -0.23278
2019-06-11 17:00:00 | 0 | 227.995 | 3.428 | 280.362 | 3.6837 | 235.947 | 0 | 56.2206 | 32.12 | 966.572 | 24.3169 | -0.24755
2019-06-11 17:15:00 | 0 | 207.974 | 1.894 | 244.977 | 1.894 | 177.43 | 0 | 36.4052 | 31.81 | 966.417 | 24.7956 | 0.11824
2019-06-11 17:30:00 | 0 | 246.763 | 4.195 | 292.642 | 3.1723 | 235.357 | 0 | 70.3299 | 31.46 | 966.146 | 25.2725 | -0.18844
2019-06-11 17:45:00 | 0 | 203.135 | 3.9393 | 254.9 | 4.195 | 205.98 | 0 | 27.3343 | 31.41 | 966.075 | 26.703 | -0.051728
2019-06-11 18:00:00 | 0 | 248.076 | 0 | 286.32 | 2.661 | 249 | 0 | 52.7231 | 31.2 | 966.099 | 26.6349 | 0.11084
2019-06-11 18:15:00 | 0.744 | 215.951 | 3.428 | 246.145 | 2.9167 | 195.912 | 0 | 21.4005 | 31.09 | 965.951 | 26.9074 | 0.1404
2019-06-11 18:30:00 | 0 | 251.714 | 3.428 | 294.928 | 2.661 | 242.447 | 0 | 70.1463 | 30.78 | 965.654 | 28.0697 | 1.5186
2019-06-11 18:45:00 | 0 | 227.596 | 4.4507 | 272.109 | 3.1723 | 228.715 | 0.63133 | 51.2796 | 30.22 | 965.358 | 28.7553 | 2.409
2019-06-11 19:00:00 | 0 | 218.336 | 3.428 | 263.946 | 2.9167 | 213.227 | 0 | 40.4316 | 30.15 | 965.209 | 29.5741 | 3.4066
2019-06-11 19:15:00 | 0.99933 | 236.557 | 3.6837 | 253.923 | 3.9393 | 187.367 | 3.428 | 53.6169 | 29.84 | 965.358 | 28.4157 | 4.1678
2019-06-11 19:30:00 | 3.414 | 213.543 | 3.1723 | 248.011 | 2.1497 | 195.979 | 0.37567 | 43.3022 | 29.91 | 965.358 | 27.2572 | 2.5975
2019-06-11 19:45:00 | 0 | 208.864 | 4.4507 | 247.26 | 2.4053 | 197.866 | 0 | 34.8431 | 29.83 | 965.574 | 27.8077 | 1.9065
2019-06-11 20:00:00 | 2.276 | 208.785 | 4.962 | 248.087 | 2.9167 | 192.287 | 1.3827 | 33.6782 | 29.99 | 965.884 | 26.3106 | 1.8807
2019-06-11 20:15:00 | 0 | 200.472 | 3.428 | 245.155 | 2.661 | 202.784 | 0 | 21.2202 | 30.04 | 965.934 | 26.6186 | 2.8155
2019-06-11 20:30:00 | 0.372 | 196.213 | 4.4507 | 232.354 | 3.9393 | 182.221 | 2.2853 | 17.1562 | 30.01 | 965.944 | 26.1755 | 5.0767
2019-06-11 20:45:00 | 2.648 | 185.427 | 3.6837 | 227.674 | 3.428 | 170.316 | 0.37567 | 10.9018 | 29.8 | 966.083 | 27.2653 | 5.6642
2019-06-11 21:00:00 | 0 | 179.884 | 4.4507 | 224.323 | 2.661 | 184.897 | 0 | 11.0967 | 29.73 | 966.089 | 27.7432 | 10.2273
2019-06-11 21:15:00 | 0 | 180.933 | 4.962 | 226.127 | 3.6837 | 162.949 | 0 | 7.3006 | 29.47 | 965.949 | 28.4934 | 11.0439
2019-06-11 21:30:00 | 0 | 191.319 | 5.2177 | 220.426 | 4.4507 | 170.61 | 4.4507 | 11.5833 | 29.27 | 966.097 | 29.7878 | 10.9183
2019-06-11 21:45:00 | 0 | 180.659 | 4.962 | 211.567 | 4.4507 | 159.342 | 0.37567 | 8.3711 | 29.12 | 966.245 | 30.6737 | 10.2754
2019-06-11 22:00:00 | 0 | 154.57 | 5.4733 | 199.591 | 5.4733 | 150.628 | 0.37567 | 343.306 | 28.98 | 966.245 | 30.3324 | 8.5277
2019-06-11 22:15:00 | 0.62733 | 146.732 | 5.4733 | 197.202 | 5.4733 | 145.905 | 2.0297 | 327.604 | 28.34 | 966.245 | 31.8996 | 17.6724
2019-06-11 22:30:00 | 0.744 | 142.036 | 3.6837 | 191.217 | 4.4507 | 142.498 | 5.4733 | 321.424 | 28.35 | 965.949 | 31.8997 | 21.0237
2019-06-11 22:45:00 | 0.62733 | 141.873 | 8.5413 | 191.618 | 8.03 | 141.314 | 4.962 | 325.773 | 28.84 | 966.245 | 30.6744 | 24.1902
2019-06-11 23:00:00 | 3.414 | 139.924 | 10.0753 | 173.046 | 6.2403 | 124.252 | 3.9393 | 321.63 | 28.13 | 966.542 | 35.9225 | 37.8463
2019-06-11 23:15:00 | 5.712 | 137.665 | 7.0073 | 194.759 | 7.7743 | 120.995 | 5.729 | 313.098 | 27.64 | 966.542 | 32.8561 | 45.3394
2019-06-11 23:30:00 | 6.478 | 135.791 | 7.5187 | 187.362 | 7.0073 | 151.877 | 4.4507 | 320.01 | 27.38 | 966.393 | 36.6735 | 50.1132
2019-06-11 23:45:00 | 3.414 | 140.634 | 8.2857 | 218.657 | 7.7743 | 153.775 | 4.195 | 321.495 | 27.08 | 966.097 | 35.9918 | 50.7044