## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-12 00:00:00 | 5.4567 | 137.057 | 9.0527 | 199.943 | 8.2857 | 137.909 | 3.9393 | 320.205 | 27.17 | 966.245 | 37.4233 | 51.2253
2019-06-12 00:15:00 | 3.9247 | 137.836 | 10.8423 | 180.158 | 9.8197 | 124.305 | 2.1497 | 320.667 | 26.71 | 965.982 | 40.0136 | 55.4005
2019-06-12 00:30:00 | 6.478 | 120.509 | 8.03 | 158.622 | 7.7743 | 111.042 | 2.0297 | 340.087 | 26.27 | 965.539 | 42.6039 | 50.3644
2019-06-12 00:45:00 | 6.2227 | 135.767 | 9.8197 | 184.125 | 9.8197 | 128.053 | 2.1497 | 323.125 | 26.03 | 965.903 | 43.6605 | 52.1269
2019-06-12 01:00:00 | 4.4353 | 137.739 | 9.8197 | 195.856 | 10.0753 | 147.595 | 1.3827 | 327.094 | 25.83 | 965.909 | 44.513 | 53.1762
2019-06-12 01:15:00 | 4.946 | 146.901 | 9.0527 | 197.017 | 8.5413 | 136.922 | 6.2403 | 323.566 | 25.72 | 965.926 | 45.4367 | 57.8095
2019-06-12 01:30:00 | 6.2227 | 148.322 | 9.8197 | 197.615 | 8.03 | 157.376 | 5.9847 | 332.398 | 25.39 | 965.947 | 46.7691 | 51.8091
2019-06-12 01:45:00 | 3.9247 | 156.576 | 7.7743 | 202.39 | 6.496 | 148.568 | 5.9847 | 336.615 | 25.15 | 965.798 | 47.3836 | 50.0245
2019-06-12 02:00:00 | 0.62733 | 127.393 | 6.7517 | 189.101 | 5.9847 | 174.295 | 5.9847 | 335.618 | 24.96 | 965.798 | 48.1336 | 48.772
2019-06-12 02:15:00 | 3.414 | 151.416 | 6.7517 | 208.11 | 6.496 | 165.314 | 1.6383 | 329.922 | 24.72 | 965.501 | 49.7699 | 53.1208
2019-06-12 02:30:00 | 0.99933 | 166.434 | 7.0073 | 210.86 | 7.263 | 151.66 | 5.9847 | 330.287 | 24.6 | 965.501 | 50.5198 | 45.1399
2019-06-12 02:45:00 | 8.01 | 143.656 | 8.5413 | 194.607 | 7.5187 | 153.562 | 6.7517 | 326.937 | 24.27 | 965.057 | 51.6121 | 46.3592
2019-06-12 03:00:00 | 5.4567 | 142.061 | 8.797 | 192.629 | 7.263 | 149.145 | 3.9393 | 328.523 | 24.28 | 965.057 | 51.48 | 49.4851
2019-06-12 03:15:00 | 0.99933 | 150.005 | 6.2403 | 201.064 | 6.7517 | 146.013 | 5.729 | 341.322 | 24.14 | 965.353 | 51.8239 | 49.6883
2019-06-12 03:30:00 | 6.7333 | 131.918 | 8.2857 | 181.711 | 8.03 | 145.94 | 3.1723 | 316.004 | 24.06 | 964.908 | 52.5739 | 51.1773
2019-06-12 03:45:00 | 2.3927 | 146.987 | 9.0527 | 203.085 | 9.0527 | 153.73 | 3.428 | 327.203 | 23.96 | 964.612 | 53.0515 | 55.0458
2019-06-12 04:00:00 | 11.074 | 149.056 | 10.0753 | 198.095 | 8.2857 | 150.322 | 2.4053 | 327.447 | 23.65 | 964.908 | 54.3471 | 47.8778
2019-06-12 04:15:00 | 0.99933 | 141.899 | 7.5187 | 194.711 | 6.2403 | 161.739 | 1.6383 | 323.162 | 23.47 | 965.057 | 56.5973 | 46.5772
2019-06-12 04:30:00 | 0 | 159.524 | 5.4733 | 219.493 | 5.4733 | 154.655 | 3.9393 | 337.914 | 23.31 | 965.057 | 57.3474 | 42.6681
2019-06-12 04:45:00 | 1.882 | 139.294 | 8.2857 | 206.834 | 8.797 | 167.557 | 5.2177 | 327.788 | 23.45 | 964.76 | 54.4835 | 41.8922
2019-06-12 05:00:00 | 5.712 | 148.277 | 9.3083 | 197.681 | 7.263 | 161.106 | 2.661 | 327.179 | 23.51 | 965.205 | 55.9836 | 43.0191
2019-06-12 05:15:00 | 4.4353 | 155.142 | 6.2403 | 220.735 | 5.729 | 175.494 | 0.37567 | 326.278 | 23.96 | 965.353 | 49.5738 | 34.0258
2019-06-12 05:30:00 | 0.372 | 136.203 | 5.4733 | 188.357 | 5.729 | 158.428 | 1.894 | 330.026 | 24.24 | 965.65 | 54.347 | 33.7339
2019-06-12 05:45:00 | 5.712 | 138.999 | 7.263 | 185.748 | 8.2857 | 151.779 | 3.428 | 331.09 | 23.5 | 965.65 | 56.4596 | 35.441
2019-06-12 06:00:00 | 3.042 | 153.785 | 6.2403 | 198.555 | 5.2177 | 144.389 | 4.962 | 322.806 | 23.51 | 966.095 | 55.3632 | 33.8743
2019-06-12 06:15:00 | 0 | 146.089 | 5.2177 | 201.032 | 5.4733 | 148.986 | 1.2627 | 327.204 | 23.52 | 966.54 | 55.8731 | 32.7363
2019-06-12 06:30:00 | 0 | 143.311 | 4.962 | 192.241 | 4.7063 | 151.854 | 3.428 | 320.527 | 23.71 | 966.391 | 56.9286 | 31.9235
2019-06-12 06:45:00 | 0 | 143.165 | 6.7517 | 199.81 | 6.2403 | 152.438 | 1.774 | 322.913 | 23.82 | 966.241 | 53.5197 | 30.1869
2019-06-12 07:00:00 | 1.138 | 142.412 | 6.496 | 196.344 | 6.2403 | 151.635 | 5.729 | 330.38 | 24.34 | 966.549 | 53.3747 | 31.602
2019-06-12 07:15:00 | 2.1373 | 149.176 | 8.2857 | 207.536 | 7.263 | 152.558 | 1.6383 | 330.985 | 24.25 | 966.4 | 51.6701 | 31.7129
2019-06-12 07:30:00 | 0 | 145.185 | 5.9847 | 199.018 | 6.496 | 140.488 | 3.1723 | 324.999 | 24.67 | 966.542 | 50.7158 | 29.5255
2019-06-12 07:45:00 | 0 | 146.645 | 6.7517 | 200.746 | 6.2403 | 150.879 | 0.37567 | 335.098 | 24.58 | 966.839 | 48.5344 | 25.4021
2019-06-12 08:00:00 | 0 | 141.038 | 6.496 | 188.515 | 6.2403 | 155.808 | 0.37567 | 335.974 | 24.82 | 966.839 | 51.3255 | 20.802
2019-06-12 08:15:00 | 0 | 142.894 | 5.2177 | 198.283 | 4.962 | 159.417 | 2.2853 | 331.221 | 25.11 | 966.987 | 51.737 | 16.5529
2019-06-12 08:30:00 | 0 | 165.854 | 4.7063 | 208.512 | 4.7063 | 154.126 | 5.729 | 349.569 | 25.41 | 967.22 | 48.8025 | 16.2536
2019-06-12 08:45:00 | 0 | 156.231 | 5.729 | 195.711 | 6.2403 | 142.486 | 5.9847 | 330.488 | 25.75 | 967.144 | 48.723 | 17.3473
2019-06-12 09:00:00 | 0 | 147.763 | 6.7517 | 205.05 | 5.729 | 156.764 | 2.4053 | 348.315 | 25.99 | 966.989 | 51.6525 | 13.9185
2019-06-12 09:15:00 | 0.99933 | 154.526 | 8.797 | 202.058 | 9.0527 | 150.609 | 2.9167 | 335.519 | 26 | 967.137 | 52.1295 | 19.1504
2019-06-12 09:30:00 | 0 | 153.966 | 7.263 | 194.76 | 7.263 | 144.649 | 2.1497 | 331.505 | 25.83 | 966.84 | 53.6627 | 16.5677
2019-06-12 09:45:00 | 0.744 | 156.812 | 5.9847 | 199.455 | 6.496 | 136.402 | 5.729 | 332.551 | 26.14 | 967.137 | 49.8467 | 15.3262
2019-06-12 10:00:00 | 0 | 153.845 | 7.0073 | 197.192 | 5.729 | 154.599 | 5.729 | 331.895 | 26.68 | 967.285 | 45.5196 | 11.1843
2019-06-12 10:15:00 | 0 | 155.061 | 7.263 | 198.092 | 7.5187 | 148.979 | 4.4507 | 337.684 | 27.12 | 967.137 | 45.0426 | 10.2495
2019-06-12 10:30:00 | 0 | 152.288 | 4.4507 | 203.809 | 5.4733 | 156.448 | 3.5637 | 331.968 | 27.6 | 967.582 | 44.3271 | 9.2667
2019-06-12 10:45:00 | 0 | 185.71 | 4.7063 | 251.681 | 5.4733 | 201.231 | 0 | 8.5144 | 28.45 | 967.433 | 38.9433 | 7.2308
2019-06-12 11:00:00 | 0 | 185.939 | 5.9847 | 249.641 | 6.496 | 191.096 | 0.75133 | 355.41 | 28.89 | 967.582 | 39.7238 | 9.0154
2019-06-12 11:15:00 | 0 | 170.82 | 4.7063 | 227.827 | 4.962 | 173.155 | 5.729 | 0.21891 | 29.19 | 967.582 | 38.2558 | 5.9413
2019-06-12 11:30:00 | 0 | 147.348 | 3.9393 | 193.75 | 3.6837 | 146.619 | 0 | 327.314 | 29.32 | 967.433 | 36.9954 | 4.6814
2019-06-12 11:45:00 | 0 | 146.133 | 4.7063 | 193.045 | 3.9393 | 150.584 | 2.4053 | 339.111 | 29.39 | 967.285 | 35.3944 | 5.8231
2019-06-12 12:00:00 | 0 | 132.803 | 5.729 | 180.762 | 6.2403 | 142.703 | 4.962 | 327.679 | 30.06 | 967.285 | 35.3944 | 4.7664
2019-06-12 12:15:00 | 0 | 142.581 | 4.962 | 185.018 | 4.4507 | 127.087 | 0 | 330.889 | 29.68 | 967.285 | 34.0658 | 6.8281
2019-06-12 12:30:00 | 0 | 161.894 | 6.2403 | 209.828 | 5.9847 | 164.01 | 4.195 | 3.8674 | 30.1 | 967.433 | 33.0438 | 6.6064
2019-06-12 12:45:00 | 0 | 133.946 | 7.0073 | 186.671 | 8.03 | 132 | 5.2177 | 313.157 | 30.84 | 966.989 | 29.8074 | 9.3258
2019-06-12 13:00:00 | 0 | 184.153 | 3.1723 | 232.079 | 3.6837 | 201.177 | 3.1723 | 4.9613 | 30.9 | 967.137 | 27.3858 | 12.0858
2019-06-12 13:15:00 | 0 | 195.463 | 6.2403 | 218.972 | 6.496 | 177.466 | 0 | 14.8354 | 30.52 | 966.692 | 29.6682 | 12.1856
2019-06-12 13:30:00 | 0 | 156.262 | 8.03 | 206.038 | 9.564 | 146.874 | 3.308 | 349.612 | 30.6 | 966.84 | 29.0215 | 10.0906
2019-06-12 13:45:00 | 0 | 148.159 | 5.4733 | 186.916 | 5.4733 | 138.625 | 3.6837 | 335.594 | 30.6 | 966.692 | 27.8626 | 7.7259
2019-06-12 14:00:00 | 0 | 182.912 | 7.7743 | 226.607 | 8.5413 | 179.483 | 2.541 | 2.6023 | 30.81 | 966.544 | 25.6827 | 10.0758
2019-06-12 14:15:00 | 0 | 176.289 | 7.5187 | 219.771 | 8.03 | 219.024 | 0 | 355.327 | 30.68 | 966.099 | 27.1158 | 12.8359
2019-06-12 14:30:00 | 0 | 168.12 | 5.9847 | 224.105 | 6.7517 | 172.182 | 3.9393 | 350.104 | 30.91 | 966.099 | 27.3207 | 11.9787
2019-06-12 14:45:00 | 0 | 180.087 | 5.4733 | 229.31 | 5.9847 | 181.133 | 1.2627 | 0.29187 | 30.66 | 965.951 | 28.0702 | 10.2643
2019-06-12 15:00:00 | 0 | 168.145 | 4.7063 | 202.117 | 4.7063 | 157.491 | 4.4507 | 11.3588 | 30.6 | 965.803 | 28.5471 | 6.8465
2019-06-12 15:15:00 | 0 | 158.057 | 4.962 | 199.304 | 3.9393 | 150.127 | 3.1723 | 325.332 | 30.76 | 965.951 | 27.3218 | 6.7579
2019-06-12 15:30:00 | 0 | 169.338 | 3.6837 | 222.381 | 4.195 | 190.499 | 2.9167 | 352.054 | 30.83 | 965.803 | 26.7078 | 9.1115
2019-06-12 15:45:00 | 0 | 178.998 | 4.4507 | 231.604 | 4.195 | 188.363 | 0 | 343.28 | 30.94 | 965.358 | 25.4819 | 10.3345
2019-06-12 16:00:00 | 0 | 178.92 | 3.9393 | 233.98 | 3.6837 | 197.892 | 2.4053 | 4.6943 | 30.94 | 965.655 | 26.912 | 15.8731
2019-06-12 16:15:00 | 0 | 191.154 | 8.03 | 239.574 | 7.5187 | 187.7 | 1.5183 | 5.6916 | 31.06 | 965.062 | 26.2306 | 19.6381
2019-06-12 16:30:00 | 0 | 175.612 | 6.2403 | 229.651 | 5.9847 | 192.784 | 3.6837 | 352.391 | 30.9 | 965.358 | 25.5493 | 18.2895
2019-06-12 16:45:00 | 0 | 144.478 | 7.0073 | 194.869 | 6.496 | 151.046 | 1.6383 | 338.649 | 31.17 | 965.655 | 26.2307 | 16.6748
2019-06-12 17:00:00 | 0 | 186.878 | 5.2177 | 239.668 | 5.4733 | 190.745 | 0.37567 | 12.4034 | 31.08 | 965.506 | 26.2278 | 14.2325
2019-06-12 17:15:00 | 0 | 150.825 | 4.195 | 213.898 | 5.729 | 184.434 | 1.007 | 334.724 | 31.13 | 965.655 | 26.3624 | 14.8163
2019-06-12 17:30:00 | 0 | 196.279 | 5.9847 | 201.863 | 3.1723 | 162.986 | 5.4733 | 344.553 | 30.93 | 965.655 | 26.0902 | 22.6605
2019-06-12 17:45:00 | 0 | 166.905 | 6.496 | 233.337 | 6.2403 | 197.11 | 0 | 0.72959 | 30.78 | 965.506 | 26.1588 | 20.3882
2019-06-12 18:00:00 | 0 | 175.506 | 7.0073 | 196.537 | 5.9847 | 148.071 | 0.75133 | 14.9093 | 30.64 | 965.506 | 26.2294 | 17.8202
2019-06-12 18:15:00 | 0 | 182.691 | 5.9847 | 228.85 | 5.9847 | 168.024 | 0.63133 | 353.634 | 30.41 | 965.358 | 25.3451 | 16.2795
2019-06-12 18:30:00 | 0 | 145.278 | 7.263 | 193.149 | 7.7743 | 144.062 | 5.2177 | 338.066 | 30.33 | 965.21 | 26.7456 | 13.6303
2019-06-12 18:45:00 | 0 | 169.9 | 6.2403 | 216.07 | 6.496 | 150.268 | 0.37567 | 355.589 | 30.09 | 964.913 | 29.0971 | 16.7709
2019-06-12 19:00:00 | 0 | 136.621 | 4.4507 | 202.812 | 4.7063 | 178.463 | 5.4733 | 1.8489 | 29.84 | 964.913 | 29.9148 | 18.3117
2019-06-12 19:15:00 | 0 | 152.117 | 5.9847 | 200.574 | 5.9847 | 162.821 | 1.3827 | 343.182 | 29.66 | 964.469 | 30.1874 | 23.2591
2019-06-12 19:30:00 | 0.62733 | 147.991 | 7.5187 | 198.447 | 6.496 | 160.739 | 5.729 | 333.667 | 29.41 | 964.643 | 29.133 | 24.9513
2019-06-12 19:45:00 | 2.0207 | 148.338 | 5.2177 | 197.154 | 5.4733 | 162.89 | 5.4733 | 328.7 | 29.22 | 964.614 | 28.4234 | 24.0128
2019-06-12 20:00:00 | 0 | 146.033 | 5.729 | 196.702 | 5.9847 | 159.685 | 4.4507 | 319.881 | 29.02 | 965.188 | 29.8562 | 25.6866
2019-06-12 20:15:00 | 0 | 167.303 | 7.263 | 217.509 | 6.496 | 173.265 | 1.3983 | 328.863 | 28.86 | 965.207 | 32.6511 | 27.3197
2019-06-12 20:30:00 | 9.2867 | 158.56 | 6.496 | 221.684 | 9.3083 | 192.043 | 5.2177 | 356.224 | 28.62 | 965.355 | 35.5807 | 26.1521
2019-06-12 20:45:00 | 0 | 164.109 | 4.962 | 217.842 | 4.7063 | 164.401 | 0.887 | 345.715 | 28.32 | 965.355 | 37.2169 | 23.4955
2019-06-12 21:00:00 | 0 | 168.732 | 5.9847 | 189.953 | 6.7517 | 145.712 | 1.894 | 342.184 | 28.29 | 965.8 | 39.2615 | 19.7933
2019-06-12 21:15:00 | 0 | 177.741 | 4.4507 | 226.73 | 4.7063 | 206.31 | 3.428 | 350.81 | 28.07 | 965.8 | 40.149 | 18.3486
2019-06-12 21:30:00 | 0 | 161.952 | 5.2177 | 214.447 | 4.962 | 144.844 | 1.654 | 343.031 | 27.89 | 965.504 | 40.6953 | 20.6505
2019-06-12 21:45:00 | 0 | 181.445 | 5.729 | 203.472 | 5.2177 | 150.563 | 0.63133 | 1.8008 | 27.71 | 965.504 | 40.15 | 21.3008
2019-06-12 22:00:00 | 0.372 | 152.169 | 6.496 | 204.08 | 5.9847 | 155.844 | 4.7063 | 336.753 | 27.72 | 965.504 | 39.9455 | 24.2123
2019-06-12 22:15:00 | 0.99933 | 132.141 | 5.4733 | 192.691 | 5.2177 | 170.664 | 4.962 | 344.175 | 27.53 | 965.504 | 39.5365 | 27.5635
2019-06-12 22:30:00 | 3.9247 | 182.759 | 7.7743 | 215.347 | 8.5413 | 152.607 | 3.1723 | 1.0951 | 27.49 | 964.911 | 40.3885 | 26.577
2019-06-12 22:45:00 | 0.744 | 167.768 | 9.0527 | 221.31 | 7.263 | 171.856 | 3.6837 | 354.201 | 26.93 | 964.911 | 41.9904 | 24.3749
2019-06-12 23:00:00 | 0.99933 | 174.898 | 7.263 | 202.133 | 6.7517 | 155.795 | 0 | 356.805 | 27.15 | 964.762 | 42.4676 | 28.3062
2019-06-12 23:15:00 | 0 | 172.319 | 5.729 | 205.273 | 5.4733 | 158.934 | 1.007 | 349.505 | 27.07 | 965.059 | 42.3994 | 27.1239
2019-06-12 23:30:00 | 0 | 180.13 | 5.9847 | 226.663 | 7.263 | 170.567 | 5.729 | 356.805 | 26.94 | 964.617 | 43.0811 | 24.9587
2019-06-12 23:45:00 | 2.9033 | 136.351 | 6.7517 | 195.441 | 5.2177 | 151.999 | 4.195 | 333.468 | 26.42 | 964.638 | 44.0695 | 34.7315