## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-13 00:00:00 | 2.5313 | 152.388 | 7.7743 | 200.186 | 6.7517 | 152.948 | 1.3827 | 341.109 | 26.04 | 964.696 | 43.6605 | 57.7985
2019-06-13 00:15:00 | 1.7653 | 150.566 | 9.0527 | 204.425 | 7.0073 | 146.769 | 5.4733 | 329.215 | 25.97 | 964.475 | 45.604 | 56.2503
2019-06-13 00:30:00 | 8.5207 | 137.546 | 6.7517 | 194.082 | 7.7743 | 152.829 | 8.03 | 323.033 | 25.56 | 964.602 | 46.7288 | 48.0441
2019-06-13 00:45:00 | 6.2227 | 138.392 | 8.5413 | 190.679 | 8.5413 | 162.074 | 3.6837 | 312.855 | 25.37 | 964.463 | 47.042 | 40.6285
2019-06-13 01:00:00 | 2.9033 | 140.658 | 9.8197 | 184.939 | 9.8197 | 150.248 | 4.4507 | 324.3 | 25.54 | 964.612 | 48.9518 | 44.1349
2019-06-13 01:15:00 | 3.9247 | 142.021 | 10.5867 | 189.807 | 10.0753 | 136.277 | 7.263 | 322.474 | 25.47 | 964.463 | 49.8722 | 42.5203
2019-06-13 01:30:00 | 2.9033 | 140.342 | 9.0527 | 195.989 | 8.03 | 144.09 | 3.6837 | 314.807 | 25.32 | 964.611 | 50.6562 | 46.7324
2019-06-13 01:45:00 | 5.9673 | 139.611 | 9.564 | 188.736 | 9.8197 | 147.522 | 2.4053 | 314.296 | 25.22 | 964.016 | 51.5425 | 46.2705
2019-06-13 02:00:00 | 0.744 | 153.607 | 7.263 | 202.974 | 7.263 | 155.213 | 2.1497 | 323.813 | 25.03 | 964.315 | 52.497 | 53.0654
2019-06-13 02:15:00 | 3.6693 | 135.522 | 10.5867 | 186.594 | 10.5867 | 139.198 | 2.661 | 323.302 | 24.88 | 964.018 | 53.7242 | 52.8289
2019-06-13 02:30:00 | 2.276 | 137.494 | 10.8423 | 184.209 | 11.098 | 132.821 | 5.2177 | 327.707 | 24.72 | 963.722 | 54.0651 | 53.1688
2019-06-13 02:45:00 | 1.3713 | 131.726 | 9.0527 | 196.842 | 8.2857 | 153.656 | 5.2177 | 315.929 | 24.65 | 964.018 | 54.7472 | 55.9326
2019-06-13 03:00:00 | 5.712 | 128.709 | 8.2857 | 193.631 | 9.0527 | 142.802 | 5.4733 | 337.496 | 24.46 | 963.573 | 56.2476 | 51.3547
2019-06-13 03:15:00 | 6.7333 | 140.394 | 7.7743 | 203.151 | 9.0527 | 164.516 | 4.962 | 317.591 | 24.27 | 963.87 | 57.612 | 54.414
2019-06-13 03:30:00 | 3.9247 | 123.34 | 5.9847 | 186.516 | 7.0073 | 147.804 | 5.729 | 316.371 | 24.14 | 964.167 | 59.0136 | 57.4659
2019-06-13 03:45:00 | 7.244 | 145.272 | 11.098 | 195.839 | 10.8423 | 125.677 | 6.496 | 332.607 | 24 | 963.722 | 58.8772 | 58.8884
2019-06-13 04:00:00 | 3.414 | 140.755 | 9.8197 | 195.222 | 11.3537 | 137.785 | 1.5183 | 320.021 | 24.06 | 963.722 | 58.6429 | 60.5807
2019-06-13 04:15:00 | 5.9673 | 137.76 | 10.8423 | 193.2 | 9.8197 | 140.584 | 3.428 | 317.561 | 23.89 | 963.87 | 59.529 | 64.2497
2019-06-13 04:30:00 | 4.6907 | 133.525 | 8.797 | 191.352 | 7.263 | 131.894 | 3.1723 | 329.54 | 23.88 | 964.018 | 60.1432 | 62.4429
2019-06-13 04:45:00 | 3.9247 | 131.943 | 9.0527 | 196.367 | 7.263 | 147.936 | 2.1497 | 323.6 | 23.86 | 963.87 | 60.1773 | 62.2581
2019-06-13 05:00:00 | 4.946 | 138.442 | 12.3763 | 193.591 | 11.3537 | 135.789 | 5.4733 | 325.353 | 23.69 | 964.018 | 60.7569 | 57.3994
2019-06-13 05:15:00 | 5.4567 | 143.701 | 9.564 | 202.477 | 10.331 | 144.894 | 5.2177 | 333.046 | 23.68 | 964.315 | 60.5523 | 56.0471
2019-06-13 05:30:00 | 5.712 | 148.667 | 8.2857 | 200.31 | 8.5413 | 147.766 | 4.962 | 333.094 | 23.36 | 964.612 | 62.5298 | 51.4951
2019-06-13 05:45:00 | 4.18 | 151.32 | 7.5187 | 206.274 | 8.03 | 162.64 | 2.9167 | 332.583 | 23.33 | 964.76 | 62.3934 | 48.7128
2019-06-13 06:00:00 | 4.18 | 148.444 | 9.564 | 199.648 | 9.8197 | 151.755 | 3.1723 | 333.257 | 23.35 | 964.612 | 61.4374 | 48.8459
2019-06-13 06:15:00 | 0.372 | 153.268 | 8.797 | 204.303 | 8.797 | 146.305 | 2.661 | 328.834 | 23.27 | 964.463 | 61.507 | 47.2829
2019-06-13 06:30:00 | 4.946 | 135.4 | 8.03 | 184.609 | 6.7517 | 144.334 | 4.4507 | 334.701 | 23.3 | 964.76 | 60.2796 | 43.5844
2019-06-13 06:45:00 | 7.4993 | 142.701 | 9.0527 | 190.668 | 8.03 | 139.245 | 7.0073 | 326.008 | 23.32 | 964.76 | 59.6653 | 42.269
2019-06-13 07:00:00 | 0.744 | 136.857 | 8.03 | 212.281 | 9.0527 | 165.435 | 2.661 | 317.336 | 23.4 | 965.205 | 57.9937 | 37.5433
2019-06-13 07:15:00 | 3.414 | 135.554 | 9.3083 | 197.096 | 9.3083 | 150.037 | 5.9847 | 324.438 | 23.57 | 965.205 | 57.0679 | 38.6296
2019-06-13 07:30:00 | 2.9033 | 152.779 | 9.0527 | 203.267 | 8.03 | 145.696 | 3.1723 | 331.285 | 23.61 | 965.501 | 57.9513 | 38.8328
2019-06-13 07:45:00 | 1.51 | 146.305 | 5.9847 | 201.538 | 5.729 | 150.637 | 1.3827 | 337.297 | 23.68 | 965.798 | 56.3832 | 37.3069
2019-06-13 08:00:00 | 4.18 | 153.777 | 8.03 | 208.086 | 8.03 | 149.956 | 3.1723 | 331.139 | 23.79 | 965.786 | 55.4287 | 35.2193
2019-06-13 08:15:00 | 0 | 151.95 | 5.4733 | 217.794 | 4.962 | 156.744 | 2.9167 | 318.381 | 23.84 | 965.945 | 60.2685 | 30.2091
2019-06-13 08:30:00 | 1.138 | 150.715 | 7.5187 | 197.786 | 7.5187 | 147.235 | 5.9847 | 347.401 | 23.96 | 965.939 | 57.6029 | 32.0639
2019-06-13 08:45:00 | 1.138 | 146.256 | 7.5187 | 193.665 | 8.2857 | 149.955 | 1.774 | 331.837 | 24.47 | 965.513 | 55.6919 | 31.6094
2019-06-13 09:00:00 | 0 | 144.503 | 4.4507 | 232.334 | 7.263 | 209.211 | 5.729 | 317.966 | 24.84 | 965.801 | 51.5338 | 32.2929
2019-06-13 09:15:00 | 0 | 143.595 | 7.263 | 193.434 | 7.5187 | 154.935 | 1.2627 | 319.214 | 25.05 | 965.949 | 53.4395 | 23.5546
2019-06-13 09:30:00 | 0 | 151.314 | 5.9847 | 191.032 | 6.7517 | 146.034 | 2.661 | 327.329 | 26.17 | 965.949 | 51.6691 | 15.5849
2019-06-13 09:45:00 | 0 | 141.517 | 6.7517 | 199.964 | 4.962 | 138.548 | 1.007 | 321.064 | 25.83 | 966.08 | 46.688 | 14.5688
2019-06-13 10:00:00 | 0 | 151.242 | 4.962 | 204.223 | 6.2403 | 138.348 | 3.1723 | 338.853 | 26.53 | 966.1 | 46.9507 | 11.7903
2019-06-13 10:15:00 | 0 | 197.901 | 5.9847 | 237.21 | 6.2403 | 183.816 | 0 | 11.7013 | 27.46 | 966.248 | 44.1908 | 10.1941
2019-06-13 10:30:00 | 0 | 145.476 | 5.4733 | 239.011 | 5.4733 | 199.142 | 3.6837 | 312.676 | 27.84 | 966.544 | 41.7036 | 8.125
2019-06-13 10:45:00 | 0 | 192.767 | 5.4733 | 249.688 | 4.962 | 211.352 | 2.7967 | 5.3033 | 27.63 | 966.248 | 39.8975 | 5.376
2019-06-13 11:00:00 | 0 | 178.463 | 3.428 | 209.453 | 3.1723 | 157.275 | 1.007 | 3.0409 | 27.9 | 966.248 | 40.5111 | 3.0261
2019-06-13 11:15:00 | 0 | 141.778 | 5.2177 | 191.938 | 5.4733 | 147.325 | 4.4507 | 325.983 | 28.01 | 966.099 | 41.5332 | 2.6307
2019-06-13 11:30:00 | 0 | 139.637 | 3.428 | 211.74 | 3.6837 | 176.274 | 3.9393 | 327.589 | 28.09 | 966.248 | 40.6133 | 0.53945
2019-06-13 11:45:00 | 0 | 149.901 | 4.7063 | 183.079 | 5.729 | 135.426 | 6.2403 | 350.133 | 28.66 | 965.951 | 38.0231 | 0.40274
2019-06-13 12:00:00 | 0 | 209.2 | 5.9847 | 259.792 | 5.729 | 210.902 | 0.37567 | 33.7882 | 28.87 | 966.099 | 38.0214 | 0.86459
2019-06-13 12:15:00 | 0 | 182.135 | 4.7063 | 226.601 | 3.428 | 180.772 | 0 | 12.2121 | 29.23 | 965.951 | 36.3198 | 0.45447
2019-06-13 12:30:00 | 0 | 163.963 | 2.661 | 226.042 | 2.661 | 150.048 | 0 | 84.9739 | 29.47 | 965.951 | 34.8549 | 0.070202
2019-06-13 12:45:00 | 0 | 227.182 | 1.894 | 286.233 | 1.6383 | 221.368 | 0 | 38.3582 | 29.85 | 965.803 | 34.8501 | -0.15518
2019-06-13 13:00:00 | 0.62733 | 172.989 | 3.1723 | 233.671 | 3.1723 | 192.254 | 0 | 355.222 | 29.45 | 965.951 | 34.6799 | -0.10346
2019-06-13 13:15:00 | 0 | 110.429 | 3.9393 | 163.886 | 3.6837 | 135.214 | 0 | 300.323 | 30.03 | 965.951 | 33.4874 | -0.088676
2019-06-13 13:30:00 | 0 | 210.053 | 2.661 | 223.619 | 3.9393 | 177.047 | 0 | 15.9072 | 30.09 | 966.248 | 30.7614 | 0.040643
2019-06-13 13:45:00 | 0 | 100.818 | 2.9167 | 137.952 | 0.75133 | 78.514 | 0 | 313.886 | 30.61 | 966.248 | 30.8634 | 0.27342
2019-06-13 14:00:00 | 0 | 165.15 | 2.661 | 202.081 | 4.4507 | 168.531 | 0 | 352.917 | 30.79 | 966.544 | 28.4744 | 1.3117
2019-06-13 14:15:00 | 0 | 185.65 | 2.1497 | 233.888 | 2.1497 | 184.823 | 0 | 10.6273 | 30.73 | 966.248 | 29.0872 | 1.7366
2019-06-13 14:30:00 | 0 | 146.545 | 6.2403 | 189.531 | 6.2403 | 148.564 | 1.007 | 342.433 | 31.49 | 966.248 | 28.4401 | 3.4584
2019-06-13 14:45:00 | 0 | 183.437 | 5.2177 | 231.554 | 5.729 | 184.385 | 3.6837 | 14.4454 | 30.8 | 966.51 | 27.7929 | 5.3834
2019-06-13 15:00:00 | 0 | 160.699 | 4.4507 | 209.278 | 5.9847 | 168.043 | 0 | 356.806 | 30.77 | 965.327 | 30.7221 | 8.2986
2019-06-13 15:15:00 | 0 | 194.55 | 6.496 | 241.816 | 7.263 | 190.781 | 2.541 | 19.2362 | 30.6 | 964.601 | 31.0627 | 7.4008
2019-06-13 15:30:00 | 0 | 187.571 | 7.5187 | 230.776 | 7.0073 | 182.707 | 2.541 | 10.8219 | 30.59 | 964.765 | 30.0409 | 9.0782
2019-06-13 15:45:00 | 0 | 184.361 | 7.0073 | 234.667 | 5.9847 | 198.368 | 0 | 1.6294 | 30.88 | 964.616 | 29.8365 | 6.8318
2019-06-13 16:00:00 | 0 | 198.952 | 5.729 | 241.257 | 5.729 | 197.323 | 2.9167 | 9.6546 | 30.79 | 964.468 | 30.0409 | 3.1332
2019-06-13 16:15:00 | 0 | 167.07 | 3.1723 | 225.669 | 2.4053 | 157.489 | 0 | 352.063 | 30.84 | 964.616 | 29.6322 | 1.755
2019-06-13 16:30:00 | 0 | 177.065 | 5.4733 | 243.47 | 4.7063 | 201.238 | 1.2627 | 347.491 | 30.83 | 965.506 | 29.3597 | 2.3204
2019-06-13 16:45:00 | 0 | 141.56 | 3.1723 | 195.756 | 2.661 | 162.231 | 0 | 327.21 | 30.69 | 965.061 | 30.4496 | 1.0752
2019-06-13 17:00:00 | 0.88267 | 122.81 | 3.1723 | 173.675 | 3.428 | 127.771 | 0 | 311.718 | 30.65 | 964.913 | 30.654 | 0.67246
2019-06-13 17:15:00 | 0 | 128.014 | 3.1723 | 187.488 | 2.9167 | 139.784 | 0 | 324.316 | 30.6 | 965.358 | 30.7221 | 0.87937
2019-06-13 17:30:00 | 0 | 127.771 | 1.6383 | 173.529 | 1.6383 | 144.259 | 0 | 311.475 | 30.65 | 965.061 | 30.9264 | 0.39535
2019-06-13 17:45:00 | 0 | 172.274 | 3.1723 | 228.927 | 2.661 | 189.687 | 0 | 348.245 | 30.65 | 964.468 | 30.4496 | 0.16257
2019-06-13 18:00:00 | 0 | 234.953 | 2.4053 | 279.018 | 1.894 | 209.705 | 0 | 62.4348 | 30.41 | 964.172 | 32.089 | -0.11824
2019-06-13 18:15:00 | 0 | 240.143 | 2.9167 | 285.335 | 3.1723 | 252.496 | 0 | 61.6889 | 30 | 963.579 | 33.0474 | 0.10715
2019-06-13 18:30:00 | 0 | 257.867 | 3.1723 | 291.192 | 2.1497 | 226.145 | 0 | 83.0527 | 29.82 | 963.727 | 33.8671 | 0.17735
2019-06-13 18:45:00 | 0 | 233.151 | 3.1723 | 272.071 | 2.9167 | 215.246 | 0 | 64.1019 | 29.49 | 963.431 | 34.0715 | 0.7168
2019-06-13 19:00:00 | 0 | 210.77 | 2.661 | 271.73 | 2.9167 | 230.621 | 0 | 39.9937 | 29.44 | 963.875 | 34.1397 | 1.1971
2019-06-13 19:15:00 | 3.414 | 205.654 | 3.1723 | 253.848 | 2.9167 | 214.68 | 0 | 25.4969 | 29.49 | 963.935 | 34.1425 | 0.41752
2019-06-13 19:30:00 | 5.4567 | 155.225 | 7.7743 | 202.459 | 7.7743 | 155.833 | 5.2177 | 354.153 | 29.15 | 963.798 | 40.2836 | 9.8246
2019-06-13 19:45:00 | 0 | 151.068 | 6.2403 | 196.139 | 5.729 | 153.671 | 5.9847 | 332.795 | 28.17 | 964.159 | 45.3971 | 24.689
2019-06-13 20:00:00 | 0 | 159.904 | 7.5187 | 214.101 | 8.03 | 166.62 | 5.2177 | 341.197 | 27.47 | 963.873 | 50.2374 | 28.4946
2019-06-13 20:15:00 | 9.542 | 155.816 | 6.7517 | 193.174 | 8.797 | 148.054 | 5.9847 | 348.987 | 26.94 | 963.873 | 52.0099 | 31.8459
2019-06-13 20:30:00 | 0 | 133.455 | 5.2177 | 173.32 | 5.4733 | 140.074 | 4.962 | 338.456 | 26.52 | 963.724 | 53.3061 | 32.7511
2019-06-13 20:45:00 | 6.7333 | 151.098 | 9.8197 | 203.253 | 10.0753 | 154.53 | 5.2177 | 331.107 | 26.13 | 963.724 | 54.4308 | 43.6324
2019-06-13 21:00:00 | 3.1587 | 147.643 | 10.0753 | 196.317 | 7.7743 | 160.638 | 5.9847 | 334.757 | 25.85 | 963.663 | 54.4649 | 48.4099
2019-06-13 21:15:00 | 3.9247 | 148.497 | 9.564 | 191.746 | 8.03 | 169.572 | 5.9847 | 332.037 | 25.67 | 963.497 | 55.0793 | 57.211
2019-06-13 21:30:00 | 3.6693 | 146.511 | 11.3537 | 196.578 | 10.5867 | 149.869 | 5.4733 | 330.477 | 25.48 | 963.411 | 52.4923 | 53.893
2019-06-13 21:45:00 | 1.6267 | 148.738 | 8.797 | 207.914 | 8.03 | 143.626 | 5.729 | 324.857 | 25.27 | 964.165 | 51.6103 | 54.196
2019-06-13 22:00:00 | 6.7333 | 159.18 | 8.03 | 214.998 | 8.797 | 159.619 | 1.6383 | 335.399 | 25.18 | 964.167 | 51.0653 | 44.8185
2019-06-13 22:15:00 | 5.712 | 151.635 | 8.5413 | 199.445 | 8.5413 | 174.32 | 4.7063 | 332.867 | 25.01 | 963.72 | 49.429 | 32.1636
2019-06-13 22:30:00 | 0 | 17.135 | 1.3827 | 94.9799 | 2.9167 | 0.048679 | 0 | 188.242 | 25.1 | 964.76 | 49.4972 | 2.5642
2019-06-13 22:45:00 | 0 | 133.186 | 2.4053 | 159.601 | 2.661 | 129.584 | 0 | 293.194 | 25.25 | 964.908 | 47.52 | -0.47663
2019-06-13 23:00:00 | 4.6907 | 136.399 | 8.5413 | 192.533 | 7.0073 | 146.938 | 2.4053 | 324.543 | 25.17 | 964.141 | 47.3837 | 24.7887
2019-06-13 23:15:00 | 2.648 | 151.587 | 10.8423 | 201.246 | 11.098 | 158.183 | 4.195 | 330.701 | 24.78 | 962.68 | 48.1336 | 60.6398
2019-06-13 23:30:00 | 8.2653 | 159.156 | 8.5413 | 200.54 | 9.564 | 142.143 | 3.1723 | 338.757 | 24.59 | 962.98 | 48.9177 | 69.1047
2019-06-13 23:45:00 | 4.6907 | 148.106 | 12.8877 | 198.131 | 12.632 | 156.309 | 5.729 | 328.584 | 24.57 | 962.832 | 46.7702 | 50.7967