## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-14 00:00:00 | 4.4353 | 134.525 | 11.3537 | 192.581 | 8.03 | 161.663 | 5.2177 | 323.716 | 24.44 | 962.683 | 47.5882 | 48.1919
2019-06-14 00:15:00 | 5.9673 | 135.99 | 7.5187 | 202.886 | 7.7743 | 170.651 | 4.962 | 325.433 | 24.22 | 963.128 | 50.3856 | 44.364
2019-06-14 00:30:00 | 6.7333 | 152.187 | 8.2857 | 206.748 | 8.5413 | 154.232 | 5.729 | 333.147 | 23.82 | 962.683 | 52.0255 | 28.0697
2019-06-14 00:45:00 | 0 | 155.552 | 7.263 | 218.051 | 6.2403 | 183.206 | 2.661 | 346.913 | 23.9 | 963.276 | 51.2091 | 24.9513
2019-06-14 01:00:00 | 0 | 158.282 | 7.5187 | 226.285 | 9.564 | 192.996 | 0.37567 | 338.401 | 23.78 | 963.128 | 51.6194 | 25.9526
2019-06-14 01:15:00 | 0 | 162.251 | 7.263 | 197.973 | 6.2403 | 168.872 | 1.007 | 355.174 | 23.61 | 962.98 | 53.1196 | 27.3936
2019-06-14 01:30:00 | 4.4353 | 155.605 | 6.496 | 219.347 | 7.0073 | 172.353 | 2.0297 | 347.774 | 23.32 | 963.128 | 54.2107 | 21.1308
2019-06-14 01:45:00 | 0 | 159.135 | 6.7517 | 215.379 | 6.496 | 159.013 | 4.7063 | 329.638 | 23.09 | 963.128 | 54.8244 | 22.3908
2019-06-14 02:00:00 | 0 | 174.69 | 5.4733 | 212.579 | 5.4733 | 155.386 | 4.195 | 344.755 | 22.84 | 962.98 | 56.0177 | 24.7296
2019-06-14 02:15:00 | 7.7547 | 161.889 | 5.9847 | 217.867 | 8.2857 | 149.084 | 5.4733 | 342.157 | 22.88 | 962.832 | 56.053 | 30.9554
2019-06-14 02:30:00 | 9.542 | 150.136 | 6.7517 | 192.216 | 5.4733 | 155.273 | 5.9847 | 331.41 | 22.62 | 962.832 | 57.4189 | 35.452
2019-06-14 02:45:00 | 5.712 | 153.854 | 9.0527 | 202.831 | 8.2857 | 157.092 | 4.195 | 336.389 | 22.16 | 962.386 | 57.9027 | 42.0178
2019-06-14 03:00:00 | 4.946 | 152.831 | 7.263 | 193.067 | 5.9847 | 149.666 | 3.9393 | 327.794 | 22.33 | 962.535 | 57.9707 | 40.732
2019-06-14 03:15:00 | 0 | 157.141 | 5.9847 | 202.076 | 5.2177 | 171.969 | 1.5183 | 340.456 | 22.36 | 962.535 | 58.3802 | 36.3758
2019-06-14 03:30:00 | 0 | 150.153 | 6.7517 | 222.066 | 7.263 | 179.443 | 1.007 | 334.88 | 22.39 | 962.09 | 58.5848 | 39.2984
2019-06-14 03:45:00 | 0 | 172.48 | 6.2403 | 206.045 | 5.4733 | 158.87 | 0.75133 | 346.859 | 22.32 | 962.535 | 59.3691 | 29.2927
2019-06-14 04:00:00 | 9.0313 | 147.645 | 7.5187 | 191.704 | 6.7517 | 157.969 | 4.7063 | 338.094 | 22.1 | 962.832 | 59.3009 | 36.4977
2019-06-14 04:15:00 | 4.18 | 161.767 | 8.797 | 207.896 | 6.496 | 143.701 | 3.428 | 348.125 | 21.94 | 962.683 | 59.8806 | 46.2299
2019-06-14 04:30:00 | 8.5207 | 149.739 | 8.03 | 198.473 | 7.5187 | 154.56 | 5.2177 | 328.549 | 21.91 | 962.832 | 60.0852 | 47.4012
2019-06-14 04:45:00 | 4.946 | 163.836 | 10.5867 | 200.713 | 9.564 | 151.492 | 3.6837 | 338.995 | 21.74 | 962.535 | 61.0401 | 49.1414
2019-06-14 05:00:00 | 7.4993 | 149.057 | 7.0073 | 199.739 | 7.0073 | 149.35 | 5.729 | 329.45 | 21.65 | 962.837 | 62.6769 | 49.9839
2019-06-14 05:15:00 | 5.4567 | 136.226 | 8.03 | 200.932 | 6.496 | 167.854 | 3.9393 | 323.071 | 21.45 | 962.99 | 62.6769 | 50.6305
2019-06-14 05:30:00 | 4.4353 | 146.721 | 8.797 | 201.859 | 7.0073 | 172.627 | 5.2177 | 328.551 | 21.58 | 963.148 | 62.3703 | 54.6726
2019-06-14 05:45:00 | 9.7973 | 149.642 | 8.5413 | 201.93 | 7.7743 | 156.703 | 5.729 | 331.885 | 21.48 | 963.284 | 62.9497 | 50.6822
2019-06-14 06:00:00 | 5.2013 | 126.584 | 10.331 | 206.484 | 7.7743 | 182.268 | 4.7063 | 303.325 | 21.42 | 963.277 | 63.6317 | 50.0799
2019-06-14 06:15:00 | 0 | 154.146 | 7.0073 | 199.788 | 6.7517 | 150.104 | 4.195 | 334.077 | 21.31 | 963.425 | 65.0639 | 45.1399
2019-06-14 06:30:00 | 0.372 | 149.519 | 7.7743 | 198.009 | 7.5187 | 156.628 | 4.4507 | 331.786 | 21.32 | 963.128 | 66.0865 | 42.4427
2019-06-14 06:45:00 | 11.3293 | 155.951 | 9.3083 | 201.171 | 8.5413 | 144.558 | 4.7063 | 356.794 | 21.34 | 963.425 | 65.9418 | 43.8837
2019-06-14 07:00:00 | 6.7333 | 148.399 | 8.5413 | 195.052 | 8.797 | 146.646 | 4.4507 | 337.963 | 21.43 | 963.277 | 64.9847 | 37.6505
2019-06-14 07:15:00 | 6.2227 | 155.286 | 10.0753 | 200.112 | 10.331 | 155.188 | 3.1723 | 340.757 | 21.51 | 963.425 | 64.5403 | 38.7257
2019-06-14 07:30:00 | 4.18 | 151.563 | 8.5413 | 202.111 | 9.3083 | 135.934 | 2.9167 | 331.34 | 21.72 | 963.722 | 64.5069 | 40.5916
2019-06-14 07:45:00 | 4.6907 | 146.047 | 8.2857 | 205.228 | 8.03 | 151.329 | 1.894 | 332.037 | 22.06 | 963.573 | 61.8414 | 32.6033
2019-06-14 08:00:00 | 6.2227 | 143.165 | 8.03 | 200.273 | 8.797 | 154.897 | 5.2177 | 327.854 | 22.27 | 964.018 | 61.2239 | 24.4636
2019-06-14 08:15:00 | 7.244 | 151.002 | 8.797 | 202.95 | 9.3083 | 153.144 | 2.661 | 338.344 | 22.52 | 964.315 | 60.3375 | 24.689
2019-06-14 08:30:00 | 2.0207 | 146.407 | 7.5187 | 192.675 | 8.797 | 154.852 | 1.894 | 327.883 | 22.74 | 963.834 | 59.8522 | 20.2108
2019-06-14 08:45:00 | 0.372 | 142.898 | 8.2857 | 192.546 | 8.5413 | 144.504 | 5.4733 | 331.96 | 22.94 | 964.523 | 59.1685 | 18.5962
2019-06-14 09:00:00 | 0.372 | 155.235 | 7.7743 | 204.08 | 8.5413 | 145.015 | 4.4507 | 353.155 | 23.38 | 964.333 | 58.3845 | 15.4777
2019-06-14 09:15:00 | 8.776 | 163.972 | 8.03 | 214.69 | 8.2857 | 167.208 | 6.2403 | 344.954 | 23.97 | 964.614 | 56.1009 | 13.4862
2019-06-14 09:30:00 | 0 | 145.818 | 7.263 | 199.943 | 7.263 | 154.554 | 5.4733 | 330.231 | 24.14 | 964.466 | 56.9189 | 9.2962
2019-06-14 09:45:00 | 0 | 163.428 | 8.03 | 209.763 | 8.797 | 160.752 | 5.4733 | 349.317 | 24.87 | 964.466 | 53.5761 | 10.4047
2019-06-14 10:00:00 | 0 | 163.524 | 7.263 | 200.198 | 6.2403 | 160.848 | 0 | 350.799 | 25.54 | 964.911 | 52.86 | 9.6251
2019-06-14 10:15:00 | 0 | 155.323 | 4.962 | 206.889 | 6.7517 | 167.807 | 0.37567 | 334.64 | 25.8 | 964.867 | 52.6213 | 9.0598
2019-06-14 10:30:00 | 0 | 182.347 | 6.7517 | 234.808 | 7.263 | 183.758 | 4.4507 | 3.7959 | 26.01 | 964.617 | 49.8234 | 6.551
2019-06-14 10:45:00 | 0 | 176.791 | 5.2177 | 240.041 | 6.2403 | 191.972 | 0 | 3.8438 | 26.58 | 964.631 | 47.9744 | 3.8759
2019-06-14 11:00:00 | 0 | 160.34 | 5.9847 | 194.833 | 5.4733 | 152.774 | 4.195 | 356.733 | 26.79 | 964.765 | 47.0869 | 2.4053
2019-06-14 11:15:00 | 0 | 154.574 | 4.7063 | 201.62 | 4.7063 | 156.277 | 1.2627 | 343.596 | 27.09 | 964.765 | 46.7462 | 0.32884
2019-06-14 11:30:00 | 0 | 193.765 | 5.729 | 241.589 | 5.2177 | 176.079 | 0 | 9.147 | 27.57 | 964.617 | 45.2811 | 0.29928
2019-06-14 11:45:00 | 0 | 138.324 | 4.4507 | 200.112 | 4.7063 | 165.497 | 0 | 330.557 | 28.18 | 964.617 | 44.4975 | 0.29559
2019-06-14 12:00:00 | 0 | 206.683 | 4.962 | 245.214 | 5.2177 | 211.767 | 0 | 33.1092 | 28.03 | 964.172 | 42.9983 | 0.066507
2019-06-14 12:15:00 | 0 | 200.699 | 5.2177 | 242.003 | 4.7063 | 192.233 | 4.962 | 21.9917 | 28.59 | 964.469 | 41.8739 | 0.12932
2019-06-14 12:30:00 | 0 | 195.201 | 0.75133 | 175.663 | 2.4053 | 113.462 | 0 | 347.099 | 29.04 | 964.469 | 40.2726 | -0.26603
2019-06-14 12:45:00 | 0 | 158.807 | 1.6383 | 196.511 | 1.894 | 175.544 | 0 | 11.7743 | 29.42 | 964.617 | 40.3407 | -0.088676
2019-06-14 13:00:00 | 0 | 225.847 | 2.9167 | 241.315 | 2.9167 | 198.066 | 0.75133 | 349.061 | 29.24 | 964.172 | 40.6805 | 0.081287
2019-06-14 13:15:00 | 0 | 13.1362 | 1.894 | 68.4503 | 1.6383 | 309.041 | 0 | 141.336 | 29.47 | 964.024 | 39.9305 | -0.22169
2019-06-14 13:30:00 | 0 | 276.709 | 2.9167 | 309.443 | 0.75133 | 224.558 | 0 | 94.1335 | 29.64 | 964.617 | 38.1211 | -0.31406
2019-06-14 13:45:00 | 0 | 259.96 | 5.729 | 306.02 | 4.962 | 256.871 | 0 | 84.6427 | 30.03 | 965.358 | 36.4839 | 0.53945
2019-06-14 14:00:00 | 0 | 288.48 | 2.4053 | 281.881 | 0.37567 | 245.143 | 0 | 104.867 | 30.86 | 965.062 | 33.9931 | 0.32145
2019-06-14 14:15:00 | 0 | 301.699 | 4.7063 | 14.2608 | 3.9393 | 317.652 | 0 | 122.202 | 30.85 | 964.765 | 33.4809 | 0.51358
2019-06-14 14:30:00 | 0 | 261.67 | 4.7063 | 241.816 | 5.9847 | 209.774 | 4.4507 | 51.41 | 31.11 | 964.765 | 33.9918 | 0.29189
2019-06-14 14:45:00 | 0 | 293.042 | 5.4733 | 7.7676 | 3.9393 | 300.97 | 0 | 136.988 | 30.79 | 964.895 | 33.9578 | 0.77961
2019-06-14 15:00:00 | 0 | 238.13 | 4.195 | 254.219 | 2.4053 | 236.962 | 0 | 52.1395 | 31.08 | 964.871 | 32.7657 | 0.084981
2019-06-14 15:15:00 | 0 | 246.52 | 4.7063 | 287.657 | 3.6837 | 246.787 | 0.63133 | 59.8243 | 30.68 | 964.525 | 32.4251 | 0.11084
2019-06-14 15:30:00 | 0 | 176.725 | 4.4507 | 221.218 | 4.7063 | 191.778 | 0.63133 | 30.1796 | 31.33 | 964.729 | 31.3011 | -0.29928
2019-06-14 15:45:00 | 0 | 217.678 | 2.9167 | 265.746 | 3.428 | 206.418 | 1.1427 | 45.3303 | 31.02 | 964.226 | 30.1771 | -0.218
2019-06-14 16:00:00 | 0 | 286.84 | 1.894 | 3.6578 | 1.6383 | 306.441 | 0 | 125.631 | 32.01 | 964.703 | 28.6785 | -0.20322
2019-06-14 16:15:00 | 0 | 275.678 | 3.428 | 315.308 | 0.75133 | 263.421 | 0 | 116.049 | 31.72 | 964.689 | 29.4959 | -0.28081
2019-06-14 16:30:00 | 0 | 282.071 | 3.9393 | 326.88 | 3.9393 | 283.943 | 0 | 111.184 | 31.98 | 964.481 | 29.8362 | -0.31037
2019-06-14 16:45:00 | 0 | 275.481 | 0.75133 | 10.6617 | 0 | 322.367 | 0 | 116.535 | 31.45 | 964.116 | 27.3839 | -0.25864
2019-06-14 17:00:00 | 0 | 306.417 | 2.1497 | 12.9719 | 1.127 | 320.035 | 0 | 125.12 | 31.86 | 964.137 | 28.5763 | -0.27711
2019-06-14 17:15:00 | 0 | 251.748 | 2.661 | 308.887 | 3.428 | 260.795 | 0 | 71.5945 | 31.38 | 963.643 | 30.2452 | -0.24016
2019-06-14 17:30:00 | 0 | 276.724 | 2.4053 | 331.869 | 1.3827 | 273.343 | 0 | 97.9561 | 31.17 | 963.48 | 30.6539 | -0.26972
2019-06-14 17:45:00 | 0 | 242.142 | 1.894 | 293.032 | 1.3827 | 224.414 | 0 | 63.9098 | 31.06 | 963.573 | 30.7221 | -0.28081
2019-06-14 18:00:00 | 0 | 252.259 | 3.1723 | 300.23 | 3.428 | 254.375 | 0 | 74.1237 | 30.91 | 963.134 | 29.6321 | -0.2882
2019-06-14 18:15:00 | 0 | 230.031 | 3.428 | 274.549 | 3.6837 | 212.157 | 0 | 50.7776 | 30.81 | 962.838 | 30.9264 | -0.29928
2019-06-14 18:30:00 | 0 | 234.166 | 3.1723 | 271.078 | 2.9167 | 211.401 | 0 | 53.7989 | 30.64 | 962.838 | 31.8154 | -0.11084
2019-06-14 18:45:00 | 0 | 202.219 | 4.7063 | 260.718 | 4.195 | 222.92 | 0 | 43.8834 | 30.51 | 962.689 | 31.0032 | 0.25864
2019-06-14 19:00:00 | 0 | 199.847 | 4.195 | 242.416 | 2.661 | 195.298 | 0 | 21.0186 | 30.15 | 962.689 | 33.1175 | 0.19213
2019-06-14 19:15:00 | 0 | 202.012 | 3.6837 | 245.652 | 2.661 | 205.71 | 0 | 24.7893 | 29.92 | 962.393 | 34.4123 | 0.94219
2019-06-14 19:30:00 | 0 | 198.339 | 3.9393 | 232.831 | 2.9167 | 197.439 | 0 | 18.9751 | 29.82 | 962.541 | 34.8893 | 1.5149
2019-06-14 19:45:00 | 0 | 198.767 | 4.4507 | 242.169 | 2.661 | 190.35 | 0 | 21.1175 | 29.62 | 962.689 | 34.6875 | 1.3819
2019-06-14 20:00:00 | 0 | 197.786 | 4.195 | 240.153 | 3.1723 | 186.641 | 0.37567 | 15.89 | 29.66 | 962.915 | 33.8765 | 1.7624
2019-06-14 20:15:00 | 0 | 198.884 | 4.4507 | 244.514 | 3.428 | 194.577 | 0 | 17.7397 | 29.75 | 963.115 | 33.8771 | 1.7698
2019-06-14 20:30:00 | 0.372 | 194.843 | 4.4507 | 243.976 | 3.428 | 194.235 | 3.6837 | 14.6491 | 29.82 | 963.274 | 32.8545 | 1.3745
2019-06-14 20:45:00 | 0 | 199.126 | 3.9393 | 245.144 | 3.428 | 194.186 | 1.774 | 18.0315 | 29.96 | 963.122 | 31.9683 | 0.62812
2019-06-14 21:00:00 | 0 | 194.192 | 3.9393 | 237.146 | 3.1723 | 192.342 | 0.37567 | 13.5788 | 30 | 963.28 | 31.0831 | 0.65768
2019-06-14 21:15:00 | 0 | 193.071 | 3.6837 | 233.227 | 2.1497 | 179.201 | 0 | 12.7514 | 29.97 | 963.558 | 31.8328 | 0.78331
2019-06-14 21:30:00 | 0.372 | 194.869 | 3.9393 | 237.091 | 2.1497 | 183.286 | 0 | 16.2796 | 29.98 | 963.817 | 31.9004 | 0.86459
2019-06-14 21:45:00 | 0 | 201.688 | 4.4507 | 243.158 | 3.6837 | 192.928 | 0.37567 | 22.4854 | 29.84 | 963.724 | 31.9013 | 1.8474
2019-06-14 22:00:00 | 0 | 202.346 | 4.7063 | 241.675 | 4.4507 | 191.103 | 0.37567 | 24.0431 | 29.84 | 963.408 | 31.5605 | 2.1319
2019-06-14 22:15:00 | 0 | 200.809 | 4.962 | 244.955 | 3.9393 | 193.314 | 0 | 21.025 | 29.81 | 963.546 | 31.5599 | 2.3351
2019-06-14 22:30:00 | 0 | 199.158 | 4.4507 | 233.474 | 3.428 | 193.902 | 1.007 | 23.24 | 29.73 | 963.72 | 32.2422 | 2.3499
2019-06-14 22:45:00 | 0 | 197.864 | 4.195 | 243.688 | 3.428 | 187.035 | 0 | 22.8744 | 29.65 | 963.87 | 31.7984 | 2.627
2019-06-14 23:00:00 | 0 | 209.472 | 4.962 | 250.211 | 4.4507 | 188.447 | 1.2627 | 34.2144 | 29.4 | 963.723 | 32.1053 | 3.6505
2019-06-14 23:15:00 | 0 | 194.098 | 4.7063 | 231.383 | 3.6837 | 175.774 | 0 | 22.9968 | 29.68 | 963.873 | 31.4245 | 3.9978
2019-06-14 23:30:00 | 0 | 201.93 | 4.962 | 243.789 | 4.4507 | 192.439 | 0.37567 | 25.8922 | 29.27 | 963.428 | 33.1961 | 5.9265
2019-06-14 23:45:00 | 0 | 197.548 | 3.9393 | 231.742 | 3.428 | 179.687 | 0 | 17.4479 | 29.14 | 963.724 | 34.5933 | 5.775