## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-15 00:00:00 | 0 | 195.167 | 4.195 | 237.659 | 3.6837 | 163.044 | 0 | 13.4816 | 28.48 | 963.576 | 38.5815 | 4.589
2019-06-15 00:15:00 | 1.3713 | 190.287 | 4.4507 | 226.887 | 4.4507 | 174.227 | 5.9847 | 11.6557 | 28.21 | 962.983 | 39.0562 | 4.8587
2019-06-15 00:30:00 | 0 | 165.643 | 5.2177 | 214.607 | 2.9167 | 189.345 | 2.1497 | 353.334 | 27.97 | 963.131 | 40.5571 | 3.9128
2019-06-15 00:45:00 | 0 | 198.09 | 5.2177 | 230.362 | 4.195 | 178.305 | 0.37567 | 27.1583 | 27.5 | 963.131 | 39.8091 | 3.8981
2019-06-15 01:00:00 | 0.62733 | 215.125 | 4.4507 | 252.97 | 3.9393 | 201.643 | 4.7063 | 46.3832 | 28.12 | 963.576 | 38.0027 | 2.9559
2019-06-15 01:15:00 | 0 | 258.344 | 1.894 | 313.249 | 1.6383 | 284.967 | 0 | 74.9529 | 28.24 | 963.724 | 38.3095 | 0.19583
2019-06-15 01:30:00 | 0 | 327.797 | 1.6383 | 15.5296 | 1.3827 | 7.4466 | 0 | 98.3149 | 27.55 | 963.724 | 39.4001 | -0.2845
2019-06-15 01:45:00 | 0 | 258.344 | 2.661 | 336.026 | 3.6837 | 302.294 | 0 | 71.4486 | 27.63 | 963.724 | 38.105 | -0.23278
2019-06-15 02:00:00 | 0 | 281.755 | 3.6837 | 327.85 | 2.1497 | 265.548 | 0 | 99.775 | 27.73 | 963.577 | 38.2413 | 0.025864
2019-06-15 02:15:00 | 0 | 280.806 | 4.195 | 328.629 | 3.1723 | 305.75 | 0 | 108.755 | 27.52 | 963.74 | 38.7185 | 0.025864
2019-06-15 02:30:00 | 0 | 260.559 | 3.428 | 306.629 | 2.661 | 269.003 | 0 | 88.3131 | 27.32 | 963.428 | 38.7866 | 0.26603
2019-06-15 02:45:00 | 0 | 275.233 | 3.9393 | 327.363 | 3.428 | 285.843 | 0 | 93.2045 | 27.34 | 963.476 | 38.8548 | 0.081287
2019-06-15 03:00:00 | 0 | 261.849 | 3.9393 | 296.944 | 3.6837 | 266.424 | 0.37567 | 83.5433 | 27.17 | 963.292 | 38.9911 | -0.15888
2019-06-15 03:15:00 | 0 | 252.601 | 1.6383 | 322.447 | 1.894 | 312.807 | 0 | 60.6681 | 27 | 963.46 | 40.0136 | 0.092371
2019-06-15 03:30:00 | 0 | 256.47 | 3.1723 | 317.751 | 2.661 | 272.532 | 0 | 78.9683 | 26.94 | 963.483 | 40.15 | 0.025864
2019-06-15 03:45:00 | 0 | 258.831 | 2.1497 | 305.656 | 1.3827 | 239.071 | 0 | 53.6352 | 26.88 | 963.484 | 40.4226 | 0.20322
2019-06-15 04:00:00 | 0 | 233.646 | 3.1723 | 271.54 | 3.6837 | 246.957 | 0 | 55.8258 | 26.78 | 963.761 | 40.2866 | -0.011085
2019-06-15 04:15:00 | 0 | 257.985 | 3.428 | 305.396 | 2.1497 | 257.62 | 0 | 79.7245 | 26.58 | 963.962 | 40.8666 | 0.14779
2019-06-15 04:30:00 | 0 | 259.107 | 2.661 | 314.817 | 2.1497 | 286.485 | 0 | 81.3801 | 26.43 | 963.802 | 41.3783 | -0.036949
2019-06-15 04:45:00 | 0 | 248.052 | 3.9393 | 299.484 | 2.9167 | 263.58 | 0 | 66.5886 | 26.34 | 963.984 | 41.5177 | -0.036949
2019-06-15 05:00:00 | 0 | 246.257 | 3.1723 | 289.147 | 1.894 | 245.04 | 0 | 63.353 | 26.28 | 964.161 | 41.7231 | 0.31406
2019-06-15 05:15:00 | 0 | 213.716 | 3.1723 | 270.212 | 2.9167 | 229.415 | 0 | 52.6928 | 26.33 | 963.831 | 41.1437 | 0.78331
2019-06-15 05:30:00 | 0 | 225.671 | 4.195 | 263.859 | 3.428 | 208.83 | 0 | 47.7965 | 26.33 | 963.943 | 40.9355 | 0.83134
2019-06-15 05:45:00 | 0.62733 | 209.626 | 4.4507 | 246.084 | 3.6837 | 186.459 | 0 | 39.9589 | 26.26 | 963.942 | 41.5135 | 0.94957
2019-06-15 06:00:00 | 0 | 201.254 | 4.195 | 245.158 | 3.9393 | 191.106 | 0 | 29.5188 | 26.35 | 963.783 | 40.968 | 0.61704
2019-06-15 06:15:00 | 0 | 193.393 | 3.1723 | 235.862 | 2.661 | 164.312 | 0 | 18.0082 | 26.72 | 963.875 | 40.559 | 1.3523
2019-06-15 06:30:00 | 1.138 | 171.997 | 3.1723 | 211.714 | 2.9167 | 160.803 | 0 | 3.1148 | 26.65 | 964.169 | 40.6941 | 0.96435
2019-06-15 06:45:00 | 0 | 166.108 | 3.6837 | 208.916 | 3.6837 | 155.401 | 0 | 351.781 | 26.78 | 964.443 | 40.285 | 1.2193
2019-06-15 07:00:00 | 1.6267 | 191.116 | 2.4053 | 235.146 | 2.4053 | 175.936 | 0 | 30.385 | 27.25 | 964.921 | 40.4094 | 0.59487
2019-06-15 07:15:00 | 0 | 182.307 | 2.661 | 222.882 | 2.4053 | 170.241 | 0 | 4.1599 | 27.92 | 965.21 | 41.2947 | 0.29559
2019-06-15 07:30:00 | 1.3713 | 183.083 | 3.428 | 229.811 | 3.9393 | 178.363 | 0.37567 | 7.5656 | 28.28 | 965.358 | 38.1595 | 0.77592
2019-06-15 07:45:00 | 0 | 156.374 | 2.9167 | 195.091 | 1.894 | 153.407 | 0 | 337.218 | 28.04 | 965.358 | 42.6509 | 0.81656
2019-06-15 08:00:00 | 0 | 152.928 | 3.1723 | 216.469 | 4.4507 | 174.816 | 0.37567 | 355.3 | 28.03 | 965.951 | 39.785 | 0.65768
2019-06-15 08:15:00 | 0 | 234.433 | 4.195 | 265.381 | 3.1723 | 210.333 | 0 | 32.5386 | 28.74 | 965.951 | 36.7848 | 0.19583
2019-06-15 08:30:00 | 0 | 178.816 | 3.428 | 233.986 | 3.6837 | 185.723 | 0 | 0.24319 | 28.34 | 965.506 | 38.624 | 0.45816
2019-06-15 08:45:00 | 0 | 168.294 | 2.661 | 196.917 | 3.1723 | 153.433 | 0 | 1.4594 | 28.21 | 965.358 | 39.0403 | 0.3621
2019-06-15 09:00:00 | 0 | 131.345 | 2.4053 | 183.341 | 2.9167 | 145.257 | 0 | 306.179 | 28.63 | 966.099 | 36.5187 | -0.16996
2019-06-15 09:15:00 | 0 | 249.292 | 1.894 | 261.247 | 3.1723 | 223.587 | 0 | 48.7593 | 29.59 | 966.544 | 35.3543 | -0.30667
2019-06-15 09:30:00 | 0 | 195.012 | 3.9393 | 241.962 | 4.4507 | 208.753 | 0 | 21.4978 | 30.25 | 966.087 | 36.0695 | -0.32515
2019-06-15 09:45:00 | 0 | 153.427 | 3.6837 | 196.437 | 3.6837 | 155.446 | 1.127 | 341.801 | 29.6 | 965.914 | 36.2057 | -0.26603
2019-06-15 10:00:00 | 0 | 230.494 | 2.1497 | 219.686 | 4.4507 | 192.483 | 1.774 | 7.0038 | 29.63 | 966.243 | 35.8992 | -0.2882
2019-06-15 10:15:00 | 0 | 178.281 | 4.7063 | 239.141 | 5.2177 | 187.182 | 0 | 347.662 | 29.92 | 966.099 | 35.763 | -0.12932
2019-06-15 10:30:00 | 0 | 218.286 | 4.195 | 248.382 | 4.962 | 187.23 | 4.4507 | 52.4313 | 30.23 | 966.099 | 35.7289 | -0.25125
2019-06-15 10:45:00 | 0 | 222.079 | 3.1723 | 241.476 | 3.6837 | 173.782 | 0 | 38.7155 | 30.47 | 966.244 | 36.1035 | 0.24386
2019-06-15 11:00:00 | 0 | 194.648 | 4.7063 | 237.196 | 3.9393 | 176.36 | 0.37567 | 15.7586 | 30.45 | 966.094 | 35.6267 | 0.21061
2019-06-15 11:15:00 | 0 | 209.288 | 1.894 | 238.679 | 1.6383 | 203.524 | 0 | 345.327 | 30.26 | 966.099 | 35.0136 | -0.30667
2019-06-15 11:30:00 | 0 | 257.196 | 3.1723 | 293.421 | 2.9167 | 221.204 | 0 | 52.7232 | 30.58 | 965.802 | 34.4687 | -0.26972
2019-06-15 11:45:00 | 0 | 227.6 | 3.9393 | 218.422 | 3.6837 | 173.32 | 0.75133 | 43.482 | 30.33 | 965.358 | 35.5927 | -0.2882
2019-06-15 12:00:00 | 0 | 265.683 | 3.428 | 310.809 | 2.4053 | 248.246 | 0 | 31.4199 | 30.63 | 965.506 | 33.4469 | -0.29928
2019-06-15 12:15:00 | 0 | 171.934 | 4.195 | 226.593 | 3.1723 | 174.731 | 1.007 | 15.3695 | 30.83 | 965.209 | 34.8093 | -0.2882
2019-06-15 12:30:00 | 0 | 223.928 | 2.661 | 286.806 | 2.661 | 177.77 | 0 | 47.9324 | 30.75 | 965.061 | 33.9918 | -0.25125
2019-06-15 12:45:00 | 0 | 247.663 | 1.6383 | 268.227 | 2.1497 | 181.516 | 0 | 110.116 | 31.76 | 965.358 | 30.654 | -0.2882
2019-06-15 13:00:00 | 0 | 223.393 | 2.1497 | 253.635 | 2.661 | 223.806 | 0.75133 | 40.5881 | 31.74 | 965.358 | 32.2548 | -0.28081
2019-06-15 13:15:00 | 0 | 307.219 | 4.195 | 6.9939 | 3.428 | 271.252 | 4.4507 | 128.379 | 32.34 | 965.209 | 28.6104 | 0.30667
2019-06-15 13:30:00 | 0 | 274.875 | 4.962 | 328.586 | 4.4507 | 291.169 | 1.007 | 92.8006 | 32.12 | 965.506 | 28.8147 | 1.5038
2019-06-15 13:45:00 | 0 | 257.147 | 4.7063 | 299.33 | 3.6837 | 241.948 | 0 | 77.7715 | 31.89 | 965.354 | 26.9074 | 2.6344
2019-06-15 14:00:00 | 0.744 | 249.924 | 5.729 | 300.035 | 2.4053 | 236.598 | 4.7063 | 84.4349 | 33.01 | 965.358 | 26.9414 | 3.7724
2019-06-15 14:15:00 | 0 | 244.696 | 5.9847 | 300.619 | 6.2403 | 254.861 | 3.0523 | 70.792 | 32.58 | 965.092 | 26.4305 | 2.8524
2019-06-15 14:30:00 | 0 | 236.014 | 4.4507 | 293.834 | 4.195 | 245.45 | 0 | 41.5608 | 32.4 | 964.947 | 26.0559 | 5.3538
2019-06-15 14:45:00 | 0 | 243.601 | 2.4053 | 249.258 | 1.894 | 190.319 | 0 | 89.8823 | 32.97 | 964.979 | 25.1703 | 2.9854
2019-06-15 15:00:00 | 0 | 244.477 | 4.4507 | 290.794 | 4.962 | 236.379 | 0 | 67.4847 | 32.67 | 964.725 | 24.9319 | 2.2391
2019-06-15 15:15:00 | 0 | 242.456 | 3.9393 | 303.899 | 5.2177 | 266.483 | 3.1723 | 77.8437 | 33.04 | 964.816 | 24.3186 | 1.4558
2019-06-15 15:30:00 | 0 | 230.542 | 4.4507 | 260.177 | 3.9393 | 205.445 | 0.887 | 46.0111 | 32.97 | 964.127 | 23.5013 | 0.45816
2019-06-15 15:45:00 | 0 | 207.926 | 4.4507 | 244.54 | 4.195 | 217.24 | 4.7063 | 24.0513 | 32.89 | 964.114 | 24.455 | 0.096066
2019-06-15 16:00:00 | 0 | 228.694 | 2.4053 | 257.672 | 3.6837 | 236.792 | 3.6837 | 34.5084 | 33.13 | 964.274 | 24.6594 | 0.10715
2019-06-15 16:15:00 | 0 | 238.276 | 4.4507 | 287.025 | 4.962 | 248.733 | 0 | 57.0519 | 33.25 | 964.42 | 23.1948 | 0.20691
2019-06-15 16:30:00 | 0 | 180.786 | 3.9393 | 232.526 | 3.6837 | 171.545 | 4.962 | 3.3803 | 33.19 | 964.261 | 22.4796 | 0.025864
2019-06-15 16:45:00 | 0 | 189.079 | 4.4507 | 222.604 | 4.4507 | 196.69 | 0 | 8.6332 | 33.57 | 963.743 | 23.842 | 0.081287
2019-06-15 17:00:00 | 0 | 202.867 | 5.729 | 231.602 | 3.428 | 195.718 | 0 | 23.5892 | 33.15 | 964.106 | 22.9564 | 0.16257
2019-06-15 17:15:00 | 0 | 200.776 | 3.428 | 248.917 | 2.9167 | 203.937 | 0 | 17.4123 | 33 | 963.721 | 24.6594 | 0.24016
2019-06-15 17:30:00 | 0 | 191.559 | 3.9393 | 258.037 | 3.9393 | 202.551 | 0 | 5.7392 | 32.82 | 963.394 | 24.9319 | -0.077592
2019-06-15 17:45:00 | 0 | 149.317 | 3.1723 | 196.656 | 2.661 | 150.606 | 0 | 336.572 | 32.43 | 963.578 | 26.2262 | -0.24016
2019-06-15 18:00:00 | 0 | 198.393 | 2.4053 | 242.011 | 2.4053 | 185.042 | 0 | 24.8052 | 32.55 | 963.431 | 24.9319 | -0.19583
2019-06-15 18:15:00 | 0 | 195.62 | 1.894 | 240.017 | 1.3827 | 177.746 | 0 | 8.3657 | 32.44 | 963.282 | 25.6812 | -0.2882
2019-06-15 18:30:00 | 0 | 159.213 | 3.1723 | 189.267 | 1.6383 | 158.483 | 0 | 343.72 | 32.1 | 963.431 | 27.7626 | -0.22539
2019-06-15 18:45:00 | 0 | 180.504 | 2.4053 | 220.729 | 1.6383 | 161.021 | 0 | 3.989 | 31.85 | 963.134 | 27.6279 | 0.30667
2019-06-15 19:00:00 | 0 | 171.748 | 3.1723 | 216.993 | 2.661 | 157.59 | 0 | 356.827 | 31.91 | 963.282 | 26.9844 | 0.28081
2019-06-15 19:15:00 | 0 | 173.306 | 3.6837 | 203.225 | 2.4053 | 148.76 | 0 | 1.8245 | 31.75 | 963.282 | 27.3254 | 0.66877
2019-06-15 19:30:00 | 0 | 148.541 | 6.2403 | 191.913 | 4.962 | 167.711 | 2.9167 | 351.453 | 31.59 | 962.986 | 28.6882 | 13.4936
2019-06-15 19:45:00 | 0.372 | 187.221 | 5.4733 | 228.671 | 7.263 | 194.106 | 2.1497 | 356.611 | 30.93 | 962.838 | 30.1874 | 17.9089
2019-06-15 20:00:00 | 0.372 | 162.043 | 5.2177 | 191.305 | 4.4507 | 161.726 | 3.1723 | 350.724 | 30.79 | 963.134 | 31.2095 | 15.4075
2019-06-15 20:15:00 | 0 | 156.593 | 7.0073 | 202.179 | 6.2403 | 150.268 | 1.007 | 336.492 | 30.63 | 963.134 | 32.1295 | 16.6416
2019-06-15 20:30:00 | 3.6693 | 169.389 | 5.9847 | 206.801 | 5.2177 | 174.644 | 4.962 | 351.721 | 30.33 | 963.431 | 31.891 | 16.1723
2019-06-15 20:45:00 | 4.946 | 173.087 | 6.496 | 207.629 | 6.2403 | 160.607 | 3.428 | 0.5352 | 30.21 | 963.431 | 32.2317 | 18.9213
2019-06-15 21:00:00 | 5.34 | 173.355 | 4.962 | 235.434 | 5.2177 | 174.547 | 0.75133 | 348.704 | 30.28 | 963.431 | 32.0273 | 21.6259
2019-06-15 21:15:00 | 0 | 164.013 | 5.9847 | 226.433 | 6.496 | 198.582 | 5.729 | 342.233 | 30.6 | 963.431 | 29.8467 | 24.4229
2019-06-15 21:30:00 | 0 | 181.212 | 5.9847 | 222.809 | 6.496 | 190.067 | 2.9167 | 3.6004 | 30.56 | 963.431 | 31.9591 | 26.965
2019-06-15 21:45:00 | 0 | 168.806 | 5.4733 | 219.378 | 5.9847 | 163.113 | 5.2177 | 352.207 | 30.11 | 963.431 | 33.3901 | 28.1621
2019-06-15 22:00:00 | 2.276 | 197.658 | 9.564 | 227.917 | 8.5413 | 185.007 | 2.0297 | 4.9384 | 29.78 | 962.986 | 32.9813 | 26.1669
2019-06-15 22:15:00 | 0.372 | 155.869 | 6.7517 | 205.934 | 6.7517 | 156.477 | 2.661 | 347.89 | 29.33 | 963.441 | 34.5498 | 22.4573
2019-06-15 22:30:00 | 7.7547 | 167.471 | 7.5187 | 219.735 | 5.9847 | 168.907 | 1.007 | 356.792 | 29.15 | 963.485 | 35.5085 | 21.4744
2019-06-15 22:45:00 | 0 | 148.291 | 5.2177 | 201.512 | 5.4733 | 163.159 | 5.729 | 334.592 | 28.71 | 963.687 | 37.1826 | 21.4707
2019-06-15 23:00:00 | 0 | 146.448 | 7.263 | 187.09 | 7.0073 | 162.801 | 5.2177 | 345.045 | 28.35 | 963.872 | 36.6046 | 29.5809
2019-06-15 23:15:00 | 0 | 153.109 | 6.496 | 200.562 | 6.2403 | 171.408 | 5.9847 | 354.058 | 28.7 | 963.724 | 36.6031 | 23.1482
2019-06-15 23:30:00 | 0 | 133.402 | 6.2403 | 190.348 | 5.4733 | 147.516 | 5.2177 | 322.092 | 28.5 | 963.873 | 39.6715 | 22.4536
2019-06-15 23:45:00 | 0 | 131.768 | 4.7063 | 196.012 | 3.9393 | 138.533 | 0 | 333.302 | 27.75 | 963.428 | 42.8741 | 33.091