## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-16 00:00:00 | 0 | 129.508 | 5.9847 | 180.321 | 6.496 | 109.943 | 5.2177 | 318.076 | 27.97 | 963.28 | 40.9664 | 33.4864
2019-06-16 00:15:00 | 0 | 140.999 | 6.2403 | 190.355 | 5.2177 | 140.78 | 4.962 | 323.806 | 27.09 | 963.131 | 42.3312 | 33.7265
2019-06-16 00:30:00 | 2.276 | 130.024 | 7.263 | 180.45 | 5.729 | 135.548 | 5.2177 | 313.999 | 27.05 | 963.28 | 42.9448 | 46.411
2019-06-16 00:45:00 | 0.62733 | 126.714 | 5.4733 | 174.975 | 5.2177 | 135.913 | 4.4507 | 312.807 | 26.97 | 962.983 | 43.5583 | 52.707
2019-06-16 01:00:00 | 1.2547 | 133.601 | 7.5187 | 191.864 | 7.5187 | 144.26 | 5.2177 | 323.101 | 26.74 | 963.28 | 45.3647 | 53.1208
2019-06-16 01:15:00 | 3.414 | 127.371 | 7.7743 | 177.311 | 7.5187 | 145.404 | 2.9167 | 314.827 | 26.33 | 963.28 | 47.6483 | 46.3334
2019-06-16 01:30:00 | 6.478 | 142.703 | 7.0073 | 183.03 | 6.496 | 134.623 | 6.496 | 307.964 | 25.87 | 963.06 | 47.4438 | 50.4199
2019-06-16 01:45:00 | 3.1587 | 151.853 | 6.7517 | 210.943 | 6.2403 | 135.013 | 5.729 | 298.546 | 25.6 | 962.89 | 46.3872 | 55.5409
2019-06-16 02:00:00 | 1.3933 | 125.6 | 8.797 | 196.254 | 7.5187 | 155.048 | 5.729 | 315.741 | 25.55 | 963.073 | 47.7185 | 58.5855
2019-06-16 02:15:00 | 0 | 115.854 | 2.9167 | 217.307 | 2.1497 | 171.445 | 0 | 342.136 | 25.36 | 963.128 | 47.5193 | 48.602
2019-06-16 02:30:00 | 0 | 137.956 | 7.7743 | 181.02 | 7.5187 | 126.079 | 5.729 | 330.166 | 25.39 | 963.128 | 46.5655 | 37.5914
2019-06-16 02:45:00 | 0 | 147.79 | 5.4733 | 204.775 | 6.7517 | 162.418 | 4.195 | 302.419 | 25.03 | 963.123 | 46.6678 | 36.9669
2019-06-16 03:00:00 | 3.2973 | 127.953 | 8.03 | 188.006 | 8.5413 | 140.269 | 5.4733 | 315.659 | 24.83 | 962.98 | 46.6337 | 37.111
2019-06-16 03:15:00 | 2.5313 | 114.566 | 7.263 | 183.381 | 5.4733 | 128.853 | 5.729 | 315.002 | 25.05 | 963.573 | 46.9064 | 41.6483
2019-06-16 03:30:00 | 0.372 | 150.37 | 6.2403 | 186.886 | 5.9847 | 154.337 | 4.7063 | 311.108 | 25.08 | 963.276 | 45.4065 | 46.895
2019-06-16 03:45:00 | 4.946 | 145.526 | 8.03 | 182.87 | 7.263 | 127.636 | 4.962 | 328.73 | 24.43 | 963.128 | 46.2246 | 51.6835
2019-06-16 04:00:00 | 6.9887 | 113.812 | 7.5187 | 172.331 | 4.4507 | 126.444 | 1.774 | 306.897 | 24.67 | 963.128 | 45.8837 | 54.1184
2019-06-16 04:15:00 | 0 | 96.6769 | 1.3827 | 120.926 | 1.3827 | 140.293 | 0 | 232.443 | 24.6 | 963.722 | 44.5885 | 54.3586
2019-06-16 04:30:00 | 0 | 127.638 | 5.729 | 191.367 | 6.2403 | 159.499 | 3.308 | 306.122 | 24.53 | 963.425 | 44.7253 | 59.8528
2019-06-16 04:45:00 | 3.1587 | 143.098 | 7.5187 | 181.32 | 7.0073 | 114.887 | 4.4507 | 321.002 | 24.32 | 963.128 | 45.8173 | 69.149
2019-06-16 05:00:00 | 3.414 | 111.486 | 6.496 | 191.094 | 5.9847 | 116.55 | 2.661 | 287.09 | 24.16 | 963.276 | 44.8657 | 63.6326
2019-06-16 05:15:00 | 0 | 166.818 | 4.962 | 234.888 | 4.962 | 165.065 | 0 | 314.454 | 24.22 | 963.425 | 44.389 | 63.8617
2019-06-16 05:30:00 | 0 | 132.15 | 8.2857 | 214.7 | 6.496 | 138.04 | 2.7967 | 315.027 | 24.31 | 963.87 | 45.2055 | 62.8789
2019-06-16 05:45:00 | 3.9247 | 144.536 | 9.3083 | 201.964 | 9.8197 | 135.846 | 3.6837 | 328.358 | 24.28 | 963.722 | 44.9999 | 61.3825
2019-06-16 06:00:00 | 3.042 | 149.301 | 6.496 | 207.627 | 7.0073 | 131.923 | 2.661 | 305.491 | 24.59 | 963.87 | 44.5551 | 59.6089
2019-06-16 06:15:00 | 3.6693 | 134.525 | 10.0753 | 188.541 | 9.8197 | 130.509 | 2.7967 | 314.637 | 24.16 | 964.018 | 44.2475 | 57.1962
2019-06-16 06:30:00 | 6.7333 | 132.796 | 7.7743 | 177.515 | 7.0073 | 130.655 | 3.1723 | 313.761 | 24.21 | 964.463 | 45.4747 | 54.9239
2019-06-16 06:45:00 | 4.4353 | 142.605 | 9.564 | 192.241 | 10.0753 | 137.153 | 3.1723 | 319.919 | 24.22 | 964.612 | 45.3383 | 44.8517
2019-06-16 07:00:00 | 8.01 | 142.824 | 7.5187 | 200.005 | 6.7517 | 150.126 | 5.2177 | 326.052 | 24.32 | 965.056 | 45.3383 | 46.3038
2019-06-16 07:15:00 | 1.2547 | 159.424 | 4.4507 | 213.416 | 5.9847 | 135.961 | 5.9847 | 332.892 | 24.55 | 965.193 | 45.3383 | 46.6955
2019-06-16 07:30:00 | 3.9247 | 158.243 | 6.496 | 202.105 | 5.2177 | 173.162 | 0.37567 | 330.188 | 24.77 | 965.324 | 45.2666 | 42.1397
2019-06-16 07:45:00 | 0 | 160.589 | 3.9393 | 233.867 | 2.661 | 177.454 | 0 | 312.053 | 24.77 | 965.109 | 45.6715 | 37.4399
2019-06-16 08:00:00 | 0 | 153.994 | 8.03 | 185.78 | 5.9847 | 151.001 | 4.4507 | 321.446 | 24.79 | 965.099 | 46.8984 | 31.772
2019-06-16 08:15:00 | 0 | 120.119 | 4.4507 | 173.174 | 3.1723 | 140.512 | 4.195 | 299.788 | 25.4 | 965.21 | 46.4894 | 24.9698
2019-06-16 08:30:00 | 0.99933 | 137.106 | 6.496 | 187.727 | 5.9847 | 135.207 | 5.729 | 314.827 | 25.38 | 965.504 | 45.7737 | 16.734
2019-06-16 08:45:00 | 0 | 138.483 | 4.7063 | 202.507 | 3.9393 | 153.375 | 2.2853 | 324.684 | 25.61 | 965.949 | 44.714 | 11.0217
2019-06-16 09:00:00 | 0 | 138.408 | 4.7063 | 175.347 | 4.7063 | 149.211 | 4.195 | 331.2 | 26.2 | 966.026 | 43.2818 | 8.2469
2019-06-16 09:15:00 | 0 | 152.872 | 4.7063 | 188.459 | 5.4733 | 156.667 | 3.9393 | 319.829 | 26.95 | 966.1 | 42.5214 | 8.0732
2019-06-16 09:30:00 | 0 | 153.48 | 3.9393 | 188.726 | 1.6383 | 158.029 | 0 | 351.381 | 27.18 | 966.692 | 39.1823 | 7.5153
2019-06-16 09:45:00 | 0 | 140.009 | 4.4507 | 198.868 | 4.962 | 151.296 | 2.9167 | 311.835 | 27.36 | 966.396 | 40.6764 | 6.2665
2019-06-16 10:00:00 | 0 | 179.111 | 4.7063 | 242.586 | 4.7063 | 213.99 | 5.2177 | 4.7186 | 27.84 | 966.544 | 38.7662 | 4.1087
2019-06-16 10:15:00 | 0 | 198.585 | 4.7063 | 246.734 | 4.195 | 219.137 | 1.3827 | 8.1477 | 28.48 | 966.692 | 37.8108 | 1.9804
2019-06-16 10:30:00 | 0 | 140.234 | 4.7063 | 182.058 | 4.195 | 147.141 | 4.7063 | 335.287 | 28.43 | 966.692 | 37.1625 | 0.70202
2019-06-16 10:45:00 | 0 | 207.422 | 5.9847 | 251.342 | 6.2403 | 207.082 | 0 | 20.6255 | 28.67 | 966.692 | 36.5859 | 0.72049
2019-06-16 11:00:00 | 0 | 201.005 | 2.9167 | 276.107 | 2.4053 | 253.348 | 0 | 33.2981 | 28.93 | 966.692 | 33.7251 | 0.76114
2019-06-16 11:15:00 | 0 | 155.278 | 5.2177 | 205.084 | 5.729 | 179.746 | 0.37567 | 349.667 | 29.15 | 966.544 | 35.9734 | 1.1934
2019-06-16 11:30:00 | 0 | 150.997 | 3.1723 | 191.123 | 2.661 | 150.316 | 0.887 | 5.1078 | 29.21 | 966.84 | 35.4284 | 2.8635
2019-06-16 11:45:00 | 0 | 128.031 | 1.3827 | 187.539 | 2.1497 | 207.223 | 0 | 308.791 | 29.43 | 967.137 | 35.8698 | 2.8044
2019-06-16 12:00:00 | 0 | 134.912 | 4.962 | 183.329 | 4.7063 | 141.066 | 1.6383 | 324.013 | 29.75 | 966.84 | 34.2002 | 4.1456
2019-06-16 12:15:00 | 0 | 134.691 | 4.962 | 178.096 | 2.9167 | 125.522 | 4.7063 | 303.431 | 29.92 | 966.989 | 34.5402 | 3.5027
2019-06-16 12:30:00 | 0 | 173.65 | 7.263 | 216.617 | 8.797 | 188.705 | 1.6383 | 43.6314 | 30.3 | 966.544 | 33.0749 | 3.7355
2019-06-16 12:45:00 | 0 | 183.98 | 7.263 | 221.934 | 8.797 | 164.937 | 0 | 6.4204 | 30.23 | 966.248 | 31.5068 | 4.3082
2019-06-16 13:00:00 | 0 | 164.361 | 4.962 | 227.783 | 4.4507 | 186.445 | 0 | 351.22 | 30.48 | 966.396 | 30.0096 | 3.5581
2019-06-16 13:15:00 | 0 | 160.935 | 4.7063 | 205.97 | 7.0073 | 148.166 | 3.428 | 352.466 | 30.66 | 966.396 | 29.1244 | 7.6151
2019-06-16 13:30:00 | 0 | 202.443 | 6.2403 | 268.367 | 5.2177 | 215.576 | 1.1427 | 34.8755 | 31.5 | 966.84 | 25.206 | 11.2619
2019-06-16 13:45:00 | 2.1593 | 223.928 | 7.0073 | 184.521 | 7.263 | 157.927 | 1.5183 | 58.5598 | 31.48 | 966.396 | 26.2943 | 13.2719
2019-06-16 14:00:00 | 1.2547 | 236.452 | 6.7517 | 289.87 | 4.962 | 238.835 | 3.9393 | 65.8067 | 31.57 | 966.989 | 25.7493 | 12.0046
2019-06-16 14:15:00 | 6.9887 | 229.472 | 7.5187 | 264.287 | 7.263 | 213.325 | 2.1497 | 47.0569 | 31.74 | 967.137 | 25.5109 | 16.3423
2019-06-16 14:30:00 | 0 | 170.572 | 5.9847 | 205.265 | 8.03 | 166.511 | 0.75133 | 21.9599 | 31.86 | 966.84 | 27.248 | 15.3595
2019-06-16 14:45:00 | 0 | 231.418 | 6.496 | 266.573 | 7.0073 | 209.823 | 1.007 | 53.4284 | 31.79 | 967.137 | 28.0654 | 16.2278
2019-06-16 15:00:00 | 0.88267 | 220.207 | 7.263 | 225.887 | 7.7743 | 188.082 | 4.962 | 67.9467 | 31.84 | 966.689 | 25.5109 | 16.2167
2019-06-16 15:15:00 | 0 | 128.768 | 4.4507 | 256.918 | 6.2403 | 260.965 | 0 | 21.9356 | 31.66 | 966.69 | 25.4768 | 14.6759
2019-06-16 15:30:00 | 0 | 211.987 | 5.4733 | 208.791 | 4.4507 | 197.736 | 5.9847 | 32.0279 | 31.74 | 966.686 | 24.9319 | 16.2388
2019-06-16 15:45:00 | 1.6487 | 230.761 | 4.962 | 264.992 | 5.2177 | 210.552 | 3.9393 | 66.4633 | 31.48 | 966.543 | 26.0218 | 13.5379
2019-06-16 16:00:00 | 0 | 238.349 | 6.2403 | 294.491 | 7.263 | 240.61 | 0.37567 | 68.4331 | 31.7 | 966.543 | 26.2602 | 14.6353
2019-06-16 16:15:00 | 0 | 267.41 | 4.962 | 324.038 | 3.428 | 288.324 | 0 | 113.034 | 30.99 | 966.099 | 27.7248 | 11.8974
2019-06-16 16:30:00 | 0 | 260.114 | 5.729 | 311.854 | 5.2177 | 245.255 | 0.75133 | 77.6013 | 31.14 | 966.247 | 28.2016 | 13.3975
2019-06-16 16:45:00 | 0 | 246.812 | 6.2403 | 287.292 | 8.03 | 246.495 | 2.1497 | 62.5723 | 30.95 | 966.395 | 29.0191 | 12.1487
2019-06-16 17:00:00 | 0 | 265.659 | 4.962 | 323.138 | 4.4507 | 272.371 | 0 | 89.858 | 30.88 | 966.395 | 27.1798 | 9.5512
2019-06-16 17:15:00 | 0 | 267.021 | 3.6837 | 303.733 | 4.195 | 245.985 | 0 | 79.7415 | 30.78 | 966.099 | 28.6104 | 8.0991
2019-06-16 17:30:00 | 0 | 259.927 | 5.729 | 300.531 | 5.2177 | 252.825 | 0 | 84.2184 | 30.69 | 966.247 | 28.6452 | 5.0065
2019-06-16 17:45:00 | 0 | 249.549 | 4.7063 | 291.304 | 4.7063 | 248.284 | 1.007 | 72.8945 | 30.51 | 965.951 | 28.1378 | 4.7442
2019-06-16 18:00:00 | 0 | 251.8 | 3.428 | 305.647 | 2.661 | 262.94 | 0 | 86.7873 | 30.55 | 965.802 | 29.025 | 4.7109
2019-06-16 18:15:00 | 0 | 257.155 | 2.661 | 314.319 | 2.661 | 271.873 | 0 | 94.3868 | 30.39 | 965.654 | 29.0283 | 4.1271
2019-06-16 18:30:00 | 0 | 256.675 | 4.962 | 306.08 | 4.7063 | 265.433 | 0 | 71.9351 | 30.24 | 965.654 | 29.3015 | 3.6062
2019-06-16 18:45:00 | 0 | 256.213 | 4.962 | 290.608 | 4.195 | 233.905 | 2.9167 | 80.8632 | 30.01 | 965.654 | 29.8467 | 1.8622
2019-06-16 19:00:00 | 0 | 242.687 | 3.6837 | 278.542 | 3.1723 | 246.969 | 0 | 72.2271 | 29.85 | 965.358 | 29.5741 | 0.90154
2019-06-16 19:15:00 | 0 | 291.341 | 2.4053 | 331.624 | 1.894 | 301.291 | 0 | 94.1458 | 29.52 | 965.358 | 32.1635 | 0.45077
2019-06-16 19:30:00 | 0 | 290.893 | 1.127 | 335.562 | 0.37567 | 335.855 | 0 | 118.902 | 29.28 | 965.269 | 33.1219 | 0.33623
2019-06-16 19:45:00 | 0 | 300.766 | 1.6383 | 22.4382 | 1.3827 | 334.444 | 0 | 112.422 | 29.05 | 965.627 | 35.8532 | 0.022169
2019-06-16 20:00:00 | 0 | 15.6711 | 2.4053 | 56.1653 | 2.4053 | 11.875 | 0 | 199.32 | 28.84 | 965.504 | 38.3073 | 0.31037
2019-06-16 20:15:00 | 0 | 264.919 | 0.75133 | 1.3162 | 0 | 2.336 | 0 | 56.6242 | 27.82 | 965.504 | 36.7389 | -0.20322
2019-06-16 20:30:00 | 0 | 188.548 | 1.127 | 92.9148 | 1.6383 | 23.313 | 0 | 7.6899 | 27.57 | 965.504 | 38.1727 | -0.23647
2019-06-16 20:45:00 | 0 | 127.761 | 2.9167 | 182.568 | 1.894 | 95.492 | 0 | 322.006 | 28.15 | 965.949 | 34.9693 | -0.31406
2019-06-16 21:00:00 | 0 | 161.976 | 4.195 | 206.222 | 3.1723 | 152.047 | 0 | 347.971 | 28.11 | 965.652 | 35.7191 | 0.0073897
2019-06-16 21:15:00 | 0 | 166.77 | 4.195 | 212.354 | 3.1723 | 159.007 | 0 | 348.288 | 28.22 | 966.245 | 35.3783 | 0.72789
2019-06-16 21:30:00 | 0 | 175.117 | 6.2403 | 213.571 | 6.2403 | 166.259 | 0.75133 | 0.24335 | 28.12 | 966.097 | 39.775 | 1.4816
2019-06-16 21:45:00 | 0 | 166.551 | 4.195 | 189.917 | 2.9167 | 143.919 | 0 | 12.8491 | 27.97 | 966.69 | 40.3545 | 0.73897
2019-06-16 22:00:00 | 0 | 154.968 | 4.4507 | 194.054 | 3.9393 | 145.209 | 0.63133 | 341.693 | 27.53 | 966.245 | 44.3422 | 0.94219
2019-06-16 22:15:00 | 0 | 158.569 | 4.962 | 197.461 | 4.195 | 156.233 | 3.428 | 347.655 | 27.4 | 966.393 | 45.8759 | 1.7698
2019-06-16 22:30:00 | 0 | 165.091 | 4.962 | 205.078 | 4.7063 | 143.506 | 3.9393 | 347.704 | 27.03 | 966.245 | 47.1711 | 1.526
2019-06-16 22:45:00 | 0 | 151.755 | 3.6837 | 204.956 | 1.3827 | 254.889 | 1.5183 | 335.22 | 26.45 | 966.567 | 50.9884 | 2.1689
2019-06-16 23:00:00 | 0 | 161.1 | 3.428 | 197.461 | 3.6837 | 144.747 | 0.37567 | 339.332 | 26.09 | 965.994 | 50.5794 | 1.707
2019-06-16 23:15:00 | 0 | 155.138 | 4.962 | 192.642 | 4.7063 | 144.844 | 3.428 | 345.733 | 25.8 | 966.144 | 51.6019 | 1.8437
2019-06-16 23:30:00 | 0 | 160.185 | 4.4507 | 195.064 | 3.428 | 138.744 | 0.37567 | 347.626 | 25.91 | 966.229 | 52.3547 | 2.4386
2019-06-16 23:45:00 | 0 | 162.873 | 4.7063 | 202.235 | 4.7063 | 152.359 | 1.3827 | 345.339 | 26.17 | 966.837 | 52.6312 | 2.3647