## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-17 00:00:00 | 0 | 169.397 | 4.195 | 206.131 | 4.4507 | 153.966 | 0 | 351.499 | 26.21 | 966.656 | 52.4952 | 1.8179
2019-06-17 00:15:00 | 0 | 181.959 | 2.661 | 196.423 | 1.894 | 146.448 | 0 | 354.766 | 25.34 | 966.687 | 55.2913 | 0.98652
2019-06-17 00:30:00 | 0 | 154.605 | 3.9393 | 194.675 | 3.1723 | 141.072 | 0 | 348.737 | 25.28 | 966.235 | 54.3378 | 1.2784
2019-06-17 00:45:00 | 0 | 143.019 | 4.4507 | 180.898 | 3.6837 | 150.564 | 0 | 334.644 | 25.33 | 966.391 | 54.4742 | 3.1369
2019-06-17 01:00:00 | 0 | 155.87 | 5.2177 | 195.989 | 4.4507 | 140.123 | 0.75133 | 331.456 | 25.45 | 966.54 | 55.4968 | 4.2638
2019-06-17 01:15:00 | 0 | 151.294 | 5.2177 | 196.451 | 5.4733 | 148.544 | 3.428 | 333.5 | 25.43 | 966.243 | 56.1104 | 6.2221
2019-06-17 01:30:00 | 0 | 173.638 | 3.9393 | 204.678 | 3.9393 | 154.678 | 0.63133 | 78.4463 | 25.26 | 966.391 | 56.6559 | 7.5375
2019-06-17 01:45:00 | 0 | 162.71 | 5.2177 | 211.834 | 5.4733 | 177.094 | 0 | 344.526 | 25.23 | 965.947 | 56.724 | 5.7603
2019-06-17 02:00:00 | 0 | 157.136 | 3.428 | 213.513 | 3.9393 | 156.333 | 0.37567 | 315.854 | 25.25 | 966.391 | 57.2013 | 3.2884
2019-06-17 02:15:00 | 0 | 145.112 | 5.4733 | 203.778 | 4.195 | 150.126 | 1.894 | 337.443 | 25.07 | 966.095 | 57.7808 | 5.7713
2019-06-17 02:30:00 | 0 | 163.927 | 4.7063 | 202.098 | 4.7063 | 151.1 | 0.37567 | 341.532 | 24.78 | 965.947 | 58.7012 | 5.5607
2019-06-17 02:45:00 | 0 | 199.097 | 2.1497 | 265.551 | 1.894 | 260.579 | 0 | 354.578 | 23.33 | 966.391 | 62.9282 | 0.15149
2019-06-17 03:00:00 | 0 | 153.469 | 1.127 | 164.211 | 0 | 305.136 | 0 | 339.018 | 21.06 | 965.65 | 74.2496 | 0.218
2019-06-17 03:15:00 | 0 | 31.1599 | 2.661 | 59.3603 | 1.894 | 353.713 | 0 | 272.99 | 19.08 | 965.353 | 80.5318 | 2.8487
2019-06-17 03:30:00 | 1.7653 | 14.2191 | 3.9393 | 56.5493 | 3.428 | 5.673 | 0 | 293.78 | 18.5 | 964.908 | 83.2051 | 3.403
2019-06-17 03:45:00 | 0 | 355.12 | 3.1723 | 57.1948 | 2.1497 | 3.1657 | 0.75133 | 164.228 | 18.2 | 965.047 | 85.3332 | 7.4266
2019-06-17 04:00:00 | 0.372 | 25.2286 | 5.4733 | 69.2256 | 4.962 | 23.6701 | 4.7063 | 218.218 | 17.78 | 964.906 | 85.6071 | 4.8181
2019-06-17 04:15:00 | 0 | 36.8264 | 4.4507 | 64.467 | 4.4507 | 14.4675 | 4.7063 | 277.343 | 17.63 | 964.851 | 85.6898 | 2.8783
2019-06-17 04:30:00 | 0 | 7.112 | 4.195 | 42.9362 | 5.9847 | 353.31 | 5.4733 | 193.412 | 17.58 | 965.319 | 85.9969 | 5.9376
2019-06-17 04:45:00 | 0 | 10.1809 | 4.962 | 54.6272 | 4.7063 | 5.675 | 3.9393 | 201.62 | 17.39 | 965.05 | 85.8264 | 4.4745
2019-06-17 05:00:00 | 0 | 123.827 | 3.428 | 101.513 | 3.6837 | 29.4222 | 0 | 300.238 | 17.2 | 965.052 | 86.0993 | 2.2169
2019-06-17 05:15:00 | 0 | 131.255 | 4.195 | 175.41 | 3.1723 | 44.8154 | 0 | 309.007 | 17.55 | 965.2 | 86.3041 | 0.83873
2019-06-17 05:30:00 | 0 | 111.064 | 4.195 | 153.562 | 2.661 | 74.7977 | 0 | 304.695 | 19.72 | 965.052 | 76.2067 | 1.3966
2019-06-17 05:45:00 | 0 | 121.001 | 3.9393 | 142.358 | 1.6383 | 33.5628 | 0 | 304.963 | 20.03 | 965.685 | 79.004 | 1.005
2019-06-17 06:00:00 | 0 | 118.98 | 5.2177 | 159.992 | 2.9167 | 56.4088 | 0 | 295.903 | 18.79 | 965.369 | 77.8441 | 0.86459
2019-06-17 06:15:00 | 0 | 131.626 | 5.4733 | 170.73 | 4.7063 | 120.984 | 0 | 315.927 | 22.44 | 966.094 | 67.1233 | 2.6529
2019-06-17 06:30:00 | 0 | 120.622 | 3.428 | 181.312 | 2.9167 | 141.245 | 0 | 314.216 | 23.06 | 966.362 | 66.8386 | 2.2021
2019-06-17 06:45:00 | 0 | 134.087 | 3.6837 | 185.975 | 2.661 | 138.566 | 0 | 311.263 | 22.98 | 966.689 | 67.3723 | 1.7772
2019-06-17 07:00:00 | 0 | 130.437 | 3.6837 | 190.149 | 2.4053 | 147.791 | 0 | 320.53 | 22.79 | 966.985 | 67.3944 | 1.2858
2019-06-17 07:15:00 | 0 | 134.822 | 1.127 | 184.593 | 0 | 25.4069 | 0 | 318.9 | 23.15 | 967.197 | 63.9419 | 0.60965
2019-06-17 07:30:00 | 0 | 153.727 | 1.6383 | 175.559 | 0 | 58.7943 | 0 | 323.539 | 22.29 | 967.136 | 65.167 | 0.17366
2019-06-17 07:45:00 | 0 | 135.491 | 0.75133 | 125.127 | 1.894 | 10.7069 | 0 | 321.791 | 22.27 | 966.987 | 66.2534 | -0.011085
2019-06-17 08:00:00 | 0 | 137.736 | 3.9393 | 184.876 | 2.9167 | 105.614 | 0 | 320.857 | 23.19 | 967.135 | 64.348 | -0.048033
2019-06-17 08:15:00 | 0 | 144.194 | 4.4507 | 178.641 | 3.1723 | 130.327 | 5.729 | 317.34 | 24.76 | 967.76 | 62.4906 | 0.61704
2019-06-17 08:30:00 | 0 | 154.793 | 5.729 | 194.541 | 5.729 | 151.266 | 3.9393 | 333.135 | 25.54 | 967.433 | 61.6014 | 1.7735
2019-06-17 08:45:00 | 0 | 145.525 | 6.2403 | 201.474 | 6.2403 | 161.824 | 4.195 | 320.412 | 25.65 | 967.582 | 60.5111 | 3.4731
2019-06-17 09:00:00 | 0 | 147.69 | 4.7063 | 189.018 | 5.4733 | 142.8 | 1.1427 | 322.529 | 26.08 | 967.73 | 59.2164 | 1.7624
2019-06-17 09:15:00 | 0 | 296.499 | 3.428 | 18.735 | 3.428 | 294.601 | 0 | 123.363 | 26.61 | 968.323 | 58.3646 | -0.25125
2019-06-17 09:30:00 | 0 | 212.198 | 5.729 | 227.374 | 3.9393 | 179.917 | 0 | 16.1527 | 26.77 | 967.73 | 55.603 | -0.35101
2019-06-17 09:45:00 | 0 | 328.288 | 3.1723 | 10.6736 | 3.6837 | 322.936 | 0.37567 | 119.8 | 25.42 | 967.73 | 58.4613 | -0.018474
2019-06-17 10:00:00 | 0 | 325.225 | 4.195 | 19.6595 | 2.9167 | 314.499 | 0 | 144.285 | 26.72 | 968.175 | 54.8464 | -0.24755
2019-06-17 10:15:00 | 0 | 268.668 | 2.4053 | 336.253 | 1.894 | 302.184 | 0 | 112.565 | 26.59 | 968.323 | 55.1858 | -0.218
2019-06-17 10:30:00 | 0 | 324.293 | 2.1497 | 57.1883 | 1.894 | 291.195 | 0 | 261.623 | 28.58 | 968.471 | 50.7496 | -0.218
2019-06-17 10:45:00 | 0 | 342.579 | 1.3827 | 15.4281 | 0 | 303.353 | 0 | 145.232 | 29.69 | 969.064 | 46.4237 | -0.26233
2019-06-17 11:00:00 | 0 | 281.125 | 2.661 | 328.148 | 3.428 | 292.434 | 0 | 116.706 | 28.82 | 968.64 | 48.6376 | -0.2882
2019-06-17 11:15:00 | 0 | 180.373 | 3.6837 | 235.737 | 2.661 | 199.998 | 0 | 44.9412 | 29.61 | 968.65 | 44.5504 | -0.29928
2019-06-17 11:30:00 | 0 | 233.801 | 0 | 317.253 | 1.894 | 266.34 | 0 | 320.108 | 30.03 | 968.658 | 46.1512 | -0.16627
2019-06-17 11:45:00 | 0 | 211.695 | 4.962 | 220.683 | 5.729 | 177.381 | 5.4733 | 63.3748 | 30.3 | 968.252 | 46.7643 | 0.39535
2019-06-17 12:00:00 | 0 | 144.162 | 6.496 | 190.99 | 7.0073 | 156.808 | 2.4053 | 318.99 | 29.88 | 968.141 | 44.0736 | 1.356
2019-06-17 12:15:00 | 0 | 186.331 | 3.9393 | 225.255 | 4.7063 | 186.525 | 5.729 | 356.806 | 30.44 | 968.174 | 43.1199 | 1.4262
2019-06-17 12:30:00 | 0 | 178.597 | 3.428 | 259.569 | 3.9393 | 191.632 | 0 | 331.125 | 29.97 | 968.174 | 42.4387 | 0.63921
2019-06-17 12:45:00 | 0 | 197.761 | 3.428 | 245.294 | 4.195 | 201.822 | 0 | 351.164 | 30.49 | 968.174 | 41.5191 | 0.61334
2019-06-17 13:00:00 | 0 | 213.325 | 3.6837 | 253.319 | 5.2177 | 178.865 | 0.75133 | 343.892 | 30.85 | 967.878 | 41.0082 | 0.41752
2019-06-17 13:15:00 | 0 | 197.371 | 2.4053 | 288.265 | 3.428 | 201.068 | 0 | 55.5685 | 30.92 | 967.729 | 38.624 | 0.53206
2019-06-17 13:30:00 | 0 | 130.908 | 4.962 | 182.332 | 3.9393 | 134.361 | 4.7063 | 310.186 | 31.22 | 967.878 | 38.658 | 1.4225
2019-06-17 13:45:00 | 0 | 162.036 | 7.7743 | 224.647 | 6.2403 | 195.864 | 0 | 10.1166 | 31.37 | 968.322 | 35.3883 | 0.3547
2019-06-17 14:00:00 | 0 | 205.907 | 6.7517 | 252.468 | 7.0073 | 195.937 | 1.654 | 26.848 | 31.6 | 967.729 | 33.3106 | 0.46186
2019-06-17 14:15:00 | 0 | 178.014 | 3.6837 | 200.523 | 4.4507 | 159.969 | 3.308 | 19.6496 | 31.71 | 968.026 | 34.4687 | 0.19213
2019-06-17 14:30:00 | 0 | 115.563 | 3.428 | 153.879 | 4.195 | 94.4299 | 0 | 296.154 | 31.57 | 967.581 | 34.3324 | -0.029559
2019-06-17 14:45:00 | 0 | 207.829 | 0.75133 | 235.25 | 0 | 205.153 | 0 | 6.6147 | 31.5 | 968.026 | 33.2425 | -0.11454
2019-06-17 15:00:00 | 0 | 331.879 | 1.894 | 13.0249 | 1.6383 | 318.114 | 0 | 155.203 | 32.14 | 967.724 | 41.6213 | -0.10346
2019-06-17 15:15:00 | 0 | 225.849 | 2.4053 | 240.454 | 4.195 | 167.702 | 0 | 60.0918 | 31.69 | 967.245 | 34.4006 | -0.26603
2019-06-17 15:30:00 | 0 | 73.0537 | 3.1723 | 78.5398 | 3.1723 | 40.8556 | 0 | 15.6613 | 31.52 | 966.923 | 41.3488 | -0.018474
2019-06-17 15:45:00 | 0 | 1.9941 | 2.4053 | 63.754 | 1.6383 | 39.2992 | 0 | 199.584 | 30.53 | 966.964 | 43.3583 | 0.7907
2019-06-17 16:00:00 | 0 | 1.3619 | 5.729 | 55.7531 | 4.962 | 12.5485 | 0 | 186.331 | 30.23 | 966.985 | 45.436 | 1.6073
2019-06-17 16:15:00 | 0 | 356.903 | 4.195 | 45.0771 | 3.428 | 357 | 0.37567 | 179.181 | 29.56 | 966.247 | 45.8788 | 0.56162
2019-06-17 16:30:00 | 0 | 12.0135 | 3.1723 | 72.7276 | 1.894 | 12.8403 | 0 | 194.332 | 29.48 | 966.099 | 47.0027 | -0.13671
2019-06-17 16:45:00 | 0 | 12.4512 | 1.894 | 56.8474 | 1.894 | 7.8793 | 0 | 200.29 | 30.09 | 966.247 | 43.0518 | -0.26233
2019-06-17 17:00:00 | 0 | 334.821 | 2.661 | 23.3847 | 1.894 | 323.926 | 0 | 148.053 | 30.61 | 966.247 | 42.2343 | -0.25125
2019-06-17 17:15:00 | 0 | 338.907 | 1.6383 | 32.8204 | 1.894 | 352.063 | 0 | 147.275 | 30.33 | 965.951 | 41.6894 | -0.25125
2019-06-17 17:30:00 | 0 | 55.7393 | 1.127 | 108.599 | 0 | 312.841 | 0 | 211.625 | 30.53 | 965.802 | 42.6436 | -0.24016
2019-06-17 17:45:00 | 0 | 325.821 | 0.75133 | 51.2155 | 0 | 341.971 | 0 | 131.778 | 30.46 | 965.802 | 42.104 | -0.24016
2019-06-17 18:00:00 | 0 | 160.802 | 3.9393 | 202.836 | 3.1723 | 155.693 | 2.2853 | 339.947 | 30.2 | 965.358 | 27.3254 | 3.9646
2019-06-17 18:15:00 | 0 | 160.802 | 3.9393 | 202.836 | 3.1723 | 155.693 | 2.2853 | 339.947 | 30.2 | 965.358 | 27.3254 | 3.9646
2019-06-17 18:30:00 | 0 | 160.802 | 3.9393 | 202.836 | 3.1723 | 155.693 | 2.2853 | 339.947 | 30.2 | 965.358 | 27.3254 | 3.9646
2019-06-17 18:45:00 | 0 | 160.802 | 3.9393 | 202.836 | 3.1723 | 155.693 | 2.2853 | 339.947 | 30.2 | 965.358 | 27.3254 | 3.9646
2019-06-17 19:00:00 | 0 | 160.802 | 3.9393 | 202.836 | 3.1723 | 155.693 | 2.2853 | 339.947 | 30.2 | 965.358 | 27.3254 | 3.9646
2019-06-17 19:15:00 | 0 | 160.802 | 3.9393 | 202.836 | 3.1723 | 155.693 | 2.2853 | 339.947 | 30.2 | 965.358 | 27.3254 | 3.9646
2019-06-17 19:30:00 | 0 | 160.802 | 3.9393 | 202.836 | 3.1723 | 155.693 | 2.2853 | 339.947 | 30.2 | 965.358 | 27.3254 | 3.9646
2019-06-17 19:45:00 | 0 | 170.046 | 4.195 | 226.774 | 3.9393 | 150.22 | 3.0523 | 354.786 | 30.07 | 965.358 | 27.8024 | 3.8537
2019-06-17 20:00:00 | 0 | 158.812 | 4.7063 | 199.486 | 5.2177 | 141.004 | 0.75133 | 342.415 | 29.87 | 965.666 | 27.19 | 4.1641
2019-06-17 20:15:00 | 0 | 173.614 | 5.4733 | 217.406 | 4.7063 | 160.866 | 0.75133 | 340.587 | 29.75 | 965.865 | 29.5087 | 7.519
2019-06-17 20:30:00 | 0 | 179.592 | 6.2403 | 223.609 | 5.4733 | 173.436 | 3.5637 | 356.751 | 29.47 | 965.682 | 32.3741 | 9.4108
2019-06-17 20:45:00 | 0 | 168.601 | 5.2177 | 217.536 | 5.4733 | 168.601 | 5.4733 | 83.7775 | 29.2 | 966.151 | 36.8739 | 14.7794
2019-06-17 21:00:00 | 0 | 173.066 | 5.729 | 219.548 | 4.195 | 178.42 | 2.9167 | 2.4334 | 28.95 | 966.201 | 40.6936 | 19.3277
2019-06-17 21:15:00 | 0 | 159.682 | 4.962 | 212.344 | 5.729 | 176.327 | 1.2627 | 335.133 | 28.63 | 966.393 | 44.3062 | 19.191
2019-06-17 21:30:00 | 0 | 161.683 | 5.9847 | 200.55 | 5.4733 | 164.993 | 5.729 | 345.438 | 28.3 | 966.245 | 45.194 | 20.4584
2019-06-17 21:45:00 | 0 | 169.312 | 4.962 | 210.559 | 5.9847 | 160.576 | 0.63133 | 356.825 | 28.04 | 966.097 | 46.3494 | 16.5492
2019-06-17 22:00:00 | 0 | 159.241 | 5.4733 | 204.723 | 5.2177 | 155.737 | 2.661 | 344.568 | 27.88 | 966.542 | 47.0319 | 14.8718
2019-06-17 22:15:00 | 0 | 158.275 | 5.2177 | 200.134 | 3.6837 | 171.854 | 3.6837 | 336.017 | 27.72 | 966.097 | 47.7838 | 16.1354
2019-06-17 22:30:00 | 0 | 153.532 | 3.9393 | 198.434 | 3.9393 | 155.211 | 0.63133 | 344.783 | 27.59 | 966.097 | 48.2276 | 10.9922
2019-06-17 22:45:00 | 0 | 180.568 | 4.962 | 233.282 | 4.195 | 167.646 | 0 | 8.42 | 27.7 | 966.245 | 46.8983 | 8.6496
2019-06-17 23:00:00 | 0.88267 | 162.341 | 5.9847 | 206.27 | 6.496 | 156.866 | 0.37567 | 0.19468 | 27.7 | 966.097 | 47.7505 | 9.1373
2019-06-17 23:15:00 | 0.372 | 180.447 | 6.2403 | 219.703 | 6.2403 | 170.396 | 0 | 0.21902 | 27.7 | 966.393 | 48.0913 | 9.8874
2019-06-17 23:30:00 | 0 | 170.104 | 6.496 | 223.062 | 4.962 | 170.104 | 4.962 | 356.805 | 27.59 | 966.245 | 49.5228 | 10.3493
2019-06-17 23:45:00 | 0 | 174.047 | 6.2403 | 218.268 | 7.263 | 159.445 | 3.1723 | 356.805 | 27.49 | 965.504 | 49.8977 | 7.9809