## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-18 00:00:00 | 0 | 172.416 | 6.2403 | 218.438 | 6.7517 | 169.788 | 1.2627 | 353.155 | 27.25 | 965.506 | 50.6476 | 8.6275
2019-06-18 00:15:00 | 0 | 164.191 | 4.7063 | 205.881 | 4.7063 | 126.447 | 1.2627 | 356.805 | 27.26 | 965.652 | 50.7839 | 5.3538
2019-06-18 00:30:00 | 0 | 168.401 | 5.2177 | 210.553 | 4.7063 | 162.366 | 0.63133 | 0.24335 | 27.07 | 965.504 | 51.1929 | 4.6149
2019-06-18 00:45:00 | 0 | 157.961 | 4.7063 | 201.695 | 4.4507 | 157.499 | 0 | 345.587 | 26.99 | 965.504 | 51.3292 | 5.2319
2019-06-18 01:00:00 | 0 | 163.096 | 4.962 | 200.673 | 4.962 | 153.045 | 5.729 | 356.781 | 26.79 | 965.504 | 51.4656 | 6.3256
2019-06-18 01:15:00 | 0 | 171.516 | 6.7517 | 209.069 | 5.9847 | 167.135 | 1.007 | 0.19468 | 26.75 | 965.059 | 51.6019 | 7.2715
2019-06-18 01:30:00 | 0 | 163.728 | 5.729 | 207 | 5.4733 | 156.622 | 0.75133 | 353.228 | 26.59 | 964.772 | 52.1472 | 7.3417
2019-06-18 01:45:00 | 0 | 157.304 | 6.7517 | 201.355 | 6.2403 | 153.97 | 2.7967 | 351.597 | 26.33 | 964.674 | 52.2154 | 9.7137
2019-06-18 02:00:00 | 2.9033 | 157.693 | 6.7517 | 200.186 | 5.729 | 147.959 | 5.2177 | 343.129 | 26.18 | 964.795 | 52.9652 | 14.1143
2019-06-18 02:15:00 | 0.372 | 149.078 | 6.2403 | 197.777 | 5.729 | 159.567 | 2.661 | 329.185 | 25.81 | 964.472 | 54.2604 | 14.8644
2019-06-18 02:30:00 | 0 | 154.103 | 5.9847 | 205.314 | 5.729 | 155.223 | 2.4053 | 339.87 | 25.49 | 964.727 | 55.2871 | 13.1832
2019-06-18 02:45:00 | 0 | 156.235 | 6.2403 | 202.511 | 5.9847 | 156.795 | 3.6837 | 343.989 | 25.07 | 964.167 | 57.0648 | 12.108
2019-06-18 03:00:00 | 0 | 158.694 | 6.7517 | 200.102 | 6.2403 | 146.427 | 4.962 | 346.936 | 24.82 | 964.014 | 59.5193 | 11.5353
2019-06-18 03:15:00 | 0 | 155.359 | 6.496 | 200.516 | 5.9847 | 157.574 | 5.729 | 344.964 | 24.43 | 963.869 | 61.292 | 10.7446
2019-06-18 03:30:00 | 0 | 157.55 | 6.7517 | 197.839 | 6.2403 | 154.58 | 5.2177 | 348.031 | 24.21 | 963.722 | 63.4055 | 13.6266
2019-06-18 03:45:00 | 0 | 167.919 | 6.7517 | 210.715 | 5.4733 | 163.075 | 3.8193 | 355.115 | 24.17 | 964.167 | 64.4965 | 11.8974
2019-06-18 04:00:00 | 0 | 159.469 | 6.496 | 205.729 | 5.4733 | 158.227 | 2.1497 | 356.815 | 24.07 | 963.87 | 65.8002 | 11.2139
2019-06-18 04:15:00 | 0 | 156.38 | 6.2403 | 204.954 | 5.729 | 163.804 | 3.9393 | 342.19 | 23.74 | 963.87 | 66.7559 | 15.1932
2019-06-18 04:30:00 | 3.6693 | 160.546 | 5.9847 | 210.754 | 5.4733 | 156.286 | 0 | 353.762 | 23.53 | 963.722 | 67.7804 | 15.6403
2019-06-18 04:45:00 | 0 | 158.429 | 6.496 | 198.46 | 6.496 | 153.463 | 4.962 | 348.528 | 23.36 | 963.87 | 68.4623 | 13.0834
2019-06-18 05:00:00 | 0 | 157.577 | 5.4733 | 204.132 | 4.962 | 169.554 | 1.774 | 349.478 | 23.13 | 963.573 | 69.8261 | 12.4701
2019-06-18 05:15:00 | 0 | 143.092 | 5.2177 | 192.91 | 4.4507 | 151.588 | 0.63133 | 348.139 | 23.13 | 963.87 | 69.4852 | 10.5414
2019-06-18 05:30:00 | 0 | 153.414 | 4.4507 | 199.896 | 3.1723 | 180.995 | 0.37567 | 349.453 | 23.28 | 964.018 | 69.8943 | 7.9291
2019-06-18 05:45:00 | 0 | 157.942 | 6.7517 | 199.434 | 5.729 | 155.872 | 4.962 | 344.487 | 23.29 | 964.018 | 69.2123 | 8.8972
2019-06-18 06:00:00 | 0 | 151.856 | 5.9847 | 198.338 | 6.7517 | 151.977 | 4.962 | 342.54 | 23.4 | 964.463 | 68.019 | 8.391
2019-06-18 06:15:00 | 0 | 155.394 | 6.7517 | 200.093 | 4.7063 | 160.968 | 3.8193 | 341.507 | 23.47 | 964.612 | 68.7963 | 10.6966
2019-06-18 06:30:00 | 0 | 159.863 | 5.9847 | 206.456 | 6.496 | 159.668 | 3.1723 | 346.888 | 23.34 | 964.612 | 68.8599 | 10.7077
2019-06-18 06:45:00 | 0 | 158.377 | 7.5187 | 204.021 | 7.0073 | 163.002 | 5.2177 | 344.258 | 23.5 | 964.609 | 68.0416 | 11.4097
2019-06-18 07:00:00 | 0 | 160.982 | 5.9847 | 206.893 | 5.9847 | 159.278 | 1.3827 | 348.201 | 23.54 | 964.739 | 67.3939 | 8.343
2019-06-18 07:15:00 | 0 | 153.34 | 5.4733 | 192.014 | 4.195 | 157.258 | 0 | 343.67 | 23.85 | 965.287 | 66.9405 | 4.6259
2019-06-18 07:30:00 | 0 | 145.623 | 4.7063 | 200.187 | 4.195 | 145.915 | 0 | 340.282 | 24.11 | 965.234 | 67.0075 | 3.6911
2019-06-18 07:45:00 | 0 | 152.242 | 4.962 | 193.859 | 5.2177 | 143.408 | 4.962 | 332.324 | 24.42 | 965.356 | 66.8712 | 4.94
2019-06-18 08:00:00 | 0 | 158.977 | 5.729 | 200.69 | 5.2177 | 158.32 | 3.5637 | 336.4 | 24.76 | 965.801 | 66.3235 | 4.504
2019-06-18 08:15:00 | 0 | 150.811 | 4.7063 | 201.641 | 3.6837 | 167.332 | 0 | 342.11 | 25.08 | 966.037 | 66.0103 | 5.6088
2019-06-18 08:30:00 | 0 | 144.139 | 5.2177 | 189.117 | 5.2177 | 148.566 | 4.7063 | 330.753 | 25.21 | 965.508 | 65.4177 | 5.2393
2019-06-18 08:45:00 | 0 | 150.147 | 4.7063 | 206.51 | 4.7063 | 155.718 | 2.9167 | 335.982 | 25.57 | 965.951 | 62.2147 | 5.2282
2019-06-18 09:00:00 | 0 | 149.855 | 5.4733 | 203.639 | 4.7063 | 175.617 | 3.8193 | 335.544 | 25.91 | 965.803 | 61.1244 | 4.0163
2019-06-18 09:15:00 | 0 | 180.118 | 4.962 | 233.415 | 4.195 | 204.348 | 1.1427 | 1.1191 | 26.78 | 965.655 | 58.2624 | 3.6505
2019-06-18 09:30:00 | 0 | 178.828 | 6.496 | 226.993 | 6.2403 | 181.821 | 0 | 356.83 | 26.81 | 965.655 | 56.8995 | 4.8365
2019-06-18 09:45:00 | 0 | 184.789 | 4.962 | 230.399 | 5.2177 | 173.16 | 1.774 | 1.9218 | 27.2 | 965.951 | 55.1278 | 4.2712
2019-06-18 10:00:00 | 0 | 150.585 | 4.7063 | 205.172 | 3.1723 | 210.04 | 0 | 352.548 | 27.5 | 965.951 | 53.322 | 3.802
2019-06-18 10:15:00 | 0 | 155.28 | 6.2403 | 227.601 | 6.496 | 163.113 | 0.37567 | 342.988 | 27.76 | 965.803 | 51.7206 | 4.1936
2019-06-18 10:30:00 | 0 | 178.291 | 6.496 | 236.94 | 7.7743 | 196.707 | 0 | 347.971 | 28.37 | 965.655 | 49.4714 | 4.7442
2019-06-18 10:45:00 | 0 | 174.555 | 4.4507 | 216.875 | 4.195 | 164.728 | 3.9393 | 4.9623 | 28.34 | 965.951 | 48.309 | 3.2367
2019-06-18 11:00:00 | 0 | 175.468 | 4.962 | 225.348 | 6.2403 | 177.292 | 0.887 | 16.5155 | 28.94 | 965.951 | 45.6827 | 1.9878
2019-06-18 11:15:00 | 0 | 184.806 | 7.263 | 230.624 | 7.7743 | 196.87 | 0.37567 | 3.9403 | 29.12 | 965.803 | 43.2635 | 3.0815
2019-06-18 11:30:00 | 0 | 160.435 | 2.661 | 253.683 | 2.661 | 186.631 | 0 | 10.0454 | 29.31 | 966.248 | 40.2658 | 3.0667
2019-06-18 11:45:00 | 0 | 188.826 | 4.195 | 230.309 | 5.2177 | 190.042 | 0 | 9.1932 | 29.69 | 965.951 | 36.6173 | 2.1984
2019-06-18 12:00:00 | 0 | 184.081 | 5.2177 | 228.068 | 5.9847 | 173.258 | 3.6837 | 356.756 | 29.78 | 965.951 | 40.534 | 1.6183
2019-06-18 12:15:00 | 0 | 172.417 | 3.6837 | 226.939 | 4.195 | 203.816 | 0 | 333.427 | 30.33 | 965.951 | 35.4607 | 2.9005
2019-06-18 12:30:00 | 0 | 157.683 | 3.9393 | 225.463 | 3.6837 | 186.967 | 0 | 331.759 | 30.4 | 965.655 | 39.4815 | 2.6898
2019-06-18 12:45:00 | 0 | 136.982 | 2.661 | 191.894 | 2.1497 | 139.22 | 0 | 336.326 | 30.64 | 965.655 | 39.038 | 2.6898
2019-06-18 13:00:00 | 0 | 115.595 | 4.4507 | 165.589 | 4.962 | 146.408 | 3.9393 | 294.568 | 30.84 | 965.358 | 39.3077 | 1.4262
2019-06-18 13:15:00 | 0.372 | 170.94 | 7.263 | 222.414 | 9.0527 | 179.719 | 3.9393 | 348.179 | 30.8 | 965.062 | 36.7854 | 5.4462
2019-06-18 13:30:00 | 0 | 182.979 | 7.263 | 220.519 | 7.263 | 182.396 | 0.37567 | 5.7637 | 31 | 964.913 | 37.3988 | 4.0163
2019-06-18 13:45:00 | 0 | 200.475 | 5.4733 | 246.164 | 5.9847 | 198.091 | 2.1497 | 8.95 | 31.11 | 965.358 | 37.3665 | 4.0237
2019-06-18 14:00:00 | 0 | 191.827 | 5.2177 | 226.229 | 4.7063 | 170.524 | 5.729 | 7.32 | 31.4 | 965.506 | 37.8407 | 3.4399
2019-06-18 14:15:00 | 0 | 177.43 | 2.4053 | 206.262 | 2.1497 | 174.658 | 0 | 3.0398 | 31.65 | 965.358 | 36.7166 | 2.9485
2019-06-18 14:30:00 | 0 | 173.32 | 7.5187 | 232.089 | 7.5187 | 193.116 | 5.2177 | 0.29183 | 31.95 | 964.913 | 34.8093 | 4.8661
2019-06-18 14:45:00 | 0 | 191.729 | 7.5187 | 235.299 | 7.263 | 192.945 | 0 | 4.7179 | 31.82 | 965.21 | 34.9455 | 5.3686
2019-06-18 15:00:00 | 4.18 | 179.497 | 5.9847 | 238.679 | 6.7517 | 189.103 | 2.2853 | 8.8764 | 32.09 | 965.174 | 34.1621 | 5.3317
2019-06-18 15:15:00 | 0 | 178.233 | 5.729 | 230.873 | 5.4733 | 175.582 | 4.7063 | 2.1401 | 32.07 | 964.885 | 33.7875 | 5.8637
2019-06-18 15:30:00 | 0 | 172.274 | 5.729 | 219.005 | 5.9847 | 167.435 | 3.9393 | 356.806 | 32.24 | 965.029 | 33.2085 | 5.0952
2019-06-18 15:45:00 | 0 | 205.907 | 5.729 | 243.421 | 7.5187 | 156.905 | 2.9167 | 57.4897 | 32.19 | 964.663 | 32.9019 | 5.9044
2019-06-18 16:00:00 | 0 | 167.508 | 5.4733 | 208.354 | 4.7063 | 178.889 | 0 | 14.3481 | 32.52 | 964.501 | 31.4033 | 5.5053
2019-06-18 16:15:00 | 0 | 175.168 | 6.7517 | 244.589 | 5.4733 | 215.902 | 3.8193 | 337.326 | 32.29 | 964.417 | 32.0845 | 8.6607
2019-06-18 16:30:00 | 0 | 191.024 | 6.496 | 234.691 | 6.7517 | 182.391 | 3.428 | 12.0621 | 32.32 | 964.065 | 31.4033 | 8.79
2019-06-18 16:45:00 | 0 | 174.22 | 6.496 | 215.819 | 6.496 | 172.104 | 2.4053 | 2.3589 | 32.39 | 964.129 | 31.9482 | 8.04
2019-06-18 17:00:00 | 0 | 110.821 | 3.9393 | 181.724 | 2.1497 | 142.654 | 0 | 313.591 | 32.15 | 963.966 | 33.4469 | 8.4316
2019-06-18 17:15:00 | 0 | 184.653 | 7.0073 | 239.238 | 6.2403 | 198.344 | 0.37567 | 7.4659 | 32.35 | 964.114 | 33.3106 | 8.8011
2019-06-18 17:30:00 | 0 | 183.145 | 6.7517 | 227.055 | 6.496 | 175.752 | 1.3983 | 356.806 | 32.21 | 963.996 | 33.4469 | 10.2015
2019-06-18 17:45:00 | 0 | 168.481 | 5.729 | 227.322 | 5.9847 | 198.563 | 1.2627 | 355.346 | 31.91 | 963.282 | 33.3447 | 10.7483
2019-06-18 18:00:00 | 0 | 187.158 | 5.2177 | 213.582 | 6.2403 | 147.883 | 0.887 | 10.8948 | 31.72 | 963.282 | 33.0382 | 10.7963
2019-06-18 18:15:00 | 3.5527 | 183.175 | 8.03 | 227.5 | 7.7743 | 177.07 | 2.0297 | 3.6236 | 31.73 | 963.282 | 33.5841 | 11.5575
2019-06-18 18:30:00 | 0 | 179.715 | 7.5187 | 231.197 | 7.7743 | 187.62 | 0 | 9.7288 | 31.53 | 962.986 | 34.8138 | 11.2767
2019-06-18 18:45:00 | 0.372 | 193.659 | 7.0073 | 231.475 | 6.2403 | 189.719 | 0.75133 | 15.4937 | 31.47 | 963.134 | 33.8613 | 9.6879
2019-06-18 19:00:00 | 0 | 176.799 | 4.962 | 221.894 | 4.4507 | 184.559 | 0 | 10.8979 | 31.34 | 962.986 | 34.4443 | 8.9083
2019-06-18 19:15:00 | 0 | 176.347 | 5.2177 | 220.716 | 4.7063 | 184.107 | 3.428 | 5.4493 | 31.17 | 962.986 | 34.2078 | 6.9204
2019-06-18 19:30:00 | 0 | 191.697 | 4.4507 | 229.109 | 3.9393 | 181.577 | 0 | 1.1677 | 30.91 | 963.282 | 35.1618 | 9.8172
2019-06-18 19:45:00 | 0 | 190.116 | 4.195 | 231.639 | 4.195 | 182.356 | 0 | 12.6987 | 30.65 | 963.431 | 35.9796 | 14.2288
2019-06-18 20:00:00 | 0 | 182.137 | 5.9847 | 224.049 | 5.2177 | 172.771 | 0 | 8.7821 | 30.33 | 963.282 | 38.6371 | 15.8657
2019-06-18 20:15:00 | 0 | 170.703 | 5.9847 | 211.691 | 5.729 | 171.579 | 0.63133 | 82.5661 | 30.01 | 963.134 | 40.6814 | 15.3004
2019-06-18 20:30:00 | 0 | 183.451 | 5.4733 | 217.019 | 5.4733 | 170.922 | 0 | 8.6118 | 29.76 | 963.134 | 41.908 | 16.1502
2019-06-18 20:45:00 | 0 | 179.715 | 4.4507 | 227.179 | 5.729 | 157.722 | 4.7063 | 1.8003 | 29.45 | 963.587 | 43.001 | 16.8152
2019-06-18 21:00:00 | 0.88267 | 165.186 | 5.9847 | 221.027 | 8.5413 | 164.067 | 3.6837 | 0.19465 | 29.41 | 963.406 | 43.0742 | 20.5581
2019-06-18 21:15:00 | 7.244 | 185.174 | 7.0073 | 220.532 | 8.03 | 163.299 | 4.4507 | 3.8933 | 29.24 | 963.622 | 43.3496 | 19.5938
2019-06-18 21:30:00 | 5.9673 | 179.496 | 8.5413 | 222.938 | 8.03 | 167.961 | 5.2177 | 8.2496 | 29.1 | 963.256 | 42.7399 | 23.078
2019-06-18 21:45:00 | 1.7653 | 177.911 | 6.7517 | 211.447 | 6.7517 | 189.567 | 4.195 | 356.722 | 28.98 | 963.72 | 43.523 | 21.7405
2019-06-18 22:00:00 | 4.4353 | 170.489 | 8.5413 | 216.193 | 8.5413 | 163.724 | 2.4053 | 1.8008 | 28.71 | 963.418 | 43.6935 | 21.6481
2019-06-18 22:15:00 | 10.308 | 177.644 | 8.5413 | 221.475 | 6.496 | 185.627 | 4.195 | 356.627 | 28.67 | 963.724 | 44.5116 | 23.8835
2019-06-18 22:30:00 | 2.0207 | 176.278 | 8.03 | 219.815 | 6.2403 | 167.25 | 0 | 356.839 | 28.63 | 963.724 | 44.7833 | 24.7813
2019-06-18 22:45:00 | 3.6693 | 181.312 | 8.797 | 212.389 | 8.797 | 168.317 | 5.4733 | 0.219 | 28.37 | 963.576 | 46.2821 | 23.9056
2019-06-18 23:00:00 | 2.7867 | 175.13 | 8.797 | 235.602 | 9.564 | 190.237 | 4.962 | 6.1806 | 27.93 | 963.873 | 47.7814 | 26.6546
2019-06-18 23:15:00 | 0 | 138.95 | 5.2177 | 193.267 | 4.962 | 152.283 | 0.37567 | 327.052 | 27.81 | 964.169 | 47.919 | 20.5175
2019-06-18 23:30:00 | 4.18 | 158.64 | 7.263 | 204.514 | 6.7517 | 152.749 | 5.729 | 338.105 | 27.38 | 963.873 | 49.6924 | 24.1828
2019-06-18 23:45:00 | 0 | 179.814 | 4.4507 | 214.593 | 4.7063 | 156.33 | 0 | 351.694 | 27.21 | 963.724 | 51.1247 | 24.9845