## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-19 00:00:00 | 0.88267 | 137.763 | 5.4733 | 208.217 | 4.962 | 168.887 | 5.9847 | 341.766 | 27.13 | 964.021 | 51.6701 | 22.7787
2019-06-19 00:15:00 | 0 | 163.096 | 5.729 | 223.256 | 4.4507 | 177.989 | 2.661 | 333.589 | 26.95 | 963.873 | 52.2154 | 22.2467
2019-06-19 00:30:00 | 0 | 148.713 | 4.4507 | 208.655 | 3.428 | 167.865 | 0 | 325.753 | 26.94 | 963.873 | 52.6926 | 13.7374
2019-06-19 00:45:00 | 0 | 158.861 | 5.4733 | 208.582 | 5.729 | 171.71 | 0.75133 | 343.275 | 27.05 | 964.169 | 52.6926 | 11.0771
2019-06-19 01:00:00 | 0 | 145.039 | 4.7063 | 205.808 | 4.962 | 160.589 | 5.729 | 331.983 | 27.01 | 963.576 | 52.6926 | 24.8368
2019-06-19 01:15:00 | 0 | 143.481 | 5.9847 | 173.904 | 5.2177 | 146.499 | 5.9847 | 321.981 | 26.94 | 963.754 | 52.4881 | 28.3025
2019-06-19 01:30:00 | 0 | 147.034 | 8.03 | 196.536 | 6.2403 | 147.472 | 3.428 | 331.569 | 26.71 | 963.725 | 54.2263 | 37.6985
2019-06-19 01:45:00 | 0 | 154.651 | 5.4733 | 205.005 | 4.962 | 167.476 | 5.729 | 331.034 | 26.38 | 963.76 | 55.6919 | 29.8839
2019-06-19 02:00:00 | 1.51 | 139.296 | 7.263 | 189.966 | 7.263 | 144.382 | 2.4053 | 326.532 | 26.36 | 963.744 | 56.2372 | 24.7702
2019-06-19 02:15:00 | 4.6907 | 145.647 | 8.2857 | 193.786 | 8.5413 | 148.081 | 5.9847 | 328.333 | 26.12 | 963.603 | 56.578 | 23.2295
2019-06-19 02:30:00 | 5.4567 | 146.815 | 6.7517 | 191.255 | 6.2403 | 136.181 | 5.4733 | 325.437 | 26.16 | 963.341 | 57.3279 | 24.3934
2019-06-19 02:45:00 | 0 | 154.311 | 4.962 | 206.319 | 5.4733 | 151.512 | 5.2177 | 325.559 | 26.01 | 963.723 | 57.9754 | 30.8778
2019-06-19 03:00:00 | 4.18 | 143.871 | 8.797 | 189.26 | 8.5413 | 144.187 | 5.9847 | 320.473 | 25.86 | 963.314 | 58.0096 | 25.2173
2019-06-19 03:15:00 | 4.946 | 146.013 | 8.797 | 191.427 | 9.3083 | 143.604 | 4.962 | 330.597 | 25.66 | 963.345 | 59.2368 | 29.411
2019-06-19 03:30:00 | 7.244 | 144.27 | 8.2857 | 202.221 | 7.7743 | 157.096 | 5.729 | 332.785 | 25.26 | 963.248 | 61.0812 | 28.3912
2019-06-19 03:45:00 | 5.2013 | 150.196 | 7.0073 | 197.956 | 6.7517 | 169.545 | 1.2627 | 334.369 | 25.06 | 963.573 | 62.2792 | 27.3936
2019-06-19 04:00:00 | 4.4353 | 177.289 | 7.5187 | 202.415 | 6.496 | 156.138 | 6.2403 | 327.099 | 24.85 | 963.128 | 63.8145 | 29.0932
2019-06-19 04:15:00 | 0 | 157.185 | 7.7743 | 206.455 | 7.0073 | 164.73 | 2.9167 | 337.686 | 24.7 | 963.128 | 65.0758 | 22.2651
2019-06-19 04:30:00 | 0 | 157.428 | 8.03 | 201.49 | 6.7517 | 158.45 | 5.2177 | 343.406 | 24.47 | 963.417 | 66.4053 | 13.7596
2019-06-19 04:45:00 | 0 | 147.546 | 5.9847 | 197.425 | 4.7063 | 151.148 | 5.729 | 331.504 | 24.41 | 963.573 | 67.2234 | 12.6881
2019-06-19 05:00:00 | 0 | 152.171 | 5.9847 | 195.965 | 4.962 | 154.897 | 0 | 333.159 | 24.19 | 963.722 | 68.4506 | 14.905
2019-06-19 05:15:00 | 0 | 147.478 | 7.263 | 194.779 | 7.5187 | 149.595 | 2.4053 | 335.798 | 24.15 | 963.425 | 69.4073 | 18.7144
2019-06-19 05:30:00 | 2.5313 | 138.298 | 7.5187 | 190.003 | 7.5187 | 153.267 | 1.2627 | 329.997 | 24.09 | 963.425 | 70.7692 | 19.2612
2019-06-19 05:45:00 | 4.4353 | 151.709 | 8.2857 | 199.762 | 7.5187 | 150.102 | 5.729 | 338.442 | 24.02 | 963.425 | 71.6895 | 21.6001
2019-06-19 06:00:00 | 0 | 158.064 | 8.03 | 202.443 | 7.7743 | 157.139 | 1.774 | 338.836 | 23.89 | 963.87 | 73.088 | 15.7807
2019-06-19 06:15:00 | 0 | 159.278 | 5.9847 | 209.23 | 6.496 | 177.289 | 0.37567 | 341.679 | 23.82 | 963.87 | 74.0073 | 14.9567
2019-06-19 06:30:00 | 0 | 161.324 | 6.496 | 205.824 | 7.263 | 147.985 | 5.9847 | 343.555 | 23.8 | 963.722 | 75.269 | 16.6305
2019-06-19 06:45:00 | 0 | 156.674 | 5.4733 | 200.833 | 5.9847 | 161.469 | 0 | 338.417 | 23.89 | 964.018 | 74.1436 | 15.389
2019-06-19 07:00:00 | 0 | 151.124 | 7.263 | 206.577 | 7.263 | 163.513 | 2.2853 | 345.305 | 24.55 | 964.31 | 72.9504 | 19.2428
2019-06-19 07:15:00 | 3.9247 | 153.44 | 7.5187 | 184.497 | 8.797 | 145.871 | 5.729 | 339.685 | 24.22 | 964.228 | 75.7355 | 19.2464
2019-06-19 07:30:00 | 3.414 | 152.072 | 7.5187 | 199.749 | 7.0073 | 155.041 | 1.007 | 336.777 | 24.4 | 964.381 | 75.5965 | 17.9828
2019-06-19 07:45:00 | 0 | 151.074 | 4.7063 | 204.689 | 5.2177 | 172.148 | 4.962 | 337.726 | 24.54 | 964.321 | 75.0171 | 15.6181
2019-06-19 08:00:00 | 0 | 143.725 | 6.496 | 195.271 | 6.7517 | 157.377 | 3.9393 | 327.822 | 24.86 | 964.318 | 73.2106 | 19.4571
2019-06-19 08:15:00 | 0 | 152.729 | 8.03 | 197.339 | 8.2857 | 144.649 | 3.5637 | 335.463 | 25.01 | 964.466 | 74.1991 | 19.797
2019-06-19 08:30:00 | 0 | 145.38 | 7.263 | 196.731 | 6.496 | 143.433 | 4.962 | 325.048 | 25.17 | 964.763 | 72.8017 | 19.9263
2019-06-19 08:45:00 | 0 | 161.849 | 9.564 | 202.661 | 8.5413 | 154.816 | 1.1427 | 348.933 | 25.65 | 964.614 | 70.8223 | 22.2171
2019-06-19 09:00:00 | 0 | 151.791 | 6.496 | 206.202 | 6.7517 | 186.319 | 0 | 356.117 | 25.92 | 964.614 | 70.0006 | 16.0837
2019-06-19 09:15:00 | 0 | 150.988 | 7.5187 | 200.119 | 8.03 | 162.911 | 5.4733 | 335.021 | 26.25 | 964.911 | 68.1605 | 13.2534
2019-06-19 09:30:00 | 0.99933 | 154.113 | 7.0073 | 200.159 | 6.2403 | 165.648 | 5.729 | 353.344 | 26.32 | 965.208 | 69.324 | 13.0539
2019-06-19 09:45:00 | 0 | 151.915 | 8.5413 | 199.831 | 7.7743 | 150.893 | 4.962 | 331.304 | 26.31 | 965.043 | 68.6048 | 15.9322
2019-06-19 10:00:00 | 0 | 158.108 | 6.2403 | 198.961 | 6.496 | 151.173 | 0.37567 | 353.711 | 26.94 | 965.277 | 67.1338 | 12.4516
2019-06-19 10:15:00 | 0.88267 | 159.708 | 5.9847 | 214.27 | 6.2403 | 171.798 | 2.9167 | 348.17 | 27.43 | 965.36 | 60.7156 | 10.8074
2019-06-19 10:30:00 | 0 | 139.735 | 6.496 | 186.099 | 5.9847 | 151.582 | 5.9847 | 319.804 | 28.25 | 965.951 | 57.6832 | 7.7777
2019-06-19 10:45:00 | 0 | 164.666 | 6.496 | 200.495 | 5.2177 | 162.671 | 2.1497 | 337.214 | 28.33 | 966.099 | 57.0344 | 5.243
2019-06-19 11:00:00 | 0 | 169.337 | 9.0527 | 234.905 | 7.7743 | 187.993 | 1.2627 | 2.6755 | 29.02 | 965.951 | 53.6197 | 7.4119
2019-06-19 11:15:00 | 0 | 164.107 | 5.4733 | 196.451 | 5.9847 | 135.528 | 0 | 345.387 | 28.95 | 965.803 | 55.5955 | 7.7998
2019-06-19 11:30:00 | 0 | 169.41 | 7.263 | 216.225 | 7.263 | 182.253 | 0 | 348.112 | 28.95 | 965.506 | 55.5956 | 9.5549
2019-06-19 11:45:00 | 0 | 154.617 | 5.4733 | 200.905 | 4.7063 | 170.867 | 1.5183 | 342.195 | 28.84 | 965.655 | 55.9432 | 6.8465
2019-06-19 12:00:00 | 0 | 152.965 | 4.7063 | 201.955 | 5.729 | 147.394 | 0.37567 | 348.161 | 29.32 | 965.655 | 54.8539 | 6.7763
2019-06-19 12:15:00 | 0 | 178.245 | 7.263 | 218.812 | 7.7743 | 167.227 | 2.4053 | 1.3135 | 29.76 | 965.951 | 52.6676 | 8.6718
2019-06-19 12:30:00 | 0 | 187.361 | 4.7063 | 238.263 | 4.7063 | 183.226 | 4.195 | 9.7536 | 29.89 | 965.506 | 52.7341 | 7.3084
2019-06-19 12:45:00 | 0 | 126.115 | 5.4733 | 163.979 | 4.962 | 144.551 | 5.4733 | 307.71 | 29.94 | 965.803 | 50.6899 | 5.4832
2019-06-19 13:00:00 | 0.372 | 166.077 | 7.263 | 240.596 | 7.263 | 213.969 | 1.3827 | 348.013 | 29.93 | 965.506 | 51.7118 | 4.7035
2019-06-19 13:15:00 | 0 | 184.246 | 5.729 | 237.823 | 5.729 | 202.853 | 5.2177 | 5.5943 | 30.44 | 965.506 | 49.4294 | 5.9117
2019-06-19 13:30:00 | 0 | 183.491 | 5.729 | 241.373 | 5.9847 | 193.999 | 0 | 8.7076 | 30.32 | 965.506 | 47.1808 | 7.1976
2019-06-19 13:45:00 | 0 | 139.734 | 4.7063 | 193.796 | 4.195 | 156.395 | 2.1497 | 330.35 | 30.3 | 965.358 | 49.5651 | 6.4771
2019-06-19 14:00:00 | 3.5527 | 149.938 | 7.5187 | 206.452 | 8.03 | 152.224 | 2.661 | 353.334 | 30.56 | 965.358 | 49.3571 | 8.5868
2019-06-19 14:15:00 | 0 | 142.512 | 5.729 | 186.034 | 5.9847 | 136.821 | 4.195 | 332.058 | 30.43 | 965.506 | 46.3909 | 8.9378
2019-06-19 14:30:00 | 0 | 163.811 | 5.2177 | 203.757 | 6.2403 | 174.755 | 0 | 356.806 | 30.63 | 965.655 | 47.0027 | 7.6816
2019-06-19 14:45:00 | 0 | 135.529 | 3.9393 | 197.896 | 3.6837 | 141.584 | 0 | 311.013 | 31.07 | 965.358 | 45.7425 | 8.1989
2019-06-19 15:00:00 | 0 | 170.28 | 5.9847 | 210.372 | 6.2403 | 150.801 | 0 | 355.006 | 31.26 | 965.655 | 43.4605 | 7.774
2019-06-19 15:15:00 | 0 | 201.117 | 6.7517 | 236.782 | 6.7517 | 195.815 | 0.75133 | 17.1691 | 31.15 | 965.358 | 42.8134 | 9.5512
2019-06-19 15:30:00 | 0 | 142.314 | 3.9393 | 198.796 | 4.4507 | 179.181 | 0 | 329.958 | 31.17 | 965.21 | 45.7425 | 11.0956
2019-06-19 15:45:00 | 0 | 148.053 | 4.4507 | 191.428 | 5.729 | 139.736 | 1.2627 | 331.514 | 31 | 965.358 | 43.733 | 11.7422
2019-06-19 16:00:00 | 0 | 159.75 | 6.2403 | 227.857 | 5.9847 | 158.17 | 5.9847 | 341.193 | 31.17 | 965.358 | 43.6649 | 10.9959
2019-06-19 16:15:00 | 0 | 162.766 | 7.263 | 216.184 | 8.2857 | 186.233 | 0.37567 | 356.806 | 31.45 | 964.615 | 43.188 | 12.2928
2019-06-19 16:30:00 | 0 | 174.949 | 6.496 | 231.846 | 5.9847 | 181.759 | 2.661 | 9.9707 | 31.17 | 964.616 | 44.2779 | 12.6955
2019-06-19 16:45:00 | 0 | 190.684 | 5.4733 | 236.515 | 5.9847 | 192.605 | 1.007 | 3.6721 | 31.45 | 964.765 | 43.5967 | 10.6448
2019-06-19 17:00:00 | 0 | 193.699 | 6.2403 | 242.351 | 7.5187 | 184.823 | 0 | 356.733 | 31.52 | 964.32 | 43.188 | 8.4834
2019-06-19 17:15:00 | 0 | 187.449 | 5.9847 | 237.415 | 6.496 | 193.87 | 0 | 10.7975 | 31.2 | 964.32 | 44.0055 | 5.8157
2019-06-19 17:30:00 | 0 | 186.671 | 5.2177 | 228.344 | 4.7063 | 183.656 | 0 | 13.1078 | 31.21 | 964.32 | 45.0954 | 3.7614
2019-06-19 17:45:00 | 0 | 187.256 | 5.4733 | 221.365 | 5.4733 | 173.321 | 3.9393 | 4.3774 | 31.14 | 963.875 | 44.8913 | 5.1765
2019-06-19 18:00:00 | 0 | 178.427 | 5.729 | 227.089 | 5.9847 | 168.723 | 0.75133 | 356.806 | 30.93 | 963.875 | 45.6467 | 6.1408
2019-06-19 18:15:00 | 0 | 172.939 | 5.9847 | 234.641 | 4.7063 | 192.033 | 0 | 2.6269 | 30.74 | 963.727 | 46.5346 | 6.6803
2019-06-19 18:30:00 | 0 | 185.517 | 5.2177 | 228.377 | 5.4733 | 183.352 | 0 | 6.1304 | 30.59 | 963.875 | 47.836 | 5.5423
2019-06-19 18:45:00 | 0 | 176.323 | 6.7517 | 218.478 | 5.729 | 186.345 | 1.2627 | 0.24327 | 30.45 | 963.875 | 47.4957 | 6.1519
2019-06-19 19:00:00 | 0 | 176.323 | 5.729 | 208.553 | 4.962 | 182.113 | 2.0297 | 0.97308 | 30.3 | 964.172 | 48.586 | 6.647
2019-06-19 19:15:00 | 0 | 190.968 | 4.4507 | 237.454 | 3.428 | 178.415 | 3.1723 | 0.58385 | 30.12 | 964.172 | 49.4037 | 5.5275
2019-06-19 19:30:00 | 0 | 191.114 | 4.962 | 231.055 | 4.195 | 184.229 | 0 | 13.2583 | 29.95 | 964.172 | 48.4497 | 4.7774
2019-06-19 19:45:00 | 0 | 188.365 | 4.195 | 241.078 | 3.9393 | 180.799 | 0 | 7.4441 | 29.83 | 963.875 | 48.5179 | 4.1863
2019-06-19 20:00:00 | 0 | 185.278 | 3.9393 | 231.035 | 2.9167 | 175.79 | 0.75133 | 4.7925 | 29.58 | 963.905 | 49.8816 | 4.0495
2019-06-19 20:15:00 | 0 | 181.204 | 4.4507 | 228.571 | 3.6837 | 180.62 | 0 | 8.3206 | 29.33 | 964.037 | 51.6569 | 5.2393
2019-06-19 20:30:00 | 0 | 189.857 | 4.4507 | 232.778 | 3.6837 | 185.015 | 0 | 8.4673 | 29.23 | 964.133 | 51.7978 | 4.5114
2019-06-19 20:45:00 | 0 | 171.014 | 5.2177 | 213.015 | 4.7063 | 155.538 | 1.1427 | 1.5573 | 29.16 | 964.701 | 51.3929 | 5.0508
2019-06-19 21:00:00 | 0 | 180.71 | 7.7743 | 228.287 | 7.7743 | 184.141 | 2.541 | 3.6745 | 29.16 | 964.887 | 50.5099 | 3.2847
2019-06-19 21:15:00 | 0 | 134.5 | 4.4507 | 186.556 | 3.1723 | 152.094 | 5.729 | 316.6 | 29.05 | 964.907 | 51.3286 | 1.6738
2019-06-19 21:30:00 | 0 | 161.535 | 5.2177 | 211.278 | 4.195 | 171.804 | 0 | 348.475 | 28.64 | 964.911 | 52.6914 | 2.2723
2019-06-19 21:45:00 | 0 | 145.69 | 3.1723 | 192.682 | 3.1723 | 164.889 | 0 | 338.247 | 28.53 | 965.059 | 53.1334 | 1.8474
2019-06-19 22:00:00 | 0 | 155.156 | 3.6837 | 201.053 | 3.428 | 164.111 | 0 | 338.759 | 28.45 | 964.911 | 54.1218 | 3.0889
2019-06-19 22:15:00 | 0 | 171.728 | 4.195 | 223.612 | 3.9393 | 170.803 | 0 | 344.794 | 28.23 | 964.614 | 55.2807 | 5.7713
2019-06-19 22:30:00 | 0 | 166.929 | 4.195 | 214.065 | 4.195 | 174.034 | 0.37567 | 344.783 | 28.29 | 964.466 | 54.8018 | 6.7061
2019-06-19 22:45:00 | 0 | 164.692 | 4.4507 | 219.738 | 4.4507 | 158.365 | 1.1427 | 352.306 | 28.22 | 964.466 | 54.9728 | 5.7196
2019-06-19 23:00:00 | 0 | 145.563 | 3.428 | 204.16 | 2.4053 | 162.158 | 0 | 332.687 | 28.15 | 964.614 | 55.1422 | 4.8144
2019-06-19 23:15:00 | 0 | 157.884 | 4.962 | 201.251 | 4.195 | 164.113 | 5.4733 | 342.974 | 28.2 | 964.614 | 55.2814 | 3.7392
2019-06-19 23:30:00 | 0 | 147.199 | 3.9393 | 212.2 | 3.6837 | 165.669 | 0 | 331.314 | 28.1 | 964.762 | 55.8944 | 8.8602
2019-06-19 23:45:00 | 0 | 141.386 | 3.428 | 197.287 | 3.9393 | 136.032 | 2.2853 | 325.845 | 27.87 | 964.318 | 57.2586 | 11.6572