## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-20 00:00:00 | 0 | 156.841 | 7.263 | 203.325 | 6.7517 | 144.82 | 3.308 | 333.638 | 27.72 | 964.021 | 56.9188 | 16.6157
2019-06-20 00:15:00 | 0 | 156.136 | 5.729 | 206.587 | 4.195 | 159.226 | 1.3983 | 337.824 | 27.68 | 964.169 | 57.7369 | 18.5112
2019-06-20 00:30:00 | 0 | 145.574 | 4.195 | 237.566 | 6.7517 | 171.078 | 0.63133 | 329.623 | 27.28 | 964.021 | 58.8275 | 23.4955
2019-06-20 00:45:00 | 0 | 143.579 | 5.2177 | 204.567 | 3.9393 | 166.259 | 2.2853 | 333.638 | 27.19 | 963.873 | 58.623 | 22.7011
2019-06-20 01:00:00 | 0 | 148.275 | 6.2403 | 197.875 | 6.496 | 153.921 | 5.729 | 343.323 | 27.08 | 963.576 | 59.2365 | 25.2838
2019-06-20 01:15:00 | 0 | 155.965 | 5.9847 | 213.036 | 6.2403 | 166.989 | 2.0297 | 342.058 | 27.07 | 963.724 | 57.3279 | 26.6066
2019-06-20 01:30:00 | 0 | 148.811 | 6.496 | 191.036 | 7.263 | 140.926 | 1.2627 | 338.675 | 26.81 | 963.576 | 57.7369 | 25.8602
2019-06-20 01:45:00 | 3.1587 | 146.888 | 6.496 | 196.682 | 5.4733 | 155.503 | 5.729 | 328.454 | 26.59 | 963.576 | 59.3047 | 28.0328
2019-06-20 02:00:00 | 0 | 175.507 | 4.7063 | 196.999 | 4.4507 | 166.016 | 4.4507 | 331.18 | 26.33 | 963.873 | 60.7362 | 23.6692
2019-06-20 02:15:00 | 0 | 145.818 | 5.4733 | 187.629 | 4.4507 | 160.175 | 5.4733 | 330.864 | 26.23 | 963.28 | 61.486 | 25.2025
2019-06-20 02:30:00 | 0 | 155.698 | 6.496 | 198.653 | 5.729 | 163.217 | 4.4507 | 334.246 | 26.16 | 963.742 | 61.6905 | 28.5685
2019-06-20 02:45:00 | 1.3933 | 138.079 | 5.9847 | 198.167 | 5.2177 | 149.322 | 2.661 | 326.97 | 26.1 | 963.465 | 61.5201 | 29.2262
2019-06-20 03:00:00 | 2.9033 | 137.738 | 6.7517 | 181.254 | 5.2177 | 143.141 | 5.4733 | 319.304 | 25.94 | 963.706 | 61.9632 | 30.3827
2019-06-20 03:15:00 | 1.7653 | 138.225 | 8.03 | 184.514 | 7.263 | 140.707 | 3.5637 | 322.93 | 26.09 | 963.404 | 61.8268 | 29.2041
2019-06-20 03:30:00 | 6.7333 | 140.95 | 7.7743 | 178.82 | 9.0527 | 148.178 | 4.4507 | 327.359 | 26.01 | 963.432 | 62.9175 | 27.97
2019-06-20 03:45:00 | 8.01 | 137.74 | 7.7743 | 187.389 | 7.263 | 152.05 | 5.729 | 324.103 | 25.75 | 963.64 | 65.7814 | 33.83
2019-06-20 04:00:00 | 0.62733 | 136.151 | 8.03 | 183.861 | 9.0527 | 139.315 | 2.4053 | 321.758 | 25.51 | 963.424 | 67.0509 | 31.2104
2019-06-20 04:15:00 | 6.478 | 134.281 | 7.7743 | 191.072 | 6.7517 | 130.022 | 3.1723 | 322.499 | 25.51 | 963.568 | 67.0871 | 31.1993
2019-06-20 04:30:00 | 10.5633 | 142.581 | 6.7517 | 188.2 | 7.7743 | 153.899 | 5.2177 | 329.022 | 25.44 | 963.573 | 68.0757 | 28.8087
2019-06-20 04:45:00 | 5.9673 | 147.278 | 6.496 | 188.225 | 6.496 | 149.542 | 4.4507 | 323.326 | 25.29 | 963.276 | 69.4733 | 24.0904
2019-06-20 05:00:00 | 8.01 | 149.664 | 6.2403 | 198.009 | 7.0073 | 163.464 | 5.2177 | 332.161 | 25.05 | 963.276 | 70.1551 | 26.5364
2019-06-20 05:15:00 | 5.9673 | 150.832 | 6.7517 | 201.392 | 5.9847 | 156.406 | 5.4733 | 330.117 | 25.04 | 963.571 | 70.496 | 27.8554
2019-06-20 05:30:00 | 2.7867 | 142.922 | 7.0073 | 194.407 | 6.2403 | 171.009 | 4.4507 | 329.314 | 24.79 | 963.573 | 72.0641 | 31.4579
2019-06-20 05:45:00 | 4.4353 | 144.917 | 8.03 | 188.468 | 9.564 | 145.283 | 5.2177 | 332.186 | 24.71 | 963.572 | 72.2004 | 29.3519
2019-06-20 06:00:00 | 8.5207 | 161.59 | 7.263 | 203.364 | 7.0073 | 166.604 | 6.2403 | 336.056 | 24.71 | 963.868 | 72.7458 | 24.1273
2019-06-20 06:15:00 | 9.7973 | 150.783 | 8.2857 | 186.983 | 7.263 | 159.278 | 5.4733 | 332.113 | 24.69 | 963.692 | 73.7685 | 22.1691
2019-06-20 06:30:00 | 6.7333 | 144.625 | 8.2857 | 192.484 | 8.797 | 143.749 | 2.4053 | 330.579 | 24.7 | 963.867 | 73.9731 | 19.3684
2019-06-20 06:45:00 | 0 | 153.096 | 7.5187 | 203.924 | 7.5187 | 166.093 | 3.9393 | 339.78 | 24.7 | 964.166 | 74.2458 | 16.9889
2019-06-20 07:00:00 | 0 | 151.781 | 6.2403 | 194.504 | 5.729 | 164.462 | 2.541 | 341.459 | 24.7 | 964.315 | 74.2458 | 19.9078
2019-06-20 07:15:00 | 0 | 146.086 | 6.496 | 193.531 | 5.729 | 148.325 | 3.9393 | 330.823 | 24.67 | 964.167 | 74.8594 | 23.4142
2019-06-20 07:30:00 | 0 | 147.522 | 7.5187 | 202.78 | 7.0073 | 161.517 | 4.195 | 334.449 | 24.63 | 964.167 | 75.2684 | 18.5814
2019-06-20 07:45:00 | 0 | 140.731 | 6.496 | 203.291 | 7.0073 | 154.994 | 3.1723 | 334.206 | 24.64 | 964.448 | 75.6093 | 14.9493
2019-06-20 08:00:00 | 0 | 147.4 | 5.9847 | 196.597 | 6.496 | 152.755 | 0.37567 | 324.494 | 24.79 | 964.612 | 75.6093 | 13.2608
2019-06-20 08:15:00 | 0 | 147.102 | 5.2177 | 185.88 | 2.9167 | 143.792 | 1.894 | 341.276 | 24.89 | 964.745 | 75.2655 | 11.3727
2019-06-20 08:30:00 | 0 | 133.895 | 4.962 | 194.422 | 4.962 | 162.368 | 5.2177 | 323.908 | 25.1 | 964.547 | 75.3248 | 11.4392
2019-06-20 08:45:00 | 0 | 154.822 | 5.729 | 208.217 | 4.962 | 171.175 | 0 | 335.123 | 24.97 | 964.63 | 76.8235 | 9.7027
2019-06-20 09:00:00 | 0 | 146.815 | 4.7063 | 205.784 | 4.4507 | 160.954 | 0 | 319.378 | 24.91 | 964.356 | 76.4145 | 6.2406
2019-06-20 09:15:00 | 0 | 144.625 | 4.195 | 209.823 | 4.7063 | 167.476 | 0 | 316.506 | 25.35 | 965.036 | 75.0511 | 2.1873
2019-06-20 09:30:00 | 0 | 157.499 | 5.2177 | 206.806 | 4.962 | 160.224 | 0 | 342.301 | 25.49 | 965.21 | 75.1875 | 1.1602
2019-06-20 09:45:00 | 0 | 163.826 | 3.6837 | 207.828 | 3.9393 | 154.676 | 0.37567 | 348.41 | 25.57 | 965.208 | 74.0968 | 0.81287
2019-06-20 10:00:00 | 0 | 166.503 | 3.6837 | 226.274 | 3.428 | 186.506 | 0.37567 | 345.903 | 25.78 | 965.059 | 73.6878 | 1.2599
2019-06-20 10:15:00 | 0 | 137.787 | 3.9393 | 189.479 | 4.4507 | 163.753 | 0 | 318.526 | 25.78 | 965.059 | 73.5856 | 2.0506
2019-06-20 10:30:00 | 0 | 167.062 | 2.9167 | 209.361 | 3.6837 | 174.412 | 0 | 345.757 | 26.03 | 965.208 | 73.347 | 1.356
2019-06-20 10:45:00 | 0 | 150.438 | 3.9393 | 196.775 | 3.428 | 159.734 | 0 | 342.855 | 26.27 | 965.504 | 71.7778 | 1.0161
2019-06-20 11:00:00 | 0 | 159.245 | 3.428 | 226.704 | 3.6837 | 198.473 | 0 | 339.394 | 26.24 | 965.356 | 71.8448 | 1.4336
2019-06-20 11:15:00 | 0 | 149.653 | 4.195 | 198.98 | 3.6837 | 151.892 | 0 | 347.9 | 25.97 | 964.911 | 74.8417 | 1.5481
2019-06-20 11:30:00 | 0 | 167.42 | 3.428 | 200.444 | 3.1723 | 165.862 | 0 | 344.062 | 25.9 | 964.911 | 74.8432 | -0.22169
2019-06-20 11:45:00 | 2.276 | 182.609 | 2.9167 | 200.985 | 3.1723 | 156.327 | 0 | 0.21901 | 26.01 | 964.911 | 74.5043 | -0.42121
2019-06-20 12:00:00 | 2.1373 | 167.425 | 2.661 | 206.413 | 1.894 | 155.355 | 0 | 353.831 | 26.16 | 964.763 | 73.6867 | -0.30667
2019-06-20 12:15:00 | 1.2547 | 167.588 | 2.1497 | 204.943 | 1.3827 | 146.685 | 0 | 353.28 | 26.57 | 964.911 | 71.7749 | -0.26972
2019-06-20 12:30:00 | 0 | 181.242 | 2.9167 | 203.998 | 2.9167 | 153.891 | 0 | 10.2448 | 26.96 | 965.059 | 70.2084 | -0.26972
2019-06-20 12:45:00 | 0 | 205.365 | 2.661 | 238.55 | 2.4053 | 190.427 | 0 | 31.4337 | 27.87 | 964.822 | 64.2653 | -0.25864
2019-06-20 13:00:00 | 0 | 181.553 | 4.195 | 237.624 | 3.428 | 175.155 | 1.6383 | 21.3835 | 28.32 | 964.469 | 62.4873 | -0.26972
2019-06-20 13:15:00 | 0 | 181.086 | 2.661 | 232.387 | 2.4053 | 238.91 | 0 | 356.821 | 29.04 | 964.913 | 58.1928 | -0.25125
2019-06-20 13:30:00 | 0 | 265.044 | 1.894 | 320.323 | 2.661 | 221.628 | 0 | 117.405 | 29.37 | 964.913 | 56.8891 | -0.24016
2019-06-20 13:45:00 | 0 | 166.146 | 3.9393 | 220.003 | 3.1723 | 171.934 | 0 | 348.051 | 29.89 | 964.913 | 56.744 | -0.24016
2019-06-20 14:00:00 | 0 | 164.882 | 1.127 | 198.942 | 1.127 | 160.893 | 0 | 0.24319 | 29.41 | 964.765 | 58.7534 | -0.051728
2019-06-20 14:15:00 | 0 | 159.945 | 3.428 | 215.771 | 4.195 | 180.932 | 0.37567 | 344.525 | 29.56 | 964.321 | 57.8338 | 1.2489
2019-06-20 14:30:00 | 0 | 187.295 | 5.729 | 236.805 | 6.2403 | 183.672 | 5.2177 | 15.4438 | 28.9 | 963.579 | 61.8583 | 3.0519
2019-06-20 14:45:00 | 0 | 191.617 | 6.7517 | 248.293 | 7.0073 | 191.252 | 1.2627 | 13.2578 | 27.99 | 963.135 | 63.4729 | 12.7916
2019-06-20 15:00:00 | 0 | 150.247 | 5.729 | 196.32 | 5.4733 | 161.778 | 5.729 | 330.343 | 26.2 | 962.986 | 72.0285 | 14.2288
2019-06-20 15:15:00 | 0 | 183.338 | 3.9393 | 226.025 | 3.6837 | 171.658 | 0 | 3.6989 | 23.85 | 962.237 | 81.525 | 10.3308
2019-06-20 15:30:00 | 0 | 177.314 | 3.428 | 202.53 | 3.6837 | 142.561 | 0.37567 | 355.795 | 23.64 | 961.978 | 78.0531 | 4.7035
2019-06-20 15:45:00 | 2.7867 | 187.901 | 3.1723 | 231.354 | 2.9167 | 166.093 | 0 | 6.1579 | 25.07 | 961.783 | 72.4049 | 0.11454
2019-06-20 16:00:00 | 0 | 187.609 | 4.195 | 228.993 | 3.9393 | 170.474 | 0 | 7.0098 | 26.34 | 962.238 | 70.7687 | 1.4336
2019-06-20 16:15:00 | 0 | 164.673 | 5.4733 | 209.924 | 5.2177 | 149.145 | 0 | 353.319 | 25.88 | 962.979 | 74.6511 | 6.1852
2019-06-20 16:30:00 | 0 | 180.958 | 5.2177 | 221.602 | 4.7063 | 163.485 | 0 | 6.2542 | 26.03 | 962.754 | 71.6429 | 7.0128
2019-06-20 16:45:00 | 0 | 177.965 | 3.6837 | 220.677 | 4.4507 | 166.016 | 0.63133 | 0.94908 | 26.32 | 962.774 | 71.3361 | 4.0569
2019-06-20 17:00:00 | 0 | 191.836 | 4.195 | 231.336 | 3.9393 | 172.197 | 0 | 16.6454 | 26.17 | 963.003 | 72.938 | 3.1369
2019-06-20 17:15:00 | 0 | 190.157 | 3.428 | 230.314 | 3.1723 | 173.219 | 0 | 12.8491 | 26.43 | 962.986 | 71.9155 | 2.0211
2019-06-20 17:30:00 | 0 | 204.271 | 3.6837 | 247.738 | 3.428 | 177.429 | 0 | 22.9483 | 26.51 | 963.131 | 71.711 | 1.4742
2019-06-20 17:45:00 | 3.1587 | 202.032 | 2.4053 | 239.902 | 1.894 | 175.945 | 0 | 7.2519 | 26.92 | 963.576 | 69.666 | -0.19583
2019-06-20 18:00:00 | 0 | 198.966 | 2.661 | 210.991 | 2.1497 | 172.635 | 0 | 6.2055 | 27.06 | 963.725 | 71.5065 | -0.30667
2019-06-20 18:15:00 | 0 | 182.917 | 2.661 | 226.355 | 2.661 | 172.283 | 0 | 0.63268 | 27.2 | 963.873 | 71.4337 | 0.58748
2019-06-20 18:30:00 | 0 | 107.049 | 5.9847 | 152.582 | 4.962 | 119.946 | 0.37567 | 296.641 | 26.67 | 963.725 | 70.6185 | 4.4892
2019-06-20 18:45:00 | 0 | 69.8912 | 3.9393 | 145.432 | 3.9393 | 91.939 | 0 | 296.867 | 26.35 | 963.873 | 70.8248 | 8.5536
2019-06-20 19:00:00 | 0 | 103.182 | 2.9167 | 143.339 | 2.1497 | 109.509 | 0 | 281.098 | 25.86 | 963.725 | 73.4151 | 4.9696
2019-06-20 19:15:00 | 0 | 138.225 | 2.9167 | 196.317 | 3.6837 | 145.039 | 0 | 331.934 | 25.55 | 963.758 | 73.0743 | 4.5225
2019-06-20 19:30:00 | 0 | 171.37 | 2.9167 | 230.484 | 2.9167 | 192.493 | 0 | 353.106 | 25.53 | 964.11 | 72.938 | 8.1693
2019-06-20 19:45:00 | 0 | 172.222 | 5.729 | 215.956 | 6.496 | 163.729 | 0 | 351.549 | 25.11 | 964.034 | 78.5618 | 13.852
2019-06-20 20:00:00 | 0 | 205.711 | 4.4507 | 239.622 | 5.729 | 177.892 | 0.37567 | 18.3514 | 24.05 | 964.314 | 82.6291 | 8.7716
2019-06-20 20:15:00 | 0.62733 | 198.732 | 4.4507 | 234.567 | 2.9167 | 182.887 | 0 | 31.0572 | 23.66 | 964.451 | 82.1544 | 1.9324
2019-06-20 20:30:00 | 0 | 191.966 | 4.195 | 237.05 | 4.4507 | 173.687 | 0 | 13.046 | 23.44 | 964.463 | 83.927 | 3.8279
2019-06-20 20:45:00 | 0 | 187.288 | 4.4507 | 230.578 | 4.962 | 183.15 | 3.9393 | 4.4059 | 23.16 | 964.76 | 84.8224 | 3.9535
2019-06-20 21:00:00 | 0 | 165.293 | 6.2403 | 210.826 | 4.962 | 161.325 | 0.37567 | 351.863 | 23.04 | 964.463 | 83.3956 | 4.589
2019-06-20 21:15:00 | 0 | 177.977 | 4.4507 | 222.317 | 3.6837 | 159.427 | 0 | 74.8811 | 23.77 | 964.463 | 78.6907 | 3.3475
2019-06-20 21:30:00 | 0 | 181.701 | 5.2177 | 219.688 | 4.7063 | 164.174 | 0 | 5.6477 | 23.84 | 964.612 | 79.3045 | 5.413
2019-06-20 21:45:00 | 0 | 157.017 | 5.4733 | 195.003 | 2.661 | 158.38 | 0 | 350.208 | 24.01 | 964.463 | 82.1002 | 7.567
2019-06-20 22:00:00 | 0 | 180.776 | 3.9393 | 204.108 | 3.6837 | 157.479 | 0.37567 | 4.1141 | 23.73 | 964.463 | 78.7589 | 2.0691
2019-06-20 22:15:00 | 7.4993 | 190.173 | 2.661 | 232.176 | 2.1497 | 182.869 | 0 | 19.8644 | 24.5 | 964.76 | 75.8949 | 0.15518
2019-06-20 22:30:00 | 0 | 231.629 | 3.9393 | 253.962 | 3.1723 | 206.409 | 0 | 63.8288 | 24.51 | 964.315 | 76.031 | 0.50989
2019-06-20 22:45:00 | 0 | 231.57 | 4.195 | 260.718 | 3.1723 | 203.163 | 0 | 54.3081 | 24.4 | 964.612 | 77.4596 | 1.0826
2019-06-20 23:00:00 | 0 | 226.326 | 2.661 | 279.788 | 2.661 | 195.656 | 0 | 49.486 | 24.04 | 964.463 | 78.956 | 1.2119
2019-06-20 23:15:00 | 0 | 235.893 | 4.195 | 281.834 | 3.428 | 227.203 | 0 | 59.5634 | 24.17 | 964.612 | 76.4334 | 1.0641
2019-06-20 23:30:00 | 0 | 244.903 | 3.6837 | 284.979 | 3.6837 | 219.345 | 0 | 67.2322 | 24.4 | 964.463 | 74.4575 | 0.82764
2019-06-20 23:45:00 | 0 | 254.656 | 2.661 | 287.719 | 0 | 232.408 | 0 | 77.1368 | 24.34 | 964.612 | 74.5572 | 0.11454