## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-21 00:00:00 | 0 | 249.901 | 2.9167 | 298.784 | 1.3827 | 265.917 | 0 | 71.2683 | 24.31 | 964.315 | 74.5207 | 0.025864
2019-06-21 00:15:00 | 0 | 258.944 | 2.9167 | 310.849 | 1.6383 | 226.765 | 0 | 81.0814 | 24.29 | 963.87 | 74.6608 | 0.23647
2019-06-21 00:30:00 | 0 | 259.184 | 3.1723 | 301.229 | 1.6383 | 253.245 | 0 | 87.5305 | 24.23 | 963.87 | 74.6596 | 0.33254
2019-06-21 00:45:00 | 0 | 269.702 | 2.661 | 304.227 | 2.1497 | 249.986 | 0 | 91.7182 | 24.23 | 964.018 | 74.0468 | 0.218
2019-06-21 01:00:00 | 0 | 264.499 | 2.1497 | 301.167 | 1.6383 | 261.213 | 0 | 85.1237 | 24.21 | 964.167 | 73.7076 | -0.17366
2019-06-21 01:15:00 | 0 | 246.494 | 2.9167 | 283.358 | 2.661 | 230.72 | 0 | 69.6201 | 24.08 | 963.573 | 74.5622 | -0.059118
2019-06-21 01:30:00 | 0 | 228.795 | 4.195 | 266.414 | 3.6837 | 211.902 | 0 | 57.3266 | 23.95 | 963.722 | 76.9142 | 0.41013
2019-06-21 01:45:00 | 0 | 213.516 | 4.195 | 260.168 | 3.6837 | 214.368 | 0.37567 | 44.6945 | 23.85 | 963.425 | 77.8034 | 2.494
2019-06-21 02:00:00 | 0 | 205.847 | 3.6837 | 262.626 | 3.428 | 200.979 | 0 | 41.7488 | 23.58 | 963.276 | 78.8601 | 2.6381
2019-06-21 02:15:00 | 0 | 229.95 | 1.894 | 267.499 | 0.37567 | 225.228 | 0 | 50.148 | 23.47 | 963.276 | 79.3045 | 0.27342
2019-06-21 02:30:00 | 0 | 232.92 | 3.6837 | 270.444 | 3.1723 | 227.54 | 0 | 64.5594 | 23.49 | 963.573 | 78.4862 | 0.062812
2019-06-21 02:45:00 | 0 | 243.387 | 3.9393 | 289.407 | 3.428 | 228.245 | 0 | 69.3062 | 23.43 | 964.018 | 79.4065 | 0.62073
2019-06-21 03:00:00 | 0 | 257.556 | 2.4053 | 295.616 | 2.1497 | 237.156 | 0 | 72.9336 | 23.35 | 964.018 | 78.793 | 0.70571
2019-06-21 03:15:00 | 0 | 259.041 | 2.9167 | 301.385 | 2.9167 | 262.181 | 0 | 80.8697 | 23.34 | 963.87 | 78.3839 | 0.23647
2019-06-21 03:30:00 | 0 | 259.796 | 3.1723 | 311.025 | 2.9167 | 238.178 | 0 | 78.2892 | 23.12 | 963.87 | 79.4408 | 0.5025
2019-06-21 03:45:00 | 0 | 269.192 | 3.1723 | 314.263 | 2.1497 | 268.754 | 0 | 91.6539 | 23.01 | 964.018 | 79.0317 | 0.062812
2019-06-21 04:00:00 | 0 | 277.274 | 3.428 | 322.978 | 2.661 | 278.93 | 0 | 96.0114 | 22.99 | 963.87 | 78.4862 | 0.055423
2019-06-21 04:15:00 | 0 | 288.353 | 3.1723 | 331.477 | 2.1497 | 289.838 | 0 | 106.918 | 22.98 | 964.167 | 79.1006 | 1.0013
2019-06-21 04:30:00 | 0 | 296.755 | 3.428 | 28.0066 | 2.9167 | 301.672 | 0 | 118.434 | 22.82 | 964.463 | 80.7038 | 1.7588
2019-06-21 04:45:00 | 0 | 318.52 | 1.6383 | 10.2865 | 0 | 11.9783 | 0 | 126.868 | 22.72 | 964.463 | 82.0061 | 1.223
2019-06-21 05:00:00 | 0 | 314.753 | 2.1497 | 3.2267 | 1.6383 | 332.283 | 0 | 154.187 | 22.55 | 964.612 | 81.0873 | 1.1195
2019-06-21 05:15:00 | 0 | 332.8 | 2.4053 | 14.1102 | 2.1497 | 327.176 | 0 | 142.503 | 22.61 | 964.167 | 81.0204 | 1.4336
2019-06-21 05:30:00 | 0 | 319.213 | 1.3827 | 1.328 | 1.6383 | 322.987 | 0 | 130.865 | 22.42 | 964.612 | 80.952 | 1.3375
2019-06-21 05:45:00 | 0 | 309.336 | 2.4053 | 2.7875 | 1.127 | 320.486 | 0 | 131.467 | 22.7 | 964.612 | 79.4133 | 1.1787
2019-06-21 06:00:00 | 0 | 331.537 | 2.9167 | 15.0339 | 1.3827 | 304.199 | 0 | 126.003 | 22.86 | 965.057 | 78.7591 | 0.67985
2019-06-21 06:15:00 | 0 | 295.97 | 1.894 | 0.71982 | 0.75133 | 309.895 | 0 | 104.775 | 23.05 | 965.205 | 78.0088 | 0.67616
2019-06-21 06:30:00 | 0 | 311.3 | 2.661 | 9.922 | 1.3827 | 309.596 | 0 | 125.586 | 23.23 | 965.205 | 73.9158 | 0.52467
2019-06-21 06:45:00 | 0 | 292.8 | 2.1497 | 18.4421 | 1.127 | 300.321 | 0 | 117.811 | 23.22 | 965.501 | 73.1599 | 0.18105
2019-06-21 07:00:00 | 0 | 298.452 | 1.6383 | 16.3633 | 0 | 314.078 | 0 | 132.067 | 23.47 | 965.947 | 73.7687 | -0.11824
2019-06-21 07:15:00 | 0 | 318.483 | 1.6383 | 25.2715 | 0 | 333.695 | 0 | 142.849 | 23.99 | 965.947 | 73.9731 | 0.059118
2019-06-21 07:30:00 | 0 | 277.229 | 1.6383 | 18.7346 | 0 | 291.052 | 0 | 97.1228 | 25.01 | 966.569 | 67.1441 | -0.15888
2019-06-21 07:45:00 | 0 | 79.5751 | 2.4053 | 47.5537 | 1.3827 | 354.194 | 0 | 195.701 | 24.81 | 966.542 | 68.5399 | -0.051728
2019-06-21 08:00:00 | 0 | 33.0853 | 2.4053 | 45.8786 | 0.37567 | 339.221 | 0 | 217.049 | 25.32 | 966.254 | 70.2565 | -0.15149
2019-06-21 08:15:00 | 0 | 23.1594 | 3.6837 | 79.3762 | 3.1723 | 49.238 | 4.7063 | 191.503 | 25.11 | 966.099 | 68.7564 | -0.11824
2019-06-21 08:30:00 | 0 | 22.7945 | 3.9393 | 67.9668 | 1.3827 | 20.3375 | 0 | 216.317 | 26.05 | 966.544 | 62.0784 | 0.19213
2019-06-21 08:45:00 | 0 | 6.5919 | 4.4507 | 70.6812 | 0.75133 | 8.927 | 0 | 170.173 | 25.91 | 967.137 | 59.8229 | 1.0456
2019-06-21 09:00:00 | 0 | 353.69 | 3.1723 | 38.1822 | 2.9167 | 7.4674 | 0 | 182.622 | 26.1 | 966.84 | 60.0256 | 0.72049
2019-06-21 09:15:00 | 0 | 329.096 | 3.1723 | 9.8492 | 2.9167 | 301.363 | 0 | 173.33 | 26.22 | 966.692 | 61.6693 | 0.79439
2019-06-21 09:30:00 | 0 | 282.583 | 4.4507 | 335.881 | 2.1497 | 268.887 | 0 | 107.38 | 26.23 | 966.84 | 61.4651 | 1.0974
2019-06-21 09:45:00 | 0 | 299.442 | 3.428 | 331.77 | 3.6837 | 276.307 | 0 | 128.423 | 26.24 | 966.544 | 62.1465 | 0.23278
2019-06-21 10:00:00 | 0 | 319.346 | 3.428 | 2.5356 | 2.4053 | 348.51 | 0.37567 | 149.274 | 26.93 | 966.989 | 59.5828 | -0.15149
2019-06-21 10:15:00 | 0 | 248.087 | 2.4053 | 318.678 | 0 | 287.558 | 0 | 159.83 | 27.4 | 967.433 | 57.121 | -0.084981
2019-06-21 10:30:00 | 0 | 346.397 | 3.1723 | 6.7706 | 1.3827 | 323.343 | 0 | 266.096 | 28.17 | 967.433 | 56.8801 | -0.27342
2019-06-21 10:45:00 | 0 | 310.648 | 4.4507 | 19.7325 | 3.428 | 286.621 | 0 | 131.492 | 28.86 | 967.73 | 55.688 | -0.12193
2019-06-21 11:00:00 | 0 | 7.4659 | 3.6837 | 47.6792 | 2.1497 | 21.206 | 0 | 199.901 | 29.53 | 967.482 | 54.0191 | -0.029559
2019-06-21 11:15:00 | 0 | 284.506 | 3.6837 | 334.665 | 3.9393 | 291.193 | 0 | 121.181 | 28.23 | 967.613 | 57.1526 | 0.36579
2019-06-21 11:30:00 | 0 | 313.202 | 3.6837 | 3.9783 | 2.4053 | 329.374 | 0 | 137.888 | 28.47 | 967.433 | 56.5055 | 0.65768
2019-06-21 11:45:00 | 0 | 283.071 | 3.6837 | 322.166 | 2.4053 | 238.446 | 0 | 99.6341 | 28.19 | 967.136 | 57.4251 | 0.72049
2019-06-21 12:00:00 | 0 | 273.976 | 3.9393 | 322.506 | 5.2177 | 280.25 | 0 | 88.0584 | 29.08 | 967.285 | 55.7221 | 0.59487
2019-06-21 12:15:00 | 0 | 345.959 | 4.7063 | 36.7115 | 4.195 | 317.895 | 0 | 161.623 | 30.13 | 967.285 | 53.7466 | 0.22169
2019-06-21 12:30:00 | 0 | 305.566 | 2.661 | 13.6285 | 3.1723 | 273.489 | 0 | 117.971 | 29.53 | 966.84 | 55.654 | -0.0073897
2019-06-21 12:45:00 | 0 | 318.698 | 3.6837 | 5.5834 | 2.9167 | 316.242 | 0 | 140.611 | 30.8 | 967.729 | 51.1921 | 0.23278
2019-06-21 13:00:00 | 0 | 350.337 | 1.6383 | 10.8561 | 1.3827 | 275.094 | 0 | 224.025 | 30.53 | 967.433 | 52.1798 | 0.2143
2019-06-21 13:15:00 | 0 | 337.18 | 3.9393 | 18.4237 | 3.6837 | 293.358 | 0 | 163.325 | 30.7 | 967.409 | 53.3379 | 0.17366
2019-06-21 13:30:00 | 0 | 268.966 | 2.4053 | 17.5482 | 3.1723 | 295.328 | 3.9393 | 190.173 | 30.68 | 967.405 | 53.5763 | 0.16627
2019-06-21 13:45:00 | 0 | 310.113 | 2.4053 | 18.93 | 2.4053 | 270.547 | 0 | 128.111 | 30.64 | 966.836 | 53.7466 | -0.18105
2019-06-21 14:00:00 | 0 | 261.038 | 0.75133 | 267.424 | 0.75133 | 326.31 | 0 | 253.888 | 31.03 | 967.407 | 51.1581 | -0.036948
2019-06-21 14:15:00 | 0 | 316.728 | 4.195 | 2.7336 | 3.6837 | 321.3 | 0 | 138.642 | 31.06 | 967.023 | 54.3937 | -0.16627
2019-06-21 14:30:00 | 0 | 58.8515 | 0 | 77.4454 | 1.127 | 102.236 | 0 | 218.48 | 30.41 | 966.489 | 55.2452 | 0.16996
2019-06-21 14:45:00 | 0 | 89.4202 | 0.37567 | 144.492 | 0.75133 | 102.236 | 0 | 275.678 | 30.69 | 966.543 | 54.8365 | 0.68355
2019-06-21 15:00:00 | 0 | 292.531 | 4.962 | 325.911 | 3.6837 | 259.579 | 0 | 112.134 | 30.78 | 966.543 | 54.4959 | 0.94219
2019-06-21 15:15:00 | 0 | 350.774 | 2.4053 | 41.2104 | 1.894 | 348.245 | 0 | 170.232 | 30.22 | 965.802 | 57.2207 | -0.12562
2019-06-21 15:30:00 | 0 | 327.476 | 3.6837 | 10.4656 | 2.4053 | 299.578 | 0.37567 | 143.599 | 30.13 | 965.951 | 56.2071 | 1.489
2019-06-21 15:45:00 | 0 | 316.101 | 3.428 | 15.1354 | 3.1723 | 303.745 | 0 | 160.239 | 30.05 | 965.951 | 55.1184 | 0.31037
2019-06-21 16:00:00 | 0 | 283.903 | 5.2177 | 330.549 | 3.6837 | 277.482 | 0 | 104.494 | 30.15 | 966.247 | 54.9832 | 1.755
2019-06-21 16:15:00 | 0 | 306.968 | 4.962 | 15.6217 | 4.962 | 292.155 | 0 | 130.595 | 30.35 | 966.247 | 56.1086 | 1.755
2019-06-21 16:30:00 | 0 | 305.278 | 3.9393 | 335.092 | 4.195 | 294.357 | 0 | 136.914 | 30.47 | 966.247 | 55.9361 | 2.1356
2019-06-21 16:45:00 | 0 | 305.642 | 4.195 | 6.1602 | 3.428 | 298.272 | 0 | 135.6 | 30.19 | 966.247 | 56.6854 | 3.3549
2019-06-21 17:00:00 | 0 | 269.304 | 5.2177 | 333.267 | 3.9393 | 288.933 | 0 | 116.264 | 29.98 | 965.802 | 56.8218 | 3.7614
2019-06-21 17:15:00 | 0 | 289.776 | 3.6837 | 17.5919 | 3.9393 | 292.914 | 0 | 133.37 | 29.72 | 965.506 | 57.5063 | 5.073
2019-06-21 17:30:00 | 0 | 317.808 | 3.428 | 13.4983 | 2.4053 | 317.541 | 0 | 152.385 | 29.66 | 965.061 | 57.7171 | 4.8735
2019-06-21 17:45:00 | 0 | 327.491 | 3.6837 | 45.2696 | 1.6383 | 340.92 | 0 | 151.144 | 29.72 | 965.654 | 56.9676 | 3.717
2019-06-21 18:00:00 | 4.946 | 61.4016 | 7.7743 | 120.319 | 6.7517 | 61.9611 | 4.962 | 270.42 | 28.89 | 965.506 | 49.8126 | 5.8711
2019-06-21 18:15:00 | 1.138 | 109.482 | 9.3083 | 165.196 | 7.263 | 84.3745 | 1.5183 | 284.022 | 26.95 | 965.243 | 47.8411 | 27.3049
2019-06-21 18:30:00 | 8.01 | 86.4564 | 8.2857 | 141.744 | 5.4733 | 90.2767 | 4.195 | 270.66 | 27.98 | 965.501 | 49.3142 | 11.8198
2019-06-21 18:45:00 | 0 | 79.9121 | 5.4733 | 109.091 | 3.6837 | 25.9885 | 0 | 258.571 | 27.29 | 965.652 | 49.5196 | 4.2749
2019-06-21 19:00:00 | 0 | 82.6417 | 4.195 | 130.123 | 4.195 | 85.3672 | 0 | 264.205 | 27.37 | 965.504 | 48.1928 | 1.1269
2019-06-21 19:15:00 | 0 | 60.4482 | 1.3827 | 118.564 | 1.6383 | 48.8648 | 0 | 226.219 | 29.67 | 965.949 | 37.6955 | -0.25864
2019-06-21 19:30:00 | 0 | 45.2379 | 2.4053 | 96.0028 | 1.6383 | 35.9178 | 0 | 213.268 | 29.5 | 966.097 | 40.8984 | -0.19583
2019-06-21 19:45:00 | 0 | 344.106 | 3.1723 | 33.9239 | 4.195 | 357.003 | 2.541 | 159.387 | 29.33 | 966.393 | 45.805 | 2.0913
2019-06-21 20:00:00 | 0 | 345.358 | 4.962 | 21.5636 | 3.6837 | 339.298 | 0 | 154.087 | 27.85 | 966.542 | 50.987 | 5.2319
2019-06-21 20:15:00 | 0 | 349.752 | 5.2177 | 41.0053 | 2.661 | 0.53535 | 1.2627 | 181.045 | 27.53 | 966.097 | 52.2124 | 2.5938
2019-06-21 20:30:00 | 0 | 14.5037 | 5.4733 | 64.3213 | 2.9167 | 16.8156 | 5.9847 | 197.09 | 27.12 | 965.949 | 54.1917 | 1.5999
2019-06-21 20:45:00 | 0 | 25.8198 | 4.962 | 77.9255 | 3.428 | 26.1849 | 0.37567 | 212.253 | 27.13 | 966.245 | 57.7028 | 2.3906
2019-06-21 21:00:00 | 0 | 33.6315 | 4.7063 | 98.8053 | 3.428 | 32.5121 | 5.729 | 224.445 | 27.27 | 966.542 | 58.2822 | 2.095
2019-06-21 21:15:00 | 0 | 67.1656 | 3.9393 | 108.053 | 2.9167 | 39.91 | 0 | 235.445 | 27.28 | 966.69 | 60.8725 | 0.52836
2019-06-21 21:30:00 | 0 | 38.6202 | 2.9167 | 63.227 | 1.894 | 346.146 | 1.3827 | 243.159 | 26.96 | 966.69 | 63.7355 | 0.41013
2019-06-21 21:45:00 | 0 | 43.5116 | 4.7063 | 89.9959 | 2.9167 | 39.618 | 4.962 | 224.25 | 26.69 | 966.69 | 64.8262 | 0.97913
2019-06-21 22:00:00 | 0 | 56.2634 | 3.9393 | 106.349 | 3.428 | 46.1399 | 0 | 244.327 | 27.07 | 966.698 | 63.9059 | 0.83873
2019-06-21 22:15:00 | 0 | 62.4446 | 5.4733 | 112.482 | 4.195 | 54.3409 | 0 | 250.606 | 27.47 | 966.846 | 62.9857 | 0.96435
2019-06-21 22:30:00 | 0 | 82.6186 | 4.4507 | 127.521 | 3.9393 | 67.8957 | 0 | 269.295 | 27.32 | 966.843 | 62.0313 | 0.3621
2019-06-21 22:45:00 | 0 | 92.3771 | 4.4507 | 144.702 | 4.195 | 89.2621 | 0 | 278.81 | 27.53 | 966.987 | 60.8725 | 1.2563
2019-06-21 23:00:00 | 0 | 99.6777 | 4.7063 | 151.053 | 4.195 | 99.6777 | 0 | 281.658 | 28.15 | 967.135 | 58.0777 | 2.627
2019-06-21 23:15:00 | 0 | 109.436 | 3.1723 | 187.824 | 2.661 | 142.046 | 0 | 289.177 | 28.06 | 967.135 | 59.9182 | 2.9707
2019-06-21 23:30:00 | 0 | 93.8129 | 3.1723 | 159.546 | 2.9167 | 114.376 | 0 | 281.658 | 27.81 | 966.69 | 59.6455 | 3.9128
2019-06-21 23:45:00 | 0 | 148.227 | 4.195 | 223.865 | 3.6837 | 164.312 | 0 | 311.103 | 27.56 | 966.69 | 61.0088 | 3.8611