## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-22 00:00:00 | 0 | 109.728 | 5.2177 | 162.832 | 5.4733 | 138.468 | 0.37567 | 291.951 | 27.36 | 966.69 | 61.2815 | 6.7283
2019-06-22 00:15:00 | 0 | 111.237 | 9.0527 | 166.774 | 7.0073 | 123.405 | 3.9393 | 288.569 | 26.89 | 966.394 | 62.0995 | 9.6916
2019-06-22 00:30:00 | 0.88267 | 120.606 | 9.3083 | 163.464 | 7.263 | 109.217 | 4.7063 | 297.5 | 26.61 | 966.097 | 62.2358 | 13.4345
2019-06-22 00:45:00 | 1.3713 | 112.137 | 8.5413 | 151.978 | 7.263 | 101.065 | 2.4053 | 295.091 | 26.66 | 966.394 | 61.6223 | 19.5457
2019-06-22 01:00:00 | 0 | 98.0472 | 10.0753 | 149.934 | 7.0073 | 108.73 | 1.774 | 280.27 | 26.63 | 966.396 | 60.1227 | 20.3327
2019-06-22 01:15:00 | 0 | 107.392 | 7.7743 | 155.02 | 5.9847 | 92.4501 | 4.962 | 287.912 | 26.4 | 966.396 | 60.3272 | 20.2478
2019-06-22 01:30:00 | 0.372 | 135.061 | 6.496 | 187.191 | 3.1723 | 161.027 | 5.4733 | 325.291 | 26.19 | 966.56 | 62.1677 | 21.9991
2019-06-22 01:45:00 | 1.116 | 111.115 | 10.5867 | 159.984 | 9.0527 | 86.6339 | 0.63133 | 292.438 | 26.03 | 966.208 | 61.895 | 18.5149
2019-06-22 02:00:00 | 3.414 | 106.881 | 9.8197 | 154.898 | 8.5413 | 114.741 | 2.661 | 286.306 | 25.85 | 966.205 | 62.2018 | 10.7889
2019-06-22 02:15:00 | 3.1587 | 90.5042 | 6.7517 | 147.113 | 6.496 | 90.5772 | 3.9393 | 282.366 | 25.72 | 966.517 | 62.6455 | 9.2002
2019-06-22 02:30:00 | 0 | 46.9438 | 6.496 | 108.006 | 3.9393 | 84.786 | 5.729 | 240.584 | 25.45 | 966.657 | 63.5663 | 10.8444
2019-06-22 02:45:00 | 6.9887 | 64.0583 | 4.7063 | 97.5537 | 4.195 | 45.9749 | 5.4733 | 258.643 | 25.39 | 966.834 | 62.5841 | 15.7548
2019-06-22 03:00:00 | 7.244 | 85.1879 | 6.496 | 129.371 | 4.195 | 109.892 | 2.1497 | 280.584 | 25.36 | 966.985 | 59.5872 | 14.384
2019-06-22 03:15:00 | 0 | 44.7359 | 4.962 | 75.8975 | 2.9167 | 18.498 | 0 | 226.454 | 25.29 | 967.577 | 60.201 | 5.7676
2019-06-22 03:30:00 | 0.62733 | 92.8796 | 7.5187 | 152.324 | 4.7063 | 109.625 | 0.63133 | 278.785 | 25.19 | 966.821 | 60.7465 | 10.5414
2019-06-22 03:45:00 | 0 | 153.436 | 5.4733 | 208.426 | 4.7063 | 155.335 | 0 | 321.72 | 25.47 | 966.391 | 69.2688 | 12.4923
2019-06-22 04:00:00 | 0 | 108.968 | 5.729 | 150.06 | 3.1723 | 95.3379 | 0 | 297.039 | 24.55 | 966.688 | 63.0646 | 12.7029
2019-06-22 04:15:00 | 0 | 106.997 | 3.9393 | 178.27 | 3.1723 | 123.353 | 0 | 299.303 | 23.97 | 966.54 | 60.4738 | 15.4518
2019-06-22 04:30:00 | 0 | 114.572 | 5.729 | 168.203 | 1.6383 | 127.546 | 0 | 292.82 | 24.34 | 966.391 | 62.1133 | 14.1365
2019-06-22 04:45:00 | 0.99933 | 103.257 | 7.0073 | 151.048 | 6.7517 | 87.6052 | 2.2853 | 293.51 | 24.94 | 966.54 | 57.9561 | 11.2767
2019-06-22 05:00:00 | 0 | 110.069 | 5.4733 | 157.931 | 4.195 | 88.9166 | 0 | 301.557 | 24.64 | 966.985 | 56.795 | 8.3319
2019-06-22 05:15:00 | 0 | 306.388 | 1.127 | 331.221 | 0.75133 | 307.361 | 0 | 152.464 | 23.89 | 967.133 | 59.6561 | 3.3845
2019-06-22 05:30:00 | 0 | 123.159 | 1.6383 | 178.223 | 0 | 59.5349 | 0 | 313.155 | 23.93 | 966.985 | 51.4066 | 2.0839
2019-06-22 05:45:00 | 0 | 116.124 | 3.428 | 151.74 | 3.9393 | 97.8696 | 0 | 302.201 | 24.27 | 967.133 | 44.7249 | 2.3425
2019-06-22 06:00:00 | 0 | 127.539 | 1.6383 | 156.364 | 0.75133 | 124.01 | 0 | 324.957 | 24.42 | 967.43 | 44.0771 | 1.1417
2019-06-22 06:15:00 | 0 | 99.2566 | 2.4053 | 177.832 | 1.6383 | 102.226 | 0 | 266.713 | 24.48 | 967.875 | 43.7703 | 0.91632
2019-06-22 06:30:00 | 0 | 71.5582 | 2.4053 | 132.268 | 1.3827 | 86.308 | 0 | 231.907 | 24.37 | 968.172 | 46.9064 | 0.89046
2019-06-22 06:45:00 | 0 | 89.18 | 0.75133 | 152.032 | 0 | 59.5832 | 0 | 257.269 | 24.39 | 968.165 | 48.0655 | 0.66877
2019-06-22 07:00:00 | 0 | 61.1409 | 1.3827 | 142.393 | 0 | 71.1688 | 0 | 244.125 | 24.54 | 968.765 | 49.7017 | 0.12193
2019-06-22 07:15:00 | 0 | 335.873 | 1.3827 | 6.8571 | 0.75133 | 307.835 | 0 | 148.076 | 23.91 | 968.31 | 67.6982 | -0.055423
2019-06-22 07:30:00 | 0 | 284.345 | 1.127 | 8.9026 | 0 | 261.007 | 0 | 103.381 | 24.21 | 968.579 | 62.2382 | -0.16627
2019-06-22 07:45:00 | 0 | 284.383 | 0 | 8.903 | 0 | 188.648 | 0 | 87.4857 | 25.54 | 969.231 | 55.4192 | -0.12193
2019-06-22 08:00:00 | 0 | 192.675 | 1.6383 | 280.863 | 0 | 207.713 | 0 | 41.5621 | 26.38 | 969.063 | 55.8927 | -0.11084
2019-06-22 08:15:00 | 0 | 264.223 | 0.75133 | 242.155 | 1.894 | 148.204 | 0 | 74.8319 | 26.01 | 969.22 | 50.4952 | -0.11084
2019-06-22 08:30:00 | 0 | 268.328 | 1.6383 | 317.174 | 1.894 | 256.213 | 0 | 91.8591 | 26.65 | 969.212 | 51.5503 | -0.11084
2019-06-22 08:45:00 | 0 | 290.903 | 1.894 | 16.7888 | 2.1497 | 299.661 | 0 | 119.008 | 26.08 | 969.36 | 55.1959 | -0.11084
2019-06-22 09:00:00 | 0 | 280.102 | 1.894 | 336.409 | 2.661 | 268.061 | 0 | 91.4618 | 26.13 | 969.36 | 53.8964 | -0.11084
2019-06-22 09:15:00 | 0 | 274.071 | 2.4053 | 328.986 | 2.1497 | 287.011 | 0 | 104.881 | 26.72 | 969.805 | 50.5877 | -0.11084
2019-06-22 09:30:00 | 0 | 278.843 | 0 | 311.104 | 0 | 306.931 | 0 | 131.712 | 26.66 | 969.657 | 52.7935 | -0.11084
2019-06-22 09:45:00 | 0 | 29.3771 | 1.3827 | 57.3824 | 1.894 | 24.8052 | 0 | 226.432 | 27.35 | 970.102 | 50.8856 | -0.11084
2019-06-22 10:00:00 | 0 | 18.0932 | 1.3827 | 90.3101 | 0.37567 | 42.7038 | 0 | 222.468 | 27.03 | 969.953 | 48.6376 | -0.12193
2019-06-22 10:15:00 | 0 | 41.2447 | 1.007 | 94.2984 | 1.3827 | 300.386 | 0 | 217.702 | 28.37 | 970.546 | 46.3215 | -0.1441
2019-06-22 10:30:00 | 0 | 328.79 | 4.7063 | 25.1114 | 3.428 | 321.981 | 0 | 164.419 | 28.21 | 970.398 | 47.9224 | -0.37318
2019-06-22 10:45:00 | 0 | 354.203 | 2.9167 | 49.2843 | 2.4053 | 9.2898 | 0 | 170.183 | 28.66 | 970.129 | 45.8447 | -0.084981
2019-06-22 11:00:00 | 0 | 9.1439 | 0.75133 | 92.1583 | 0.75133 | 19.9414 | 0 | 189.492 | 27.91 | 969.929 | 46.0491 | -0.18474
2019-06-22 11:15:00 | 0 | 345.132 | 2.661 | 17.0132 | 2.4053 | 320.425 | 0 | 165.246 | 28.87 | 969.793 | 44.2098 | -0.22169
2019-06-22 11:30:00 | 0 | 341.217 | 1.6383 | 39.6297 | 2.1497 | 325.58 | 0 | 168.602 | 30.05 | 969.917 | 37.9428 | -0.15518
2019-06-22 11:45:00 | 0 | 10.1166 | 6.496 | 58.4038 | 1.6383 | 16.9502 | 0 | 193.48 | 29.65 | 969.541 | 35.0818 | -0.14779
2019-06-22 12:00:00 | 0 | 15.8559 | 4.7063 | 70.466 | 4.4507 | 22.1788 | 5.9847 | 191.827 | 29.09 | 969.085 | 35.5586 | 0.61334
2019-06-22 12:15:00 | 0 | 311.475 | 1.6383 | 334.957 | 2.4053 | 17.2177 | 0 | 160.188 | 28.9 | 968.915 | 33.7534 | 1.0752
2019-06-22 12:30:00 | 0 | 21.741 | 3.1723 | 68.788 | 1.894 | 35.4082 | 0 | 204.083 | 29.2 | 968.915 | 33.1063 | 3.5507
2019-06-22 12:45:00 | 5.9673 | 332.997 | 5.2177 | 63.9242 | 4.4507 | 24.5134 | 5.2177 | 168.359 | 29.53 | 968.619 | 29.6322 | 7.6299
2019-06-22 13:00:00 | 0.88267 | 356.708 | 6.496 | 64.3619 | 4.4507 | 5.3745 | 3.1723 | 192.824 | 29.57 | 968.619 | 31.233 | 5.9598
2019-06-22 13:15:00 | 0 | 8.074 | 2.661 | 102.083 | 2.9167 | 56.4452 | 0 | 190.396 | 29.57 | 968.47 | 34.1289 | 4.8365
2019-06-22 13:30:00 | 0 | 16.3675 | 1.6383 | 81.2691 | 0 | 2.0429 | 2.7967 | 211.537 | 29.92 | 968.767 | 29.8382 | 4.5742
2019-06-22 13:45:00 | 0 | 329.108 | 4.4507 | 13.3656 | 5.9847 | 309.969 | 0 | 164.785 | 29.95 | 968.767 | 28.2018 | 7.7924
2019-06-22 14:00:00 | 0 | 354.714 | 4.4507 | 62.6596 | 3.428 | 356.951 | 0.37567 | 170.815 | 30.36 | 968.915 | 28.1335 | 16.0024
2019-06-22 14:15:00 | 0 | 26.5561 | 8.797 | 69.2014 | 6.2403 | 320.838 | 2.661 | 203.792 | 30.3 | 968.619 | 29.8365 | 16.4827
2019-06-22 14:30:00 | 0 | 9.6546 | 3.9393 | 45.904 | 4.4507 | 1.07 | 4.4507 | 173.539 | 29.87 | 968.174 | 30.654 | 20.0224
2019-06-22 14:45:00 | 4.18 | 29.1339 | 4.4507 | 65.7481 | 3.6837 | 323.586 | 4.4507 | 209.725 | 30.4 | 968.767 | 32.2207 | 18.2525
2019-06-22 15:00:00 | 2.7867 | 7.6604 | 7.7743 | 86.7839 | 6.496 | 22.957 | 3.9393 | 168.748 | 30.84 | 968.619 | 33.0382 | 24.9882
2019-06-22 15:15:00 | 0 | 26.6291 | 7.263 | 62.8542 | 2.1497 | 350.361 | 1.6383 | 183.899 | 29.98 | 968.172 | 33.3447 | 29.1265
2019-06-22 15:30:00 | 10.5633 | 14.6156 | 10.331 | 78.2723 | 4.962 | 89.2257 | 3.9393 | 182.586 | 30.26 | 968.026 | 34.7752 | 32.304
2019-06-22 15:45:00 | 0 | 33.9734 | 7.263 | 78.7587 | 3.9393 | 24.6106 | 1.2627 | 212.084 | 29.97 | 968.322 | 36.376 | 33.7968
2019-06-22 16:00:00 | 0 | 84.0944 | 6.496 | 71.8035 | 7.0073 | 14.8831 | 4.7063 | 169.04 | 29.83 | 968.026 | 37.8065 | 37.2219
2019-06-22 16:15:00 | 0.372 | 16.9988 | 9.3083 | 73.4815 | 6.2403 | 32.7817 | 5.4733 | 188.179 | 29.68 | 967.729 | 36.7507 | 35.6996
2019-06-22 16:30:00 | 2.1593 | 29.6446 | 6.7517 | 99.4296 | 5.2177 | 48.7835 | 3.428 | 156.71 | 29.87 | 967.581 | 34.9455 | 37.9128
2019-06-22 16:45:00 | 2.3927 | 0.24319 | 8.797 | 72.4601 | 4.7063 | 0.048638 | 3.9393 | 180.591 | 29.66 | 967.729 | 35.2861 | 34.532
2019-06-22 17:00:00 | 5.9673 | 356.903 | 7.263 | 81.1662 | 3.9393 | 26.24 | 5.9847 | 167.508 | 29.7 | 967.581 | 36.4441 | 35.4336
2019-06-22 17:15:00 | 1.2547 | 0.14591 | 7.7743 | 63.146 | 7.0073 | 25.3888 | 6.2403 | 198.563 | 29.54 | 967.729 | 36.376 | 35.4631
2019-06-22 17:30:00 | 7.244 | 83.3716 | 9.0527 | 71.7622 | 3.1723 | 14.2033 | 5.9847 | 180.679 | 29.32 | 967.433 | 35.2208 | 35.4225
2019-06-22 17:45:00 | 6.2227 | 14.1559 | 4.195 | 77.0483 | 6.2403 | 23.3986 | 5.9847 | 151.532 | 29.3 | 967.285 | 33.3843 | 30.4307
2019-06-22 18:00:00 | 4.946 | 348.231 | 6.496 | 53.879 | 7.263 | 28.2429 | 5.4733 | 179.309 | 29.2 | 967.433 | 32.2988 | 29.5809
2019-06-22 18:15:00 | 0 | 3.722 | 6.7517 | 65.0959 | 6.7517 | 8.4658 | 3.308 | 179.801 | 29.13 | 967.136 | 33.2537 | 28.6166
2019-06-22 18:30:00 | 0.62733 | 2.0191 | 5.729 | 74.4134 | 5.4733 | 10.6553 | 4.195 | 187.1 | 28.96 | 966.988 | 33.799 | 22.6457
2019-06-22 18:45:00 | 9.2867 | 6.2034 | 6.496 | 56.8736 | 5.9847 | 5.6925 | 2.9167 | 186.127 | 28.9 | 966.84 | 33.6627 | 19.6751
2019-06-22 19:00:00 | 0 | 84.3906 | 5.729 | 61.3254 | 2.9167 | 34.4715 | 5.9847 | 187.683 | 28.72 | 966.84 | 34.8893 | 16.867
2019-06-22 19:15:00 | 0 | 29.1989 | 5.2177 | 77.5244 | 3.1723 | 17.5923 | 1.1427 | 203.127 | 28.29 | 967.115 | 35.8511 | 14.7018
2019-06-22 19:30:00 | 0 | 25.26 | 4.962 | 74.6155 | 4.962 | 36.5516 | 1.6383 | 207.872 | 28.14 | 967.131 | 34.8328 | 11.1178
2019-06-22 19:45:00 | 0 | 23.0189 | 4.962 | 79.4728 | 3.428 | 19.88 | 0.63133 | 212.475 | 28.27 | 967.431 | 35.102 | 10.2569
2019-06-22 20:00:00 | 0 | 31.7327 | 5.2177 | 81.1603 | 4.7063 | 41.6614 | 2.9167 | 211.373 | 28.12 | 967.283 | 35.3777 | 9.7137
2019-06-22 20:15:00 | 0 | 39.8126 | 5.729 | 98.4645 | 3.9393 | 53.9272 | 5.9847 | 227.438 | 28.1 | 967.283 | 35.651 | 8.9194
2019-06-22 20:30:00 | 0 | 38.8393 | 7.7743 | 95.228 | 4.7063 | 34.1669 | 5.9847 | 221.428 | 28 | 967.283 | 36.8098 | 10.8407
2019-06-22 20:45:00 | 0 | 41.5648 | 5.4733 | 100.606 | 2.9167 | 356.854 | 1.774 | 217.339 | 27.89 | 967.431 | 37.0143 | 12.6696
2019-06-22 21:00:00 | 8.2653 | 50.8366 | 7.5187 | 92.4781 | 3.9393 | 20.5391 | 4.7063 | 223.52 | 27.78 | 967.431 | 36.8098 | 14.4247
2019-06-22 21:15:00 | 0 | 37.5981 | 7.0073 | 94.5709 | 4.4507 | 37.5251 | 1.127 | 226.465 | 27.95 | 967.431 | 36.8098 | 14.0367
2019-06-22 21:30:00 | 0 | 44.6797 | 5.2177 | 100.241 | 3.6837 | 61.4468 | 3.428 | 230.821 | 27.73 | 967.728 | 37.2188 | 12.1893
2019-06-22 21:45:00 | 0 | 35.627 | 3.9393 | 95.6417 | 3.6837 | 31.7577 | 0 | 219.554 | 27.64 | 967.728 | 37.3551 | 11.7016
2019-06-22 22:00:00 | 0 | 51.591 | 4.7063 | 100.192 | 3.428 | 49.3521 | 0 | 229.093 | 27.58 | 967.58 | 37.7641 | 10.2162
2019-06-22 22:15:00 | 0 | 48.7681 | 5.2177 | 110.949 | 4.7063 | 32.22 | 0 | 229.337 | 27.6 | 967.283 | 38.139 | 10.0167
2019-06-22 22:30:00 | 0 | 60.157 | 6.2403 | 106.252 | 4.962 | 61.1791 | 0.63133 | 255.035 | 27.47 | 967.283 | 38.6503 | 8.5425
2019-06-22 22:45:00 | 0 | 52.1507 | 2.9167 | 106.641 | 3.428 | 37.2818 | 0 | 235.956 | 27.1 | 967.431 | 39.6728 | 6.8687
2019-06-22 23:00:00 | 0 | 48.2814 | 3.6837 | 95.0576 | 2.661 | 26.4039 | 0 | 243.378 | 26.99 | 967.445 | 39.6046 | 5.5164
2019-06-22 23:15:00 | 0 | 73.5902 | 2.9167 | 107.736 | 2.9167 | 72.1787 | 0 | 249.486 | 27.08 | 967.507 | 39.2638 | 5.5755
2019-06-22 23:30:00 | 0 | 54.6572 | 4.195 | 117.154 | 3.1723 | 54.3165 | 0 | 232.354 | 27.14 | 967.377 | 38.105 | 4.855
2019-06-22 23:45:00 | 0 | 57.5288 | 3.1723 | 114.721 | 1.894 | 59.427 | 0 | 244.157 | 26.99 | 967.241 | 38.923 | 4.9622