## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-23 00:00:00 | 0 | 53.2458 | 2.1497 | 117.154 | 1.894 | 83.1296 | 0 | 251.117 | 26.88 | 967.354 | 38.0368 | 3.3401
2019-06-23 00:15:00 | 0 | 43.5129 | 1.6383 | 123.412 | 1.894 | 66.6565 | 0 | 273.902 | 26.88 | 967.212 | 37.9016 | 1.1048
2019-06-23 00:30:00 | 0 | 97.643 | 2.661 | 134.204 | 1.6383 | 82.1155 | 0 | 279.276 | 27.11 | 967.276 | 37.1543 | 0.43969
2019-06-23 00:45:00 | 0 | 103.826 | 3.6837 | 144.914 | 3.428 | 103.68 | 0 | 286.019 | 27.01 | 967.117 | 37.325 | 2.7268
2019-06-23 01:00:00 | 0 | 98.682 | 3.9393 | 157.628 | 2.9167 | 105.253 | 0 | 281.298 | 27.15 | 967.701 | 37.1514 | 4.1826
2019-06-23 01:15:00 | 0 | 98.0974 | 4.195 | 147.576 | 3.1723 | 102.721 | 0 | 282.66 | 26.91 | 967.249 | 36.4695 | 4.3969
2019-06-23 01:30:00 | 5.2013 | 122.699 | 3.6837 | 152.587 | 3.1723 | 98.0229 | 0 | 295.188 | 27.16 | 967.51 | 33.4015 | 4.977
2019-06-23 01:45:00 | 0 | 110.435 | 4.195 | 152.88 | 4.7063 | 119.61 | 0 | 286.333 | 27.23 | 967.224 | 27.6077 | 6.0854
2019-06-23 02:00:00 | 0 | 106.735 | 3.6837 | 162.126 | 4.195 | 96.2464 | 0 | 292.803 | 27.2 | 967.014 | 27.2665 | 5.9856
2019-06-23 02:15:00 | 0 | 103.888 | 3.428 | 146.454 | 2.9167 | 98.2419 | 0 | 280.49 | 27.21 | 967.456 | 27.88 | 5.8379
2019-06-23 02:30:00 | 0 | 92.6935 | 3.6837 | 153.268 | 3.9393 | 102.501 | 0 | 278.932 | 26.9 | 967.45 | 28.289 | 6.3773
2019-06-23 02:45:00 | 0 | 88.6781 | 4.195 | 152.733 | 3.9393 | 98.8016 | 0 | 280.173 | 26.92 | 967.491 | 28.3572 | 5.945
2019-06-23 03:00:00 | 0 | 95.2 | 4.195 | 150.226 | 3.9393 | 96.4654 | 0 | 281.658 | 26.8 | 967.485 | 28.5958 | 6.0337
2019-06-23 03:15:00 | 0 | 86.1472 | 4.195 | 152.173 | 3.428 | 92.1824 | 0 | 257.979 | 26.74 | 967.385 | 28.8344 | 3.7429
2019-06-23 03:30:00 | 0 | 106.496 | 1.894 | 163.009 | 1.6383 | 114.381 | 0 | 287.558 | 26.66 | 967.713 | 29.3126 | 3.3956
2019-06-23 03:45:00 | 0 | 119.277 | 2.4053 | 185.357 | 1.894 | 135.242 | 0 | 297.352 | 26.01 | 967.33 | 31.0862 | 3.6949
2019-06-23 04:00:00 | 0 | 122.816 | 3.9393 | 182.21 | 4.4507 | 136.154 | 0 | 300.006 | 25.99 | 967.133 | 30.3388 | 4.589
2019-06-23 04:15:00 | 0 | 121.406 | 5.2177 | 180.947 | 4.962 | 130.533 | 4.962 | 294.727 | 26.1 | 967.273 | 30.6119 | 4.0865
2019-06-23 04:30:00 | 0 | 119.969 | 3.9393 | 169.361 | 4.4507 | 128.999 | 0 | 281.706 | 25.8 | 967.578 | 31.5664 | 3.632
2019-06-23 04:45:00 | 0 | 97.4068 | 3.6837 | 162.352 | 3.1723 | 112.205 | 0 | 283.701 | 25.99 | 967.428 | 31.2255 | 3.1997
2019-06-23 05:00:00 | 0 | 109.723 | 2.661 | 156.948 | 0 | 108.067 | 0 | 286.574 | 25.79 | 967.717 | 32.1118 | 2.0654
2019-06-23 05:15:00 | 0 | 100.23 | 3.428 | 143.464 | 1.894 | 112.546 | 0 | 285.405 | 25.83 | 967.722 | 32.18 | 1.5888
2019-06-23 05:30:00 | 0 | 102.664 | 2.4053 | 152.665 | 1.127 | 152.657 | 0 | 283.044 | 26.11 | 968.023 | 32.5209 | 1.9657
2019-06-23 05:45:00 | 0 | 74.4667 | 1.127 | 151.906 | 0 | 163.51 | 0 | 263.797 | 26.62 | 968.319 | 31.902 | 1.271
2019-06-23 06:00:00 | 0 | 116.128 | 1.894 | 182.665 | 0 | 131.508 | 0 | 267.568 | 27.34 | 968.47 | 31.561 | 0.5764
2019-06-23 06:15:00 | 0 | 44.3819 | 1.127 | 210.11 | 0 | 42.4354 | 0 | 165.459 | 28.33 | 968.921 | 28.9669 | 0.41013
2019-06-23 06:30:00 | 0 | 0.14596 | 0 | 213.443 | 0 | 42.2562 | 0 | 155.11 | 29.77 | 969.213 | 28.0068 | -0.018474
2019-06-23 06:45:00 | 0 | 32.0093 | 1.127 | 85.2463 | 0 | 35.1227 | 0 | 198.574 | 28.23 | 969.212 | 32.2605 | -0.17366
2019-06-23 07:00:00 | 0 | 332.777 | 0.75133 | 84.8533 | 0 | 44.5098 | 0 | 197.545 | 27.32 | 968.916 | 31.9528 | -0.31776
2019-06-23 07:15:00 | 0 | 332.738 | 1.127 | 84.4915 | 0.75133 | 30.647 | 0 | 197.575 | 26.88 | 968.916 | 34.8152 | -0.27342
2019-06-23 07:30:00 | 0 | 332.793 | 1.127 | 84.4845 | 0 | 30.6519 | 0 | 197.535 | 26.17 | 969.212 | 36.7631 | -0.24016
2019-06-23 07:45:00 | 0 | 282.535 | 1.3827 | 83.828 | 0 | 30.6035 | 0 | 197.536 | 26 | 968.916 | 36.1158 | -0.24016
2019-06-23 08:00:00 | 0 | 278.107 | 0 | 83.9983 | 0 | 33.1821 | 0 | 107.209 | 26.96 | 969.064 | 34.9574 | -0.24016
2019-06-23 08:15:00 | 0 | 280.735 | 0.75133 | 83.828 | 0 | 33.1821 | 0 | 108.961 | 27.55 | 969.36 | 31.7547 | -0.24016
2019-06-23 08:30:00 | 0 | 266.95 | 1.894 | 306.129 | 1.127 | 209.279 | 0 | 115.901 | 28.72 | 969.657 | 33.7258 | -0.24016
2019-06-23 08:45:00 | 0 | 232.658 | 2.1497 | 285.055 | 2.1497 | 205.445 | 0 | 46.4003 | 28.84 | 970.398 | 31.0627 | -0.24016
2019-06-23 09:00:00 | 0 | 279.958 | 1.127 | 320.074 | 0 | 255.202 | 0 | 95.4756 | 28.53 | 970.008 | 31.4714 | -0.25864
2019-06-23 09:15:00 | 0 | 278.086 | 2.9167 | 334.179 | 2.4053 | 273.149 | 0 | 97.8102 | 28.97 | 970.323 | 30.688 | -0.25864
2019-06-23 09:30:00 | 0 | 255.372 | 2.1497 | 294.126 | 2.1497 | 301.942 | 0 | 99.4396 | 28.59 | 970.242 | 32.1526 | -0.25125
2019-06-23 09:45:00 | 0 | 309.822 | 2.661 | 0.45211 | 2.1497 | 298.854 | 0 | 131.759 | 28.81 | 970.101 | 31.4033 | -0.25125
2019-06-23 10:00:00 | 0 | 275.97 | 2.4053 | 0.52507 | 1.3827 | 301.31 | 0 | 114.152 | 29.36 | 970.249 | 30.5858 | -0.25125
2019-06-23 10:15:00 | 0 | 280.007 | 2.661 | 323.382 | 1.894 | 280.007 | 0 | 111.939 | 29.66 | 970.307 | 29.7684 | -0.26972
2019-06-23 10:30:00 | 0 | 15.4668 | 3.9393 | 64.6294 | 3.9393 | 323.562 | 0 | 163.52 | 29.72 | 970.288 | 30.2452 | -0.29928
2019-06-23 10:45:00 | 0 | 14.5426 | 4.962 | 67.2559 | 4.7063 | 17.2907 | 5.729 | 196.812 | 31.11 | 970.417 | 29.0191 | -0.15149
2019-06-23 11:00:00 | 0 | 0.24319 | 3.428 | 70.7578 | 3.6837 | 338.129 | 2.661 | 189.468 | 30.48 | 970.298 | 29.1894 | 1.8216
2019-06-23 11:15:00 | 0 | 0.43774 | 3.9393 | 96.8762 | 1.6383 | 28.2828 | 4.4507 | 192.556 | 30.99 | 969.991 | 26.1921 | 3.281
2019-06-23 11:30:00 | 0 | 14.3724 | 6.7517 | 71.8035 | 6.2403 | 11.8919 | 3.428 | 170.815 | 30.59 | 970.006 | 27.5204 | 4.5262
2019-06-23 11:45:00 | 0 | 13.9104 | 5.2177 | 64.5322 | 6.496 | 30.2526 | 1.9097 | 186.963 | 31.14 | 970.011 | 27.7929 | 5.2319
2019-06-23 12:00:00 | 0.372 | 226.043 | 4.7063 | 16.0405 | 3.6837 | 341.241 | 0 | 160.042 | 30.98 | 970.188 | 27.248 | 3.5581
2019-06-23 12:15:00 | 0 | 354.86 | 5.729 | 46.8281 | 4.962 | 12.0135 | 1.774 | 177.211 | 31.77 | 970.233 | 27.861 | 6.2
2019-06-23 12:30:00 | 0 | 29.8149 | 6.7517 | 81.8472 | 3.1723 | 11.138 | 2.4053 | 214.054 | 30.74 | 969.805 | 27.9632 | 10.7446
2019-06-23 12:45:00 | 0 | 347.443 | 6.496 | 31.4829 | 5.729 | 355.93 | 0.63133 | 162.814 | 31.39 | 969.508 | 27.9973 | 7.4008
2019-06-23 13:00:00 | 2.276 | 0.21887 | 7.5187 | 61.7841 | 5.729 | 0.048638 | 3.6837 | 189.614 | 32.79 | 969.656 | 25 | 9.8837
2019-06-23 13:15:00 | 0 | 7.2227 | 4.7063 | 76.9104 | 3.428 | 11.1137 | 0 | 163.349 | 32.45 | 969.805 | 25.1022 | 8.7753
2019-06-23 13:30:00 | 1.6487 | 344.087 | 5.2177 | 75.4027 | 5.729 | 35.1164 | 4.195 | 176.238 | 31.81 | 969.805 | 25.2044 | 9.7692
2019-06-23 13:45:00 | 0 | 33.1708 | 3.428 | 90.8938 | 0 | 34.2409 | 0 | 212.255 | 31.5 | 969.656 | 24.421 | 8.1767
2019-06-23 14:00:00 | 0 | 5.3258 | 7.0073 | 51.6675 | 4.4507 | 7.6847 | 0 | 195.329 | 31.86 | 969.805 | 25 | 12.496
2019-06-23 14:15:00 | 3.9247 | 342.409 | 8.03 | 30.5831 | 3.6837 | 27.2614 | 2.661 | 155.786 | 32.04 | 969.65 | 23.1608 | 11.1584
2019-06-23 14:30:00 | 1.138 | 9.7518 | 6.7517 | 68.6664 | 1.3827 | 35.3109 | 5.4733 | 184.872 | 31.99 | 969.699 | 24.8638 | 12.9172
2019-06-23 14:45:00 | 0 | 5.4717 | 4.195 | 84.5709 | 5.9847 | 19.7955 | 2.7967 | 171.18 | 32.11 | 969.764 | 24.3869 | 12.0932
2019-06-23 15:00:00 | 0 | 1.7996 | 5.2177 | 71.6333 | 2.4053 | 42.5093 | 5.4733 | 179.473 | 31.87 | 969.332 | 24.5232 | 12.6659
2019-06-23 15:15:00 | 0.62733 | 356.927 | 6.496 | 82.066 | 5.4733 | 0.048638 | 5.2177 | 167.022 | 32.17 | 969.69 | 24.8638 | 10.7483
2019-06-23 15:30:00 | 0 | 337.545 | 4.7063 | 79.318 | 4.7063 | 24.9268 | 4.7063 | 171.545 | 32.47 | 969.682 | 23.7398 | 11.2841
2019-06-23 15:45:00 | 0 | 26.167 | 6.496 | 84.352 | 3.6837 | 21.7653 | 4.962 | 214.322 | 32.4 | 969.84 | 25 | 14.6353
2019-06-23 16:00:00 | 0 | 335.938 | 3.6837 | 15.1405 | 2.661 | 340.413 | 4.4507 | 161.525 | 32.5 | 969.566 | 24.9318 | 14.6057
2019-06-23 16:15:00 | 0 | 18.1655 | 5.2177 | 80.5303 | 2.1497 | 350.567 | 5.4733 | 199.991 | 32.46 | 969.295 | 24.8629 | 12.7177
2019-06-23 16:30:00 | 0 | 330.954 | 5.9847 | 3.5162 | 3.9393 | 0.31614 | 5.9847 | 145.305 | 32.28 | 969.136 | 26.0899 | 14.857
2019-06-23 16:45:00 | 0 | 351.723 | 6.496 | 62.7569 | 4.962 | 33.5843 | 1.2627 | 175.776 | 31.7 | 968.634 | 26.4986 | 16.5344
2019-06-23 17:00:00 | 0 | 351.212 | 5.729 | 57.6256 | 2.1497 | 19.4064 | 4.962 | 153.792 | 31.74 | 968.412 | 25.9537 | 17.8239
2019-06-23 17:15:00 | 0 | 354.519 | 5.9847 | 56.1665 | 3.6837 | 28.4044 | 4.7063 | 163.058 | 31.85 | 968.891 | 26.0899 | 13.0317
2019-06-23 17:30:00 | 0 | 39.4208 | 1.6383 | 59.0847 | 3.1723 | 333.459 | 0 | 200.022 | 31.67 | 968.619 | 25.9537 | 11.103
2019-06-23 17:45:00 | 0 | 320.351 | 4.7063 | 56.6528 | 3.9393 | 356.149 | 5.9847 | 160.455 | 31.53 | 968.322 | 27.0095 | 9.6805
2019-06-23 18:00:00 | 0 | 4.5719 | 4.195 | 87.2459 | 1.894 | 356.246 | 5.4733 | 180.178 | 31.34 | 968.174 | 27.7929 | 9.8615
2019-06-23 18:15:00 | 0 | 338.136 | 4.195 | 48.848 | 3.9393 | 356.132 | 1.1427 | 176.364 | 31.26 | 968.322 | 27.5892 | 8.1841
2019-06-23 18:30:00 | 0 | 8.7562 | 3.9393 | 54.5251 | 4.195 | 178.578 | 3.6837 | 194.655 | 31.02 | 968.026 | 28.2063 | 7.7555
2019-06-23 18:45:00 | 0.62733 | 347.825 | 3.9393 | 59.8294 | 4.4507 | 347.168 | 1.894 | 180.553 | 30.81 | 967.878 | 29.5015 | 7.0904
2019-06-23 19:00:00 | 0 | 11.9689 | 4.962 | 62.6146 | 3.1723 | 0.41356 | 0 | 198.29 | 30.4 | 968.026 | 30.5962 | 5.8342
2019-06-23 19:15:00 | 0 | 35.7122 | 4.4507 | 90.9315 | 3.6837 | 58.4337 | 0 | 219.236 | 30.25 | 967.878 | 30.2555 | 4.8735
2019-06-23 19:30:00 | 0 | 44.8591 | 4.962 | 100.76 | 4.195 | 43.3995 | 0 | 233.053 | 30.53 | 967.581 | 28.552 | 4.7959
2019-06-23 19:45:00 | 0 | 49.2137 | 5.4733 | 99.3973 | 4.195 | 46.0998 | 0.75133 | 234.002 | 30.68 | 967.729 | 28.1431 | 5.4979
2019-06-23 20:00:00 | 0 | 49.238 | 4.4507 | 104.749 | 2.9167 | 49.4326 | 0 | 242.492 | 30.36 | 967.878 | 28.3475 | 8.0658
2019-06-23 20:15:00 | 0 | 84.6105 | 3.6837 | 137.155 | 3.6837 | 70.8899 | 0 | 242.3 | 30.19 | 967.729 | 28.4841 | 9.6657
2019-06-23 20:30:00 | 0 | 82.8863 | 3.6837 | 146.21 | 2.9167 | 62.5479 | 0 | 253.014 | 30 | 967.893 | 29.3711 | 12.7103
2019-06-23 20:45:00 | 0 | 75.1558 | 4.7063 | 113.402 | 4.195 | 60.3144 | 0 | 256.221 | 29.99 | 967.831 | 29.7823 | 11.3321
2019-06-23 21:00:00 | 0 | 66.9623 | 2.9167 | 131.663 | 3.1723 | 63.5558 | 0 | 250.427 | 29.79 | 968.125 | 30.3301 | 9.2075
2019-06-23 21:15:00 | 0 | 69.8887 | 2.661 | 128.854 | 2.9167 | 71.2514 | 0 | 251.862 | 29.72 | 968.449 | 30.4693 | 6.8576
2019-06-23 21:30:00 | 0 | 69.2096 | 2.4053 | 139.445 | 2.9167 | 65.316 | 0 | 258.027 | 29.84 | 968.319 | 30.3339 | 7.035
2019-06-23 21:45:00 | 0 | 86.0474 | 2.4053 | 146.62 | 3.1723 | 88.8946 | 0 | 256.366 | 29.81 | 968.318 | 30.2309 | 6.7763
2019-06-23 22:00:00 | 0 | 119.071 | 5.2177 | 183.246 | 4.4507 | 137.444 | 0.37567 | 301.316 | 29.95 | 968.018 | 30.2654 | 11.2767
2019-06-23 22:15:00 | 0 | 129.049 | 5.729 | 179.888 | 4.962 | 119.364 | 0.63133 | 316.015 | 29.41 | 968.321 | 32.7876 | 18.6368
2019-06-23 22:30:00 | 2.648 | 126.809 | 7.263 | 182.564 | 7.263 | 134.621 | 4.195 | 313.921 | 28.76 | 968.024 | 34.1507 | 26.577
2019-06-23 22:45:00 | 3.1587 | 112.55 | 8.2857 | 171.567 | 6.7517 | 129.001 | 1.007 | 292.85 | 28.8 | 967.728 | 33.3331 | 36.6233
2019-06-23 23:00:00 | 0.372 | 108.776 | 9.8197 | 161.172 | 9.564 | 111.38 | 0.75133 | 291.969 | 29.3 | 967.728 | 32.4464 | 39.0915
2019-06-23 23:15:00 | 1.882 | 108.996 | 9.564 | 178.45 | 7.7743 | 140.485 | 1.2627 | 289.389 | 29.05 | 968.025 | 33.1962 | 38.2416
2019-06-23 23:30:00 | 0 | 115.078 | 5.9847 | 180.881 | 4.4507 | 136.322 | 2.9167 | 296.346 | 28.72 | 968.173 | 34.0819 | 41.1052
2019-06-23 23:45:00 | 1.51 | 124.079 | 9.0527 | 186.134 | 10.331 | 123.787 | 0.75133 | 302.132 | 28.74 | 967.58 | 33.4678 | 40.4179