## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-24 00:00:00 | 0.744 | 111.936 | 8.797 | 170.51 | 8.797 | 132.401 | 1.5183 | 295.949 | 28.64 | 967.728 | 34.2856 | 42.9821
2019-06-24 00:15:00 | 4.4353 | 114.203 | 9.8197 | 171.466 | 9.3083 | 124.643 | 2.4053 | 322.314 | 28.7 | 967.876 | 35.1048 | 60.6102
2019-06-24 00:30:00 | 5.712 | 135.321 | 9.8197 | 203.288 | 8.5413 | 148.607 | 2.9167 | 317.703 | 27.67 | 967.283 | 38.1708 | 67.2388
2019-06-24 00:45:00 | 2.1373 | 140.315 | 7.5187 | 184.462 | 7.7743 | 145.109 | 1.894 | 321.197 | 27.15 | 967.283 | 41.4443 | 67.1169
2019-06-24 01:00:00 | 4.4353 | 138.736 | 8.2857 | 190.282 | 8.797 | 153.215 | 1.007 | 307.721 | 26.63 | 966.987 | 44.1718 | 73.1616
2019-06-24 01:15:00 | 4.946 | 149.492 | 8.797 | 191.207 | 6.2403 | 142.265 | 3.9393 | 329.258 | 26.27 | 966.838 | 46.0123 | 74.0595
2019-06-24 01:30:00 | 6.2227 | 135.159 | 11.865 | 200.381 | 11.098 | 135.451 | 5.729 | 320.083 | 26.07 | 966.867 | 45.9441 | 73.52
2019-06-24 01:45:00 | 4.946 | 159.616 | 9.3083 | 204.518 | 8.5413 | 157.693 | 3.428 | 335.585 | 26 | 966.687 | 46.3531 | 77.6176
2019-06-24 02:00:00 | 4.946 | 137.69 | 12.1207 | 191.085 | 12.3763 | 148.932 | 4.962 | 319.329 | 25.79 | 966.953 | 46.4213 | 77.2666
2019-06-24 02:15:00 | 5.4567 | 141.689 | 12.1207 | 199.298 | 10.8423 | 144.804 | 5.9847 | 321.78 | 25.66 | 967.131 | 46.083 | 76.2653
2019-06-24 02:30:00 | 4.18 | 149.537 | 8.5413 | 208.152 | 9.8197 | 135.664 | 4.7063 | 322.975 | 25.45 | 966.836 | 46.3255 | 77.6989
2019-06-24 02:45:00 | 5.9673 | 145.818 | 9.564 | 199.104 | 10.331 | 148.033 | 5.4733 | 324.616 | 25.18 | 966.676 | 46.4291 | 73.472
2019-06-24 03:00:00 | 3.6693 | 144.65 | 10.8423 | 203.047 | 10.8423 | 155.554 | 5.729 | 326.296 | 25.16 | 966.688 | 45.4065 | 69.8621
2019-06-24 03:15:00 | 0.744 | 134.938 | 8.5413 | 202.415 | 9.564 | 154.605 | 2.0297 | 301.615 | 24.98 | 966.688 | 45.4065 | 67.2573
2019-06-24 03:30:00 | 4.4353 | 143.895 | 9.8197 | 195.672 | 10.8423 | 143.433 | 4.195 | 327.342 | 24.88 | 966.837 | 44.8611 | 63.5144
2019-06-24 03:45:00 | 5.9673 | 134.184 | 11.3537 | 182.213 | 10.0753 | 144.625 | 3.428 | 320.527 | 24.69 | 966.975 | 44.5884 | 57.6581
2019-06-24 04:00:00 | 1.6487 | 145.137 | 10.0753 | 197.887 | 9.564 | 145.988 | 5.729 | 332.94 | 24.61 | 966.985 | 44.9633 | 59.5203
2019-06-24 04:15:00 | 1.51 | 126.201 | 6.496 | 165.322 | 5.9847 | 164.901 | 0.75133 | 320.724 | 24.41 | 967.281 | 44.725 | 60.189
2019-06-24 04:30:00 | 4.4353 | 140.197 | 11.6093 | 189.199 | 11.6093 | 137.324 | 6.2403 | 325.105 | 24.49 | 966.985 | 44.1796 | 56.9191
2019-06-24 04:45:00 | 8.01 | 134.801 | 9.564 | 197.317 | 9.3083 | 144.148 | 5.9847 | 328.848 | 24.43 | 967.133 | 44.0458 | 51.6096
2019-06-24 05:00:00 | 5.4567 | 130.513 | 8.2857 | 183.728 | 6.7517 | 135.429 | 5.729 | 323.628 | 24.39 | 967.281 | 44.658 | 52.8252
2019-06-24 05:15:00 | 5.2013 | 134.315 | 8.03 | 195.687 | 7.7743 | 158.753 | 4.4507 | 323.956 | 24.21 | 966.985 | 45.3414 | 54.329
2019-06-24 05:30:00 | 0 | 130.766 | 7.5187 | 190.851 | 6.7517 | 152.065 | 5.4733 | 328.594 | 24.1 | 967.578 | 46.3659 | 58.2714
2019-06-24 05:45:00 | 3.9247 | 140.933 | 8.03 | 211.895 | 8.797 | 164.471 | 4.7063 | 306.476 | 24.22 | 967.281 | 45.8862 | 55.4264
2019-06-24 06:00:00 | 7.7547 | 145.478 | 9.564 | 193.896 | 8.2857 | 143.019 | 4.195 | 328.633 | 24.16 | 967.43 | 46.9066 | 52.3597
2019-06-24 06:15:00 | 5.2013 | 139.879 | 6.496 | 199.981 | 5.9847 | 153.826 | 4.962 | 323.424 | 24.05 | 968.023 | 47.2132 | 50.2499
2019-06-24 06:30:00 | 4.6907 | 142.557 | 8.5413 | 195.088 | 7.7743 | 152.049 | 5.9847 | 325.493 | 23.96 | 968.023 | 47.3837 | 45.0993
2019-06-24 06:45:00 | 0 | 137.129 | 7.0073 | 207.039 | 6.7517 | 164.949 | 3.8193 | 312.812 | 24.13 | 968.172 | 48.1336 | 39.4831
2019-06-24 07:00:00 | 4.4353 | 156.168 | 9.0527 | 212.293 | 8.5413 | 165.246 | 5.2177 | 334.945 | 24.15 | 968.023 | 48.1961 | 39.9043
2019-06-24 07:15:00 | 5.2013 | 137.446 | 8.5413 | 194.808 | 8.03 | 145.988 | 1.894 | 320.838 | 24.42 | 968.142 | 48.1255 | 40.3957
2019-06-24 07:30:00 | 5.9673 | 137.373 | 7.7743 | 183.444 | 8.03 | 137.057 | 5.2177 | 331.74 | 24.43 | 967.877 | 48.9434 | 37.5101
2019-06-24 07:45:00 | 6.2227 | 138.663 | 8.797 | 188.238 | 7.0073 | 142.824 | 5.9847 | 338.602 | 24.61 | 968.321 | 49.4888 | 36.239
2019-06-24 08:00:00 | 3.1587 | 141.189 | 9.3083 | 196.432 | 9.0527 | 142.869 | 5.4733 | 324.599 | 24.91 | 968.618 | 49.419 | 34.1625
2019-06-24 08:15:00 | 2.648 | 137.193 | 9.3083 | 188.344 | 9.3083 | 134.37 | 4.195 | 328.698 | 25.05 | 968.618 | 48.7353 | 32.6107
2019-06-24 08:30:00 | 0 | 151.556 | 5.729 | 213.272 | 5.729 | 170.708 | 1.894 | 337.936 | 25.04 | 968.766 | 49.5555 | 29.3703
2019-06-24 08:45:00 | 0.372 | 135.301 | 7.5187 | 188.256 | 7.7743 | 122.428 | 0 | 327.837 | 25.31 | 968.618 | 49.6237 | 27.2421
2019-06-24 09:00:00 | 0 | 145.335 | 6.2403 | 198.599 | 5.9847 | 132.61 | 4.195 | 323.592 | 25.83 | 968.843 | 48.8005 | 22.8304
2019-06-24 09:15:00 | 0.372 | 144.698 | 8.03 | 197.583 | 9.0527 | 147.642 | 4.195 | 324.452 | 26.38 | 968.325 | 47.4279 | 19.0913
2019-06-24 09:30:00 | 0 | 155.426 | 5.729 | 215.973 | 4.962 | 168.198 | 0.37567 | 333.597 | 26.11 | 968.768 | 47.2913 | 17.2106
2019-06-24 09:45:00 | 0 | 154.599 | 7.7743 | 196.049 | 9.0527 | 138.713 | 2.9167 | 327.199 | 26.96 | 968.768 | 47.3595 | 13.9998
2019-06-24 10:00:00 | 0 | 131.269 | 4.7063 | 179.166 | 4.7063 | 140.221 | 0.63133 | 316.593 | 27.31 | 968.916 | 45.247 | 12.6548
2019-06-24 10:15:00 | 0 | 144.016 | 5.4733 | 190.089 | 5.729 | 140.148 | 5.4733 | 320.485 | 27.38 | 968.916 | 46.4395 | 12.9504
2019-06-24 10:30:00 | 0 | 122.195 | 5.729 | 173.546 | 4.962 | 142.362 | 6.2403 | 319.536 | 27.81 | 968.916 | 44.8722 | 11.9085
2019-06-24 10:45:00 | 0 | 147.551 | 5.729 | 194.151 | 5.9847 | 147.478 | 4.4507 | 327.891 | 28.42 | 969.212 | 41.6306 | 9.1115
2019-06-24 11:00:00 | 0 | 143.165 | 5.9847 | 191.975 | 5.4733 | 153.794 | 5.9847 | 317.682 | 28.69 | 969.36 | 40.2657 | 6.9168
2019-06-24 11:15:00 | 0 | 201.988 | 3.1723 | 256.946 | 3.428 | 218.697 | 2.1653 | 4.2076 | 29.38 | 969.064 | 39.6498 | 6.4771
2019-06-24 11:30:00 | 0 | 194.949 | 5.2177 | 234.873 | 5.9847 | 194.997 | 5.729 | 0.7296 | 29.2 | 968.768 | 40.2607 | 4.6888
2019-06-24 11:45:00 | 0 | 187.366 | 5.4733 | 237.507 | 5.9847 | 189.968 | 3.1723 | 3.9886 | 29.68 | 968.768 | 40.6366 | 4.7627
2019-06-24 12:00:00 | 0 | 191.737 | 7.5187 | 226.537 | 7.5187 | 192.637 | 2.661 | 31.0603 | 29.7 | 968.768 | 38.9371 | 2.712
2019-06-24 12:15:00 | 0 | 179.405 | 6.496 | 227.898 | 7.5187 | 184.61 | 0.37567 | 356.767 | 30.14 | 968.768 | 37.1996 | 3.7577
2019-06-24 12:30:00 | 0 | 237.665 | 2.9167 | 280.395 | 2.4053 | 247.516 | 0 | 39.1608 | 30.08 | 968.916 | 35.0545 | 2.7453
2019-06-24 12:45:00 | 0 | 175.271 | 7.0073 | 223.935 | 7.5187 | 172.79 | 4.4507 | 353.218 | 30.4 | 968.916 | 34.8493 | 3.281
2019-06-24 13:00:00 | 0 | 137.522 | 5.9847 | 188.302 | 5.729 | 123.391 | 5.2177 | 322.134 | 30.49 | 968.619 | 35.4284 | 5.8896
2019-06-24 13:15:00 | 0 | 163.839 | 1.6383 | 225.37 | 3.428 | 175.733 | 0 | 1.8729 | 31.16 | 968.768 | 32.2603 | 4.6001
2019-06-24 13:30:00 | 0 | 170.73 | 4.195 | 248.401 | 5.2177 | 180.458 | 1.007 | 4.475 | 31.04 | 968.768 | 33.858 | 3.8796
2019-06-24 13:45:00 | 0 | 154.742 | 7.5187 | 212.636 | 8.5413 | 178.578 | 1.007 | 340.569 | 31 | 968.619 | 33.9922 | 5.7085
2019-06-24 14:00:00 | 0 | 198.733 | 4.962 | 250.328 | 5.2177 | 197.201 | 0 | 21.814 | 31.17 | 968.768 | 34.1962 | 4.7553
2019-06-24 14:15:00 | 0 | 192.678 | 6.7517 | 233.11 | 7.5187 | 170.718 | 2.661 | 19.8928 | 31.28 | 968.768 | 33.4128 | 3.8057
2019-06-24 14:30:00 | 0 | 203.913 | 6.7517 | 250.328 | 7.263 | 200.533 | 1.007 | 356.295 | 31.56 | 968.619 | 32.6294 | 7.6372
2019-06-24 14:45:00 | 12.8613 | 200.314 | 8.03 | 254.462 | 7.263 | 196.083 | 5.4733 | 14.9074 | 31.44 | 968.175 | 31.8801 | 9.9281
2019-06-24 15:00:00 | 4.8293 | 191.875 | 11.098 | 232.794 | 7.7743 | 167.994 | 0.37567 | 3.3803 | 31.54 | 968.026 | 30.7221 | 10.1571
2019-06-24 15:15:00 | 2.3927 | 181.345 | 10.5867 | 236.417 | 10.8423 | 194.429 | 2.0297 | 352.379 | 31.8 | 967.73 | 30.9946 | 15.8029
2019-06-24 15:30:00 | 0 | 153.257 | 7.0073 | 196.924 | 5.9847 | 131.492 | 5.9847 | 334.14 | 31.55 | 967.864 | 31.6076 | 15.9174
2019-06-24 15:45:00 | 8.01 | 189.833 | 8.5413 | 232.478 | 8.5413 | 187.693 | 0.75133 | 9.9221 | 31.61 | 967.687 | 30.9264 | 21.6259
2019-06-24 16:00:00 | 3.808 | 193.091 | 7.5187 | 240.479 | 8.2857 | 191.462 | 1.5183 | 3.0155 | 31.49 | 967.847 | 31.1308 | 22.993
2019-06-24 16:15:00 | 0 | 178.062 | 7.5187 | 236.855 | 8.5413 | 198.101 | 2.541 | 354.13 | 31.45 | 967.729 | 31.6758 | 19.9337
2019-06-24 16:30:00 | 1.904 | 183.972 | 9.0527 | 236.272 | 10.331 | 192.848 | 1.007 | 356.781 | 31.42 | 967.433 | 32.0845 | 21.4855
2019-06-24 16:45:00 | 0.62733 | 187.036 | 7.7743 | 231.846 | 6.496 | 181.443 | 2.661 | 2.7237 | 31.18 | 967.136 | 32.4251 | 26.226
2019-06-24 17:00:00 | 0 | 186.041 | 7.7743 | 219.348 | 8.797 | 195.452 | 0.37567 | 9.4601 | 31.28 | 967.136 | 32.2893 | 19.6307
2019-06-24 17:15:00 | 3.5527 | 197.057 | 8.797 | 238.487 | 8.03 | 197.327 | 0 | 27.3593 | 31.19 | 966.988 | 32.7659 | 23.4512
2019-06-24 17:30:00 | 7.4993 | 181.373 | 10.331 | 227.983 | 10.0753 | 178.479 | 1.007 | 2.4319 | 31.23 | 967.136 | 34.7417 | 26.7137
2019-06-24 17:45:00 | 1.3713 | 180.279 | 8.2857 | 226.096 | 8.5413 | 173.809 | 4.195 | 333.754 | 30.61 | 966.84 | 36.1773 | 30.9924
2019-06-24 18:00:00 | 0 | 173.601 | 8.03 | 236.619 | 8.2857 | 172.458 | 0.63133 | 1.6054 | 30.43 | 966.988 | 37.8147 | 34.1995
2019-06-24 18:15:00 | 4.946 | 182.453 | 7.5187 | 222.638 | 8.5413 | 178.366 | 2.4053 | 5.1817 | 30.11 | 966.543 | 39.046 | 33.0245
2019-06-24 18:30:00 | 3.9247 | 199.069 | 8.2857 | 241.176 | 9.8197 | 186.71 | 0.75133 | 12.3825 | 29.85 | 966.543 | 38.9778 | 29.9282
2019-06-24 18:45:00 | 6.9887 | 174.62 | 9.0527 | 219.524 | 9.0527 | 183.645 | 3.6837 | 355.005 | 29.63 | 966.247 | 38.6371 | 32.3595
2019-06-24 19:00:00 | 2.9033 | 185.737 | 9.3083 | 235.021 | 8.5413 | 182.964 | 5.2177 | 6.1061 | 29.27 | 966.543 | 38.7053 | 31.3729
2019-06-24 19:15:00 | 11.84 | 173.802 | 8.03 | 221.8 | 8.5413 | 178.182 | 5.2177 | 356.29 | 28.98 | 966.415 | 39.6615 | 27.1312
2019-06-24 19:30:00 | 6.9887 | 172.378 | 8.03 | 212.044 | 9.3083 | 164.202 | 3.428 | 1.6547 | 28.7 | 966.584 | 40.3514 | 28.1584
2019-06-24 19:45:00 | 8.2653 | 174.748 | 10.331 | 227.047 | 10.0753 | 182.803 | 2.0297 | 0.65704 | 28.52 | 966.688 | 41.2396 | 25.2875
2019-06-24 20:00:00 | 0 | 186.083 | 8.03 | 246.58 | 7.7743 | 195.696 | 2.541 | 353.65 | 28.36 | 966.69 | 41.3748 | 27.5303
2019-06-24 20:15:00 | 0 | 175.008 | 7.0073 | 205.111 | 6.496 | 182.04 | 0 | 6.5701 | 28.3 | 967.135 | 40.897 | 30.4603
2019-06-24 20:30:00 | 0.372 | 163.424 | 8.03 | 219.149 | 7.263 | 163.278 | 2.1497 | 356.826 | 27.83 | 967.283 | 41.5782 | 25.3023
2019-06-24 20:45:00 | 0 | 148.687 | 5.2177 | 195.097 | 6.2403 | 152.264 | 1.2627 | 323.023 | 27.82 | 967.283 | 42.4329 | 26.6288
2019-06-24 21:00:00 | 0 | 146.548 | 8.2857 | 198.872 | 8.5413 | 150.198 | 3.1723 | 347.631 | 27.47 | 967.135 | 44.1717 | 22.6679
2019-06-24 21:15:00 | 0.372 | 150.709 | 6.7517 | 199.651 | 6.7517 | 166.551 | 4.7063 | 335.658 | 27.28 | 967.431 | 44.9898 | 29.3519
2019-06-24 21:30:00 | 0 | 156.793 | 7.7743 | 207.901 | 6.7517 | 165.724 | 5.4733 | 330.474 | 27 | 967.728 | 46.2849 | 30.3125
2019-06-24 21:45:00 | 1.6267 | 138.517 | 11.098 | 189.406 | 11.6093 | 151.001 | 2.1497 | 341.912 | 26.85 | 967.283 | 48.0572 | 32.5331
2019-06-24 22:00:00 | 0.372 | 150.612 | 9.3083 | 195.319 | 5.9847 | 144.528 | 5.729 | 333.638 | 26.74 | 967.58 | 47.9891 | 32.7622
2019-06-24 22:15:00 | 0 | 146.621 | 5.2177 | 200.892 | 4.195 | 168.62 | 0.63133 | 327.432 | 26.72 | 967.58 | 48.1254 | 28.8087
2019-06-24 22:30:00 | 3.1587 | 148.154 | 7.263 | 202.255 | 7.5187 | 162.025 | 5.2177 | 339.43 | 26.56 | 967.728 | 49.4206 | 34.7131
2019-06-24 22:45:00 | 5.712 | 150.831 | 7.0073 | 187.118 | 3.9393 | 173.657 | 5.9847 | 326.921 | 26.34 | 967.891 | 49.6251 | 34.569
2019-06-24 23:00:00 | 0 | 135.061 | 7.0073 | 186.34 | 6.2403 | 160.711 | 3.0523 | 332.202 | 26.05 | 967.669 | 50.9884 | 33.091
2019-06-24 23:15:00 | 0 | 176.042 | 7.263 | 209.142 | 5.9847 | 158.204 | 5.729 | 339.965 | 25.72 | 967.606 | 50.3749 | 40.9537
2019-06-24 23:30:00 | 5.2013 | 133.584 | 11.3537 | 197.984 | 11.6093 | 150.158 | 4.195 | 322.583 | 25.53 | 967.414 | 50.7186 | 48.4136
2019-06-24 23:45:00 | 4.6907 | 143.572 | 12.1207 | 194.542 | 12.3763 | 137.195 | 4.195 | 326.474 | 25.52 | 967.115 | 47.3131 | 54.8722