## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-25 00:00:00 | 5.4567 | 136.496 | 12.8877 | 192.045 | 12.8877 | 135.668 | 6.2403 | 327.268 | 25.45 | 966.985 | 45.8836 | 56.4203
2019-06-25 00:15:00 | 5.2013 | 149.688 | 13.6547 | 197.084 | 13.399 | 136.715 | 4.962 | 326.515 | 25.18 | 966.837 | 47.3155 | 55.4301
2019-06-25 00:30:00 | 3.414 | 140.999 | 8.2857 | 188.736 | 7.7743 | 149.177 | 2.4053 | 322.815 | 24.88 | 967.133 | 48.1677 | 56.4905
2019-06-25 00:45:00 | 6.9887 | 153.996 | 10.5867 | 194.845 | 12.3763 | 161.663 | 4.962 | 319.237 | 24.84 | 966.688 | 48.3382 | 57.7578
2019-06-25 01:00:00 | 3.9247 | 138.808 | 11.6093 | 216.483 | 12.632 | 156.893 | 4.962 | 324.202 | 24.69 | 966.528 | 49.2586 | 66.6993
2019-06-25 01:15:00 | 4.18 | 150.394 | 8.2857 | 189.661 | 7.263 | 140.269 | 3.9393 | 337.76 | 24.33 | 966.837 | 50.7926 | 65.5281
2019-06-25 01:30:00 | 5.2013 | 137.689 | 12.632 | 196.525 | 13.399 | 152.804 | 7.5187 | 319.044 | 24.07 | 966.54 | 53.7245 | 68.8719
2019-06-25 01:45:00 | 3.9247 | 149.218 | 11.098 | 197.864 | 12.632 | 164.846 | 3.6837 | 327.623 | 23.88 | 966.391 | 55.435 | 72.6185
2019-06-25 02:00:00 | 4.946 | 144.114 | 11.865 | 192.689 | 11.3537 | 136.226 | 5.729 | 324.377 | 23.61 | 966.54 | 56.6992 | 56.424
2019-06-25 02:15:00 | 4.4353 | 141.096 | 10.331 | 203.085 | 9.564 | 148.472 | 3.9393 | 331.536 | 23.42 | 966.391 | 58.0975 | 58.4783
2019-06-25 02:30:00 | 7.7547 | 139.489 | 10.331 | 198.654 | 11.098 | 164.66 | 7.0073 | 330.951 | 23.22 | 966.243 | 59.3929 | 56.557
2019-06-25 02:45:00 | 3.6693 | 134.742 | 9.3083 | 202.185 | 10.0753 | 138.808 | 2.4053 | 316.127 | 23.06 | 966.095 | 60.9615 | 66.001
2019-06-25 03:00:00 | 4.946 | 141.072 | 14.6773 | 194.833 | 13.399 | 143.506 | 7.5187 | 325.475 | 23.16 | 965.65 | 62.0525 | 61.1054
2019-06-25 03:15:00 | 4.18 | 141.096 | 9.3083 | 192.885 | 8.797 | 134.207 | 3.1723 | 330.855 | 22.84 | 966.095 | 64.3709 | 57.0964
2019-06-25 03:30:00 | 0 | 127.564 | 7.7743 | 195.009 | 8.2857 | 135.038 | 4.4507 | 308.393 | 22.91 | 966.095 | 63.6565 | 56.2392
2019-06-25 03:45:00 | 6.9887 | 147.11 | 9.0527 | 193.738 | 9.0527 | 148.181 | 5.9847 | 343.832 | 22.91 | 966.243 | 65.4964 | 57.6322
2019-06-25 04:00:00 | 3.1587 | 148.093 | 7.263 | 188.47 | 5.2177 | 130.711 | 5.729 | 324.671 | 22.81 | 966.54 | 64.7847 | 49.1156
2019-06-25 04:15:00 | 3.9247 | 148.772 | 7.5187 | 200.443 | 8.03 | 143.952 | 6.2403 | 323.642 | 22.73 | 967.133 | 65.7041 | 46.0673
2019-06-25 04:30:00 | 1.3933 | 156.74 | 7.0073 | 183.631 | 7.263 | 137.482 | 5.9847 | 335.903 | 22.66 | 966.985 | 66.1846 | 42.6865
2019-06-25 04:45:00 | 3.9247 | 130.691 | 9.564 | 177.303 | 7.5187 | 125.335 | 5.729 | 313.727 | 22.52 | 967.133 | 66.2193 | 43.0339
2019-06-25 05:00:00 | 2.648 | 138.194 | 9.3083 | 185.684 | 8.5413 | 134.566 | 5.9847 | 324.351 | 22.46 | 966.837 | 66.4941 | 40.381
2019-06-25 05:15:00 | 8.01 | 133.32 | 6.7517 | 188.818 | 6.7517 | 157.618 | 6.2403 | 319.716 | 22.48 | 966.837 | 67.3104 | 42.4649
2019-06-25 05:30:00 | 6.2227 | 145.612 | 9.564 | 189.228 | 8.2857 | 129.568 | 5.9847 | 326.891 | 22.53 | 966.837 | 67.2407 | 49.4555
2019-06-25 05:45:00 | 5.2013 | 114.808 | 9.0527 | 172.418 | 8.03 | 123.329 | 5.2177 | 301.603 | 22.53 | 967.133 | 67.237 | 52.3892
2019-06-25 06:00:00 | 5.4567 | 125.299 | 9.564 | 180.497 | 7.5187 | 128.853 | 4.195 | 314.647 | 22.53 | 967.281 | 67.5768 | 53.1282
2019-06-25 06:15:00 | 4.4353 | 135.667 | 9.564 | 179.326 | 7.5187 | 147.644 | 4.4507 | 314.277 | 22.71 | 967.578 | 66.7235 | 50.7487
2019-06-25 06:30:00 | 0 | 138.686 | 7.0073 | 171.001 | 5.4733 | 125.492 | 3.6837 | 320.558 | 22.86 | 967.875 | 65.1211 | 43.8763
2019-06-25 06:45:00 | 3.414 | 139.154 | 11.098 | 189.133 | 9.0527 | 141.32 | 6.2403 | 314.916 | 22.83 | 967.578 | 65.794 | 51.9828
2019-06-25 07:00:00 | 5.9673 | 141.367 | 6.7517 | 188.887 | 7.263 | 148.743 | 3.1723 | 308.17 | 22.68 | 967.726 | 67.4978 | 41.1347
2019-06-25 07:15:00 | 6.7333 | 115.15 | 8.2857 | 174.643 | 6.7517 | 127.758 | 5.9847 | 321.647 | 22.65 | 968.023 | 67.6325 | 39.1432
2019-06-25 07:30:00 | 6.9887 | 126.468 | 8.5413 | 174.229 | 7.263 | 126.03 | 5.2177 | 308.99 | 22.82 | 968.148 | 66.6099 | 37.7798
2019-06-25 07:45:00 | 0.372 | 133.761 | 5.4733 | 181.445 | 5.729 | 119.11 | 5.4733 | 317.731 | 23.39 | 968.145 | 63.9466 | 24.3269
2019-06-25 08:00:00 | 0 | 129.975 | 6.496 | 180.84 | 5.4733 | 152.194 | 5.9847 | 317.187 | 24.16 | 968.494 | 62.2359 | 33.2906
2019-06-25 08:15:00 | 0.99933 | 131.314 | 7.263 | 165.265 | 6.7517 | 140.099 | 1.6383 | 315.995 | 24.17 | 968.915 | 62.9175 | 37.5766
2019-06-25 08:30:00 | 7.244 | 139.454 | 9.8197 | 192.77 | 10.0753 | 130.5 | 4.962 | 317.477 | 23.97 | 968.618 | 63.253 | 36.324
2019-06-25 08:45:00 | 3.6693 | 135.157 | 7.7743 | 181.324 | 8.2857 | 116.224 | 1.3827 | 317.889 | 24.18 | 968.47 | 62.3032 | 32.8804
2019-06-25 09:00:00 | 0 | 145.962 | 7.263 | 211.256 | 5.9847 | 163.386 | 5.9847 | 303.872 | 24.63 | 968.766 | 60.3946 | 30.3975
2019-06-25 09:15:00 | 1.3713 | 143.788 | 7.5187 | 201.704 | 6.496 | 139.262 | 5.9847 | 327.726 | 24.77 | 968.82 | 59.3006 | 31.3951
2019-06-25 09:30:00 | 6.478 | 133.196 | 9.0527 | 179.162 | 7.5187 | 147.723 | 3.6837 | 328.026 | 25.09 | 968.812 | 59.6385 | 41.9587
2019-06-25 09:45:00 | 0.62733 | 154.154 | 7.5187 | 188.248 | 7.263 | 127.946 | 0.63133 | 331.595 | 24.93 | 969.037 | 60.9364 | 42.0843
2019-06-25 10:00:00 | 1.51 | 136.564 | 7.7743 | 178.836 | 7.0073 | 120.285 | 5.729 | 321.603 | 25.17 | 968.73 | 59.3704 | 35.574
2019-06-25 10:15:00 | 0 | 130.53 | 4.962 | 148.614 | 4.7063 | 116.173 | 5.9847 | 339.369 | 25.21 | 968.911 | 59.3026 | 25.0511
2019-06-25 10:30:00 | 0 | 142.204 | 5.729 | 209.026 | 5.2177 | 164.494 | 1.007 | 325.459 | 25.54 | 969.046 | 58.6865 | 15.2486
2019-06-25 10:45:00 | 0 | 152.9 | 7.7743 | 209.703 | 9.0527 | 162.826 | 5.4733 | 334.702 | 25.75 | 968.627 | 56.356 | 16.8744
2019-06-25 11:00:00 | 0.62733 | 136.499 | 5.729 | 200.014 | 4.4507 | 169.803 | 4.7063 | 319.099 | 25.9 | 968.768 | 56.1499 | 19.8635
2019-06-25 11:15:00 | 1.138 | 131.074 | 7.7743 | 181.793 | 6.496 | 153.553 | 5.9847 | 300.926 | 26.03 | 968.768 | 53.4924 | 16.9667
2019-06-25 11:30:00 | 0 | 127.985 | 4.195 | 147.176 | 3.9393 | 122.511 | 0 | 311.557 | 26.58 | 968.619 | 51.8569 | 14.8902
2019-06-25 11:45:00 | 4.18 | 124.263 | 8.2857 | 179.239 | 7.5187 | 138.008 | 5.2177 | 317.274 | 26.59 | 968.175 | 48.7564 | 13.2608
2019-06-25 12:00:00 | 0 | 141.851 | 3.1723 | 203.128 | 2.4053 | 184.107 | 0 | 320.996 | 27.04 | 968.323 | 48.6201 | 11.842
2019-06-25 12:15:00 | 0 | 180.312 | 4.195 | 225.022 | 3.6837 | 198.217 | 0 | 9.9984 | 27.28 | 968.323 | 44.4975 | 11.0143
2019-06-25 12:30:00 | 0 | 136.767 | 5.2177 | 192.546 | 4.7063 | 155.012 | 0.37567 | 321.142 | 27.85 | 968.323 | 46.4736 | 12.3445
2019-06-25 12:45:00 | 0 | 143.433 | 4.4507 | 201.863 | 2.9167 | 166.738 | 5.2177 | 329.656 | 27.52 | 967.73 | 44.0545 | 11.5205
2019-06-25 13:00:00 | 0 | 146.303 | 8.03 | 202.642 | 7.7743 | 161.848 | 5.9847 | 331.943 | 28.2 | 968.026 | 39.8978 | 16.176
2019-06-25 13:15:00 | 0 | 139.929 | 6.496 | 207.896 | 5.729 | 141.438 | 5.9847 | 318.563 | 28.54 | 967.433 | 38.4327 | 11.5427
2019-06-25 13:30:00 | 5.2013 | 142.897 | 9.0527 | 193.811 | 10.8423 | 167.589 | 4.4507 | 314.379 | 28.81 | 967.582 | 35.9114 | 12.4516
2019-06-25 13:45:00 | 0 | 133.404 | 5.9847 | 213.651 | 4.4507 | 120.754 | 0.887 | 315.654 | 28.93 | 968.471 | 34.8536 | 13.1647
2019-06-25 14:00:00 | 0 | 131.466 | 3.6837 | 210.753 | 4.962 | 149.83 | 0.37567 | 287.547 | 29.66 | 968.619 | 36.0758 | 16.9113
2019-06-25 14:15:00 | 0 | 107.844 | 4.195 | 160.373 | 3.6837 | 120.686 | 5.729 | 282.696 | 29.08 | 968.323 | 37.5051 | 16.9113
2019-06-25 14:30:00 | 6.478 | 155.405 | 8.797 | 201.507 | 8.797 | 157.716 | 5.9847 | 336.468 | 29.18 | 968.026 | 37.6723 | 20.8094
2019-06-25 14:45:00 | 7.244 | 146.601 | 8.5413 | 206.201 | 7.7743 | 147.185 | 1.894 | 328.005 | 28.71 | 967.878 | 34.3683 | 21.6075
2019-06-25 15:00:00 | 0 | 135.284 | 5.4733 | 188.666 | 4.962 | 137.278 | 5.9847 | 323.714 | 29.24 | 967.878 | 27.8657 | 25.6829
2019-06-25 15:15:00 | 4.18 | 139.955 | 8.03 | 202.507 | 8.2857 | 148.03 | 5.9847 | 328.142 | 29.21 | 967.285 | 25.9582 | 22.9819
2019-06-25 15:30:00 | 0 | 142.022 | 4.7063 | 215.058 | 7.0073 | 176.561 | 5.9847 | 333.031 | 29.55 | 968.175 | 25.5154 | 23.8428
2019-06-25 15:45:00 | 3.414 | 132.397 | 7.5187 | 190.513 | 6.496 | 146.527 | 5.2177 | 314.261 | 29.65 | 968.323 | 26.0911 | 26.3849
2019-06-25 16:00:00 | 7.4993 | 158.267 | 9.8197 | 212.099 | 10.8423 | 160.237 | 4.962 | 340.634 | 29.69 | 968.175 | 24.9319 | 26.5401
2019-06-25 16:15:00 | 0 | 144.575 | 6.496 | 197.969 | 5.4733 | 147.177 | 4.962 | 322.078 | 29.45 | 967.73 | 24.9319 | 22.7529
2019-06-25 16:30:00 | 1.51 | 155.299 | 6.496 | 215.126 | 5.9847 | 139.879 | 3.428 | 345.575 | 29.34 | 966.989 | 22.3467 | 30.9185
2019-06-25 16:45:00 | 0 | 145.704 | 8.03 | 195.807 | 7.0073 | 160.031 | 3.428 | 324.124 | 29.34 | 967.285 | 23.3024 | 23.2147
2019-06-25 17:00:00 | 6.478 | 139.616 | 8.2857 | 186.067 | 7.7743 | 143.41 | 4.4507 | 323.913 | 29.59 | 968.026 | 22.8926 | 23.2036
2019-06-25 17:15:00 | 7.244 | 156.141 | 7.7743 | 209.59 | 6.7517 | 160.786 | 5.4733 | 333.539 | 29.44 | 967.73 | 24.3892 | 27.3677
2019-06-25 17:30:00 | 0.88267 | 128.289 | 5.2177 | 195.186 | 5.729 | 160.076 | 0 | 308.941 | 29.22 | 967.878 | 24.729 | 31.0884
2019-06-25 17:45:00 | 8.776 | 134.98 | 5.2177 | 189.45 | 4.7063 | 142.86 | 5.2177 | 320.328 | 28.98 | 967.73 | 27.1819 | 34.2254
2019-06-25 18:00:00 | 0 | 141.632 | 6.7517 | 198.93 | 5.729 | 152.845 | 0.887 | 324.565 | 28.66 | 967.582 | 31.3404 | 45.6609
2019-06-25 18:15:00 | 3.1587 | 154.193 | 9.8197 | 208.019 | 11.3537 | 180.221 | 2.661 | 317.314 | 28.02 | 966.989 | 33.9658 | 51.0702
2019-06-25 18:30:00 | 4.6907 | 143.359 | 9.564 | 183.617 | 9.8197 | 143.992 | 5.2177 | 329.388 | 27.56 | 966.544 | 35.9795 | 53.797
2019-06-25 18:45:00 | 4.6907 | 151.387 | 9.8197 | 208.529 | 9.0527 | 139.346 | 4.4507 | 335.835 | 27.32 | 966.248 | 36.5247 | 45.7644
2019-06-25 19:00:00 | 3.9247 | 134.086 | 9.0527 | 186.517 | 8.5413 | 139.876 | 5.9847 | 323.499 | 27.1 | 966.069 | 39.5967 | 43.2962
2019-06-25 19:15:00 | 0.99933 | 129.801 | 10.331 | 179.228 | 8.5413 | 146.544 | 4.7063 | 311.046 | 26.9 | 965.947 | 39.2627 | 47.5859
2019-06-25 19:30:00 | 4.946 | 122.307 | 9.8197 | 184.316 | 8.2857 | 140.51 | 4.7063 | 305.063 | 26.65 | 965.652 | 37.8998 | 46.1893
2019-06-25 19:45:00 | 2.648 | 114.62 | 6.7517 | 188.019 | 9.564 | 133.747 | 5.729 | 297.743 | 26.56 | 965.8 | 37.8323 | 47.6007
2019-06-25 20:00:00 | 2.1373 | 122.018 | 6.7517 | 199.554 | 8.797 | 169.009 | 5.729 | 302.27 | 26.37 | 965.949 | 38.7866 | 48.3397
2019-06-25 20:15:00 | 1.882 | 121.36 | 8.03 | 171.836 | 6.496 | 133.504 | 5.2177 | 291.903 | 26.19 | 966.269 | 40.8316 | 44.0758
2019-06-25 20:30:00 | 1.2547 | 146.767 | 7.263 | 193.251 | 5.9847 | 158.083 | 3.6837 | 317.601 | 26.05 | 966.173 | 42.4676 | 43.9982
2019-06-25 20:45:00 | 6.478 | 144.868 | 9.564 | 195.976 | 7.7743 | 141.048 | 5.9847 | 322.59 | 25.88 | 966.28 | 42.9448 | 34.6946
2019-06-25 21:00:00 | 7.244 | 131.023 | 9.0527 | 190.405 | 9.564 | 125.206 | 6.2403 | 322.032 | 25.79 | 966.336 | 43.4563 | 37.6653
2019-06-25 21:15:00 | 4.4353 | 144.63 | 10.5867 | 195.935 | 9.0527 | 130.928 | 5.9847 | 321.943 | 25.69 | 966.685 | 44.105 | 36.3794
2019-06-25 21:30:00 | 4.18 | 141.967 | 8.5413 | 191.161 | 8.03 | 150.12 | 6.496 | 320.49 | 25.58 | 966.532 | 44.5866 | 37.3992
2019-06-25 21:45:00 | 0.372 | 148.104 | 8.2857 | 187.005 | 7.263 | 139.147 | 4.7063 | 320.84 | 25.36 | 966.523 | 45.4059 | 39.7676
2019-06-25 22:00:00 | 6.2227 | 136.958 | 9.0527 | 180.193 | 8.797 | 128.926 | 4.4507 | 311.96 | 25.14 | 966.095 | 46.4973 | 34.8978
2019-06-25 22:15:00 | 0.99933 | 138.857 | 7.7743 | 200.37 | 6.7517 | 164.9 | 5.2177 | 329.727 | 24.9 | 966.243 | 48.27 | 30.6857
2019-06-25 22:30:00 | 0 | 157.136 | 7.0073 | 203.534 | 5.9847 | 157.842 | 4.962 | 334.595 | 24.64 | 966.391 | 49.2586 | 24.4968
2019-06-25 22:45:00 | 2.1373 | 154.24 | 6.2403 | 211.761 | 7.263 | 150.905 | 4.195 | 356.525 | 24.49 | 966.688 | 51.338 | 16.4162
2019-06-25 23:00:00 | 0 | 149.956 | 4.7063 | 198.083 | 4.962 | 134.257 | 5.9847 | 331.019 | 24.41 | 966.688 | 53.2472 | 15.4703
2019-06-25 23:15:00 | 0 | 141.663 | 4.7063 | 185.265 | 5.2177 | 139.034 | 1.007 | 325.994 | 24 | 966.243 | 54.4085 | 21.1308
2019-06-25 23:30:00 | 0 | 122.054 | 4.7063 | 178.539 | 4.4507 | 133.252 | 0 | 297.882 | 23.88 | 966.243 | 58.5043 | 22.6272
2019-06-25 23:45:00 | 0 | 139.61 | 5.9847 | 179.227 | 4.195 | 113.635 | 4.195 | 299.765 | 23.57 | 965.947 | 63.143 | 25.0621