## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-26 00:00:00 | 0 | 124.396 | 4.962 | 173.703 | 3.6837 | 141.023 | 0 | 294.631 | 23.37 | 965.65 | 64.9164 | 23.1962
2019-06-26 00:15:00 | 0 | 166.754 | 4.195 | 188.99 | 4.195 | 131.553 | 0.37567 | 325.499 | 22.85 | 965.353 | 67.3031 | 31.7055
2019-06-26 00:30:00 | 0 | 110.423 | 5.2177 | 149.189 | 5.4733 | 95.6219 | 2.1497 | 308.775 | 22.49 | 965.057 | 68.3259 | 34.0221
2019-06-26 00:45:00 | 1.7653 | 122.848 | 4.4507 | 179.147 | 3.6837 | 132.732 | 2.9167 | 301.471 | 22.25 | 965.205 | 69.5588 | 34.5468
2019-06-26 01:00:00 | 3.2973 | 140.316 | 5.4733 | 202.246 | 5.2177 | 100.921 | 2.661 | 309.24 | 21.99 | 964.908 | 70.1786 | 39.6753
2019-06-26 01:15:00 | 8.01 | 136.129 | 9.0527 | 194.748 | 9.8197 | 150.25 | 3.1723 | 326.918 | 21.77 | 964.612 | 71.0656 | 39.8969
2019-06-26 01:30:00 | 4.18 | 120.108 | 8.797 | 181.259 | 7.5187 | 124.734 | 5.4733 | 299.819 | 21.6 | 964.612 | 72.4978 | 30.8778
2019-06-26 01:45:00 | 4.6907 | 131.551 | 9.0527 | 189.489 | 8.03 | 141.169 | 5.729 | 296.386 | 21.44 | 964.33 | 73.4527 | 37.8611
2019-06-26 02:00:00 | 4.18 | 130.017 | 7.5187 | 189.148 | 5.729 | 113.802 | 4.4507 | 316.035 | 21.26 | 964.278 | 74.4075 | 37.0852
2019-06-26 02:15:00 | 1.882 | 138.059 | 7.5187 | 203.304 | 7.0073 | 119.456 | 5.4733 | 300.953 | 21.11 | 963.94 | 75.5022 | 41.0978
2019-06-26 02:30:00 | 0.372 | 113.737 | 6.7517 | 160.845 | 4.195 | 135.165 | 0 | 328.137 | 20.87 | 964.154 | 76.3912 | 36.7083
2019-06-26 02:45:00 | 0 | 134.858 | 5.9847 | 188.034 | 4.7063 | 137.805 | 5.729 | 317.129 | 20.83 | 964.312 | 77.6586 | 30.6931
2019-06-26 03:00:00 | 0 | 116.815 | 7.0073 | 177.662 | 5.2177 | 140.314 | 5.2177 | 320.783 | 20.66 | 964.164 | 78.7845 | 28.018
2019-06-26 03:15:00 | 1.3713 | 124.607 | 7.5187 | 174.715 | 6.7517 | 121.709 | 5.9847 | 312.771 | 20.59 | 964.164 | 79.4666 | 31.3766
2019-06-26 03:30:00 | 0 | 133.205 | 6.2403 | 184.362 | 5.4733 | 138.879 | 5.2177 | 314.262 | 20.46 | 964.312 | 80.3547 | 35.5038
2019-06-26 03:45:00 | 2.648 | 119.471 | 7.0073 | 186.7 | 7.263 | 141.802 | 6.496 | 308.077 | 20.36 | 963.867 | 80.6957 | 42.3355
2019-06-26 04:00:00 | 2.276 | 125.607 | 7.7743 | 163.784 | 8.5413 | 124.219 | 4.4507 | 306.323 | 20.15 | 963.57 | 81.5143 | 46.3592
2019-06-26 04:15:00 | 3.1587 | 131.549 | 8.03 | 185.409 | 7.5187 | 123.416 | 1.774 | 306.226 | 20.09 | 963.57 | 81.6507 | 45.4762
2019-06-26 04:30:00 | 2.648 | 130.454 | 9.8197 | 178.566 | 10.5867 | 125.34 | 4.7063 | 316.892 | 20.17 | 963.57 | 81.105 | 49.5774
2019-06-26 04:45:00 | 4.6907 | 148.036 | 6.2403 | 194.127 | 6.496 | 151.031 | 3.1723 | 312.387 | 20.14 | 963.57 | 81.0709 | 46.8359
2019-06-26 05:00:00 | 1.2547 | 118.302 | 6.2403 | 179.905 | 6.496 | 120.201 | 2.4053 | 308.15 | 20.04 | 963.867 | 80.8322 | 44.9515
2019-06-26 05:15:00 | 6.478 | 126.435 | 9.564 | 174.84 | 8.5413 | 122.929 | 7.263 | 311.023 | 20.15 | 963.719 | 80.5593 | 47.5157
2019-06-26 05:30:00 | 0.372 | 110.461 | 5.9847 | 166.39 | 5.4733 | 122.052 | 0.37567 | 301.648 | 20.27 | 963.867 | 79.6043 | 45.2249
2019-06-26 05:45:00 | 6.9887 | 137.102 | 7.5187 | 188.331 | 6.2403 | 130.405 | 7.263 | 298.726 | 20.38 | 964.016 | 78.7176 | 38.637
2019-06-26 06:00:00 | 0 | 138.472 | 6.496 | 180.878 | 5.729 | 145.655 | 5.9847 | 305.87 | 20.56 | 964.876 | 78.1618 | 35.3708
2019-06-26 06:15:00 | 2.648 | 136.031 | 7.7743 | 195.308 | 3.6837 | 153.05 | 0.75133 | 332.031 | 20.59 | 964.774 | 78.7724 | 30.8372
2019-06-26 06:30:00 | 0 | 132.329 | 5.729 | 209.865 | 5.4733 | 135.421 | 1.007 | 322.604 | 20.81 | 964.612 | 77.5096 | 27.7409
2019-06-26 06:45:00 | 1.2547 | 128.218 | 6.2403 | 192.496 | 5.729 | 129.241 | 4.195 | 311.892 | 20.98 | 964.76 | 76.5771 | 21.9548
2019-06-26 07:00:00 | 0 | 136.273 | 5.729 | 187.234 | 4.962 | 132.671 | 0 | 320.43 | 21.23 | 965.205 | 75.0412 | 20.4953
2019-06-26 07:15:00 | 0 | 139.271 | 5.2177 | 182.238 | 5.2177 | 149.178 | 2.661 | 317.827 | 21.58 | 965.205 | 74.0416 | 24.2049
2019-06-26 07:30:00 | 0 | 141.072 | 5.729 | 199.932 | 5.9847 | 151.051 | 3.9393 | 312.641 | 21.92 | 965.205 | 73.2572 | 20.6468
2019-06-26 07:45:00 | 0 | 131.585 | 6.2403 | 186.662 | 5.729 | 147.745 | 0 | 300.332 | 21.91 | 965.578 | 73.8945 | 19.845
2019-06-26 08:00:00 | 0 | 153.556 | 6.496 | 203.837 | 7.0073 | 152.047 | 0.37567 | 325.096 | 22.13 | 965.467 | 72.8017 | 18.8031
2019-06-26 08:15:00 | 0 | 158.569 | 4.962 | 207.049 | 5.4733 | 161.052 | 0 | 325.194 | 22.24 | 965.654 | 71.2338 | 17.2512
2019-06-26 08:30:00 | 0 | 139.782 | 5.729 | 188.36 | 5.729 | 125.254 | 1.5183 | 318.039 | 22.51 | 965.208 | 71.1316 | 14.8828
2019-06-26 08:45:00 | 0 | 159.64 | 6.496 | 208.558 | 5.4733 | 162.852 | 4.195 | 342.788 | 22.68 | 965.652 | 68.5072 | 13.9591
2019-06-26 09:00:00 | 0.372 | 151.433 | 5.2177 | 194.094 | 4.962 | 137.66 | 5.2177 | 332.287 | 23.14 | 965.652 | 68.0956 | 9.141
2019-06-26 09:15:00 | 0 | 134.691 | 5.2177 | 183.898 | 5.2177 | 133.839 | 4.7063 | 313.913 | 23.5 | 965.652 | 66.0504 | 7.4968
2019-06-26 09:30:00 | 0 | 140.166 | 5.4733 | 197.063 | 4.962 | 140.337 | 1.1427 | 319.049 | 24.07 | 966.23 | 65.4372 | 4.3193
2019-06-26 09:45:00 | 0 | 112.114 | 3.6837 | 171.042 | 3.428 | 121.068 | 0 | 293.545 | 24.34 | 965.753 | 62.1548 | 3.1332
2019-06-26 10:00:00 | 0 | 140.103 | 7.263 | 200.968 | 5.729 | 134.581 | 2.1497 | 323.923 | 25 | 965.954 | 60.5126 | 3.4473
2019-06-26 10:15:00 | 2.1373 | 133.556 | 5.2177 | 188.775 | 4.4507 | 142.119 | 0.37567 | 313.211 | 24.72 | 966.099 | 59.4208 | 0.69833
2019-06-26 10:30:00 | 0 | 127.474 | 4.7063 | 185.905 | 3.6837 | 133.021 | 4.962 | 314.476 | 25.26 | 966.099 | 57.9898 | 0.018474
2019-06-26 10:45:00 | 0 | 126.404 | 4.195 | 163.11 | 5.4733 | 103.609 | 1.774 | 308.03 | 25.64 | 966.099 | 54.3782 | 0.48402
2019-06-26 11:00:00 | 0 | 104.549 | 4.195 | 177.374 | 2.1497 | 117.904 | 0 | 290.637 | 26.55 | 966.248 | 50.49 | 0.48033
2019-06-26 11:15:00 | 0 | 90.4312 | 3.9393 | 156.679 | 3.6837 | 66.4735 | 0 | 268.278 | 27.35 | 966.396 | 47.0781 | 2.3093
2019-06-26 11:30:00 | 0 | 155.654 | 4.4507 | 203.753 | 4.7063 | 153.222 | 0 | 342.147 | 27.27 | 966.099 | 50.9241 | 1.3634
2019-06-26 11:45:00 | 0 | 153.72 | 4.962 | 202.407 | 4.7063 | 165.103 | 0 | 337.916 | 26.45 | 965.655 | 47.862 | 2.0211
2019-06-26 12:00:00 | 0 | 18.4626 | 3.1723 | 76.3751 | 2.4053 | 0.04865 | 0 | 219.921 | 27.17 | 965.506 | 46.5375 | 2.0433
2019-06-26 12:15:00 | 0 | 125.138 | 5.4733 | 189.797 | 5.4733 | 153.333 | 0.75133 | 314.306 | 27.23 | 965.062 | 44.1567 | 2.7305
2019-06-26 12:30:00 | 1.138 | 177.393 | 5.729 | 220.911 | 5.2177 | 171.19 | 3.1723 | 219.017 | 26.96 | 965.21 | 43.5434 | 1.5371
2019-06-26 12:45:00 | 0 | 171.311 | 3.9393 | 201.912 | 2.9167 | 151.898 | 0 | 341.187 | 27.65 | 965.21 | 42.6235 | 2.191
2019-06-26 13:00:00 | 0.62733 | 174.571 | 3.6837 | 202.058 | 3.6837 | 175.933 | 1.894 | 2.9922 | 27.45 | 964.469 | 42.0784 | 1.925
2019-06-26 13:15:00 | 0 | 97.9408 | 3.9393 | 162.599 | 4.4507 | 73.7111 | 0 | 0.97308 | 27.48 | 964.617 | 40.954 | 2.1541
2019-06-26 13:30:00 | 0 | 134.188 | 3.9393 | 173.741 | 2.4053 | 98.1841 | 0 | 313.357 | 27.87 | 965.062 | 39.523 | 2.7859
2019-06-26 13:45:00 | 0 | 171.433 | 5.2177 | 234.875 | 5.2177 | 190.7 | 0 | 344.277 | 27.95 | 965.21 | 39.5911 | 2.8413
2019-06-26 14:00:00 | 0 | 142.386 | 5.4733 | 202.86 | 6.2403 | 146.06 | 4.7063 | 328.221 | 29.13 | 965.358 | 36.661 | 2.6344
2019-06-26 14:15:00 | 0 | 42.1292 | 0 | 29.5481 | 0 | 353.623 | 0 | 173.187 | 28.97 | 965.21 | 36.5883 | 1.526
2019-06-26 14:30:00 | 0 | 109.513 | 4.7063 | 158.946 | 3.1723 | 113.525 | 2.9167 | 295.925 | 29.63 | 965.506 | 36.0371 | 2.9928
2019-06-26 14:45:00 | 0 | 57.7328 | 4.962 | 150.572 | 3.9393 | 133.048 | 0 | 243.164 | 30.14 | 965.803 | 34.6049 | 2.3388
2019-06-26 15:00:00 | 0 | 98.0534 | 0.37567 | 185.226 | 0 | 331.708 | 0 | 287.716 | 29.48 | 965.506 | 34.7412 | 1.9287
2019-06-26 15:15:00 | 0 | 81.2248 | 2.4053 | 139.823 | 1.894 | 138.714 | 0 | 260.406 | 29.96 | 965.13 | 36.1717 | 3.3808
2019-06-26 15:30:00 | 0.372 | 156.516 | 5.4733 | 215.017 | 4.962 | 174.463 | 0 | 338.566 | 29.76 | 964.966 | 34.8433 | 2.8857
2019-06-26 15:45:00 | 0.62733 | 136.185 | 4.7063 | 203.052 | 4.962 | 146.132 | 0 | 335.624 | 30.26 | 964.625 | 34.9455 | 2.6714
2019-06-26 16:00:00 | 0 | 159.726 | 0.75133 | 187.221 | 1.007 | 138.131 | 0 | 305.006 | 29.97 | 964.737 | 34.8774 | 2.9559
2019-06-26 16:15:00 | 0 | 62.475 | 4.4507 | 130.29 | 3.9393 | 84.3133 | 0 | 258.29 | 30.21 | 964.806 | 34.4687 | 3.7281
2019-06-26 16:30:00 | 3.414 | 164.371 | 4.4507 | 205.265 | 3.1723 | 162.887 | 3.6837 | 337.448 | 30.04 | 964.526 | 34.1962 | 2.7231
2019-06-26 16:45:00 | 0 | 139.906 | 5.4733 | 186.078 | 4.962 | 149.05 | 0 | 327.282 | 29.59 | 964.087 | 35.4905 | 1.3412
2019-06-26 17:00:00 | 0 | 137.839 | 6.496 | 189.458 | 7.0073 | 148.272 | 1.2627 | 327.039 | 29.76 | 964.022 | 34.7412 | 2.4017
2019-06-26 17:15:00 | 0 | 148.247 | 4.962 | 192.838 | 3.428 | 148.272 | 0 | 333.994 | 29.43 | 963.579 | 34.9455 | 3.5507
2019-06-26 17:30:00 | 0 | 192.443 | 5.729 | 243.627 | 5.2177 | 178.313 | 2.661 | 11.1871 | 29.34 | 962.393 | 34.1976 | 6.1704
2019-06-26 17:45:00 | 0.372 | 180.43 | 5.2177 | 226.89 | 5.4733 | 186.633 | 0 | 356.821 | 29 | 962.245 | 34.4114 | 3.0224
2019-06-26 18:00:00 | 0 | 180.142 | 4.962 | 229.109 | 5.4733 | 184.302 | 0 | 0.58385 | 29.03 | 962.393 | 34.1397 | 2.1208
2019-06-26 18:15:00 | 0 | 174.498 | 4.7063 | 220.935 | 4.195 | 170.168 | 4.195 | 354.981 | 28.96 | 962.541 | 33.6627 | 1.271
2019-06-26 18:30:00 | 0 | 178.755 | 5.4733 | 227.115 | 4.962 | 173.039 | 0 | 0.24327 | 28.9 | 962.245 | 33.1175 | 1.9509
2019-06-26 18:45:00 | 0 | 240.466 | 2.661 | 292.414 | 2.9167 | 248.982 | 0 | 65.8892 | 28.7 | 962.814 | 40.9611 | 2.1061
2019-06-26 19:00:00 | 0 | 248.555 | 4.4507 | 297.981 | 4.195 | 254.249 | 0 | 55.7995 | 27.86 | 962.792 | 43.7616 | 2.6714
2019-06-26 19:15:00 | 0 | 228.625 | 3.428 | 271.676 | 2.661 | 207.721 | 0 | 61.0559 | 27.73 | 962.538 | 43.7616 | 2.4718
2019-06-26 19:30:00 | 0 | 241.574 | 2.1497 | 283.354 | 1.894 | 216.657 | 0 | 48.1299 | 27.62 | 962.686 | 43.2125 | 1.0198
2019-06-26 19:45:00 | 0 | 249.02 | 2.1497 | 292.072 | 1.6383 | 224.709 | 0 | 70.3768 | 27.54 | 962.39 | 42.9441 | 0.22908
2019-06-26 20:00:00 | 0 | 243.135 | 3.1723 | 288.305 | 2.1497 | 229.726 | 0 | 66.1922 | 27.53 | 962.538 | 42.3313 | 0.23647
2019-06-26 20:15:00 | 0 | 244.035 | 2.9167 | 300.862 | 2.4053 | 244.716 | 0 | 73.3955 | 27.51 | 962.538 | 42.5358 | 0.25494
2019-06-26 20:30:00 | 0 | 251.092 | 2.661 | 290.811 | 1.6383 | 228.85 | 0 | 67.4576 | 27.46 | 962.538 | 42.6039 | -0.35101
2019-06-26 20:45:00 | 0 | 235.761 | 2.4053 | 281.369 | 1.894 | 218.142 | 0 | 63.3693 | 27.44 | 962.686 | 41.8541 | -0.26603
2019-06-26 21:00:00 | 0 | 229.385 | 2.9167 | 273.898 | 2.1497 | 217.753 | 0 | 53.6108 | 27.4 | 962.988 | 41.1043 | -0.19583
2019-06-26 21:15:00 | 0.372 | 216.804 | 2.661 | 264.213 | 1.894 | 209.917 | 0 | 42.1245 | 27.36 | 962.983 | 41.5814 | -0.018474
2019-06-26 21:30:00 | 0 | 220.576 | 3.1723 | 264.967 | 2.661 | 207.97 | 0 | 42.6112 | 27.4 | 962.836 | 41.7859 | 0.15518
2019-06-26 21:45:00 | 0 | 225.297 | 2.661 | 249.101 | 2.1497 | 206.121 | 0 | 42.4896 | 27.28 | 963.285 | 41.5133 | 0.10715
2019-06-26 22:00:00 | 0 | 205.585 | 3.6837 | 260.757 | 3.428 | 194.318 | 0 | 34.3129 | 27.21 | 962.984 | 41.5814 | 0.13671
2019-06-26 22:15:00 | 0 | 167.719 | 4.4507 | 202.133 | 4.7063 | 161.49 | 0 | 349.772 | 26.76 | 962.835 | 45.5351 | 2.2502
2019-06-26 22:30:00 | 0 | 185.728 | 5.729 | 234.451 | 5.2177 | 165.773 | 0.37567 | 19.2493 | 26.45 | 962.562 | 50.5794 | 9.3369
2019-06-26 22:45:00 | 0 | 169.958 | 4.962 | 206.027 | 4.962 | 164.848 | 0.63133 | 343.421 | 26.07 | 962.432 | 53.2379 | 11.3838
2019-06-26 23:00:00 | 0 | 159.543 | 5.729 | 200.868 | 5.729 | 153.605 | 5.9847 | 343.615 | 25.69 | 962.316 | 54.6012 | 9.7211
2019-06-26 23:15:00 | 0 | 164.507 | 5.9847 | 206.124 | 5.4733 | 162.901 | 2.661 | 345.027 | 25.38 | 962.059 | 56.4417 | 12.1154
2019-06-26 23:30:00 | 0 | 156.419 | 6.2403 | 200.062 | 4.195 | 165.229 | 4.7063 | 333.233 | 24.97 | 961.789 | 58.8334 | 14.9493
2019-06-26 23:45:00 | 0.372 | 148.227 | 6.2403 | 204.361 | 5.729 | 159.837 | 4.195 | 335.714 | 24.72 | 961.938 | 61.1896 | 23.4918