## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-27 00:00:00 | 5.4567 | 143.433 | 8.797 | 189.417 | 9.3083 | 142.338 | 3.1723 | 327.026 | 24.46 | 961.348 | 66.0644 | 34.0739
2019-06-27 00:15:00 | 0 | 154.507 | 7.7743 | 216.726 | 8.03 | 160.69 | 0.37567 | 334.547 | 24.26 | 961.2 | 66.7462 | 32.3595
2019-06-27 00:30:00 | 0 | 152.318 | 5.729 | 203.877 | 7.5187 | 139.516 | 1.654 | 339.345 | 24.07 | 960.903 | 68.3832 | 38.2971
2019-06-27 00:45:00 | 5.4567 | 145.261 | 8.5413 | 202.005 | 10.0753 | 162.372 | 2.4053 | 331.657 | 23.9 | 961.052 | 69.3725 | 33.9408
2019-06-27 01:00:00 | 0.372 | 171.071 | 4.962 | 228.014 | 5.2177 | 185.238 | 5.2177 | 329.363 | 23.89 | 960.903 | 70.399 | 35.2821
2019-06-27 01:15:00 | 2.7867 | 155.574 | 7.0073 | 209.624 | 5.729 | 163.607 | 5.2177 | 324.365 | 23.81 | 960.903 | 70.5732 | 38.9474
2019-06-27 01:30:00 | 0 | 143.651 | 7.0073 | 195.075 | 8.2857 | 151.904 | 3.6837 | 334.481 | 23.63 | 960.755 | 71.6668 | 37.5359
2019-06-27 01:45:00 | 4.946 | 166.316 | 8.797 | 218.884 | 9.0527 | 164.685 | 4.4507 | 340.763 | 23.53 | 960.31 | 72.656 | 43.5585
2019-06-27 02:00:00 | 4.4353 | 137.566 | 8.2857 | 182.028 | 6.2403 | 147.693 | 1.5183 | 337.89 | 23.39 | 960.458 | 73.1673 | 40.7098
2019-06-27 02:15:00 | 5.2013 | 142.532 | 5.9847 | 201.284 | 5.729 | 169.553 | 2.7967 | 321.263 | 23.3 | 960.458 | 73.5423 | 41.0313
2019-06-27 02:30:00 | 5.712 | 146.427 | 7.7743 | 196.537 | 7.7743 | 147.377 | 3.428 | 339.351 | 23.15 | 960.458 | 74.3948 | 42.2432
2019-06-27 02:45:00 | 0 | 166.17 | 7.263 | 211.46 | 7.5187 | 162.932 | 2.1497 | 339.911 | 22.94 | 960.458 | 75.895 | 42.838
2019-06-27 03:00:00 | 8.01 | 154.071 | 7.263 | 213.918 | 7.5187 | 160.181 | 4.962 | 321.458 | 22.73 | 960.31 | 77.2588 | 45.8493
2019-06-27 03:15:00 | 5.4567 | 156.238 | 7.0073 | 214.016 | 6.2403 | 163.079 | 3.1723 | 336.869 | 22.48 | 960.161 | 78.4182 | 52.3375
2019-06-27 03:30:00 | 8.776 | 149.792 | 7.5187 | 205.602 | 7.0073 | 153.809 | 6.496 | 328.993 | 22.4 | 960.161 | 79.1711 | 53.3388
2019-06-27 03:45:00 | 2.1373 | 149.435 | 7.5187 | 191.712 | 6.7517 | 156.398 | 1.5183 | 331.104 | 22.26 | 959.865 | 79.8573 | 50.66
2019-06-27 04:00:00 | 8.2653 | 145.941 | 8.2857 | 206.021 | 6.7517 | 158.796 | 3.6837 | 336.827 | 22.15 | 959.865 | 80.2045 | 43.8615
2019-06-27 04:15:00 | 1.7653 | 153.196 | 7.263 | 204.973 | 6.496 | 172.528 | 0.63133 | 332.347 | 22.02 | 959.865 | 80.9546 | 42.62
2019-06-27 04:30:00 | 6.9887 | 160.817 | 8.03 | 208.017 | 8.03 | 157.506 | 3.6837 | 332.518 | 21.94 | 959.865 | 81.6368 | 39.2577
2019-06-27 04:45:00 | 4.4353 | 151.76 | 8.2857 | 203.026 | 8.797 | 163.52 | 0.75133 | 343.402 | 21.96 | 959.717 | 81.8414 | 36.3536
2019-06-27 05:00:00 | 1.882 | 164.616 | 8.5413 | 210.087 | 8.2857 | 158.943 | 3.428 | 343.523 | 21.84 | 959.865 | 82.4552 | 42.5314
2019-06-27 05:15:00 | 6.2227 | 179.151 | 7.263 | 187.443 | 7.7743 | 154.974 | 3.1723 | 342.184 | 21.69 | 959.865 | 83.41 | 38.6813
2019-06-27 05:30:00 | 3.1587 | 146.55 | 9.0527 | 208.626 | 7.0073 | 156.045 | 3.6837 | 331.301 | 21.66 | 960.013 | 83.6146 | 33.0726
2019-06-27 05:45:00 | 4.946 | 168.95 | 7.0073 | 198.96 | 6.7517 | 141.948 | 3.9393 | 331.934 | 21.59 | 960.013 | 84.3649 | 28.6055
2019-06-27 06:00:00 | 4.946 | 141.315 | 8.03 | 199.13 | 7.7743 | 158.894 | 3.9393 | 325.823 | 21.65 | 960.013 | 84.6377 | 27.0389
2019-06-27 06:15:00 | 5.9673 | 152.125 | 8.03 | 199.13 | 7.7743 | 164.543 | 2.661 | 329.109 | 21.67 | 960.31 | 84.7059 | 27.5672
2019-06-27 06:30:00 | 0 | 140.463 | 6.496 | 200.226 | 5.9847 | 173.6 | 3.1723 | 325.043 | 21.72 | 960.458 | 85.2515 | 23.4327
2019-06-27 06:45:00 | 0 | 153.854 | 6.7517 | 214.421 | 5.729 | 164.543 | 5.4733 | 330.619 | 21.99 | 960.755 | 84.6377 | 23.5029
2019-06-27 07:00:00 | 2.648 | 153.307 | 9.0527 | 198.237 | 9.0527 | 158.249 | 4.962 | 330.253 | 22 | 960.755 | 84.6653 | 19.7896
2019-06-27 07:15:00 | 0.99933 | 159.313 | 7.263 | 206.189 | 7.263 | 164.888 | 5.729 | 339.198 | 21.95 | 961.052 | 83.7411 | 16.2425
2019-06-27 07:30:00 | 0 | 155.921 | 7.263 | 204.351 | 5.9847 | 157.211 | 5.4733 | 347.506 | 22.23 | 961.052 | 83.6004 | 15.7585
2019-06-27 07:45:00 | 0 | 159.695 | 6.7517 | 213.651 | 7.5187 | 168.872 | 0.37567 | 339.156 | 22.24 | 960.903 | 83.3618 | 13.4455
2019-06-27 08:00:00 | 0 | 174.934 | 7.263 | 228.013 | 6.7517 | 173.595 | 3.1723 | 3.043 | 22.43 | 961.2 | 82.8503 | 11.8087
2019-06-27 08:15:00 | 0.62733 | 142.53 | 7.0073 | 196.874 | 7.0073 | 149.224 | 3.6837 | 329.802 | 22.61 | 961.2 | 82.7806 | 10.6522
2019-06-27 08:30:00 | 2.648 | 154.373 | 8.03 | 207.178 | 7.5187 | 164.329 | 3.0523 | 335.984 | 22.73 | 961.052 | 80.9335 | 11.9159
2019-06-27 08:45:00 | 0 | 156.528 | 7.0073 | 212.929 | 6.2403 | 147.765 | 0 | 341.776 | 23.35 | 961.348 | 80.1091 | 16.734
2019-06-27 09:00:00 | 0 | 189.456 | 5.729 | 246.164 | 6.7517 | 192.133 | 5.9847 | 5.6703 | 23.55 | 961.434 | 76.553 | 12.6475
2019-06-27 09:15:00 | 0 | 180.666 | 5.729 | 228.951 | 6.496 | 185.849 | 5.4733 | 341.45 | 24.07 | 961.358 | 74.574 | 8.6459
2019-06-27 09:30:00 | 0 | 154.966 | 5.4733 | 197.19 | 4.962 | 160.587 | 2.7967 | 343.392 | 24.95 | 961.649 | 70.4149 | 5.1617
2019-06-27 09:45:00 | 0 | 188.449 | 2.661 | 220.696 | 3.9393 | 196.82 | 0 | 4.3803 | 25.07 | 961.768 | 67.7557 | 5.679
2019-06-27 10:00:00 | 0 | 132.536 | 5.4733 | 186.686 | 5.729 | 152.241 | 3.308 | 314.286 | 25.73 | 961.806 | 66.3724 | 5.3427
2019-06-27 10:15:00 | 0.372 | 154.696 | 4.962 | 212.324 | 5.2177 | 167.954 | 4.4507 | 0.34058 | 26.02 | 961.801 | 63.5775 | 2.228
2019-06-27 10:30:00 | 0 | 191.187 | 4.4507 | 237.308 | 4.7063 | 190.141 | 0 | 3.8923 | 26.56 | 961.801 | 60.2044 | 3.6062
2019-06-27 10:45:00 | 0 | 182.259 | 4.195 | 186.951 | 3.428 | 178.269 | 1.007 | 321.969 | 26.82 | 961.504 | 58.1261 | 3.6949
2019-06-27 11:00:00 | 0 | 197.293 | 3.428 | 235.629 | 3.1723 | 184.18 | 1.894 | 19.3644 | 27.3 | 961.504 | 56.0136 | 3.015
2019-06-27 11:15:00 | 0 | 168.048 | 3.6837 | 226.575 | 2.9167 | 146.349 | 5.729 | 325.198 | 28.18 | 961.504 | 53.9002 | 2.4423
2019-06-27 11:30:00 | 0 | 152.329 | 5.9847 | 205.987 | 5.2177 | 163.373 | 1.5183 | 355.912 | 28.08 | 961.652 | 53.7622 | 4.7553
2019-06-27 11:45:00 | 0 | 206.251 | 4.4507 | 224.1 | 5.2177 | 173.363 | 1.1427 | 19.5085 | 28.08 | 961.504 | 50.9664 | 3.5951
2019-06-27 12:00:00 | 0 | 181.423 | 3.9393 | 223.065 | 6.496 | 141.261 | 0.37567 | 6.641 | 28.42 | 960.911 | 51.5139 | 3.8352
2019-06-27 12:15:00 | 0 | 162.116 | 5.9847 | 212.834 | 3.428 | 191.989 | 0 | 348.339 | 28.66 | 961.208 | 44.3952 | 2.9448
2019-06-27 12:30:00 | 0 | 203.618 | 4.195 | 247.428 | 5.2177 | 191.478 | 5.4733 | 32.1847 | 29.17 | 961.356 | 43.6797 | 2.8302
2019-06-27 12:45:00 | 0 | 137.131 | 5.2177 | 204.342 | 4.7063 | 137.423 | 0 | 315.568 | 29.67 | 960.911 | 37.785 | 2.6418
2019-06-27 13:00:00 | 0 | 165.983 | 3.6837 | 207.765 | 1.894 | 165.692 | 0 | 349.455 | 29.92 | 961.356 | 41.493 | 2.2058
2019-06-27 13:15:00 | 0 | 203.924 | 4.4507 | 248.623 | 3.9393 | 179.26 | 0 | 31.4496 | 29.82 | 960.763 | 37.9833 | 3.1591
2019-06-27 13:30:00 | 0 | 190.351 | 2.9167 | 237.337 | 2.9167 | 185.925 | 5.2177 | 323.276 | 29.78 | 961.208 | 36.246 | 3.9239
2019-06-27 13:45:00 | 0.372 | 152.551 | 6.496 | 228.48 | 4.7063 | 172.837 | 0 | 344.676 | 30.15 | 960.763 | 41.8322 | 4.4264
2019-06-27 14:00:00 | 0 | 165.118 | 4.4507 | 228.078 | 4.195 | 167.088 | 0 | 340.159 | 29.92 | 960.911 | 41.2509 | 1.1269
2019-06-27 14:15:00 | 0 | 186.697 | 5.729 | 243.034 | 4.962 | 194.065 | 0 | 15.248 | 30.61 | 961.208 | 37.364 | 1.3782
2019-06-27 14:30:00 | 0 | 163.641 | 5.2177 | 208.889 | 5.4733 | 168.797 | 1.5183 | 350.604 | 30.28 | 960.318 | 37.7725 | 1.3523
2019-06-27 14:45:00 | 0 | 178.451 | 3.6837 | 252.954 | 4.7063 | 190.83 | 4.195 | 11.5758 | 30.33 | 960.615 | 37.1935 | 2.6197
2019-06-27 15:00:00 | 0 | 158.364 | 3.428 | 214.725 | 3.6837 | 187.279 | 0.75133 | 353.693 | 30.31 | 960.467 | 36.7847 | 1.9915
2019-06-27 15:15:00 | 0 | 205.518 | 4.962 | 252.176 | 5.729 | 206.296 | 0 | 24.0027 | 30.71 | 960.911 | 38.6921 | 1.8179
2019-06-27 15:30:00 | 0 | 195.402 | 4.195 | 237.585 | 4.7063 | 186.598 | 0.37567 | 14.6886 | 30.57 | 960.911 | 35.4905 | 4.1419
2019-06-27 15:45:00 | 0 | 177.211 | 5.9847 | 223.772 | 4.962 | 189.395 | 2.9167 | 356.806 | 30.66 | 960.615 | 36.921 | 4.3932
2019-06-27 16:00:00 | 0 | 212.157 | 3.428 | 251.228 | 2.661 | 210.017 | 0.37567 | 27.5775 | 30.53 | 960.467 | 33.5831 | 2.5236
2019-06-27 16:15:00 | 0 | 183.51 | 4.4507 | 234.958 | 4.962 | 189.103 | 1.1427 | 355.079 | 30.49 | 960.022 | 34.7071 | 0.81656
2019-06-27 16:30:00 | 0 | 188.908 | 4.4507 | 205.119 | 3.9393 | 156.224 | 0 | 18.5796 | 30.38 | 959.874 | 37.1253 | 2.0987
2019-06-27 16:45:00 | 0 | 177.753 | 4.962 | 231.759 | 4.962 | 194.607 | 0 | 8.4633 | 30.56 | 959.281 | 37.2631 | 4.1235
2019-06-27 17:00:00 | 0 | 199.349 | 5.2177 | 219.701 | 4.4507 | 188.307 | 0.37567 | 356.62 | 30.09 | 959.429 | 39.8225 | 3.7614
2019-06-27 17:15:00 | 0 | 186.981 | 5.2177 | 236.329 | 5.4733 | 174.04 | 0 | 6.0811 | 30.04 | 958.984 | 40.1317 | 4.4892
2019-06-27 17:30:00 | 0.62733 | 176.929 | 4.7063 | 226.771 | 4.7063 | 184.202 | 4.4507 | 356.825 | 29.93 | 958.688 | 40.9535 | 5.9893
2019-06-27 17:45:00 | 0 | 182.477 | 3.6837 | 235.726 | 4.4507 | 193.838 | 2.1497 | 0.19462 | 29.8 | 958.836 | 41.6354 | 4.5225
2019-06-27 18:00:00 | 0 | 197.147 | 4.7063 | 241.954 | 4.4507 | 183.815 | 0 | 356.708 | 29.78 | 958.688 | 42.0443 | 4.4782
2019-06-27 18:15:00 | 1.138 | 191.624 | 5.9847 | 223.757 | 4.4507 | 188.754 | 0.75133 | 9.9011 | 29.71 | 958.836 | 42.7939 | 4.1419
2019-06-27 18:30:00 | 0 | 176.566 | 4.7063 | 219.646 | 3.9393 | 178.074 | 0 | 354.762 | 29.64 | 958.54 | 43.339 | 4.7294
2019-06-27 18:45:00 | 0 | 182.064 | 4.195 | 228.088 | 5.2177 | 159.829 | 0.37567 | 355.102 | 29.51 | 958.54 | 43.8842 | 5.6531
2019-06-27 19:00:00 | 0 | 183.475 | 4.4507 | 219.257 | 3.6837 | 173.914 | 1.007 | 356.732 | 29.49 | 958.836 | 43.4753 | 5.9007
2019-06-27 19:15:00 | 0 | 175.717 | 5.9847 | 214.151 | 6.2403 | 173.576 | 1.007 | 356.737 | 29.38 | 958.836 | 43.9529 | 6.5325
2019-06-27 19:30:00 | 0 | 166.758 | 6.496 | 217.607 | 6.7517 | 169.142 | 3.1723 | 2.7736 | 29.2 | 958.849 | 44.7755 | 7.3712
2019-06-27 19:45:00 | 0 | 182.537 | 6.496 | 231.494 | 6.7517 | 181.686 | 3.6837 | 8.5161 | 29.08 | 959.117 | 44.8469 | 7.7961
2019-06-27 20:00:00 | 0 | 176.742 | 7.0073 | 213.661 | 7.7743 | 171.316 | 0 | 7.3004 | 28.96 | 959.088 | 46.2494 | 7.8405
2019-06-27 20:15:00 | 0 | 175.017 | 5.4733 | 215.319 | 5.9847 | 175.99 | 2.9167 | 356.75 | 28.83 | 959.078 | 47.1021 | 7.8663
2019-06-27 20:30:00 | 0 | 178.567 | 7.0073 | 230.499 | 6.7517 | 181.608 | 0 | 0.19468 | 28.64 | 959.127 | 47.2035 | 10.1571
2019-06-27 20:45:00 | 0 | 160.222 | 3.6837 | 208.628 | 3.6837 | 160.441 | 0 | 347.797 | 28.54 | 959.573 | 47.784 | 10.0426
2019-06-27 21:00:00 | 0 | 168.76 | 5.9847 | 216.653 | 5.4733 | 158.661 | 2.0297 | 356.841 | 28.34 | 959.721 | 45.3971 | 8.4649
2019-06-27 21:15:00 | 2.0207 | 168.859 | 4.962 | 220.111 | 4.7063 | 171.439 | 4.962 | 353.049 | 28.18 | 959.573 | 44.307 | 11.0254
2019-06-27 21:30:00 | 0 | 163.085 | 7.0073 | 212.558 | 6.7517 | 174.376 | 2.2853 | 348.996 | 28.29 | 959.573 | 41.7151 | 9.9761
2019-06-27 21:45:00 | 0 | 170.998 | 4.962 | 208.257 | 5.2177 | 161.994 | 1.5183 | 348.274 | 28.19 | 959.573 | 43.6247 | 10.7335
2019-06-27 22:00:00 | 0 | 157.651 | 4.7063 | 215.686 | 4.962 | 156.653 | 4.195 | 351.923 | 28.02 | 959.424 | 44.4394 | 11.7533
2019-06-27 22:15:00 | 0 | 185.332 | 4.7063 | 223.394 | 5.2177 | 161.192 | 0.75133 | 3.3095 | 27.95 | 959.573 | 44.9882 | 11.8309
2019-06-27 22:30:00 | 0 | 171.681 | 4.962 | 203.489 | 4.4507 | 162.458 | 1.1427 | 354.288 | 27.84 | 959.721 | 44.8521 | 11.6092
2019-06-27 22:45:00 | 0 | 166.252 | 5.729 | 220.86 | 7.0073 | 166.154 | 1.5183 | 356.837 | 27.81 | 958.979 | 45.8738 | 12.1043
2019-06-27 23:00:00 | 0 | 169.466 | 5.9847 | 204.17 | 5.4733 | 154.768 | 4.7063 | 354.579 | 27.74 | 959.276 | 47.4422 | 12.2632
2019-06-27 23:15:00 | 0 | 164.166 | 4.7063 | 213.352 | 5.9847 | 156.379 | 1.2627 | 353.446 | 27.58 | 958.979 | 47.8527 | 12.7657
2019-06-27 23:30:00 | 0 | 158.156 | 5.4733 | 201.574 | 7.263 | 140.804 | 1.1427 | 344.759 | 27.51 | 958.979 | 48.3299 | 12.6142
2019-06-27 23:45:00 | 0.372 | 164.312 | 4.7063 | 207.876 | 4.195 | 159.64 | 1.894 | 345.757 | 27.37 | 959.128 | 48.9775 | 13.2867