## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-28 00:00:00 | 0 | 158.35 | 5.4733 | 211.064 | 4.7063 | 158.229 | 2.661 | 343.834 | 27.34 | 958.831 | 49.6932 | 14.7092
2019-06-28 00:15:00 | 1.7653 | 154.262 | 5.4733 | 196.877 | 5.2177 | 145.818 | 5.729 | 345.83 | 26.82 | 958.831 | 49.8296 | 14.99
2019-06-28 00:30:00 | 0 | 160.37 | 4.962 | 211.016 | 5.2177 | 155.454 | 4.7063 | 350.624 | 26.86 | 958.979 | 50.3067 | 13.1721
2019-06-28 00:45:00 | 0 | 156.33 | 5.4733 | 201.16 | 4.962 | 153.069 | 1.5183 | 345.441 | 26.59 | 958.831 | 52.7607 | 16.8189
2019-06-28 01:00:00 | 0 | 147.594 | 5.2177 | 217.757 | 4.962 | 171.491 | 5.9847 | 339.138 | 26.68 | 958.683 | 54.6694 | 17.7242
2019-06-28 01:15:00 | 0 | 158.545 | 6.496 | 205.078 | 5.729 | 152.948 | 0 | 343.104 | 26.36 | 958.856 | 57.3279 | 18.4594
2019-06-28 01:30:00 | 0 | 155.892 | 4.962 | 205.735 | 6.2403 | 150.247 | 1.774 | 338.505 | 26.29 | 958.69 | 57.8732 | 18.3449
2019-06-28 01:45:00 | 0 | 134.234 | 6.2403 | 203.983 | 5.2177 | 163.996 | 3.1723 | 335.195 | 26.18 | 958.684 | 58.8275 | 22.5903
2019-06-28 02:00:00 | 0.372 | 154.603 | 8.2857 | 197.656 | 8.03 | 163.363 | 5.4733 | 340.184 | 26.07 | 958.864 | 59.9864 | 23.78
2019-06-28 02:15:00 | 0 | 149.005 | 7.7743 | 191.62 | 6.2403 | 153.605 | 5.9847 | 332.908 | 25.96 | 958.766 | 61.486 | 22.9672
2019-06-28 02:30:00 | 0.372 | 144.017 | 7.5187 | 192.01 | 6.2403 | 136.229 | 4.4507 | 332.299 | 25.78 | 958.521 | 63.6673 | 24.4857
2019-06-28 02:45:00 | 0 | 144.576 | 7.263 | 195.368 | 5.9847 | 148.64 | 3.428 | 336.29 | 25.59 | 958.722 | 65.9168 | 23.7689
2019-06-28 03:00:00 | 1.882 | 157.946 | 6.7517 | 202.244 | 6.7517 | 162.838 | 5.9847 | 338.307 | 25.4 | 958.787 | 67.0116 | 29.3962
2019-06-28 03:15:00 | 4.6907 | 154.017 | 6.2403 | 190.8 | 4.962 | 139.876 | 5.4733 | 332.811 | 25.44 | 958.818 | 68.5173 | 25.487
2019-06-28 03:30:00 | 5.4567 | 154.313 | 8.03 | 198.252 | 6.7517 | 150.808 | 5.9847 | 335.983 | 25.25 | 958.677 | 68.8597 | 26.529
2019-06-28 03:45:00 | 0 | 145.161 | 5.9847 | 200.005 | 4.962 | 149.493 | 5.729 | 327.026 | 24.99 | 958.674 | 71.5186 | 20.9017
2019-06-28 04:00:00 | 0 | 162.15 | 6.2403 | 208.548 | 5.4733 | 157.623 | 5.2177 | 349.442 | 24.78 | 958.975 | 72.9504 | 13.246
2019-06-28 04:15:00 | 0 | 160.349 | 4.7063 | 212.588 | 6.7517 | 183.909 | 4.962 | 335.472 | 24.77 | 958.975 | 73.564 | 7.7703
2019-06-28 04:30:00 | 0 | 161.16 | 5.4733 | 205.614 | 4.962 | 159.48 | 4.962 | 350.482 | 24.62 | 959.123 | 76.1584 | 6.2258
2019-06-28 04:45:00 | 0 | 176.379 | 6.2403 | 225.704 | 4.962 | 185.069 | 2.2853 | 0.70591 | 24.02 | 959.272 | 80.2523 | 5.3575
2019-06-28 05:00:00 | 0 | 182.48 | 3.1723 | 235.365 | 2.661 | 195.26 | 0 | 9.0315 | 23.29 | 958.827 | 83.9412 | 7.1458
2019-06-28 05:15:00 | 0 | 206.142 | 3.428 | 260.463 | 3.1723 | 215.003 | 0 | 27.411 | 23.16 | 958.53 | 84.521 | 8.7937
2019-06-28 05:30:00 | 0 | 197.695 | 4.7063 | 275.654 | 4.7063 | 248.013 | 0 | 25.8286 | 22.18 | 958.827 | 86.5325 | 11.1215
2019-06-28 05:45:00 | 0 | 240.726 | 2.4053 | 222.04 | 2.1497 | 189.742 | 5.2177 | 71.9718 | 21.38 | 958.53 | 92.1052 | 14.7794
2019-06-28 06:00:00 | 0 | 240.337 | 4.4507 | 281.158 | 4.962 | 231.596 | 0.75133 | 47.2835 | 20.58 | 958.678 | 90.162 | 10.8813
2019-06-28 06:15:00 | 0 | 241.295 | 2.661 | 264.928 | 2.1497 | 194.789 | 0 | 61.0664 | 20.3 | 958.777 | 89.9945 | 5.9265
2019-06-28 06:30:00 | 0 | 255.159 | 3.428 | 299.399 | 1.6383 | 233.534 | 0 | 78.2669 | 20.42 | 958.674 | 82.8782 | 1.9509
2019-06-28 06:45:00 | 0 | 247.952 | 3.1723 | 291.705 | 1.3827 | 234.777 | 0 | 87.6671 | 21.42 | 958.822 | 76.2619 | -0.40274
2019-06-28 07:00:00 | 0 | 248.623 | 2.1497 | 308.177 | 1.894 | 254.394 | 0 | 89.0999 | 22.09 | 958.947 | 72.0977 | -0.29189
2019-06-28 07:15:00 | 0 | 248.592 | 1.6383 | 305.239 | 0 | 225.364 | 0 | 89.1863 | 22.26 | 959.219 | 70.8612 | -0.27342
2019-06-28 07:30:00 | 0 | 248.591 | 0 | 305.823 | 0 | 224.901 | 0 | 89.1374 | 22.81 | 959.422 | 67.4851 | -0.24016
2019-06-28 07:45:00 | 0 | 244.688 | 1.3827 | 305.131 | 0 | 223.628 | 0 | 87.0165 | 23.07 | 959.865 | 66.6306 | -0.24016
2019-06-28 08:00:00 | 0 | 237.765 | 1.127 | 305.013 | 1.3827 | 223.962 | 0 | 62.2227 | 23.37 | 959.717 | 63.6892 | -0.24016
2019-06-28 08:15:00 | 0 | 240.321 | 2.1497 | 305.037 | 1.894 | 246.163 | 0 | 73.9561 | 23.46 | 959.865 | 65.5302 | -0.24016
2019-06-28 08:30:00 | 0 | 265.93 | 3.1723 | 316.186 | 2.4053 | 279.076 | 0 | 88.4162 | 23.16 | 959.865 | 77.0542 | -0.26972
2019-06-28 08:45:00 | 0 | 252.106 | 2.661 | 313.391 | 2.1497 | 273.067 | 0 | 83.013 | 21.5 | 959.272 | 82.4423 | -0.16996
2019-06-28 09:00:00 | 0 | 269.918 | 2.1497 | 317.751 | 1.6383 | 283.894 | 0 | 88.942 | 21.03 | 958.678 | 85.3873 | 0.30667
2019-06-28 09:15:00 | 0 | 296.264 | 3.1723 | 13.4261 | 2.9167 | 302.497 | 0 | 115.092 | 20.93 | 958.827 | 92.549 | 1.6036
2019-06-28 09:30:00 | 0 | 297.287 | 4.195 | 16.7861 | 3.9393 | 304.64 | 0 | 119.377 | 19.75 | 958.434 | 86.4109 | 2.4497
2019-06-28 09:45:00 | 0 | 356.908 | 2.4053 | 65.4652 | 1.127 | 9.2526 | 0 | 152.255 | 20.1 | 958.801 | 92.8265 | 0.86459
2019-06-28 10:00:00 | 0 | 3.604 | 2.4053 | 45.0665 | 1.6383 | 356.453 | 0 | 178.616 | 20.14 | 958.674 | 93.5169 | -0.15888
2019-06-28 10:15:00 | 0.99933 | 3.6041 | 2.661 | 61.213 | 2.9167 | 14.952 | 0 | 189.408 | 20.14 | 958.674 | 93.9281 | -0.20322
2019-06-28 10:30:00 | 0 | 342.774 | 0 | 52.6654 | 0 | 16.5591 | 0 | 176.379 | 19.98 | 958.971 | 93.1094 | -0.26972
2019-06-28 10:45:00 | 0 | 26.982 | 0 | 55.9537 | 0 | 18.9945 | 0 | 178.256 | 20.19 | 958.822 | 94.27 | -0.29928
2019-06-28 11:00:00 | 0 | 203.387 | 0 | 127.67 | 1.127 | 39.0605 | 0 | 28.1508 | 19.69 | 959.119 | 91.6778 | -0.26972
2019-06-28 11:15:00 | 0 | 177.526 | 0 | 277.094 | 0 | 56.3992 | 0 | 356.464 | 20.25 | 958.971 | 89.6998 | -0.2882
2019-06-28 11:30:00 | 0 | 170.975 | 1.6383 | 210.175 | 0 | 99.6483 | 0 | 354.711 | 20.57 | 958.971 | 90.0409 | -0.2882
2019-06-28 11:45:00 | 0 | 155.073 | 2.1497 | 201.432 | 0.75133 | 165.763 | 0 | 353.931 | 20.49 | 959.119 | 93.1443 | -0.2882
2019-06-28 12:00:00 | 0 | 144.091 | 3.1723 | 190.036 | 2.661 | 143.969 | 0 | 336.982 | 20.36 | 958.822 | 95.0204 | -0.33623
2019-06-28 12:15:00 | 0 | 181.515 | 3.9393 | 225.778 | 2.661 | 170.63 | 1.007 | 20.4308 | 20.41 | 958.674 | 95.7683 | 3.4805
2019-06-28 12:30:00 | 0 | 182.438 | 3.6837 | 224.826 | 2.9167 | 170.263 | 0 | 10.4953 | 20.72 | 958.674 | 95.5286 | 0.99761
2019-06-28 12:45:00 | 0 | 192.908 | 1.6383 | 237.876 | 1.127 | 187.04 | 0 | 31.851 | 20.67 | 958.674 | 96.3124 | -0.048033
2019-06-28 13:00:00 | 0 | 232.257 | 1.894 | 322.614 | 0 | 274.7 | 0 | 62.6543 | 20.79 | 958.813 | 96.8911 | -0.19583
2019-06-28 13:15:00 | 0 | 207.167 | 1.894 | 280.231 | 0.75133 | 229.155 | 0 | 55.3224 | 20.55 | 958.92 | 97.2622 | -0.2882
2019-06-28 13:30:00 | 0 | 170.39 | 1.894 | 213.696 | 1.6383 | 152.811 | 0 | 3.3114 | 20.5 | 958.438 | 97.7348 | -0.29928
2019-06-28 13:45:00 | 2.0207 | 179.883 | 2.9167 | 231.028 | 2.4053 | 198.266 | 0 | 8.3757 | 20.6 | 958.703 | 97.665 | -0.2882
2019-06-28 14:00:00 | 0.744 | 182.95 | 3.9393 | 233.559 | 3.9393 | 176.157 | 0 | 4.2852 | 20.74 | 958.795 | 97.8008 | -0.029559
2019-06-28 14:15:00 | 0 | 190.643 | 5.2177 | 233.924 | 4.4507 | 189.134 | 0 | 12.5391 | 20.61 | 958.372 | 97.8346 | 0.36579
2019-06-28 14:30:00 | 0 | 174.939 | 4.4507 | 227.423 | 4.7063 | 172.163 | 0 | 356.452 | 20.77 | 958.264 | 98.0051 | 0.59857
2019-06-28 14:45:00 | 0 | 180.759 | 3.1723 | 231.635 | 3.9393 | 175.232 | 0 | 0.19478 | 20.8 | 958.631 | 98.0735 | 0.070202
2019-06-28 15:00:00 | 0 | 183.388 | 3.428 | 232.365 | 3.9393 | 166.466 | 0 | 5.8435 | 20.8 | 958.438 | 98.1415 | 0.31037
2019-06-28 15:15:00 | 0 | 189.67 | 4.195 | 238.428 | 2.9167 | 185.433 | 0 | 10.7617 | 20.94 | 958.461 | 98.1415 | 0.38426
2019-06-28 15:30:00 | 0.372 | 170.581 | 2.661 | 215.955 | 2.9167 | 183.193 | 3.6837 | 0.24348 | 21.08 | 958.649 | 98.2779 | 0.7907
2019-06-28 15:45:00 | 0 | 186.163 | 3.428 | 234.435 | 3.9393 | 163.812 | 0 | 0.97391 | 21.04 | 958.42 | 98.1756 | 0.54684
2019-06-28 16:00:00 | 0 | 176.79 | 3.428 | 230.247 | 3.6837 | 159.722 | 0 | 0.19478 | 21.02 | 958.399 | 98.2097 | 0.5764
2019-06-28 16:15:00 | 0 | 165.322 | 3.6837 | 204.657 | 3.428 | 155.242 | 0 | 353.384 | 21.05 | 958.387 | 98.2779 | 0.29559
2019-06-28 16:30:00 | 0 | 180.71 | 3.9393 | 216.125 | 3.428 | 180.71 | 0 | 0.34087 | 21.04 | 958.099 | 98.3461 | 0.67616
2019-06-28 16:45:00 | 0 | 152.661 | 3.428 | 197.353 | 3.1723 | 142.41 | 0 | 337.997 | 20.98 | 958.112 | 98.4143 | 0.75375
2019-06-28 17:00:00 | 0 | 148.083 | 3.428 | 196.793 | 2.661 | 147.426 | 0 | 344.717 | 20.94 | 957.662 | 98.4143 | 1.138
2019-06-28 17:15:00 | 0 | 130.772 | 5.4733 | 186.031 | 3.9393 | 145.259 | 0 | 322 | 20.92 | 957.413 | 98.5507 | 7.4266
2019-06-28 17:30:00 | 0 | 161.429 | 3.6837 | 191.051 | 5.4733 | 141.804 | 0 | 329.164 | 20.9 | 957.575 | 98.6547 | 9.2039
2019-06-28 17:45:00 | 0 | 179.859 | 5.4733 | 215.762 | 5.9847 | 138.637 | 0.37567 | 0.80348 | 20.94 | 957.534 | 98.6878 | 7.5227
2019-06-28 18:00:00 | 0 | 164.376 | 4.962 | 210.896 | 4.962 | 159.166 | 0.887 | 5.6732 | 20.92 | 957.789 | 98.7919 | 7.083
2019-06-28 18:15:00 | 0 | 191.179 | 3.9393 | 243.687 | 4.962 | 201.965 | 0 | 9.7878 | 20.91 | 957.959 | 98.7895 | 6.4401
2019-06-28 18:30:00 | 0 | 165.494 | 4.4507 | 209.797 | 4.4507 | 164.252 | 0 | 340.532 | 21.04 | 958.313 | 98.7903 | 7.6594
2019-06-28 18:45:00 | 0 | 155.097 | 3.6837 | 203.053 | 3.6837 | 170.437 | 0 | 344.014 | 20.95 | 958.033 | 98.6882 | 4.8403
2019-06-28 19:00:00 | 0 | 180.15 | 5.2177 | 210.16 | 6.2403 | 181.148 | 0 | 0.19478 | 20.89 | 958.054 | 98.7895 | 5.8009
2019-06-28 19:15:00 | 0 | 158.699 | 4.962 | 196.793 | 4.962 | 145.162 | 0 | 338.07 | 20.91 | 958.023 | 98.653 | 12.7029
2019-06-28 19:30:00 | 0 | 152.466 | 6.2403 | 202.49 | 5.729 | 156.045 | 0 | 326.797 | 21.09 | 957.551 | 98.6189 | 14.687
2019-06-28 19:45:00 | 0 | 175.597 | 3.9393 | 190.049 | 2.4053 | 160.403 | 0 | 351.412 | 21.11 | 957.62 | 98.5507 | 9.784
2019-06-28 20:00:00 | 0 | 159.334 | 5.729 | 207.85 | 5.4733 | 155.585 | 0 | 346.085 | 21.04 | 957.406 | 98.4498 | 5.3095
2019-06-28 20:15:00 | 2.276 | 151.736 | 6.7517 | 198.936 | 7.263 | 146.282 | 4.962 | 329.231 | 21.06 | 957.559 | 98.5507 | 21.1308
2019-06-28 20:30:00 | 0 | 187.892 | 4.962 | 234.24 | 4.4507 | 196.219 | 0 | 4.7478 | 21.08 | 957.669 | 98.4825 | 3.9018
2019-06-28 20:45:00 | 0 | 163.91 | 4.4507 | 224.379 | 4.7063 | 176.108 | 0.37567 | 353.384 | 21.02 | 958.145 | 98.4825 | 4.4855
2019-06-28 21:00:00 | 0 | 155.12 | 5.729 | 195.746 | 5.4733 | 154.414 | 0.887 | 337.534 | 21.07 | 958.156 | 98.4826 | 6.2591
2019-06-28 21:15:00 | 0 | 148.595 | 4.7063 | 186.737 | 4.195 | 158.09 | 2.1497 | 340.65 | 21.1 | 958.126 | 98.3461 | 8.2728
2019-06-28 21:30:00 | 0 | 171.725 | 5.729 | 224.014 | 4.7063 | 179.03 | 0 | 342.647 | 21.11 | 958.002 | 98.0733 | 8.1139
2019-06-28 21:45:00 | 0 | 171.531 | 4.962 | 235.604 | 5.4733 | 203.451 | 0 | 356.112 | 21.18 | 957.523 | 97.937 | 11.6757
2019-06-28 22:00:00 | 0 | 158.334 | 6.496 | 205.777 | 5.4733 | 156.435 | 0 | 339.555 | 21.14 | 957.367 | 97.9369 | 10.3049
2019-06-28 22:15:00 | 0 | 162.205 | 5.9847 | 204.536 | 6.7517 | 151.249 | 0.37567 | 3.1896 | 21.08 | 957.397 | 97.9028 | 10.2569
2019-06-28 22:30:00 | 0 | 159.259 | 5.2177 | 212.863 | 5.9847 | 162.303 | 1.654 | 341.089 | 21.06 | 957.55 | 97.9369 | 6.9611
2019-06-28 22:45:00 | 0 | 157.482 | 5.729 | 212.23 | 5.2177 | 166.831 | 0 | 352.873 | 20.98 | 957.845 | 97.6641 | 6.7579
2019-06-28 23:00:00 | 0 | 152.393 | 5.729 | 202.174 | 3.1723 | 164.494 | 0.75133 | 356.404 | 21.04 | 957.569 | 97.3913 | 5.1728
2019-06-28 23:15:00 | 0 | 158.529 | 5.2177 | 204.925 | 5.729 | 157.75 | 0 | 354.261 | 21 | 957.49 | 97.4254 | 4.4929
2019-06-28 23:30:00 | 0 | 159.384 | 5.2177 | 206.171 | 4.962 | 157.143 | 0 | 356.02 | 20.9 | 957.444 | 97.5634 | 6.8022
2019-06-28 23:45:00 | 0 | 173.024 | 5.4733 | 224.343 | 5.9847 | 170.59 | 0 | 0.53568 | 20.89 | 957.224 | 97.6691 | 4.9659