## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-29 00:00:00 | 0 | 177.595 | 4.4507 | 222.458 | 5.4733 | 178.204 | 0 | 0.19479 | 20.93 | 957.382 | 97.631 | 4.0643
2019-06-29 00:15:00 | 0 | 186.725 | 3.6837 | 220.777 | 3.6837 | 161.598 | 0 | 3.5791 | 20.91 | 957.578 | 97.5965 | 3.0926
2019-06-29 00:30:00 | 0 | 185.195 | 3.9393 | 227.722 | 4.4507 | 167.713 | 0 | 4.3584 | 20.91 | 957.58 | 97.7351 | 2.7046
2019-06-29 00:45:00 | 0 | 171.386 | 3.9393 | 216.201 | 3.428 | 166.614 | 0 | 2.9218 | 20.91 | 957.468 | 97.8356 | 2.276
2019-06-29 01:00:00 | 0 | 167.179 | 3.9393 | 207.978 | 2.661 | 157.464 | 0 | 356.759 | 20.85 | 957.322 | 97.941 | 1.6701
2019-06-29 01:15:00 | 0 | 167.967 | 4.4507 | 207.528 | 3.9393 | 161.855 | 0 | 356.729 | 20.79 | 956.988 | 98.0144 | 1.0826
2019-06-29 01:30:00 | 0 | 171.614 | 3.9393 | 220.401 | 3.6837 | 161.241 | 0 | 356.718 | 20.75 | 957.189 | 98.0111 | 1.0124
2019-06-29 01:45:00 | 0 | 162.731 | 4.7063 | 210.034 | 4.195 | 167.601 | 0 | 0.3409 | 20.74 | 957.042 | 97.9795 | 1.6442
2019-06-29 02:00:00 | 0 | 162.998 | 4.195 | 208.572 | 4.195 | 157.738 | 0 | 346.425 | 20.67 | 956.745 | 98.0472 | 1.3449
2019-06-29 02:15:00 | 0 | 160.711 | 3.9393 | 205.312 | 3.9393 | 157.497 | 0 | 349.619 | 20.66 | 956.745 | 98.0826 | 0.53945
2019-06-29 02:30:00 | 0 | 159.963 | 4.7063 | 203.203 | 4.4507 | 156.602 | 0 | 347.102 | 20.64 | 956.448 | 98.1892 | 1.0715
2019-06-29 02:45:00 | 0 | 155.73 | 4.7063 | 203.136 | 4.962 | 152.54 | 1.2627 | 351.689 | 20.63 | 956.151 | 98.4647 | 1.0382
2019-06-29 03:00:00 | 0 | 158.968 | 5.2177 | 204.644 | 5.2177 | 155.072 | 0 | 330.355 | 20.55 | 956.151 | 98.5323 | 2.2391
2019-06-29 03:15:00 | 0 | 175.496 | 3.9393 | 232.128 | 4.195 | 169.822 | 0 | 8.4741 | 20.5 | 956.151 | 98.6651 | 2.3758
2019-06-29 03:30:00 | 0 | 171.289 | 5.9847 | 217.501 | 6.2403 | 172.483 | 0 | 0.21916 | 20.38 | 956.151 | 98.6684 | 4.8846
2019-06-29 03:45:00 | 0 | 152.638 | 5.729 | 204.72 | 4.962 | 151.591 | 0 | 344.313 | 20.3 | 955.706 | 98.9086 | 7.567
2019-06-29 04:00:00 | 0 | 154.392 | 6.7517 | 201.871 | 6.7517 | 155.658 | 0 | 356.659 | 20.22 | 955.706 | 98.9086 | 12.5883
2019-06-29 04:15:00 | 1.2547 | 163.207 | 7.7743 | 207.496 | 7.5187 | 157.874 | 0.37567 | 342.632 | 20.17 | 956.003 | 98.9768 | 18.1971
2019-06-29 04:30:00 | 0 | 158.726 | 5.9847 | 206.157 | 5.9847 | 161.332 | 0 | 344.288 | 20.13 | 956.003 | 99.0791 | 18.5186
2019-06-29 04:45:00 | 1.51 | 157.119 | 7.0073 | 209.152 | 6.7517 | 168.589 | 0 | 345.993 | 20.1 | 955.854 | 99.1132 | 20.6579
2019-06-29 05:00:00 | 2.9033 | 157.046 | 8.5413 | 206.985 | 8.2857 | 157.07 | 3.1723 | 341.366 | 20.03 | 955.706 | 99.1814 | 22.8637
2019-06-29 05:15:00 | 0 | 154.051 | 6.496 | 206.181 | 5.4733 | 160.041 | 0.37567 | 333.792 | 19.96 | 955.854 | 99.1473 | 21.1493
2019-06-29 05:30:00 | 0 | 159.992 | 7.263 | 210.248 | 6.7517 | 162.89 | 1.007 | 345.506 | 19.97 | 955.854 | 99.1132 | 16.2351
2019-06-29 05:45:00 | 0 | 165.837 | 7.5187 | 210.248 | 6.496 | 169.587 | 2.2853 | 346.042 | 19.89 | 956.003 | 98.9086 | 18.3338
2019-06-29 06:00:00 | 0 | 164.57 | 6.2403 | 216.749 | 5.9847 | 164.935 | 3.1723 | 347.379 | 20.06 | 956.448 | 98.3623 | 23.4844
2019-06-29 06:15:00 | 0 | 162.012 | 7.0073 | 213.57 | 6.7517 | 150.471 | 2.1497 | 348.858 | 20.21 | 956.392 | 97.6648 | 18.574
2019-06-29 06:30:00 | 0 | 159.064 | 5.729 | 213.155 | 5.2177 | 173.162 | 2.2853 | 356.793 | 20.34 | 956.012 | 96.9821 | 17.0887
2019-06-29 06:45:00 | 0 | 146.534 | 6.2403 | 214.908 | 5.729 | 170.198 | 1.3827 | 341.345 | 20.69 | 956.157 | 95.8127 | 16.6083
2019-06-29 07:00:00 | 0 | 153.779 | 6.7517 | 200.651 | 6.496 | 159.743 | 1.007 | 341.469 | 20.66 | 956.305 | 96.2837 | 24.5818
2019-06-29 07:15:00 | 11.3293 | 150.152 | 9.3083 | 194.078 | 8.03 | 155.58 | 3.1723 | 331.415 | 20.65 | 956.157 | 96.1473 | 31.1623
2019-06-29 07:30:00 | 0 | 144.65 | 6.2403 | 192.131 | 6.496 | 161.618 | 2.0297 | 343.051 | 20.64 | 956.157 | 96.5224 | 23.9685
2019-06-29 07:45:00 | 0 | 164.419 | 7.0073 | 223.001 | 5.4733 | 170.408 | 2.661 | 347.412 | 20.82 | 956.602 | 94.8527 | 16.734
2019-06-29 08:00:00 | 0 | 158.502 | 6.7517 | 201.674 | 5.4733 | 163.541 | 1.007 | 345.705 | 20.89 | 956.75 | 93.863 | 15.8472
2019-06-29 08:15:00 | 0 | 174.544 | 7.0073 | 217.838 | 7.263 | 174.544 | 0.37567 | 345.461 | 21.04 | 956.75 | 94.1698 | 12.5809
2019-06-29 08:30:00 | 0 | 150.612 | 6.2403 | 197.094 | 5.729 | 158.451 | 2.1497 | 330.12 | 21.33 | 956.602 | 92.9752 | 15.7733
2019-06-29 08:45:00 | 0 | 153.9 | 7.263 | 197.694 | 5.9847 | 149.373 | 3.9393 | 338.759 | 21.46 | 956.899 | 90.8476 | 21.6222
2019-06-29 09:00:00 | 0 | 152.39 | 7.5187 | 192.679 | 6.7517 | 155.14 | 4.962 | 334.62 | 21.72 | 956.747 | 90.1994 | 21.5742
2019-06-29 09:15:00 | 0 | 153.558 | 7.7743 | 217.151 | 7.7743 | 173.757 | 2.541 | 331.987 | 22.35 | 956.588 | 85.8224 | 21.1936
2019-06-29 09:30:00 | 0.372 | 154.554 | 7.7743 | 199.821 | 7.7743 | 157.231 | 4.962 | 336.704 | 22.75 | 956.917 | 85.4124 | 18.2969
2019-06-29 09:45:00 | 0 | 152.656 | 6.496 | 201.987 | 7.5187 | 163.558 | 4.7063 | 340.671 | 23.1 | 956.904 | 83.0948 | 15.9913
2019-06-29 10:00:00 | 0 | 150.779 | 8.03 | 192.541 | 7.5187 | 159.758 | 3.1723 | 340.202 | 23.47 | 957.2 | 82.0024 | 17.1145
2019-06-29 10:15:00 | 0 | 154.078 | 6.496 | 204.815 | 6.2403 | 165.101 | 3.9393 | 341.42 | 23.78 | 957.349 | 81.9969 | 20.0889
2019-06-29 10:30:00 | 0 | 146.954 | 6.7517 | 188.178 | 6.496 | 148.341 | 0.37567 | 330.919 | 24.29 | 956.755 | 81.7271 | 21.6259
2019-06-29 10:45:00 | 0.372 | 145.912 | 6.7517 | 204.124 | 7.7743 | 157.276 | 4.7063 | 337.475 | 24.53 | 957.052 | 78.7303 | 20.1443
2019-06-29 11:00:00 | 1.2547 | 149.756 | 8.2857 | 192.101 | 9.0527 | 147.906 | 4.195 | 353.607 | 24.87 | 957.349 | 78.389 | 22.2097
2019-06-29 11:15:00 | 4.4353 | 140.015 | 8.797 | 189.292 | 8.03 | 160.382 | 4.962 | 332.249 | 25.45 | 956.959 | 74.0569 | 25.1286
2019-06-29 11:30:00 | 1.7653 | 145.501 | 7.263 | 196.062 | 8.03 | 151.828 | 1.5183 | 336.478 | 25.41 | 956.757 | 74.2208 | 25.1508
2019-06-29 11:45:00 | 0.99933 | 156.471 | 7.5187 | 211.994 | 8.03 | 186.714 | 5.729 | 340.923 | 26.01 | 956.948 | 70.5388 | 22.3871
2019-06-29 12:00:00 | 0 | 132.776 | 6.7517 | 182.388 | 7.263 | 139.637 | 2.0297 | 315.675 | 25.96 | 956.73 | 70.2337 | 14.336
2019-06-29 12:15:00 | 0 | 140.487 | 5.9847 | 191.242 | 6.7517 | 141.461 | 5.2177 | 334.965 | 26.71 | 956.682 | 68.1542 | 15.0971
2019-06-29 12:30:00 | 0 | 154.041 | 7.0073 | 188.177 | 5.9847 | 144.77 | 5.4733 | 328.422 | 27.26 | 956.917 | 64.406 | 15.6994
2019-06-29 12:45:00 | 0 | 186.941 | 6.496 | 187.523 | 4.4507 | 113.128 | 4.195 | 3.2114 | 27.4 | 957.059 | 64.4675 | 17.0037
2019-06-29 13:00:00 | 6.2227 | 153.067 | 8.2857 | 197.388 | 7.263 | 162.798 | 2.1497 | 340.581 | 27.73 | 956.168 | 61.2268 | 14.9863
2019-06-29 13:15:00 | 0 | 152.434 | 8.03 | 196.535 | 8.2857 | 153.455 | 0.37567 | 341.869 | 28.08 | 956.464 | 58.7394 | 18.2599
2019-06-29 13:30:00 | 13.6273 | 176.104 | 8.5413 | 224.074 | 9.0527 | 169.657 | 9.8197 | 355.735 | 28.6 | 956.761 | 53.7649 | 17.2143
2019-06-29 13:45:00 | 7.7547 | 196.636 | 8.03 | 235.483 | 7.7743 | 183.353 | 2.2853 | 10.6309 | 29.81 | 956.909 | 51.1755 | 15.0159
2019-06-29 14:00:00 | 0 | 161.044 | 7.263 | 208.941 | 6.2403 | 180.53 | 1.3983 | 336.393 | 29.8 | 957.057 | 50.5278 | 14.905
2019-06-29 14:15:00 | 0 | 163.353 | 5.2177 | 211.068 | 5.729 | 152.189 | 5.2177 | 355.505 | 30.25 | 957.502 | 49.3273 | 12.6992
2019-06-29 14:30:00 | 0 | 179.674 | 4.195 | 224.786 | 5.2177 | 169.555 | 0 | 14.4965 | 29.94 | 957.205 | 49.3272 | 11.576
2019-06-29 14:45:00 | 0 | 167.432 | 5.729 | 227.305 | 7.5187 | 189.808 | 4.7063 | 352.643 | 30.12 | 956.761 | 50.6195 | 12.8396
2019-06-29 15:00:00 | 0 | 157.732 | 6.7517 | 196.835 | 6.496 | 158.923 | 2.1497 | 352.506 | 29.9 | 957.65 | 51.7109 | 11.3358
2019-06-29 15:15:00 | 0 | 152.298 | 5.4733 | 195.971 | 5.4733 | 145.27 | 5.2177 | 330.766 | 30.04 | 957.354 | 49.3915 | 7.216
2019-06-29 15:30:00 | 0 | 202.342 | 5.2177 | 255.569 | 5.729 | 200.81 | 0 | 11.9411 | 30.52 | 957.057 | 47.6181 | 4.3599
2019-06-29 15:45:00 | 0 | 161.632 | 4.7063 | 202.602 | 4.195 | 165.571 | 4.4507 | 322.29 | 30.65 | 957.354 | 48.7765 | 2.2132
2019-06-29 16:00:00 | 0 | 266.552 | 2.9167 | 311.148 | 2.661 | 264.801 | 0 | 94.9472 | 30.96 | 957.502 | 43.1229 | 0.16627
2019-06-29 16:15:00 | 0 | 211.481 | 2.9167 | 247.854 | 2.4053 | 193.971 | 0 | 85.3124 | 30.95 | 957.057 | 46.7995 | 0.040643
2019-06-29 16:30:00 | 0 | 203.99 | 2.1497 | 262.687 | 2.9167 | 223.931 | 0 | 16.4155 | 31.15 | 957.502 | 43.1887 | -0.10346
2019-06-29 16:45:00 | 0 | 158.681 | 1.127 | 230.29 | 0 | 181.833 | 0 | 326.579 | 30.9 | 957.798 | 51.0902 | -0.2143
2019-06-29 17:00:00 | 0 | 188.422 | 1.894 | 229.414 | 2.1497 | 170.815 | 0 | 17.315 | 31.63 | 958.688 | 44.7207 | -0.26972
2019-06-29 17:15:00 | 0 | 254.788 | 1.3827 | 308.401 | 0.75133 | 232.488 | 0 | 72.6646 | 31.57 | 958.629 | 42.0981 | -0.28081
2019-06-29 17:30:00 | 0 | 253.207 | 2.4053 | 308.401 | 2.661 | 258.849 | 0 | 75.0235 | 31.32 | 958.467 | 44.3461 | -0.26233
2019-06-29 17:45:00 | 0 | 171.496 | 0.37567 | 246.85 | 0 | 205.737 | 0 | 7.2956 | 31.25 | 958.219 | 49.5232 | -0.26233
2019-06-29 18:00:00 | 0 | 247.565 | 1.894 | 294.248 | 1.127 | 233.582 | 0 | 67.9954 | 30.93 | 957.946 | 48.5695 | -0.25125
2019-06-29 18:15:00 | 0 | 138.423 | 0 | 293.615 | 0 | 243.626 | 0 | 38.6183 | 30.76 | 958.391 | 47.4796 | -0.18844
2019-06-29 18:30:00 | 0 | 202.279 | 3.428 | 242.036 | 2.4053 | 184.646 | 0 | 26.5587 | 30.9 | 958.094 | 47.8589 | -0.24386
2019-06-29 18:45:00 | 0 | 163.896 | 4.4507 | 207.406 | 3.6837 | 158.836 | 0 | 342.896 | 30.22 | 957.946 | 53.8264 | 0.1441
2019-06-29 19:00:00 | 0 | 164.596 | 4.7063 | 206.411 | 4.4507 | 146.254 | 0 | 346.221 | 29.99 | 957.946 | 54.8549 | 2.1098
2019-06-29 19:15:00 | 0 | 177.296 | 4.962 | 220.887 | 6.2403 | 160.656 | 5.2177 | 3.8437 | 29.96 | 957.798 | 53.2879 | 4.6592
2019-06-29 19:30:00 | 0 | 173.939 | 4.962 | 213.516 | 6.7517 | 158.369 | 4.962 | 346.028 | 29.91 | 957.798 | 53.2879 | 6.4697
2019-06-29 19:45:00 | 0 | 173.598 | 4.4507 | 221.665 | 4.4507 | 168.246 | 4.195 | 356.732 | 29.77 | 957.946 | 53.4923 | 4.9991
2019-06-29 20:00:00 | 0 | 180.312 | 5.4733 | 214.318 | 4.7063 | 161.605 | 1.007 | 353.424 | 29.78 | 958.094 | 53.4242 | 3.5249
2019-06-29 20:15:00 | 0 | 160.17 | 5.2177 | 204.491 | 4.7063 | 159.391 | 4.4507 | 356.076 | 29.61 | 958.543 | 56.2863 | 3.7909
2019-06-29 20:30:00 | 0 | 159.157 | 5.4733 | 202.047 | 4.195 | 152.929 | 0 | 344.346 | 29.26 | 958.689 | 57.857 | 3.6468
2019-06-29 20:45:00 | 0 | 155.958 | 6.2403 | 202.916 | 4.7063 | 152.601 | 0.37567 | 342.817 | 28.91 | 958.95 | 59.0883 | 4.6777
2019-06-29 21:00:00 | 0 | 156.433 | 4.7063 | 200.111 | 4.7063 | 151.907 | 3.1723 | 347.223 | 28.78 | 959.144 | 60.3198 | 5.1432
2019-06-29 21:15:00 | 0 | 163.675 | 5.729 | 197.114 | 4.962 | 149.609 | 5.2177 | 342.827 | 28.62 | 959.384 | 61.9954 | 6.3884
2019-06-29 21:30:00 | 0 | 156.714 | 5.2177 | 203.147 | 5.2177 | 156.13 | 5.9847 | 345.525 | 28.56 | 959.556 | 62.438 | 7.5338
2019-06-29 21:45:00 | 0 | 157.105 | 6.2403 | 200.083 | 4.7063 | 153.552 | 3.6837 | 350.566 | 28.28 | 959.42 | 63.3929 | 4.5557
2019-06-29 22:00:00 | 0 | 155.742 | 5.2177 | 203.684 | 4.195 | 161.971 | 0 | 347.255 | 28.09 | 959.424 | 64.0744 | 1.5814
2019-06-29 22:15:00 | 4.4353 | 188.537 | 2.9167 | 237.499 | 2.1497 | 185.325 | 0 | 13.1402 | 28.08 | 959.573 | 63.3902 | -0.096066
2019-06-29 22:30:00 | 0.88267 | 185.614 | 2.9167 | 235.548 | 2.4053 | 182.11 | 0 | 17.374 | 28.36 | 959.573 | 62.9122 | -0.39535
2019-06-29 22:45:00 | 0 | 234.847 | 3.1723 | 276.242 | 2.9167 | 189.513 | 0 | 56.3575 | 28.63 | 959.573 | 61.7893 | -0.31406
2019-06-29 23:00:00 | 0 | 243.534 | 3.1723 | 283.395 | 3.428 | 234.043 | 0 | 70.5683 | 28.58 | 959.573 | 60.528 | -0.18474
2019-06-29 23:15:00 | 0 | 287.54 | 3.6837 | 19.854 | 3.9393 | 303.65 | 0 | 106.952 | 28.43 | 959.869 | 66.7333 | 0.42121
2019-06-29 23:30:00 | 0 | 313.671 | 3.1723 | 0.75293 | 1.3827 | 329.366 | 0 | 131.931 | 27.23 | 959.573 | 68.2607 | -0.084981
2019-06-29 23:45:00 | 0 | 326.69 | 4.4507 | 17.0614 | 4.195 | 338.736 | 0 | 146.299 | 27.52 | 959.424 | 54.94 | 0.6466