## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-30 00:00:00 | 0 | 19.955 | 2.9167 | 63.4215 | 2.4053 | 0.77873 | 0 | 182.612 | 27.45 | 959.573 | 59.7136 | 3.5618
2019-06-30 00:15:00 | 0 | 349.018 | 4.195 | 30.7149 | 3.9393 | 356.611 | 0 | 161.538 | 27.23 | 959.424 | 57.1234 | 7.1274
2019-06-30 00:30:00 | 0 | 355.053 | 3.6837 | 32.8564 | 2.661 | 2.6769 | 2.2853 | 168.109 | 26.73 | 959.424 | 54.7375 | 10.183
2019-06-30 00:45:00 | 0 | 16.0613 | 4.7063 | 64.0057 | 4.7063 | 14.3092 | 3.5637 | 201.254 | 26.28 | 958.979 | 55.8282 | 7.3343
2019-06-30 01:00:00 | 0 | 20.9284 | 7.0073 | 70.7953 | 4.962 | 29.4458 | 0.37567 | 203.103 | 25.76 | 958.831 | 59.5092 | 9.359
2019-06-30 01:15:00 | 0 | 13.6278 | 5.4733 | 57.3865 | 4.962 | 19.2736 | 3.1723 | 203.687 | 26.03 | 959.002 | 60.4635 | 21.5742
2019-06-30 01:30:00 | 10.0527 | 18.8842 | 7.263 | 65.4415 | 3.428 | 33.6071 | 5.9847 | 201.862 | 26.09 | 958.912 | 58.8275 | 33.0208
2019-06-30 01:45:00 | 2.276 | 24.5057 | 6.496 | 79.8967 | 3.9393 | 39.837 | 5.2177 | 216.098 | 26.44 | 959.179 | 53.1016 | 32.2745
2019-06-30 02:00:00 | 5.712 | 44.7771 | 8.2857 | 91.383 | 3.6837 | 19.2006 | 1.6383 | 227.536 | 27.13 | 959.028 | 45.3988 | 19.8118
2019-06-30 02:15:00 | 2.9253 | 17.4971 | 6.496 | 62.9593 | 2.9167 | 28.7157 | 2.661 | 195.656 | 27.47 | 959.129 | 44.6489 | 14.7313
2019-06-30 02:30:00 | 0 | 2.9202 | 4.962 | 59.528 | 4.195 | 349.286 | 2.9167 | 195.462 | 27.14 | 958.992 | 52.6926 | 17.4027
2019-06-30 02:45:00 | 0.88267 | 250.533 | 8.03 | 44.1237 | 7.0073 | 355.759 | 1.774 | 182.661 | 25.14 | 958.981 | 68.6435 | 22.9635
2019-06-30 03:00:00 | 2.648 | 0.12168 | 6.496 | 46.9223 | 4.7063 | 0.048671 | 2.2853 | 177.916 | 24.07 | 959.035 | 74.7784 | 27.1756
2019-06-30 03:15:00 | 5.712 | 0.17038 | 5.9847 | 71.2484 | 3.9393 | 12.7782 | 4.7063 | 176.777 | 23.91 | 959.123 | 74.6544 | 31.8939
2019-06-30 03:30:00 | 2.0207 | 356.671 | 6.496 | 63.8253 | 5.4733 | 28.5016 | 3.6837 | 179.796 | 23.73 | 958.678 | 70.496 | 30.6487
2019-06-30 03:45:00 | 4.6907 | 12.4135 | 5.729 | 58.4001 | 7.7743 | 16.6974 | 3.5637 | 195.185 | 23.88 | 958.678 | 66.7483 | 28.539
2019-06-30 04:00:00 | 4.18 | 352.116 | 6.2403 | 59.2351 | 8.5413 | 10.2969 | 3.9393 | 181.547 | 24.04 | 958.827 | 60.2087 | 26.5401
2019-06-30 04:15:00 | 10.308 | 82.8622 | 8.797 | 67.4872 | 6.7517 | 32.1812 | 5.4733 | 184.811 | 23.89 | 959.272 | 53.9355 | 29.9172
2019-06-30 04:30:00 | 7.244 | 354.978 | 6.496 | 56.4146 | 4.7063 | 19.2558 | 3.6837 | 180.581 | 23.95 | 959.42 | 49.9146 | 25.4021
2019-06-30 04:45:00 | 0 | 8.0821 | 5.729 | 69.5847 | 5.2177 | 44.7924 | 1.6383 | 181.969 | 23.92 | 959.568 | 47.1872 | 27.6301
2019-06-30 05:00:00 | 5.2013 | 3.0916 | 6.496 | 65.9574 | 5.9847 | 10.273 | 3.9393 | 185.961 | 23.92 | 959.272 | 44.5277 | 29.3297
2019-06-30 05:15:00 | 6.2227 | 1.8501 | 6.2403 | 55.173 | 7.263 | 3.9924 | 5.729 | 178.049 | 23.93 | 959.865 | 43.4366 | 24.0091
2019-06-30 05:30:00 | 10.5633 | 6.4024 | 4.7063 | 73.1871 | 6.7517 | 23.4425 | 9.0527 | 179.263 | 23.64 | 959.865 | 43.0956 | 21.9067
2019-06-30 05:45:00 | 0 | 5.0634 | 5.2177 | 56.73 | 4.962 | 24.2699 | 4.7063 | 179.31 | 23.58 | 959.717 | 43.9815 | 18.2267
2019-06-30 06:00:00 | 6.7333 | 356.836 | 5.729 | 69.3368 | 6.2403 | 39.7273 | 5.4733 | 178.943 | 23.42 | 959.865 | 42.9573 | 16.9409
2019-06-30 06:15:00 | 0.88267 | 3.651 | 5.729 | 61.6126 | 4.7063 | 15.2126 | 5.9847 | 173.472 | 23.41 | 960.31 | 42.8169 | 11.7274
2019-06-30 06:30:00 | 0 | 5.306 | 4.195 | 81.0091 | 4.4507 | 19.788 | 5.9847 | 161.371 | 23.44 | 960.583 | 44.5202 | 10.0167
2019-06-30 06:45:00 | 0 | 3.3345 | 5.9847 | 57.4971 | 5.4733 | 12.3158 | 0 | 189.605 | 23.15 | 960.607 | 44.3157 | 7.9254
2019-06-30 07:00:00 | 0 | 8.4945 | 6.496 | 80.2302 | 3.9393 | 5.0383 | 2.9167 | 183.69 | 23.68 | 960.903 | 41.3158 | 9.444
2019-06-30 07:15:00 | 0 | 15.1861 | 5.4733 | 73.5991 | 4.4507 | 22.2681 | 3.428 | 180.019 | 24.13 | 960.866 | 40.8339 | 10.667
2019-06-30 07:30:00 | 0 | 3.2123 | 5.9847 | 67.1207 | 5.729 | 14.8689 | 1.2627 | 192.201 | 24.25 | 960.77 | 40.0136 | 11.2102
2019-06-30 07:45:00 | 0 | 177.892 | 6.496 | 66.7556 | 6.496 | 25.2845 | 2.7967 | 171.321 | 24.68 | 960.907 | 38.7185 | 12.9172
2019-06-30 08:00:00 | 0 | 0.82738 | 6.496 | 71.1819 | 5.9847 | 10.4639 | 0 | 185.99 | 24.88 | 961.204 | 40.1488 | 14.7683
2019-06-30 08:15:00 | 0 | 346.378 | 5.729 | 59.1846 | 5.729 | 16.085 | 3.428 | 158.343 | 24.87 | 960.907 | 38.24 | 16.3534
2019-06-30 08:30:00 | 0 | 26.3782 | 7.0073 | 80.354 | 2.4053 | 38.2533 | 1.007 | 208.933 | 25.05 | 961.352 | 39.8071 | 15.4075
2019-06-30 08:45:00 | 0 | 356.92 | 5.2177 | 64.9717 | 4.7063 | 10.9013 | 1.5183 | 178.411 | 25.09 | 961.34 | 38.5788 | 13.8852
2019-06-30 09:00:00 | 0 | 356.96 | 6.496 | 55.2366 | 5.2177 | 44.0178 | 1.6383 | 176.485 | 25.3 | 961.252 | 37.7258 | 14.99
2019-06-30 09:15:00 | 0 | 1.314 | 6.496 | 51.1278 | 4.962 | 2.8957 | 1.894 | 185.23 | 25.19 | 961.477 | 39.6703 | 11.406
2019-06-30 09:30:00 | 0 | 348.513 | 5.2177 | 52.0534 | 5.9847 | 16.2557 | 3.6837 | 171.658 | 25.58 | 961.311 | 39.5344 | 10.5857
2019-06-30 09:45:00 | 0 | 13.6259 | 2.661 | 12.0452 | 1.6383 | 279.161 | 0 | 208.647 | 25.94 | 961.799 | 40.0762 | 10.1571
2019-06-30 10:00:00 | 0 | 325.644 | 5.9847 | 13.0667 | 4.4507 | 307.74 | 2.7967 | 120.687 | 26.59 | 962.247 | 38.4329 | 10.6005
2019-06-30 10:15:00 | 0 | 44.5672 | 2.9167 | 80.7385 | 3.1723 | 322.772 | 4.7063 | 211.524 | 27.8 | 962.542 | 38.1601 | 9.6435
2019-06-30 10:30:00 | 0 | 35.4151 | 3.1723 | 84.0561 | 2.1497 | 7.443 | 0 | 213.074 | 28.22 | 962.838 | 38.0183 | 9.5955
2019-06-30 10:45:00 | 0 | 10.287 | 4.7063 | 8.9641 | 5.2177 | 303.966 | 1.2627 | 172.691 | 28.61 | 962.986 | 34.946 | 10.5673
2019-06-30 11:00:00 | 0 | 27.918 | 3.1723 | 64.4349 | 3.428 | 316.072 | 0 | 209.093 | 28.46 | 962.986 | 34.673 | 8.7531
2019-06-30 11:15:00 | 0 | 291.437 | 2.4053 | 3.8037 | 3.1723 | 356.951 | 0 | 144.065 | 28.16 | 962.986 | 34.1281 | 7.87
2019-06-30 11:30:00 | 0 | 43.6766 | 2.1497 | 13.4627 | 2.9167 | 307.973 | 0 | 171.642 | 29.18 | 963.283 | 31.3352 | 8.6422
2019-06-30 11:45:00 | 0 | 31.0794 | 1.894 | 61.4194 | 2.661 | 295.668 | 5.729 | 199.001 | 29.54 | 963.283 | 32.2548 | 8.7198
2019-06-30 12:00:00 | 0 | 277.283 | 6.496 | 323.163 | 5.9847 | 263.616 | 1.894 | 105.3 | 29.04 | 963.283 | 31.233 | 8.7974
2019-06-30 12:15:00 | 0 | 328.62 | 5.729 | 16.2306 | 7.263 | 290.707 | 2.661 | 163.544 | 29.51 | 963.431 | 30.4155 | 6.8429
2019-06-30 12:30:00 | 0 | 295.526 | 7.0073 | 35.0342 | 7.5187 | 296.694 | 1.3827 | 115.589 | 29.44 | 962.986 | 29.5304 | 7.907
2019-06-30 12:45:00 | 0 | 330.235 | 1.3827 | 17.8599 | 0 | 21.2066 | 0 | 198.399 | 29.62 | 962.986 | 29.8374 | 9.5844
2019-06-30 13:00:00 | 0 | 321.401 | 3.1723 | 1.2986 | 4.195 | 345.039 | 0 | 129.669 | 29.58 | 962.69 | 30.7906 | 4.3599
2019-06-30 13:15:00 | 0 | 291.346 | 4.962 | 326.697 | 4.7063 | 284.318 | 0 | 122.57 | 30.06 | 962.986 | 29.7691 | 10.9257
2019-06-30 13:30:00 | 0 | 2.1888 | 4.4507 | 16.0419 | 2.4053 | 328.414 | 0 | 158.297 | 29.74 | 962.838 | 29.6674 | 9.1632
2019-06-30 13:45:00 | 0 | 295.498 | 4.4507 | 315.992 | 4.4507 | 287.593 | 0 | 132.281 | 30.52 | 962.838 | 26.2283 | 12.2558
2019-06-30 14:00:00 | 0.744 | 293.311 | 8.2857 | 34.6203 | 8.03 | 295.086 | 1.774 | 113.667 | 30.96 | 963.431 | 26.3285 | 12.4332
2019-06-30 14:15:00 | 0 | 335.016 | 5.2177 | 18.3751 | 4.962 | 325.799 | 3.6837 | 147.542 | 31.24 | 963.431 | 26.158 | 14.8348
2019-06-30 14:30:00 | 0 | 324.461 | 5.9847 | 10.1067 | 5.9847 | 346.494 | 0.37567 | 135.456 | 30.47 | 963.283 | 27.0436 | 15.4112
2019-06-30 14:45:00 | 0 | 21.9842 | 3.428 | 74.5515 | 3.428 | 350.58 | 0 | 208.655 | 31.43 | 963.431 | 24.8297 | 13.9222
2019-06-30 15:00:00 | 0 | 66.0012 | 4.7063 | 58.3065 | 3.428 | 353.401 | 0 | 152.333 | 30.89 | 963.537 | 25.0681 | 11.624
2019-06-30 15:15:00 | 0 | 304.52 | 3.9393 | 6.1383 | 3.428 | 331.733 | 4.4507 | 117.557 | 30.92 | 963.642 | 26.124 | 18.5888
2019-06-30 15:30:00 | 0 | 323.926 | 3.6837 | 4.1441 | 2.9167 | 1.678 | 0 | 143.311 | 31.27 | 963.313 | 25.0341 | 18.3856
2019-06-30 15:45:00 | 0 | 335.454 | 2.9167 | 16.8872 | 4.195 | 17.0475 | 2.541 | 151.117 | 31.02 | 963.178 | 24.5913 | 14.1439
2019-06-30 16:00:00 | 0 | 39.4937 | 3.9393 | 23.9441 | 3.428 | 318.187 | 1.2627 | 213.762 | 31.12 | 963.447 | 26.4986 | 18.2636
2019-06-30 16:15:00 | 0 | 355.541 | 3.6837 | 69.25 | 3.9393 | 20.7196 | 0 | 156.905 | 30.96 | 963.191 | 26.4646 | 15.1636
2019-06-30 16:30:00 | 0 | 356.903 | 5.2177 | 13.56 | 2.661 | 357 | 5.2177 | 178.524 | 30.72 | 963.209 | 27.7929 | 15.9063
2019-06-30 16:45:00 | 0 | 308.289 | 7.0073 | 12.879 | 6.2403 | 328.985 | 1.894 | 135.091 | 30.64 | 962.964 | 28.951 | 27.3086
2019-06-30 17:00:00 | 0 | 10.0193 | 2.661 | 71.7062 | 3.1723 | 351.237 | 0 | 171.107 | 30.18 | 962.689 | 29.9046 | 25.7863
2019-06-30 17:15:00 | 0 | 344.16 | 5.729 | 33.0393 | 6.2403 | 326.918 | 0 | 115.636 | 30.29 | 962.986 | 29.9046 | 24.5375
2019-06-30 17:30:00 | 0 | 328.073 | 6.2403 | 82.2644 | 4.7063 | 29.1836 | 4.195 | 161.653 | 29.97 | 962.689 | 32.4263 | 28.1141
2019-06-30 17:45:00 | 0 | 25.0038 | 6.2403 | 93.7091 | 2.4053 | 291.874 | 5.729 | 178.31 | 29.64 | 962.393 | 33.8271 | 25.7494
2019-06-30 18:00:00 | 7.7547 | 9.7304 | 5.9847 | 57.7214 | 4.195 | 36.27 | 0.75133 | 181.399 | 29.44 | 962.393 | 34.1381 | 17.1515
2019-06-30 18:15:00 | 5.9673 | 335.495 | 5.9847 | 62.6878 | 6.496 | 29.0222 | 2.541 | 172.722 | 29.34 | 962.245 | 35.23 | 15.0861
2019-06-30 18:30:00 | 0 | 1.0704 | 6.2403 | 48.2375 | 6.2403 | 12.0906 | 1.2627 | 180.702 | 29.21 | 962.097 | 36.5247 | 14.5651
2019-06-30 18:45:00 | 1.51 | 2.1165 | 3.9393 | 72.151 | 3.9393 | 2.8463 | 2.1497 | 173.817 | 29.08 | 962.541 | 36.7291 | 15.208
2019-06-30 19:00:00 | 1.51 | 354.008 | 5.729 | 47.2157 | 3.6837 | 9.9011 | 1.007 | 180.653 | 28.97 | 962.838 | 37.2743 | 15.3595
2019-06-30 19:15:00 | 0 | 0.6325 | 4.195 | 54.1246 | 4.962 | 3.1139 | 3.6837 | 180.653 | 28.85 | 962.541 | 37.0017 | 12.7435
2019-06-30 19:30:00 | 0 | 84.1736 | 5.729 | 51.0367 | 5.4733 | 356.351 | 2.0297 | 189.707 | 28.55 | 962.541 | 37.5477 | 12.3223
2019-06-30 19:45:00 | 0 | 356.984 | 4.962 | 49.1094 | 3.9393 | 13.4812 | 2.2853 | 174.574 | 28.4 | 962.643 | 38.2396 | 15.2634
2019-06-30 20:00:00 | 0 | 1.7277 | 5.4733 | 65.0477 | 3.6837 | 0.63269 | 3.5637 | 197.423 | 28.1 | 962.834 | 39.2277 | 17.92
2019-06-30 20:15:00 | 0 | 5.1102 | 5.4733 | 58.5505 | 5.4733 | 0.048668 | 3.428 | 188.273 | 27.85 | 963.131 | 41.8519 | 24.0645
2019-06-30 20:30:00 | 0 | 23.2152 | 8.03 | 80.5748 | 3.9393 | 78.844 | 4.7063 | 212.611 | 27.53 | 963.131 | 45.3973 | 17.9939
2019-06-30 20:45:00 | 0 | 27.5963 | 6.7517 | 77.7307 | 4.962 | 14.3335 | 1.1427 | 215.1 | 27.38 | 963.428 | 48.1935 | 18.3745
2019-06-30 21:00:00 | 3.9247 | 40.6644 | 7.7743 | 98.4646 | 5.4733 | 60.1327 | 1.894 | 211.255 | 27.13 | 963.428 | 50.7498 | 22.0619
2019-06-30 21:15:00 | 5.2013 | 33.1934 | 8.5413 | 80.9918 | 7.0073 | 20.5634 | 2.9167 | 225.54 | 27.01 | 963.428 | 51.2611 | 21.2638
2019-06-30 21:30:00 | 0 | 24.3597 | 5.2177 | 79.8237 | 3.9393 | 32.001 | 0 | 208.87 | 26.87 | 963.732 | 52.3517 | 15.8878
2019-06-30 21:45:00 | 0 | 28.8131 | 7.263 | 90.8476 | 4.4507 | 62.8339 | 1.2627 | 199.185 | 26.9 | 963.734 | 49.4206 | 16.5344
2019-06-30 22:00:00 | 0 | 46.7726 | 6.2403 | 107.396 | 4.7063 | 52.7834 | 2.9167 | 217.145 | 26.89 | 963.963 | 49.7614 | 13.8076
2019-06-30 22:15:00 | 8.2653 | 56.4581 | 7.263 | 118.055 | 4.962 | 67.8714 | 5.729 | 222.766 | 26.67 | 963.481 | 51.7382 | 15.2671
2019-06-30 22:30:00 | 0 | 51.4693 | 5.9847 | 108.199 | 5.2177 | 69.9885 | 2.9167 | 250.387 | 26.44 | 963.74 | 52.2836 | 15.0971
2019-06-30 22:45:00 | 0 | 68.4561 | 4.4507 | 109.782 | 1.3827 | 73.3963 | 0 | 234.522 | 26.19 | 963.693 | 52.0796 | 4.8772
2019-06-30 23:00:00 | 0 | 53.1533 | 3.428 | 91.5148 | 1.894 | 67.5611 | 1.1427 | 236.44 | 26.31 | 963.988 | 51.2657 | 4.9585
2019-06-30 23:15:00 | 0 | 52.9618 | 3.6837 | 115.082 | 3.1723 | 37.3605 | 0 | 254.903 | 26.13 | 963.846 | 51.4734 | 3.887
2019-06-30 23:30:00 | 0 | 78.6652 | 2.1497 | 118.443 | 2.9167 | 54.0823 | 1.2627 | 257.317 | 26.09 | 963.87 | 51.4743 | 7.0017
2019-06-30 23:45:00 | 0 | 67.6152 | 4.7063 | 121.072 | 2.4053 | 78.2759 | 0 | 242.422 | 25.92 | 964.018 | 51.7471 | 14.1993