## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-01 00:00:00 | 0 | 71.5095 | 3.6837 | 109.048 | 4.962 | 49.4092 | 5.4733 | 236.702 | 25.8 | 963.686 | 49.2926 | 18.0493
2019-07-01 00:15:00 | 0 | 72.1667 | 5.9847 | 108.683 | 4.7063 | 70.7306 | 0 | 231.688 | 25.99 | 963.573 | 49.0881 | 19.1356
2019-07-01 00:30:00 | 0 | 62.4065 | 5.729 | 118.614 | 1.3827 | 51.8919 | 1.894 | 240.474 | 25.94 | 963.87 | 48.8836 | 6.429
2019-07-01 00:45:00 | 0 | 59.9482 | 2.1497 | 104.448 | 1.6383 | 63.2827 | 0 | 236.604 | 26.01 | 963.87 | 48.5427 | 1.4484
2019-07-01 01:00:00 | 0 | 46.9996 | 1.3827 | 93.5195 | 0 | 57.9281 | 0 | 256.368 | 25.93 | 964.167 | 48.4063 | 0.081287
2019-07-01 01:15:00 | 0 | 7.3019 | 1.3827 | 99.5557 | 1.3827 | 25.7025 | 0 | 205.426 | 26.03 | 964.018 | 48.1677 | -0.27711
2019-07-01 01:30:00 | 0 | 43.227 | 0.37567 | 84.4409 | 0 | 2.4826 | 0 | 230.057 | 25.75 | 963.87 | 48.4745 | -0.25864
2019-07-01 01:45:00 | 0 | 20.7375 | 0.75133 | 83.6143 | 0 | 356.943 | 0 | 217.086 | 25.7 | 964.018 | 50.4522 | -0.24016
2019-07-01 02:00:00 | 0 | 0.14605 | 1.894 | 83.3991 | 1.894 | 335.56 | 0 | 209.889 | 25.18 | 963.722 | 52.0903 | -0.24016
2019-07-01 02:15:00 | 0 | 83.5644 | 1.6383 | 6.4836 | 1.894 | 310.914 | 0 | 191.349 | 25.03 | 963.87 | 53.9331 | -0.25125
2019-07-01 02:30:00 | 0 | 341.77 | 2.1497 | 5.3163 | 2.661 | 308.908 | 0 | 191.795 | 24.99 | 964.018 | 55.8448 | -0.24016
2019-07-01 02:45:00 | 0 | 83.4938 | 2.1497 | 16.0265 | 2.1497 | 313.674 | 0 | 186.705 | 24.85 | 964.315 | 55.2984 | -0.15149
2019-07-01 03:00:00 | 6.2227 | 332.815 | 2.4053 | 6.8988 | 2.4053 | 317.138 | 0 | 185.663 | 24.97 | 964.315 | 54.4815 | -0.15149
2019-07-01 03:15:00 | 0 | 356.191 | 2.661 | 7.7514 | 2.9167 | 314.467 | 0 | 186.908 | 24.99 | 964.167 | 54.3463 | 0.0036948
2019-07-01 03:30:00 | 3.414 | 356.063 | 2.9167 | 24.6204 | 3.1723 | 319.037 | 0.75133 | 186.904 | 25.06 | 964.167 | 52.5042 | 0.055423
2019-07-01 03:45:00 | 4.18 | 356.913 | 2.4053 | 40.443 | 2.4053 | 316.042 | 0 | 182.911 | 25.13 | 964.463 | 53.5949 | 0.20691
2019-07-01 04:00:00 | 0 | 83.8354 | 2.4053 | 40.8561 | 1.6383 | 332.177 | 0 | 190.48 | 25.22 | 964.612 | 47.5257 | 0.27711
2019-07-01 04:15:00 | 0 | 4.0894 | 2.1497 | 41.6329 | 1.3827 | 334.356 | 0 | 202.863 | 25.39 | 964.76 | 48.0014 | 0.27342
2019-07-01 04:30:00 | 0 | 8.7631 | 2.4053 | 41.1226 | 1.127 | 336.746 | 0 | 197.656 | 25.7 | 964.612 | 50.6612 | 0.1441
2019-07-01 04:45:00 | 6.478 | 3.7 | 1.894 | 41.9506 | 1.6383 | 338.428 | 0 | 200.335 | 25.22 | 965.057 | 49.8433 | 0.15888
2019-07-01 05:00:00 | 4.6907 | 11.1974 | 2.1497 | 47.0634 | 1.894 | 338.652 | 0 | 204.477 | 25.29 | 964.908 | 48.003 | 0.34731
2019-07-01 05:15:00 | 0 | 8.811 | 2.4053 | 47.1778 | 1.3827 | 339.832 | 0 | 204.527 | 25.83 | 965.057 | 48.6114 | 0.20691
2019-07-01 05:30:00 | 0 | 11.5856 | 2.661 | 49.319 | 1.894 | 340.656 | 0 | 204.768 | 25.6 | 965.501 | 50.2812 | 0.16627
2019-07-01 05:45:00 | 0 | 22.8286 | 3.1723 | 61.8957 | 2.1497 | 340.676 | 0 | 210.909 | 25.49 | 965.426 | 50.7201 | 0.19583
2019-07-01 06:00:00 | 0 | 24.4327 | 3.428 | 62.5213 | 2.4053 | 340.744 | 0 | 207.264 | 25.56 | 965.518 | 50.0341 | 0.84242
2019-07-01 06:15:00 | 0 | 28.8131 | 3.9393 | 71.8661 | 2.4053 | 25.5521 | 0 | 213.105 | 25.81 | 965.801 | 49.0798 | 0.99022
2019-07-01 06:30:00 | 0 | 25.7939 | 3.9393 | 81.7155 | 1.6383 | 28.7139 | 0 | 205.84 | 26.4 | 966.097 | 42.7376 | 1.4003
2019-07-01 06:45:00 | 0 | 25.2075 | 3.6837 | 83.1656 | 3.428 | 19.0759 | 0 | 207.888 | 26.62 | 966.275 | 39.7347 | 0.72049
2019-07-01 07:00:00 | 0 | 22.1863 | 4.195 | 75.7515 | 2.661 | 20.3861 | 0 | 206.853 | 27.02 | 966.693 | 39.3527 | 0.34362
2019-07-01 07:15:00 | 0 | 17.7101 | 3.9393 | 76.6272 | 3.1723 | 20.824 | 0 | 194.446 | 27.36 | 966.692 | 38.2964 | 0.72419
2019-07-01 07:30:00 | 0 | 28.2194 | 5.2177 | 80.9331 | 2.661 | 53.9818 | 0.63133 | 210.673 | 27.54 | 967.137 | 38.4327 | 0.84981
2019-07-01 07:45:00 | 0 | 4.8647 | 5.4733 | 64.6463 | 4.7063 | 1.9945 | 4.195 | 198.457 | 27.59 | 967.137 | 40.301 | 0.8609
2019-07-01 08:00:00 | 0 | 9.7778 | 4.195 | 80.6971 | 4.4507 | 25.9769 | 3.6837 | 188.77 | 27.75 | 966.84 | 37.6767 | 3.3882
2019-07-01 08:15:00 | 0 | 22.1825 | 5.9847 | 78.8485 | 5.9847 | 27.7039 | 0.37567 | 211.075 | 28.1 | 966.989 | 36.3141 | 5.5127
2019-07-01 08:30:00 | 0 | 31.8619 | 6.496 | 74.8075 | 0 | 338.418 | 0.63133 | 205.254 | 28.26 | 967.433 | 35.6996 | 5.6199
2019-07-01 08:45:00 | 0 | 25.1944 | 7.263 | 71.4636 | 3.9393 | 110.797 | 0.37567 | 210.237 | 28.84 | 967.433 | 32.0166 | 7.2493
2019-07-01 09:00:00 | 0 | 10.3598 | 7.0073 | 81.069 | 3.9393 | 12.9133 | 2.661 | 209.847 | 29.09 | 967.582 | 35.2861 | 9.3775
2019-07-01 09:15:00 | 0 | 22.3247 | 5.2177 | 79.8044 | 4.4507 | 60.2377 | 4.4507 | 220.061 | 28.83 | 967.582 | 32.4251 | 8.3873
2019-07-01 09:30:00 | 0 | 20.4278 | 4.4507 | 74.1138 | 3.1723 | 34.3138 | 0 | 203.184 | 29.27 | 968.026 | 31.6076 | 7.6964
2019-07-01 09:45:00 | 0 | 22.4219 | 5.4733 | 77.7616 | 4.195 | 9.1439 | 1.007 | 203.135 | 29.83 | 967.878 | 31.0627 | 5.7344
2019-07-01 10:00:00 | 0 | 21.5465 | 4.962 | 67.1343 | 3.428 | 17.1204 | 0 | 174.512 | 29.96 | 968.175 | 28.5422 | 2.8302
2019-07-01 10:15:00 | 0 | 16.8773 | 3.1723 | 53.2969 | 2.4053 | 0.048638 | 0.63133 | 164.395 | 29.61 | 968.175 | 24.8638 | 1.4521
2019-07-01 10:30:00 | 0 | 12.0621 | 3.1723 | 58.1363 | 3.428 | 6.5904 | 4.4507 | 167.265 | 30.24 | 968.278 | 24.3869 | 2.5088
2019-07-01 10:45:00 | 0 | 341.387 | 3.1723 | 62.3435 | 2.1497 | 340.512 | 0 | 155.762 | 30.1 | 968.117 | 27.4183 | 5.5681
2019-07-01 11:00:00 | 0 | 344.16 | 3.428 | 58.2093 | 3.428 | 15.3208 | 1.007 | 167.63 | 31.42 | 968.193 | 23.7398 | 3.5803
2019-07-01 11:15:00 | 0 | 28.3314 | 2.4053 | 72.1683 | 0 | 8.9493 | 0.37567 | 218.772 | 30.84 | 968.275 | 26.3624 | 6.1445
2019-07-01 11:30:00 | 0 | 29.4014 | 5.4733 | 88.0971 | 4.195 | 56.6142 | 5.2177 | 180.543 | 31 | 968.248 | 26.6008 | 3.7207
2019-07-01 11:45:00 | 0.744 | 19.6496 | 3.9393 | 57.8445 | 2.661 | 0.048638 | 1.894 | 169.745 | 30.77 | 968.214 | 27.7248 | 5.2171
2019-07-01 12:00:00 | 0 | 5.569 | 3.1723 | 72.144 | 2.661 | 91.8278 | 0 | 159.677 | 31.21 | 968.248 | 27.9632 | 4.9215
2019-07-01 12:15:00 | 0 | 22.3003 | 6.2403 | 75.4999 | 2.4053 | 55.1064 | 5.729 | 208.242 | 30.89 | 968.174 | 29.0191 | 6.9906
2019-07-01 12:30:00 | 0 | 8.5359 | 3.9393 | 67.037 | 0.37567 | 7.782 | 0 | 187.741 | 30.09 | 967.729 | 28.8828 | 3.3549
2019-07-01 12:45:00 | 8.5207 | 83.5613 | 7.5187 | 57.5544 | 6.496 | 23.8573 | 5.4733 | 163.256 | 31.67 | 967.878 | 27.8276 | 3.2995
2019-07-01 13:00:00 | 0 | 18.5796 | 3.6837 | 90.6996 | 1.894 | 350.022 | 0 | 205.47 | 31.5 | 967.878 | 27.8952 | 2.0654
2019-07-01 13:15:00 | 0 | 7.3445 | 3.9393 | 68.62 | 3.9393 | 0.72958 | 0 | 181.253 | 30.48 | 967.433 | 28.5089 | 4.2934
2019-07-01 13:30:00 | 0 | 347.74 | 2.4053 | 86.226 | 3.6837 | 38.5215 | 3.9393 | 157.783 | 31.48 | 968.174 | 27.044 | 2.0617
2019-07-01 13:45:00 | 0 | 15.4182 | 5.729 | 76.6435 | 0.75133 | 344.697 | 5.9847 | 188.594 | 31.34 | 968.619 | 27.8953 | 0.75375
2019-07-01 14:00:00 | 0 | 8.1711 | 3.1723 | 68.8609 | 2.1497 | 25.8266 | 0 | 161.769 | 31.15 | 968.026 | 27.827 | 4.2047
2019-07-01 14:15:00 | 2.276 | 19.455 | 3.6837 | 85.4463 | 2.661 | 25.3402 | 0.63133 | 163.155 | 31.4 | 968.174 | 27.3842 | 5.6125
2019-07-01 14:30:00 | 0 | 320.449 | 3.428 | 13.8518 | 2.9167 | 316.607 | 0 | 146.74 | 32.13 | 968.915 | 25.4087 | 2.4534
2019-07-01 14:45:00 | 0 | 18.5309 | 5.9847 | 76.9834 | 4.4507 | 32.9277 | 2.7967 | 205.348 | 31.78 | 968.282 | 26.5327 | 2.6603
2019-07-01 15:00:00 | 0 | 21.7167 | 1.3827 | 78.5398 | 2.661 | 32.3926 | 2.9167 | 199.463 | 32.5 | 968.5 | 26.1921 | 3.015
2019-07-01 15:15:00 | 0 | 21.279 | 2.9167 | 88.4619 | 1.894 | 24.6106 | 0 | 209.531 | 31.54 | 968.557 | 24.2507 | 2.0174
2019-07-01 15:30:00 | 0 | 32.8709 | 4.7063 | 92.2521 | 2.9167 | 48.8687 | 0 | 214.317 | 32.74 | 968.66 | 25.0619 | 1.2267
2019-07-01 15:45:00 | 0 | 15.2915 | 4.4507 | 64.9904 | 4.7063 | 344.313 | 1.5183 | 195.896 | 31.87 | 968.176 | 23.5617 | 3.1813
2019-07-01 16:00:00 | 4.946 | 23.0223 | 2.4053 | 47.584 | 0 | 303.982 | 4.4507 | 203.481 | 32.36 | 968.02 | 23.2212 | 5.594
2019-07-01 16:15:00 | 0 | 25.9882 | 4.7063 | 96.3027 | 3.428 | 320.683 | 1.3827 | 211.09 | 31.69 | 967.719 | 24.1065 | 3.5138
2019-07-01 16:30:00 | 0 | 20.9078 | 5.4733 | 71.897 | 4.195 | 30.0732 | 5.9847 | 189.677 | 31.78 | 967.746 | 24.3114 | 3.9239
2019-07-01 16:45:00 | 0 | 329.579 | 1.894 | 68.8861 | 0 | 39.7751 | 0 | 151.004 | 32.15 | 967.839 | 23.9038 | 3.0482
2019-07-01 17:00:00 | 0 | 36.3744 | 2.9167 | 57.6845 | 1.3827 | 11.6952 | 0 | 229.188 | 31.75 | 968.147 | 23.9058 | 0.56531
2019-07-01 17:15:00 | 0 | 7.7073 | 4.195 | 72.1473 | 3.9393 | 356.919 | 0.63133 | 183.565 | 31.97 | 967.632 | 23.5641 | 0.56901
2019-07-01 17:30:00 | 0 | 347.64 | 3.9393 | 62.46 | 3.428 | 25.4602 | 3.428 | 174.379 | 31.83 | 967.747 | 23.2956 | -0.0036948
2019-07-01 17:45:00 | 0 | 0.53497 | 3.6837 | 51.7839 | 2.9167 | 0.63224 | 2.9167 | 180.7 | 31.9 | 968.226 | 23.4997 | 0.022169
2019-07-01 18:00:00 | 0 | 18.2877 | 3.428 | 81.1661 | 3.428 | 52.2854 | 0 | 189.078 | 31.32 | 967.655 | 23.7738 | -0.19952
2019-07-01 18:15:00 | 0 | 24.9024 | 2.4053 | 75.9133 | 2.1497 | 37.5969 | 0 | 207.488 | 31.51 | 968.094 | 23.5014 | -0.24386
2019-07-01 18:30:00 | 0 | 40.2719 | 2.9167 | 81.5553 | 0 | 327.428 | 0 | 208.996 | 31.1 | 967.881 | 24.8638 | -0.22539
2019-07-01 18:45:00 | 6.9887 | 7.2956 | 2.9167 | 65.6994 | 2.1497 | 12.4512 | 0 | 193.48 | 30.87 | 967.701 | 24.5913 | -0.16627
2019-07-01 19:00:00 | 0 | 44.8195 | 3.1723 | 101.983 | 2.1497 | 50.3399 | 0 | 229.618 | 30.81 | 967.134 | 24.7956 | -0.14779
2019-07-01 19:15:00 | 0 | 66.4417 | 2.1497 | 121.055 | 1.127 | 40.3709 | 0 | 246.457 | 30.64 | 966.84 | 24.3198 | -0.23647
2019-07-01 19:30:00 | 20.7767 | 45.6106 | 2.661 | 104.742 | 2.4053 | 53.5164 | 0 | 229.731 | 30.83 | 966.395 | 23.9168 | -0.2882
2019-07-01 19:45:00 | 0 | 37.6827 | 3.428 | 99.9812 | 3.428 | 51.695 | 0 | 223.371 | 30.75 | 966.099 | 23.9182 | -0.23278
2019-07-01 20:00:00 | 0 | 21.0186 | 2.4053 | 87.9149 | 1.3827 | 17.2722 | 0 | 204.153 | 30.62 | 965.951 | 24.3271 | -0.15149
2019-07-01 20:15:00 | 0 | 29.1925 | 3.428 | 87.623 | 2.4053 | 30.0683 | 0 | 208.824 | 30.4 | 966.395 | 24.7359 | -0.22908
2019-07-01 20:30:00 | 0 | 28.5173 | 2.661 | 87.7428 | 2.1497 | 37.0092 | 0 | 215.875 | 30.39 | 966.63 | 24.264 | -0.18844
2019-07-01 20:45:00 | 0 | 38.9343 | 3.9393 | 90.3787 | 3.1723 | 32.8995 | 0 | 221.804 | 30.28 | 966.584 | 24.8111 | 0.19583
2019-07-01 21:00:00 | 0 | 45.5543 | 4.4507 | 103.814 | 2.9167 | 52.8547 | 0 | 227.212 | 30.41 | 966.833 | 24.7436 | 0.77961
2019-07-01 21:15:00 | 0 | 40.4926 | 3.9393 | 95.8322 | 3.6837 | 35.723 | 0 | 227.09 | 30.41 | 966.836 | 24.539 | 3.1147
2019-07-01 21:30:00 | 0 | 41.0765 | 3.428 | 99.5308 | 2.4053 | 36.453 | 0 | 222.368 | 30.25 | 966.967 | 25.2887 | 1.6442
2019-07-01 21:45:00 | 0 | 47.0136 | 4.4507 | 103.812 | 2.661 | 62.9038 | 0 | 229.86 | 29.75 | 966.528 | 25.4248 | 2.0839
2019-07-01 22:00:00 | 0 | 60.2778 | 3.9393 | 110.436 | 3.1723 | 67.3837 | 0 | 250.529 | 29.95 | 966.689 | 25.4938 | 2.9189
2019-07-01 22:15:00 | 0 | 62.5897 | 3.9393 | 112.09 | 3.9393 | 56.8953 | 0 | 243.229 | 30 | 966.838 | 25.6982 | 3.0704
2019-07-01 22:30:00 | 0 | 89.3811 | 5.2177 | 131.799 | 3.6837 | 86.7286 | 0 | 252.91 | 29.75 | 966.838 | 26.3114 | 3.8316
2019-07-01 22:45:00 | 0 | 97.2681 | 5.4733 | 147.548 | 5.4733 | 93.0581 | 0 | 274.721 | 29.86 | 966.838 | 25.1533 | 5.7861
2019-07-01 23:00:00 | 0 | 108.51 | 2.661 | 160.955 | 2.9167 | 103.034 | 0 | 284.306 | 29.92 | 967.431 | 25.6983 | 6.78
2019-07-01 23:15:00 | 0 | 128.269 | 4.962 | 181.784 | 5.4733 | 127.417 | 2.661 | 310.269 | 30.14 | 967.28 | 25.6981 | 5.3243
2019-07-01 23:30:00 | 0 | 118.269 | 4.7063 | 169.23 | 4.962 | 113.937 | 0 | 303.629 | 30.25 | 967.429 | 24.71 | 4.6592
2019-07-01 23:45:00 | 0 | 118.166 | 5.4733 | 166.934 | 4.195 | 122.206 | 4.4507 | 300.136 | 30.34 | 967.379 | 24.5386 | 6.2628