## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-02 00:00:00 | 0 | 110.597 | 4.7063 | 146.199 | 3.6837 | 132.181 | 0 | 287.575 | 30.13 | 967.362 | 25.8332 | 10.146
2019-07-02 00:15:00 | 0 | 106.582 | 6.7517 | 146.37 | 3.1723 | 83.2217 | 1.007 | 293.344 | 29.81 | 967.219 | 26.0379 | 11.2693
2019-07-02 00:30:00 | 0 | 101.764 | 5.9847 | 149.704 | 3.9393 | 94.8777 | 1.007 | 290.765 | 29.61 | 967.105 | 26.7877 | 14.2362
2019-07-02 00:45:00 | 1.138 | 106.952 | 7.7743 | 135.792 | 6.496 | 119.777 | 1.894 | 289.635 | 29.04 | 967.427 | 29.1747 | 24.8404
2019-07-02 01:00:00 | 4.6907 | 116.783 | 7.5187 | 174.167 | 6.7517 | 131.895 | 4.962 | 266.782 | 28.29 | 967.135 | 30.1288 | 26.1669
2019-07-02 01:15:00 | 0 | 101.884 | 8.5413 | 155.443 | 8.5413 | 108.575 | 5.4733 | 296.064 | 27.79 | 966.987 | 35.7843 | 36.7563
2019-07-02 01:30:00 | 3.414 | 98.3131 | 9.564 | 172.222 | 9.564 | 121.139 | 5.4733 | 290.364 | 26.76 | 966.69 | 48.3972 | 39.9782
2019-07-02 01:45:00 | 4.6907 | 136.132 | 10.331 | 186.972 | 11.098 | 125.205 | 5.9847 | 317.99 | 26.64 | 966.542 | 42.1949 | 37.0297
2019-07-02 02:00:00 | 0.372 | 136.886 | 9.3083 | 183.784 | 7.263 | 148.008 | 1.6383 | 321.373 | 27.07 | 966.69 | 42.5358 | 36.3055
2019-07-02 02:15:00 | 2.7867 | 141.096 | 10.331 | 190.817 | 10.331 | 142.605 | 4.195 | 319.645 | 26.91 | 965.949 | 43.8309 | 36.978
2019-07-02 02:30:00 | 5.4567 | 155.746 | 10.0753 | 202.717 | 10.5867 | 150.806 | 2.661 | 317.796 | 26.68 | 966.098 | 44.9216 | 35.9324
2019-07-02 02:45:00 | 0 | 128.515 | 7.7743 | 184.344 | 7.7743 | 137.008 | 5.4733 | 313.026 | 26.44 | 966.176 | 46.0804 | 33.6416
2019-07-02 03:00:00 | 0.99933 | 142.143 | 7.263 | 189.966 | 8.2857 | 136.765 | 5.729 | 322.2 | 26.44 | 966.494 | 46.5576 | 33.0134
2019-07-02 03:15:00 | 1.2547 | 138.809 | 9.0527 | 190.258 | 8.797 | 134.064 | 4.962 | 323.344 | 26.32 | 966.236 | 48.2617 | 35.5481
2019-07-02 03:30:00 | 2.3927 | 152.219 | 7.263 | 205.104 | 7.263 | 148.69 | 3.6837 | 322.787 | 26.07 | 966.426 | 48.5348 | 35.2636
2019-07-02 03:45:00 | 0.99933 | 134.97 | 8.797 | 184.766 | 8.03 | 140.664 | 3.6837 | 318.782 | 25.96 | 966.467 | 48.8091 | 33.1834
2019-07-02 04:00:00 | 0 | 150.23 | 8.03 | 198.056 | 8.2857 | 148.6 | 5.9847 | 323.483 | 25.89 | 966.391 | 49.6958 | 33.2832
2019-07-02 04:15:00 | 4.946 | 134.463 | 8.797 | 187.426 | 9.0527 | 134.926 | 5.9847 | 319.548 | 25.71 | 966.391 | 50.7878 | 30.3273
2019-07-02 04:30:00 | 0.62733 | 145.964 | 7.5187 | 193.603 | 8.03 | 142.07 | 2.1497 | 320.673 | 25.62 | 966.243 | 51.8151 | 32.2782
2019-07-02 04:45:00 | 0 | 126.955 | 7.5187 | 188.249 | 6.7517 | 134.378 | 4.4507 | 318.069 | 25.5 | 966.672 | 52.0879 | 31.5207
2019-07-02 05:00:00 | 1.7653 | 147.23 | 9.3083 | 192.314 | 9.0527 | 138.589 | 3.9393 | 342.019 | 25.25 | 966.243 | 54.0651 | 30.1906
2019-07-02 05:15:00 | 5.2013 | 146.134 | 9.8197 | 201.66 | 6.2403 | 144.187 | 5.9847 | 325.492 | 25.13 | 966.836 | 54.8832 | 31.1919
2019-07-02 05:30:00 | 0.372 | 146.962 | 9.564 | 189.296 | 7.263 | 132.115 | 4.962 | 330.896 | 25.16 | 966.54 | 54.6787 | 34.1441
2019-07-02 05:45:00 | 0 | 145.769 | 6.2403 | 200.029 | 4.962 | 150.662 | 5.729 | 323.643 | 25.13 | 966.83 | 55.2923 | 33.8041
2019-07-02 06:00:00 | 0.744 | 139.815 | 8.797 | 187.398 | 7.5187 | 145.339 | 5.4733 | 325.066 | 25.16 | 966.688 | 54.6725 | 34.4914
2019-07-02 06:15:00 | 2.5313 | 147.132 | 8.5413 | 210.602 | 7.7743 | 168.571 | 4.7063 | 324.342 | 25.11 | 966.867 | 54.7376 | 34.4064
2019-07-02 06:30:00 | 2.276 | 146.037 | 10.5867 | 198.872 | 10.5867 | 152.802 | 5.4733 | 331.399 | 24.96 | 966.764 | 56.135 | 35.271
2019-07-02 06:45:00 | 5.9673 | 136.716 | 8.5413 | 202.133 | 7.263 | 140.318 | 5.9847 | 323.831 | 24.9 | 966.543 | 56.3736 | 38.2638
2019-07-02 07:00:00 | 2.648 | 151.999 | 8.03 | 200.576 | 8.797 | 137.811 | 5.2177 | 337.532 | 24.87 | 966.69 | 55.4192 | 35.9324
2019-07-02 07:15:00 | 0.88267 | 152.802 | 10.331 | 191.304 | 8.797 | 148.446 | 2.4053 | 340.33 | 24.84 | 966.69 | 52.6926 | 31.9382
2019-07-02 07:30:00 | 1.3933 | 150.417 | 9.564 | 195.514 | 9.3083 | 155.357 | 6.2403 | 335.22 | 25.18 | 966.987 | 52.8289 | 34.0628
2019-07-02 07:45:00 | 4.18 | 161.99 | 8.03 | 200.294 | 9.0527 | 175.277 | 4.7063 | 335.734 | 25.22 | 967.283 | 54.7341 | 31.1993
2019-07-02 08:00:00 | 0.99933 | 141.506 | 9.564 | 195.726 | 9.0527 | 142.966 | 6.7517 | 333.433 | 25.45 | 967.283 | 55.213 | 26.6879
2019-07-02 08:15:00 | 5.9673 | 141.996 | 7.5187 | 203.3 | 8.03 | 163.922 | 5.9847 | 329.182 | 25.7 | 967.577 | 53.9873 | 30.0576
2019-07-02 08:30:00 | 2.0207 | 140.767 | 8.2857 | 183.4 | 7.7743 | 140.499 | 3.8193 | 318.033 | 25.99 | 967.737 | 52.4149 | 25.0658
2019-07-02 08:45:00 | 2.0207 | 138.424 | 7.7743 | 197.173 | 7.5187 | 148.642 | 5.9847 | 328.69 | 26.43 | 967.586 | 50.904 | 23.248
2019-07-02 09:00:00 | 0 | 141.024 | 7.0073 | 195.27 | 6.496 | 149.076 | 3.6837 | 325.715 | 27.05 | 967.433 | 51.2436 | 19.4644
2019-07-02 09:15:00 | 0 | 145.598 | 7.263 | 200.33 | 7.5187 | 156.01 | 0.37567 | 326.64 | 27.08 | 967.73 | 54.6508 | 20.6911
2019-07-02 09:30:00 | 0.99933 | 140.903 | 8.2857 | 190.794 | 7.263 | 140.611 | 5.2177 | 318.539 | 27.4 | 967.73 | 53.4924 | 18.7033
2019-07-02 09:45:00 | 2.7867 | 150.852 | 7.263 | 199.236 | 7.0073 | 153.188 | 5.9847 | 335.933 | 27.89 | 967.73 | 48.6201 | 15.2006
2019-07-02 10:00:00 | 0 | 146.997 | 7.5187 | 194.597 | 7.7743 | 156.605 | 5.9847 | 330.895 | 28.3 | 968.026 | 49.2977 | 16.7155
2019-07-02 10:15:00 | 0 | 129.276 | 7.5187 | 189.567 | 6.2403 | 128.912 | 0.37567 | 334.222 | 28.96 | 968.175 | 45.3075 | 14.8681
2019-07-02 10:30:00 | 0 | 158.608 | 7.5187 | 210.701 | 7.0073 | 155.228 | 1.774 | 354.577 | 29.12 | 968.026 | 45.4433 | 16.6083
2019-07-02 10:45:00 | 0 | 160.825 | 7.0073 | 207.825 | 6.496 | 157.59 | 0 | 343.221 | 29.81 | 968.471 | 43.6321 | 14.4838
2019-07-02 11:00:00 | 0 | 144.892 | 7.7743 | 198.748 | 7.263 | 147.226 | 4.962 | 340.245 | 30.23 | 968.323 | 40.1567 | 15.2745
2019-07-02 11:15:00 | 5.4567 | 163.933 | 6.7517 | 212.682 | 8.2857 | 166.973 | 3.9393 | 340.877 | 30.06 | 968.323 | 41.8597 | 15.9174
2019-07-02 11:30:00 | 0 | 163.763 | 6.7517 | 196.073 | 6.7517 | 144.259 | 1.654 | 356.757 | 30.64 | 968.175 | 41.485 | 17.436
2019-07-02 11:45:00 | 0 | 196.083 | 7.0073 | 236.126 | 6.2403 | 184.945 | 0 | 16.3422 | 31.03 | 968.175 | 39.5777 | 18.0826
2019-07-02 12:00:00 | 0.372 | 149.439 | 8.03 | 213.801 | 7.0073 | 184.142 | 4.962 | 352.598 | 31.22 | 967.878 | 36.7507 | 16.9002
2019-07-02 12:15:00 | 4.18 | 156.346 | 6.2403 | 195.927 | 5.729 | 217.872 | 4.4507 | 332.73 | 31.4 | 967.73 | 35.5586 | 18.1823
2019-07-02 12:30:00 | 0 | 182.634 | 5.729 | 220.294 | 5.9847 | 137.888 | 3.9393 | 8.5602 | 31.68 | 967.73 | 35.4905 | 24.8959
2019-07-02 12:45:00 | 0 | 150.777 | 6.7517 | 193.495 | 5.2177 | 142.484 | 4.962 | 332.487 | 31.85 | 967.73 | 37.1935 | 22.9376
2019-07-02 13:00:00 | 0 | 140.441 | 7.7743 | 184.618 | 8.2857 | 150.315 | 4.195 | 328.669 | 31.96 | 967.137 | 33.7194 | 25.0289
2019-07-02 13:15:00 | 12.3507 | 194.283 | 8.2857 | 229.924 | 9.8197 | 197.347 | 2.9167 | 346.032 | 32.21 | 966.989 | 31.9482 | 25.1804
2019-07-02 13:30:00 | 0 | 170.864 | 7.0073 | 246.51 | 7.5187 | 219.574 | 5.729 | 0.70525 | 32.42 | 967.433 | 33.9918 | 29.1302
2019-07-02 13:45:00 | 0 | 129.692 | 9.3083 | 190.09 | 6.7517 | 144.502 | 0.37567 | 0.29183 | 32.53 | 967.73 | 31.3352 | 27.6374
2019-07-02 14:00:00 | 5.4567 | 171.131 | 9.3083 | 237.585 | 8.797 | 201.408 | 5.9847 | 9.533 | 32.89 | 967.285 | 29.53 | 26.2667
2019-07-02 14:15:00 | 0 | 130.835 | 7.7743 | 178.296 | 4.7063 | 177.406 | 5.2177 | 308.289 | 32.92 | 967.73 | 30.7221 | 30.6377
2019-07-02 14:30:00 | 11.074 | 165.125 | 8.797 | 194.978 | 5.2177 | 134.215 | 5.729 | 0.24319 | 32.89 | 967.498 | 31.3692 | 32.692
2019-07-02 14:45:00 | 9.0313 | 187.06 | 8.2857 | 221.851 | 6.7517 | 186.866 | 3.428 | 14.2751 | 33.07 | 966.911 | 32.0164 | 29.762
2019-07-02 15:00:00 | 0 | 171.715 | 4.7063 | 221.778 | 5.9847 | 163.811 | 4.4507 | 18.9687 | 33.03 | 967.196 | 32.357 | 32.5701
2019-07-02 15:15:00 | 0.99933 | 163.617 | 10.5867 | 209.229 | 9.0527 | 148.418 | 5.2177 | 338.226 | 32.77 | 967.079 | 34.3324 | 35.3006
2019-07-02 15:30:00 | 0 | 176.822 | 5.4733 | 225.255 | 5.4733 | 191.632 | 0 | 354.811 | 33.12 | 966.721 | 35.9673 | 32.3225
2019-07-02 15:45:00 | 4.4353 | 139.444 | 10.331 | 190.358 | 9.564 | 157.659 | 1.6383 | 323.124 | 32.84 | 966.492 | 34.8774 | 24.5855
2019-07-02 16:00:00 | 0 | 155.373 | 5.729 | 216.5 | 6.2403 | 169.478 | 5.9847 | 335.891 | 32.68 | 966.367 | 34.673 | 33.2314
2019-07-02 16:15:00 | 5.712 | 178.354 | 7.7743 | 221.802 | 8.2857 | 182.513 | 1.6383 | 352.623 | 32.79 | 965.926 | 34.1281 | 37.2995
2019-07-02 16:30:00 | 1.7653 | 163.204 | 9.8197 | 206.116 | 10.0753 | 147.639 | 5.4733 | 351.164 | 32.61 | 965.946 | 33.1744 | 35.7218
2019-07-02 16:45:00 | 0 | 180.178 | 5.729 | 206.457 | 5.4733 | 176.749 | 1.774 | 4.7422 | 32.52 | 965.951 | 33.3106 | 34.0406
2019-07-02 17:00:00 | 7.4993 | 167.289 | 8.03 | 198.504 | 7.0073 | 145.208 | 3.9393 | 350.847 | 32.38 | 965.654 | 32.7657 | 29.64
2019-07-02 17:15:00 | 0 | 152.284 | 7.263 | 201.034 | 6.496 | 155.13 | 1.007 | 333.143 | 32.34 | 965.951 | 33.0382 | 32.7252
2019-07-02 17:30:00 | 0 | 146.837 | 5.9847 | 197.386 | 5.4733 | 142.727 | 2.0297 | 349.218 | 32.35 | 966.247 | 32.2207 | 23.8244
2019-07-02 17:45:00 | 12.8613 | 154.814 | 7.263 | 210.81 | 6.496 | 172.007 | 1.894 | 342.798 | 32.31 | 965.802 | 32.4932 | 30.3199
2019-07-02 18:00:00 | 5.712 | 144.721 | 8.03 | 202.104 | 8.2857 | 147.275 | 5.9847 | 335.891 | 32.18 | 965.802 | 33.1744 | 30.1425
2019-07-02 18:15:00 | 1.6487 | 164.395 | 6.2403 | 199.526 | 7.263 | 146.813 | 0 | 3.7451 | 31.82 | 965.654 | 34.2303 | 32.7659
2019-07-02 18:30:00 | 12.606 | 192.022 | 9.3083 | 233.046 | 8.5413 | 189.298 | 2.9167 | 334.743 | 31.55 | 965.061 | 34.7797 | 33.5824
2019-07-02 18:45:00 | 0 | 143.821 | 7.7743 | 185.383 | 7.0073 | 181.181 | 0.37567 | 323.276 | 31.42 | 964.468 | 35.0196 | 39.69
2019-07-02 19:00:00 | 3.1587 | 147.686 | 10.331 | 195.897 | 6.496 | 155.665 | 3.428 | 330.28 | 31.23 | 964.765 | 36.1148 | 35.2895
2019-07-02 19:15:00 | 4.946 | 142.946 | 9.3083 | 198.749 | 10.0753 | 141.803 | 5.729 | 354.883 | 31.02 | 964.765 | 36.8654 | 34.5135
2019-07-02 19:30:00 | 4.4353 | 144.819 | 8.5413 | 226.263 | 7.263 | 193.133 | 3.1723 | 313.917 | 30.87 | 964.765 | 37.0017 | 35.1934
2019-07-02 19:45:00 | 3.808 | 146.814 | 10.0753 | 206.923 | 7.0073 | 167.954 | 1.2627 | 333.816 | 30.67 | 965.358 | 37.2061 | 31.251
2019-07-02 20:00:00 | 8.01 | 150.828 | 9.8197 | 209.185 | 9.3083 | 175.812 | 5.729 | 347.293 | 30.56 | 965.061 | 36.4566 | 33.8337
2019-07-02 20:15:00 | 1.7653 | 151.631 | 8.2857 | 204.32 | 8.797 | 161.362 | 1.5183 | 346.88 | 30.58 | 965.802 | 36.5928 | 27.8259
2019-07-02 20:30:00 | 0 | 178.901 | 9.0527 | 232.296 | 8.03 | 187.635 | 5.9847 | 8.1496 | 30.38 | 965.802 | 36.184 | 27.7926
2019-07-02 20:45:00 | 0.62733 | 178.95 | 5.9847 | 248.449 | 5.4733 | 195.006 | 2.661 | 347.877 | 30.4 | 966.395 | 35.1618 | 12.1117
2019-07-02 21:00:00 | 0 | 182.429 | 6.2403 | 232.199 | 7.5187 | 202.815 | 2.4053 | 16.1532 | 30.33 | 966.988 | 36.184 | 7.3823
2019-07-02 21:15:00 | 1.138 | 211.743 | 4.4507 | 246.43 | 3.6837 | 204.542 | 0 | 31.0414 | 30.27 | 967.878 | 37.0017 | 2.9078
2019-07-02 21:30:00 | 4.4353 | 337.757 | 9.0527 | 44.3208 | 8.03 | 328.926 | 5.2177 | 178.78 | 28.06 | 968.322 | 52.1976 | 47.4972
2019-07-02 21:45:00 | 3.6693 | 22.3875 | 11.3537 | 85.9757 | 8.03 | 0.97337 | 5.729 | 197.716 | 25.64 | 968.278 | 61.9604 | 48.6057
2019-07-02 22:00:00 | 3.414 | 8.8824 | 9.8197 | 53.4194 | 6.2403 | 335.51 | 2.661 | 192.638 | 24.5 | 967.58 | 62.7808 | 43.3849
2019-07-02 22:15:00 | 4.4353 | 18.7139 | 11.098 | 69.1891 | 5.9847 | 46.1399 | 2.4053 | 195.729 | 24.64 | 967.802 | 61.7587 | 37.5138
2019-07-02 22:30:00 | 4.6907 | 23.1461 | 8.797 | 70.467 | 5.9847 | 28.6954 | 1.6383 | 214.254 | 24.97 | 967.868 | 53.5179 | 34.8646
2019-07-02 22:45:00 | 5.9673 | 51.2347 | 6.2403 | 91.6941 | 6.2403 | 27.7957 | 2.9167 | 208.492 | 25.51 | 967.726 | 55.5309 | 17.6614
2019-07-02 23:00:00 | 12.0953 | 44.4683 | 8.2857 | 104.862 | 4.195 | 27.7714 | 3.428 | 224.873 | 25.07 | 967.281 | 57.2013 | 11.6462
2019-07-02 23:15:00 | 9.0313 | 47.7785 | 5.729 | 111.482 | 0 | 45.9774 | 4.4507 | 226.82 | 24.61 | 967.133 | 58.7012 | 7.2752
2019-07-02 23:30:00 | 0 | 150.735 | 5.729 | 202.585 | 5.729 | 152.365 | 0 | 328.194 | 25.15 | 966.985 | 51.4743 | 3.451
2019-07-02 23:45:00 | 0 | 54.91 | 4.195 | 106.663 | 3.6837 | 71.4121 | 0 | 234.974 | 26.47 | 966.837 | 41.3158 | 2.749