## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-03 00:00:00 | 0 | 55.2008 | 3.9393 | 110.165 | 3.1723 | 51.769 | 0.37567 | 242.781 | 27.25 | 967.133 | 42.0648 | 1.0493
2019-07-03 00:15:00 | 0 | 36.7952 | 2.661 | 84.9344 | 2.4053 | 17.8135 | 0 | 215.125 | 27.78 | 967.402 | 40.15 | 0.055423
2019-07-03 00:30:00 | 0 | 23.0699 | 2.1497 | 88.0247 | 1.6383 | 54.6086 | 0 | 205.926 | 27.74 | 967.295 | 35.9918 | -0.40643
2019-07-03 00:45:00 | 0 | 27.2556 | 1.3827 | 152.83 | 1.6383 | 135.402 | 0 | 214.93 | 27.64 | 967.147 | 39.6728 | -0.28081
2019-07-03 01:00:00 | 9.0313 | 136.083 | 8.797 | 189.528 | 9.3083 | 141.17 | 8.5413 | 319.037 | 25.61 | 965.356 | 42.1268 | 37.7835
2019-07-03 01:15:00 | 3.9247 | 132.64 | 14.6773 | 186.359 | 13.6547 | 134.879 | 5.729 | 313.907 | 26.03 | 964.291 | 54.8109 | 50.564
2019-07-03 01:30:00 | 4.18 | 148.909 | 9.564 | 195.697 | 12.1207 | 149.055 | 5.2177 | 322.499 | 25.82 | 964.76 | 60.3715 | 41.1199
2019-07-03 01:45:00 | 5.4567 | 146.061 | 7.7743 | 207.039 | 7.7743 | 156.868 | 3.9393 | 324.543 | 25.33 | 965.205 | 59.9284 | 38.8439
2019-07-03 02:00:00 | 1.882 | 172.299 | 9.8197 | 226.316 | 9.3083 | 176.145 | 2.1497 | 320.113 | 24.66 | 965.353 | 61.9056 | 36.5051
2019-07-03 02:15:00 | 4.4353 | 149.323 | 5.729 | 186.545 | 5.4733 | 156.26 | 2.9167 | 326.88 | 24.51 | 965.353 | 64.1214 | 38.7663
2019-07-03 02:30:00 | 1.882 | 141.072 | 8.5413 | 206.406 | 9.8197 | 151.148 | 3.6837 | 327.002 | 24.68 | 965.205 | 61.0875 | 36.893
2019-07-03 02:45:00 | 5.9673 | 140.415 | 7.5187 | 203.267 | 6.496 | 173.882 | 3.428 | 319.018 | 25.16 | 965.353 | 60.6784 | 33.4642
2019-07-03 03:00:00 | 2.1373 | 137.981 | 6.496 | 202.39 | 4.962 | 154.945 | 5.2177 | 327.075 | 25.26 | 965.798 | 60.2011 | 31.07
2019-07-03 03:15:00 | 1.7653 | 157.988 | 7.0073 | 227.095 | 5.4733 | 187.658 | 4.962 | 329.216 | 25.22 | 965.947 | 57.8831 | 26.9317
2019-07-03 03:30:00 | 0.372 | 185.954 | 5.729 | 222.641 | 6.496 | 172.227 | 3.9393 | 331.407 | 25.62 | 965.798 | 57.6104 | 23.7024
2019-07-03 03:45:00 | 8.776 | 185.613 | 7.5187 | 227.241 | 7.0073 | 180.307 | 3.428 | 345.889 | 25.48 | 966.095 | 56.315 | 21.3821
2019-07-03 04:00:00 | 8.2653 | 157.136 | 7.263 | 204.24 | 7.263 | 155.627 | 5.2177 | 339.39 | 25.62 | 966.233 | 58.1558 | 17.5801
2019-07-03 04:15:00 | 0 | 187.147 | 3.9393 | 238.802 | 4.7063 | 172.275 | 0 | 45.4662 | 25.6 | 966.836 | 56.1786 | 2.9226
2019-07-03 04:30:00 | 0 | 192.574 | 2.4053 | 216.069 | 2.9167 | 261.261 | 0 | 79.6633 | 25.44 | 967.43 | 56.7241 | -0.29928
2019-07-03 04:45:00 | 0 | 282.071 | 0.37567 | 299.067 | 0 | 239.696 | 0 | 59.1937 | 24.56 | 967.417 | 62.0079 | -0.088676
2019-07-03 05:00:00 | 0 | 290.322 | 0 | 15.2538 | 2.1497 | 7.3505 | 0 | 356.769 | 24.47 | 966.985 | 64.5645 | -0.2882
2019-07-03 05:15:00 | 0 | 126.76 | 1.894 | 123.603 | 1.6383 | 0.2434 | 0 | 330.58 | 23.97 | 966.837 | 67.4281 | -0.25125
2019-07-03 05:30:00 | 0 | 120.142 | 2.1497 | 100.434 | 2.1497 | 0.2434 | 0 | 300.769 | 23.35 | 966.391 | 69.3383 | 0.15888
2019-07-03 05:45:00 | 0 | 161.891 | 3.6837 | 206.248 | 2.1497 | 161.258 | 0 | 348.804 | 24.21 | 966.985 | 61.8748 | -0.26603
2019-07-03 06:00:00 | 0 | 155.19 | 4.195 | 205.215 | 3.6837 | 154.216 | 0 | 341.291 | 25.02 | 966.837 | 59.247 | 0.56162
2019-07-03 06:15:00 | 0 | 151.976 | 3.1723 | 207.161 | 3.1723 | 156.503 | 0 | 352.923 | 25.26 | 967.281 | 58.4285 | 0.21061
2019-07-03 06:30:00 | 0 | 174.973 | 2.4053 | 229.684 | 0 | 176.677 | 0 | 356.761 | 25.74 | 967.967 | 56.8514 | -0.17735
2019-07-03 06:45:00 | 0 | 201.984 | 1.127 | 330.478 | 0 | 309.838 | 0 | 29.3241 | 25.13 | 967.733 | 66.0873 | -0.26972
2019-07-03 07:00:00 | 0 | 18.0076 | 1.127 | 44.4379 | 0 | 5.9863 | 0 | 231.641 | 25.71 | 967.877 | 66.2554 | -0.25125
2019-07-03 07:15:00 | 0 | 11.1453 | 1.3827 | 59.4777 | 1.127 | 30.1266 | 0 | 201.493 | 25.12 | 967.969 | 66.4267 | -0.25125
2019-07-03 07:30:00 | 0 | 97.845 | 0.75133 | 124.505 | 0 | 69.5765 | 0 | 324.674 | 25.65 | 967.883 | 61.6023 | -0.25125
2019-07-03 07:45:00 | 0 | 167.37 | 1.894 | 191.354 | 0 | 140.927 | 0 | 347.196 | 26.46 | 968.026 | 56.7632 | -0.25125
2019-07-03 08:00:00 | 0 | 128.72 | 0 | 169.018 | 0 | 149.736 | 0 | 6.8835 | 27.91 | 968.323 | 51.8493 | -0.26233
2019-07-03 08:15:00 | 0 | 221.23 | 2.4053 | 271.05 | 1.3827 | 206.225 | 0 | 36.1866 | 28.75 | 968.619 | 48.8423 | -0.28081
2019-07-03 08:30:00 | 0 | 237.352 | 2.661 | 263.946 | 1.127 | 237.352 | 0 | 65.3689 | 27.92 | 968.471 | 51.0218 | -0.26233
2019-07-03 08:45:00 | 0 | 228.402 | 3.428 | 290.454 | 2.661 | 247.42 | 0 | 64.6151 | 28.2 | 968.768 | 50.3406 | -0.30667
2019-07-03 09:00:00 | 0 | 277.575 | 2.9167 | 19.0272 | 2.9167 | 323.464 | 0 | 125.631 | 27.85 | 968.59 | 52.5204 | -0.29559
2019-07-03 09:15:00 | 0 | 261.476 | 3.428 | 300.814 | 2.661 | 257.877 | 0 | 75.5828 | 27.83 | 968.766 | 52.6567 | -0.25125
2019-07-03 09:30:00 | 0 | 303.693 | 2.1497 | 2.8796 | 1.6383 | 338.81 | 0 | 120.913 | 28.44 | 968.915 | 50.3747 | -0.26233
2019-07-03 09:45:00 | 0 | 259.214 | 1.894 | 276.689 | 1.3827 | 226.651 | 0 | 87.3531 | 28.9 | 968.903 | 49.7275 | -0.26233
2019-07-03 10:00:00 | 0 | 262.351 | 3.428 | 300.23 | 4.195 | 223.733 | 0 | 110.724 | 28.92 | 968.7 | 49.7275 | -0.25125
2019-07-03 10:15:00 | 0 | 278.596 | 3.6837 | 329.023 | 4.4507 | 287.667 | 0.887 | 102.771 | 29.03 | 968.871 | 47.0368 | -0.25125
2019-07-03 10:30:00 | 0 | 295.911 | 0.75133 | 275.571 | 0 | 220.961 | 0 | 96.5213 | 29.14 | 968.52 | 46.8665 | -0.17735
2019-07-03 10:45:00 | 0 | 227.819 | 3.1723 | 293.226 | 3.6837 | 255.931 | 0.75133 | 58.7299 | 29.33 | 968.178 | 47.2752 | -0.29928
2019-07-03 11:00:00 | 0 | 211.525 | 4.7063 | 259.934 | 4.7063 | 188.69 | 1.2627 | 38.8615 | 29.42 | 967.989 | 43.0518 | -0.070202
2019-07-03 11:15:00 | 0 | 251.894 | 3.6837 | 278.246 | 3.1723 | 215.951 | 0.75133 | 60.7484 | 30.53 | 968.264 | 43.6308 | -0.22169
2019-07-03 11:30:00 | 0 | 265.148 | 3.6837 | 327.418 | 4.7063 | 266.315 | 0 | 87.6693 | 30.88 | 968.128 | 40.8379 | 0.29189
2019-07-03 11:45:00 | 0 | 279.447 | 4.4507 | 309.374 | 4.962 | 259.044 | 0 | 96.0106 | 30.6 | 968.436 | 39.782 | 1.2673
2019-07-03 12:00:00 | 0 | 293.747 | 3.1723 | 246.34 | 3.1723 | 215.829 | 0 | 93.7733 | 30.71 | 968.154 | 38.6921 | 0.31776
2019-07-03 12:15:00 | 0 | 292.847 | 2.9167 | 19.8541 | 2.9167 | 297.006 | 0 | 83.9242 | 30.75 | 967.877 | 36.2057 | 0.26603
2019-07-03 12:30:00 | 0 | 341.922 | 3.1723 | 5.5303 | 0 | 290.269 | 0 | 136.38 | 31.62 | 967.729 | 38.9305 | 0.13671
2019-07-03 12:45:00 | 0 | 274.146 | 3.428 | 316.864 | 3.6837 | 284.676 | 4.195 | 88.3259 | 31.98 | 967.729 | 34.8433 | 0.099761
2019-07-03 13:00:00 | 0 | 272.76 | 2.9167 | 322.603 | 2.4053 | 285.187 | 0 | 98.8073 | 31.7 | 967.729 | 34.9796 | -0.12932
2019-07-03 13:15:00 | 0 | 246.763 | 2.661 | 279.024 | 3.6837 | 225.995 | 0 | 84.6294 | 31.98 | 967.729 | 33.3788 | -0.12562
2019-07-03 13:30:00 | 0 | 232.318 | 1.127 | 300.376 | 2.4053 | 247.955 | 0.37567 | 83.5594 | 32.26 | 967.729 | 32.6635 | -0.077592
2019-07-03 13:45:00 | 0 | 323.246 | 3.9393 | 13.9689 | 2.661 | 281.393 | 0 | 162.644 | 32.58 | 968.293 | 36.1035 | -0.15149
2019-07-03 14:00:00 | 0 | 252.916 | 2.661 | 291.208 | 2.4053 | 240.659 | 0 | 80.3736 | 33.2 | 968.385 | 37.7044 | -0.25125
2019-07-03 14:15:00 | 0 | 292.312 | 4.4507 | 9.5915 | 3.6837 | 297.419 | 0.75133 | 113.374 | 33.32 | 968.392 | 35.3883 | -0.18105
2019-07-03 14:30:00 | 0 | 321.894 | 1.3827 | 329.687 | 0 | 281.87 | 0 | 163.5 | 33.28 | 968.233 | 35.7247 | -0.26233
2019-07-03 14:45:00 | 0 | 311.857 | 3.9393 | 325.478 | 3.428 | 300.747 | 0.37567 | 132.93 | 33.45 | 968.016 | 32.8227 | -0.26603
2019-07-03 15:00:00 | 0 | 323.913 | 4.195 | 331.627 | 3.9393 | 276.07 | 0 | 138.57 | 33.74 | 967.735 | 34.1505 | -0.2143
2019-07-03 15:15:00 | 0 | 1.8476 | 2.4053 | 5.1857 | 2.1497 | 283.485 | 0 | 180.506 | 33.1 | 967.733 | 34.3207 | 0.036949
2019-07-03 15:30:00 | 0 | 29.5616 | 3.1723 | 61.5375 | 1.6383 | 34.4723 | 0 | 212.668 | 32.73 | 967.14 | 36.1594 | 0.79439
2019-07-03 15:45:00 | 0 | 324.91 | 3.1723 | 79.5273 | 2.4053 | 17.0174 | 1.1427 | 169.347 | 33.27 | 967.194 | 37.2489 | 1.5186
2019-07-03 16:00:00 | 0 | 28.2019 | 5.2177 | 80.8462 | 0.75133 | 316.834 | 2.1497 | 201.498 | 32.78 | 967.115 | 38.5451 | 2.8709
2019-07-03 16:15:00 | 0 | 22.9076 | 4.4507 | 69.1015 | 2.661 | 12.4509 | 0 | 219.641 | 32.22 | 966.769 | 38.0779 | 1.1934
2019-07-03 16:30:00 | 0 | 11.5757 | 4.962 | 80.3879 | 1.894 | 27.7721 | 1.6383 | 201.287 | 32.36 | 967.047 | 37.9428 | 0.10715
2019-07-03 16:45:00 | 0 | 8.7303 | 4.195 | 68.9572 | 0 | 356.704 | 0 | 192.506 | 32.76 | 967.609 | 36.8525 | -0.23278
2019-07-03 17:00:00 | 0.62733 | 354.244 | 3.9393 | 40.5643 | 2.4053 | 355.751 | 0.75133 | 174.35 | 32.35 | 967.039 | 37.7979 | -0.26233
2019-07-03 17:15:00 | 0 | 83.2984 | 2.1497 | 20.1174 | 2.9167 | 6.127 | 0.37567 | 158.768 | 32.26 | 966.982 | 37.7985 | 0.15888
2019-07-03 17:30:00 | 0 | 9.0709 | 3.6837 | 65.0181 | 1.6383 | 334.163 | 0 | 192.798 | 32.45 | 967.062 | 37.5679 | 1.3966
2019-07-03 17:45:00 | 0 | 6.2986 | 4.4507 | 61.395 | 3.428 | 12.3783 | 0 | 187.109 | 31.94 | 966.48 | 38.9646 | 1.5038
2019-07-03 18:00:00 | 0 | 83.5594 | 4.7063 | 61.4193 | 3.6837 | 11.9162 | 5.729 | 181.321 | 31.45 | 966.076 | 39.237 | 1.4927
2019-07-03 18:15:00 | 0 | 354.981 | 3.6837 | 54.0264 | 3.6837 | 17.0232 | 0 | 177.26 | 31.23 | 965.951 | 39.3733 | 1.5112
2019-07-03 18:30:00 | 0 | 353.655 | 3.6837 | 47.0977 | 3.428 | 17.1453 | 1.894 | 179.965 | 31.16 | 966.247 | 38.4889 | 0.88307
2019-07-03 18:45:00 | 0 | 4.67 | 3.9393 | 52.2873 | 3.428 | 356.961 | 0 | 188.939 | 31.05 | 966.099 | 37.5743 | 0.26603
2019-07-03 19:00:00 | 0 | 12.9404 | 3.6837 | 64.0636 | 3.6837 | 10.289 | 0 | 199.457 | 30.95 | 965.951 | 37.0651 | 0.56162
2019-07-03 19:15:00 | 0 | 11.9689 | 3.9393 | 63.0038 | 2.9167 | 13.3312 | 0 | 198.022 | 30.94 | 966.099 | 36.252 | 0.35101
2019-07-03 19:30:00 | 0 | 7.6144 | 3.428 | 56.6546 | 3.1723 | 9.0497 | 0 | 194.592 | 30.92 | 966.099 | 35.0256 | 0.4286
2019-07-03 19:45:00 | 0 | 16.4451 | 2.9167 | 63.6852 | 2.1497 | 21.7971 | 0 | 208.848 | 30.78 | 965.802 | 35.7751 | 0.42491
2019-07-03 20:00:00 | 0 | 17.7101 | 2.9167 | 77.3083 | 2.1497 | 31.2116 | 0 | 205.418 | 30.71 | 966.099 | 36.7973 | -0.35101
2019-07-03 20:15:00 | 2.3927 | 18.4886 | 2.661 | 79.9357 | 1.894 | 16.5181 | 0 | 217.46 | 30.67 | 966.247 | 37.4106 | -0.25125
2019-07-03 20:30:00 | 2.9033 | 18.7805 | 2.661 | 86.1634 | 1.894 | 42.5237 | 0 | 230.037 | 30.66 | 966.247 | 37.6831 | -0.15888
2019-07-03 20:45:00 | 0 | 54.298 | 3.428 | 107.036 | 3.1723 | 59.5527 | 0 | 234.416 | 30.56 | 966.247 | 37.8876 | 0.12562
2019-07-03 21:00:00 | 0 | 51.3304 | 3.6837 | 98.814 | 3.428 | 40.1155 | 0 | 236.801 | 30.46 | 966.099 | 38.501 | 0.96066
2019-07-03 21:15:00 | 0 | 47.7793 | 3.6837 | 103.17 | 3.1723 | 41.0649 | 0 | 234.907 | 30.28 | 966.395 | 39.1831 | 1.5481
2019-07-03 21:30:00 | 0 | 56.0031 | 3.9393 | 108.257 | 2.9167 | 48.9723 | 0 | 239.85 | 30.33 | 966.407 | 39.1156 | 2.8229
2019-07-03 21:45:00 | 0 | 58.9482 | 2.661 | 119.281 | 1.6383 | 62.8164 | 0 | 244.551 | 30.25 | 966.451 | 38.9803 | 3.1074
2019-07-03 22:00:00 | 0 | 68.0482 | 3.6837 | 102.91 | 2.1497 | 84.7865 | 0 | 244.652 | 30.29 | 966.406 | 37.4816 | 1.8326
2019-07-03 22:15:00 | 0 | 62.4761 | 1.894 | 122.42 | 2.4053 | 58.5349 | 0 | 254.016 | 30.2 | 966.474 | 37.6857 | 1.0752
2019-07-03 22:30:00 | 0 | 117.169 | 3.1723 | 167.797 | 3.428 | 128.604 | 0 | 292.339 | 29.87 | 966.456 | 40.5486 | 2.4718
2019-07-03 22:45:00 | 0 | 131.726 | 4.4507 | 186.811 | 4.7063 | 143.527 | 0.37567 | 300.946 | 29.26 | 966.494 | 41.3689 | 3.9313
2019-07-03 23:00:00 | 0 | 130.04 | 6.7517 | 178.661 | 5.729 | 142.669 | 2.9167 | 312.203 | 29.55 | 966.475 | 39.1591 | 5.6383
2019-07-03 23:15:00 | 0 | 157.253 | 5.9847 | 210.16 | 4.195 | 146.205 | 5.4733 | 346.335 | 29.61 | 966.633 | 44.989 | 5.5977
2019-07-03 23:30:00 | 0 | 171.262 | 5.2177 | 225.894 | 5.4733 | 165.519 | 4.962 | 353.668 | 28.93 | 966.506 | 50.5763 | 9.7987
2019-07-03 23:45:00 | 0 | 161.753 | 4.4507 | 207.701 | 4.4507 | 161.607 | 3.1723 | 355.872 | 28.83 | 966.245 | 52.964 | 8.0991