## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-04 00:00:00 | 0 | 181.439 | 6.2403 | 223.298 | 5.9847 | 163.943 | 4.7063 | 356.843 | 28.61 | 966.097 | 54.361 | 9.6546
2019-07-04 00:15:00 | 0 | 176.962 | 4.195 | 213.589 | 4.195 | 171.024 | 1.3827 | 0.34069 | 28.33 | 966.542 | 55.145 | 8.6016
2019-07-04 00:30:00 | 0 | 183.378 | 3.6837 | 231.195 | 3.428 | 191.554 | 0 | 16.1088 | 28.14 | 966.245 | 55.6195 | 5.6716
2019-07-04 00:45:00 | 0.744 | 182.597 | 4.195 | 217.809 | 3.6837 | 163.179 | 3.428 | 2.92 | 28.16 | 966.097 | 56.505 | 4.7257
2019-07-04 01:00:00 | 0.744 | 190.728 | 4.4507 | 234.239 | 3.9393 | 170.385 | 5.729 | 9.2468 | 28.05 | 966.393 | 55.8586 | 5.546
2019-07-04 01:15:00 | 0 | 170.149 | 4.7063 | 205.899 | 3.6837 | 151.557 | 4.4507 | 11.1453 | 27.81 | 966.245 | 56.9174 | 4.7331
2019-07-04 01:30:00 | 0 | 188.331 | 5.2177 | 215.445 | 3.428 | 152.364 | 2.9167 | 7.2276 | 27.57 | 966.097 | 56.578 | 5.6309
2019-07-04 01:45:00 | 0 | 172.611 | 3.1723 | 215.347 | 1.127 | 173.365 | 0.37567 | 16.7184 | 27.56 | 966.097 | 56.7144 | 5.4314
2019-07-04 02:00:00 | 0 | 169.033 | 4.4507 | 208.704 | 2.1497 | 159.105 | 0 | 356.83 | 27.62 | 965.8 | 56.3054 | 5.8379
2019-07-04 02:15:00 | 0 | 187.163 | 4.962 | 216.929 | 3.6837 | 164.507 | 0.887 | 2.9689 | 27.6 | 965.8 | 56.7825 | 6.2147
2019-07-04 02:30:00 | 0 | 168.401 | 4.7063 | 236.763 | 4.962 | 178.524 | 1.774 | 14.2119 | 27.75 | 965.949 | 55.4192 | 7.9181
2019-07-04 02:45:00 | 0 | 166.478 | 4.4507 | 211.259 | 3.428 | 161.1 | 0 | 0.19468 | 27.64 | 965.8 | 57.1234 | 8.4316
2019-07-04 03:00:00 | 0 | 187.09 | 4.195 | 224.838 | 3.6837 | 156.939 | 4.962 | 5.8892 | 27.18 | 965.504 | 57.1234 | 9.1965
2019-07-04 03:15:00 | 0 | 181.664 | 4.962 | 244.136 | 3.6837 | 174.241 | 4.4507 | 25.7955 | 27.43 | 965.652 | 55.2829 | 8.9083
2019-07-04 03:30:00 | 0 | 193.71 | 3.9393 | 226.469 | 3.9393 | 198.406 | 4.7063 | 21.0501 | 27.57 | 965.652 | 53.8855 | 8.3947
2019-07-04 03:45:00 | 0 | 196.849 | 4.195 | 228.391 | 4.4507 | 178.062 | 5.4733 | 15.3313 | 27.69 | 965.652 | 55.0102 | 8.3541
2019-07-04 04:00:00 | 0.372 | 190.254 | 4.7063 | 231.53 | 3.9393 | 186.579 | 0 | 12.4597 | 27.5 | 965.207 | 55.1465 | 8.1065
2019-07-04 04:15:00 | 0 | 193.734 | 4.962 | 239.464 | 3.9393 | 166.843 | 3.9393 | 16.6211 | 27.25 | 965.355 | 55.726 | 7.0719
2019-07-04 04:30:00 | 0 | 209.82 | 4.962 | 229 | 3.1723 | 199.307 | 0 | 34.3859 | 27.21 | 965.059 | 56.169 | 7.0978
2019-07-04 04:45:00 | 0 | 183.391 | 3.9393 | 220.628 | 2.661 | 165.14 | 0.37567 | 0.60838 | 27.01 | 965.36 | 59.3729 | 7.5781
2019-07-04 05:00:00 | 0 | 186.19 | 4.195 | 221.212 | 3.1723 | 161.782 | 0.37567 | 5.7918 | 26.69 | 964.934 | 57.0211 | 8.0991
2019-07-04 05:15:00 | 0 | 176.772 | 3.6837 | 218.438 | 3.6837 | 149.809 | 0 | 9.0041 | 26.78 | 965.059 | 56.8507 | 6.9241
2019-07-04 05:30:00 | 0 | 161.003 | 4.195 | 205.078 | 2.4053 | 165.042 | 0 | 356.805 | 26.95 | 965.059 | 57.6687 | 7.6299
2019-07-04 05:45:00 | 0 | 162.487 | 5.2177 | 220.506 | 2.661 | 165.797 | 0 | 10.3669 | 27 | 965.356 | 57.1574 | 10.2975
2019-07-04 06:00:00 | 0 | 165.578 | 5.4733 | 197.631 | 3.9393 | 150.393 | 0 | 345.514 | 26.96 | 965.652 | 59.032 | 11.358
2019-07-04 06:15:00 | 0 | 160.857 | 5.4733 | 207.974 | 3.428 | 153.848 | 1.2627 | 346.852 | 26.83 | 965.504 | 58.8616 | 11.7866
2019-07-04 06:30:00 | 0 | 148.64 | 5.9847 | 193.908 | 5.4733 | 147.253 | 2.9167 | 342.958 | 26.53 | 965.652 | 61.1111 | 11.9417
2019-07-04 06:45:00 | 0 | 155.089 | 5.4733 | 200.284 | 5.9847 | 160.93 | 5.9847 | 336.388 | 26.37 | 965.504 | 61.1111 | 10.3123
2019-07-04 07:00:00 | 0 | 184.182 | 5.2177 | 208.859 | 4.7063 | 161.332 | 1.3827 | 356.829 | 26.56 | 965.504 | 59.8459 | 9.4108
2019-07-04 07:15:00 | 0 | 164.227 | 4.7063 | 211.703 | 4.962 | 174.593 | 0.37567 | 356.826 | 27.15 | 965.801 | 55.2786 | 7.3934
2019-07-04 07:30:00 | 0 | 202.826 | 4.195 | 219.522 | 3.9393 | 185.354 | 4.962 | 21.0248 | 27.7 | 965.801 | 54.5305 | 6.9906
2019-07-04 07:45:00 | 0 | 196.723 | 4.4507 | 252.161 | 4.4507 | 172.048 | 4.7063 | 17.3264 | 27.72 | 965.64 | 54.3274 | 6.514
2019-07-04 08:00:00 | 0 | 185.478 | 5.2177 | 213.769 | 5.2177 | 142.806 | 5.2177 | 15.6673 | 27.56 | 965.97 | 55.948 | 5.5534
2019-07-04 08:15:00 | 0 | 184.886 | 4.195 | 209.356 | 3.9393 | 168.781 | 0 | 13.4529 | 28.3 | 965.951 | 52.4702 | 4.7627
2019-07-04 08:30:00 | 0 | 160.121 | 4.7063 | 206.899 | 4.962 | 151.46 | 5.2177 | 5.6196 | 28.2 | 965.951 | 53.9012 | 5.461
2019-07-04 08:45:00 | 0 | 143.724 | 3.428 | 195.149 | 3.6837 | 169.122 | 0 | 322.529 | 27.96 | 965.803 | 54.0375 | 6.3773
2019-07-04 09:00:00 | 0 | 161.629 | 4.962 | 202.569 | 5.729 | 157.469 | 0 | 334.035 | 28.33 | 965.803 | 53.0154 | 6.4918
2019-07-04 09:15:00 | 0 | 143.53 | 4.4507 | 188.775 | 3.6837 | 137.035 | 1.2627 | 344.837 | 28.49 | 965.951 | 53.0835 | 5.2282
2019-07-04 09:30:00 | 0 | 178.778 | 6.7517 | 209.621 | 5.729 | 148.759 | 4.962 | 2.4084 | 29.33 | 966.248 | 50.221 | 7.1532
2019-07-04 09:45:00 | 0 | 147.633 | 4.4507 | 201.218 | 3.6837 | 167.969 | 1.5183 | 325.405 | 29.03 | 966.248 | 51.5133 | 6.684
2019-07-04 10:00:00 | 0 | 120.073 | 4.962 | 175.24 | 4.195 | 127.638 | 3.9393 | 306.945 | 28.68 | 965.803 | 54.6482 | 7.2567
2019-07-04 10:15:00 | 0 | 148.539 | 6.7517 | 202.881 | 5.4733 | 157.393 | 1.1427 | 331.572 | 28.6 | 965.803 | 53.2188 | 9.1669
2019-07-04 10:30:00 | 0 | 144.988 | 5.9847 | 193.492 | 5.729 | 143.869 | 3.6837 | 333.472 | 28.52 | 966.248 | 53.0148 | 11.5021
2019-07-04 10:45:00 | 0 | 148.685 | 4.962 | 199.695 | 5.9847 | 153.648 | 5.2177 | 327.001 | 28.5 | 965.803 | 52.197 | 11.0143
2019-07-04 11:00:00 | 0 | 129.824 | 7.0073 | 189.489 | 7.0073 | 142.059 | 3.1723 | 328.317 | 28.69 | 965.803 | 51.3759 | 10.7409
2019-07-04 11:15:00 | 0 | 139.777 | 6.7517 | 192.316 | 6.7517 | 144.471 | 0.63133 | 328.764 | 28.86 | 965.803 | 50.696 | 11.9048
2019-07-04 11:30:00 | 0 | 138.035 | 6.7517 | 180.06 | 7.263 | 135.895 | 4.7063 | 318.466 | 29.29 | 965.506 | 49.4643 | 14.3397
2019-07-04 11:45:00 | 0 | 165.616 | 6.2403 | 199.589 | 6.7517 | 152.092 | 0 | 350.642 | 29.57 | 965.358 | 49.3276 | 17.3879
2019-07-04 12:00:00 | 4.4353 | 138.325 | 8.797 | 190.346 | 9.564 | 136.671 | 4.4507 | 325.199 | 29.92 | 965.506 | 48.2373 | 23.675
2019-07-04 12:15:00 | 0 | 179.017 | 4.962 | 229.043 | 5.2177 | 179.406 | 2.2853 | 342.808 | 29.63 | 965.358 | 46.2955 | 26.5068
2019-07-04 12:30:00 | 3.1587 | 189.208 | 10.0753 | 233.202 | 10.5867 | 191.081 | 4.7063 | 5.1565 | 29.73 | 965.062 | 47.1471 | 31.885
2019-07-04 12:45:00 | 3.6693 | 178.145 | 10.331 | 223.502 | 11.098 | 173.037 | 3.9393 | 0.19459 | 29.76 | 964.765 | 46.5348 | 29.4007
2019-07-04 13:00:00 | 5.2013 | 141.517 | 9.3083 | 212.513 | 7.0073 | 143.585 | 2.661 | 317.453 | 29.83 | 964.469 | 46.1952 | 25.003
2019-07-04 13:15:00 | 5.4567 | 150.662 | 9.0527 | 198.818 | 7.7743 | 177.029 | 2.9167 | 343.697 | 30.15 | 964.617 | 43.1971 | 26.7876
2019-07-04 13:30:00 | 0 | 161.142 | 5.4733 | 222.503 | 5.9847 | 175.03 | 0 | 350.206 | 30.03 | 964.765 | 42.7871 | 30.1315
2019-07-04 13:45:00 | 8.5207 | 150.171 | 9.3083 | 200.271 | 10.0753 | 149.198 | 5.4733 | 332.133 | 30.09 | 964.321 | 41.6288 | 30.7116
2019-07-04 14:00:00 | 2.1593 | 148.663 | 4.962 | 207.641 | 5.4733 | 172.233 | 2.1497 | 343.809 | 30.48 | 964.617 | 41.8332 | 27.5525
2019-07-04 14:15:00 | 0 | 150.389 | 7.5187 | 207.468 | 5.729 | 202.683 | 3.428 | 352.95 | 30.56 | 964.321 | 39.2778 | 30.416
2019-07-04 14:30:00 | 0 | 170.259 | 7.263 | 212.526 | 8.03 | 157.928 | 0 | 348.181 | 30.94 | 963.728 | 38.9709 | 35.6331
2019-07-04 14:45:00 | 0.372 | 155.278 | 9.0527 | 228.118 | 13.9103 | 184.757 | 3.1723 | 339.913 | 31.12 | 963.579 | 34.9514 | 32.5505
2019-07-04 15:00:00 | 1.138 | 154.718 | 8.03 | 209.122 | 7.7743 | 165.201 | 3.6837 | 348.937 | 31.36 | 963.579 | 32.3624 | 38.2697
2019-07-04 15:15:00 | 4.946 | 176.728 | 9.3083 | 237.382 | 10.5867 | 191.906 | 0.887 | 12.1127 | 31.52 | 963.431 | 31.9533 | 39.2197
2019-07-04 15:30:00 | 6.9887 | 182.883 | 9.3083 | 205.904 | 9.0527 | 173.374 | 2.4053 | 356.403 | 31.73 | 963.431 | 33.1754 | 40.585
2019-07-04 15:45:00 | 8.5207 | 167.775 | 9.0527 | 206.797 | 9.3083 | 155.13 | 6.496 | 350.896 | 31.76 | 963.579 | 33.0382 | 47.759
2019-07-04 16:00:00 | 7.4993 | 150.509 | 9.564 | 207.819 | 9.0527 | 152.576 | 4.7063 | 327.939 | 31.77 | 963.728 | 34.06 | 52.2878
2019-07-04 16:15:00 | 2.9033 | 150.46 | 10.0753 | 199.21 | 10.331 | 133.364 | 5.4733 | 343.333 | 31.74 | 963.579 | 32.9019 | 56.2836
2019-07-04 16:30:00 | 8.776 | 136.137 | 8.5413 | 183.354 | 9.0527 | 149.536 | 2.2853 | 323.562 | 31.37 | 963.579 | 33.0382 | 61.6744
2019-07-04 16:45:00 | 3.1587 | 138.374 | 10.331 | 192.96 | 7.7743 | 146.351 | 5.2177 | 339.661 | 30.95 | 962.986 | 35.2861 | 56.1764
2019-07-04 17:00:00 | 2.1373 | 148.782 | 11.098 | 203.563 | 11.6093 | 155.592 | 4.962 | 335.137 | 30.67 | 962.69 | 37.3978 | 45.1288
2019-07-04 17:15:00 | 0.88267 | 146.793 | 10.331 | 196.784 | 8.2857 | 147.741 | 3.428 | 331.67 | 30.5 | 962.838 | 38.4207 | 53.896
2019-07-04 17:30:00 | 2.5313 | 142.741 | 11.6093 | 196.993 | 10.0753 | 144.37 | 5.4733 | 329.746 | 30.15 | 962.69 | 40.5353 | 54.6246
2019-07-04 17:45:00 | 2.1373 | 159.047 | 10.5867 | 198.273 | 10.5867 | 154.718 | 4.962 | 339.45 | 29.92 | 962.245 | 41.4919 | 50.8237
2019-07-04 18:00:00 | 2.1373 | 143.644 | 9.0527 | 176.48 | 8.797 | 143.62 | 5.2177 | 325.48 | 29.59 | 961.949 | 42.451 | 47.4094
2019-07-04 18:15:00 | 1.116 | 159.829 | 11.098 | 204.588 | 11.865 | 148.468 | 3.9393 | 346.758 | 29.27 | 961.801 | 43.8842 | 48.4785
2019-07-04 18:30:00 | 3.9247 | 141.267 | 9.564 | 210.742 | 9.8197 | 154.404 | 5.2177 | 338.779 | 29.08 | 961.801 | 45.9625 | 49.5274
2019-07-04 18:45:00 | 4.18 | 148.571 | 13.9103 | 194.888 | 15.7 | 152.22 | 6.2403 | 340.712 | 28.76 | 960.919 | 48.1788 | 56.9893
2019-07-04 19:00:00 | 2.3927 | 150.423 | 8.797 | 192.859 | 8.03 | 142.977 | 2.4053 | 327.44 | 28.5 | 961.654 | 49.8915 | 59.7087
2019-07-04 19:15:00 | 10.0527 | 151.504 | 12.1207 | 201.805 | 10.331 | 163.72 | 6.496 | 328.072 | 28.27 | 961.192 | 50.713 | 57.2738
2019-07-04 19:30:00 | 0.62733 | 148.147 | 10.0753 | 201.807 | 9.8197 | 160.801 | 3.9393 | 338.393 | 27.91 | 961.648 | 51.4633 | 55.8354
2019-07-04 19:45:00 | 2.1373 | 156.393 | 11.865 | 191.509 | 8.797 | 165.226 | 1.127 | 337.363 | 27.76 | 961.5 | 52.0756 | 52.7217
2019-07-04 20:00:00 | 1.6267 | 143.109 | 10.0753 | 198.715 | 10.8423 | 152.234 | 4.7063 | 327.926 | 27.59 | 961.352 | 52.6216 | 52.7809
2019-07-04 20:15:00 | 1.51 | 152.459 | 10.8423 | 207.241 | 10.0753 | 159.249 | 2.4053 | 332.174 | 27.42 | 961.5 | 53.8507 | 55.6185
2019-07-04 20:30:00 | 3.6693 | 142.07 | 10.0753 | 174.999 | 9.3083 | 160.662 | 3.1723 | 314.462 | 27.13 | 961.204 | 54.3967 | 54.1812
2019-07-04 20:45:00 | 4.6907 | 147.521 | 6.496 | 192.107 | 7.5187 | 159.518 | 5.729 | 347.631 | 27.13 | 961.797 | 53.8514 | 52.973
2019-07-04 21:00:00 | 2.9033 | 159.835 | 10.331 | 194.176 | 9.8197 | 160.589 | 5.2177 | 338.773 | 27.1 | 961.648 | 52.5562 | 58.1875
2019-07-04 21:15:00 | 3.6693 | 149.03 | 11.865 | 208.339 | 11.865 | 162.512 | 5.2177 | 322.419 | 27.06 | 961.352 | 52.3517 | 65.033
2019-07-04 21:30:00 | 4.4353 | 159.494 | 10.0753 | 206.806 | 10.331 | 151.512 | 4.4507 | 327.919 | 26.83 | 961.352 | 53.3742 | 61.1792
2019-07-04 21:45:00 | 3.9247 | 159.932 | 12.632 | 212.89 | 12.3763 | 165.286 | 4.962 | 338.286 | 26.68 | 961.227 | 54.533 | 63.0008
2019-07-04 22:00:00 | 2.0207 | 160.516 | 10.0753 | 209.872 | 11.6093 | 164.58 | 2.2853 | 332.056 | 26.57 | 960.907 | 56.7825 | 67.1723
2019-07-04 22:15:00 | 5.712 | 168.23 | 11.6093 | 195.514 | 12.1207 | 157.377 | 2.9167 | 351.135 | 26.38 | 961.083 | 58.6912 | 63.4192
2019-07-04 22:30:00 | 2.276 | 154.14 | 7.5187 | 243.99 | 8.5413 | 186.458 | 4.7063 | 342.788 | 26.17 | 961.278 | 60.5317 | 64.1536
2019-07-04 22:45:00 | 6.478 | 135.207 | 12.632 | 189.455 | 11.6093 | 143.968 | 5.2177 | 340.014 | 26.04 | 960.823 | 60.7021 | 60.7011
2019-07-04 23:00:00 | 1.882 | 155.065 | 9.0527 | 225.422 | 7.7743 | 179.619 | 5.9847 | 322.614 | 25.83 | 961.099 | 61.2815 | 62.9269
2019-07-04 23:15:00 | 3.9247 | 148.032 | 12.632 | 194.054 | 12.8877 | 154.043 | 2.661 | 330.694 | 25.63 | 960.697 | 62.7131 | 67.2203
2019-07-04 23:30:00 | 3.9247 | 154.253 | 6.496 | 204.297 | 7.5187 | 151.819 | 2.4053 | 325.907 | 25.48 | 960.896 | 63.2646 | 70.058
2019-07-04 23:45:00 | 4.6907 | 157.255 | 13.399 | 209.736 | 13.399 | 158.228 | 5.9847 | 338.069 | 25.25 | 960.31 | 64.495 | 66.4111