## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-05 00:00:00 | 2.9033 | 153.777 | 11.6093 | 203.996 | 12.1207 | 161.005 | 6.496 | 336.639 | 25.1 | 960.013 | 65.0075 | 68.2068
2019-07-05 00:15:00 | 4.4353 | 160.714 | 11.098 | 216.41 | 10.331 | 167.724 | 0.75133 | 339.901 | 24.96 | 960.161 | 65.1099 | 62.5277
2019-07-05 00:30:00 | 1.2547 | 148.641 | 10.0753 | 202.049 | 10.0753 | 146.816 | 3.1723 | 335.204 | 24.85 | 960.161 | 65.2463 | 60.1114
2019-07-05 00:45:00 | 2.7867 | 159.911 | 10.331 | 212.637 | 8.03 | 138.833 | 3.428 | 341.167 | 24.65 | 960.013 | 66.3371 | 55.3451
2019-07-05 01:00:00 | 2.648 | 152.633 | 11.098 | 201.976 | 11.6093 | 145.915 | 4.962 | 339.536 | 24.47 | 959.717 | 67.1212 | 57.4364
2019-07-05 01:15:00 | 2.9033 | 155.87 | 9.564 | 204.07 | 8.2857 | 146.354 | 0.75133 | 336.202 | 24.42 | 959.568 | 67.3598 | 57.7513
2019-07-05 01:30:00 | 3.1587 | 148.72 | 10.5867 | 199.697 | 11.098 | 146.846 | 4.7063 | 333.781 | 24.23 | 959.568 | 67.2942 | 55.7922
2019-07-05 01:45:00 | 3.1587 | 151.888 | 11.865 | 195.296 | 8.03 | 156.342 | 4.195 | 337.755 | 24.11 | 959.272 | 67.8752 | 60.226
2019-07-05 02:00:00 | 2.648 | 150.753 | 10.0753 | 190.075 | 9.0527 | 152.895 | 6.2403 | 338.652 | 23.9 | 959.272 | 67.9815 | 56.6605
2019-07-05 02:15:00 | 3.1587 | 148.735 | 9.3083 | 206.486 | 10.331 | 165.702 | 5.9847 | 341.408 | 23.76 | 958.827 | 68.6646 | 54.9736
2019-07-05 02:30:00 | 2.3927 | 152.708 | 8.797 | 207.978 | 9.3083 | 174.155 | 5.4733 | 338.694 | 23.62 | 958.53 | 69.0078 | 54.8295
2019-07-05 02:45:00 | 1.3713 | 150.979 | 12.3763 | 201.041 | 10.0753 | 164.052 | 5.2177 | 333.825 | 23.44 | 958.53 | 68.7351 | 60.0671
2019-07-05 03:00:00 | 0.372 | 146.79 | 9.564 | 221.437 | 8.797 | 171.328 | 4.962 | 331.24 | 23.36 | 958.382 | 68.8023 | 55.7367
2019-07-05 03:15:00 | 4.946 | 151.807 | 8.03 | 211.338 | 8.2857 | 167.411 | 3.6837 | 329.175 | 23.2 | 958.382 | 68.1896 | 60.5852
2019-07-05 03:30:00 | 3.9247 | 134.718 | 7.263 | 208.125 | 7.0073 | 176.832 | 5.2177 | 335.431 | 23.23 | 958.233 | 66.894 | 59.2275
2019-07-05 03:45:00 | 0.62733 | 159.938 | 7.263 | 219.785 | 9.3083 | 143.165 | 5.729 | 335.115 | 23.22 | 957.937 | 67.0985 | 56.387
2019-07-05 04:00:00 | 1.2547 | 144.188 | 10.331 | 179.448 | 7.0073 | 169.53 | 4.7063 | 328.933 | 23.02 | 957.937 | 67.3715 | 57.5066
2019-07-05 04:15:00 | 3.9247 | 153.487 | 11.6093 | 203.11 | 11.6093 | 163.127 | 3.9393 | 343.124 | 23.01 | 958.085 | 67.4395 | 62.1177
2019-07-05 04:30:00 | 3.042 | 152.562 | 11.865 | 203.085 | 13.1433 | 149.811 | 5.2177 | 336.819 | 23.01 | 957.937 | 67.3031 | 56.8046
2019-07-05 04:45:00 | 3.6693 | 155.191 | 13.1433 | 199.702 | 11.865 | 157.625 | 4.195 | 336.868 | 22.94 | 958.085 | 67.3713 | 62.4577
2019-07-05 05:00:00 | 4.18 | 145.578 | 10.8423 | 203.845 | 11.6093 | 155.559 | 5.2177 | 333.759 | 22.75 | 958.233 | 68.4979 | 62.8604
2019-07-05 05:15:00 | 3.9247 | 147.185 | 10.331 | 187.583 | 11.3537 | 133.406 | 2.4053 | 325.36 | 22.61 | 958.085 | 69.964 | 56.3472
2019-07-05 05:30:00 | 3.414 | 158.38 | 10.8423 | 208.709 | 10.0753 | 156.019 | 4.7063 | 338.207 | 22.73 | 958.382 | 70.9172 | 56.0212
2019-07-05 05:45:00 | 2.9033 | 157.747 | 11.6093 | 201.917 | 9.8197 | 159.305 | 2.9167 | 333.557 | 22.47 | 958.53 | 71.8036 | 58.0423
2019-07-05 06:00:00 | 3.6693 | 149.056 | 11.3537 | 197.584 | 10.5867 | 154.68 | 1.007 | 334.799 | 22.46 | 958.53 | 72.6901 | 55.3673
2019-07-05 06:15:00 | 6.2227 | 155.848 | 9.8197 | 203.134 | 7.7743 | 168.702 | 5.2177 | 319.852 | 22.49 | 958.678 | 72.6219 | 52.3059
2019-07-05 06:30:00 | 3.6693 | 157.157 | 10.8423 | 216.66 | 11.865 | 156.816 | 3.9393 | 340.603 | 22.66 | 958.678 | 72.0053 | 57.0624
2019-07-05 06:45:00 | 11.3293 | 162.955 | 8.2857 | 201.663 | 8.797 | 172.18 | 4.4507 | 340.66 | 22.87 | 958.827 | 70.0877 | 56.0397
2019-07-05 07:00:00 | 5.9673 | 152.56 | 13.1433 | 211.931 | 11.865 | 170.182 | 4.195 | 344.453 | 23.18 | 958.085 | 68.8257 | 56.8785
2019-07-05 07:15:00 | 4.4353 | 153.848 | 13.1433 | 203.702 | 13.6547 | 149.881 | 4.195 | 3.4318 | 24.23 | 958.678 | 67.1886 | 54.4583
2019-07-05 07:30:00 | 5.2013 | 154.215 | 13.1433 | 206.467 | 11.6093 | 142.656 | 2.541 | 334.201 | 23.93 | 958.572 | 66.3265 | 58.1347
2019-07-05 07:45:00 | 5.2013 | 161.611 | 11.098 | 200.941 | 13.6547 | 147.716 | 2.9167 | 334.198 | 24.24 | 958.888 | 63.5992 | 52.5518
2019-07-05 08:00:00 | 6.2227 | 145.112 | 8.797 | 199.408 | 5.4733 | 146.548 | 5.2177 | 326.143 | 24.72 | 958.833 | 55.1466 | 48.0256
2019-07-05 08:15:00 | 2.1373 | 147.545 | 11.6093 | 195.636 | 11.865 | 147.059 | 5.9847 | 333.784 | 24.8 | 958.831 | 59.5092 | 50.243
2019-07-05 08:30:00 | 3.9247 | 163.647 | 9.3083 | 194.019 | 15.4443 | 125.54 | 5.729 | 337.758 | 25.43 | 958.831 | 56.9161 | 46.4627
2019-07-05 08:45:00 | 5.4567 | 166.343 | 9.564 | 211.727 | 10.331 | 170.018 | 5.4733 | 342.493 | 25.45 | 958.831 | 56.369 | 48.8865
2019-07-05 09:00:00 | 3.6693 | 162.389 | 10.331 | 214.299 | 10.0753 | 142.531 | 4.195 | 328.16 | 25.89 | 958.98 | 56.8502 | 43.4514
2019-07-05 09:15:00 | 3.9247 | 147.508 | 9.0527 | 193.329 | 9.0527 | 149.649 | 4.962 | 325.626 | 26.38 | 959.27 | 55.2779 | 44.9367
2019-07-05 09:30:00 | 5.9673 | 177.033 | 11.865 | 209.508 | 12.632 | 163.75 | 4.4507 | 343.508 | 26.79 | 959.141 | 52.8123 | 44.2532
2019-07-05 09:45:00 | 0 | 136.28 | 11.098 | 193.957 | 10.8423 | 131.537 | 3.6837 | 319.609 | 27.27 | 958.984 | 50.2215 | 40.2738
2019-07-05 10:00:00 | 7.4993 | 163.697 | 7.7743 | 216.63 | 7.5187 | 158.929 | 1.007 | 335.884 | 27.93 | 959.577 | 47.8365 | 37.5478
2019-07-05 10:15:00 | 5.4567 | 140.611 | 11.6093 | 189.164 | 13.399 | 133.458 | 2.661 | 315.693 | 28.64 | 959.281 | 44.6337 | 43.297
2019-07-05 10:30:00 | 2.1373 | 202.327 | 9.0527 | 229.642 | 10.5867 | 174.935 | 4.7063 | 352.521 | 29.15 | 959.577 | 40.6811 | 41.737
2019-07-05 10:45:00 | 0 | 177.766 | 6.496 | 233.028 | 7.5187 | 210.337 | 2.9167 | 338.992 | 29.34 | 960.022 | 40.5415 | 41.2086
2019-07-05 11:00:00 | 11.074 | 177.485 | 10.0753 | 230.867 | 10.5867 | 181.79 | 6.7517 | 0.21891 | 30 | 959.281 | 37.4383 | 47.9702
2019-07-05 11:15:00 | 9.2867 | 202.413 | 9.0527 | 234.804 | 8.03 | 196.454 | 7.5187 | 16.3448 | 30.26 | 959.429 | 37.0971 | 43.3293
2019-07-05 11:30:00 | 2.9033 | 188.557 | 10.5867 | 235.561 | 11.6093 | 189.919 | 4.4507 | 6.372 | 30.83 | 959.429 | 34.7096 | 48.4927
2019-07-05 11:45:00 | 1.7653 | 148.153 | 7.7743 | 207.555 | 7.5187 | 189.422 | 1.774 | 327.871 | 31.05 | 959.281 | 33.5155 | 49.0124
2019-07-05 12:00:00 | 13.1167 | 184.266 | 8.5413 | 234.865 | 8.5413 | 172.326 | 7.7743 | 1.8969 | 31.14 | 959.429 | 33.2771 | 49.3811
2019-07-05 12:15:00 | 0 | 155.215 | 5.729 | 222.088 | 5.9847 | 188.802 | 0 | 332.78 | 31.35 | 959.429 | 32.2914 | 44.3027
2019-07-05 12:30:00 | 10.308 | 142.149 | 8.2857 | 183.849 | 10.5867 | 142.003 | 6.7517 | 320.608 | 31.66 | 958.688 | 32.3583 | 52.6515
2019-07-05 12:45:00 | 3.9247 | 168.463 | 12.1207 | 228.377 | 10.8423 | 205.623 | 5.2177 | 0.2432 | 31.73 | 958.54 | 32.9713 | 51.9321
2019-07-05 13:00:00 | 5.9673 | 158.538 | 8.797 | 217.04 | 9.0527 | 193.947 | 5.2177 | 322.036 | 32.17 | 958.391 | 31.9148 | 52.3556
2019-07-05 13:15:00 | 3.414 | 157.099 | 12.632 | 215.333 | 13.6547 | 181.224 | 3.1723 | 338.664 | 32.62 | 958.243 | 30.7561 | 56.178
2019-07-05 13:30:00 | 0 | 139.249 | 7.7743 | 198.383 | 7.0073 | 145.791 | 2.661 | 326.65 | 32.43 | 958.243 | 31.3011 | 57.3788
2019-07-05 13:45:00 | 3.1587 | 165.587 | 12.632 | 204.536 | 12.632 | 150.46 | 3.9393 | 83.2676 | 32.86 | 958.243 | 31.1989 | 54.6468
2019-07-05 14:00:00 | 7.7547 | 169.235 | 8.5413 | 241.379 | 9.564 | 174.901 | 4.7063 | 11.2353 | 33.18 | 958.391 | 30.4155 | 57.8834
2019-07-05 14:15:00 | 4.18 | 150.46 | 13.9103 | 198.894 | 10.8423 | 154.084 | 6.2403 | 331.028 | 33.29 | 958.243 | 30.8583 | 53.0912
2019-07-05 14:30:00 | 1.882 | 152.43 | 9.564 | 193.106 | 8.2857 | 165.708 | 3.428 | 332.997 | 33.15 | 958.502 | 28.985 | 52.6352
2019-07-05 14:45:00 | 2.9033 | 191.024 | 13.399 | 233.694 | 14.166 | 189.808 | 4.7063 | 1.8725 | 33.09 | 957.565 | 29.7343 | 50.0041
2019-07-05 15:00:00 | 6.2227 | 176.092 | 12.632 | 208.281 | 15.1887 | 184.385 | 5.4733 | 351.99 | 33.52 | 957.865 | 30.2112 | 59.1812
2019-07-05 15:15:00 | 1.6487 | 153.014 | 10.331 | 196.291 | 9.8197 | 163.422 | 5.4733 | 333.241 | 33.17 | 957.514 | 31.4373 | 53.4918
2019-07-05 15:30:00 | 7.7547 | 207.585 | 11.6093 | 243.835 | 13.6547 | 195.693 | 5.9847 | 5.3258 | 33.29 | 956.972 | 31.3011 | 51.6822
2019-07-05 15:45:00 | 0.99933 | 157.975 | 9.0527 | 204.487 | 10.331 | 169.94 | 3.9393 | 334.821 | 33.02 | 957.543 | 33.0382 | 54.2292
2019-07-05 16:00:00 | 4.946 | 152.138 | 8.5413 | 205.411 | 8.797 | 155.811 | 2.661 | 343.503 | 32.78 | 957.525 | 34.06 | 53.6159
2019-07-05 16:15:00 | 1.6487 | 134.653 | 8.797 | 204.244 | 9.8197 | 149.123 | 1.007 | 313.858 | 32.91 | 956.64 | 34.7071 | 57.0874
2019-07-05 16:30:00 | 2.3927 | 116.56 | 9.0527 | 189.847 | 5.729 | 154.424 | 2.1497 | 333.897 | 32.85 | 956.835 | 35.0136 | 55.5446
2019-07-05 16:45:00 | 2.276 | 132.1 | 8.797 | 211.102 | 9.8197 | 139.541 | 3.0523 | 335.064 | 32.46 | 956.184 | 34.4687 | 51.0755
2019-07-05 17:00:00 | 4.6907 | 159.629 | 10.5867 | 213.12 | 10.5867 | 162.839 | 4.195 | 340.512 | 32.42 | 956.069 | 35.4905 | 48.7535
2019-07-05 17:15:00 | 9.0313 | 155.421 | 10.5867 | 194.419 | 8.5413 | 160.139 | 5.9847 | 336.84 | 32.19 | 955.941 | 35.8311 | 49.4998
2019-07-05 17:30:00 | 1.2547 | 144.211 | 10.8423 | 183.84 | 8.797 | 145.135 | 5.9847 | 333.97 | 32.1 | 956.457 | 36.5123 | 42.8196
2019-07-05 17:45:00 | 1.3933 | 148.539 | 10.0753 | 193.519 | 9.3083 | 141.949 | 5.9847 | 325.994 | 31.98 | 956.464 | 37.8065 | 43.4015
2019-07-05 18:00:00 | 1.6267 | 144.454 | 11.3537 | 191.841 | 10.8423 | 151.944 | 5.2177 | 330.176 | 31.64 | 956.167 | 38.4877 | 46.4775
2019-07-05 18:15:00 | 2.3927 | 141.171 | 13.6547 | 192.984 | 11.3537 | 161.525 | 5.9847 | 327.38 | 31.45 | 955.723 | 38.045 | 48.3729
2019-07-05 18:30:00 | 3.6693 | 163.256 | 10.5867 | 225.845 | 8.797 | 155.403 | 3.9393 | 352.368 | 31.21 | 955.278 | 38.0799 | 50.1522
2019-07-05 18:45:00 | 4.6907 | 146.035 | 15.7 | 194.552 | 15.7 | 146.959 | 7.0073 | 329.332 | 30.98 | 954.833 | 40.2657 | 49.4296
2019-07-05 19:00:00 | 1.882 | 146.124 | 15.7 | 208.952 | 17.7453 | 156.099 | 4.962 | 332.534 | 30.86 | 954.388 | 40.2019 | 50.0023
2019-07-05 19:15:00 | 7.244 | 140.975 | 14.166 | 187.534 | 14.4217 | 135.283 | 6.496 | 325.058 | 30.74 | 954.685 | 40 | 46.2336
2019-07-05 19:30:00 | 4.6907 | 150.098 | 14.166 | 206.266 | 10.5867 | 172.017 | 7.7743 | 331.651 | 30.63 | 955.278 | 40.6133 | 48.0552
2019-07-05 19:45:00 | 2.5313 | 159.951 | 14.6773 | 204.782 | 11.6093 | 155.231 | 4.962 | 338.633 | 30.53 | 955.278 | 40.6133 | 48.0469
2019-07-05 20:00:00 | 3.6693 | 143.895 | 12.3763 | 197.898 | 13.6547 | 137.18 | 4.962 | 335.543 | 30.39 | 955.278 | 40.954 | 46.326
2019-07-05 20:15:00 | 2.9033 | 153.309 | 9.8197 | 211.278 | 9.8197 | 153.577 | 5.2177 | 331.238 | 30.23 | 955.278 | 41.7717 | 52.3145
2019-07-05 20:30:00 | 5.712 | 152.215 | 15.1887 | 193.64 | 14.166 | 147.933 | 4.962 | 350.821 | 30.11 | 955.278 | 41.6354 | 56.8674
2019-07-05 20:45:00 | 3.414 | 140.416 | 14.4217 | 193.178 | 13.9103 | 126.331 | 2.4053 | 327.248 | 30.02 | 955.13 | 41.4991 | 57.2886
2019-07-05 21:00:00 | 4.18 | 154.063 | 14.166 | 200.793 | 14.166 | 140.805 | 4.7063 | 340.19 | 29.95 | 955.278 | 41.431 | 59.3281
2019-07-05 21:15:00 | 8.2653 | 143.384 | 8.797 | 194.03 | 8.5413 | 164.6 | 5.2177 | 324.189 | 29.89 | 955.574 | 41.9081 | 54.5913
2019-07-05 21:30:00 | 5.2013 | 153.75 | 14.6773 | 196.296 | 14.6773 | 151.487 | 5.9847 | 332.775 | 29.91 | 954.833 | 40.4095 | 58.0312
2019-07-05 21:45:00 | 4.946 | 143.846 | 12.8877 | 195.952 | 13.1433 | 136.499 | 3.9393 | 328.659 | 29.83 | 955.723 | 40.0001 | 41.6166
2019-07-05 22:00:00 | 0.62733 | 183.72 | 5.2177 | 230.596 | 4.4507 | 199.07 | 4.195 | 353.306 | 29.91 | 957.205 | 40.8522 | 12.701
2019-07-05 22:15:00 | 0 | 181.992 | 6.496 | 240.131 | 6.7517 | 190.871 | 2.4053 | 12.1636 | 29.86 | 957.354 | 42.3511 | 10.0204
2019-07-05 22:30:00 | 0 | 179.218 | 5.2177 | 226.433 | 4.962 | 171.117 | 3.428 | 347.05 | 29.44 | 957.205 | 43.9523 | 9.8468
2019-07-05 22:45:00 | 6.9887 | 187.907 | 9.564 | 185.009 | 8.797 | 147.91 | 4.4507 | 5.5953 | 29.15 | 956.909 | 45.9977 | 15.4888
2019-07-05 23:00:00 | 0 | 165.33 | 5.729 | 217.861 | 6.496 | 162.264 | 3.6837 | 341.463 | 28.91 | 956.959 | 48.1852 | 19.893
2019-07-05 23:15:00 | 2.5313 | 161.594 | 6.7517 | 215.565 | 5.2177 | 164.854 | 4.4507 | 335.232 | 28.85 | 957.106 | 47.9157 | 26.4773
2019-07-05 23:30:00 | 0 | 133.109 | 5.4733 | 178.446 | 4.195 | 140.482 | 0 | 320.847 | 28.76 | 957.261 | 48.3959 | 19.143
2019-07-05 23:45:00 | 8.01 | 146.053 | 7.0073 | 182.728 | 5.4733 | 139.58 | 4.962 | 334.472 | 28.43 | 957.2 | 47.9866 | 17.7426