## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-06 00:00:00 | 0.62733 | 143.404 | 7.263 | 194.632 | 7.0073 | 138.708 | 4.962 | 328.592 | 28.31 | 956.606 | 47.647 | 19.712
2019-07-06 00:15:00 | 3.414 | 136.903 | 7.5187 | 181.705 | 7.263 | 137.268 | 3.9393 | 315.49 | 28.11 | 956.459 | 49.6223 | 19.6935
2019-07-06 00:30:00 | 3.6693 | 121.084 | 6.496 | 171.189 | 4.962 | 147.827 | 4.4507 | 318.819 | 27.79 | 956.31 | 51.4278 | 19.7009
2019-07-06 00:45:00 | 5.4567 | 153.426 | 7.263 | 191.658 | 7.263 | 137.537 | 5.729 | 327.855 | 27.55 | 956.162 | 51.9399 | 24.6003
2019-07-06 01:00:00 | 5.4567 | 138.441 | 8.797 | 199.647 | 7.7743 | 147.397 | 4.7063 | 319.542 | 27.37 | 955.865 | 53.1688 | 30.8446
2019-07-06 01:15:00 | 3.414 | 148.542 | 8.2857 | 196.242 | 7.263 | 152.922 | 2.661 | 329.838 | 27.15 | 956.014 | 53.2374 | 30.416
2019-07-06 01:30:00 | 2.648 | 135.67 | 9.0527 | 210.188 | 8.2857 | 167.719 | 3.9393 | 318.72 | 26.91 | 955.717 | 54.6694 | 37.9645
2019-07-06 01:45:00 | 3.9247 | 146.11 | 11.865 | 195.465 | 10.331 | 154.797 | 4.195 | 341.863 | 26.68 | 955.421 | 56.4417 | 34.4766
2019-07-06 02:00:00 | 6.7333 | 134.599 | 6.496 | 196.804 | 7.263 | 129.318 | 4.4507 | 336.753 | 26.71 | 955.865 | 57.7369 | 35.6146
2019-07-06 02:15:00 | 6.478 | 156.866 | 8.5413 | 215.98 | 9.8197 | 166.6 | 5.4733 | 334.684 | 26.71 | 955.421 | 58.9639 | 38.5853
2019-07-06 02:30:00 | 0 | 141.559 | 6.7517 | 207.365 | 6.496 | 159.202 | 5.9847 | 325.242 | 26.36 | 955.428 | 60.0545 | 39.1986
2019-07-06 02:45:00 | 6.9887 | 192.541 | 8.5413 | 230.995 | 5.4733 | 191.568 | 4.962 | 334.782 | 26.34 | 955.273 | 60.5998 | 36.6301
2019-07-06 03:00:00 | 6.7333 | 157.426 | 8.2857 | 182.908 | 7.0073 | 143.968 | 2.9167 | 335.755 | 26.13 | 955.303 | 61.4178 | 35.8568
2019-07-06 03:15:00 | 0 | 134.745 | 8.5413 | 226.809 | 6.7517 | 184.194 | 0.37567 | 329.428 | 26.05 | 955.202 | 62.5767 | 36.7711
2019-07-06 03:30:00 | 6.7333 | 161.003 | 7.0073 | 198.507 | 5.729 | 158.229 | 2.661 | 330.328 | 25.85 | 955.142 | 63.5992 | 37.0889
2019-07-06 03:45:00 | 3.6693 | 153.288 | 6.496 | 195.295 | 5.729 | 144.868 | 3.1723 | 326.921 | 25.64 | 955.152 | 64.5535 | 35.4705
2019-07-06 04:00:00 | 3.9247 | 143.433 | 8.2857 | 186.218 | 6.7517 | 151.609 | 3.428 | 324.464 | 25.64 | 955.356 | 64.9625 | 35.0567
2019-07-06 04:15:00 | 7.7547 | 142.731 | 7.7743 | 192.161 | 7.7743 | 142.366 | 3.428 | 328.147 | 25.51 | 955.542 | 65.1005 | 36.6898
2019-07-06 04:30:00 | 3.1587 | 134.683 | 9.0527 | 183.557 | 7.0073 | 133.052 | 2.661 | 323.127 | 25.5 | 955.249 | 65.479 | 41.1864
2019-07-06 04:45:00 | 2.9033 | 132.695 | 10.0753 | 197.588 | 9.8197 | 149.975 | 2.4053 | 315.527 | 25.4 | 954.97 | 65.8578 | 40.9943
2019-07-06 05:00:00 | 2.648 | 140.049 | 7.263 | 186.52 | 6.496 | 140.439 | 1.2627 | 326.976 | 25.36 | 955.415 | 65.9959 | 41.1162
2019-07-06 05:15:00 | 0.88267 | 144.867 | 9.8197 | 192.457 | 9.564 | 145.5 | 2.4053 | 326.827 | 25.29 | 955.843 | 66.4727 | 37.3844
2019-07-06 05:30:00 | 5.4567 | 139.465 | 7.7743 | 192.606 | 6.496 | 147.789 | 2.9167 | 321.062 | 25.11 | 955.712 | 67.2234 | 30.065
2019-07-06 05:45:00 | 0.372 | 137.128 | 5.729 | 193.213 | 5.4733 | 172.055 | 4.7063 | 321.694 | 25.05 | 955.829 | 67.6663 | 21.9437
2019-07-06 06:00:00 | 0 | 156.794 | 7.263 | 201.756 | 4.962 | 123.303 | 4.7063 | 338.22 | 24.97 | 956.003 | 68.6548 | 18.0456
2019-07-06 06:15:00 | 1.2547 | 145.987 | 4.7063 | 202.754 | 4.962 | 154.725 | 1.1427 | 335.372 | 24.91 | 955.704 | 68.7229 | 18.2525
2019-07-06 06:30:00 | 0 | 168.892 | 8.5413 | 206.382 | 8.2857 | 165.265 | 3.5637 | 348.201 | 24.98 | 955.545 | 69.0642 | 10.9183
2019-07-06 06:45:00 | 0 | 191.82 | 7.263 | 218.308 | 8.03 | 205.523 | 0.37567 | 14.7011 | 24.89 | 955.712 | 70.7686 | 5.9967
2019-07-06 07:00:00 | 0 | 127.49 | 2.4053 | 175.884 | 1.127 | 140.975 | 0 | 302.346 | 23.44 | 954.97 | 87.6768 | 2.845
2019-07-06 07:15:00 | 0 | 70.7899 | 3.9393 | 119.511 | 3.1723 | 50.439 | 0 | 262.346 | 21.42 | 954.525 | 93.2131 | 1.7514
2019-07-06 07:30:00 | 0 | 300.839 | 4.962 | 18.1012 | 4.195 | 306.195 | 0 | 122.887 | 21.58 | 954.525 | 93.7606 | 7.4747
2019-07-06 07:45:00 | 0 | 319.88 | 2.4053 | 49.9754 | 3.428 | 354.016 | 1.3827 | 121.958 | 20.7 | 955.118 | 96.9134 | 18.5296
2019-07-06 08:00:00 | 0 | 327.016 | 7.7743 | 23.4365 | 4.195 | 33.1861 | 3.9393 | 147.45 | 20.01 | 954.848 | 96.8798 | 42.8046
2019-07-06 08:15:00 | 0 | 0.77925 | 8.5413 | 68.6642 | 9.8197 | 10.0816 | 4.4507 | 186.29 | 17.84 | 954.217 | 97.8839 | 36.6638
2019-07-06 08:30:00 | 9.542 | 12.5415 | 7.263 | 76.2893 | 6.2403 | 55.353 | 2.4053 | 200.177 | 17.62 | 954.667 | 98.0235 | 23.9315
2019-07-06 08:45:00 | 9.7973 | 321.914 | 9.0527 | 8.8863 | 8.797 | 310.832 | 5.4733 | 152.469 | 17.58 | 955.414 | 97.9701 | 45.641
2019-07-06 09:00:00 | 0 | 14.4675 | 9.8197 | 74.7453 | 7.263 | 53.5104 | 5.2177 | 194.825 | 17.19 | 955.488 | 98.2773 | 41.0978
2019-07-06 09:15:00 | 10.0527 | 346.028 | 5.9847 | 52.289 | 9.3083 | 15.2956 | 5.9847 | 186.909 | 17.58 | 955.548 | 97.0834 | 39.8024
2019-07-06 09:30:00 | 8.01 | 7.3556 | 9.3083 | 69.0947 | 8.2857 | 14.638 | 5.4733 | 187.81 | 17.38 | 955.537 | 97.1175 | 37.5898
2019-07-06 09:45:00 | 9.0313 | 11.7884 | 8.5413 | 67.5603 | 6.7517 | 41.2106 | 4.962 | 197.699 | 17.24 | 955.549 | 97.2198 | 29.6584
2019-07-06 10:00:00 | 10.0527 | 19.5823 | 6.7517 | 68.0961 | 6.2403 | 20.8245 | 5.729 | 190.684 | 17.4 | 955.552 | 97.0834 | 16.7088
2019-07-06 10:15:00 | 10.5633 | 19.1196 | 7.263 | 70.9945 | 5.2177 | 26.2559 | 5.4733 | 209.268 | 17.72 | 955.648 | 96.4694 | 10.0426
2019-07-06 10:30:00 | 0 | 12.2755 | 5.2177 | 68.364 | 4.4507 | 18.7542 | 3.9393 | 196.676 | 18.33 | 955.749 | 90.1245 | 5.2282
2019-07-06 10:45:00 | 0 | 344.251 | 3.6837 | 4.5493 | 3.6837 | 346.686 | 0 | 152.386 | 19.29 | 956.162 | 88.1401 | 5.2578
2019-07-06 11:00:00 | 0 | 356.854 | 4.4507 | 45.4825 | 2.4053 | 7.1351 | 0 | 171.901 | 19.99 | 956.745 | 83.5949 | 8.2395
2019-07-06 11:15:00 | 0 | 7.4991 | 3.9393 | 55.2836 | 2.4053 | 336.585 | 0 | 175.743 | 20.87 | 957.057 | 80.4094 | 19.0765
2019-07-06 11:30:00 | 0 | 306.465 | 3.428 | 45.485 | 2.661 | 8.2769 | 0 | 152.879 | 20.82 | 957.047 | 81.419 | 18.2615
2019-07-06 11:45:00 | 0 | 307.725 | 6.7517 | 4.1294 | 6.2403 | 317.364 | 0.37567 | 133.635 | 21.26 | 957.64 | 77.1154 | 29.9407
2019-07-06 12:00:00 | 0 | 309.063 | 6.496 | 9.8748 | 5.4733 | 270.899 | 0 | 181.67 | 20.56 | 957.344 | 80.075 | 32.4112
2019-07-06 12:15:00 | 0 | 327.438 | 6.2403 | 41.632 | 3.428 | 10.0773 | 0.37567 | 129.422 | 19.79 | 957.491 | 84.2739 | 27.6929
2019-07-06 12:30:00 | 0 | 27.2892 | 3.428 | 75.0375 | 2.4053 | 12.9508 | 0 | 179.291 | 19.43 | 957.195 | 85.3732 | 20.5729
2019-07-06 12:45:00 | 0.88267 | 352.93 | 6.2403 | 74.4653 | 3.9393 | 8.0101 | 0 | 144.79 | 19.28 | 956.75 | 87.2936 | 29.3925
2019-07-06 13:00:00 | 0 | 19.8922 | 5.9847 | 94.2887 | 2.1497 | 354.869 | 5.2177 | 159.454 | 19.02 | 956.922 | 89.6163 | 25.3245
2019-07-06 13:15:00 | 0 | 67.6139 | 5.2177 | 45.9339 | 2.1497 | 59.0435 | 0 | 214.042 | 19.26 | 957.585 | 87.5021 | 23.0817
2019-07-06 13:30:00 | 0 | 22.6435 | 5.2177 | 79.0226 | 1.3827 | 0.31652 | 1.894 | 173.089 | 19.02 | 957.516 | 88.4228 | 21.7722
2019-07-06 13:45:00 | 5.2013 | 34.4035 | 4.7063 | 74.3478 | 1.6383 | 20.2817 | 2.0297 | 200.31 | 19.81 | 958.234 | 84.2285 | 19.6159
2019-07-06 14:00:00 | 0 | 1.3633 | 5.729 | 89.4316 | 6.2403 | 27.1449 | 3.9393 | 180.398 | 20.09 | 958.085 | 81.6962 | 16.7598
2019-07-06 14:15:00 | 1.3713 | 348.699 | 6.2403 | 58.7275 | 3.1723 | 21.4468 | 5.729 | 162.689 | 20.63 | 958.53 | 78.6226 | 26.3664
2019-07-06 14:30:00 | 0.744 | 12.3909 | 9.564 | 73.9909 | 4.4507 | 3.043 | 2.1497 | 190.173 | 20.89 | 958.382 | 78.0089 | 26.1299
2019-07-06 14:45:00 | 2.9033 | 339.107 | 8.797 | 58.4597 | 5.9847 | 25.0496 | 2.1497 | 161.861 | 20.66 | 958.53 | 74.6676 | 22.1839
2019-07-06 15:00:00 | 1.138 | 19.0848 | 6.7517 | 69.8982 | 3.9393 | 7.4733 | 5.729 | 196.642 | 20.99 | 958.827 | 74.1537 | 25.0822
2019-07-06 15:15:00 | 0 | 3.9674 | 8.2857 | 65.1405 | 5.2177 | 26.8468 | 5.4733 | 188.512 | 21.44 | 958.827 | 70.9058 | 29.8425
2019-07-06 15:30:00 | 0.372 | 0.43811 | 6.496 | 71.0785 | 5.2177 | 42.5212 | 2.4053 | 168.77 | 21.89 | 959.42 | 70.121 | 26.9993
2019-07-06 15:45:00 | 0 | 7.5206 | 6.2403 | 80.2256 | 7.7743 | 26.8453 | 1.6383 | 180.737 | 21.8 | 959.124 | 66.4023 | 25.4657
2019-07-06 16:00:00 | 2.5313 | 5.3051 | 7.7743 | 84.1555 | 4.962 | 22.6076 | 4.4507 | 205.537 | 21.98 | 959.122 | 65.4397 | 24.5797
2019-07-06 16:15:00 | 0 | 12.5571 | 8.03 | 74.5916 | 6.7517 | 19.444 | 1.007 | 203.541 | 21.86 | 959.16 | 65.6442 | 23.5583
2019-07-06 16:30:00 | 0 | 5.2078 | 8.5413 | 65.0521 | 5.4733 | 30.6869 | 1.6383 | 193.831 | 22.38 | 959.152 | 64.2809 | 20.2551
2019-07-06 16:45:00 | 2.7867 | 18.3975 | 7.5187 | 71.501 | 6.7517 | 22.1939 | 4.7063 | 200.791 | 22.74 | 958.98 | 65.7805 | 13.9333
2019-07-06 17:00:00 | 0 | 16.1587 | 4.4507 | 72.5474 | 1.3827 | 324.196 | 3.9393 | 190.911 | 22.73 | 959.424 | 63.0539 | 15.6181
2019-07-06 17:15:00 | 0 | 82.4712 | 4.195 | 22.8295 | 2.661 | 335.433 | 4.7063 | 161.73 | 22.87 | 959.573 | 63.121 | 13.5305
2019-07-06 17:30:00 | 0 | 5.6458 | 3.6837 | 56.6563 | 3.9393 | 0.073006 | 0.75133 | 191.641 | 22.24 | 959.128 | 65.0987 | 8.9157
2019-07-06 17:45:00 | 0 | 347.314 | 2.4053 | 66.5366 | 2.4053 | 16.7427 | 0 | 152.631 | 22.44 | 959.276 | 65.3033 | 10.3345
2019-07-06 18:00:00 | 0 | 22.9239 | 4.7063 | 67.6073 | 2.1497 | 28.0343 | 0 | 179.79 | 22.6 | 959.721 | 64.758 | 12.6918
2019-07-06 18:15:00 | 0 | 71.3756 | 2.661 | 81.4785 | 3.9393 | 349.286 | 1.774 | 187.601 | 22 | 959.154 | 68.3026 | 15.9691
2019-07-06 18:30:00 | 0 | 347.785 | 3.9393 | 41.3351 | 2.9167 | 349.537 | 0.37567 | 171.69 | 21.58 | 959.554 | 69.5751 | 7.4377
2019-07-06 18:45:00 | 0 | 355.503 | 3.9393 | 67.9143 | 1.894 | 23.6093 | 0.63133 | 157.915 | 21.33 | 959.568 | 70.496 | 11.151
2019-07-06 19:00:00 | 1.882 | 341.711 | 4.195 | 48.4541 | 4.7063 | 356.828 | 1.774 | 180.605 | 21.03 | 958.975 | 71.4623 | 9.0635
2019-07-06 19:15:00 | 0 | 10.7359 | 4.195 | 40.3745 | 2.9167 | 337.002 | 0.37567 | 175.086 | 20.96 | 959.123 | 72.2835 | 8.258
2019-07-06 19:30:00 | 0 | 356.89 | 4.4507 | 49.4156 | 3.9393 | 23.4713 | 0 | 175.207 | 20.81 | 959.123 | 74.0323 | 9.5364
2019-07-06 19:45:00 | 0 | 356.89 | 2.4053 | 42.8661 | 3.1723 | 356.769 | 0 | 165.395 | 20.54 | 959.454 | 76.2489 | 8.5462
2019-07-06 20:00:00 | 1.882 | 325.107 | 5.4733 | 30.0614 | 4.7063 | 354.52 | 1.2627 | 146.215 | 20.24 | 959.387 | 85.2894 | 10.268
2019-07-06 20:15:00 | 1.882 | 321.785 | 2.9167 | 68.0562 | 1.007 | 356.998 | 0.37567 | 157.849 | 19.82 | 959.416 | 88.8467 | 13.0761
2019-07-06 20:30:00 | 0 | 345.701 | 4.7063 | 79.4291 | 2.9167 | 31.4871 | 0.63133 | 155.293 | 19.5 | 959.416 | 89.5634 | 9.7581
2019-07-06 20:45:00 | 0 | 13.3936 | 2.4053 | 65.1345 | 1.894 | 17.9474 | 0 | 176.576 | 19.35 | 959.564 | 89.427 | 5.8933
2019-07-06 21:00:00 | 0 | 347.941 | 3.6837 | 46.3348 | 1.894 | 7.3543 | 0 | 173.97 | 19.28 | 959.713 | 89.2906 | 3.1554
2019-07-06 21:15:00 | 0.99933 | 340.018 | 4.4507 | 28.2192 | 3.9393 | 353.559 | 1.774 | 161.486 | 19.21 | 959.713 | 90.318 | 4.0643
2019-07-06 21:30:00 | 0 | 6.9169 | 3.1723 | 52.8709 | 2.9167 | 3.4097 | 0 | 173.385 | 19.06 | 959.861 | 91.3834 | 3.4103
2019-07-06 21:45:00 | 0 | 341.446 | 2.9167 | 23.037 | 2.661 | 10.6435 | 0 | 160.603 | 18.95 | 960.039 | 92.7163 | 7.0128
2019-07-06 22:00:00 | 0 | 350.826 | 4.195 | 44.7386 | 3.428 | 357.012 | 0 | 160.824 | 18.88 | 960.037 | 93.6381 | 6.4475
2019-07-06 22:15:00 | 0 | 0.097424 | 3.9393 | 47.6613 | 3.428 | 26.2803 | 0.75133 | 174.146 | 18.73 | 960.122 | 94.7638 | 8.5794
2019-07-06 22:30:00 | 0 | 351.142 | 5.2177 | 34.3629 | 4.4507 | 11.6909 | 3.9393 | 177.751 | 18.68 | 960.064 | 95.7189 | 7.2567
2019-07-06 22:45:00 | 0 | 16.2212 | 3.9393 | 57.7935 | 3.6837 | 8.7926 | 4.7063 | 196.822 | 18.59 | 959.946 | 96.4012 | 6.4549
2019-07-06 23:00:00 | 0 | 8.3785 | 5.9847 | 67.9256 | 4.4507 | 19.3388 | 4.7063 | 193.875 | 18.42 | 959.765 | 96.6058 | 5.3132
2019-07-06 23:15:00 | 0 | 8.5734 | 4.7063 | 67.2924 | 4.4507 | 11.3012 | 2.0297 | 197.382 | 18.33 | 959.832 | 96.7764 | 2.9078
2019-07-06 23:30:00 | 0 | 19.631 | 4.195 | 70.3612 | 3.9393 | 14.3701 | 0 | 196.481 | 18.31 | 959.674 | 96.9469 | 2.6492
2019-07-06 23:45:00 | 0 | 23.9177 | 4.195 | 76.5233 | 3.9393 | 15.3444 | 0 | 204.859 | 18.22 | 960.151 | 97.2881 | 1.4816