## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-07 00:00:00 | 0 | 4.3841 | 4.4507 | 61.3982 | 4.4507 | 0.53583 | 0 | 187.981 | 18.22 | 960.421 | 96.9469 | 1.7403
2019-07-07 00:15:00 | 0 | 3.9944 | 4.4507 | 56.8436 | 3.6837 | 0.048712 | 0 | 190.757 | 18.24 | 960.005 | 97.0152 | 1.4484
2019-07-07 00:30:00 | 0 | 352.141 | 4.195 | 42.7414 | 4.4507 | 356.963 | 4.962 | 176.046 | 18.2 | 960.153 | 97.3904 | 0.80548
2019-07-07 00:45:00 | 0 | 318.529 | 2.1497 | 11.9552 | 2.661 | 351.897 | 0 | 139.439 | 18.13 | 960.302 | 97.7656 | 3.6025
2019-07-07 01:00:00 | 0 | 331 | 3.428 | 20.6991 | 2.4053 | 0.048712 | 0 | 162.163 | 18.16 | 960.297 | 97.9703 | 2.9448
2019-07-07 01:15:00 | 0 | 349.949 | 1.6383 | 45.7128 | 1.3827 | 340.231 | 0 | 149.4 | 18.18 | 960.589 | 98.175 | 7.2271
2019-07-07 01:30:00 | 0 | 303.429 | 4.7063 | 14.6417 | 3.9393 | 344.542 | 0 | 128.259 | 18.2 | 960.45 | 98.4138 | 4.5668
2019-07-07 01:45:00 | 0 | 298.923 | 3.9393 | 19.3667 | 2.661 | 344.931 | 0 | 121.513 | 18.12 | 960.599 | 98.5843 | 6.7061
2019-07-07 02:00:00 | 0 | 321.842 | 4.195 | 19.9197 | 3.428 | 343.689 | 0 | 141.631 | 18.08 | 960.739 | 98.7208 | 4.5521
2019-07-07 02:15:00 | 0 | 321.939 | 2.9167 | 2.6025 | 2.1497 | 321.647 | 0 | 143.555 | 18.02 | 961.034 | 98.9255 | 4.7294
2019-07-07 02:30:00 | 0 | 327.103 | 3.9393 | 3.4306 | 1.3827 | 0.53583 | 0 | 150.253 | 18 | 960.747 | 99.096 | 8.8787
2019-07-07 02:45:00 | 0 | 325.788 | 3.6837 | 16.4368 | 3.6837 | 353.554 | 3.6837 | 152.883 | 17.93 | 960.881 | 99.2666 | 10.1313
2019-07-07 03:00:00 | 0 | 353.797 | 2.4053 | 57.1115 | 2.661 | 324.935 | 0 | 156.512 | 17.86 | 961.044 | 99.3007 | 7.1828
2019-07-07 03:15:00 | 0 | 328.053 | 3.9393 | 15.5599 | 3.428 | 320.332 | 0.63133 | 151.982 | 17.86 | 960.896 | 99.403 | 3.6838
2019-07-07 03:30:00 | 0 | 4.7738 | 3.6837 | 65.7336 | 3.1723 | 17.9992 | 0.75133 | 134.47 | 17.77 | 960.747 | 99.403 | 5.1211
2019-07-07 03:45:00 | 0 | 15.3687 | 3.1723 | 20.5773 | 2.9167 | 316.386 | 0 | 158.217 | 17.65 | 960.896 | 99.5054 | 4.8735
2019-07-07 04:00:00 | 0 | 320.283 | 3.9393 | 14.8293 | 3.6837 | 332.948 | 0 | 136.321 | 17.78 | 960.896 | 99.6077 | 5.679
2019-07-07 04:15:00 | 0 | 302.552 | 2.661 | 19.2206 | 1.894 | 340.012 | 0 | 131.474 | 17.65 | 960.896 | 99.6077 | 5.158
2019-07-07 04:30:00 | 0 | 334.848 | 3.428 | 4.2587 | 2.661 | 316.922 | 0 | 127.894 | 17.66 | 961.044 | 99.6759 | 6.1076
2019-07-07 04:45:00 | 0 | 323.401 | 4.4507 | 13.855 | 3.428 | 327.03 | 0 | 135.688 | 17.73 | 961.193 | 99.6418 | 5.2134
2019-07-07 05:00:00 | 0 | 342.301 | 3.1723 | 29.7109 | 3.1723 | 349.389 | 0 | 157.316 | 17.66 | 961.341 | 99.6759 | 2.5347
2019-07-07 05:15:00 | 5.2013 | 0.58455 | 0 | 45.8103 | 0 | 340.012 | 0.37567 | 190.635 | 17.58 | 961.49 | 99.71 | 1.9989
2019-07-07 05:30:00 | 0 | 343.275 | 1.127 | 62.4211 | 1.6383 | 32.1014 | 0.37567 | 154.077 | 17.58 | 961.49 | 99.7783 | 3.2108
2019-07-07 05:45:00 | 0 | 12.9087 | 3.1723 | 71.92 | 1.127 | 8.2811 | 0 | 190.319 | 17.64 | 961.341 | 99.8124 | 3.1517
2019-07-07 06:00:00 | 0 | 27.7416 | 3.428 | 75.0376 | 3.428 | 30.3964 | 1.6383 | 186.617 | 17.63 | 961.49 | 99.8124 | 3.3771
2019-07-07 06:15:00 | 0 | 356.671 | 3.6837 | 42.4978 | 2.9167 | 22.8948 | 0.75133 | 182.988 | 17.71 | 961.638 | 99.8124 | 3.2071
2019-07-07 06:30:00 | 0 | 332.997 | 3.1723 | 31.3427 | 2.4053 | 7.2094 | 3.6837 | 160.458 | 17.73 | 961.786 | 99.7783 | 3.7983
2019-07-07 06:45:00 | 0 | 354.089 | 4.195 | 15.633 | 3.9393 | 309.274 | 0 | 231.7 | 17.87 | 962.038 | 99.8124 | 4.0052
2019-07-07 07:00:00 | 0 | 35.2433 | 4.962 | 78.9102 | 0 | 4.3841 | 3.5637 | 193.753 | 17.94 | 961.823 | 99.8806 | 5.3021
2019-07-07 07:15:00 | 0 | 13.3207 | 7.263 | 76.1917 | 0.75133 | 0.99845 | 5.9847 | 201.783 | 18.16 | 962.68 | 99.2511 | 6.3588
2019-07-07 07:30:00 | 0 | 19.6495 | 4.7063 | 76.9815 | 2.9167 | 340.884 | 5.4733 | 139.957 | 18.3 | 962.384 | 98.4867 | 9.3812
2019-07-07 07:45:00 | 0 | 348.118 | 3.1723 | 37.8046 | 5.4733 | 24.909 | 4.4507 | 163.382 | 18.18 | 962.49 | 95.5545 | 14.1586
2019-07-07 08:00:00 | 0 | 35.6209 | 6.496 | 79.388 | 4.4507 | 22.1322 | 0 | 225.169 | 18.89 | 962.498 | 91.1169 | 17.0037
2019-07-07 08:15:00 | 0 | 11.5896 | 4.4507 | 71.5235 | 1.894 | 2.2643 | 5.729 | 168.17 | 18.92 | 962.543 | 91.4919 | 15.6477
2019-07-07 08:30:00 | 3.042 | 10.2261 | 5.9847 | 78.3896 | 6.496 | 30.0452 | 4.962 | 175.329 | 18.94 | 962.881 | 89.3095 | 16.5212
2019-07-07 08:45:00 | 0 | 20.0383 | 5.729 | 78.7791 | 3.1723 | 29.9235 | 0 | 191.277 | 19.15 | 962.745 | 88.5934 | 14.8459
2019-07-07 09:00:00 | 0 | 0.097394 | 3.428 | 48.2734 | 1.894 | 317.432 | 5.9847 | 178.572 | 18.87 | 963.356 | 88.3915 | 11.9417
2019-07-07 09:15:00 | 0 | 20.0156 | 3.6837 | 50.5902 | 1.6383 | 338 | 0 | 232.955 | 19.07 | 963.712 | 88.3279 | 8.136
2019-07-07 09:30:00 | 0 | 97.43 | 2.1497 | 102.025 | 2.9167 | 41.4705 | 0.37567 | 111.189 | 19.24 | 963.57 | 86.3896 | 7.3971
2019-07-07 09:45:00 | 0 | 24.1325 | 4.195 | 86.2706 | 3.9393 | 45.7811 | 3.0523 | 208.158 | 19.33 | 963.717 | 86.5951 | 8.0954
2019-07-07 10:00:00 | 0 | 67.4773 | 5.4733 | 62.3802 | 6.2403 | 24.9844 | 4.195 | 184.85 | 19.24 | 963.57 | 88.6058 | 13.2386
2019-07-07 10:15:00 | 0 | 31.727 | 5.9847 | 86.0164 | 6.496 | 23.1804 | 5.2177 | 160.218 | 19.45 | 963.867 | 85.8701 | 16.6453
2019-07-07 10:30:00 | 0.372 | 49.3046 | 5.4733 | 90.4423 | 7.263 | 32.3341 | 2.1497 | 182.439 | 19.73 | 964.343 | 86.1726 | 14.2104
2019-07-07 10:45:00 | 0 | 354.208 | 5.4733 | 81.0911 | 4.962 | 30.264 | 1.6383 | 159.866 | 20.01 | 964.318 | 81.8064 | 12.8137
2019-07-07 11:00:00 | 0 | 3.7489 | 5.4733 | 63.3529 | 4.962 | 18.9881 | 1.2627 | 194.677 | 20.63 | 964.464 | 79.3046 | 18.1269
2019-07-07 11:15:00 | 0 | 341.776 | 5.4733 | 67.2574 | 4.7063 | 20.2505 | 5.9847 | 153.875 | 22.28 | 964.908 | 76.9049 | 16.3829
2019-07-07 11:30:00 | 0 | 13.5551 | 5.2177 | 73.3283 | 6.2403 | 38.4751 | 0.37567 | 179.721 | 21.35 | 964.638 | 77.2342 | 17.3621
2019-07-07 11:45:00 | 0 | 344.784 | 7.263 | 38.8673 | 4.7063 | 5.9135 | 1.2627 | 163.631 | 21.7 | 964.296 | 74.6762 | 20.7133
2019-07-07 12:00:00 | 0 | 5.3053 | 6.496 | 68.9255 | 6.7517 | 22.9736 | 4.962 | 181.501 | 21.72 | 964.375 | 72.7027 | 17.1847
2019-07-07 12:15:00 | 4.574 | 333.686 | 4.4507 | 45.3742 | 3.9393 | 51.8418 | 4.962 | 174.558 | 22.65 | 964.463 | 71.244 | 15.0528
2019-07-07 12:30:00 | 0 | 348.313 | 2.9167 | 57.6598 | 2.4053 | 334.806 | 3.1723 | 196.157 | 23.23 | 964.601 | 68.7848 | 16.4716
2019-07-07 12:45:00 | 0 | 355.321 | 7.263 | 74.324 | 6.496 | 12.4597 | 4.962 | 175.726 | 23.06 | 964.623 | 65.2693 | 16.2388
2019-07-07 13:00:00 | 0.88267 | 15.4773 | 4.962 | 77.1468 | 5.2177 | 31.928 | 4.962 | 178.524 | 23.66 | 964.494 | 64.3149 | 16.9335
2019-07-07 13:15:00 | 0 | 356.903 | 4.962 | 67.4613 | 7.263 | 352.912 | 3.1723 | 180.423 | 23.47 | 964.466 | 63.6674 | 18.1897
2019-07-07 13:30:00 | 0 | 17.4485 | 5.729 | 85.6399 | 1.894 | 4.9158 | 0 | 201.351 | 23.67 | 964.763 | 65.8487 | 15.4925
2019-07-07 13:45:00 | 0 | 22.7536 | 5.9847 | 72.6205 | 2.4053 | 324.95 | 4.7063 | 196.654 | 23.61 | 965.059 | 63.8719 | 15.2893
2019-07-07 14:00:00 | 0 | 82.9593 | 5.2177 | 55.0746 | 5.4733 | 7.0816 | 4.195 | 181.323 | 24.11 | 965.208 | 64.5876 | 16.0689
2019-07-07 14:15:00 | 0 | 2.6039 | 7.0073 | 76.2708 | 5.729 | 23.1673 | 3.428 | 156.549 | 23.63 | 964.614 | 66.3258 | 23.647
2019-07-07 14:30:00 | 14.3933 | 345.392 | 7.263 | 65.7822 | 4.7063 | 29.6892 | 9.8197 | 160.93 | 23.21 | 964.216 | 68.0982 | 28.6868
2019-07-07 14:45:00 | 0.372 | 7.3741 | 5.4733 | 77.2021 | 7.7743 | 39.8884 | 0.63133 | 189.853 | 23.3 | 964.589 | 67.6937 | 28.5981
2019-07-07 15:00:00 | 5.9673 | 4.9163 | 6.496 | 68.9072 | 3.9393 | 11.0495 | 4.4507 | 174.383 | 23.45 | 965.053 | 67.9013 | 25.2654
2019-07-07 15:15:00 | 6.106 | 343.093 | 6.2403 | 51.4809 | 7.0073 | 18.3752 | 2.9167 | 166.618 | 23.45 | 965.031 | 67.7648 | 25.4168
2019-07-07 15:30:00 | 8.01 | 348.202 | 8.797 | 43.4201 | 5.2177 | 11.4867 | 6.2403 | 164.829 | 23.48 | 965.201 | 66.7371 | 22.8009
2019-07-07 15:45:00 | 0 | 2.3606 | 6.496 | 54.0294 | 7.0073 | 14.0174 | 1.894 | 174.171 | 23.61 | 965.046 | 66.8041 | 22.3916
2019-07-07 16:00:00 | 0 | 2.0685 | 7.7743 | 54.1986 | 5.4733 | 27.3773 | 3.6837 | 195.754 | 23.61 | 964.967 | 66.4622 | 22.8896
2019-07-07 16:15:00 | 6.2227 | 23.7532 | 6.496 | 77.2274 | 4.7063 | 16.7441 | 4.4507 | 174.596 | 23.62 | 965.176 | 68.0012 | 27.279
2019-07-07 16:30:00 | 2.1373 | 11.123 | 6.496 | 57.9826 | 7.0073 | 8.6647 | 4.195 | 193.618 | 23.67 | 964.755 | 67.6314 | 28.4207
2019-07-07 16:45:00 | 0 | 10.0279 | 5.729 | 68.4985 | 6.496 | 20.6399 | 2.9167 | 187.852 | 23.37 | 964.612 | 67.4962 | 28.3025
2019-07-07 17:00:00 | 0 | 14.7254 | 8.03 | 68.0117 | 7.5187 | 13.6788 | 0 | 194.838 | 23.44 | 965.057 | 66.9848 | 24.2677
2019-07-07 17:15:00 | 2.5313 | 3.9673 | 8.03 | 69.3017 | 4.7063 | 20.1044 | 1.2627 | 196.152 | 23.5 | 965.057 | 65.9962 | 24.8996
2019-07-07 17:30:00 | 1.7653 | 349.954 | 5.729 | 71.2002 | 5.2177 | 34.1727 | 1.774 | 162.612 | 23.4 | 965.057 | 69.2006 | 22.2799
2019-07-07 17:45:00 | 7.4993 | 12.1698 | 8.5413 | 65.2613 | 8.03 | 14.1656 | 5.729 | 190.481 | 23.23 | 965.057 | 68.8938 | 19.8524
2019-07-07 18:00:00 | 0.372 | 4.6006 | 6.7517 | 65.586 | 5.2177 | 18.8406 | 3.428 | 188.017 | 23.12 | 965.057 | 69.6505 | 20.5323
2019-07-07 18:15:00 | 7.4993 | 16.0662 | 8.5413 | 72.8432 | 5.729 | 23.7829 | 5.9847 | 202.58 | 23.14 | 965.205 | 68.562 | 19.1836
2019-07-07 18:30:00 | 10.8187 | 1.9475 | 6.7517 | 68.3416 | 5.2177 | 48.8325 | 7.5187 | 182.453 | 23.16 | 965.057 | 69.6885 | 22.8341
2019-07-07 18:45:00 | 13.1167 | 21.3251 | 8.797 | 71.2157 | 3.9393 | 19.8401 | 5.4733 | 205.582 | 22.87 | 965.353 | 72.2468 | 20.8722
2019-07-07 19:00:00 | 0 | 10.4921 | 7.0073 | 60.6262 | 5.4733 | 8.569 | 3.428 | 186.497 | 22.72 | 965.501 | 74.1902 | 15.4112
2019-07-07 19:15:00 | 7.7547 | 2.9699 | 6.496 | 60.0906 | 4.4507 | 2.8482 | 2.661 | 192.583 | 22.53 | 965.65 | 72.3491 | 21.1419
2019-07-07 19:30:00 | 0 | 356.903 | 7.0073 | 65.0081 | 4.4507 | 16.7971 | 0 | 177.027 | 22.53 | 965.353 | 72.2468 | 22.4462
2019-07-07 19:45:00 | 7.4993 | 1.8501 | 7.7743 | 57.3155 | 7.0073 | 3.5785 | 6.496 | 191.706 | 22.24 | 965.353 | 72.656 | 19.3758
2019-07-07 20:00:00 | 4.946 | 6.1836 | 7.5187 | 54.227 | 7.0073 | 16.3596 | 4.962 | 205.469 | 22.12 | 965.501 | 73.3069 | 20.9054
2019-07-07 20:15:00 | 9.542 | 17.8709 | 8.2857 | 73.2255 | 2.661 | 7.572 | 6.7517 | 206.124 | 21.98 | 965.65 | 74.0647 | 17.0813
2019-07-07 20:30:00 | 2.9033 | 14.8519 | 7.7743 | 68.795 | 6.2403 | 24.177 | 4.7063 | 205.443 | 21.94 | 966.095 | 73.997 | 17.5838
2019-07-07 20:45:00 | 10.5633 | 26.2956 | 8.5413 | 79.3148 | 6.496 | 28.1948 | 5.729 | 207.711 | 21.99 | 966.243 | 73.5209 | 17.5653
2019-07-07 21:00:00 | 0 | 19.1617 | 7.5187 | 70.9635 | 5.729 | 7.8156 | 0.75133 | 211.802 | 21.99 | 966.243 | 73.6573 | 16.6416
2019-07-07 21:15:00 | 0 | 25.7843 | 5.9847 | 81.0678 | 3.1723 | 28.7791 | 0 | 207.638 | 21.93 | 966.688 | 74.6803 | 14.288
2019-07-07 21:30:00 | 0 | 22.0591 | 6.2403 | 74.2017 | 2.1497 | 13.6835 | 5.2177 | 201.697 | 21.89 | 966.54 | 75.2941 | 11.1437
2019-07-07 21:45:00 | 0 | 14.9009 | 5.729 | 68.1148 | 3.9393 | 7.9374 | 4.962 | 203.426 | 21.71 | 966.69 | 77.9198 | 11.0882
2019-07-07 22:00:00 | 0 | 15.7774 | 6.2403 | 71.2556 | 3.428 | 18.9426 | 1.127 | 196.998 | 21.45 | 966.54 | 79.659 | 6.7911
2019-07-07 22:15:00 | 0 | 26.6852 | 4.4507 | 84.3304 | 0.37567 | 24.0313 | 0.37567 | 210.682 | 21.19 | 966.732 | 81.0912 | 3.4916
2019-07-07 22:30:00 | 0 | 26.2956 | 3.9393 | 83.4052 | 3.1723 | 21.9374 | 1.2627 | 209.562 | 21.28 | 966.605 | 79.9318 | 3.4214
2019-07-07 22:45:00 | 0 | 16.5565 | 5.2177 | 68.5287 | 4.195 | 31.7496 | 0.37567 | 203.183 | 21.32 | 966.568 | 80 | 2.797
2019-07-07 23:00:00 | 0 | 22.3027 | 4.7063 | 77.3917 | 4.195 | 16.3375 | 0 | 203.865 | 21.38 | 966.88 | 80.4778 | 2.5457
2019-07-07 23:15:00 | 0 | 33.6013 | 4.7063 | 87.8649 | 3.9393 | 26.6862 | 0.37567 | 216.144 | 21.19 | 966.748 | 81.1625 | 1.9065
2019-07-07 23:30:00 | 0 | 43.7292 | 3.428 | 95.4101 | 1.894 | 33.503 | 2.2853 | 225.245 | 20.91 | 966.782 | 82.5927 | 0.33254
2019-07-07 23:45:00 | 0 | 22.353 | 3.428 | 77.1309 | 2.9167 | 18.5545 | 5.2177 | 209.018 | 21.1 | 966.527 | 80.7563 | 0.28081