## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-08 00:00:00 | 0 | 32.3375 | 2.4053 | 80.6165 | 2.1497 | 12.3701 | 0 | 217.743 | 21.06 | 966.538 | 81.7824 | -0.41013
2019-07-08 00:15:00 | 4.4353 | 32.6302 | 2.661 | 84.4167 | 2.1497 | 22.0132 | 0 | 216.358 | 20.97 | 966.39 | 81.9882 | -0.25864
2019-07-08 00:30:00 | 5.4567 | 27.9553 | 2.661 | 80.4247 | 2.1497 | 20.5525 | 0 | 217.262 | 20.84 | 966.39 | 82.9445 | -0.099761
2019-07-08 00:45:00 | 4.18 | 22.7934 | 3.1723 | 79.356 | 2.9167 | 22.8909 | 0 | 208.916 | 20.92 | 966.39 | 82.1623 | 0.13671
2019-07-08 01:00:00 | 0 | 20.4554 | 3.6837 | 79.1845 | 2.9167 | 22.0139 | 0 | 208.28 | 20.75 | 966.241 | 83.7985 | 0.22169
2019-07-08 01:15:00 | 0 | 24.6442 | 3.6837 | 79.4535 | 2.9167 | 23.4266 | 0 | 218.315 | 20.84 | 966.241 | 83.2878 | 0.30298
2019-07-08 01:30:00 | 0 | 14.7085 | 3.9393 | 78.9658 | 3.6837 | 13.0526 | 0 | 205.943 | 20.63 | 966.241 | 84.788 | 0.5764
2019-07-08 01:45:00 | 0 | 21.1132 | 3.9393 | 79.1125 | 2.9167 | 18.2396 | 0 | 204.727 | 20.36 | 966.093 | 86.0846 | 0.092371
2019-07-08 02:00:00 | 0 | 29.0276 | 2.9167 | 81.3042 | 2.4053 | 39.7911 | 0 | 206.578 | 20.28 | 966.241 | 86.3574 | -0.25125
2019-07-08 02:15:00 | 0 | 55.279 | 2.4053 | 94.7465 | 1.6383 | 49.678 | 0 | 241.352 | 20.37 | 966.686 | 85.8799 | -0.24016
2019-07-08 02:30:00 | 0 | 38.6709 | 3.9393 | 93.6994 | 3.1723 | 24.6442 | 0 | 225.134 | 20.51 | 966.39 | 84.8226 | 0.55423
2019-07-08 02:45:00 | 0 | 32.6316 | 3.6837 | 87.0513 | 1.3827 | 35.4565 | 0 | 214.103 | 20.18 | 966.241 | 87.517 | 0.99391
2019-07-08 03:00:00 | 0 | 26.0079 | 3.428 | 78.6742 | 1.6383 | 21.8194 | 0 | 210.815 | 19.96 | 966.39 | 88.1992 | 0.26972
2019-07-08 03:15:00 | 0 | 46.3662 | 1.894 | 75.6545 | 1.3827 | 67.6985 | 0 | 237.675 | 20.08 | 966.686 | 85.4706 | -0.13671
2019-07-08 03:30:00 | 0 | 38.2813 | 2.4053 | 77.6027 | 1.894 | 31.6576 | 0 | 223.624 | 20.65 | 966.686 | 84.0723 | -0.22169
2019-07-08 03:45:00 | 3.414 | 38.3787 | 2.1497 | 77.6027 | 1.894 | 22.3064 | 0 | 223.381 | 20.52 | 966.686 | 84.7885 | -0.13671
2019-07-08 04:00:00 | 0 | 64.6788 | 2.1497 | 73.9256 | 2.1497 | 47.9247 | 0 | 255.257 | 19.92 | 966.835 | 85.1978 | -0.25125
2019-07-08 04:15:00 | 0 | 49.3371 | 2.1497 | 73.9256 | 2.4053 | 46.9993 | 0 | 237.432 | 20.74 | 966.835 | 80.7299 | -0.24016
2019-07-08 04:30:00 | 0 | 37.3072 | 2.4053 | 73.9012 | 2.661 | 24.6685 | 0 | 262.393 | 20.46 | 966.835 | 84.2428 | -0.26972
2019-07-08 04:45:00 | 0 | 40.7652 | 2.4053 | 73.609 | 2.1497 | 27.2742 | 23.1143 | 218.559 | 20.36 | 966.835 | 85.3342 | -0.24016
2019-07-08 05:00:00 | 0 | 75.7346 | 2.1497 | 73.8525 | 1.6383 | 37.9404 | 1.127 | 261.857 | 20.08 | 967.132 | 87.176 | -0.20691
2019-07-08 05:15:00 | 0 | 59.6136 | 2.1497 | 73.9012 | 2.1497 | 24.6442 | 6.496 | 234.412 | 20.22 | 967.28 | 86.9372 | -0.27342
2019-07-08 05:30:00 | 0 | 44.1745 | 0.37567 | 73.9012 | 0.37567 | 34.1902 | 0 | 234.436 | 20.24 | 967.28 | 82.3329 | -0.24016
2019-07-08 05:45:00 | 0 | 44.173 | 1.127 | 73.8981 | 0 | 80.0179 | 0 | 234.453 | 21.69 | 967.725 | 77.6236 | -0.25864
2019-07-08 06:00:00 | 0 | 44.2158 | 0.37567 | 73.8855 | 0 | 80.0559 | 0 | 234.446 | 21.57 | 968.047 | 77.4085 | -0.24016
2019-07-08 06:15:00 | 0 | 85.8865 | 2.1497 | 189.214 | 1.894 | 154.416 | 0 | 334.539 | 21.16 | 968.172 | 80.4997 | -0.28081
2019-07-08 06:30:00 | 0 | 135.351 | 2.661 | 182.052 | 1.894 | 126.782 | 0 | 320.363 | 20.85 | 968.468 | 80.8046 | -0.25125
2019-07-08 06:45:00 | 0 | 146.038 | 1.894 | 182.433 | 2.661 | 145.551 | 0 | 305.025 | 20.94 | 968.468 | 81.5754 | -0.18474
2019-07-08 07:00:00 | 0 | 135.23 | 2.9167 | 192.241 | 2.1497 | 145.161 | 0 | 320.454 | 21.05 | 968.765 | 81.3363 | -0.15518
2019-07-08 07:15:00 | 0 | 124.606 | 1.894 | 188.813 | 2.661 | 153.47 | 0 | 296.67 | 21.31 | 968.876 | 79.2832 | 0.41382
2019-07-08 07:30:00 | 0 | 152.096 | 2.9167 | 196.269 | 3.1723 | 142.119 | 0 | 303.681 | 21.83 | 969.069 | 76.9598 | 0.33993
2019-07-08 07:45:00 | 0 | 148.055 | 2.4053 | 199.844 | 2.9167 | 147.228 | 0 | 324.68 | 21.88 | 968.766 | 72.5966 | 0.29928
2019-07-08 08:00:00 | 0 | 161.287 | 2.4053 | 207.573 | 2.9167 | 167.468 | 0 | 336.542 | 22.41 | 969.063 | 70.2079 | 0.22169
2019-07-08 08:15:00 | 0 | 160.612 | 1.894 | 197.07 | 2.1497 | 162.17 | 0 | 336.605 | 22.77 | 969.008 | 69.2906 | -0.11824
2019-07-08 08:30:00 | 0 | 136.722 | 3.428 | 195.714 | 2.9167 | 175.257 | 0 | 319.423 | 22.93 | 969.074 | 66.2369 | -0.18474
2019-07-08 08:45:00 | 0 | 142.946 | 2.9167 | 195.83 | 2.4053 | 151.023 | 0 | 320.339 | 23.27 | 969.36 | 62.4532 | -0.26603
2019-07-08 09:00:00 | 0 | 298.712 | 2.9167 | 33.7142 | 1.3827 | 284.067 | 0 | 173.598 | 24.05 | 969.509 | 63.8501 | -0.25864
2019-07-08 09:15:00 | 0 | 18.6832 | 2.4053 | 61.0579 | 0 | 314.257 | 0 | 205.029 | 23.67 | 969.509 | 73.6627 | -0.22169
2019-07-08 09:30:00 | 0 | 33.2817 | 1.6383 | 8.3186 | 0 | 337.634 | 0 | 192.805 | 23.62 | 969.392 | 70.0899 | -0.18105
2019-07-08 09:45:00 | 0 | 319.375 | 3.6837 | 6.8579 | 3.428 | 327.574 | 0 | 140.712 | 23.18 | 969.064 | 71.2116 | -0.16627
2019-07-08 10:00:00 | 0 | 284.101 | 2.661 | 319.422 | 2.1497 | 315.751 | 0 | 210.558 | 23.88 | 969.511 | 66.5779 | -0.10715
2019-07-08 10:15:00 | 0 | 285.77 | 2.1497 | 336.149 | 1.6383 | 284.603 | 0 | 120.273 | 24.51 | 969.36 | 65.0767 | -0.27342
2019-07-08 10:30:00 | 0 | 308.565 | 3.9393 | 5.3064 | 1.894 | 299.321 | 0 | 133.215 | 23.67 | 969.212 | 66.7462 | -0.27711
2019-07-08 10:45:00 | 0 | 276.141 | 4.195 | 18.1268 | 2.9167 | 284.144 | 0 | 112.855 | 23.83 | 969.509 | 66.9856 | -0.23278
2019-07-08 11:00:00 | 0 | 280.284 | 2.661 | 314.151 | 3.6837 | 250.212 | 0 | 106.153 | 24.15 | 969.513 | 65.6984 | -0.11824
2019-07-08 11:15:00 | 0 | 323.656 | 4.195 | 6.6895 | 3.1723 | 324.873 | 0 | 152.692 | 24.93 | 969.537 | 62.1869 | -0.15518
2019-07-08 11:30:00 | 0 | 313.528 | 4.4507 | 0.78159 | 3.6837 | 298.25 | 0 | 123.606 | 24.61 | 969.212 | 62.4532 | 0.31776
2019-07-08 11:45:00 | 0 | 356.878 | 2.9167 | 63.5879 | 3.6837 | 350.067 | 0 | 210.235 | 25.47 | 969.064 | 58.7394 | 0.76114
2019-07-08 12:00:00 | 0 | 304.089 | 4.7063 | 18.3944 | 2.9167 | 267.403 | 0 | 127.62 | 25.87 | 969.064 | 59.1482 | -0.15149
2019-07-08 12:15:00 | 0 | 296.985 | 2.9167 | 5.5984 | 2.661 | 323.721 | 0 | 124.117 | 25.5 | 968.768 | 57.8535 | 0.055423
2019-07-08 12:30:00 | 0 | 340.044 | 2.4053 | 4.8623 | 0.37567 | 21.6025 | 0 | 162.31 | 25.52 | 968.619 | 60.1704 | 1.489
2019-07-08 12:45:00 | 0 | 351.283 | 5.729 | 25.4917 | 4.7063 | 313.576 | 0 | 158.029 | 26.48 | 968.768 | 54.6508 | 3.1886
2019-07-08 13:00:00 | 0 | 345.08 | 3.1723 | 42.8369 | 2.9167 | 300.853 | 2.4053 | 152.969 | 26.19 | 968.471 | 55.4685 | 5.5164
2019-07-08 13:15:00 | 0 | 16.2505 | 6.2403 | 59.0874 | 1.894 | 34.6904 | 4.7063 | 197.998 | 26.57 | 968.175 | 58.1602 | 6.2739
2019-07-08 13:30:00 | 0 | 82.0553 | 6.7517 | 73.2214 | 5.2177 | 2.1894 | 1.894 | 161.799 | 25.36 | 967.878 | 58.8075 | 7.7333
2019-07-08 13:45:00 | 0 | 82.793 | 4.962 | 91.818 | 3.1723 | 354.577 | 0 | 190.524 | 25.18 | 967.793 | 59.222 | 7.434
2019-07-08 14:00:00 | 0 | 352.305 | 5.9847 | 46.7963 | 5.2177 | 3.9664 | 0.37567 | 171.188 | 25.41 | 967.702 | 58.5511 | 10.9035
2019-07-08 14:15:00 | 0 | 24.4565 | 7.5187 | 75.8304 | 5.2177 | 12.8001 | 3.9393 | 210.058 | 25.39 | 967.431 | 57.0539 | 18.0493
2019-07-08 14:30:00 | 0 | 23.0435 | 6.7517 | 76.0671 | 4.195 | 14.0645 | 5.2177 | 210.408 | 25.75 | 967.83 | 56.6069 | 14.0737
2019-07-08 14:45:00 | 6.478 | 26.1284 | 7.263 | 76.0473 | 6.2403 | 2.6761 | 5.4733 | 203.796 | 26.11 | 967.592 | 55.9818 | 13.8113
2019-07-08 15:00:00 | 0 | 18.9756 | 6.7517 | 81.1058 | 5.729 | 16.2022 | 2.9167 | 203.842 | 25.65 | 967.137 | 58.4682 | 12.7509
2019-07-08 15:15:00 | 0 | 23.9689 | 6.7517 | 81.0343 | 2.1497 | 63.3411 | 0.37567 | 194.476 | 25.41 | 967.354 | 58.4831 | 10.9515
2019-07-08 15:30:00 | 0 | 12.6786 | 7.5187 | 62.9095 | 5.4733 | 10.9508 | 2.541 | 197.795 | 25.75 | 967.135 | 58.1451 | 10.752
2019-07-08 15:45:00 | 0 | 30.3698 | 5.4733 | 89.117 | 4.4507 | 47.1851 | 0.37567 | 214.316 | 25.72 | 967.135 | 58.417 | 12.278
2019-07-08 16:00:00 | 0 | 4.4286 | 4.7063 | 61.6623 | 1.894 | 27.3019 | 5.2177 | 168.07 | 25.64 | 966.838 | 58.0044 | 10.401
2019-07-08 16:15:00 | 0 | 307.017 | 4.195 | 58.1594 | 4.195 | 34.0427 | 3.5637 | 159.482 | 26.01 | 967.283 | 56.9828 | 12.1893
2019-07-08 16:30:00 | 0 | 5.3046 | 5.729 | 77.6486 | 5.9847 | 13.3345 | 1.2627 | 177.218 | 26.36 | 966.987 | 57.7996 | 14.5614
2019-07-08 16:45:00 | 0.88267 | 348.09 | 4.962 | 49.4234 | 4.7063 | 15.8168 | 5.2177 | 166.149 | 25.58 | 966.838 | 59.2319 | 16.9076
2019-07-08 17:00:00 | 0 | 350.304 | 6.2403 | 69.5775 | 4.7063 | 17.8133 | 5.9847 | 179.35 | 25.43 | 966.097 | 59.5085 | 16.394
2019-07-08 17:15:00 | 0 | 28.5454 | 4.4507 | 77.1468 | 6.496 | 29.3485 | 0.63133 | 170.567 | 25.34 | 966.097 | 60.1227 | 10.9552
2019-07-08 17:30:00 | 0 | 6.1325 | 4.962 | 63.5433 | 4.4507 | 2.9446 | 2.0297 | 180.106 | 25.32 | 966.097 | 60.1908 | 8.0326
2019-07-08 17:45:00 | 0 | 5.1104 | 4.962 | 70.9169 | 4.4507 | 12.7274 | 0.37567 | 178.67 | 25.31 | 966.097 | 60.7362 | 7.2752
2019-07-08 18:00:00 | 0 | 16.3047 | 4.195 | 74.5429 | 3.9393 | 52.0777 | 2.0297 | 185.119 | 25.24 | 966.098 | 61.6223 | 7.2345
2019-07-08 18:15:00 | 0 | 9.8315 | 5.729 | 61.6695 | 2.9167 | 15.4286 | 3.5637 | 191.325 | 25.24 | 966.139 | 62.5767 | 7.5781
2019-07-08 18:30:00 | 0 | 224.153 | 6.2403 | 61.2801 | 4.195 | 1.6305 | 4.4507 | 190.205 | 25.18 | 966.276 | 63.2583 | 6.8687
2019-07-08 18:45:00 | 0 | 11.1943 | 4.962 | 62.4482 | 2.4053 | 344.224 | 1.774 | 196.167 | 25.11 | 966.14 | 63.3947 | 5.073
2019-07-08 19:00:00 | 0 | 8.1288 | 3.428 | 56.3229 | 1.6383 | 0.048675 | 0 | 201.321 | 25.1 | 966.216 | 62.8552 | 2.3943
2019-07-08 19:15:00 | 0 | 26.8702 | 3.6837 | 80.179 | 0.75133 | 37.847 | 0 | 208.585 | 25.02 | 966.391 | 61.6995 | 1.0382
2019-07-08 19:30:00 | 0 | 44.2979 | 3.6837 | 101.162 | 1.6383 | 38.4564 | 0 | 232.564 | 25.09 | 966.361 | 60.0647 | -0.062812
2019-07-08 19:45:00 | 0 | 62.2118 | 3.6837 | 111.141 | 3.1723 | 62.0171 | 0 | 243.346 | 25.14 | 966.536 | 57.6103 | -0.14779
2019-07-08 20:00:00 | 0 | 47.8272 | 3.428 | 99.9452 | 3.1723 | 40.6227 | 0 | 237.116 | 24.95 | 966.54 | 58.9398 | -0.040643
2019-07-08 20:15:00 | 0 | 32.761 | 4.7063 | 93.2274 | 3.6837 | 34.8299 | 0 | 215.332 | 24.89 | 966.391 | 60.8488 | 0.89415
2019-07-08 20:30:00 | 0 | 32.2255 | 3.9393 | 93.909 | 0 | 313.347 | 0 | 212.825 | 24.56 | 966.391 | 61.9056 | 0.53575
2019-07-08 20:45:00 | 0 | 35.5357 | 5.2177 | 86.3394 | 2.1497 | 323.57 | 0 | 214.602 | 24.7 | 966.54 | 61.0192 | 0.7907
2019-07-08 21:00:00 | 0 | 39.9655 | 3.6837 | 81.1064 | 0 | 324.835 | 0.37567 | 215.648 | 24.58 | 966.54 | 62.5192 | 0.56531
2019-07-08 21:15:00 | 0 | 36.1198 | 3.1723 | 90.9152 | 2.4053 | 331.869 | 0 | 228.305 | 24.46 | 966.391 | 62.5192 | 0.46555
2019-07-08 21:30:00 | 0 | 35.4383 | 3.6837 | 89.041 | 2.661 | 334.06 | 0 | 220.808 | 24.56 | 966.54 | 61.6329 | 1.2045
2019-07-08 21:45:00 | 0 | 46.0017 | 3.6837 | 96.635 | 2.4053 | 334.644 | 0 | 217.376 | 24.5 | 966.243 | 62.6896 | 0.97544
2019-07-08 22:00:00 | 0 | 28.5746 | 3.428 | 78.5264 | 2.4053 | 334.62 | 0 | 217.985 | 24.41 | 966.391 | 63.2009 | 0.8572
2019-07-08 22:15:00 | 0 | 51.2104 | 3.9393 | 99.5557 | 3.6837 | 337.638 | 0 | 235.461 | 24.33 | 966.243 | 63.6782 | 0.40643
2019-07-08 22:30:00 | 0 | 67.7856 | 3.1723 | 120.585 | 2.1497 | 338.368 | 0 | 251.598 | 24.25 | 966.243 | 64.0532 | 0.66138
2019-07-08 22:45:00 | 0 | 67.5674 | 2.661 | 127.013 | 2.661 | 338.372 | 0 | 253.84 | 24.25 | 966.095 | 64.7358 | 0.54314
2019-07-08 23:00:00 | 0 | 98.0173 | 3.428 | 154.713 | 2.661 | 338.375 | 0 | 292.372 | 24.16 | 966.095 | 65.1454 | 0.3547
2019-07-08 23:15:00 | 0 | 95.6068 | 1.127 | 172.577 | 0 | 338.81 | 0 | 267.275 | 24.37 | 965.947 | 63.7471 | 0.1441
2019-07-08 23:30:00 | 0 | 83.6339 | 4.195 | 132.761 | 4.4507 | 339.112 | 0 | 268.086 | 24.3 | 966.095 | 64.2943 | 0.42121
2019-07-08 23:45:00 | 0 | 92.126 | 4.7063 | 149.015 | 3.428 | 343.312 | 0 | 278.715 | 24.14 | 965.798 | 65.5196 | 1.2415