## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-09 00:00:00 | 0 | 107.002 | 4.195 | 151.796 | 2.661 | 343.301 | 0 | 247.472 | 24.02 | 965.798 | 64.6357 | 3.7281
2019-07-09 00:15:00 | 0 | 100.848 | 3.1723 | 161.25 | 2.9167 | 347.164 | 0 | 297.044 | 23.89 | 965.798 | 63.3435 | 5.6346
2019-07-09 00:30:00 | 0 | 103.45 | 4.4507 | 166.844 | 3.6837 | 2.2151 | 0 | 287.787 | 24 | 965.65 | 62.0464 | 11.5094
2019-07-09 00:45:00 | 0 | 103.699 | 4.7063 | 150.713 | 3.6837 | 3.3106 | 0.887 | 290.843 | 23.89 | 965.353 | 64.3675 | 15.0048
2019-07-09 01:00:00 | 0 | 122.005 | 4.195 | 176.445 | 3.6837 | 4.3817 | 1.5183 | 292.16 | 23.64 | 965.205 | 67.3002 | 18.9693
2019-07-09 01:15:00 | 0 | 129.508 | 4.962 | 170.075 | 4.195 | 12.0988 | 3.428 | 313.35 | 23.62 | 965.057 | 64.1661 | 18.8696
2019-07-09 01:30:00 | 0 | 135.789 | 4.962 | 201.722 | 4.4507 | 13.2429 | 0 | 299.426 | 23.87 | 965.057 | 62.6661 | 20.5803
2019-07-09 01:45:00 | 0 | 136.786 | 4.195 | 175.113 | 4.4507 | 14.6061 | 0.75133 | 298.621 | 23.64 | 964.76 | 66.075 | 26.5327
2019-07-09 02:00:00 | 0.744 | 122.399 | 8.03 | 176.111 | 7.5187 | 17.8194 | 1.894 | 303.052 | 22.78 | 964.612 | 71.5303 | 23.2812
2019-07-09 02:15:00 | 4.4353 | 121.645 | 7.263 | 166.862 | 6.496 | 21.2276 | 2.9167 | 301.325 | 22.61 | 964.612 | 68.6667 | 22.908
2019-07-09 02:30:00 | 0.88267 | 133.598 | 7.263 | 178.985 | 7.0073 | 27.0215 | 3.9393 | 309.116 | 22.67 | 964.315 | 69.7579 | 28.8235
2019-07-09 02:45:00 | 6.478 | 128.997 | 6.496 | 184.803 | 5.729 | 34.2759 | 3.9393 | 310.309 | 22.28 | 964.612 | 70.3716 | 30.7448
2019-07-09 03:00:00 | 5.2013 | 129.9 | 6.7517 | 190.503 | 7.263 | 44.4036 | 4.7063 | 314.574 | 21.94 | 964.167 | 75.4871 | 29.9984
2019-07-09 03:15:00 | 0.62733 | 137.952 | 7.0073 | 201.951 | 5.729 | 45.1888 | 5.729 | 318.147 | 20.99 | 964.018 | 85.0454 | 20.3771
2019-07-09 03:30:00 | 0 | 130.65 | 6.2403 | 185.35 | 5.2177 | 46.7965 | 0.37567 | 321.343 | 20.68 | 964.018 | 86.2745 | 17.2845
2019-07-09 03:45:00 | 0 | 124.662 | 6.2403 | 187.445 | 5.729 | 46.8211 | 0 | 309.195 | 20.61 | 964.234 | 83.0695 | 15.6588
2019-07-09 04:00:00 | 0 | 135.073 | 4.962 | 198.425 | 3.1723 | 46.2661 | 0 | 319.358 | 20.91 | 964.458 | 85.0565 | 13.597
2019-07-09 04:15:00 | 0 | 145.186 | 5.729 | 197.804 | 4.195 | 46.7558 | 4.7063 | 332.429 | 20.66 | 964.312 | 85.266 | 7.8515
2019-07-09 04:30:00 | 0 | 142.216 | 4.962 | 189.037 | 3.428 | 46.561 | 0 | 323.443 | 20.67 | 964.016 | 78.9222 | 6.3625
2019-07-09 04:45:00 | 0 | 144.261 | 3.9393 | 197.755 | 3.9393 | 46.561 | 0 | 329.117 | 21.24 | 963.867 | 77.0123 | 7.2345
2019-07-09 05:00:00 | 0 | 145.43 | 3.428 | 197.755 | 3.428 | 46.4636 | 0 | 342.291 | 20.68 | 963.867 | 78.4788 | 6.0522
2019-07-09 05:15:00 | 0 | 150.373 | 4.195 | 199.119 | 3.6837 | 46.4636 | 0.63133 | 336.033 | 20.36 | 963.57 | 85.4024 | 7.0239
2019-07-09 05:30:00 | 0 | 150.033 | 5.729 | 199.898 | 4.962 | 46.6827 | 5.729 | 336.569 | 20.03 | 963.867 | 85.7435 | 6.0152
2019-07-09 05:45:00 | 0 | 158.484 | 3.428 | 207.984 | 2.9167 | 46.3908 | 0 | 346.604 | 20.16 | 964.164 | 86.0169 | 2.4386
2019-07-09 06:00:00 | 0 | 170.547 | 2.4053 | 231.668 | 2.661 | 52.1163 | 0 | 3.7991 | 19.97 | 964.312 | 88.4772 | 1.0826
2019-07-09 06:15:00 | 0 | 171.439 | 2.9167 | 200.703 | 2.1497 | 52.4057 | 0 | 356.758 | 19.79 | 964.164 | 89.0182 | 0.787
2019-07-09 06:30:00 | 0 | 171.368 | 0.37567 | 199.756 | 0 | 52.309 | 0 | 222.654 | 19.74 | 964.461 | 87.8597 | -0.011085
2019-07-09 06:45:00 | 0 | 171.44 | 1.127 | 200.267 | 0 | 52.2113 | 0 | 222.629 | 20.15 | 964.609 | 81.379 | -0.18474
2019-07-09 07:00:00 | 0 | 171.414 | 0 | 200.264 | 0 | 51.0661 | 0 | 222.553 | 21.27 | 964.906 | 76.4666 | -0.26233
2019-07-09 07:15:00 | 0 | 171.365 | 0.75133 | 200.288 | 0 | 127.994 | 0 | 223.99 | 21.43 | 965.203 | 75.3752 | -0.33254
2019-07-09 07:30:00 | 0 | 171.438 | 0 | 200.288 | 0 | 128.091 | 0 | 302.695 | 21.69 | 965.351 | 73.5335 | -0.26233
2019-07-09 07:45:00 | 0 | 171.415 | 0 | 200.259 | 0 | 153.519 | 0 | 303.045 | 21.86 | 965.425 | 73.2509 | -0.24016
2019-07-09 08:00:00 | 0 | 171.409 | 0 | 200.251 | 0 | 153.586 | 0 | 77.1339 | 21.9 | 965.212 | 72.6343 | -0.25125
2019-07-09 08:15:00 | 0 | 296.557 | 0.75133 | 200.275 | 0 | 153.684 | 0 | 77.1339 | 22.16 | 965.353 | 71.3726 | -0.24016
2019-07-09 08:30:00 | 0 | 187.513 | 0 | 200.381 | 0 | 157.47 | 0 | 16.4336 | 21.77 | 965.353 | 74.7431 | -0.24016
2019-07-09 08:45:00 | 0 | 81.0166 | 0 | 199.923 | 0 | 157.262 | 0 | 231.365 | 22.21 | 965.798 | 70.3041 | -0.24016
2019-07-09 09:00:00 | 0 | 81.0166 | 0 | 199.923 | 0 | 157.262 | 0 | 231.365 | 22.21 | 965.798 | 70.3041 | -0.24016
2019-07-09 09:15:00 | 0 | 81.0166 | 0 | 199.923 | 0 | 157.262 | 0 | 231.365 | 22.21 | 965.798 | 70.3041 | -0.24016
2019-07-09 09:30:00 | 0 | 81.0166 | 0 | 199.923 | 0 | 157.262 | 0 | 231.365 | 22.21 | 965.798 | 70.3041 | -0.24016
2019-07-09 09:45:00 | 0 | 291.168 | 2.661 | 19.0263 | 2.661 | 281.674 | 0 | 105.844 | 21.71 | 965.501 | 90.7922 | 0
2019-07-09 10:00:00 | 0 | 291.168 | 2.661 | 19.0263 | 2.661 | 281.674 | 0 | 105.844 | 21.71 | 965.501 | 90.7922 | 0
2019-07-09 10:15:00 | 0 | 291.168 | 2.661 | 19.0263 | 2.661 | 281.674 | 0 | 105.844 | 21.71 | 965.501 | 90.7922 | 0
2019-07-09 10:30:00 | 0 | 291.168 | 2.661 | 19.0263 | 2.661 | 281.674 | 0 | 105.844 | 21.71 | 965.501 | 90.7922 | 0
2019-07-09 10:45:00 | 0 | 296.211 | 1.894 | 17.4683 | 1.3827 | 290.661 | 0 | 117.384 | 21.18 | 965.057 | 95.2598 | -0.24016
2019-07-09 11:00:00 | 0 | 296.384 | 1.3827 | 17.5169 | 0 | 296.019 | 0 | 117.239 | 21.08 | 965.205 | 96.2155 | -0.26233
2019-07-09 11:15:00 | 0 | 353.479 | 0.75133 | 17.1761 | 0 | 338.822 | 0 | 155.072 | 21.21 | 965.057 | 96.627 | -0.26972
2019-07-09 11:30:00 | 0 | 11.2961 | 1.894 | 66.498 | 2.1497 | 27.5592 | 0 | 166.938 | 21.06 | 965.057 | 96.5961 | -0.19583
2019-07-09 11:45:00 | 0 | 37.9035 | 2.4053 | 73.0912 | 2.1497 | 28.0685 | 0 | 184.015 | 20.84 | 964.612 | 96.9666 | -0.18474
2019-07-09 12:00:00 | 0 | 21.813 | 2.4053 | 82.3946 | 2.1497 | 30.6499 | 0 | 196.218 | 20.78 | 964.463 | 96.7318 | -0.19583
2019-07-09 12:15:00 | 0 | 21.8364 | 2.4053 | 74.5513 | 2.661 | 30.5758 | 0 | 201.226 | 20.87 | 964.315 | 91.1699 | 0.50619
2019-07-09 12:30:00 | 0 | 33.5943 | 3.1723 | 91.3723 | 1.6383 | 23.8325 | 0 | 223.889 | 21.29 | 964.463 | 89.1238 | 0.19213
2019-07-09 12:45:00 | 0 | 35.2731 | 3.6837 | 90.8097 | 2.661 | 24.976 | 0 | 221.254 | 22 | 964.76 | 81.5186 | 0.36949
2019-07-09 13:00:00 | 0 | 20.9321 | 3.428 | 81.7885 | 3.1723 | 29.8161 | 4.4507 | 209.467 | 22.27 | 964.612 | 82.3935 | 2.0137
2019-07-09 13:15:00 | 0 | 19.2769 | 5.2177 | 69.7885 | 2.9167 | 6.9124 | 0 | 201.945 | 22.57 | 964.76 | 77.0411 | 0.2143
2019-07-09 13:30:00 | 0 | 8.2754 | 4.962 | 63.2412 | 3.6837 | 5.9632 | 0.63133 | 195.665 | 22.74 | 964.462 | 75.473 | 0.048033
2019-07-09 13:45:00 | 0 | 12.6565 | 3.9393 | 68.401 | 2.1497 | 46.9996 | 0 | 192.379 | 22.98 | 964.757 | 73.4957 | -0.218
2019-07-09 14:00:00 | 2.276 | 17.9129 | 3.1723 | 65.4272 | 2.4053 | 23.5353 | 0 | 201.327 | 23.11 | 964.594 | 74.2418 | -0.218
2019-07-09 14:15:00 | 0 | 11.9247 | 2.661 | 51.6457 | 1.127 | 353.556 | 0 | 196.198 | 23.61 | 964.512 | 74.5764 | -0.25125
2019-07-09 14:30:00 | 0 | 22.9726 | 1.127 | 78.8016 | 0.37567 | 47.8434 | 0 | 210.379 | 23.89 | 964.484 | 71.7792 | -0.24016
2019-07-09 14:45:00 | 0 | 14.9906 | 1.6383 | 69.4569 | 0 | 0.048671 | 0 | 204.223 | 24.26 | 964.169 | 70.7567 | -0.24016
2019-07-09 15:00:00 | 0 | 340.724 | 0 | 18.6373 | 0 | 268.842 | 0 | 157.782 | 24.95 | 964.614 | 67.9579 | -0.24016
2019-07-09 15:15:00 | 0 | 347.133 | 1.6383 | 20.3954 | 0 | 0.048669 | 0 | 200.225 | 24.57 | 964.614 | 65.7784 | -0.24016
2019-07-09 15:30:00 | 0 | 45.8411 | 0 | 16.8855 | 0 | 274.463 | 0 | 199.083 | 25.27 | 964.216 | 66.4524 | -0.24016
2019-07-09 15:45:00 | 0 | 25.8849 | 1.894 | 73.5165 | 0.75133 | 5.7414 | 0 | 226.979 | 24.92 | 964.175 | 67.3277 | -0.24016
2019-07-09 16:00:00 | 0 | 223.093 | 1.894 | 4.4259 | 2.4053 | 326.295 | 0 | 198.764 | 25.13 | 963.954 | 70.805 | -0.24016
2019-07-09 16:15:00 | 0 | 317.335 | 3.1723 | 0.82958 | 2.4053 | 300.91 | 0 | 139.407 | 24.32 | 963.647 | 75.2502 | -0.24016
2019-07-09 16:30:00 | 0 | 303.705 | 1.6383 | 15.5268 | 1.127 | 31.4388 | 0 | 156.707 | 24.22 | 963.428 | 74.6361 | -0.24016
2019-07-09 16:45:00 | 0 | 25.6004 | 2.1497 | 89.6533 | 1.894 | 312.363 | 0 | 190.567 | 24.28 | 962.983 | 75.118 | -0.24016
2019-07-09 17:00:00 | 0 | 340.257 | 1.894 | 51.546 | 1.894 | 7.2033 | 0 | 176.358 | 23.94 | 963.28 | 75.2556 | -0.24016
2019-07-09 17:15:00 | 0 | 33.2908 | 1.127 | 71.6957 | 0.75133 | 33.9722 | 0 | 187.48 | 24.03 | 963.28 | 73.4833 | -0.24016
2019-07-09 17:30:00 | 0 | 41.1754 | 0.75133 | 66.1472 | 0 | 7.1059 | 0 | 187.48 | 25.26 | 964.614 | 67.3483 | -0.24016
2019-07-09 17:45:00 | 0 | 77.872 | 1.3827 | 140.222 | 1.127 | 37.1839 | 0 | 229.041 | 25.14 | 964.466 | 68.7106 | 2.1467
2019-07-09 18:00:00 | 0 | 175.093 | 3.1723 | 230.824 | 3.6837 | 171.515 | 0 | 344.953 | 24.71 | 963.872 | 68.9842 | 0.33254
2019-07-09 18:15:00 | 0 | 152.337 | 1.6383 | 204.442 | 1.894 | 150.391 | 0 | 336.164 | 23.62 | 962.983 | 71.3692 | -0.10715
2019-07-09 18:30:00 | 6.7333 | 135.84 | 2.1497 | 203.666 | 1.3827 | 137.933 | 0 | 320.132 | 23.73 | 962.835 | 70.7566 | -0.26972
2019-07-09 18:45:00 | 8.776 | 157.506 | 2.4053 | 204.894 | 2.4053 | 158.771 | 1.894 | 332.875 | 23.66 | 963.193 | 71.4075 | -0.24016
2019-07-09 19:00:00 | 4.4353 | 153.582 | 1.894 | 209.838 | 1.3827 | 150.613 | 0 | 332.502 | 23.72 | 963.271 | 71.7231 | -0.26972
2019-07-09 19:15:00 | 0 | 169.792 | 1.6383 | 209.887 | 0 | 158.742 | 0 | 338.076 | 23.55 | 963.573 | 71.28 | -0.24016
2019-07-09 19:30:00 | 0 | 129.593 | 0.75133 | 155.646 | 1.6383 | 106.566 | 0 | 333.328 | 23.9 | 963.573 | 70.9781 | -0.25125
2019-07-09 19:45:00 | 5.9673 | 78.0906 | 2.1497 | 128.879 | 1.894 | 59.493 | 0 | 333.2 | 23.6 | 963.276 | 72.7547 | -0.25125
2019-07-09 20:00:00 | 5.712 | 106.723 | 2.9167 | 159.899 | 2.4053 | 121.426 | 0 | 278.637 | 23.84 | 963.425 | 66.6211 | -0.26972
2019-07-09 20:15:00 | 0 | 112.76 | 3.428 | 174.822 | 3.428 | 130.604 | 0 | 290.736 | 24.12 | 963.87 | 61.7115 | -0.26972
2019-07-09 20:30:00 | 0 | 113.246 | 4.4507 | 164.621 | 4.195 | 114.999 | 1.007 | 299.742 | 24.19 | 963.87 | 61.9157 | -0.029559
2019-07-09 20:45:00 | 0 | 129.63 | 3.9393 | 173.775 | 3.6837 | 111.591 | 0 | 294.314 | 24.22 | 963.87 | 61.3021 | 0.59118
2019-07-09 21:00:00 | 0 | 93.6722 | 2.9167 | 137.548 | 1.894 | 54.3338 | 0 | 287.662 | 24.15 | 964.167 | 63.142 | 0.011085
2019-07-09 21:15:00 | 0 | 86.8572 | 1.3827 | 136.09 | 0 | 26.7776 | 0 | 273.887 | 23.66 | 964.018 | 65.8703 | -0.25864
2019-07-09 21:30:00 | 0 | 114.123 | 2.4053 | 174.287 | 2.1497 | 120.501 | 0 | 289.762 | 23.78 | 964.167 | 65.1892 | -0.25864
2019-07-09 21:45:00 | 3.1587 | 128.34 | 2.4053 | 184.413 | 2.1497 | 141.388 | 0 | 307.777 | 23.64 | 964.018 | 66.7234 | -0.24016
2019-07-09 22:00:00 | 0 | 134.302 | 1.3827 | 184.483 | 0 | 137.442 | 0 | 311.18 | 23.68 | 963.87 | 66.8928 | -0.24016
2019-07-09 22:15:00 | 0 | 58.1327 | 1.127 | 56.147 | 1.127 | 41.3112 | 0 | 268.316 | 23.36 | 964.018 | 67.7463 | -0.24016
2019-07-09 22:30:00 | 0 | 356.002 | 2.661 | 54.2969 | 2.1497 | 10.2243 | 0 | 183.843 | 23.36 | 964.018 | 66.4507 | -0.29928
2019-07-09 22:45:00 | 0 | 346.8 | 1.894 | 47.1155 | 2.4053 | 344.95 | 0 | 172.402 | 22.92 | 963.87 | 77.702 | -0.218
2019-07-09 23:00:00 | 0 | 333.216 | 3.6837 | 25.7418 | 2.9167 | 318.415 | 0 | 151.515 | 22.83 | 963.573 | 75.3495 | -0.25125
2019-07-09 23:15:00 | 0 | 335.994 | 1.3827 | 21.7771 | 1.127 | 0.048691 | 0 | 162.751 | 22.73 | 963.425 | 70.4455 | -0.28081
2019-07-09 23:30:00 | 0 | 329.507 | 3.428 | 17.4207 | 3.428 | 341.242 | 0.75133 | 140.066 | 22.24 | 963.128 | 84.5652 | -0.24016
2019-07-09 23:45:00 | 0 | 326.504 | 0 | 7.0747 | 0.75133 | 3.0191 | 0 | 124.563 | 21.66 | 963.128 | 82.4552 | -0.26233