## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-10 00:00:00 | 0 | 113.169 | 0 | 7.1722 | 0 | 3.0191 | 0 | 329.134 | 22.14 | 962.832 | 79.0452 | -0.1404
2019-07-10 00:15:00 | 0 | 113.169 | 0 | 7.1722 | 0 | 349.586 | 0 | 329.134 | 21.93 | 962.832 | 80 | -0.24016
2019-07-10 00:30:00 | 0 | 113.169 | 0 | 7.1722 | 0 | 349.586 | 0 | 329.134 | 22.17 | 962.984 | 77.7493 | -0.25864
2019-07-10 00:45:00 | 9.542 | 159.722 | 2.1497 | 224.087 | 2.1497 | 155.583 | 6.496 | 338.678 | 22.58 | 962.842 | 76.0443 | -0.24016
2019-07-10 01:00:00 | 3.9247 | 163.179 | 2.1497 | 216.417 | 2.1497 | 142.678 | 0 | 343.986 | 22.68 | 962.536 | 71.9522 | -0.24016
2019-07-10 01:15:00 | 0 | 118.525 | 1.894 | 192.751 | 2.4053 | 134.156 | 0 | 299.064 | 22.64 | 962.238 | 71.4066 | -0.28081
2019-07-10 01:30:00 | 0 | 152.807 | 3.428 | 198.424 | 1.3827 | 157.433 | 0 | 330.01 | 22.15 | 962.683 | 76.0102 | -0.22539
2019-07-10 01:45:00 | 0 | 150.956 | 3.9393 | 204.268 | 3.6837 | 153.976 | 1.127 | 333.663 | 21.62 | 962.238 | 78.2608 | 0.61704
2019-07-10 02:00:00 | 0 | 148.23 | 3.428 | 201.614 | 3.6837 | 141.339 | 1.5183 | 319.663 | 21.35 | 962.387 | 79.8636 | 3.366
2019-07-10 02:15:00 | 0 | 136.129 | 4.7063 | 191.875 | 4.195 | 141.607 | 4.7063 | 309.729 | 21.68 | 962.248 | 76.7263 | 3.4584
2019-07-10 02:30:00 | 0 | 134.668 | 4.4507 | 197.304 | 3.9393 | 127.923 | 4.7063 | 311.847 | 21.45 | 962.245 | 77.8857 | 2.9263
2019-07-10 02:45:00 | 0 | 123.638 | 4.962 | 182.963 | 3.1723 | 129.676 | 0 | 300.136 | 21.38 | 962.246 | 77.8857 | 3.5027
2019-07-10 03:00:00 | 0 | 120.181 | 5.4733 | 162.633 | 3.9393 | 111.318 | 2.9167 | 300.501 | 21.88 | 962.238 | 73.3163 | 4.1013
2019-07-10 03:15:00 | 0 | 126.95 | 5.2177 | 172.981 | 5.2177 | 115.701 | 0.887 | 309.85 | 22.18 | 962.238 | 72.7707 | 3.6136
2019-07-10 03:30:00 | 0 | 129.457 | 4.195 | 186.689 | 3.9393 | 134.449 | 0.37567 | 308 | 22.46 | 962.238 | 72.4296 | 3.015
2019-07-10 03:45:00 | 0 | 149.885 | 3.6837 | 190.95 | 2.9167 | 160.452 | 1.007 | 315.475 | 21.71 | 962.387 | 75.9079 | 2.4312
2019-07-10 04:00:00 | 0 | 143.896 | 3.9393 | 197.402 | 3.1723 | 149.398 | 0 | 320.417 | 21.17 | 962.387 | 79.2498 | 1.1934
2019-07-10 04:15:00 | 0 | 146.306 | 2.9167 | 205.826 | 2.4053 | 160.598 | 0 | 327.308 | 20.88 | 962.535 | 80.1705 | 0.33993
2019-07-10 04:30:00 | 0 | 102.626 | 0 | 209.795 | 0 | 236.71 | 0 | 250.831 | 20.81 | 962.709 | 80.7502 | -0.19213
2019-07-10 04:45:00 | 0 | 196.925 | 1.3827 | 251.916 | 1.127 | 219.617 | 0 | 336.803 | 20.85 | 962.771 | 81.1594 | -0.18844
2019-07-10 05:00:00 | 0 | 185.733 | 2.1497 | 234.907 | 0 | 176.87 | 0 | 6.4281 | 20.34 | 963.356 | 87.5056 | -0.26972
2019-07-10 05:15:00 | 0 | 186.503 | 3.9393 | 243.232 | 3.6837 | 183.069 | 0 | 6.8182 | 19.92 | 962.973 | 91.4007 | -0.19583
2019-07-10 05:30:00 | 0 | 192.307 | 2.4053 | 247.335 | 2.1497 | 202.9 | 0 | 20.9426 | 19.69 | 963.274 | 92.9736 | -0.2882
2019-07-10 05:45:00 | 0 | 229.688 | 1.127 | 264.675 | 0 | 199.102 | 0 | 64.5571 | 19.69 | 963.719 | 93.2469 | -0.13671
2019-07-10 06:00:00 | 0 | 251.58 | 3.1723 | 299.644 | 2.661 | 238.455 | 0 | 74.517 | 19.77 | 963.719 | 92.7353 | -0.12193
2019-07-10 06:15:00 | 0 | 275.709 | 4.7063 | 330.396 | 3.9393 | 276.294 | 0 | 98.3319 | 19.75 | 964.312 | 92.5976 | 1.3671
2019-07-10 06:30:00 | 0 | 300.625 | 3.9393 | 5.5836 | 2.661 | 316.697 | 0 | 111.751 | 19.78 | 964.164 | 91.6098 | 0.79439
2019-07-10 06:45:00 | 0 | 304.741 | 2.661 | 12.9866 | 2.4053 | 320.789 | 0 | 117.815 | 19.92 | 964.164 | 90.1773 | 0.34731
2019-07-10 07:00:00 | 0 | 331.309 | 2.661 | 30.9407 | 2.1497 | 338.517 | 0 | 143.666 | 20.04 | 964.312 | 89.3524 | 0.31776
2019-07-10 07:15:00 | 0 | 323.503 | 1.3827 | 52.8771 | 0.37567 | 5.8439 | 0 | 129.245 | 20.22 | 964.906 | 89.2803 | 0.23278
2019-07-10 07:30:00 | 0 | 323.339 | 2.661 | 4.64 | 1.894 | 322.025 | 0 | 141.242 | 20.37 | 964.7 | 87.1612 | -0.066507
2019-07-10 07:45:00 | 0 | 69.0991 | 0.75133 | 61.8331 | 1.127 | 25.2243 | 0 | 164.664 | 20.67 | 964.631 | 86.7178 | -0.25864
2019-07-10 08:00:00 | 0 | 26.4904 | 1.127 | 63.4644 | 1.894 | 31.3113 | 0 | 186.894 | 20.65 | 964.908 | 87.9114 | -0.25125
2019-07-10 08:15:00 | 0 | 39.7327 | 1.894 | 63.4581 | 0.75133 | 31.942 | 0 | 182.011 | 20.63 | 965.057 | 88.1093 | -0.24016
2019-07-10 08:30:00 | 0 | 0.097375 | 1.6383 | 77.7155 | 2.1497 | 38.9256 | 0 | 182.87 | 21.15 | 965.353 | 82.9185 | -0.24016
2019-07-10 08:45:00 | 0.372 | 2.6291 | 3.1723 | 87.8182 | 1.894 | 51.8033 | 0 | 210.646 | 21.5 | 965.353 | 80.6683 | -0.27711
2019-07-10 09:00:00 | 2.648 | 14.9937 | 2.9167 | 67.1389 | 2.661 | 11.6834 | 0 | 199.86 | 21.88 | 965.798 | 76.5669 | -0.25864
2019-07-10 09:15:00 | 0 | 7.0098 | 3.428 | 56.5479 | 2.661 | 13.9222 | 0 | 194.473 | 21.99 | 965.798 | 76.2231 | -0.27711
2019-07-10 09:30:00 | 0 | 303.051 | 1.3827 | 13.6859 | 0.75133 | 14.5307 | 0 | 168.357 | 22.35 | 965.796 | 75.7457 | -0.24016
2019-07-10 09:45:00 | 0 | 7.0097 | 1.6383 | 77.8422 | 1.894 | 52.6206 | 0 | 152.751 | 23.08 | 965.65 | 70.9713 | -0.24016
2019-07-10 10:00:00 | 0 | 13.2385 | 1.127 | 64.4926 | 1.127 | 301.93 | 0 | 186.774 | 23.45 | 965.558 | 70.825 | -0.24016
2019-07-10 10:15:00 | 0 | 330.353 | 3.1723 | 2.5759 | 2.1497 | 15.4773 | 0 | 209.917 | 23.48 | 965.504 | 71.9155 | -0.24016
2019-07-10 10:30:00 | 0 | 345.781 | 2.9167 | 19.854 | 2.4053 | 283.653 | 0 | 197.19 | 23.8 | 965.504 | 72.0859 | -0.25125
2019-07-10 10:45:00 | 0 | 31.344 | 1.6383 | 35.8984 | 0 | 340.744 | 0 | 219.432 | 23.99 | 965.801 | 72.4608 | -0.24016
2019-07-10 11:00:00 | 0 | 37.4756 | 2.1497 | 55.0486 | 1.3827 | 348.426 | 0 | 204.729 | 24.5 | 965.949 | 66.5288 | -0.24016
2019-07-10 11:15:00 | 0 | 9.3419 | 3.428 | 29.7748 | 1.6383 | 348.18 | 0 | 221.481 | 25.83 | 966.114 | 62.5573 | -0.25864
2019-07-10 11:30:00 | 0 | 21.7963 | 1.894 | 51.7381 | 1.3827 | 315.682 | 0 | 228.205 | 25.9 | 966.099 | 64.1886 | -0.25125
2019-07-10 11:45:00 | 0 | 24.7363 | 2.9167 | 80.5749 | 1.127 | 6.6158 | 0.37567 | 191.858 | 25.66 | 966.099 | 63.2939 | -0.22539
2019-07-10 12:00:00 | 0 | 33.1761 | 2.1497 | 33.5342 | 2.661 | 291.993 | 0 | 221.214 | 26.05 | 965.951 | 61.8967 | 1.1195
2019-07-10 12:15:00 | 0.372 | 316.198 | 4.7063 | 14.3683 | 4.195 | 312.379 | 0.37567 | 152.967 | 25.56 | 965.358 | 61.3523 | 2.3795
2019-07-10 12:30:00 | 0 | 305.967 | 5.4733 | 3.4586 | 4.7063 | 313.921 | 0.37567 | 137.366 | 25.72 | 965.21 | 62.6876 | 2.4164
2019-07-10 12:45:00 | 0 | 310.535 | 3.9393 | 2.6791 | 3.6837 | 305.377 | 0 | 145.743 | 24.64 | 964.172 | 68.4837 | 1.829
2019-07-10 13:00:00 | 0 | 316.55 | 4.195 | 3.358 | 4.4507 | 291.44 | 0 | 142.241 | 24.44 | 964.152 | 65.4969 | 3.5882
2019-07-10 13:15:00 | 0 | 206.083 | 6.496 | 239.253 | 6.496 | 173.865 | 2.4053 | 23.7742 | 23.87 | 964.02 | 74.467 | 8.2173
2019-07-10 13:30:00 | 0 | 192.42 | 5.2177 | 238.612 | 6.7517 | 173.779 | 3.1723 | 33.7045 | 22.43 | 963.309 | 75.0511 | 1.3301
2019-07-10 13:45:00 | 0 | 189.871 | 2.4053 | 229.186 | 1.6383 | 161.37 | 0 | 54.3741 | 22.07 | 963.865 | 76.0519 | -0.32884
2019-07-10 14:00:00 | 0 | 129.195 | 4.7063 | 176.203 | 4.7063 | 128.587 | 0.37567 | 319.459 | 22.27 | 963.573 | 75.7463 | 0.29559
2019-07-10 14:15:00 | 0 | 113.147 | 2.9167 | 135.577 | 3.428 | 78.3848 | 0 | 289.683 | 21.88 | 963.425 | 82.0301 | 5.3095
2019-07-10 14:30:00 | 0 | 89.5604 | 1.6383 | 139.013 | 1.3827 | 95.4272 | 0 | 258.043 | 21.34 | 963.276 | 80.941 | 2.4017
2019-07-10 14:45:00 | 0 | 94.7943 | 3.428 | 153.57 | 0 | 102.828 | 0 | 268.535 | 22.17 | 963.722 | 76.4746 | 1.8326
2019-07-10 15:00:00 | 0 | 71.0835 | 4.195 | 106.125 | 2.661 | 33.0587 | 0 | 241.075 | 23.01 | 963.87 | 68.2577 | 2.8081
2019-07-10 15:15:00 | 0 | 84.6786 | 0.75133 | 173.916 | 0 | 81.1007 | 0 | 251.821 | 23.25 | 964.315 | 68.9291 | 1.0382
2019-07-10 15:30:00 | 0 | 137.981 | 3.428 | 183.235 | 2.9167 | 121.016 | 0 | 315.635 | 22.84 | 963.722 | 67.7007 | 0.8572
2019-07-10 15:45:00 | 0 | 118.899 | 2.1497 | 174.278 | 2.1497 | 153.047 | 0 | 297.867 | 23.36 | 964.167 | 66.0644 | 0.066507
2019-07-10 16:00:00 | 0 | 100.328 | 0.37567 | 126.208 | 0 | 106.485 | 0 | 279.369 | 23.61 | 964.165 | 66.8826 | 0.059118
2019-07-10 16:15:00 | 0 | 12.3645 | 1.127 | 34.2041 | 0 | 19.0822 | 0 | 217.352 | 23.81 | 964.611 | 65.7236 | 0.22169
2019-07-10 16:30:00 | 0 | 354.081 | 2.661 | 64.2008 | 1.127 | 356.953 | 0 | 195.852 | 23.75 | 964.584 | 68.5075 | 0.93849
2019-07-10 16:45:00 | 0 | 26.8663 | 1.894 | 69.3352 | 0 | 12.3867 | 0 | 238.56 | 23.62 | 964.318 | 71.9837 | 2.3056
2019-07-10 17:00:00 | 0 | 93.8372 | 1.127 | 199.797 | 0 | 147.91 | 0 | 249.997 | 23.57 | 963.576 | 72.8017 | 2.1947
2019-07-10 17:15:00 | 0 | 124.865 | 2.661 | 192.156 | 2.9167 | 159.153 | 0 | 323.612 | 23.39 | 963.6 | 69.7001 | 0.38426
2019-07-10 17:30:00 | 0 | 92.0851 | 1.6383 | 146.649 | 0 | 114.182 | 0 | 275.355 | 23.62 | 963.792 | 67.9618 | -0.25494
2019-07-10 17:45:00 | 0 | 78.9683 | 2.1497 | 126.402 | 1.6383 | 70.962 | 0 | 270.877 | 23.98 | 964.816 | 63.8719 | -0.17735
2019-07-10 18:00:00 | 0 | 41.4675 | 1.127 | 90.2149 | 0 | 49.8389 | 0 | 251.944 | 23.91 | 964.882 | 65.985 | -0.2845
2019-07-10 18:15:00 | 0 | 22.4859 | 1.6383 | 65.5632 | 0 | 21.9505 | 0 | 200.499 | 23.46 | 964.306 | 75.1193 | -0.28081
2019-07-10 18:30:00 | 0 | 117.239 | 0.75133 | 147.546 | 0 | 22.0994 | 0 | 301.919 | 23 | 964.592 | 74.9927 | -0.24016
2019-07-10 18:45:00 | 0 | 140.39 | 2.1497 | 193.993 | 1.6383 | 160.105 | 0 | 327.926 | 22.98 | 964.463 | 71.3823 | -0.26972
2019-07-10 19:00:00 | 0 | 136.79 | 3.428 | 190.953 | 3.428 | 140.587 | 0 | 316.174 | 22.92 | 964.315 | 72.9172 | -0.25864
2019-07-10 19:15:00 | 0 | 127.482 | 4.7063 | 173.742 | 4.962 | 121.737 | 5.729 | 305.644 | 22.79 | 964.315 | 79.5734 | 0.88676
2019-07-10 19:30:00 | 0 | 139.221 | 2.9167 | 185.85 | 2.661 | 126.757 | 0 | 320.801 | 22.73 | 964.612 | 81.0091 | 2.0617
2019-07-10 19:45:00 | 0 | 148.813 | 3.6837 | 192.179 | 4.4507 | 140.463 | 3.6837 | 322.48 | 22.54 | 964.612 | 82.6116 | 3.3143
2019-07-10 20:00:00 | 0 | 136.959 | 5.9847 | 183.564 | 4.7063 | 146.477 | 4.962 | 309.996 | 22.45 | 964.612 | 80.8737 | 7.216
2019-07-10 20:15:00 | 0 | 136.846 | 6.2403 | 194.411 | 4.962 | 140.498 | 0.63133 | 320.047 | 22.2 | 964.315 | 81.6975 | 8.1434
2019-07-10 20:30:00 | 0 | 139.361 | 5.729 | 186.363 | 4.195 | 133.566 | 2.1497 | 328.438 | 22.1 | 964.612 | 80.8148 | 5.7824
2019-07-10 20:45:00 | 0 | 153.732 | 5.2177 | 201.954 | 5.9847 | 159.38 | 4.4507 | 338.677 | 21.7 | 964.612 | 83.2052 | 7.5079
2019-07-10 21:00:00 | 0 | 130.845 | 3.6837 | 192.97 | 3.428 | 144.139 | 0 | 324.727 | 21.58 | 964.612 | 83.5464 | 7.6631
2019-07-10 21:15:00 | 0 | 146.087 | 5.4733 | 188.685 | 4.7063 | 140.925 | 2.4053 | 330.546 | 21.59 | 964.76 | 83.069 | 6.0928
2019-07-10 21:30:00 | 0 | 147.207 | 3.6837 | 183.28 | 3.428 | 146.769 | 0 | 327.405 | 21.58 | 964.463 | 83.3418 | 1.0419
2019-07-10 21:45:00 | 0 | 159.6 | 3.428 | 209.137 | 2.661 | 152.466 | 0 | 340.529 | 21.48 | 964.495 | 83.5464 | 0.15888
2019-07-10 22:00:00 | 0 | 149.934 | 3.1723 | 201.273 | 2.4053 | 145.454 | 0 | 335.367 | 21.65 | 964.481 | 81.6709 | -0.36579
2019-07-10 22:15:00 | 1.2547 | 175.207 | 2.661 | 225.962 | 1.894 | 183.388 | 0 | 2.7513 | 21.46 | 964.923 | 79.7954 | -0.28081
2019-07-10 22:30:00 | 3.9247 | 191.715 | 3.1723 | 240.449 | 2.1497 | 195.513 | 0 | 28.2679 | 21.59 | 965.145 | 79.8638 | -0.24016
2019-07-10 22:45:00 | 0 | 199.117 | 2.1497 | 242.324 | 1.6383 | 198.727 | 0 | 25.2487 | 21.59 | 965.586 | 79.659 | -0.24016
2019-07-10 23:00:00 | 0 | 156.8 | 1.6383 | 216.515 | 1.127 | 164.543 | 0 | 350.951 | 21.44 | 965.459 | 80.8187 | -0.24016
2019-07-10 23:15:00 | 0 | 193.468 | 2.661 | 224.866 | 1.894 | 171.993 | 0 | 13.2452 | 21.37 | 965.153 | 81.364 | -0.24016
2019-07-10 23:30:00 | 0 | 188.72 | 1.6383 | 227.569 | 1.894 | 169.704 | 0 | 16.3374 | 21.52 | 965.287 | 79.318 | -0.24016
2019-07-10 23:45:00 | 3.9247 | 149.447 | 1.6383 | 197.718 | 1.894 | 149.934 | 0 | 342.184 | 21.55 | 965.286 | 81.023 | -0.24016