## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-11 00:00:00 | 2.3927 | 161.986 | 2.9167 | 200.932 | 2.661 | 162.936 | 0 | 347.054 | 21.45 | 965.058 | 81.364 | -0.24016
2019-07-11 00:15:00 | 0 | 179.857 | 1.3827 | 201.322 | 0 | 169.802 | 0 | 355.235 | 21.32 | 965.224 | 81.023 | -0.24016
2019-07-11 00:30:00 | 0 | 220.397 | 1.3827 | 201.541 | 0 | 182.463 | 0 | 50.7409 | 21.43 | 965.089 | 81.023 | -0.24016
2019-07-11 00:45:00 | 0 | 220.445 | 0.75133 | 201.541 | 0 | 182.414 | 0 | 51.3009 | 21.45 | 965.084 | 80.9548 | -0.24016
2019-07-11 01:00:00 | 0 | 210.365 | 1.6383 | 201.541 | 1.3827 | 174.038 | 0 | 49.5965 | 21.31 | 965.162 | 81.5686 | -0.24016
2019-07-11 01:15:00 | 0 | 195.492 | 2.1497 | 226.842 | 1.127 | 178.034 | 0 | 48.112 | 21.15 | 965.087 | 82.661 | -0.24016
2019-07-11 01:30:00 | 0 | 195.501 | 1.127 | 226.854 | 0 | 182.182 | 0 | 48.1144 | 21.13 | 965.043 | 82.7335 | -0.24016
2019-07-11 01:45:00 | 0 | 193.779 | 1.6383 | 226.814 | 1.127 | 167.432 | 0 | 48.0187 | 21.12 | 965.171 | 83.282 | -0.24016
2019-07-11 02:00:00 | 2.1373 | 151.613 | 2.1497 | 220.473 | 1.894 | 165.567 | 0 | 348.521 | 21.02 | 964.757 | 83.7643 | -0.24016
2019-07-11 02:15:00 | 0 | 158.261 | 2.4053 | 212.265 | 1.3827 | 164.324 | 0 | 345.792 | 20.83 | 964.757 | 84.8553 | -0.16627
2019-07-11 02:30:00 | 0 | 154.877 | 3.428 | 198.751 | 2.661 | 156.581 | 0 | 338.343 | 20.59 | 964.906 | 85.7426 | 0.37687
2019-07-11 02:45:00 | 0.62733 | 149.667 | 3.428 | 199.898 | 2.661 | 158.97 | 0 | 335.473 | 20.44 | 964.757 | 88.2333 | 0.84612
2019-07-11 03:00:00 | 0 | 161.381 | 2.661 | 196.976 | 2.1497 | 157.825 | 0 | 344.873 | 20.22 | 964.906 | 91.337 | -0.022169
2019-07-11 03:15:00 | 2.3927 | 165.593 | 2.661 | 200.215 | 2.4053 | 162.038 | 0 | 344.775 | 20.37 | 964.757 | 89.2224 | -0.19952
2019-07-11 03:30:00 | 0 | 161.405 | 2.661 | 201.213 | 2.661 | 159.164 | 0 | 346.042 | 20.39 | 964.906 | 91.4734 | -0.19952
2019-07-11 03:45:00 | 0 | 153.344 | 2.4053 | 202.626 | 1.894 | 150.008 | 0 | 337.664 | 20.43 | 965.054 | 89.8022 | -0.25125
2019-07-11 04:00:00 | 0 | 147.183 | 1.6383 | 192.13 | 1.127 | 138.027 | 0 | 344.191 | 20.52 | 965.054 | 88.1992 | -0.22169
2019-07-11 04:15:00 | 1.51 | 157.703 | 2.1497 | 196.781 | 2.1497 | 161.113 | 0 | 342.827 | 20.49 | 965.054 | 88.6425 | -0.25864
2019-07-11 04:30:00 | 8.2653 | 164.79 | 2.4053 | 209.834 | 1.894 | 157.947 | 0 | 354.711 | 20.47 | 965.351 | 88.472 | -0.24016
2019-07-11 04:45:00 | 0 | 164.035 | 0.75133 | 211.222 | 0 | 153.028 | 0 | 353.737 | 20.47 | 965.351 | 87.9945 | -0.24016
2019-07-11 05:00:00 | 0 | 164.059 | 1.6383 | 210.004 | 0 | 150.593 | 0 | 353.761 | 20.53 | 965.351 | 88.1992 | -0.24016
2019-07-11 05:15:00 | 0 | 164.035 | 1.3827 | 209.688 | 0 | 148.839 | 0 | 353.761 | 20.64 | 965.648 | 86.7667 | -0.24016
2019-07-11 05:30:00 | 0 | 164.035 | 1.3827 | 209.737 | 1.127 | 148.839 | 0 | 353.785 | 21 | 965.945 | 84.4475 | -0.24016
2019-07-11 05:45:00 | 0 | 164.035 | 0.75133 | 209.712 | 0 | 152.248 | 0 | 353.81 | 21.06 | 966.241 | 83.356 | -0.24016
2019-07-11 06:00:00 | 0 | 164.188 | 0.75133 | 209.81 | 0 | 182.864 | 0 | 353.797 | 21.24 | 966.663 | 83.4836 | -0.24016
2019-07-11 06:15:00 | 0 | 172.115 | 2.4053 | 243.151 | 2.1497 | 187.527 | 0 | 353.774 | 20.87 | 966.449 | 87.0929 | -0.25125
2019-07-11 06:30:00 | 1.2547 | 168.901 | 2.4053 | 240.449 | 1.3827 | 175.499 | 0 | 352.313 | 20.71 | 966.54 | 88.0478 | -0.26972
2019-07-11 06:45:00 | 0 | 174.915 | 1.6383 | 240.449 | 0.75133 | 179.395 | 0 | 353.336 | 20.73 | 966.837 | 88.2524 | -0.24016
2019-07-11 07:00:00 | 0 | 174.914 | 0 | 240.545 | 0 | 209.244 | 0 | 353.334 | 21.02 | 966.985 | 88.0474 | -0.24016
2019-07-11 07:15:00 | 0 | 175.152 | 0.75133 | 240.5 | 0 | 180.142 | 0 | 0.19475 | 21.62 | 967.578 | 86.6004 | -0.24016
2019-07-11 07:30:00 | 0 | 182.839 | 1.127 | 240.701 | 0 | 180.186 | 0 | 0.19475 | 21.87 | 968.172 | 84.2 | -0.26972
2019-07-11 07:45:00 | 0 | 181.131 | 0.37567 | 241.609 | 0 | 247.348 | 0 | 356.786 | 22.23 | 967.853 | 84.0163 | -0.24016
2019-07-11 08:00:00 | 0 | 184.097 | 0.75133 | 240.754 | 0 | 244.23 | 0 | 356.708 | 22.76 | 968.174 | 79.6864 | -0.24016
2019-07-11 08:15:00 | 0 | 252.295 | 0.75133 | 207.912 | 0 | 190.194 | 0 | 119.966 | 23.06 | 968.47 | 77.5688 | -0.24016
2019-07-11 08:30:00 | 0 | 273.514 | 1.894 | 29.3206 | 1.3827 | 272.614 | 0 | 92.315 | 22.61 | 968.43 | 84.5139 | -0.25125
2019-07-11 08:45:00 | 0 | 274.448 | 2.661 | 321.15 | 2.1497 | 286.372 | 0 | 85.975 | 21.91 | 968.17 | 86.9102 | -0.26972
2019-07-11 09:00:00 | 0 | 278.383 | 2.4053 | 334.865 | 2.4053 | 299.213 | 0 | 89.9146 | 22 | 968.025 | 86.1578 | -0.26972
2019-07-11 09:15:00 | 0 | 293.333 | 2.661 | 336.41 | 3.1723 | 297.616 | 0 | 111.284 | 22.79 | 968.173 | 82.5479 | -0.24016
2019-07-11 09:30:00 | 0 | 281.295 | 3.428 | 336.827 | 3.1723 | 267.206 | 0 | 104.585 | 22.54 | 968.025 | 81.9978 | -0.24016
2019-07-11 09:45:00 | 0 | 276.112 | 2.661 | 333.882 | 2.661 | 285.53 | 0 | 120.938 | 22.73 | 967.876 | 81.7252 | -0.29559
2019-07-11 10:00:00 | 0 | 309.367 | 4.195 | 16.6421 | 4.195 | 282.333 | 0 | 93.4866 | 22.79 | 968.173 | 81.382 | -0.26233
2019-07-11 10:15:00 | 0 | 290.087 | 3.1723 | 336.033 | 3.6837 | 276.922 | 0 | 123.763 | 23.42 | 968.321 | 79.0348 | -0.25125
2019-07-11 10:30:00 | 0 | 246.92 | 2.1497 | 320.583 | 2.1497 | 274.54 | 0 | 111.013 | 23.8 | 968.469 | 74.1276 | -0.24016
2019-07-11 10:45:00 | 0 | 324.085 | 2.661 | 11.921 | 0 | 331.385 | 0 | 127.317 | 24.29 | 968.909 | 68.8451 | -0.24016
2019-07-11 11:00:00 | 0 | 302.437 | 2.1497 | 7.7391 | 3.1723 | 290.468 | 0 | 126.842 | 25.02 | 968.031 | 65.6904 | -0.25125
2019-07-11 11:15:00 | 0 | 295.793 | 4.7063 | 7.3986 | 3.428 | 332.065 | 0 | 111.078 | 24.92 | 968.619 | 66.9165 | -0.025864
2019-07-11 11:30:00 | 0 | 301.486 | 3.6837 | 18.4431 | 2.9167 | 285.114 | 0 | 120.468 | 25.04 | 968.471 | 68.075 | -0.25494
2019-07-11 11:45:00 | 0 | 249.693 | 2.661 | 308.148 | 3.428 | 250.35 | 0 | 92.6376 | 25.08 | 968.471 | 62.5895 | -0.044338
2019-07-11 12:00:00 | 0 | 340.75 | 4.195 | 34.9306 | 4.195 | 337.125 | 0 | 168.125 | 25.67 | 968.471 | 62.8961 | 0.014779
2019-07-11 12:15:00 | 0 | 282.729 | 4.4507 | 7.7878 | 1.894 | 311.071 | 0 | 106.845 | 25.5 | 968.619 | 61.6014 | 3.7253e-09
2019-07-11 12:30:00 | 0 | 303.237 | 2.661 | 12.9938 | 1.894 | 283.411 | 0 | 123.582 | 25.74 | 968.175 | 62.9642 | -0.22539
2019-07-11 12:45:00 | 0 | 318.004 | 2.1497 | 0.72669 | 2.1497 | 329.486 | 0 | 121.246 | 26.63 | 968.323 | 57.5128 | -0.30298
2019-07-11 13:00:00 | 0 | 329.486 | 1.894 | 19.5559 | 1.6383 | 341.577 | 0 | 137.253 | 26.47 | 968.175 | 59.6252 | -0.218
2019-07-11 13:15:00 | 0 | 289.346 | 5.2177 | 334.543 | 2.9167 | 264.338 | 0 | 110.372 | 26.02 | 967.582 | 61.2607 | 0.4988
2019-07-11 13:30:00 | 0 | 299.904 | 1.894 | 328.996 | 1.6383 | 274.775 | 0 | 83.9771 | 25.73 | 967.73 | 62.5554 | 0.47294
2019-07-11 13:45:00 | 0 | 300.683 | 4.7063 | 10.3665 | 5.2177 | 305.865 | 0 | 120.395 | 25.99 | 967.285 | 59.4549 | 0.45816
2019-07-11 14:00:00 | 0 | 306.327 | 5.729 | 9.0285 | 3.6837 | 307.519 | 0.37567 | 132.802 | 26.94 | 967.73 | 54.6167 | 1.4632
2019-07-11 14:15:00 | 0 | 289.882 | 4.195 | 19.4648 | 4.7063 | 290.174 | 0 | 126.866 | 26.42 | 967.433 | 57.3424 | 1.7772
2019-07-11 14:30:00 | 0 | 305.646 | 5.4733 | 10.853 | 5.4733 | 308.078 | 2.9167 | 118.132 | 27.13 | 967.73 | 55.8092 | 1.0309
2019-07-11 14:45:00 | 0 | 300.634 | 2.9167 | 16.3509 | 2.1497 | 291.803 | 0 | 117.208 | 26.78 | 967.73 | 55.5707 | 0.79439
2019-07-11 15:00:00 | 0 | 275.633 | 2.661 | 336.905 | 2.661 | 248.218 | 0 | 99.3214 | 27.42 | 967.285 | 55.3969 | 0.10715
2019-07-11 15:15:00 | 0 | 338.827 | 3.428 | 20.8694 | 1.6383 | 340.87 | 0 | 147.762 | 26.7 | 966.692 | 55.6046 | 0.52836
2019-07-11 15:30:00 | 0 | 294.26 | 3.1723 | 332.013 | 1.894 | 298.688 | 0 | 110.25 | 26.85 | 966.84 | 54.4463 | 0.073897
2019-07-11 15:45:00 | 0 | 301.461 | 2.9167 | 12.8965 | 2.4053 | 324.28 | 0 | 126.185 | 27.17 | 967.137 | 52.3339 | -0.070202
2019-07-11 16:00:00 | 0 | 326.025 | 2.9167 | 0.62892 | 3.1723 | 310.164 | 0 | 146.543 | 27.59 | 967.285 | 52.0602 | 0.1404
2019-07-11 16:15:00 | 0 | 304.259 | 1.894 | 15.3296 | 1.6383 | 339.773 | 0 | 120.896 | 27.22 | 966.84 | 53.2154 | 0.51358
2019-07-11 16:30:00 | 0 | 292.288 | 3.1723 | 336.852 | 2.4053 | 300.389 | 0 | 113.266 | 27.02 | 966.396 | 52.8106 | 0.20691
2019-07-11 16:45:00 | 0 | 288.835 | 3.1723 | 328.753 | 3.1723 | 271.028 | 0 | 108.012 | 27.01 | 966.248 | 52.9131 | 0.3547
2019-07-11 17:00:00 | 0 | 301.291 | 5.4733 | 2.8737 | 3.6837 | 301.559 | 0 | 124.847 | 27.66 | 966.989 | 51.7887 | 1.1417
2019-07-11 17:15:00 | 0 | 302.726 | 4.195 | 9.588 | 2.9167 | 305.986 | 0 | 114.751 | 26.99 | 966.692 | 54.31 | 0.67246
2019-07-11 17:30:00 | 0 | 327.54 | 3.1723 | 14.1796 | 3.1723 | 333.719 | 0 | 159.707 | 27.03 | 966.248 | 53.5605 | -0.10346
2019-07-11 17:45:00 | 0 | 296.012 | 1.3827 | 326.612 | 1.127 | 275.845 | 0 | 110.64 | 27.37 | 966.84 | 52.402 | -0.21061
2019-07-11 18:00:00 | 0 | 305.159 | 3.6837 | 329.459 | 2.1497 | 286.038 | 0 | 126.963 | 27.07 | 966.692 | 53.6286 | -0.218
2019-07-11 18:15:00 | 0 | 283.946 | 2.9167 | 332.305 | 2.661 | 279.445 | 0 | 113.753 | 26.82 | 966.84 | 53.5264 | -0.218
2019-07-11 18:30:00 | 0 | 310.997 | 3.1723 | 9.3934 | 2.661 | 322.212 | 0 | 131.488 | 26.78 | 966.248 | 54.1056 | -0.25125
2019-07-11 18:45:00 | 0 | 301.082 | 2.4053 | 12.3604 | 1.894 | 321.884 | 0 | 120.189 | 26.59 | 966.347 | 54.9295 | -0.24016
2019-07-11 19:00:00 | 8.5207 | 316.546 | 2.4053 | 0.73319 | 2.1497 | 325.891 | 2.661 | 139.438 | 26.42 | 965.942 | 55.6904 | -0.24016
2019-07-11 19:15:00 | 2.1373 | 305.301 | 1.3827 | 1.6031 | 1.3827 | 314.815 | 0 | 114.177 | 26.25 | 966.097 | 56.2352 | -0.25125
2019-07-11 19:30:00 | 7.7547 | 300.542 | 1.894 | 11.6286 | 1.6383 | 312.101 | 0 | 115.836 | 26.12 | 965.949 | 56.3735 | -0.24016
2019-07-11 19:45:00 | 0 | 300.42 | 1.6383 | 17.5665 | 1.127 | 308.086 | 0 | 113.841 | 26.07 | 966.097 | 56.4417 | -0.24016
2019-07-11 20:00:00 | 0 | 300.42 | 1.6383 | 15.6196 | 1.3827 | 321.324 | 0 | 113.89 | 26 | 966.241 | 56.3735 | -0.24016
2019-07-11 20:15:00 | 7.7547 | 300.44 | 1.6383 | 7.4421 | 1.3827 | 325.142 | 0 | 113.921 | 25.99 | 966.61 | 56.3772 | -0.25125
2019-07-11 20:30:00 | 0 | 300.489 | 1.127 | 7.149 | 0 | 325.315 | 0 | 113.907 | 25.99 | 966.685 | 56.4161 | -0.24016
2019-07-11 20:45:00 | 0 | 301.371 | 1.127 | 7.1489 | 0 | 338.853 | 0 | 115.953 | 25.91 | 966.685 | 56.8601 | -0.24016
2019-07-11 21:00:00 | 0 | 304.487 | 1.127 | 7.1487 | 0.37567 | 335.277 | 0 | 115.88 | 25.86 | 966.837 | 56.724 | -0.24016
2019-07-11 21:15:00 | 5.712 | 304.439 | 1.6383 | 14.5236 | 1.127 | 311.156 | 10.0753 | 115.467 | 25.83 | 966.821 | 56.5195 | -0.24016
2019-07-11 21:30:00 | 0 | 304.439 | 1.127 | 17.566 | 0 | 311.351 | 0 | 115.369 | 25.79 | 966.985 | 56.5195 | -0.24016
2019-07-11 21:45:00 | 0 | 304.439 | 0.75133 | 17.566 | 0 | 311.4 | 0 | 115.369 | 25.79 | 966.688 | 56.5877 | -0.24016
2019-07-11 22:00:00 | 0 | 304.439 | 0 | 17.566 | 0 | 311.4 | 0 | 115.369 | 25.59 | 966.837 | 57.3376 | -0.24016
2019-07-11 22:15:00 | 0 | 304.439 | 0 | 17.566 | 0 | 311.351 | 0 | 115.369 | 25.47 | 966.54 | 57.2013 | -0.24016
2019-07-11 22:30:00 | 0 | 304.439 | 0 | 17.566 | 0 | 311.375 | 0 | 115.369 | 25.28 | 966.54 | 57.4058 | -0.24016
2019-07-11 22:45:00 | 0 | 304.39 | 0 | 17.566 | 0 | 311.375 | 0 | 115.369 | 25.3 | 966.54 | 57.5422 | -0.24016
2019-07-11 23:00:00 | 0 | 289.546 | 0.75133 | 17.566 | 0 | 311.306 | 0 | 114.908 | 25.35 | 965.947 | 57.7473 | -0.24016
2019-07-11 23:15:00 | 0 | 285.024 | 1.894 | 19.7566 | 1.6383 | 223.784 | 0 | 49.216 | 25.32 | 966.095 | 58.0212 | -0.24016
2019-07-11 23:30:00 | 6.2227 | 214.237 | 2.9167 | 246.202 | 2.661 | 198.222 | 0 | 37.8237 | 25.32 | 966.243 | 58.3605 | -0.24016
2019-07-11 23:45:00 | 2.648 | 206.935 | 2.661 | 246.129 | 2.4053 | 193.889 | 0 | 33.0774 | 25.41 | 966.243 | 55.9741 | -0.24016