## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-12 00:00:00 | 0 | 173.784 | 2.1497 | 190.464 | 1.127 | 138.468 | 0 | 18.498 | 25.35 | 966.095 | 59.008 | -0.25864
2019-07-12 00:15:00 | 0 | 205.912 | 2.661 | 250.096 | 1.6383 | 187.512 | 0 | 28.818 | 25.05 | 965.947 | 58.4967 | -0.25864
2019-07-12 00:30:00 | 0 | 205.547 | 2.4053 | 249.439 | 1.127 | 189.654 | 0 | 24.5342 | 25.11 | 965.797 | 60.2352 | -0.25125
2019-07-12 00:45:00 | 0 | 194.911 | 2.661 | 237.975 | 1.894 | 174.028 | 0 | 21.0537 | 25.01 | 965.947 | 61.0193 | -0.29559
2019-07-12 01:00:00 | 0 | 160.933 | 2.661 | 208.962 | 2.661 | 166.969 | 0 | 354.822 | 24.71 | 965.798 | 61.6329 | 0.066507
2019-07-12 01:15:00 | 0 | 164.146 | 2.9167 | 204.946 | 2.4053 | 158.864 | 0 | 347.033 | 24.32 | 965.798 | 64.7691 | 1.1602
2019-07-12 01:30:00 | 0 | 158.213 | 3.6837 | 192.054 | 2.1497 | 173.206 | 0 | 343.248 | 23.46 | 965.501 | 70.1576 | 0.89415
2019-07-12 01:45:00 | 0 | 161.243 | 5.4733 | 203.121 | 2.661 | 163.531 | 0 | 347.948 | 23.62 | 965.057 | 69.1742 | 2.095
2019-07-12 02:00:00 | 0 | 178.488 | 3.9393 | 222.682 | 2.9167 | 153.462 | 0 | 355.368 | 24.05 | 965.353 | 67.0984 | 2.1319
2019-07-12 02:15:00 | 0 | 181.895 | 3.428 | 211.556 | 3.428 | 161.106 | 2.1497 | 8.7393 | 23.85 | 965.057 | 68.8713 | 2.0433
2019-07-12 02:30:00 | 0 | 185.255 | 2.1497 | 218.081 | 1.6383 | 167.192 | 0 | 10.3217 | 24.05 | 965.205 | 67.985 | 1.6664
2019-07-12 02:45:00 | 0 | 188.493 | 3.6837 | 229.912 | 3.428 | 177.757 | 0.37567 | 15.8721 | 24.17 | 965.057 | 67.3031 | 2.1098
2019-07-12 03:00:00 | 0 | 181.893 | 3.6837 | 223.676 | 3.1723 | 161.98 | 0 | 5.745 | 24.25 | 965.057 | 66.6882 | 2.0248
2019-07-12 03:15:00 | 0 | 182.818 | 4.7063 | 222.337 | 3.428 | 160.933 | 0 | 9.6399 | 24.22 | 965.057 | 66.3473 | 2.3906
2019-07-12 03:30:00 | 0 | 154.92 | 2.1497 | 234.679 | 1.127 | 164.439 | 0 | 356.823 | 24.1 | 964.908 | 68.1884 | 1.6146
2019-07-12 03:45:00 | 0 | 181.067 | 2.9167 | 204.301 | 1.6383 | 149.372 | 0 | 8.861 | 23.95 | 964.76 | 69.1778 | 1.7661
2019-07-12 04:00:00 | 0 | 184.622 | 3.428 | 211.897 | 3.1723 | 157.333 | 0.37567 | 9.3723 | 23.94 | 964.612 | 70.0304 | 1.3301
2019-07-12 04:15:00 | 0 | 177.513 | 3.6837 | 217.593 | 2.9167 | 163.394 | 0 | 2.5317 | 23.8 | 964.463 | 71.6669 | 2.0137
2019-07-12 04:30:00 | 0 | 174.301 | 3.428 | 213.772 | 2.661 | 174.252 | 0 | 4.9174 | 23.9 | 964.612 | 72.0082 | 1.6331
2019-07-12 04:45:00 | 0 | 181.945 | 3.9393 | 227.137 | 3.9393 | 169.797 | 0 | 2.1422 | 23.65 | 964.463 | 72.7583 | 1.9139
2019-07-12 05:00:00 | 0 | 162.712 | 2.9167 | 193.152 | 2.4053 | 140.049 | 0 | 355.148 | 23.69 | 964.76 | 72.8602 | 1.6627
2019-07-12 05:15:00 | 0 | 163.979 | 2.9167 | 204.716 | 1.894 | 171.501 | 0 | 6.0372 | 23.49 | 964.908 | 73.1674 | 2.0617
2019-07-12 05:30:00 | 0 | 179.362 | 3.9393 | 225.576 | 3.9393 | 167.531 | 0.37567 | 3.7976 | 23.77 | 965.205 | 70.9844 | 2.2834
2019-07-12 05:45:00 | 0 | 168.066 | 3.1723 | 211.626 | 2.9167 | 161.055 | 0 | 356.727 | 23.81 | 965.057 | 72.4844 | 1.053
2019-07-12 06:00:00 | 0 | 182.023 | 3.1723 | 223.995 | 2.9167 | 164.132 | 0 | 0.87628 | 23.67 | 965.205 | 73.0916 | 1.0087
2019-07-12 06:15:00 | 0 | 161.615 | 2.9167 | 211.348 | 1.6383 | 169.306 | 0 | 352.121 | 24.05 | 965.501 | 71.7916 | 2.5384
2019-07-12 06:30:00 | 0 | 152.268 | 2.4053 | 205.7 | 1.6383 | 171.034 | 0 | 339.196 | 23.86 | 965.501 | 74.0072 | 2.228
2019-07-12 06:45:00 | 0 | 152.509 | 3.428 | 201.729 | 3.428 | 150.318 | 0 | 342.938 | 23.91 | 965.627 | 72.0629 | 2.1282
2019-07-12 07:00:00 | 0 | 150.685 | 3.1723 | 199.457 | 2.4053 | 159.64 | 0 | 351.817 | 24.01 | 965.751 | 72.2564 | 1.8474
2019-07-12 07:15:00 | 0 | 154.773 | 3.9393 | 196.658 | 3.9393 | 148.543 | 0.37567 | 351.403 | 24.31 | 965.802 | 70.5522 | 2.1689
2019-07-12 07:30:00 | 0 | 159.153 | 3.9393 | 201.233 | 3.9393 | 166.697 | 0 | 343.372 | 24.42 | 965.801 | 70.6885 | 3.0926
2019-07-12 07:45:00 | 0 | 151.764 | 4.195 | 195.419 | 4.4507 | 144.854 | 5.729 | 337.522 | 24.2 | 965.949 | 71.4311 | 3.3032
2019-07-12 08:00:00 | 0 | 145.523 | 6.2403 | 196.825 | 5.4733 | 146.253 | 2.2853 | 335.774 | 24.26 | 966.074 | 73.0731 | 4.8883
2019-07-12 08:15:00 | 0 | 152.786 | 4.962 | 196.952 | 4.7063 | 145.219 | 2.4053 | 320.075 | 24.35 | 966.071 | 72.9986 | 3.3291
2019-07-12 08:30:00 | 0 | 158.579 | 4.4507 | 183.053 | 5.2177 | 141.11 | 4.7063 | 331.999 | 24.57 | 965.981 | 71.5229 | 4.0163
2019-07-12 08:45:00 | 0 | 151.558 | 6.7517 | 193.203 | 4.7063 | 147.982 | 1.894 | 322.431 | 24.94 | 965.951 | 70.3578 | 5.6679
2019-07-12 09:00:00 | 0 | 154.355 | 4.4507 | 196.438 | 5.2177 | 154.355 | 0.75133 | 331.7 | 25.01 | 966.099 | 69.5741 | 5.4721
2019-07-12 09:15:00 | 0 | 131.61 | 5.2177 | 171.941 | 5.4733 | 129.809 | 3.6837 | 335.714 | 25.27 | 966.099 | 70.3918 | 5.4314
2019-07-12 09:30:00 | 0 | 132.412 | 4.195 | 198.092 | 3.6837 | 165.376 | 0 | 331.238 | 25.73 | 966.544 | 67.7002 | 3.3623
2019-07-12 09:45:00 | 0 | 184.056 | 4.7063 | 233.169 | 3.6837 | 213.832 | 0 | 0 | 26.89 | 966.396 | 61.6687 | 3.185
2019-07-12 10:00:00 | 0 | 201.885 | 4.7063 | 260.192 | 5.729 | 183.129 | 0.37567 | 27.0023 | 26.81 | 966.248 | 59.6236 | 3.414
2019-07-12 10:15:00 | 0 | 205.24 | 5.4733 | 228.59 | 7.263 | 188.431 | 0 | 12.528 | 27.02 | 965.951 | 60.6112 | 3.281
2019-07-12 10:30:00 | 0 | 192.267 | 5.9847 | 239.915 | 6.2403 | 193.142 | 0 | 12.114 | 27.3 | 966.099 | 56.9633 | 3.2958
2019-07-12 10:45:00 | 0 | 190.212 | 4.4507 | 237.282 | 4.7063 | 191.599 | 1.007 | 6.325 | 26.95 | 966.248 | 58.739 | 3.0335
2019-07-12 11:00:00 | 0 | 173.282 | 3.428 | 213.345 | 4.7063 | 160.559 | 0 | 9.22 | 27.09 | 966.099 | 60.1022 | 1.6257
2019-07-12 11:15:00 | 0 | 186.175 | 3.6837 | 235.532 | 2.9167 | 188.875 | 0.37567 | 0.24327 | 27.38 | 965.951 | 57.5809 | 1.1084
2019-07-12 11:30:00 | 0 | 138.308 | 3.428 | 197.824 | 2.9167 | 156.843 | 2.661 | 48.2593 | 27.94 | 966.544 | 55.8027 | 2.3388
2019-07-12 11:45:00 | 0 | 178.135 | 6.496 | 223.221 | 7.0073 | 186.843 | 1.5183 | 0.94856 | 28 | 965.803 | 55.0825 | 1.4668
2019-07-12 12:00:00 | 0 | 207.14 | 9.0527 | 252.538 | 9.0527 | 172.385 | 0 | 17.2677 | 28.1 | 965.506 | 55.9308 | 3.0409
2019-07-12 12:15:00 | 0 | 191.177 | 3.9393 | 221.598 | 4.962 | 158.39 | 1.1427 | 347.791 | 28.26 | 965.358 | 56.3784 | 2.3019
2019-07-12 12:30:00 | 0 | 193.708 | 3.428 | 245.631 | 4.4507 | 184.587 | 0 | 18.5098 | 27.92 | 965.358 | 57.8436 | 1.2341
2019-07-12 12:45:00 | 0 | 284.127 | 1.6383 | 12.8968 | 3.428 | 327.014 | 0 | 90.444 | 26.35 | 963.876 | 68.5488 | 0.56162
2019-07-12 13:00:00 | 2.4147 | 25.8878 | 7.5187 | 81.9212 | 3.9393 | 32.4815 | 0.75133 | 207.346 | 25.1 | 962.934 | 84.4418 | 11.2804
2019-07-12 13:15:00 | 11.84 | 17.9107 | 3.6837 | 18.3523 | 1.894 | 183.682 | 2.1497 | 198.478 | 22.45 | 962.686 | 83.6396 | 21.716
2019-07-12 13:30:00 | 6.478 | 24.388 | 9.3083 | 66.1613 | 4.4507 | 20.1043 | 5.2177 | 206.86 | 20.7 | 962.233 | 89.0739 | 25.5979
2019-07-12 13:45:00 | 0 | 24.3436 | 4.4507 | 79.2002 | 2.4053 | 27.1675 | 0 | 209.16 | 20.75 | 962.09 | 87.862 | 18.702
2019-07-12 14:00:00 | 0 | 156.166 | 5.9847 | 204.316 | 5.9847 | 156.118 | 0 | 336.145 | 21.64 | 962.238 | 83.819 | 15.3676
2019-07-12 14:15:00 | 0 | 159.795 | 7.263 | 218.268 | 6.2403 | 157.384 | 0.63133 | 340.723 | 22.09 | 962.1 | 84.092 | 14.3766
2019-07-12 14:30:00 | 0 | 183.899 | 5.729 | 231.513 | 5.9847 | 184.995 | 0 | 9.6417 | 21.89 | 962.437 | 87.9113 | 13.4788
2019-07-12 14:45:00 | 7.7547 | 205.642 | 7.0073 | 243.784 | 5.729 | 191.009 | 1.2627 | 30.3617 | 21.56 | 962.257 | 89.6845 | 20.4916
2019-07-12 15:00:00 | 0 | 213.579 | 3.428 | 257.638 | 4.4507 | 179.2 | 0 | 54.2226 | 21.25 | 962.128 | 93.572 | 32.522
2019-07-12 15:15:00 | 0 | 221.425 | 4.962 | 250.609 | 4.4507 | 200.656 | 0.63133 | 45.069 | 20.7 | 962.247 | 92.8243 | 33.1575
2019-07-12 15:30:00 | 0 | 199.476 | 4.7063 | 238.501 | 4.7063 | 181.067 | 1.007 | 24.1066 | 20.71 | 962.078 | 93.6491 | 16.5899
2019-07-12 15:45:00 | 0 | 195.926 | 4.7063 | 232.809 | 4.195 | 181.437 | 5.729 | 17.1429 | 20.77 | 962.086 | 89.1495 | 12.2706
2019-07-12 16:00:00 | 0 | 182.462 | 4.195 | 229.914 | 3.428 | 170.895 | 0 | 3.3117 | 21.43 | 961.789 | 79.7374 | 4.1789
2019-07-12 16:15:00 | 0 | 181.118 | 4.962 | 226.036 | 4.7063 | 168.188 | 0.37567 | 7.3051 | 23.35 | 961.641 | 67.799 | 1.3486
2019-07-12 16:30:00 | 0 | 139.368 | 6.2403 | 190.123 | 6.496 | 138.832 | 5.9847 | 325.24 | 24.05 | 960.757 | 62.4726 | 10.6154
2019-07-12 16:45:00 | 0.744 | 258.209 | 10.5867 | 300.758 | 9.0527 | 259.353 | 3.6837 | 80.0557 | 22.77 | 961.498 | 89.6846 | 9.3369
2019-07-12 17:00:00 | 0 | 248.445 | 4.4507 | 299.882 | 3.6837 | 262.08 | 0 | 69.9513 | 20.16 | 960.936 | 91.526 | 2.0419
2019-07-12 17:15:00 | 0 | 209.684 | 2.9167 | 211.695 | 2.4053 | 140.341 | 0 | 62.7689 | 20.75 | 961.373 | 89.0369 | -0.022169
2019-07-12 17:30:00 | 8.776 | 153.419 | 1.6383 | 191.782 | 1.6383 | 138.299 | 0 | 0.19479 | 22.23 | 961.142 | 62.9511 | 0.82764
2019-07-12 17:45:00 | 0 | 145.965 | 2.661 | 204.95 | 3.1723 | 191.082 | 0 | 332.738 | 24.24 | 961.549 | 66.4962 | 2.3721
2019-07-12 18:00:00 | 0 | 139.367 | 4.195 | 181.186 | 3.1723 | 138.977 | 0 | 331.179 | 23.95 | 961.645 | 59.5397 | 6.7172
2019-07-12 18:15:00 | 0 | 159.21 | 5.2177 | 197.684 | 4.962 | 148.401 | 0 | 343.933 | 23.69 | 961.497 | 65.122 | 16.3164
2019-07-12 18:30:00 | 0 | 161.252 | 6.2403 | 202.209 | 5.729 | 157.649 | 4.7063 | 350.938 | 23.61 | 961.793 | 75.5881 | 21.8735
2019-07-12 18:45:00 | 0 | 150.954 | 7.263 | 182.368 | 6.2403 | 151.344 | 3.9393 | 341.15 | 22.97 | 961.793 | 79.3722 | 23.8761
2019-07-12 19:00:00 | 0 | 146.305 | 5.2177 | 205.275 | 5.4733 | 168.092 | 2.0297 | 335.989 | 22.7 | 962.09 | 80.1904 | 22.7529
2019-07-12 19:15:00 | 5.4567 | 155.774 | 6.2403 | 200.09 | 5.4733 | 152.415 | 2.9167 | 318.487 | 22.69 | 961.793 | 81.1452 | 24.3416
2019-07-12 19:30:00 | 8.2653 | 140.609 | 5.729 | 205.276 | 5.9847 | 159.354 | 5.9847 | 326.01 | 22.79 | 961.942 | 82.5776 | 28.2988
2019-07-12 19:45:00 | 5.4567 | 150.785 | 7.7743 | 197.219 | 5.2177 | 150.882 | 5.9847 | 334.92 | 22.64 | 962.09 | 82.9867 | 25.7383
2019-07-12 20:00:00 | 7.4993 | 152.099 | 6.7517 | 196.367 | 6.496 | 148.715 | 5.729 | 339.448 | 22.72 | 961.942 | 82.3048 | 23.7172
2019-07-12 20:15:00 | 6.478 | 147.523 | 7.7743 | 187.749 | 7.0073 | 144.894 | 4.962 | 331.075 | 22.78 | 962.09 | 82.4414 | 25.7531
2019-07-12 20:30:00 | 1.138 | 148.037 | 5.9847 | 191.502 | 4.962 | 153.855 | 3.6837 | 321.44 | 22.68 | 962.238 | 83.0224 | 29.9319
2019-07-12 20:45:00 | 2.1373 | 140.69 | 6.496 | 212.519 | 7.0073 | 138.328 | 5.9847 | 323.107 | 22.83 | 962.238 | 79.3769 | 30.8889
2019-07-12 21:00:00 | 6.9887 | 137.264 | 7.0073 | 200.383 | 5.9847 | 152.895 | 5.9847 | 322.369 | 23.01 | 962.09 | 78.3241 | 38.7183
2019-07-12 21:15:00 | 0.372 | 146.212 | 6.2403 | 191.454 | 7.263 | 146.82 | 1.3983 | 329.354 | 22.71 | 962.535 | 81.6931 | 44.4933
2019-07-12 21:30:00 | 7.4993 | 135.994 | 7.5187 | 192.318 | 8.2857 | 151.478 | 4.962 | 326.718 | 22.73 | 962.683 | 81.1519 | 37.4583
2019-07-12 21:45:00 | 6.9887 | 147.943 | 8.5413 | 196.985 | 8.03 | 163.621 | 2.1497 | 330.334 | 22.4 | 962.238 | 84.627 | 36.8672
2019-07-12 22:00:00 | 6.2227 | 149.002 | 6.7517 | 191.33 | 6.7517 | 168.212 | 2.541 | 333.21 | 22.09 | 962.09 | 86.6459 | 30.3458
2019-07-12 22:15:00 | 6.7333 | 152.466 | 6.496 | 197.937 | 5.729 | 154.316 | 4.195 | 337.46 | 21.81 | 962.09 | 88.9342 | 24.2419
2019-07-12 22:30:00 | 8.5207 | 147.718 | 5.729 | 201.565 | 5.9847 | 155.217 | 4.7063 | 336.146 | 21.53 | 961.942 | 90.503 | 25.7013
2019-07-12 22:45:00 | 4.946 | 151.054 | 8.2857 | 199.788 | 7.7743 | 158.845 | 3.1723 | 340.821 | 21.44 | 961.793 | 91.5942 | 25.5942
2019-07-12 23:00:00 | 9.2867 | 151.736 | 7.7743 | 189.732 | 5.4733 | 158.407 | 8.03 | 340.236 | 21.45 | 961.961 | 90.2984 | 17.7205
2019-07-12 23:15:00 | 0 | 159.283 | 6.2403 | 212.595 | 5.4733 | 167.27 | 4.4507 | 346.543 | 21.45 | 962.092 | 90.7758 | 13.3938
2019-07-12 23:30:00 | 0.62733 | 149.496 | 5.4733 | 207.068 | 4.962 | 161.45 | 0.37567 | 335.099 | 21.59 | 961.833 | 86.9565 | 12.2152
2019-07-12 23:45:00 | 2.4147 | 147.67 | 5.729 | 196.72 | 5.2177 | 159.819 | 5.729 | 346.08 | 21.46 | 961.711 | 86.2063 | 13.8039