## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-13 00:00:00 | 0 | 155.631 | 6.2403 | 205.12 | 5.2177 | 159.819 | 4.7063 | 340.869 | 21.56 | 961.852 | 85.7289 | 12.9837
2019-07-13 00:15:00 | 0 | 166.588 | 5.2177 | 212.376 | 4.962 | 169.412 | 4.4507 | 350.657 | 21.56 | 961.583 | 86.0017 | 8.5129
2019-07-13 00:30:00 | 0 | 185.871 | 5.2177 | 224.014 | 4.7063 | 172.431 | 0 | 7.4991 | 21.64 | 961.323 | 84.092 | 8.2063
2019-07-13 00:45:00 | 0 | 181.294 | 6.2403 | 217.732 | 4.195 | 172.991 | 5.4733 | 9.1791 | 22.24 | 961.448 | 81.6709 | 8.572
2019-07-13 01:00:00 | 0 | 183.144 | 5.2177 | 234.776 | 3.6837 | 191.958 | 0 | 13.1478 | 22.1 | 961.508 | 81.1594 | 8.1213
2019-07-13 01:15:00 | 0 | 175.061 | 4.4507 | 224.866 | 4.195 | 173.405 | 5.729 | 0.24348 | 22.35 | 961.498 | 81.2958 | 8.3504
2019-07-13 01:30:00 | 0 | 184.946 | 5.2177 | 225.28 | 4.7063 | 182.146 | 3.428 | 8.7652 | 22.2 | 961.2 | 80.9548 | 6.6581
2019-07-13 01:45:00 | 3.414 | 183.242 | 3.1723 | 242.372 | 2.9167 | 188.769 | 1.127 | 5.04 | 22.27 | 961.2 | 79.1816 | 4.105
2019-07-13 02:00:00 | 0.62733 | 193.565 | 3.9393 | 232.633 | 3.1723 | 175.499 | 2.9167 | 13.1965 | 22.31 | 960.903 | 78.636 | 4.4116
2019-07-13 02:15:00 | 0 | 182.998 | 4.4507 | 235.847 | 4.4507 | 166.296 | 3.6837 | 26.6852 | 22.28 | 961.052 | 79.1816 | 6.6027
2019-07-13 02:30:00 | 0 | 187.795 | 4.7063 | 226.936 | 4.962 | 168.268 | 2.661 | 13.2939 | 22.14 | 960.903 | 78.9088 | 7.7887
2019-07-13 02:45:00 | 0 | 180.661 | 4.4507 | 214.956 | 4.195 | 172.285 | 3.308 | 1.8261 | 21.94 | 960.903 | 79.8295 | 8.4575
2019-07-13 03:00:00 | 0 | 173.649 | 3.9393 | 224.501 | 4.195 | 172.042 | 0 | 0.34087 | 21.61 | 960.607 | 83.6828 | 8.2765
2019-07-13 03:15:00 | 0 | 181.27 | 5.729 | 218.341 | 3.6837 | 154.365 | 5.729 | 5.0887 | 21.77 | 960.458 | 81.9778 | 8.1767
2019-07-13 03:30:00 | 0 | 179.711 | 4.7063 | 222.236 | 4.195 | 172.87 | 0.37567 | 2.0939 | 22.04 | 960.32 | 80.7502 | 9.1447
2019-07-13 03:45:00 | 0 | 166.661 | 4.7063 | 215.37 | 4.4507 | 164.883 | 0.37567 | 1.753 | 21.69 | 960.47 | 82.1142 | 9.9428
2019-07-13 04:00:00 | 0 | 160.087 | 3.9393 | 205.217 | 2.661 | 164.591 | 0 | 354.358 | 21.48 | 960.325 | 83.5464 | 9.4957
2019-07-13 04:15:00 | 0 | 156.751 | 3.1723 | 218.097 | 2.9167 | 203.743 | 0.37567 | 354.456 | 21.4 | 960.349 | 84.2285 | 9.7655
2019-07-13 04:30:00 | 0 | 175.986 | 5.2177 | 220.118 | 4.7063 | 173.356 | 0.75133 | 0.19478 | 21.55 | 960.351 | 82.728 | 11.89
2019-07-13 04:45:00 | 0 | 166.271 | 5.2177 | 212.814 | 4.4507 | 171.944 | 0.63133 | 344.083 | 21.29 | 960.571 | 84.2626 | 15.0454
2019-07-13 05:00:00 | 0 | 157.141 | 5.2177 | 201.516 | 5.4733 | 154.609 | 4.962 | 347.103 | 20.93 | 960.503 | 85.7971 | 12.0711
2019-07-13 05:15:00 | 0 | 158.214 | 4.195 | 200.691 | 2.1497 | 172.579 | 0 | 349.93 | 21.18 | 960.551 | 83.6836 | 8.6533
2019-07-13 05:30:00 | 0.99933 | 184.022 | 4.962 | 225.476 | 3.9393 | 163.84 | 4.962 | 7.4993 | 21.52 | 960.828 | 81.9783 | 5.7048
2019-07-13 05:45:00 | 0.744 | 165.078 | 2.4053 | 224.647 | 2.1497 | 110.977 | 0.63133 | 352.143 | 22.21 | 961.204 | 81.9097 | 6.4401
2019-07-13 06:00:00 | 0 | 164.543 | 3.9393 | 203.513 | 4.195 | 165.127 | 1.2627 | 0.99826 | 21.98 | 961.2 | 83.7511 | 6.0632
2019-07-13 06:15:00 | 0 | 169.702 | 3.9393 | 214.53 | 3.6837 | 165.855 | 0 | 351.478 | 21.85 | 961.2 | 84.829 | 7.6779
2019-07-13 06:30:00 | 0 | 169.7 | 4.195 | 203.67 | 4.195 | 154.68 | 5.9847 | 356.83 | 21.8 | 961.645 | 85.1006 | 7.6964
2019-07-13 06:45:00 | 0.88267 | 168.824 | 4.4507 | 217.098 | 3.428 | 156.556 | 0 | 347.967 | 21.94 | 961.645 | 83.5889 | 7.7038
2019-07-13 07:00:00 | 0 | 152.292 | 4.4507 | 199.348 | 4.4507 | 155.384 | 0 | 341.63 | 22.05 | 961.645 | 83.7566 | 8.0215
2019-07-13 07:15:00 | 0 | 154.202 | 3.9393 | 203.734 | 3.9393 | 153.958 | 0 | 345.591 | 22.25 | 962.169 | 82.5563 | 5.7344
2019-07-13 07:30:00 | 0 | 153.289 | 2.9167 | 195.66 | 2.4053 | 161.003 | 0 | 327.992 | 22.46 | 961.957 | 81.7996 | 2.4866
2019-07-13 07:45:00 | 0 | 161.196 | 3.428 | 205.271 | 3.428 | 152.289 | 0 | 0.19468 | 23.07 | 962.538 | 79.5494 | 1.0715
2019-07-13 08:00:00 | 0 | 160.994 | 2.9167 | 237.065 | 2.661 | 200.026 | 0 | 338.731 | 23.85 | 962.806 | 75.388 | 0.80917
2019-07-13 08:15:00 | 0.372 | 188.195 | 2.661 | 193.231 | 3.1723 | 143.457 | 0 | 2.5304 | 24.36 | 962.775 | 76.8076 | 0.15518
2019-07-13 08:30:00 | 0 | 169.609 | 2.661 | 205.512 | 2.9167 | 164.67 | 0 | 356.66 | 24.48 | 962.986 | 76.9336 | 0.52467
2019-07-13 08:45:00 | 0 | 186.248 | 2.4053 | 239.619 | 2.1497 | 179.437 | 0 | 9.7308 | 25.07 | 963.283 | 75.4344 | 0.55053
2019-07-13 09:00:00 | 0 | 212.027 | 2.1497 | 234.866 | 3.428 | 172.69 | 0 | 3.2353 | 25.27 | 963.283 | 74.8865 | -0.11084
2019-07-13 09:15:00 | 0 | 209.958 | 2.1497 | 266.819 | 3.6837 | 190.694 | 3.9393 | 44.6817 | 25.85 | 963.135 | 73.0718 | -0.10346
2019-07-13 09:30:00 | 0 | 175.612 | 5.2177 | 226.927 | 3.1723 | 197.648 | 0 | 349.886 | 25.61 | 962.69 | 73.6502 | 0.062812
2019-07-13 09:45:00 | 0 | 199.018 | 3.6837 | 249.509 | 3.6837 | 180.702 | 0.37567 | 0.53512 | 25.55 | 962.986 | 72.9036 | -0.25864
2019-07-13 10:00:00 | 0 | 210.983 | 5.4733 | 250.535 | 5.729 | 202.348 | 5.729 | 21.8938 | 25.77 | 962.394 | 71.2077 | -0.13301
2019-07-13 10:15:00 | 0 | 205.977 | 3.6837 | 253.436 | 4.195 | 202.499 | 5.4733 | 28.414 | 25.9 | 962.838 | 71.3799 | -0.033254
2019-07-13 10:30:00 | 0 | 198.29 | 4.4507 | 243.341 | 4.962 | 192.379 | 0 | 17.3939 | 26.23 | 962.394 | 66.5758 | -0.15888
2019-07-13 10:45:00 | 0 | 192.087 | 4.4507 | 239.424 | 5.9847 | 200.407 | 0 | 7.0792 | 26.71 | 962.394 | 67.0869 | 5.5879e-09
2019-07-13 11:00:00 | 0 | 173.279 | 5.2177 | 227.889 | 5.4733 | 185.54 | 0.75133 | 14.815 | 26.99 | 962.542 | 63.6106 | -0.011085
2019-07-13 11:15:00 | 0 | 194.033 | 4.195 | 234.632 | 4.7063 | 186.37 | 5.729 | 30.1413 | 27.27 | 962.69 | 61.2606 | 0.17366
2019-07-13 11:30:00 | 0 | 200.09 | 5.9847 | 236.286 | 6.2403 | 211.135 | 0 | 1.3623 | 27.48 | 962.542 | 57.5468 | 0.39535
2019-07-13 11:45:00 | 0 | 205.71 | 3.1723 | 290.024 | 3.428 | 241.811 | 0 | 33.5227 | 27.81 | 962.69 | 54.7189 | 0.16627
2019-07-13 12:00:00 | 0 | 220.791 | 4.4507 | 243.266 | 6.2403 | 175.519 | 0 | 32.9386 | 28.08 | 962.69 | 54.7867 | 0.10715
2019-07-13 12:15:00 | 0 | 211.353 | 4.195 | 243.121 | 4.195 | 185.932 | 1.3983 | 36.5636 | 28.38 | 962.69 | 53.6626 | 0.31776
2019-07-13 12:30:00 | 0 | 158.418 | 3.1723 | 228.112 | 3.9393 | 204.347 | 0 | 10.7039 | 28.17 | 962.69 | 56.7632 | 0.14779
2019-07-13 12:45:00 | 0 | 221.206 | 3.6837 | 238.354 | 4.195 | 203.228 | 0 | 14.28 | 28.75 | 962.394 | 52.879 | 0.37687
2019-07-13 13:00:00 | 0 | 196.367 | 2.1497 | 237.622 | 2.4053 | 229.087 | 0 | 32.4278 | 28.8 | 962.69 | 53.6965 | 0.17366
2019-07-13 13:15:00 | 0 | 178.026 | 4.195 | 230.885 | 3.9393 | 164.256 | 0 | 347.245 | 28.68 | 962.394 | 52.6065 | 0.029559
2019-07-13 13:30:00 | 0 | 209.018 | 5.4733 | 264.846 | 3.9393 | 187.464 | 0 | 36.7582 | 29.2 | 962.245 | 50.494 | -0.022169
2019-07-13 13:45:00 | 0 | 209.518 | 3.9393 | 243.765 | 6.2403 | 185.412 | 0 | 44.2973 | 29.5 | 962.394 | 48.0384 | 0.36579
2019-07-13 14:00:00 | 0 | 208.55 | 4.7063 | 258.164 | 3.1723 | 212.904 | 0 | 33.08 | 29.85 | 962.245 | 43.5712 | 0.096066
2019-07-13 14:15:00 | 0 | 203.376 | 3.428 | 281.44 | 4.4507 | 245.987 | 0 | 32.9069 | 29.9 | 962.394 | 44.2146 | -0.055423
2019-07-13 14:30:00 | 0 | 225.679 | 3.428 | 288.047 | 4.4507 | 240.27 | 0 | 51.0695 | 30.42 | 962.394 | 36.8529 | 0.42491
2019-07-13 14:45:00 | 0 | 193.286 | 4.962 | 247.288 | 5.2177 | 181.516 | 0 | 16.0018 | 30.41 | 962.245 | 44.5504 | 0.60226
2019-07-13 15:00:00 | 0 | 200.971 | 4.4507 | 240.211 | 3.9393 | 185.552 | 0 | 11.9162 | 30.38 | 962.394 | 43.0518 | 0.56901
2019-07-13 15:15:00 | 0 | 185.601 | 6.7517 | 235.493 | 6.496 | 191.778 | 0 | 1.07 | 30.52 | 961.949 | 42.9496 | 1.3338
2019-07-13 15:30:00 | 0 | 183.753 | 5.4733 | 212.877 | 6.2403 | 182.099 | 0 | 3.7208 | 30.44 | 962.067 | 45.6744 | 1.489
2019-07-13 15:45:00 | 0 | 199.487 | 5.729 | 237.293 | 5.729 | 195.839 | 0 | 87.3288 | 30.53 | 961.8 | 44.5504 | 1.9693
2019-07-13 16:00:00 | 0 | 189.662 | 5.2177 | 238.752 | 5.4733 | 184.045 | 0 | 14.1779 | 30.68 | 961.781 | 44.5504 | 1.5851
2019-07-13 16:15:00 | 1.51 | 173.15 | 3.6837 | 211.466 | 3.428 | 174.414 | 0 | 21.3033 | 30.42 | 961.652 | 44.5504 | 2.2391
2019-07-13 16:30:00 | 0 | 174.877 | 5.9847 | 219.54 | 5.9847 | 178.208 | 0 | 356.149 | 30.44 | 961.633 | 45.0954 | 2.0802
2019-07-13 16:45:00 | 0 | 181.224 | 5.729 | 229 | 5.729 | 183.656 | 0 | 5.569 | 30.46 | 961.355 | 44.0055 | 1.5075
2019-07-13 17:00:00 | 0 | 184.142 | 5.2177 | 231.165 | 5.729 | 172.761 | 0 | 16.6584 | 30.31 | 961.504 | 46.0491 | 1.4188
2019-07-13 17:15:00 | 0 | 155.835 | 4.195 | 201.982 | 3.9393 | 160.601 | 0 | 351.893 | 30.46 | 961.8 | 46.0491 | 1.0235
2019-07-13 17:30:00 | 0 | 176.579 | 4.4507 | 219.394 | 4.7063 | 172.688 | 0 | 8.2198 | 30.26 | 961.8 | 48.297 | 2.2723
2019-07-13 17:45:00 | 0 | 252.502 | 3.1723 | 271.826 | 3.428 | 210.698 | 0 | 54.2309 | 29.86 | 961.8 | 45.5722 | 2.6751
2019-07-13 18:00:00 | 0 | 256.566 | 3.6837 | 298.483 | 3.6837 | 244.358 | 0 | 78.502 | 29.55 | 961.504 | 46.2539 | 2.4718
2019-07-13 18:15:00 | 0 | 256.529 | 4.962 | 298.916 | 4.195 | 264.871 | 0 | 77.8318 | 29.18 | 961.504 | 48.3723 | 1.744
2019-07-13 18:30:00 | 0 | 256.43 | 3.428 | 297.704 | 3.1723 | 244.024 | 0 | 88.5659 | 28.95 | 961.355 | 48.9558 | 1.2599
2019-07-13 18:45:00 | 0 | 235.875 | 2.9167 | 292.749 | 2.4053 | 237.383 | 0 | 60.7447 | 28.68 | 961.059 | 49.9488 | 0.89415
2019-07-13 19:00:00 | 0 | 226.923 | 2.4053 | 270.563 | 1.6383 | 227.604 | 0 | 49.0677 | 28.79 | 960.911 | 48.3816 | 0.33254
2019-07-13 19:15:00 | 0 | 214.301 | 2.1497 | 265.581 | 1.3827 | 220.699 | 0 | 33.5719 | 28.77 | 960.762 | 48.7913 | 0.30667
2019-07-13 19:30:00 | 0 | 198.653 | 2.1497 | 241.578 | 1.3827 | 199.237 | 0 | 24.9168 | 28.65 | 960.941 | 49.8243 | -0.0073897
2019-07-13 19:45:00 | 0 | 167.742 | 2.1497 | 220.285 | 1.6383 | 172.293 | 0 | 2.8716 | 28.62 | 960.758 | 49.6927 | -0.16257
2019-07-13 20:00:00 | 3.6693 | 185.326 | 2.4053 | 236.965 | 1.127 | 191.604 | 0 | 10.1229 | 28.62 | 961.055 | 49.7922 | -0.28081
2019-07-13 20:15:00 | 0 | 198.667 | 2.1497 | 241.84 | 1.894 | 212.392 | 0 | 38.1566 | 28.61 | 961.352 | 48.5328 | -0.25125
2019-07-13 20:30:00 | 2.648 | 213.945 | 2.4053 | 252.152 | 1.894 | 202.654 | 0.37567 | 38.5451 | 28.57 | 961.797 | 49.486 | -0.27342
2019-07-13 20:45:00 | 0 | 228.334 | 2.4053 | 265.155 | 1.894 | 212.297 | 0 | 44.192 | 28.59 | 962.093 | 49.624 | -0.26233
2019-07-13 21:00:00 | 0 | 221.517 | 2.9167 | 265.103 | 2.661 | 211.808 | 0 | 41.7824 | 28.53 | 961.945 | 49.7597 | -0.26972
2019-07-13 21:15:00 | 0 | 209.787 | 3.6837 | 249.431 | 2.661 | 201.294 | 0 | 34.2628 | 28.48 | 961.945 | 49.6231 | -0.070202
2019-07-13 21:30:00 | 5.4567 | 202.848 | 3.1723 | 244.851 | 2.4053 | 199.928 | 0 | 22.5819 | 28.52 | 961.797 | 50.338 | -0.17735
2019-07-13 21:45:00 | 0 | 198.392 | 3.6837 | 239.956 | 2.9167 | 190.873 | 0 | 19.2723 | 28.4 | 962.093 | 52.0072 | -0.14779
2019-07-13 22:00:00 | 0 | 194.554 | 3.6837 | 237.07 | 3.428 | 196.233 | 0 | 14.9657 | 28.17 | 961.797 | 53.7813 | 0.98283
2019-07-13 22:15:00 | 0 | 191.758 | 3.6837 | 239.505 | 2.4053 | 190.249 | 0 | 6.4974 | 28 | 961.945 | 54.702 | 2.3056
2019-07-13 22:30:00 | 0 | 176.577 | 3.9393 | 218.242 | 3.1723 | 167.743 | 0 | 3.0419 | 27.69 | 961.945 | 55.0781 | 2.494
2019-07-13 22:45:00 | 0 | 176.869 | 3.9393 | 211.478 | 3.428 | 161.417 | 0 | 7.3979 | 27.33 | 961.648 | 56.544 | 2.6825
2019-07-13 23:00:00 | 0 | 187.188 | 3.9393 | 231.871 | 2.9167 | 188.794 | 0 | 15.1853 | 27.37 | 961.648 | 57.1234 | 2.3647
2019-07-13 23:15:00 | 0.372 | 184.997 | 3.1723 | 224.57 | 2.661 | 173.657 | 0 | 13.0438 | 27.56 | 961.797 | 57.805 | 2.9152
2019-07-13 23:30:00 | 0 | 175.117 | 3.9393 | 211.624 | 3.1723 | 172.1 | 0 | 3.3583 | 27.3 | 961.5 | 58.9639 | 4.7257
2019-07-13 23:45:00 | 1.51 | 177.843 | 4.4507 | 218.487 | 3.1723 | 182.369 | 0 | 4.356 | 27.14 | 961.352 | 59.85 | 6.78