## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-14 00:00:00 | 0 | 179.449 | 4.962 | 213.036 | 2.9167 | 173.414 | 0.75133 | 4.1127 | 26.91 | 961.055 | 60.9407 | 8.5203
2019-07-14 00:15:00 | 0 | 180.325 | 3.6837 | 216.442 | 2.661 | 174.436 | 0 | 8.6877 | 26.54 | 960.771 | 61.0088 | 6.5731
2019-07-14 00:30:00 | 0 | 187.674 | 3.428 | 232.699 | 3.9393 | 175.117 | 1.5183 | 14.6499 | 26.73 | 960.791 | 61.6223 | 5.4979
2019-07-14 00:45:00 | 0 | 188.842 | 3.6837 | 228.659 | 2.661 | 168.547 | 0 | 13.6278 | 26.78 | 960.847 | 61.077 | 4.7627
2019-07-14 01:00:00 | 0 | 161.392 | 3.428 | 185.585 | 2.4053 | 171.126 | 5.9847 | 7.2033 | 26.6 | 960.775 | 62.0313 | 4.2121
2019-07-14 01:15:00 | 0 | 180.082 | 4.195 | 211.673 | 2.9167 | 167.744 | 5.9847 | 0.24335 | 26.44 | 960.521 | 61.2474 | 5.5349
2019-07-14 01:30:00 | 0 | 142.338 | 2.661 | 198.045 | 2.4053 | 155.503 | 0 | 338.456 | 26.45 | 960.805 | 61.9973 | 5.1543
2019-07-14 01:45:00 | 0 | 162.074 | 4.4507 | 202.863 | 3.9393 | 152.631 | 1.007 | 347.193 | 26.04 | 960.561 | 62.304 | 7.3491
2019-07-14 02:00:00 | 0 | 176.651 | 5.9847 | 207.537 | 5.4733 | 150.101 | 4.7063 | 8.7851 | 26.15 | 960.685 | 60.7365 | 8.5203
2019-07-14 02:15:00 | 0 | 152.927 | 4.7063 | 197.952 | 4.7063 | 148.303 | 0 | 337.685 | 26.27 | 960.708 | 61.0101 | 7.434
2019-07-14 02:30:00 | 0 | 180.333 | 4.7063 | 217.475 | 2.661 | 160.986 | 0 | 1.1682 | 25.98 | 961.035 | 62.3067 | 6.0485
2019-07-14 02:45:00 | 0 | 185.303 | 5.4733 | 218.893 | 4.195 | 177.782 | 3.9393 | 8.2503 | 25.89 | 960.433 | 61.5585 | 8.9157
2019-07-14 03:00:00 | 0 | 170.869 | 4.195 | 219.864 | 4.195 | 174.447 | 0 | 0.1947 | 25.92 | 960.434 | 62.0351 | 9.9022
2019-07-14 03:15:00 | 0 | 186.336 | 5.729 | 229.763 | 3.6837 | 167.644 | 4.4507 | 4.5757 | 25.63 | 960.452 | 63.4031 | 10.5562
2019-07-14 03:30:00 | 0 | 156.548 | 5.4733 | 209.468 | 5.4733 | 153.871 | 0 | 4.7704 | 25.55 | 960.159 | 63.1995 | 13.9924
2019-07-14 03:45:00 | 0 | 151.22 | 5.9847 | 195.622 | 5.2177 | 158.692 | 4.7063 | 347.176 | 25.52 | 960.458 | 62.9277 | 14.6316
2019-07-14 04:00:00 | 0 | 189.337 | 6.7517 | 229.042 | 7.0073 | 173.93 | 0 | 355.016 | 25.62 | 960.013 | 62.1442 | 16.6711
2019-07-14 04:15:00 | 0 | 165.606 | 6.2403 | 222.908 | 7.263 | 158.499 | 1.1427 | 356.525 | 25.69 | 960.161 | 63.9509 | 16.4605
2019-07-14 04:30:00 | 0 | 168.04 | 5.729 | 231.817 | 5.729 | 172.859 | 3.6837 | 354.067 | 25.37 | 960.458 | 65.5531 | 13.0169
2019-07-14 04:45:00 | 0 | 169.208 | 5.9847 | 206.796 | 5.4733 | 161.322 | 4.195 | 347.447 | 25.07 | 960.607 | 66.3371 | 14.166
2019-07-14 05:00:00 | 0 | 150.004 | 5.9847 | 195.502 | 5.4733 | 148.739 | 3.9393 | 339.561 | 25.3 | 960.607 | 65.3826 | 11.5723
2019-07-14 05:15:00 | 0 | 152.122 | 5.4733 | 201.344 | 4.195 | 158.742 | 0 | 351.292 | 25.43 | 960.755 | 64.9054 | 9.2593
2019-07-14 05:30:00 | 0 | 179.334 | 4.195 | 223.736 | 3.1723 | 176.997 | 0 | 11.8047 | 25.5 | 960.903 | 64.5645 | 6.2739
2019-07-14 05:45:00 | 1.7653 | 174.094 | 3.428 | 205.57 | 2.661 | 161.9 | 0 | 345.096 | 25.57 | 961.645 | 64.971 | 5.6716
2019-07-14 06:00:00 | 0 | 168.353 | 2.4053 | 197.389 | 1.894 | 146.694 | 0 | 8.5904 | 25.55 | 961.469 | 64.1448 | 3.5544
2019-07-14 06:15:00 | 0 | 183.537 | 3.6837 | 229.17 | 2.661 | 173.852 | 0 | 15.0149 | 25.94 | 962.096 | 62.2018 | 2.0137
2019-07-14 06:30:00 | 0 | 191.17 | 3.9393 | 232.614 | 3.6837 | 181.388 | 0 | 13.4325 | 26.35 | 961.945 | 61.7559 | 3.6099
2019-07-14 06:45:00 | 0 | 172.993 | 4.195 | 232.616 | 3.1723 | 182.995 | 0 | 355.818 | 26.87 | 962.094 | 60.7679 | 5.3058
2019-07-14 07:00:00 | 0 | 179.961 | 4.195 | 222.155 | 4.4507 | 184.074 | 0 | 8.9543 | 26.83 | 962.189 | 61.0692 | 3.7022
2019-07-14 07:15:00 | 0 | 187.003 | 4.7063 | 201.085 | 4.4507 | 164.476 | 0 | 13.0393 | 26.67 | 962.277 | 62.6918 | 2.0876
2019-07-14 07:30:00 | 0 | 158.175 | 3.1723 | 212.956 | 3.428 | 174.863 | 0 | 343.328 | 26.86 | 962.245 | 60.2385 | 1.2304
2019-07-14 07:45:00 | 0 | 188.681 | 3.1723 | 224.268 | 3.9393 | 182.405 | 0 | 83.7582 | 27.61 | 962.245 | 59.2164 | 1.2378
2019-07-14 08:00:00 | 0 | 165.233 | 3.6837 | 225.185 | 4.962 | 184.667 | 0 | 0.21892 | 27.51 | 962.542 | 58.9362 | 1.755
2019-07-14 08:15:00 | 0 | 180.601 | 6.496 | 224.596 | 6.496 | 195.828 | 0 | 0.19459 | 27.84 | 962.245 | 56.8908 | 4.4079
2019-07-14 08:30:00 | 0 | 177.781 | 4.962 | 226.179 | 5.4733 | 176.419 | 0 | 1.5567 | 27.74 | 962.838 | 58.8672 | 1.7846
2019-07-14 08:45:00 | 0 | 197.308 | 2.9167 | 261.757 | 2.661 | 210.929 | 0 | 25.0283 | 27.82 | 963.283 | 60.7052 | -0.33254
2019-07-14 09:00:00 | 0 | 164.303 | 3.1723 | 242.957 | 3.9393 | 176.878 | 0 | 337.362 | 27.95 | 963.579 | 58.9342 | -0.37318
2019-07-14 09:15:00 | 0 | 256.842 | 2.9167 | 315.152 | 2.1497 | 239.989 | 0 | 68.8009 | 28.88 | 964.172 | 57.3254 | -0.26972
2019-07-14 09:30:00 | 0 | 275.873 | 2.9167 | 319.685 | 2.1497 | 257.779 | 0 | 127.698 | 28.26 | 964.321 | 58.515 | -0.28081
2019-07-14 09:45:00 | 0 | 332.633 | 4.7063 | 7.5289 | 4.4507 | 334.043 | 0 | 168.578 | 28.53 | 964.617 | 59.4006 | 8.6496
2019-07-14 10:00:00 | 0 | 295.23 | 3.6837 | 319.247 | 2.661 | 282.73 | 0 | 113.228 | 29.23 | 964.231 | 61.0354 | 5.509
2019-07-14 10:15:00 | 0 | 3.2101 | 0.37567 | 45.9526 | 0 | 357 | 0 | 183.558 | 27.64 | 964.159 | 64.6458 | -0.29189
2019-07-14 10:30:00 | 0 | 0.24319 | 1.3827 | 7.7433 | 0 | 305.639 | 0 | 180.056 | 27.99 | 963.875 | 65.7017 | -0.25125
2019-07-14 10:45:00 | 0 | 156.224 | 2.661 | 226.885 | 3.1723 | 297.346 | 0 | 330.882 | 28.37 | 963.875 | 63.3175 | -0.2882
2019-07-14 11:00:00 | 0 | 172.128 | 3.1723 | 206.578 | 4.195 | 120.038 | 0 | 13.7158 | 28.39 | 963.875 | 58.515 | 0.19583
2019-07-14 11:15:00 | 0 | 190.441 | 6.496 | 236.977 | 6.496 | 193.918 | 0 | 11.7703 | 29.52 | 963.579 | 56.8461 | 2.5384
2019-07-14 11:30:00 | 0 | 169.648 | 6.7517 | 235.664 | 7.5187 | 197.274 | 0 | 329.666 | 29.01 | 963.134 | 57.4932 | 3.5249
2019-07-14 11:45:00 | 0 | 200.679 | 2.1497 | 294.977 | 2.661 | 253.815 | 0 | 337.788 | 29.47 | 963.727 | 53.1335 | 3.9756
2019-07-14 12:00:00 | 0 | 158.948 | 2.661 | 197.216 | 3.1723 | 201.263 | 0 | 345.328 | 29.77 | 963.579 | 53.6786 | 1.7698
2019-07-14 12:15:00 | 0 | 134.143 | 2.661 | 194.857 | 2.9167 | 136.964 | 0 | 320.522 | 29.91 | 963.875 | 47.0709 | 1.4927
2019-07-14 12:30:00 | 0 | 144.94 | 4.4507 | 188.558 | 5.729 | 140.076 | 0 | 344.306 | 30.2 | 963.727 | 44.3461 | 1.3486
2019-07-14 12:45:00 | 0 | 142.411 | 7.5187 | 194.054 | 8.5413 | 148.004 | 0 | 331.003 | 30.65 | 963.282 | 43.8692 | 1.4262
2019-07-14 13:00:00 | 0 | 190.368 | 3.6837 | 230.216 | 3.428 | 197.566 | 0 | 16.3666 | 30.58 | 963.431 | 44.2779 | 2.5864
2019-07-14 13:15:00 | 0 | 156.224 | 6.2403 | 222.021 | 7.7743 | 184.823 | 0 | 5.9095 | 31.1 | 963.134 | 44.0395 | 0.75744
2019-07-14 13:30:00 | 0 | 204.351 | 5.9847 | 229.511 | 6.496 | 188.422 | 0 | 17.5825 | 31.11 | 963.431 | 38.8965 | 0.32884
2019-07-14 13:45:00 | 0 | 160.528 | 3.428 | 205.387 | 3.1723 | 180.324 | 0 | 341.922 | 31.32 | 963.579 | 37.5 | 0.6429
2019-07-14 14:00:00 | 0 | 233.728 | 3.428 | 282.72 | 2.1497 | 266.656 | 0 | 85.7967 | 31.78 | 963.727 | 38.7602 | -0.0036948
2019-07-14 14:15:00 | 0 | 252.356 | 4.4507 | 303.732 | 4.7063 | 257.731 | 0 | 75.364 | 31.86 | 963.698 | 41.1785 | -0.24755
2019-07-14 14:30:00 | 1.2547 | 162.182 | 3.1723 | 198.286 | 4.195 | 150.874 | 0.887 | 356.806 | 31.65 | 963.802 | 43.9373 | -0.15888
2019-07-14 14:45:00 | 0 | 185.601 | 3.9393 | 224.355 | 3.9393 | 173.271 | 0 | 17.0475 | 31.85 | 963.792 | 43.2221 | -0.19952
2019-07-14 15:00:00 | 0 | 186.671 | 3.428 | 226.349 | 3.428 | 179.181 | 0 | 23.954 | 32.04 | 963.546 | 42.0981 | -0.1404
2019-07-14 15:15:00 | 0 | 142.216 | 2.9167 | 199.258 | 3.6837 | 140.563 | 0 | 333.897 | 31.94 | 963.514 | 40.3951 | 0.89785
2019-07-14 15:30:00 | 0 | 179.983 | 5.2177 | 224.38 | 5.4733 | 193.918 | 0 | 0.24319 | 32.27 | 963.827 | 38.3515 | 2.6381
2019-07-14 15:45:00 | 0 | 201.822 | 5.4733 | 243.47 | 4.195 | 185.407 | 0 | 19.7469 | 32.17 | 963.246 | 35.9673 | 1.6368
2019-07-14 16:00:00 | 0 | 131.662 | 4.7063 | 188.607 | 3.428 | 143.189 | 0 | 306.879 | 31.79 | 963.497 | 42.4387 | 2.1134
2019-07-14 16:15:00 | 0 | 145.621 | 4.4507 | 204.803 | 5.2177 | 157.416 | 0 | 336.815 | 30.83 | 963.36 | 43.733 | 1.6146
2019-07-14 16:30:00 | 0 | 169.234 | 2.4053 | 200.036 | 2.661 | 161.963 | 0 | 8.3657 | 31.1 | 963.25 | 43.8692 | -0.20691
2019-07-14 16:45:00 | 0 | 174.779 | 2.9167 | 230.702 | 3.1723 | 192.021 | 0 | 0.24319 | 31.79 | 962.708 | 42.7112 | -0.25494
2019-07-14 17:00:00 | 0 | 209.385 | 4.195 | 245.853 | 4.7063 | 191.048 | 0 | 30.6417 | 31.55 | 962.324 | 39.8161 | -0.23278
2019-07-14 17:15:00 | 0 | 195.085 | 3.428 | 230.022 | 3.9393 | 175.971 | 0 | 16.0504 | 31.21 | 961.794 | 43.1199 | -0.2882
2019-07-14 17:30:00 | 0 | 204.472 | 2.4053 | 258.134 | 1.6383 | 202.041 | 0 | 25.8752 | 30.96 | 962.097 | 44.2098 | -0.26972
2019-07-14 17:45:00 | 0 | 242.592 | 1.6383 | 300.18 | 1.6383 | 229.944 | 0 | 54.5795 | 30.85 | 962.245 | 45.3065 | -0.25125
2019-07-14 18:00:00 | 0 | 0.14594 | 2.1497 | 49.6389 | 0.75133 | 329.198 | 0 | 177.272 | 30.69 | 962.245 | 51.3729 | -0.25125
2019-07-14 18:15:00 | 0 | 21.7968 | 1.894 | 63.976 | 1.3827 | 344.807 | 0 | 204.345 | 29.97 | 961.8 | 55.2292 | -0.26972
2019-07-14 18:30:00 | 0 | 66.8508 | 2.661 | 115.551 | 1.6383 | 348.972 | 0 | 239.695 | 29.92 | 961.948 | 50.8007 | 0.70571
2019-07-14 18:45:00 | 0 | 84.6582 | 5.4733 | 134.818 | 3.6837 | 100.057 | 0 | 263.608 | 29.76 | 961.948 | 49.2675 | 5.8711
2019-07-14 19:00:00 | 0 | 101.541 | 4.195 | 154.839 | 2.661 | 126.16 | 0 | 285.673 | 29.34 | 962.245 | 52.3339 | 9.4219
2019-07-14 19:15:00 | 0 | 113.778 | 4.4507 | 171.26 | 3.9393 | 108.207 | 0 | 305.475 | 29.14 | 962.245 | 53.4923 | 14.6759
2019-07-14 19:30:00 | 0 | 115.466 | 5.9847 | 170.35 | 3.6837 | 103.058 | 0 | 304.21 | 28.95 | 962.417 | 54.1099 | 16.5677
2019-07-14 19:45:00 | 0 | 112.618 | 5.4733 | 171.947 | 4.195 | 102.568 | 0 | 308.921 | 28.81 | 962.579 | 54.5983 | 16.1465
2019-07-14 20:00:00 | 0 | 134.427 | 5.9847 | 182.176 | 5.9847 | 130.436 | 0 | 316.065 | 29.1 | 962.661 | 53.2374 | 11.6055
2019-07-14 20:15:00 | 0 | 150.874 | 4.962 | 195.019 | 3.428 | 139.437 | 0 | 345.306 | 29.04 | 962.957 | 55.4172 | 7.6446
2019-07-14 20:30:00 | 0 | 130.142 | 4.4507 | 178.863 | 3.1723 | 124.107 | 0 | 316.57 | 28.66 | 963.131 | 56.0311 | 9.5253
2019-07-14 20:45:00 | 0 | 136.64 | 6.496 | 172.318 | 6.7517 | 126.93 | 1.007 | 321.95 | 28.38 | 962.983 | 57.5992 | 20.9091
2019-07-14 21:00:00 | 4.0633 | 112.569 | 5.9847 | 165.961 | 5.4733 | 121.5 | 1.007 | 295.342 | 28.27 | 963.131 | 57.2566 | 35.1269
2019-07-14 21:15:00 | 0 | 146.561 | 4.4507 | 200.268 | 5.2177 | 156.854 | 0 | 298.281 | 27.82 | 962.983 | 61.6178 | 40.3514
2019-07-14 21:30:00 | 0 | 140.119 | 3.9393 | 196.165 | 4.195 | 142.772 | 2.7967 | 325.452 | 27.81 | 963.28 | 58.1443 | 35.4262
2019-07-14 21:45:00 | 10.5633 | 127.369 | 5.9847 | 187.675 | 5.729 | 111.771 | 3.1723 | 317.133 | 27.69 | 962.983 | 57.7359 | 31.5133
2019-07-14 22:00:00 | 0 | 126.033 | 7.5187 | 174.001 | 7.0073 | 129.294 | 0.37567 | 320.569 | 27.79 | 963.131 | 58.0094 | 27.0647
2019-07-14 22:15:00 | 0 | 127.224 | 6.7517 | 181.957 | 7.0073 | 128.562 | 0.37567 | 306.257 | 27.76 | 963.576 | 56.9182 | 21.6075
2019-07-14 22:30:00 | 0 | 134.331 | 6.2403 | 186.85 | 5.729 | 133.893 | 1.5183 | 326.311 | 27.69 | 963.428 | 59.0999 | 23.6396
2019-07-14 22:45:00 | 0 | 129.805 | 5.9847 | 206.684 | 4.4507 | 155.965 | 3.1723 | 323.782 | 27.39 | 963.428 | 60.5317 | 21.9991
2019-07-14 23:00:00 | 0 | 131.46 | 3.6837 | 182.373 | 3.9393 | 133.553 | 0 | 314.389 | 27.28 | 963.428 | 61.8268 | 23.1445
2019-07-14 23:15:00 | 0 | 144.747 | 4.962 | 185.95 | 2.1497 | 145.526 | 0 | 327.311 | 26.82 | 963.576 | 62.8834 | 20.8574
2019-07-14 23:30:00 | 0 | 143.773 | 4.962 | 199.821 | 4.7063 | 161.782 | 1.774 | 333.395 | 26.89 | 962.983 | 62.8493 | 20.8278
2019-07-14 23:45:00 | 0 | 152.51 | 6.496 | 206.368 | 5.729 | 150.928 | 1.3827 | 337.288 | 26.59 | 962.835 | 63.531 | 20.2847