## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-16 00:00:00 | 8.01 | 140.464 | 8.5413 | 188.895 | 7.263 | 143.53 | 0.75133 | 323.028 | 27.22 | 965.8 | 62.6448 | 30.1832
2019-07-16 00:15:00 | 4.946 | 134.015 | 7.0073 | 181.667 | 6.2403 | 136.278 | 0.37567 | 320.667 | 27.5 | 965.949 | 60.4635 | 26.9576
2019-07-16 00:30:00 | 0.62733 | 130.778 | 6.2403 | 190.014 | 5.2177 | 149.492 | 0.37567 | 313.513 | 27.88 | 966.097 | 57.2597 | 23.6507
2019-07-16 00:45:00 | 0 | 147.424 | 6.2403 | 177.433 | 5.4733 | 139.369 | 5.729 | 304.338 | 28.05 | 966.542 | 57.1915 | 21.3599
2019-07-16 01:00:00 | 0 | 129.635 | 6.7517 | 183.152 | 5.729 | 135.499 | 4.4507 | 311.322 | 28.03 | 966.245 | 58.9639 | 19.3536
2019-07-16 01:15:00 | 0 | 129.439 | 7.7743 | 183.491 | 7.263 | 130.437 | 3.6837 | 311.515 | 28 | 966.097 | 58.6226 | 15.1082
2019-07-16 01:30:00 | 0 | 136.521 | 5.9847 | 198.579 | 4.195 | 138.224 | 1.894 | 314.558 | 28.09 | 965.949 | 58.316 | 12.3371
2019-07-16 01:45:00 | 0 | 141.436 | 5.4733 | 203.592 | 4.195 | 161.197 | 5.9847 | 327.187 | 27.68 | 965.949 | 59.168 | 9.6694
2019-07-16 02:00:00 | 0 | 193.272 | 3.1723 | 267.693 | 3.428 | 205.391 | 0 | 0.24335 | 27.58 | 966.245 | 60.3953 | 8.1176
2019-07-16 02:15:00 | 0 | 149.371 | 5.9847 | 193.081 | 4.4507 | 134.623 | 5.9847 | 335.658 | 27.09 | 966.245 | 62.4063 | 7.7703
2019-07-16 02:30:00 | 0 | 147.083 | 4.195 | 199.408 | 4.195 | 149.225 | 0 | 330.888 | 26.71 | 965.949 | 64.4853 | 11.4947
2019-07-16 02:45:00 | 0 | 143.092 | 6.2403 | 202.304 | 5.2177 | 141.048 | 5.729 | 336.144 | 26.62 | 965.8 | 65.3715 | 18.7218
2019-07-16 03:00:00 | 0 | 137.495 | 5.9847 | 187.921 | 5.4733 | 137.909 | 0 | 333.03 | 26.08 | 965.949 | 66.0532 | 17.9274
2019-07-16 03:15:00 | 1.882 | 120.363 | 5.729 | 181.278 | 5.4733 | 148.859 | 4.195 | 322.711 | 25.99 | 965.829 | 69.0525 | 18.8289
2019-07-16 03:30:00 | 0 | 137.836 | 6.496 | 186.899 | 5.729 | 133.747 | 1.1427 | 323.977 | 25.73 | 965.825 | 68.8821 | 18.7218
2019-07-16 03:45:00 | 0 | 139.028 | 7.0073 | 189.625 | 5.2177 | 129.708 | 0 | 312.418 | 25.94 | 965.719 | 67.2801 | 20.8205
2019-07-16 04:00:00 | 0.372 | 132.019 | 7.5187 | 184.417 | 6.7517 | 146.28 | 2.9167 | 314.34 | 26.07 | 965.742 | 67.1438 | 20.802
2019-07-16 04:15:00 | 0 | 137.838 | 6.7517 | 188.192 | 6.7517 | 140.125 | 3.6837 | 321.305 | 26.18 | 965.881 | 67.3493 | 18.4631
2019-07-16 04:30:00 | 0.62733 | 137.252 | 5.4733 | 208.461 | 5.4733 | 142.897 | 2.661 | 320.375 | 26.4 | 965.564 | 67.2802 | 24.12
2019-07-16 04:45:00 | 0 | 152.169 | 4.962 | 191.036 | 4.4507 | 152.388 | 5.2177 | 335.804 | 25.96 | 965.853 | 71.5065 | 29.7915
2019-07-16 05:00:00 | 0 | 123.697 | 6.2403 | 178.845 | 6.2403 | 135.524 | 4.4507 | 313.539 | 25.66 | 965.594 | 69.53 | 27.231
2019-07-16 05:15:00 | 0 | 133.261 | 4.962 | 186.023 | 6.7517 | 130.121 | 3.308 | 310.86 | 25.91 | 965.904 | 71.8474 | 25.2025
2019-07-16 05:30:00 | 0 | 122.799 | 6.2403 | 193.183 | 5.4733 | 140.613 | 1.774 | 297.02 | 25.83 | 966.087 | 71.5081 | 25.9452
2019-07-16 05:45:00 | 0 | 132.19 | 5.729 | 189.431 | 5.2177 | 141.56 | 0.37567 | 317.554 | 25.87 | 966.207 | 70.4843 | 21.2121
2019-07-16 06:00:00 | 0 | 156.915 | 5.2177 | 194.03 | 4.195 | 158.862 | 5.2177 | 335.805 | 26.22 | 966.712 | 70.6205 | 23.5214
2019-07-16 06:15:00 | 0 | 153.216 | 6.2403 | 193.129 | 6.2403 | 138.493 | 5.9847 | 323.125 | 25.86 | 966.855 | 71.0975 | 22.1506
2019-07-16 06:30:00 | 0 | 144.869 | 5.4733 | 207.39 | 3.9393 | 159.445 | 0 | 321.787 | 26.02 | 966.559 | 70.7226 | 16.3977
2019-07-16 06:45:00 | 0 | 150.052 | 4.7063 | 209.191 | 4.4507 | 162.074 | 0 | 336.315 | 26.19 | 966.84 | 70.3817 | 12.3519
2019-07-16 07:00:00 | 0 | 150.782 | 5.9847 | 202.255 | 5.2177 | 151.78 | 4.962 | 338.456 | 26.25 | 967.135 | 70.2795 | 11.7829
2019-07-16 07:15:00 | 0 | 138.906 | 4.962 | 185.78 | 2.661 | 152.437 | 1.2627 | 322.517 | 26.38 | 967.283 | 69.8705 | 9.4736
2019-07-16 07:30:00 | 0 | 129.878 | 2.1497 | 178.382 | 2.9167 | 143.433 | 0 | 318.282 | 26.62 | 967.432 | 69.7342 | 5.158
2019-07-16 07:45:00 | 0 | 70.1808 | 0.75133 | 166.597 | 0 | 101.086 | 0 | 325.572 | 27.41 | 967.877 | 65.0966 | 2.409
2019-07-16 08:00:00 | 0 | 142.113 | 1.3827 | 193.948 | 0.37567 | 139.679 | 0 | 350.536 | 28.62 | 968.298 | 58.3138 | 2.6233
2019-07-16 08:15:00 | 0 | 126.89 | 1.6383 | 179.385 | 1.6383 | 143.579 | 0 | 310.22 | 29.35 | 968.62 | 56.9678 | 3.063
2019-07-16 08:30:00 | 0 | 129.301 | 3.1723 | 191.707 | 2.661 | 147.276 | 0 | 311.748 | 28.94 | 968.619 | 63.2602 | 5.4351
2019-07-16 08:45:00 | 0 | 135.134 | 4.4507 | 189.73 | 4.7063 | 161.572 | 0 | 289.847 | 28.45 | 968.471 | 62.6109 | 4.1493
2019-07-16 09:00:00 | 0 | 145.836 | 4.7063 | 201.624 | 4.7063 | 165.975 | 0.37567 | 326.987 | 28.09 | 968.471 | 65.8811 | 3.8611
2019-07-16 09:15:00 | 0 | 147.032 | 5.4733 | 200.658 | 5.4733 | 148.589 | 5.9847 | 328.457 | 27.35 | 968.471 | 67.5183 | 3.1443
2019-07-16 09:30:00 | 0 | 151.36 | 3.1723 | 210.129 | 2.9167 | 135.158 | 0 | 335.998 | 27.41 | 968.323 | 67.2558 | 1.7181
2019-07-16 09:45:00 | 0 | 146.148 | 3.9393 | 216.445 | 4.195 | 166.509 | 0 | 331.412 | 28.16 | 968.471 | 63.0967 | 2.9152
2019-07-16 10:00:00 | 0 | 128.62 | 3.428 | 183.632 | 2.9167 | 133.703 | 0 | 286.962 | 29.14 | 968.768 | 60.8415 | 2.2169
2019-07-16 10:15:00 | 0 | 144.527 | 5.729 | 204.877 | 5.4733 | 157.781 | 0 | 334.895 | 29.71 | 969.212 | 61.6487 | 2.9817
2019-07-16 10:30:00 | 0 | 177.819 | 5.4733 | 228.66 | 6.496 | 178.743 | 0 | 2.4805 | 28.64 | 968.916 | 65.0204 | 3.3734
2019-07-16 10:45:00 | 0 | 183.753 | 2.661 | 219.589 | 3.1723 | 148.102 | 0 | 2.4805 | 28.52 | 968.619 | 62.0913 | 0.25125
2019-07-16 11:00:00 | 1.882 | 154.23 | 2.9167 | 181.36 | 4.195 | 135.699 | 0 | 325.872 | 29.5 | 968.768 | 61.2398 | -0.23278
2019-07-16 11:15:00 | 0 | 185.577 | 6.496 | 235.98 | 6.7517 | 177.843 | 2.9167 | 5.8608 | 29.97 | 968.916 | 60.2861 | 0.66507
2019-07-16 11:30:00 | 0 | 209.409 | 6.7517 | 266.597 | 7.0073 | 218.456 | 0.37567 | 34.2166 | 29.53 | 968.768 | 62.466 | 2.6825
2019-07-16 11:45:00 | 0 | 188.908 | 6.2403 | 236.928 | 6.496 | 186.647 | 3.0523 | 9.8248 | 28.99 | 968.175 | 63.9646 | 3.8981
2019-07-16 12:00:00 | 0 | 174.733 | 4.4507 | 222.787 | 5.2177 | 187.964 | 0 | 5.278 | 28.97 | 968.323 | 62.7139 | 1.8918
2019-07-16 12:15:00 | 0 | 170.99 | 2.9167 | 208.246 | 3.9393 | 178.92 | 0 | 0.97292 | 29.66 | 968.471 | 59.6832 | 1.9287
2019-07-16 12:30:00 | 0 | 149.182 | 4.4507 | 194.676 | 6.2403 | 161.317 | 0 | 330.928 | 29.17 | 968.768 | 61.7208 | 3.0482
2019-07-16 12:45:00 | 0 | 145.135 | 2.9167 | 202.955 | 2.661 | 142.411 | 0 | 334.36 | 29.25 | 968.768 | 58.5151 | 2.01
2019-07-16 13:00:00 | 0 | 145.864 | 4.7063 | 196.632 | 5.729 | 153.184 | 0 | 353.158 | 29.59 | 968.619 | 58.515 | 0.61704
2019-07-16 13:15:00 | 0 | 148.32 | 4.7063 | 197.118 | 4.195 | 154.814 | 0 | 336.11 | 30.03 | 968.619 | 57.5613 | 0.099761
2019-07-16 13:30:00 | 0 | 352.72 | 4.195 | 60.8357 | 3.1723 | 24.4161 | 0 | 188.86 | 30.8 | 969.212 | 51.3624 | 2.0913
2019-07-16 13:45:00 | 0 | 18.9687 | 4.7063 | 66.1372 | 2.4053 | 33.0249 | 4.7063 | 210.844 | 29.93 | 968.447 | 56.233 | 4.6703
2019-07-16 14:00:00 | 0 | 12.6458 | 7.5187 | 64.7267 | 3.9393 | 62.4507 | 4.962 | 195.037 | 29.71 | 967.729 | 55.8583 | 5.9783
2019-07-16 14:15:00 | 0 | 22.6656 | 4.4507 | 76.207 | 1.6383 | 356.934 | 0 | 209.146 | 28.78 | 967.581 | 57.9371 | 3.7761
2019-07-16 14:30:00 | 0 | 6.3239 | 4.195 | 59.9727 | 3.1723 | 7.1752 | 0 | 196.891 | 29.5 | 968.026 | 54.7088 | 2.4829
2019-07-16 14:45:00 | 0 | 13.3269 | 3.428 | 62.6851 | 2.9167 | 19.5526 | 0 | 200.122 | 29.9 | 968.322 | 52.7256 | 1.3634
2019-07-16 15:00:00 | 0 | 329.326 | 1.6383 | 30.486 | 1.3827 | 342.361 | 0 | 153.209 | 30.07 | 967.878 | 53.8149 | 0.53945
2019-07-16 15:15:00 | 0 | 137.366 | 4.7063 | 192.469 | 5.2177 | 148.456 | 0.63133 | 317.61 | 28.86 | 967.581 | 65.4695 | 3.4621
2019-07-16 15:30:00 | 0 | 73.8518 | 1.127 | 165.651 | 1.127 | 139.555 | 0 | 261.936 | 28.65 | 968.619 | 62.6191 | 3.6172
2019-07-16 15:45:00 | 0 | 127.355 | 2.661 | 183.024 | 2.661 | 138.836 | 0 | 310.702 | 28.86 | 968.174 | 66.3602 | 1.2378
2019-07-16 16:00:00 | 0 | 79.3886 | 3.9393 | 138.583 | 2.4053 | 102.981 | 0 | 268.131 | 29.31 | 968.47 | 52.0855 | -0.17366
2019-07-16 16:15:00 | 0 | 77.4799 | 1.3827 | 145.076 | 1.3827 | 69.3574 | 0 | 267.824 | 30.37 | 968.47 | 47.2072 | -0.11084
2019-07-16 16:30:00 | 0 | 91.3414 | 3.6837 | 147.678 | 1.894 | 94.5272 | 0 | 271.787 | 30.1 | 967.581 | 49.1826 | 0.0036948
2019-07-16 16:45:00 | 0 | 117.513 | 3.6837 | 161.62 | 2.1497 | 130.938 | 0 | 305.869 | 30.06 | 967.136 | 49.5932 | -0.13671
2019-07-16 17:00:00 | 0 | 109.332 | 2.1497 | 162.812 | 1.6383 | 137.133 | 0 | 291.389 | 30.11 | 967.136 | 51.5757 | -0.33254
2019-07-16 17:15:00 | 0 | 131.131 | 2.9167 | 177.122 | 2.661 | 130.669 | 0 | 312.904 | 29.75 | 967.136 | 53.7922 | -0.26972
2019-07-16 17:30:00 | 0 | 130.853 | 2.1497 | 176.341 | 1.894 | 123.093 | 0 | 311.625 | 29.76 | 966.84 | 54.6498 | -0.26972
2019-07-16 17:45:00 | 0 | 134.991 | 2.1497 | 183.983 | 1.6383 | 123.095 | 0 | 313.406 | 29.79 | 966.692 | 54.1738 | -0.25125
2019-07-16 18:00:00 | 0 | 97.2354 | 1.6383 | 150.484 | 1.127 | 123.095 | 0 | 284.992 | 29.73 | 966.84 | 54.787 | -0.25125
2019-07-16 18:15:00 | 0 | 85.9233 | 2.9167 | 145.643 | 0.75133 | 106.212 | 0 | 275.188 | 29.76 | 966.543 | 55.8092 | -0.25125
2019-07-16 18:30:00 | 0 | 86.5071 | 2.4053 | 152.552 | 1.3827 | 105.336 | 0 | 278.107 | 29.76 | 966.395 | 55.9795 | -0.25125
2019-07-16 18:45:00 | 0 | 85.6313 | 2.4053 | 138.126 | 1.894 | 104.606 | 0 | 278.01 | 29.71 | 966.395 | 56.3543 | -0.19213
2019-07-16 19:00:00 | 4.18 | 96.4326 | 3.6837 | 150.29 | 2.4053 | 99.3032 | 0 | 279.494 | 29.63 | 966.247 | 56.0136 | -0.22539
2019-07-16 19:15:00 | 0 | 118.911 | 3.6837 | 167.1 | 2.9167 | 113.17 | 0 | 302.167 | 29.61 | 966.395 | 56.5928 | -0.19952
2019-07-16 19:30:00 | 0 | 137.499 | 4.4507 | 179.486 | 4.962 | 135.091 | 0 | 314.482 | 29.55 | 966.543 | 58.1272 | 2.7083
2019-07-16 19:45:00 | 0 | 167.039 | 5.4733 | 233.016 | 5.4733 | 187.086 | 0 | 353.128 | 28.85 | 966.569 | 61.4345 | 7.1089
2019-07-16 20:00:00 | 0 | 178.551 | 3.428 | 214.321 | 4.962 | 141.761 | 4.962 | 356.494 | 28.71 | 966.526 | 62.7053 | 7.8072
2019-07-16 20:15:00 | 0 | 171.191 | 6.2403 | 212.416 | 5.2177 | 174.866 | 5.729 | 15.6956 | 28.53 | 966.619 | 63.1873 | 8.4871
2019-07-16 20:30:00 | 0 | 167.642 | 3.9393 | 215.609 | 3.428 | 170.49 | 0 | 352.587 | 28.42 | 966.838 | 64.5861 | 9.1632
2019-07-16 20:45:00 | 0 | 170.25 | 3.9393 | 203.471 | 3.9393 | 167.086 | 5.9847 | 339.94 | 28.08 | 967.431 | 67.2801 | 8.3467
2019-07-16 21:00:00 | 0 | 160.02 | 4.962 | 206.598 | 4.4507 | 158.268 | 0 | 333.352 | 27.83 | 966.987 | 68.7078 | 8.5351
2019-07-16 21:15:00 | 0 | 154.011 | 4.7063 | 203.29 | 3.9393 | 156.031 | 2.0297 | 351.483 | 27.69 | 967.283 | 68.572 | 7.6594
2019-07-16 21:30:00 | 0 | 157.198 | 3.428 | 206.185 | 2.661 | 165.569 | 0 | 336.686 | 27.54 | 967.135 | 69.7985 | 5.0176
2019-07-16 21:45:00 | 0 | 143.575 | 2.9167 | 191.761 | 2.9167 | 153.114 | 0 | 331.196 | 27.5 | 967.283 | 68.9825 | 4.2638
2019-07-16 22:00:00 | 0 | 142.968 | 3.6837 | 190.522 | 3.1723 | 140.949 | 0 | 328.182 | 27.51 | 967.283 | 68.8469 | 3.3586
2019-07-16 22:15:00 | 0 | 131.508 | 3.1723 | 185.585 | 2.9167 | 147.375 | 0.63133 | 318.891 | 27.61 | 967.58 | 67.5528 | 4.4929
2019-07-16 22:30:00 | 0 | 140.658 | 3.6837 | 190.355 | 3.1723 | 150.101 | 0 | 323.344 | 27.5 | 967.431 | 68.7116 | 4.6038
2019-07-16 22:45:00 | 0 | 150.295 | 3.6837 | 198.118 | 3.1723 | 152.437 | 0 | 333.492 | 27.31 | 967.283 | 69.8023 | 3.063
2019-07-16 23:00:00 | 0 | 152.51 | 3.6837 | 177.701 | 3.428 | 156.768 | 1.894 | 331.01 | 27.23 | 967.431 | 69.9386 | 3.1185
2019-07-16 23:15:00 | 0 | 128.101 | 4.7063 | 176.63 | 4.195 | 133.601 | 0 | 310.714 | 27.25 | 967.283 | 70.6203 | 3.1221
2019-07-16 23:30:00 | 0 | 129.951 | 5.4733 | 196.439 | 4.962 | 147.764 | 5.9847 | 314.802 | 27.28 | 967.283 | 70.8248 | 5.5718
2019-07-16 23:45:00 | 0 | 136.862 | 4.7063 | 187.921 | 3.6837 | 157.912 | 0 | 308.694 | 27.11 | 967.283 | 71.3701 | 5.4979