## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-17 00:00:00 | 0 | 122.626 | 5.4733 | 181.108 | 4.7063 | 128.831 | 0 | 301.564 | 27.11 | 967.283 | 70.4158 | 8.1434
2019-07-17 00:15:00 | 0 | 134.064 | 5.4733 | 181.181 | 4.7063 | 131.63 | 3.9393 | 313.123 | 27.05 | 967.283 | 70.6885 | 8.0363
2019-07-17 00:30:00 | 0 | 137.471 | 5.4733 | 191.499 | 4.4507 | 127.615 | 5.4733 | 315.776 | 26.96 | 966.838 | 71.745 | 9.3036
2019-07-17 00:45:00 | 0 | 142.216 | 5.4733 | 191.523 | 5.2177 | 150.782 | 0 | 327.067 | 26.85 | 966.987 | 72.5971 | 12.2299
2019-07-17 01:00:00 | 0 | 124.621 | 4.195 | 178.869 | 4.195 | 140.707 | 0 | 311.493 | 26.68 | 966.69 | 73.1084 | 11.0254
2019-07-17 01:15:00 | 0 | 125.692 | 5.4733 | 197.412 | 4.962 | 139.758 | 2.9167 | 317.99 | 26.6 | 966.542 | 73.4833 | 16.2093
2019-07-17 01:30:00 | 0 | 140.099 | 6.2403 | 180.645 | 6.2403 | 129.829 | 1.2627 | 320.789 | 26.55 | 966.542 | 73.6878 | 16.0135
2019-07-17 01:45:00 | 0 | 157.377 | 3.9393 | 220.823 | 5.4733 | 138.566 | 3.9393 | 318.258 | 26.51 | 966.69 | 73.5514 | 13.8631
2019-07-17 02:00:00 | 0 | 146.937 | 6.2403 | 200.089 | 4.195 | 164.215 | 0 | 312.271 | 26.4 | 966.545 | 74.1649 | 13.7116
2019-07-17 02:15:00 | 0 | 144.698 | 4.7063 | 187.848 | 3.6837 | 137.933 | 4.4507 | 327.238 | 26.35 | 966.839 | 72.8698 | 15.5849
2019-07-17 02:30:00 | 0 | 143.141 | 7.263 | 190.55 | 4.962 | 140.099 | 0.37567 | 330.109 | 26.35 | 966.604 | 73.0743 | 21.1493
2019-07-17 02:45:00 | 0 | 150.904 | 6.7517 | 198.58 | 5.4733 | 153.921 | 3.6837 | 327.87 | 26.26 | 966.274 | 72.2563 | 21.116
2019-07-17 03:00:00 | 0 | 149.492 | 6.7517 | 198.24 | 6.496 | 155.819 | 5.2177 | 324.098 | 26.19 | 966.114 | 72.2563 | 23.3551
2019-07-17 03:15:00 | 0 | 138.225 | 8.2857 | 186.68 | 6.496 | 145.428 | 0.887 | 319.256 | 26.26 | 966.265 | 69.4274 | 22.3427
2019-07-17 03:30:00 | 0.99933 | 132.822 | 7.263 | 190.915 | 7.5187 | 145.672 | 5.9847 | 323.198 | 26.24 | 966.111 | 69.2911 | 19.9448
2019-07-17 03:45:00 | 0 | 146.353 | 5.2177 | 196.074 | 5.729 | 161.611 | 0 | 318.526 | 26.01 | 966.025 | 72.8016 | 19.2169
2019-07-17 04:00:00 | 0 | 145.063 | 7.263 | 188.116 | 5.4733 | 151.609 | 0.37567 | 333.881 | 25.79 | 966.148 | 75.1534 | 17.8831
2019-07-17 04:15:00 | 0 | 139.004 | 6.496 | 184.174 | 5.729 | 151.707 | 5.4733 | 321.884 | 25.74 | 966.194 | 77.0961 | 16.9778
2019-07-17 04:30:00 | 0 | 144.844 | 5.729 | 195.149 | 5.729 | 150.32 | 5.729 | 327.189 | 25.57 | 966.109 | 78.7321 | 17.085
2019-07-17 04:45:00 | 0 | 139.275 | 4.7063 | 195.811 | 4.195 | 148.376 | 0.63133 | 322.646 | 25.48 | 966.154 | 79.8247 | 15.4666
2019-07-17 05:00:00 | 0 | 131.005 | 5.4733 | 186.108 | 5.2177 | 139.717 | 3.428 | 309.734 | 25.5 | 966.169 | 80.5089 | 12.6068
2019-07-17 05:15:00 | 0 | 109.881 | 4.4507 | 167.346 | 4.195 | 127.526 | 0 | 310.345 | 25.46 | 966.39 | 81.021 | 6.2591
2019-07-17 05:30:00 | 0 | 101.635 | 3.1723 | 148.661 | 2.1497 | 101.148 | 0 | 266.961 | 25.41 | 966.532 | 81.1942 | 6.9906
2019-07-17 05:45:00 | 0 | 95.9876 | 2.1497 | 150.85 | 2.1497 | 107.475 | 0 | 275.478 | 25.25 | 966.368 | 81.7049 | 10.3862
2019-07-17 06:00:00 | 0 | 79.2487 | 4.7063 | 148.623 | 4.4507 | 99.5963 | 0 | 291.682 | 25.02 | 966.678 | 85.2216 | 12.7583
2019-07-17 06:15:00 | 0 | 108.651 | 5.2177 | 162.229 | 5.729 | 130.849 | 0 | 292.316 | 24.97 | 966.379 | 84.8469 | 8.6312
2019-07-17 06:30:00 | 0 | 49.9934 | 1.6383 | 106.273 | 0 | 73.7001 | 0 | 284.943 | 24.97 | 966.54 | 82.1885 | 4.1197
2019-07-17 06:45:00 | 0 | 155.091 | 1.3827 | 212.248 | 0.37567 | 275.426 | 0 | 47.4377 | 25.02 | 966.837 | 82.6998 | 2.6233
2019-07-17 07:00:00 | 0 | 82.4623 | 0.37567 | 56.134 | 0 | 297.916 | 0 | 265.252 | 25.18 | 967.133 | 81.4044 | 1.4668
2019-07-17 07:15:00 | 0 | 351.208 | 3.1723 | 324.953 | 2.661 | 317.621 | 0 | 197.412 | 25.25 | 967.564 | 81.5383 | -0.096066
2019-07-17 07:30:00 | 0 | 108.453 | 0 | 61.8018 | 0 | 337.795 | 0 | 267.651 | 25.31 | 967.559 | 81.8102 | -0.3547
2019-07-17 07:45:00 | 0 | 122.655 | 2.9167 | 168.047 | 2.661 | 126.062 | 0 | 306.784 | 25.16 | 967.803 | 82.7571 | -0.29928
2019-07-17 08:00:00 | 0 | 145.974 | 2.9167 | 186.67 | 2.661 | 127.307 | 0 | 318.693 | 24.94 | 967.717 | 84.941 | -0.21061
2019-07-17 08:15:00 | 0 | 126.76 | 3.6837 | 182.967 | 2.9167 | 129.121 | 0 | 315.269 | 24.64 | 967.726 | 82.3246 | 0.27711
2019-07-17 08:30:00 | 0 | 126.76 | 3.6837 | 192.8 | 3.1723 | 140.001 | 0 | 310.232 | 24.75 | 967.577 | 77.6547 | 1.9435
2019-07-17 08:45:00 | 0 | 124.886 | 4.4507 | 169.654 | 4.7063 | 130.022 | 0 | 307.846 | 24.84 | 967.549 | 71.9618 | 2.5199
2019-07-17 09:00:00 | 0 | 136.139 | 4.4507 | 188.37 | 4.4507 | 132.732 | 6.2403 | 324.894 | 25.3 | 967.555 | 68.2381 | 2.6344
2019-07-17 09:15:00 | 0 | 147.57 | 4.4507 | 200.162 | 5.2177 | 161.855 | 0 | 319.475 | 25.49 | 968.055 | 74.2672 | 0.63182
2019-07-17 09:30:00 | 0 | 133.942 | 3.9393 | 183.346 | 3.1723 | 139.101 | 0 | 315.46 | 25.19 | 967.728 | 77.3688 | 0.055423
2019-07-17 09:45:00 | 0 | 124.105 | 2.9167 | 197.135 | 3.428 | 134.593 | 0 | 312.55 | 25.48 | 968.173 | 77.4675 | -0.15149
2019-07-17 10:00:00 | 0 | 155.937 | 3.428 | 204.22 | 3.428 | 156.57 | 0 | 332.802 | 25.84 | 968.47 | 68.369 | -0.19213
2019-07-17 10:15:00 | 0.88267 | 143.021 | 4.4507 | 195.639 | 4.962 | 161.34 | 4.4507 | 339.295 | 26.39 | 968.484 | 65.8954 | 0.35101
2019-07-17 10:30:00 | 0 | 155.304 | 4.4507 | 223.368 | 4.962 | 183.718 | 0 | 311.873 | 26.43 | 968.323 | 63.4412 | 1.7735
2019-07-17 10:45:00 | 0 | 162.943 | 4.7063 | 221.422 | 4.962 | 174.377 | 0 | 347.975 | 26.81 | 968.175 | 59.5912 | 3.2034
2019-07-17 11:00:00 | 0 | 148.535 | 5.4733 | 196.112 | 4.962 | 152.281 | 3.9393 | 326.309 | 27.24 | 968.323 | 62.757 | 5.5977
2019-07-17 11:15:00 | 0 | 168.315 | 4.4507 | 218.949 | 4.4507 | 161.018 | 0 | 339.792 | 27.72 | 968.768 | 61.9657 | 5.2947
2019-07-17 11:30:00 | 0 | 130.68 | 4.962 | 188.777 | 5.2177 | 145.638 | 0 | 311.998 | 28.34 | 968.768 | 60.1569 | 4.9622
2019-07-17 11:45:00 | 0 | 130.082 | 3.6837 | 192.279 | 3.1723 | 161.429 | 0 | 307.463 | 28.64 | 969.212 | 61.0356 | 5.206
2019-07-17 12:00:00 | 0 | 97.4941 | 4.195 | 178.539 | 4.195 | 124.731 | 0 | 271.957 | 28.82 | 969.064 | 62.6022 | 4.6038
2019-07-17 12:15:00 | 0 | 146.156 | 4.962 | 195.659 | 5.729 | 144.016 | 0 | 329.763 | 27.92 | 968.619 | 63.5899 | 5.0102
2019-07-17 12:30:00 | 0 | 154.744 | 2.9167 | 196.758 | 1.894 | 107.637 | 0 | 329.137 | 28.39 | 968.619 | 52.7599 | 3.4399
2019-07-17 12:45:00 | 0 | 140.636 | 5.4733 | 196.413 | 4.962 | 149.609 | 0 | 344.817 | 29.29 | 968.619 | 46.7984 | 2.01
2019-07-17 13:00:00 | 0 | 135.458 | 3.9393 | 182.797 | 5.4733 | 129.305 | 3.1723 | 332.224 | 29.26 | 968.175 | 46.5946 | 2.6898
2019-07-17 13:15:00 | 0 | 165.076 | 4.7063 | 218.3 | 5.4733 | 195.402 | 3.428 | 347.054 | 29 | 968.026 | 48.5014 | 3.6616
2019-07-17 13:30:00 | 0 | 176.897 | 4.7063 | 204.441 | 5.4733 | 153.065 | 0 | 350.706 | 28.47 | 967.878 | 49.2514 | 1.9841
2019-07-17 13:45:00 | 0 | 150.294 | 5.729 | 203.861 | 5.4733 | 148.884 | 1.1427 | 336.144 | 28.62 | 968.323 | 46.9699 | 1.6811
2019-07-17 14:00:00 | 0 | 131.225 | 4.962 | 188.56 | 4.4507 | 142.315 | 0 | 316.877 | 29.82 | 968.323 | 47.0372 | 0.75375
2019-07-17 14:15:00 | 0 | 125.096 | 1.894 | 188.996 | 1.3827 | 130.835 | 0 | 312.253 | 29.23 | 968.026 | 48.7398 | 0.092371
2019-07-17 14:30:00 | 0 | 169.162 | 2.1497 | 227.322 | 2.4053 | 175.339 | 0 | 351.164 | 29.82 | 967.878 | 47.2752 | 0.38057
2019-07-17 14:45:00 | 0 | 96.6673 | 4.7063 | 141.574 | 3.9393 | 98.7343 | 0 | 271.349 | 30.11 | 967.582 | 48.4333 | 1.1528
2019-07-17 15:00:00 | 0 | 101.944 | 2.9167 | 181.554 | 2.9167 | 145.864 | 0 | 274.316 | 29.91 | 967.433 | 48.2289 | 2.1098
2019-07-17 15:15:00 | 0 | 153.841 | 3.428 | 196.073 | 2.661 | 155.057 | 0 | 332.876 | 30.16 | 967.582 | 47.8202 | 2.6344
2019-07-17 15:30:00 | 0 | 142.678 | 3.9393 | 182.77 | 3.6837 | 147.737 | 0 | 335.867 | 30.23 | 968.175 | 46.6621 | 2.8968
2019-07-17 15:45:00 | 0 | 141.244 | 4.195 | 196.194 | 3.9393 | 160.699 | 0 | 326.893 | 30.88 | 968.471 | 45.9809 | 3.185
2019-07-17 16:00:00 | 0 | 90.2228 | 2.9167 | 97.241 | 1.127 | 70.4273 | 0 | 278.912 | 29.89 | 968.547 | 49.9319 | 1.3745
2019-07-17 16:15:00 | 0 | 154.157 | 5.4733 | 205.022 | 4.195 | 154.473 | 0 | 337.205 | 30.03 | 967.95 | 46.2875 | 2.8007
2019-07-17 16:30:00 | 0 | 147.129 | 4.4507 | 191.185 | 4.7063 | 160.893 | 0 | 326.018 | 29.56 | 968.023 | 47.7861 | 2.2021
2019-07-17 16:45:00 | 0 | 154.741 | 3.6837 | 204.244 | 4.195 | 149.974 | 0 | 320.765 | 29.59 | 967.875 | 48.7739 | 3.4916
2019-07-17 17:00:00 | 0 | 128.574 | 2.9167 | 170.854 | 2.661 | 157.099 | 0 | 298.829 | 29.44 | 967.581 | 49.3188 | 1.5777
2019-07-17 17:15:00 | 0 | 161.842 | 2.4053 | 192.644 | 2.4053 | 166.827 | 0 | 333.459 | 29.46 | 967.581 | 49.3869 | 1.3745
2019-07-17 17:30:00 | 0 | 154.643 | 4.4507 | 213.266 | 4.4507 | 165.149 | 0 | 313.615 | 29.36 | 967.581 | 48.5695 | 2.0543
2019-07-17 17:45:00 | 0 | 144.268 | 2.4053 | 175.754 | 1.6383 | 144.365 | 0 | 331.096 | 29.3 | 966.988 | 48.7768 | 1.1528
2019-07-17 18:00:00 | 0 | 138.738 | 3.428 | 185.48 | 4.4507 | 140.611 | 0 | 317.754 | 29.17 | 966.84 | 52.1886 | 1.4706
2019-07-17 18:15:00 | 0 | 161.03 | 3.9393 | 206.245 | 3.1723 | 160.641 | 0 | 342.736 | 29.07 | 966.988 | 50.4892 | 3.1628
2019-07-17 18:30:00 | 0 | 158.442 | 4.962 | 199.09 | 3.6837 | 174.376 | 1.007 | 336.054 | 28.79 | 966.543 | 49.6082 | 3.6653
2019-07-17 18:45:00 | 0 | 151.996 | 5.2177 | 201.863 | 4.7063 | 161.653 | 0 | 338.682 | 28.52 | 966.543 | 51.0392 | 3.4584
2019-07-17 19:00:00 | 0 | 160.267 | 4.962 | 208.967 | 4.195 | 162.602 | 0 | 346.564 | 28.28 | 966.271 | 52.879 | 2.1356
2019-07-17 19:15:00 | 0 | 155.345 | 3.9393 | 202.335 | 3.6837 | 161.696 | 0 | 336.897 | 28.05 | 966.708 | 55.2785 | 2.1541
2019-07-17 19:30:00 | 0 | 166.421 | 3.428 | 224.509 | 3.6837 | 154.083 | 0 | 330.968 | 27.79 | 966.541 | 56.4387 | 1.6959
2019-07-17 19:45:00 | 0 | 145.903 | 3.428 | 193.452 | 3.9393 | 128.869 | 0 | 327.259 | 27.6 | 966.542 | 58.6862 | 1.0567
2019-07-17 20:00:00 | 0 | 133.934 | 3.1723 | 188.883 | 2.9167 | 145.906 | 0 | 317.899 | 27.44 | 966.69 | 59.8465 | 1.8105
2019-07-17 20:15:00 | 0 | 144.016 | 4.195 | 193.566 | 3.6837 | 148.737 | 0 | 329.718 | 27.28 | 966.838 | 61.4857 | 2.2428
2019-07-17 20:30:00 | 0 | 134.331 | 5.9847 | 144.58 | 3.9393 | 106.759 | 0.887 | 332.494 | 27.15 | 967.135 | 64.7239 | 4.4264
2019-07-17 20:45:00 | 0 | 113.89 | 4.962 | 162.418 | 4.195 | 110.848 | 3.8193 | 296.332 | 26.94 | 966.838 | 66.5985 | 7.2419
2019-07-17 21:00:00 | 0 | 116.201 | 5.4733 | 163.635 | 4.962 | 125.181 | 0 | 301.126 | 26.58 | 966.838 | 67.621 | 9.5844
2019-07-17 21:15:00 | 0 | 121.726 | 4.7063 | 166.774 | 4.4507 | 130.194 | 0 | 318.988 | 26.4 | 966.69 | 68.1663 | 17.6798
2019-07-17 21:30:00 | 0 | 111.334 | 5.2177 | 158.962 | 4.195 | 156.525 | 0 | 299.641 | 26.18 | 966.557 | 68.9161 | 25.4242
2019-07-17 21:45:00 | 10.308 | 130.681 | 6.2403 | 183.127 | 5.4733 | 112.575 | 7.5187 | 307.064 | 26.04 | 966.915 | 69.0525 | 31.432
2019-07-17 22:00:00 | 3.6693 | 112.575 | 7.5187 | 161.834 | 6.7517 | 124.694 | 2.661 | 295.626 | 25.77 | 966.793 | 67.2801 | 33.5528
2019-07-17 22:15:00 | 0.372 | 120.22 | 9.0527 | 173.812 | 8.5413 | 131.123 | 2.1497 | 305.223 | 25.5 | 966.744 | 68.0318 | 39.4831
2019-07-17 22:30:00 | 4.946 | 126.585 | 7.7743 | 170.546 | 9.0527 | 114.78 | 7.263 | 316.912 | 25.22 | 966.385 | 69.2659 | 40.5842
2019-07-17 22:45:00 | 0.372 | 141.072 | 6.7517 | 193.092 | 7.263 | 142.581 | 0.37567 | 322.012 | 24.86 | 966.377 | 72.2685 | 39.3907
2019-07-17 23:00:00 | 0.62733 | 126.006 | 5.9847 | 186.277 | 7.0073 | 139.879 | 0 | 296.82 | 24.59 | 966.391 | 73.8367 | 39.1506
2019-07-17 23:15:00 | 1.2547 | 119.702 | 7.7743 | 171.649 | 7.7743 | 128.148 | 1.5183 | 305.023 | 24.33 | 965.947 | 76.0866 | 36.4718
2019-07-17 23:30:00 | 6.7333 | 129.584 | 9.0527 | 181.775 | 8.2857 | 139.027 | 3.6837 | 315.245 | 24.02 | 965.65 | 78.3364 | 34.6281
2019-07-17 23:45:00 | 0.99933 | 139.714 | 6.2403 | 192.126 | 6.496 | 132.655 | 4.962 | 327.037 | 23.63 | 965.947 | 80.0778 | 32.9137