## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-18 00:00:00 | 4.18 | 126.431 | 8.03 | 186.175 | 7.7743 | 138.042 | 1.3983 | 299.453 | 23.49 | 965.947 | 81.2757 | 33.2869
2019-07-18 00:15:00 | 1.882 | 133.865 | 9.0527 | 175.235 | 5.9847 | 139.221 | 0 | 312.717 | 23.42 | 965.65 | 80.6678 | 32.0491
2019-07-18 00:30:00 | 8.2653 | 138.369 | 6.7517 | 183.562 | 5.2177 | 129.046 | 2.4053 | 310.163 | 23.37 | 965.947 | 81.0774 | 40.9463
2019-07-18 00:45:00 | 4.18 | 131.94 | 7.5187 | 190.253 | 8.5413 | 127.461 | 0 | 309.135 | 23.21 | 965.65 | 81.3488 | 40.4105
2019-07-18 01:00:00 | 0.372 | 147.084 | 8.2857 | 198.192 | 7.263 | 152.343 | 0.37567 | 307.582 | 23.09 | 965.65 | 81.282 | 41.8404
2019-07-18 01:15:00 | 5.9673 | 130.896 | 8.03 | 175.261 | 7.263 | 127.196 | 5.2177 | 309.116 | 22.94 | 965.501 | 81.3501 | 43.8283
2019-07-18 01:30:00 | 0 | 114.464 | 9.0527 | 191.571 | 7.0073 | 143.457 | 1.2627 | 293.195 | 22.75 | 965.501 | 82.1002 | 42.4538
2019-07-18 01:45:00 | 0 | 133.722 | 9.3083 | 189.968 | 9.3083 | 140.149 | 3.6837 | 317.496 | 22.58 | 965.353 | 81.7607 | 37.1406
2019-07-18 02:00:00 | 0.372 | 137.064 | 7.5187 | 202.954 | 6.496 | 121.946 | 1.2627 | 324.206 | 22.45 | 965.353 | 81.2873 | 30.8113
2019-07-18 02:15:00 | 2.7867 | 112.235 | 7.5187 | 176.326 | 6.496 | 139.21 | 3.6837 | 307.221 | 22.28 | 965.205 | 80.9485 | 29.2078
2019-07-18 02:30:00 | 0 | 143.773 | 5.729 | 203.049 | 5.729 | 149.178 | 0 | 322.46 | 22.17 | 965.205 | 82.5228 | 31.6685
2019-07-18 02:45:00 | 0.372 | 130.772 | 10.8423 | 182.89 | 10.5867 | 129.336 | 1.3827 | 307.927 | 22.24 | 965.057 | 79.4885 | 29.0452
2019-07-18 03:00:00 | 0 | 137.906 | 7.7743 | 201.614 | 8.2857 | 157.774 | 4.962 | 324.337 | 22.23 | 964.76 | 78.7724 | 30.5379
2019-07-18 03:15:00 | 6.872 | 140.95 | 4.962 | 187.249 | 4.962 | 135.423 | 7.0073 | 330.132 | 22.22 | 965.057 | 79.7272 | 28.0956
2019-07-18 03:30:00 | 0 | 137.979 | 7.0073 | 181.016 | 7.7743 | 149.179 | 0 | 308.803 | 22 | 964.908 | 78.9429 | 19.4571
2019-07-18 03:45:00 | 0 | 133.937 | 7.7743 | 189.05 | 5.9847 | 138.076 | 2.1497 | 301.353 | 22.2 | 965.057 | 77.7493 | 15.1267
2019-07-18 04:00:00 | 0 | 112.73 | 5.729 | 177.12 | 5.4733 | 130.261 | 1.007 | 312.821 | 22.59 | 965.057 | 74.8167 | 14.3693
2019-07-18 04:15:00 | 0 | 98.9739 | 8.03 | 175.562 | 5.9847 | 131.332 | 0 | 277.76 | 22.54 | 965.057 | 75.8056 | 16.4421
2019-07-18 04:30:00 | 0 | 109.346 | 2.9167 | 153.308 | 0 | 127.875 | 0 | 281.412 | 22.37 | 965.057 | 75.0895 | 15.075
2019-07-18 04:45:00 | 0 | 89.9895 | 4.4507 | 147.391 | 3.1723 | 70.4626 | 0 | 275.057 | 22.79 | 964.908 | 72.8389 | 11.1843
2019-07-18 05:00:00 | 0 | 75.2348 | 1.3827 | 126.769 | 2.661 | 79.7148 | 0 | 265.805 | 23.36 | 965.353 | 70.8951 | 6.1445
2019-07-18 05:15:00 | 0 | 54.2437 | 3.1723 | 138.519 | 2.661 | 88.3773 | 0 | 223.013 | 23.62 | 965.205 | 68.538 | 5.4388
2019-07-18 05:30:00 | 0 | 76.7317 | 1.3827 | 152.476 | 0 | 128.535 | 0 | 241.272 | 23.24 | 965.353 | 72.1109 | 4.1197
2019-07-18 05:45:00 | 0 | 53.2883 | 2.4053 | 116.203 | 1.3827 | 64.0726 | 0 | 232.19 | 23.64 | 965.65 | 70.2353 | 2.0654
2019-07-18 06:00:00 | 0 | 31.7442 | 0.75133 | 16.905 | 1.6383 | 290.834 | 0 | 201.906 | 23.66 | 965.65 | 71.94 | 1.1011
2019-07-18 06:15:00 | 0 | 54.8193 | 0 | 17.7796 | 0 | 7.1567 | 0 | 228.235 | 23.61 | 965.798 | 69.2432 | 1.3228
2019-07-18 06:30:00 | 0 | 79.7366 | 1.894 | 136.455 | 0 | 17.7193 | 0 | 238.09 | 23.68 | 966.243 | 70.3599 | 1.4225
2019-07-18 06:45:00 | 0 | 114.785 | 1.894 | 190.78 | 1.894 | 50.7723 | 0 | 245.781 | 23.34 | 966.54 | 74.4503 | 1.9102
2019-07-18 07:00:00 | 0 | 53.1486 | 2.1497 | 79.678 | 0 | 47.2108 | 0 | 262.628 | 23.9 | 966.557 | 69.4617 | 1.3708
2019-07-18 07:15:00 | 0 | 58.5996 | 1.6383 | 132.875 | 1.6383 | 32.3661 | 0 | 245.325 | 25.12 | 966.246 | 66.0532 | 1.5297
2019-07-18 07:30:00 | 0 | 74.8536 | 0 | 113.135 | 0 | 357.015 | 0 | 257.169 | 25.91 | 967.135 | 63.5293 | 0.65768
2019-07-18 07:45:00 | 0 | 129.144 | 1.127 | 198.289 | 0 | 169.751 | 0 | 268.409 | 25.01 | 966.604 | 67.2995 | 0.059118
2019-07-18 08:00:00 | 0 | 299.515 | 2.1497 | 313.671 | 0.75133 | 230.037 | 0 | 133.896 | 26.18 | 966.989 | 65.7581 | -0.040643
2019-07-18 08:15:00 | 0 | 26.7598 | 2.1497 | 76.3353 | 1.894 | 356.441 | 0 | 229.21 | 25.94 | 966.989 | 61.9421 | -0.32145
2019-07-18 08:30:00 | 2.648 | 31.5259 | 3.1723 | 75.9399 | 2.9167 | 44.9536 | 0 | 213.043 | 26.22 | 967.137 | 63.3009 | -0.2845
2019-07-18 08:45:00 | 0 | 22.4744 | 3.1723 | 49.661 | 3.428 | 34.6359 | 0 | 205.018 | 26.9 | 967.285 | 62.8514 | -0.25864
2019-07-18 09:00:00 | 0 | 34.8276 | 3.6837 | 97.8349 | 0 | 299.634 | 0 | 217.478 | 27.65 | 967.73 | 61.9264 | -0.27342
2019-07-18 09:15:00 | 0 | 14.2022 | 3.6837 | 83.0145 | 2.1497 | 295.863 | 0 | 171.326 | 27.52 | 967.582 | 64.2371 | -0.23278
2019-07-18 09:30:00 | 0 | 32.7088 | 4.962 | 73.2383 | 2.4053 | 312.448 | 0 | 172.955 | 26.99 | 967.582 | 63.5559 | 0.38057
2019-07-18 09:45:00 | 0 | 2.1401 | 6.7517 | 81.069 | 4.195 | 317.19 | 5.729 | 183.437 | 27.06 | 967.582 | 64.9183 | 1.8733
2019-07-18 10:00:00 | 0 | 8.1712 | 5.729 | 69.7856 | 4.962 | 322.105 | 0.37567 | 187.548 | 27.49 | 967.285 | 64.1694 | 3.8131
2019-07-18 10:15:00 | 0 | 338.787 | 3.6837 | 57.626 | 2.1497 | 328.549 | 0 | 174.561 | 27.31 | 967.582 | 64.4758 | 7.7998
2019-07-18 10:30:00 | 0 | 341.169 | 2.9167 | 12.9763 | 2.9167 | 335.308 | 0 | 223.514 | 27.61 | 967.73 | 64.6458 | 11.3469
2019-07-18 10:45:00 | 0 | 348.665 | 7.5187 | 48.2641 | 4.7063 | 6.4203 | 0.37567 | 179.573 | 27.56 | 967.433 | 64.1701 | 13.9222
2019-07-18 11:00:00 | 0 | 20.4523 | 4.7063 | 72.1447 | 3.9393 | 29.2314 | 1.9097 | 204.061 | 28.24 | 967.73 | 61.0359 | 13.0465
2019-07-18 11:15:00 | 0 | 349.999 | 3.428 | 36.1282 | 4.195 | 342.217 | 0.37567 | 163.983 | 28.01 | 967.73 | 63.0113 | 12.7583
2019-07-18 11:30:00 | 0 | 36.4782 | 2.661 | 77.4698 | 0.75133 | 64.5907 | 0 | 214.954 | 28.3 | 967.582 | 63.9646 | 10.411
2019-07-18 11:45:00 | 0 | 325.726 | 2.9167 | 88.6564 | 3.1723 | 355.419 | 0 | 195.961 | 28.51 | 967.582 | 60.797 | 9.0524
2019-07-18 12:00:00 | 0 | 351.091 | 4.4507 | 58.5254 | 4.195 | 15.2722 | 5.9847 | 179.497 | 28.28 | 967.433 | 63.2153 | 5.1654
2019-07-18 12:15:00 | 0 | 354.665 | 3.6837 | 92.3042 | 3.428 | 20.3548 | 0 | 158.948 | 28.63 | 966.989 | 61.5804 | 3.5803
2019-07-18 12:30:00 | 0 | 353.182 | 5.9847 | 49.8193 | 7.0073 | 7.2713 | 0 | 182.537 | 29.99 | 967.433 | 57.4251 | 6.5621
2019-07-18 12:45:00 | 0 | 349.194 | 4.195 | 42.8155 | 6.2403 | 25.3645 | 2.1497 | 154.279 | 29.28 | 967.137 | 59.8774 | 7.1126
2019-07-18 13:00:00 | 0 | 37.378 | 1.894 | 49.2843 | 1.3827 | 356.976 | 0 | 216.097 | 29.69 | 967.433 | 60.0136 | 6.7948
2019-07-18 13:15:00 | 0 | 6.0067 | 3.428 | 57.3338 | 1.894 | 22.8597 | 0 | 189.395 | 30.18 | 967.285 | 59.8433 | 10.183
2019-07-18 13:30:00 | 0 | 52.5286 | 0.75133 | 20.2963 | 0 | 283.849 | 0 | 224.438 | 30.87 | 967.285 | 57.2548 | 11.8863
2019-07-18 13:45:00 | 0 | 0.5107 | 4.195 | 73.5788 | 1.127 | 318.771 | 1.774 | 157.027 | 30.4 | 967.091 | 59.9115 | 14.7387
2019-07-18 14:00:00 | 0 | 9.8248 | 7.7743 | 63.146 | 3.428 | 267.434 | 0 | 184.118 | 29.99 | 966.929 | 56.6076 | 14.1069
2019-07-18 14:15:00 | 0 | 76.3854 | 5.729 | 60.7384 | 4.4507 | 22.7138 | 3.9393 | 178.573 | 30.18 | 966.936 | 58.2085 | 13.4603
2019-07-18 14:30:00 | 0 | 28.2341 | 4.7063 | 91.7206 | 1.894 | 298.684 | 3.5637 | 226.651 | 30.78 | 966.955 | 57.5613 | 12.8987
2019-07-18 14:45:00 | 0 | 343.844 | 4.195 | 61.1275 | 4.7063 | 15.2965 | 0 | 130.762 | 30.3 | 966.355 | 59.639 | 15.2634
2019-07-18 15:00:00 | 0 | 0.14591 | 7.5187 | 71.2198 | 5.2177 | 338.177 | 0.37567 | 169.137 | 31.44 | 967.368 | 56.4714 | 24.7555
2019-07-18 15:15:00 | 0 | 14.7615 | 5.4733 | 82.6983 | 4.4507 | 7.7334 | 0 | 152.649 | 30.73 | 966.74 | 57.0164 | 22.6346
2019-07-18 15:30:00 | 0 | 0.14591 | 7.5187 | 84.0115 | 6.2403 | 25.8995 | 5.9847 | 175.12 | 30.79 | 966.323 | 57.0845 | 23.4327
2019-07-18 15:45:00 | 0 | 2.6021 | 5.4733 | 55.0965 | 6.2403 | 27.0182 | 2.2853 | 179.157 | 30.07 | 966.331 | 57.2207 | 25.9858
2019-07-18 16:00:00 | 0.62733 | 11.6487 | 6.496 | 81.0446 | 5.2177 | 25.0727 | 0 | 174.269 | 29.61 | 965.932 | 59.06 | 21.0348
2019-07-18 16:15:00 | 0 | 330.663 | 4.195 | 50.2327 | 6.2403 | 26.0941 | 0.37567 | 150.217 | 29.33 | 965.209 | 59.7071 | 18.9989
2019-07-18 16:30:00 | 8.2653 | 351.44 | 6.2403 | 52.3259 | 4.962 | 15.1267 | 1.894 | 175.902 | 29.13 | 965.209 | 60.4238 | 17.92
2019-07-18 16:45:00 | 0.372 | 347.384 | 5.729 | 40.1026 | 4.4507 | 13.3777 | 1.654 | 161.263 | 29.06 | 965.061 | 59.9563 | 15.777
2019-07-18 17:00:00 | 0 | 356.917 | 4.962 | 43.5893 | 5.9847 | 2.3597 | 5.4733 | 179.724 | 28.97 | 965.061 | 60.0325 | 14.3286
2019-07-18 17:15:00 | 0 | 6.2277 | 4.962 | 91.564 | 2.661 | 25.4461 | 4.195 | 167.322 | 29.05 | 965.061 | 60.3066 | 12.2817
2019-07-18 17:30:00 | 0.88267 | 353.66 | 3.428 | 70.7381 | 3.428 | 22.648 | 5.729 | 162.526 | 29.04 | 965.209 | 61.1231 | 12.9024
2019-07-18 17:45:00 | 0 | 13.4285 | 5.4733 | 72.394 | 4.7063 | 4.3059 | 0.37567 | 178.609 | 28.86 | 965.061 | 61.7374 | 11.9824
2019-07-18 18:00:00 | 0 | 0.87577 | 4.195 | 49.9404 | 4.7063 | 3.3085 | 4.195 | 172.09 | 28.73 | 964.765 | 61.8058 | 13.1093
2019-07-18 18:15:00 | 0 | 354.883 | 4.962 | 44.1019 | 4.195 | 19.7049 | 0 | 177.88 | 28.63 | 964.765 | 61.4651 | 11.5538
2019-07-18 18:30:00 | 0 | 348.388 | 3.9393 | 53.1759 | 3.6837 | 0.048654 | 1.5183 | 184.107 | 28.52 | 964.172 | 61.2606 | 10.5229
2019-07-18 18:45:00 | 0 | 10.7526 | 4.195 | 49.4786 | 3.9393 | 2.6517 | 0.75133 | 188.39 | 28.36 | 964.468 | 61.6699 | 8.2875
2019-07-18 19:00:00 | 0 | 9.9513 | 3.428 | 54.9386 | 4.4507 | 354.012 | 3.428 | 189.658 | 28.23 | 964.201 | 62.2921 | 7.2567
2019-07-18 19:15:00 | 0 | 17.2291 | 4.4507 | 63.6878 | 2.661 | 19.1759 | 0 | 203.61 | 28.08 | 964.313 | 62.4392 | 5.1137
2019-07-18 19:30:00 | 0 | 12.4594 | 4.195 | 60.4019 | 3.428 | 1.4358 | 0 | 198.425 | 27.97 | 964.169 | 63.2567 | 3.7909
2019-07-18 19:45:00 | 0 | 8.8082 | 3.9393 | 60.8802 | 3.1723 | 15.6943 | 0 | 200.059 | 27.96 | 964.466 | 62.5685 | 3.5507
2019-07-18 20:00:00 | 0 | 16.1093 | 3.9393 | 65.6566 | 2.4053 | 1.2654 | 0 | 215.285 | 27.87 | 964.762 | 62.3011 | 3.1886
2019-07-18 20:15:00 | 0 | 24.5299 | 4.195 | 72.766 | 2.9167 | 20.1496 | 0 | 213.177 | 27.71 | 964.762 | 62.7809 | 2.9854
2019-07-18 20:30:00 | 0 | 29.3969 | 3.9393 | 78.8251 | 2.9167 | 23.9458 | 0 | 211.667 | 27.91 | 964.911 | 60.8038 | 2.6935
2019-07-18 20:45:00 | 0 | 37.4765 | 3.428 | 84.8368 | 3.1723 | 29.6892 | 0 | 226.952 | 27.96 | 964.911 | 57.6687 | 2.143
2019-07-18 21:00:00 | 0 | 88.5807 | 3.428 | 125.233 | 1.6383 | 73.8821 | 1.007 | 249.486 | 28.2 | 965.207 | 55.0442 | 4.4079
2019-07-18 21:15:00 | 0 | 80.9881 | 2.4053 | 137.06 | 1.6383 | 68.8691 | 0 | 288.885 | 28.45 | 965.504 | 54.0559 | 7.2899
2019-07-18 21:30:00 | 0 | 120.046 | 4.195 | 178.114 | 4.7063 | 117.613 | 3.9393 | 286.646 | 28.2 | 965.504 | 57.1232 | 10.0574
2019-07-18 21:45:00 | 0 | 122.163 | 3.9393 | 164.291 | 4.7063 | 105.932 | 0 | 303.169 | 27.88 | 965.652 | 58.1457 | 10.486
2019-07-18 22:00:00 | 7.4993 | 128.88 | 5.2177 | 174.78 | 6.7517 | 119.024 | 5.729 | 310.859 | 27.68 | 965.059 | 58.0093 | 12.2558
2019-07-18 22:15:00 | 0 | 131.898 | 4.962 | 169.792 | 5.729 | 128.369 | 4.4507 | 308.986 | 27.61 | 965.504 | 58.1799 | 9.7211
2019-07-18 22:30:00 | 0 | 135.475 | 5.2177 | 183.103 | 5.4733 | 148.64 | 0 | 299.52 | 27.56 | 965.355 | 59.1002 | 10.1202
2019-07-18 22:45:00 | 0 | 129.927 | 5.4733 | 190.355 | 4.962 | 141.096 | 2.4053 | 295.967 | 27.41 | 965.355 | 59.3729 | 11.6572
2019-07-18 23:00:00 | 0 | 146.499 | 6.7517 | 197.023 | 5.729 | 147.959 | 0 | 326.8 | 27.37 | 965.059 | 58.2822 | 12.459
2019-07-18 23:15:00 | 0 | 132.36 | 5.9847 | 176.727 | 5.9847 | 116.274 | 0.63133 | 306.455 | 27.28 | 965.207 | 58.9639 | 10.5894
2019-07-18 23:30:00 | 4.18 | 125.473 | 4.4507 | 167.674 | 4.195 | 131.752 | 4.7063 | 298.911 | 27.28 | 965.059 | 57.805 | 12.5366
2019-07-18 23:45:00 | 0.88267 | 114.206 | 6.496 | 170.278 | 7.5187 | 127.785 | 3.1723 | 283.653 | 27.23 | 964.911 | 58.2822 | 12.5773