## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-19 00:00:00 | 0 | 113.598 | 5.2177 | 171.203 | 5.2177 | 134.137 | 0 | 280.197 | 27.15 | 964.762 | 59.6455 | 15.7696
2019-07-19 00:15:00 | 0 | 126.495 | 5.9847 | 176.143 | 4.195 | 156.233 | 0.37567 | 303.754 | 26.87 | 964.762 | 60.5998 | 21.2897
2019-07-19 00:30:00 | 0.88267 | 109.071 | 5.729 | 169.913 | 5.2177 | 133.65 | 3.6837 | 294.117 | 26.48 | 964.911 | 64.0763 | 24.5079
2019-07-19 00:45:00 | 2.1373 | 131.557 | 7.5187 | 188.335 | 7.7743 | 127.955 | 3.1723 | 312.077 | 26.04 | 964.493 | 68.9843 | 21.1493
2019-07-19 01:00:00 | 0 | 132.628 | 5.2177 | 178.139 | 5.729 | 140.756 | 0 | 309.376 | 25.83 | 964.552 | 70.6885 | 20.5581
2019-07-19 01:15:00 | 5.712 | 109.535 | 6.496 | 170.939 | 6.2403 | 152.391 | 3.6837 | 300.523 | 25.59 | 964.534 | 73.0755 | 18.4188
2019-07-19 01:30:00 | 0 | 128.183 | 6.7517 | 177.616 | 5.9847 | 126.601 | 0 | 314.142 | 25.69 | 964.297 | 71.6475 | 12.8359
2019-07-19 01:45:00 | 0 | 130.84 | 4.4507 | 187.868 | 4.962 | 145.734 | 0 | 300.279 | 25.75 | 964.458 | 72.57 | 10.5303
2019-07-19 02:00:00 | 0 | 119.602 | 4.962 | 171.694 | 3.1723 | 117.509 | 0 | 299.248 | 25.57 | 964.163 | 70.7672 | 6.9648
2019-07-19 02:15:00 | 0 | 117.945 | 4.4507 | 167.7 | 4.4507 | 117.799 | 0 | 302.919 | 26.16 | 964.315 | 63.4032 | 4.5927
2019-07-19 02:30:00 | 0 | 118.358 | 3.428 | 168.867 | 2.4053 | 97.1108 | 0 | 297.661 | 25.63 | 964.164 | 70.425 | 1.9176
2019-07-19 02:45:00 | 0 | 79.6378 | 2.4053 | 132.704 | 1.894 | 69.1233 | 0 | 261.014 | 25.8 | 964.008 | 68.7224 | 1.3264
2019-07-19 03:00:00 | 0 | 102.372 | 1.894 | 159.942 | 0.37567 | 113.52 | 0 | 294.192 | 26.11 | 964.166 | 66.3371 | 0.31776
2019-07-19 03:15:00 | 0 | 92.1981 | 1.3827 | 157.484 | 0.75133 | 76.2314 | 0 | 290.322 | 25.93 | 964.315 | 66.7462 | 0.37687
2019-07-19 03:30:00 | 0.372 | 87.3302 | 2.1497 | 134.215 | 2.4053 | 77.497 | 0.37567 | 252.036 | 25.63 | 964.166 | 71.5186 | 0.2882
2019-07-19 03:45:00 | 3.1587 | 75.1604 | 2.1497 | 119.149 | 1.894 | 45.3689 | 0 | 270.023 | 25.59 | 963.989 | 71.8595 | 0.055423
2019-07-19 04:00:00 | 0.99933 | 56.5894 | 2.1497 | 113.381 | 1.6383 | 41.7666 | 2.661 | 228.767 | 25.21 | 964.018 | 73.0867 | -0.24016
2019-07-19 04:15:00 | 0 | 37.5802 | 1.6383 | 88.6273 | 1.127 | 35.3653 | 0 | 224.873 | 25.18 | 964.018 | 73.1549 | -0.31776
2019-07-19 04:30:00 | 0 | 31.8361 | 1.894 | 88.5786 | 0.75133 | 32.0551 | 0 | 203.405 | 25 | 963.717 | 75.0639 | -0.26233
2019-07-19 04:45:00 | 0.99933 | 25.2157 | 2.4053 | 71.4192 | 1.3827 | 19.1309 | 0 | 205.474 | 24.79 | 963.425 | 74.9275 | -0.1404
2019-07-19 05:00:00 | 0 | 21.5165 | 2.4053 | 70.1546 | 0.37567 | 17.5977 | 0 | 203.773 | 24.68 | 963.425 | 74.5875 | -0.15888
2019-07-19 05:15:00 | 0 | 16.1616 | 1.3827 | 70.1543 | 0.75133 | 4.1864 | 0 | 199.318 | 24.88 | 963.722 | 72.8828 | -0.19583
2019-07-19 05:30:00 | 0 | 8.4702 | 1.6383 | 54.8445 | 0.75133 | 0.43811 | 0 | 200.413 | 25.23 | 963.573 | 70.9055 | -0.19583
2019-07-19 05:45:00 | 6.9887 | 9.9792 | 2.9167 | 56.0367 | 1.3827 | 18.1816 | 0 | 193.986 | 25.46 | 964.163 | 69.6779 | -0.25125
2019-07-19 06:00:00 | 0 | 6.2301 | 1.6383 | 61.2835 | 0 | 20.3452 | 0 | 190.676 | 25.64 | 964.155 | 70.1461 | -0.25125
2019-07-19 06:15:00 | 1.7653 | 14.0172 | 3.1723 | 63.6407 | 2.4053 | 19.809 | 0 | 195.559 | 25.8 | 964.321 | 67.4847 | -0.25125
2019-07-19 06:30:00 | 0 | 15.0877 | 3.1723 | 79.871 | 0 | 33.485 | 0 | 199.791 | 25.96 | 964.318 | 66.9384 | -0.25125
2019-07-19 06:45:00 | 0 | 17.1318 | 2.1497 | 81.939 | 2.1497 | 23.7509 | 0 | 181.733 | 26.18 | 964.318 | 65.1317 | -0.25125
2019-07-19 07:00:00 | 0 | 8.3448 | 3.9393 | 67.6811 | 3.428 | 58.0486 | 0 | 190.008 | 26.27 | 964.509 | 63.4458 | -0.25125
2019-07-19 07:15:00 | 0 | 22.3323 | 2.9167 | 82.1738 | 2.9167 | 23.3783 | 0 | 190.87 | 26.4 | 964.469 | 62.828 | -0.25125
2019-07-19 07:30:00 | 0 | 25.6894 | 1.894 | 58.6738 | 1.6383 | 356.976 | 0 | 215.149 | 26.59 | 964.617 | 62.8961 | -0.25125
2019-07-19 07:45:00 | 0 | 20.3364 | 1.894 | 67.6703 | 1.894 | 45.1488 | 0 | 203.583 | 27.41 | 965.358 | 61.6323 | -0.25125
2019-07-19 08:00:00 | 0 | 42.2204 | 0 | 75.5554 | 0 | 356.661 | 0 | 218.933 | 27.48 | 965.358 | 59.7454 | -0.25125
2019-07-19 08:15:00 | 0 | 17.7527 | 2.9167 | 81.1663 | 2.9167 | 36.8673 | 0 | 200.606 | 28.14 | 965.21 | 57.6976 | -0.25125
2019-07-19 08:30:00 | 0 | 0.14591 | 0.75133 | 19.0272 | 0 | 262.935 | 0 | 192.07 | 27.96 | 965.155 | 62.1254 | -0.28081
2019-07-19 08:45:00 | 0 | 320.108 | 4.195 | 27.6162 | 3.428 | 343.114 | 0 | 147.445 | 28.3 | 965.107 | 59.1281 | -0.26972
2019-07-19 09:00:00 | 0 | 38.521 | 2.4053 | 93.9093 | 2.1497 | 38.2292 | 0 | 217.58 | 28.71 | 965.256 | 59.1962 | -0.25125
2019-07-19 09:15:00 | 0 | 337.35 | 2.4053 | 25.233 | 2.661 | 252.332 | 0 | 217.775 | 29.44 | 965.475 | 58.3788 | -0.25125
2019-07-19 09:30:00 | 0 | 284.822 | 3.6837 | 326.519 | 2.4053 | 295.936 | 0 | 119.916 | 27.7 | 965.602 | 63.7262 | -0.26972
2019-07-19 09:45:00 | 0 | 307.001 | 2.9167 | 8.2783 | 1.6383 | 268.382 | 0 | 123.734 | 27.37 | 965.358 | 63.5559 | -0.26233
2019-07-19 10:00:00 | 1.7653 | 329.827 | 2.9167 | 20.0579 | 2.4053 | 340.407 | 0 | 162.98 | 27.8 | 965.358 | 62.201 | -0.25125
2019-07-19 10:15:00 | 0 | 304.143 | 2.661 | 16.2055 | 2.661 | 290.522 | 0 | 146.647 | 28.28 | 965.358 | 60.8432 | -0.26233
2019-07-19 10:30:00 | 0 | 157.057 | 0.75133 | 185.193 | 0 | 159.076 | 0 | 284.074 | 28.4 | 965.654 | 60.5702 | -0.051728
2019-07-19 10:45:00 | 0 | 173.277 | 2.1497 | 226.854 | 1.6383 | 176.828 | 0 | 18.8746 | 29.18 | 965.951 | 58.5932 | -0.22908
2019-07-19 11:00:00 | 0 | 222.007 | 0 | 253.928 | 0 | 251.7 | 0 | 47.0813 | 30.35 | 966.395 | 54.8707 | -0.218
2019-07-19 11:15:00 | 0 | 157.051 | 2.4053 | 209.861 | 1.894 | 190.951 | 0 | 10.9435 | 29.74 | 966.247 | 58.2425 | -0.26233
2019-07-19 11:30:00 | 0 | 270.911 | 2.1497 | 329.413 | 2.1497 | 295.741 | 0 | 87.8638 | 29.16 | 965.951 | 59.8774 | -0.2143
2019-07-19 11:45:00 | 0 | 294.695 | 2.9167 | 18.9786 | 3.428 | 284.238 | 0 | 90.8551 | 29.16 | 965.654 | 58.5491 | -0.19583
2019-07-19 12:00:00 | 0 | 134.581 | 1.127 | 211.224 | 0.75133 | 181.419 | 0 | 330.178 | 29.71 | 965.802 | 57.6978 | -0.12932
2019-07-19 12:15:00 | 0 | 184.896 | 3.6837 | 230.095 | 3.428 | 187.668 | 0 | 34.5571 | 29.62 | 965.654 | 58.9919 | -0.28081
2019-07-19 12:30:00 | 0 | 239.283 | 1.6383 | 279.262 | 1.894 | 212.48 | 0 | 60.1248 | 29.35 | 965.506 | 59.886 | -0.26233
2019-07-19 12:45:00 | 0 | 53.1213 | 1.127 | 135.91 | 0 | 156.834 | 0 | 145.938 | 29.58 | 965.654 | 58.1161 | -0.27342
2019-07-19 13:00:00 | 0 | 290.294 | 3.1723 | 317.72 | 2.9167 | 226.282 | 0 | 121.994 | 30.39 | 965.654 | 54.9093 | -0.26233
2019-07-19 13:15:00 | 0 | 291.534 | 0.37567 | 296.631 | 0 | 245.523 | 0 | 99.3667 | 30.21 | 965.506 | 56.2671 | -0.25125
2019-07-19 13:30:00 | 0 | 172.493 | 3.6837 | 242.862 | 3.428 | 163.325 | 0 | 29.7419 | 30.42 | 965.358 | 56.4714 | -0.25125
2019-07-19 13:45:00 | 0 | 214.54 | 2.9167 | 256.845 | 3.428 | 206.613 | 0 | 42.7038 | 30.38 | 965.506 | 55.1771 | -0.25125
2019-07-19 14:00:00 | 0 | 288.98 | 4.7063 | 329.899 | 4.962 | 267.191 | 0 | 130.665 | 31.23 | 965.506 | 52.9632 | -0.26233
2019-07-19 14:15:00 | 0 | 254.569 | 0.75133 | 301.495 | 0 | 217.824 | 0 | 170.621 | 30.51 | 965.506 | 53.8828 | -0.26972
2019-07-19 14:30:00 | 0 | 44.9898 | 2.1497 | 95.9521 | 1.6383 | 59.9215 | 0 | 224.803 | 30.89 | 965.061 | 54.1553 | -0.25125
2019-07-19 14:45:00 | 0 | 320.862 | 1.894 | 16.8872 | 0 | 30.3499 | 0 | 142.362 | 31.09 | 965.061 | 54.4278 | -0.25125
2019-07-19 15:00:00 | 0 | 299.948 | 4.7063 | 19.7568 | 3.428 | 280.493 | 0 | 116.657 | 30.67 | 964.913 | 54.6322 | -0.25125
2019-07-19 15:15:00 | 0 | 282.439 | 3.6837 | 332.842 | 2.1497 | 253.402 | 0 | 89.8337 | 30.92 | 964.616 | 54.3597 | -0.26972
2019-07-19 15:30:00 | 0 | 321.3 | 2.661 | 19.3191 | 3.1723 | 299.875 | 0 | 130.787 | 31.07 | 964.765 | 53.6785 | -0.26603
2019-07-19 15:45:00 | 0 | 13.0835 | 0 | 128.539 | 1.127 | 0.048638 | 0 | 228.281 | 30.83 | 964.765 | 54.7684 | -0.16257
2019-07-19 16:00:00 | 0 | 298.003 | 1.127 | 20.5638 | 0 | 288.518 | 0 | 144.283 | 31.19 | 964.765 | 55.1771 | -0.25125
2019-07-19 16:15:00 | 0 | 28.1125 | 3.1723 | 72.0467 | 2.661 | 48.1999 | 0 | 208.461 | 30.59 | 964.32 | 56.1989 | -0.26233
2019-07-19 16:30:00 | 0 | 325.483 | 2.1497 | 46.9254 | 1.3827 | 11.2839 | 0 | 151.166 | 30.37 | 964.172 | 58.1063 | -0.25125
2019-07-19 16:45:00 | 0 | 5.7638 | 3.6837 | 57.2393 | 1.3827 | 64.8606 | 0 | 189.767 | 30.13 | 964.172 | 60.2542 | -0.25125
2019-07-19 17:00:00 | 0 | 355.254 | 2.661 | 47.5922 | 1.894 | 5.6428 | 0 | 181.543 | 29.7 | 963.579 | 61.5216 | -0.25125
2019-07-19 17:15:00 | 0 | 356.719 | 2.661 | 61.9249 | 2.9167 | 16.8325 | 0 | 186.082 | 29.8 | 963.579 | 60.3002 | -0.25125
2019-07-19 17:30:00 | 0 | 31.1364 | 2.661 | 100.07 | 0 | 41.5476 | 0 | 235.761 | 29.98 | 964.024 | 60.2341 | -0.25125
2019-07-19 17:45:00 | 0 | 2.9188 | 3.428 | 55.9862 | 3.428 | 21.0154 | 0 | 189.285 | 30.17 | 964.024 | 60.8425 | -0.25125
2019-07-19 18:00:00 | 0 | 320.892 | 1.894 | 39.6443 | 2.661 | 3.892 | 0 | 164.046 | 29.86 | 963.431 | 60.7778 | -0.25125
2019-07-19 18:15:00 | 0 | 19.3642 | 4.7063 | 68.8663 | 1.127 | 48.6052 | 0 | 201.476 | 29.83 | 963.431 | 62.6913 | -0.26972
2019-07-19 18:30:00 | 1.882 | 21.4565 | 2.9167 | 72.8321 | 0 | 5.3033 | 0 | 207.169 | 29.48 | 963.579 | 62.8961 | -0.25125
2019-07-19 18:45:00 | 0 | 19.3644 | 2.661 | 73.9998 | 0 | 7.882 | 0 | 203.958 | 29.38 | 963.431 | 62.6235 | -0.15518
2019-07-19 19:00:00 | 0 | 12.942 | 2.9167 | 59.5009 | 1.3827 | 5.1573 | 0 | 200.285 | 29.24 | 963.579 | 62.4531 | -0.15518
2019-07-19 19:15:00 | 0 | 7.882 | 4.195 | 61.9823 | 1.6383 | 3.3085 | 0 | 193.06 | 29.22 | 963.282 | 61.2606 | -0.14779
2019-07-19 19:30:00 | 0 | 15.1814 | 3.428 | 61.3082 | 2.661 | 10.6075 | 0 | 199.037 | 29.2 | 963.587 | 62.6971 | -0.1404
2019-07-19 19:45:00 | 0 | 12.5547 | 3.428 | 60.9728 | 2.1497 | 20.0485 | 0 | 201.069 | 29.12 | 963.695 | 62.9737 | 0.19213
2019-07-19 20:00:00 | 0 | 25.2085 | 3.6837 | 84.6541 | 2.4053 | 22.0939 | 0 | 207.678 | 29.02 | 963.435 | 62.7397 | 0.39904
2019-07-19 20:15:00 | 0 | 31.537 | 3.9393 | 79.6725 | 2.9167 | 27.9599 | 0 | 215.503 | 28.89 | 963.815 | 62.1645 | 0.6429
2019-07-19 20:30:00 | 0 | 30.4418 | 3.6837 | 77.1411 | 2.9167 | 35.7709 | 0 | 217.059 | 28.82 | 963.707 | 62.5048 | 0.82764
2019-07-19 20:45:00 | 4.946 | 38.595 | 3.428 | 99.8977 | 1.3827 | 54.6073 | 0 | 222.08 | 28.79 | 963.873 | 61.212 | 0.36949
2019-07-19 21:00:00 | 0 | 46.6257 | 3.428 | 95.3475 | 3.428 | 51.59 | 0 | 237.995 | 28.91 | 963.873 | 61.2804 | 0.11454
2019-07-19 21:15:00 | 0 | 91.6918 | 3.6837 | 147.323 | 3.1723 | 91.0104 | 0 | 274.199 | 28.67 | 964.021 | 63.8691 | 1.3893
2019-07-19 21:30:00 | 0 | 136.738 | 4.195 | 186.189 | 2.1497 | 129.486 | 0 | 314.504 | 28.08 | 964.021 | 70.0735 | 4.5779
2019-07-19 21:45:00 | 0 | 117.78 | 7.5187 | 163.582 | 6.7517 | 114.812 | 5.2177 | 300.875 | 27.32 | 963.724 | 72.7999 | 12.9135
2019-07-19 22:00:00 | 6.478 | 117.145 | 7.0073 | 172.24 | 6.2403 | 114.443 | 4.7063 | 297.874 | 27.05 | 963.428 | 73.1388 | 14.9198
2019-07-19 22:15:00 | 7.244 | 130.34 | 6.496 | 178.99 | 6.2403 | 127.031 | 2.0297 | 314.534 | 26.74 | 963.131 | 73.2787 | 18.7293
2019-07-19 22:30:00 | 6.9887 | 127.858 | 8.03 | 175.462 | 7.263 | 131.168 | 4.4507 | 309.278 | 26.72 | 963.131 | 73.0743 | 23.6359
2019-07-19 22:45:00 | 3.9247 | 127.688 | 7.7743 | 172.444 | 6.496 | 114.96 | 3.9393 | 310.471 | 26.6 | 963.131 | 72.8698 | 25.2986
2019-07-19 23:00:00 | 0 | 145.526 | 6.496 | 185.877 | 5.729 | 136.375 | 1.3827 | 321.008 | 26.56 | 963.28 | 72.12 | 23.4032
2019-07-19 23:15:00 | 0 | 125.303 | 6.7517 | 177.701 | 5.9847 | 159.202 | 5.4733 | 310.909 | 26.59 | 963.281 | 71.6428 | 22.1691
2019-07-19 23:30:00 | 3.1587 | 146.207 | 7.7743 | 202.547 | 6.2403 | 147.667 | 5.9847 | 329.89 | 26.6 | 963.282 | 72.1881 | 22.642
2019-07-19 23:45:00 | 0 | 158.472 | 5.729 | 211.235 | 5.4733 | 155.479 | 1.007 | 329.112 | 26.58 | 963.311 | 72.972 | 21.4005